NUKLEONIKA 2012;57(4):615-619
# ORIGINAL PAPER
Abstract. The main aim of the work was the biochemical analysis of the hippocampal formation tissue in the case
of epileptic rats treated with the neuroprotective agent FK-506. Three groups of animals were compared: rats with
pilocarpine induced seizures treated and non-treated with tacrolimus as well as naive controls. Synchrotron radiation
Fourier transform infrared (SR-FTIR) microspectroscopy was used for the biomolecular analysis of studied samples.
The measurements were carried out at SISSI beamline of ELETTRA. A Bruker IFS 66v/S interferometer coupled to
a Bruker Hyperion 2000 microscope was used. The tissue samples were analyzed in transmission mode with a beam
defined by a small aperture and spatial resolution steps of 10 pm which allowed us to probe the selected cross-line of
the sample at cellular resolution. The obtained results enabled to compare the distributions of proteins and lipids in the
three hippocampal cellular layers, i.e. in molecular, multiform and granular layers. For epileptic animals both treated and
non-treated with FK-506, the tendency for increase of the ratio of the absorbance at around 1548 and 1658 cm-1 (amide
II/amide I ratio) was observed, however only for the multiform layer these changes were statistically significant. Similar
relation was noticed in case of the ratio of the absorbance at around 1631 and 1658 cm-1. The mentioned results may
suggest conformational changes of proteins in the direction of p-sheet secondary structure. Additionally, a statistically
significant increase in the lipid massif and a decrease of the ratio of absorbance at around 2921 and 2958 cm-1 were
observed for epileptic animals treated with tacrolimus comparing to the control group.
Key words: pilocarpine-induced epilepsy • FK-506 (tacrolimus) • SR-FTIR microspectroscopy • biochemical analysis
J. Dudała^, J. Chwiej
AGH University of Science and Technology,
Faculty of Physics and Applied Computer Science,
al. A. Mickiewicza 30, 30-059 Krakow, Poland,
Tel.: +48 12 617 4424, Fax: +48 12 634 0010,
E-mail: dudala@novell.ftj.agh.edu.pl
K. Janeczko, Z. Setkowicz
Jagiellonian University,
Faculty of Biology and Earth Sciences,
7 Gronostajowa Str., 30-387 Kraków, Poland
D. Eichert
ELETTRA, Trieste, Italy
Received: 1 December 2011
Accepted: 25 February 2012
## Introduction
Epilepsy is one of the most common serious neurologi-
cal diseases. Nevertheless, the epileptogenesis is still not
known and has been a subject of intensive investigations
in which animal models are used. Presented results are
based on the most often used experimental model of
temporal lobe epilepsy pilocarpine-induced seizures
[22, 26]. It is known that epileptic seizures strongly
modify internal conditions within the nervous tissue.
There are many changes in neurotransmitter release,
gene activation, and elemental composition [14]. In the
context of biology of the epileptic processes it is needed
to reveal the relationship between the elemental and
biochemical changes in the tissue affected by seizures.
Beside the etiology of epilepsy animal models
provide information on the action of new antiepileptic
drugs. Neuroprotective factors are the agents used to
minimize the pathological effects of seizures on nervous
tissue. Their functions rely on increasing the ability of
nerve cells to survive under pathological conditions. In
the present paper an immunosuppressive drug FK-506,
widely used in transplantology [1, 12, 27], was applied
as neuroprotective agent.

the wavenumber range from 1000 to 4000 cm-1 with a
spectral resolution of 4 cm-1 and 128 scans were coad-
ded per spectrum. The data collection and analysis was
performed with the OPUS software (version 6.5).
The measurements were done for the three animal
groups, i.e. epileptic rats treated with FK-506 (N), non-
-treated with neuroprotective drug (E) as well as naive
control animals (C). The distributions of proteins and
lipids in the three hippocampal cellular layers, i.e. in
molecular (mo), multiform (mu) and granular (g) were
compared.
## Results
For all the analyzed tissues, the vertical line scans were
done along the middle part of the hippocampal forma-
tion. The data treatment was done in the following
steps:
1. Identification of the absorption bands present in the
   spectra collected for the tissue samples.
2. Evaluation of the selected absorption bands inten-
   sity.
3. Identification of specific cellular layers within the
   scanned areas.
4. Calculation of the median bands intensities and
   ratios of intensities for each of the observed cellular
   layers.
5. Comparative analysis of the results obtained for the
   three analyzed animal groups.
6. Statistical analysis of the significance of the differ-
   ences between analyzed animal groups (U Mann-
   -Whitney test, significance level 0.1).
Figure 1 shows the location of different cellular lay-
ers for selected samples from all the analyzed groups.
In Fig. 2 the exemplary spectra recorded for different
hippocampal layers (mu, mo, g) from a selected epilep-
tic sample are compared.
Infrared absorption bands are related to the particu-
lar functional groups of biomolecules [18]. The tentative
assignments for the bands occurring within the analyzed
wavenumber range are presented in Table 1 [8, 17, 20,
21]. In this study intensities (ratios of intensities) of the
following absorption bands were used for the analysis
of the distributions of biomolecules and their structural
changes:
1. The ratio of the intensities of 1548 cm-1 (amide
   II) and 1657 cm-1 (amide I) bands and the ratio of
   the absorption at around 1631 and 1657 cm-1 were
   applied for the analysis of the relative secondary
   structure of proteins.
2. The absorption in the range of wavenumber from
   around 2820 to 2996 cm1 (lipid massif) was used for
   the determination of lipid distribution.
3. The ratio of the absorbance at around 2921 and
   2958 cm-1 was used for the analysis of the structural
   changes of lipids.
The median values of the analyzed parameters for
the three investigated animal groups are presented in
Table 2. The statistical significance of the differences
between medians was tested with the non-parametric U
(Mann-Whitney) test at a significance level of 0.1. The
results of the statistical analysis are shown in Fig. 3.
616
J. Dudała et al.
In the present study synchrotron radiation Fourier
transform infrared (SR-FTIR) microspectroscopy was
used for the biomolecular analysis of studied samples.
The principles underlying infrared spectroscopy is the
resonant absorption of infrared light through vibrat-
ing molecules. The absorption spectrum recorded in
mid-infrared region can be treated as a fingerprint of
chemical compounds. The combination of infrared
spectroscopy and optical microscopy as well as the use
of synchrotron source of infrared allow to achieve high
spectral resolution at subcellular level [4, 18].
The usefulness of FTIR microspectroscopy has been
revealed by several investigations upon anomalies oc-
curring in the disordered nervous tissue. Among others,
the method was successfully applied for the analysis of
protein conformational changes in case of Alzheimer’s
disease and prion diseases [2, 3, 13, 15, 17]. It was also
used to monitor the level of exercise induced oxidative
stress [19, 21].
## Materials and methods
Induction of epilepsy and FK-506 administration
The subject of investigations was the rat hippocampal
formation tissue. The samples were taken from the
adult 60-day-old male Wistar rats obtained from an
animal colony of the Institute of Pediatrics, Collegium
Medicum, Jagiellonian University (Kraków, Poland). In
order to induce seizures in rats, a single intraperitoneal
injection of pilocarpine (300 mg/kg, Sigma P6503) was
done between 9 and 10 a.m. to avoid circadian changes
in seizure vulnerability. Afterwards, the animals were
subjected to continuous behavioral observations during
a 6 h period following the pilocarpine injection. The aim
of the study was the biochemical analysis of the brain
tissue from epileptic animals which were treated or not
with FK-506 (Prograf, Fujisawa, 2 mg/kg). The detailed
procedures concerning the application of neuroprotec-
tive agent were described elsewhere [5, 6].
Sample preparation
Six hours after epilepsy induction, all animals were
perfused with physiological saline solution of high
analytical purity. The brains were excised, frozen and
cut using a cryomicrotome into 15 pm thick sections.
Such prepared tissue slices were placed on a Ultralene®
foil.
## Measurements
SR-FTIR microspectroscopy was used for the biomo-
lecular analysis. The measurements were carried out
at SISSI beamline of ELETTRA. A Bruker IFS 66v/S
interferometer coupled to a Bruker Hyperion 2000
microscope was used. The samples were analyzed in
transmission mode with a beam defined by a small
aperture and spatial resolution steps of 10 pm which
allowed us to probe the selected cross-lines of the tissues
at cellular resolution [8]. The spectra were collected for

The use of SR-FTIR microspectroscopy for a preliminary biochemical study..
617
Fig. 1. Visible light microscope pictures of the cross-sections of hippocampal formations from (a) N, (b) E and (c) C groups
respectively. The lines show the courses of the line scans.
## Discussion
The main aim of the study was to investigate the dis-
tributions of predominant biomolecular components
of epileptic hippocampal formations taken from rats
treated and non-treated with the neuroprotective agent
FK-506. Moreover, structural changes of proteins and
lipids were examined. The two mentioned parameters
are known to be related to oxidative stress being one
of the mechanisms involved in the pathogenesis and
progress of neurodegenerative changes [23]. Oxidative
stress is promoted by reactive oxygen species (ROS) -
free radicals. Their direct monitoring is difficult due to
Fig. 2. Exemplary spectra recorded for different hippocampal
layers (mo, mu, g) from a selected epileptic sample.
Table 1. Tentative band assignments for IR spectra of lipids and proteins [8, 17, 20, 21]

618
J. Dudała et al.
Table 2. The median values of the analyzed parameters calculated for N, E and C groups
Fig. 3. The medians of selected bands intensities or ratios of intensities.
their transient and unstable nature. However, indirect
markers of oxidative stress can be used and one of them
is an increased of lipid peroxidation. Petibois and Del-
eris, in their papers from 2005 and 2006 [20, 21], showed
that the ratio of intensities of CH2 to CH3 asymmetric
stretchings provides information on mean saturation
level of phospholipides being a measure of lipid peroxi-
dation as a result of oxidation stress. Lipid peroxidation
means unspecific oxidation of polyunsaturated fatty
acids present in phospholipides of biological mem-
branes. Polyunsaturated fatty acids are highly suscep-
tible to be oxidized by ROS [28]. According to Kretlow
[16] the mentioned spectra parameter may also depend
on the length of the fatty acid chain.
In turn, proteins exposed to free radical action may
exhibit altered primary, secondary and tertiary structure
as well as may undergo spontaneous fragmentation and
manifest increased proteolysis susceptibility [7, 28].
An excessive free radical formation and an increase
in lipid peroxidation have been observed before in dif-
ferent brain areas during status epilepticus induced by
pilocarpine and in the lithium-pilocarpine model [9-11,
24, 25, 28]. Most of the experiments were performed on
homogenized samples using TBARS (thiobarbituric acid
reactive substances) method which measures malondial-
dehyde present in the sample as well as malondialdehyde
that is generated from certain primary and secondary
lipid peroxidation products.
## Conclusions
1. For both epileptic groups (N and E), the ratio of
   amide II to amide I tended to increase. It was ob-
   served for all of the studied cellular layers (mo, mu,
   g) but only for a multiform (mu) layer these changes
   were statistically significant.
2. Similar relation was noticed in case of the ratio of
   absorbance at around 1631 and 1658 cm1. In this
   case, statistically significant changes were observed
   only for granular (g) cell layer. The increased ratio
   of absorbance at 1631 and 1658 cm1 might suggest
   conformational changes of proteins in the direction
   of p-sheet secondary structure.

1. Freitas RM, Souza FCF, Vasconcelos SMM, Viana GSB,
   Fonteles MMF (2005) Oxidative stress in the hippocampus
   after status epilepticus in rats. FEBS J 272:1307-1312
2. Furuichi Y, Maeda M, Moriguchi A et al. (2003) Tac-
   rolimus, a potential neuroprotective agent, ameliorates
   ischemic brain damage and neurologic deficits after focal
   cerebral ischemia in nonhuman primates. J Cereb Blood
   Flow Metab 23:1183-1194
3. Gallant M, Rak M, Szeghalmi A et al. (2006) Focally
   elevated creatine detected in amyloid precursor protein
   (APP) transgenic mice and Alzheimer disease brain tissue.
   J Biol Chem 281:5-8
4. Hamed SA, Abdellah MM (2004) Blood levels of trace el-
   ements, electrolytes, and oxidative stress/antioxidant sys-
   tems in epileptic patients. J Pharmacol Sci 96:349-359
5. Kneipp J, Miller L, Joncic M et al. (2003) In situ identi-
   fication of protein structural changes in prion-infected
   tissue. Biochim Biophys Acta 1639:152-158
6. Kretlow A (2007) Imaging molecular and trace element
   changes in scrapie-infected nervous tissue with a time
   course study. Dissertation zur Erlangung des Akade-
   mischen Grades des Doktors der Naturwissenschaften,
   Fachbereich Biologie, Chemie, Pharmazie der Freien
   Universitaet Berlin
7. Kretlow A, Wang Qi, Kneipp J et al. (2006) FTIR-mi-
   crospectroscopy of prion-infected nervous tissue. Biochim
   Biophys Acta 1758:948-959
8. Miller LM, Dumas P (2010) From structure to cellular
   mechanism with infrared microspectroscopy. Curr Opin
   Struc Biol 20:649-656 v
9. Peternel S, Pilipovic K, Zupan G (2009) Seizure suscepti-
   bility and the brain regional sensitivity to oxidative stress
   in male and female rats in the lithium-pilocarpine model
   of temporal lobe epilepsy. Prog Neuro-Psychopharmacol
   Biol Psychiatry 33:456-462
10. Petibois C, Deleris G (2005) Evidence that erythrocytes
    are highly susceptible to exercise oxidative stress: a
    FTIR spectrometry study at the molecular level. Cell Biol
    Int 29:709-716
11. Petibois C, Deleris G (2006) Chemical mapping of tumor
    progression by FT-IR imaging: towards molecular histo-
    pathology. Trends Biotechnol 24:455-462
12. Setkowicz Z, Ciarach M, Guzik R, Janeczko K (2004) Dif-
    ferent effects of neuroprotectants FK-506 and cyclosporin
    A on susceptibility to pilocarpine-induced seizures in
    rats with brain injured at different developmental stages.
    Epilepsy Res 61:63-72
13. Skaper SD, Floreani M, Ceccon M, Facci L, Giusti P
    (1999) Excitotoxicity, oxidative stress, and neuroprotective
    potential of melatonin. Ann NY Acad Sci 890:107-118
14. Tejada S, Roca C, Sureda A, Rial RV, Gamundi A, Este-
    ban S (2006) Antioxidant response analysis in the brain af-
    ter pilocarpine treatments. Brain Res Bull 69:587-592
15. Tejada S, Sureda A, Roca C, Gamundi A, Esteban S (2007)
    Antioxidant response and oxidative damage in brain cortex
    after high dose of pilocarpine. Brain Res Bull 71:372-375
16. Turski WA, Cavalheiro EA, Bortolotto ZA, Mello LM,
    Schwarz M, Turski L (1985) Seizures produced by pilo-
    carpine in mice: a behavioral, electroencephalographic
    and morphological analysis. Brain Res 12:237-253
17. Uchino H, Minamikawa-Tachino R, Kristian T et al.
    (2002) Differential neuroprotection by cyclosporin A
    and FK506 following ischemia corresponds with differ-
    ing abilities to inhibit calcineurin and the mitochondrial
    permeability transition. Neurobiol Dis 10:219-223
18. Waldbaum S, Patel M (2009) Mitochondria, oxida-
    tive stress, and temporal lobe epilepsy. Epilepsy Res
    (doi:10.1016/j.epilepsyres.2009.09.020)
The use of SR-FTIR microspectroscopy for a preliminary biochemical study..
619
1. A statistically significant increase of absorption in
   the region of lipid massif was noticed for N group
   in comparison with both E and C groups.
2. There was a statistically significant decrease in the
   ratio of absorbance at around 2921 and 2958 cm-1
   for N group comparing to controls. It might suggest
   lipid structural changes in the first experimental
   group.
In light of our previous results obtained for acute
phase of pilocarpine induced status epilepticus [4], the
decreased ratio of the absorbance at 2921 and 2958 cm-1
in the epileptic group treated with FK-506 comparing to
control animals suggest the efficacy of the use of FK-506
in order to reduce seizure-induced biochemical anomaly
of hippocampal formation.
Acknowledgment. The study was partially supported by
the Polish Ministry of Science and Higher Education and its
grant for scientific research (grant no. 2921/B/T02/2011/40)
and was realized in frame of the ELETTRA experimental
grant no. 20085318.
## References
1. Bartynski WS, Zeigler Z, Spearman MP, Lin L, Shadduck
   RK, Lister J (2001) Etiology of cortical and white matter
   lesions in cyclosporin-A and FK-506 neurotoxicity. Am J
   Neuroradiol 22:1901-1914
2. Beekes M, Lash P, Naumann D (2007) Analytical appli-
   cations of Fourier transform-infrared (FT-IR) spectros-
   copy in microbiology and prion research. Vet Microbiol
   123:305-319
3. Choo LP, Wetzel DL, Halliday WC, Jackson M, LeVine
   SM, Mantsch HH (1996) In situ characterization of beta-
   amyloid in Alzheimer’s diseased tissue by synchrotron
   Fourier transform infrared microspectroscopy. Biophys
   J 71:1672-1679
4. Chwiej J, Dulinska J, Janeczko K et al. (2010) Synchrotron
   FTIR microspectroscopy study of the rat hippocampal
   formation after pilocarpine-evoked seizures. J Chem
   Neuroanat 40:140-147
5. Chwiej J, Janeczko K, Marciszko M, Czyzycki M, Rickers
   K, Setkowicz Z (2010) Neuroprotective action of FK-506
   (tacrolimus) after seizures induced with pilocarpine:
   quantitative and topographic elemental analysis of brain
   tissue. Biol Inorg Chem 15:283-289
6. Chwiej J, Winiarski W, Ciarach M et al. (2008) The role
   of trace elements in the pathogenesis and progress of
   pilocarpine-induced epileptic seizures. J Biol Inorg Chem
   13:1267-1274
7. Comporti M, Sigmorini C, Buonocore G, Ciccoli L (2002)
   Iron release, oxidative stress and erythrocyte ageing (2)
   (3). Free Radic Biol Med 32:568-576
8. Dreissig I, Machill S, Salzer R, Krafft C (2009) Quantifica-
   tion of brain lipids by FTIR spectroscopy and partial least
   squares regression. Spectrochim Acta A 71:2069-2075
9. Freitas RM (2009) Investigation of oxidative stress in-
   volvement in hippocampus in epilepsy model induced by
   pilocarpine. Neurosci Lett 462:225-229
10. Freitas RM, Nascimento KG, Ferreira PMP, Jordan J
    (2009) Neurochemical changes on oxidative stress in rat
    hippocampus during acute phase of pilocarpine-induced
    seizures. Pharmacol Biochem Behav (doi:10.1016/j.
    pbb.2009.09.015)