Appl Entomol Zool (2015) 50:393–403 DOI 10.1007/s13355-015-0346-7
The effect of pre‑analytical treatment on the results of stoichiometric measurements in invertebrates
AnnaRoz˙en1·Łukasz Sobczyk1·JanuaryWeiner1
Received: 6 March 2015 / Accepted: 16 April 2015 / Published online: 26 May 2015
© The Author(s) 2015. This article is published with open access at Springerlink.com
AbstractGrowing interest in the application of stoichio- metric approaches to community ecology has resulted in an increasing number of studies examining invertebrate body composition. Our experiments demonstrate various sources of possible error related to the use of pre-analytical proce- dures.Weexamined the effects of different preservatives (ethanol and formaldehyde) used in pitfall traps, time of preservation (2 weeks or 3 days) and drying method (vac- uum drying at 50 °C and freeze-drying) on the determina- tion of body composition in invertebrates representing taxa often used in such studies: earthworms and five species of insects (adults or larvae). The contents of C, N, S,P,Fe, Zn, Cu, Mn, Ca, Mg and K in each animal were measured. The use of solvents (ethanol or formaldehyde) in pitfall traps and for preservation significantly affects thebody composition and stoichiometry of earthworms,evenduring short exposure times. Insects (both adults and larvae) were affected only during a 2-week exposure; 3 days ofexposure did not significantly change their chemical composition.Vacuum-ovendrying of animals at 50 °C does not affect their body composition relative tofreeze-drying.
studies examining the body composition of invertebrates (Bertram et al.2008; González et al.2011; Pokarzhevskii et al.2003;Woodset al.2004). Another emerging area of interest is ecotoxicology: the precise determination of the concentration of elements (especially heavy metals) in ani- mal bodies. Invertebrates are used to test toxic substances and serve as indicators of pollution in the field (Spurgeon et al.2003).
Analytical procedures are not error-free; each procedure can be riddled with errors ranging from the more prevent- able (e.g., imprecise execution of a procedure) to the ones difficult to prevent (e.g., equipment failures). Nevertheless, these errors can often be detected and avoided through the use of certified materials (with known elementalconcentra- tion) as controls.However,the measured element content can also be affected by the way in which study animals are treated pre-analytically. Such differences are a source of systematic error. In ecological stoichiometry, the bodycon- tents of several elements must be measured in numerous individuals, particularly if small-bodied organisms,such as soil and litter invertebrates, are studied, and this requires extensivesamplinginthefield.Theacceptedwaytosample animals for analytical purposes is to catch them alive and kill them immediately by freezing and drying (lyophiliza- tion; Bertram et al.2008; Cross et al.2003; Marichal et al.2011;Woodset al.2004). For practical reasons, such a pro- cedure is not always possible. A commonly used method of sampling litter invertebrates is pitfall trapping (Duelli et al.1999). This method allows the composition of mac- rofaunal communities to be screened so that a diverse num- ber of individuals from different taxa are sampled without disturbing the environment. Pitfall traps can be exposed for various time periods, from 1 day to several weeks (Duelli et al.1999). Pitfall traps are most commonly filled with ethanol, ethylene glycol (automobile antifreeze)or
KeywordsInsects · Earthworms · Pitfall traps · Preservation · Elemental body composition
Introduction
Growing interest in the application of
stoichiometric
approaches to community ecology has resulted innumerous
*Anna Roz˙enanna.rozen@uj.edu.pl
1
Institute of Environmental Sciences, JagiellonianUniversity, ul. Gronostajowa 7, 30-387 Kraków,Poland
13
ORIGINAL RESEARCH PAPER

394
Appl Entomol Zool (2015) 50:393–403
formaldehyde solution (Braun et al.2009; Gibb and Oseto2006; Knapp2012). These chemicals prevent animals from escaping, kill them quickly and effectively preserve them for further investigations.However,preservation can also affect the chemical body composition—some elements can be washed out as a result of the partial dehydration of organisms; nevertheless, some authors continue to use ethanol to kill animals for elemental analysis (e.g., Naka- mura et al.2005). Among numerous papers on the impact of pitfall traps on collected animals, only a few address this problem. Zödl and Wittmann (2003) studied the effects of pitfall traps on metal concentrations in selected inverte- brates. Braun et al. (2009),2012studied the consequences of the composition and concentration of reagents used in pitfall traps and the preservation of firebugs (PyrrhocorisapterusFallén) on elemental analysis, while Knapp (2012) investigated the impact of preservative fluid and storage conditions on the estimation of body mass in carabid bee- tles [Anchomenus dorsalis(Pontoppidan)].
Priortoelemental analyses, sampleshaveto bedried.Dry-
ingcantakeplaceathightemperaturesinstandarddriers,vac-uumdriers(whichallowsamplestodryatlowertemperatures than standard ones)or bydehydrationatlowtemperatures (freeze-drying; Coutureet al.2010; Crosset al.2003). The most commonly used temperaturesfordrying animals are60 °C and 50 °C(Bertramet al.2006,2008; Nakamuraetal.
2005; NakamuraandTaira2005; KagataandOhgushi2007;Kay et al.2006; Larsenet al.2009,2011; Marichaletal.2011;Villanuevaet al.2011;Woodset al.2004). Numerous papers that reporton thechemical body compositionofinver-tebratesdonotprovidecompleteinformationonthesamplingandanalytical prepping procedures used (Hambäcketal.2009).Thedrying proceduremaychange elementalcomposi- tion (e.g.,due to thevaporizationofsomecompounds).Pres-ervationmethodsdifferintheireffectsonparticularinverte-brate taxaanddevelopmentalstages (e.g., soft-bodied, high water content animals, suchasannelid worms,andchitinized arthropods, suchasbeetleimagines).
The goal of our experiments was to identify sources of error resulting from pre-analytical procedures in physi- ologically different species of invertebrates.Weemployed commonly used, commercially available animals for our analysis, including earthworms, representing an important and abundant group of soil animals used in ecotoxicologi- cal tests, and various insect species at the adult and larval stages. Animals differed in their sensitivity to desicca- tion, water and fat content and their degree of chitinization (Finke2002,2007; Finke andWinn2004).
Wetested two killing agents routinely used in the traps: ethanol and formaldehyde.Weexcluded ethylene gly- col from the study because this agent forms a sticky layer on the animals’ body that may affect both body mass and composition, especially when it is used in the formof
automobile antifreeze (Braun et al.2009,2012; Knapp2012). This property, therefore, makes use of ethylene gly-col unsuitable for preserving animals for chemical analysis.
The aims of the study were to answer the following questions:
1.
How do different preservation methods influence the concentrations of C, N, S, P, Fe, Ca, Mg, Mn, K, Zn and Cu in invertebrates?
How do the effects observed in soft-bodied inverte- brates (i.e., earthworms) differ from those observed in invertebrates with chitinized bodies (e.g., insects)?
How does the time of preservation affect the body composition of invertebrates?
How do drying methods affect the determination of invertebrate body dry mass and composition?
2.
3.
4.
Materials and methods
Experimental animals
The following species of invertebrates were used for this study: earthwormsDendrobaena veneta(Rosa) (Oli- gochaeta: Lumbricidae), cricketsGryllus assimilis(Fab- ricius) (Orthoptera: Gryllidae), two species of tenebrionid larvae:TenebriomolitorL. (Coleoptera: Tenebrionidae) andZophobas morioFabricius (Coleoptera: Tenebrioni- dae), house fly larvae (Musca domesticaL., Diptera: Mus- cidae) and Guyana orange spotted cockroach (BlapticadubiaServille, Blattodea: Blaberidae). The earthworms were subdivided into two size classes: small (immature, smaller than 0.018 g dry mass) and large (subadult and adult heavier than 0.04 g dry mass). All animals originated from commercial cultures.
Experiment description
Toassesstheimpactofdifferent preservatives(etha-nol andformaldehyde)oninvertebrate bodycomposi- tion,theimpactofpreservationtime and theimpactofthedrying methodonthedeterminationofthebodycompositionofinvertebrates,weconductedthreeexperiments:
Long exposure simulation (2 weeks of pitfall trapexposure)
Each of the above-listed animal species was divided into three groups treated in the following ways:
–
group 1 (reference): frozen (in−20 °C, after taking
from culture), to determine the body composition of untreated animals (N=5);
13

Appl Entomol Zool (2015) 50:393–403
395
– group 2: stored in 4 % formaldehyde
for 2 weeks
cooledtoroomtemperatureandwasfilled withupto30 ml ofdeionizedwater.Thedigested sampleswereanalyzedfor Zn, Fe, Ca, MgandKbyflameAAS (Per-kin-Elmer AAnalyst800) and forMnandCu bygraph-itefurnaceAAS(Perkin-Elmer AAnalyst 800).Fiveblank samplesofnitricacidaccompaniedeveryanalyti-calrun.
Phosphorus concentrations were determined in nitric acid digested samples by the colorimetric method using a flow injection analyzer (FIA-System MLE GmbH).
The analytical precision of all analyses was confirmed against certified standard material (NCS ZC81001, pork liver; NCS ZC73016, chicken).
(N=5);
– group 3: stored in 70 % ethanol for 2 weeks (N=5).
Before the experiment, the earthworms were kept on moist blotting paper for 48 h to clean the gut. Before weighing, the animals preserved in ethanol or formalde- hyde were gently dried on blotting paper. Thereafter, the animals were dried in a vacuum drier at 50 °C for 48h.
Short exposure simulation
Based on the results of the previous experiment, the short exposure simulation was performed on selected groups of animals. Only adultD. veneta, the species most strongly influenced by preservation methods, andM. domes-ticalarvae, the species least influenced by preservation methods, were used in this experiment as representative insects. Animals were treated as in the previousexperi-
Statistical analysis
For comparisons of the body composition between taxa (only frozen animals), we used a one-wayANOVAsepa- rately for each micro- and macroelement. If the data didnot meet normality and homogeneity of variance (C:N, C:S), we used a nonparametric test (Kruskall-Wallis).Tocom- pare the elemental concentrations in animals preserved using various methods, we used a one-wayANOVAsepa- rately for each taxon, preservation time and element. For short-term preservation, onlyD. venetaandM. domesticalarvae were used. Pooling together two or three individu-als in one sample may mask the individual variation of the results, but at any statistical comparisons of averages this effect is compensated by the reduced number of the degrees of freedom (the confidence limits of the means remainunaffected).
Toanalyze the differences between groups of samples preserved using three methods and two exposition timeswith regard to all analyzed elements, we performed a prin- cipal component analysis (PCA) on the correlation matri- ces.Weonly used the data for earthworms and fly larvae and only the elements analyzed in both long- and short- term exposure times (i.e., only microelements).Wethen conducted a two-wayANOVAon the scores of the first and second principal component axes to test for significant dif- ferences between exposure time and preservation method and to test for interaction effects between exposure time and preservation method.
The effect of drying and preservation method on body mass loss was analyzed only for earthworms and flylarvae.Wecompared the initial fresh body masses of the experi- mental animals using a one-wayANOVA.The differences in the loss of fresh body mass during 2 weeks of preserva- tion between animals preserved in ethanol and in formal- dehyde were analyzed using attest.Toanalyze the effect of both preservation and drying method on body mass loss, a two-wayANOVAwas used. Results are presentedas
mean±SE.
13
ment, but only for 3 days: (1) frozen (N=9), (2) stored in
4 % formaldehyde (N=9) and (3) stored in 70 % ethanol
(N=9). Earthworms were kept before the experiment for
48 h on moist blotting paper to clean the gut. After treat- ment, the animals were dried in a vacuum drier at 50 °C for 48h.
Drying method simulation
Again, only earthworms (N=5) and house fly larvae
(N=8) were used. The animals were treated as described
for the short exposure simulation, then subdivided into two groups: one dried in a vacuum drier at 50 °C for 48 h and the other freeze-dried for 7 days.
Analytical procedures
Dried animals were powdered in a porcelainmortarbeforeanalysis. Because body size differs among the species stud- ied, different numbers of individuals were taken per sam- ple: one (earthworms,Zophobaslarvae, cockroaches,crick- ets), two (fly larvae) or three (Trenebriolarvae), so that the total sample mass (not lower than 0.1 g dry mass) would allow all studied elements to be analyzed in one individual or in one sample. The contents of C, N, S, Fe, Zn, Cu, Mn, Ca, Mg and K were measured in the long-exposure simula- tion, andP,Fe, Zn, Cu, Mn, Ca and Mg were analyzed in the short-exposuresimulation.
Total CandtotalNcontentsweredeterminedusingthePerkin-ElmerCHN analyzer. Themetal content was determinedbyatomic absorption. Dried samplesweredigestedin5mlboiling, concentrated(65%)nitricacid(Suprapur,Merck).When thefumeswerewhiteandthesolutionwascompletelyclear,thesampleevaporated,

396
Appl Entomol Zool (2015) 50:393–403
Table1Macroelement content (% dry mass±SE) and C:N, C:S and N:S ratio (molar) in the bodies of studiedanimals
Species
N (%)
C (%)
S (%)
C:N
C:S*
N:S*
11.47±0.20a
11.33±0.13a
7.58±0.33b
9.14±0.26c,d
47.91±0.65a,d
48.65±0.09a,d
58.17±0.62b,e
50.14±0.84a,c,d
0.91±0.09a
0.80±0.04a
0.56±0.07b,c
0.31±0.02b
4.87±0.13a
5.01±0.06a
8.98±0.33b
6.42±0.21c,d
63.15±5.41a
71.30±3.95a
121.82±10.77b
193.83±15.79b
160.94±34.54
117.48±1.98
119.26±6.29
29.79±3.21a
32.49±1.56
31.20±3.05a
68.63±3.68b
55.93±11.60
46.94±1.61
37.65±2.13
D. venetaimm.
D. venetaad.Zophobas moriolarvaeTenebrio molitorlarvaeBlaptica dubia
Gryllus assimilis
Musca domesticalarvae
9.34±0.11c,d
52.05±1.08a,c
0.47±0.11b
6.51±0.15c,d
d
d
b
a,d
9.78±0.21
48.03±0.98
0.48±0.01
5.74±0.18
8.47±0.14b,c
52.69±1.14c,e
0.51±0.03b,c
7.25±0.17c
Superscript letters denote homogeneous groups (one-way ANOVA, Tukey’s HSD testp< 0.05, or * Kruskal-Wallis test, and post hoc multiple comparison by ranksp< 0.05)
Table 2Microelement content in the bodies of animals studied (mg kg−1dry mass±SE)
Fe (mg kg−1)
Zn (mg kg−1)
Mn (mg kg−1)
Cu (mg kg−1)
Ca (mg kg−1)
Mg (mg kg−1)
K (mg kg−1)
Species
D. venetaimm.	103.27±15.17a
5.03±1.60a
10.06±4.06a,c
29.85±5.43a,c
16.55±2.89a,c
36.12±7.24b,c
58.13±7.06b
10.44±2.01a
7.60±0.53a
7.34±0.86a
10.99±1.62a
24.39±2.22b,c
11.77±1.93a
25.12±4.22b
11.34±2.00a,c
5249.68±343.73a
3075.89±144.13b,d
969.39±228.86c
959.58±107.93c
643.25±132.72c
2261.76±259.59b,d
1898.12±381.45c,d
879.01±141.83a
712.83±12.97a
1510.84±231.71a,c
3405.13±146.90b
1898.75±204.67c
966.91±39.37a
846.16±47.05a
8547.90±457.07a
7230.46±176.69a
8231.36±596.05a
11894.82±825.90a,c
10089.69±1336.48a
14769.57±599.48b,c
9631.33±95.129a
140.53±27.94
110.04±2.15
85.48±5.43a
165.53±13.27
169.15±22.81
201.73±21.10b
106.23±6.55a
247.45±56.41b
D. venetaad.
Zophobasmorio	62.06±7.83a
larvae
Tenebrio molitor
larvae
Blaptica dubia
62.45±9.31c
54.15±4.37c
Gryllus assimilis	83.94±6.12a
Muscadomestica	70.50±5.31a
larvae
Superscript letters denote homogenous groups (one-wayANOVA,Tukey’sHSD testp< 0.05)
Statistical analyses were performed using the statistical packagesSTATISTICA10 and CANOCO 5(TerBraak and Šmilauer2012).
Microelements
Somemicroelementsdifferedsignificantlyintheir concentra- tionsinthespecies studied(Table2). Theearthwormscon-tainedmuchhigher concentrationsofiron andcalcium,T.molitorlarvaecontained higher concentrationsofmagnesium,andT.molitorandG.assimiliscontained higher concentra- tionsofcopperthanany other animals studiedhere(Table2).
Results
Body composition and stoichiometric relations of experimental animals
Impact of preservation methods and time of preservation on body composition
Only frozen individuals (control samples) were used for comparisons of body composition between taxa.
Long exposure simulation
Macroelements
MacroelementsThepreservationmethodaffectedthe measurementofmacroelement contentinanimal bodies andtheir stoichiometric relations (Fig.1,resultsofANOVAinTable3).
For earthworms, significant differences were found in carbon (higher concentration in formaldehyde preserved individuals) and nitrogen (higher concentration in etha- nol preserved individuals). For insects, statistically sig- nificant differences between samples preserved in different wayswereobservedforcarboncontent(B.dubia,higher
The animals studied differed in both concentrations of macroelements and their stoichiometric relations (Table1). Earthworm (D. veneta) tissues were richer in nitrogen than all other animals studied, whereas the lowest concentration of nitrogen was found inZ. moriolarvae.Z. moriolarvae differed clearly from all other animals in carbon content. The concentration of sulfur was the highest in earthworms. C:N and C:S ratios were the lowest in earthworms and the highest inZ. moriolarvae andT. molitorlarvae (Table1).
13

Appl Entomol Zool (2015) 50:393–403
397
kg−1
Fig. 1Concentrations of elements (%
or mg
dry mass,
immature individuals,DvadDendrobaena venetaadult individuals,Zm Zophobas moriolarvae,Tm Tenebrio molitorlarvae,Bd Blapticadubia,Ga Gryllus assimilis,Md Musca domesticalarvae
mean±SE) in invertebrates that were
frozen (white bars), pre-
served in ethanol (gray bars) and preserved in formaldehyde (darkgray bars) for 2 weeks (long exposure).DvimmDendrobaena veneta
13

398
Appl Entomol Zool (2015) 50:393–403
Table 3ANOVA table for differences between elemental concentrations in animals preserved using various methods: frozen (M), preserved in ethanol (E) and in formaldehyde (F)
Species
C
N
S
Fe
Zn
Cu
Mn
Ca
Mg
K
Long-term exposition simulation
Dendrobaenavenetaimm.
D. venetaadult
0.006
E≠F
<0.0001 (M,E)≠F0.18
0.005
(M,F)≠E 0.0009
(M,F)≠E
0.64
0.48
0.07
0.04
E≠F
<0.0001 (M,F)≠E0.62
0.02
M≠F 0.003
(M,E)≠F
0.36
0.05
0.03
E≠F
<0.0001
M≠E≠F
0.05
0.007
M≠F
<0.0001 (M,E)≠F0.78
<0.0001
M≠(E,F)
<0.0001
M≠(E,F) 0.002
M≠E, F 0.002
M≠E, F
0.16
0.008
M≠F
0.09
0.94
0.07
Zophobas morio
larvae
Tenebrio molitor
larvae
Blaptica dubia
0.006
M≠(E,F)
<0.0001
M≠E≠F
0.35
0.12
0.01
E≠F
0.96
0.44
0.36
0.80
0.39
0.18
0.49
0.05
0.04
M≠E
0.12
0.1
0.46
0.77
0.82
0.80
0.66
<0.0001
M≠E≠F
<0.0001
M≠E, F
Gryllus assimilis
0.75
0.08
0.06
0.44
0.71
0.53
0.50
0.05
Musca domestica
larvae
0.3
0.02
M≠F
0.06
0.53
0.65
0.98
0.26
0.26
0.11
Short-term exposition simulation
D. venetaadult
0.01
M≠E
0.14
0.0004 (M,F)≠E
0.85
0.13
0.92
0.013
E≠F
0.08
<0.0001 (M,E)≠F 0.016
M≠E
<0.0001
M≠E≠F
0.48
M. domestica
larvae
0.32
0.1
Values that indicate significance probability levels (p) are given. Forp< 0.05, the results of Tukey’s HSD post hoc tests of differences between treatments are given (≠denotes a significant difference between the groups indicated)
concentration in both ethanol- and formaldehyde-preserved individuals), nitrogen content (M. domesticalarvae, higher concentration in both ethanol and formaldehyde) and sulfur content (T. molitorlarvae, higher concentration in ethanol;
M. domesticalarvae, higher concentration in ethanol).
Significant differences in stoichiometric relations were found only in earthworms (C:N ratios lower in ethanol).
concentration was 0.69 %±0.03 and was significantly
lower both in ethanol (0.41 %±0.03) and formaldehyde
(0.44 %±0.02).
InM. domesticalarvae, the phosphorus concentra-
tion in all treatment groups was similar (0.74 %±0.01—
frozen, 0.72 %±0.01—in ethanol, 0.74 %±0.01 in
formaldehyde).
MicroelementsMicroelement contentsintheearthwormswerestrongly affectedbythepreservation method(ANOVAresultsinTable3).Significant differenceswereobservedinall elements except manganese(Table3).Potassiumwas themost easily washedoutduring preservationofallanimals studied (exceptB.dubia)(Fig.2).Statistically significantdifferencesbetween preservation methodswere also found for ironinT.molitorlarvae(Fig.2);however,thedifferencewasonlysignif-icantbetween animals preservedinethanolandformaldehyde.
MicroelementsThe results of microelement analyses inD.venetaare similar to those in the long-exposure simulation (Fig.2). Significant differences were found between treat- ment groups in all elements except manganese and copper (Table3).
InM. domesticalarvae(Fig.2), a significantdifferencewasfound only in magnesium content between ethanol-exposedand frozenindividuals;however,sucheffectswere notfoundinthelong-termpreservationexperiment(Table3).
Preservation time
Short exposure simulation
MacroelementsIn this simulation, only the phosphorus concentrations were measured.
InD. veneta, the phosphorus concentrations dif-
fered significantly in particular treatment groups (F2, 11=36.72,p=0.00001):infrozenanimals,thephosphorus
13
The effect of preservation time on the earthworms and fly larvae was examined with respect to all the microelements analyzed in long and short exposures. In both species, the samples preserved in formaldehyde for long time periods clustered separately on the PCA plot from those exposed

Appl Entomol Zool (2015) 50:393–403
399
Fig. 2Concentrations of elements (mg kg−1dry mass, mean±SE) in earthworms (D. veneta) and fly larvae (M. domestica) preserved for
3 days (short exposure).White barsfrozen individuals;gray barspreserved in ethanol;dark gray barspreserved informaldehyde
for short time periods (Fig.3). This effect for alcohol is only visible in fly larvae (Fig.3).
A two-way ANOVA performed on the scores from the first and second principal component axes provides a more detailed picture of the effect of different preservation meth- ods on the elemental content of samples.
of Zn and Cu) from the samples preserved in formaldehyde as well as the frozen samples (preservationp< 0.00001, time ns,p=0.05, interaction ns,p=0.18).
Fly larvae
Samplespreservedfor long time periodsdifferedfrom sam-plespreservedfor short time periods (first axis:preservation
Earthworms
ns,p=0.96,timep<0.00001,interactionns,p=0.26;Fig.
Along the first (horizontal) axis, a significant interaction was detected between the preservation mode and time (preservationp< 0.00001, timep< 0.00001, interactionp< 0.00001) (Fig.3). Samples preserved in formaldehyde differed greatly from frozen samples in the content of Mg, K and Ca (variables with the highest loadings on the first axis). Among formaldehyde samples, a clear differencewas visible between samples preserved for long and shorttimes. Among the samples frozen and preserved in ethanol, there was no detectable effect of exposure time on elemental composition (Fig.3). The second axis shows the differen- tiation of samples according to preservation method. The samples preserved in ethanol differed (higherconcentration
3). Long-term preserved samples contained less Mg and Ca but more Cu. The second axis separates samples according to preservation method (preservationp< 0.002, time ns,
p=0.09, interactionp< 0.0007). Samplespreservedinfor-
maldehydeforlongtimeperiodshadlittleKandMn.
The effect of preservation and drying methods on dry body mass
Earthworms
Before the experiments, the body masses of the earthworms did not significantly differ between experimental groups
13

400
Appl Entomol Zool (2015) 50:393–403
Fig. 3The effect of exposure time (2 weeks vs. 3 days) of vari- ous preservation agents on body composition (PCA plot, all ele- ments except C, N, S).aearthworms,bfly larvae.Trianglesfrozen,circlesethanol preserved,squaresformaldehyde preserved.Filledsymbolslong (2 weeks) exposition,emptyshort (3 days)exposi-
tion. Component loadings:aAxis1Mg= −0.91, K= −0.87,
Ca= −0.78, Cu=0.72, Fe=0.62, Zn= −0.13, Mn= −0.03.
Axis2Zn=0.80, Mn=0.72, Fe=0.69, Ca=0.46, Cu=0.46,
Mg=0.34, K= −0.04.bAxis1Mg= −0.90, Ca=−0.88,
Cu=0.77, Zn= −0.69, Mn=0.59, K= −0.37, Fe= −0.17.Axis2
K=0.73, Mn=0.64, Cu=0.41, Zn=0.39, Mg=0.27, Fe=0.18,
Ca= −0.14
Table4Fresh and dry mass (mean±SE) of dried experimental animals that differ in the way they werepreserved
Initial fresh body mass (g Wet mass of preserved individuals (% Dry mass (% of initial fresh mass)
ind−1)
of initial mass)
Vacuumdried (50 °C)
Freeze-dried
Earthworms Frozen
Preserved in ethanol Preserved in formaldehyde
Fly larvae Frozen
Preserved in ethanol
Preserved in formaldehyde
1.2±0.07
1.1±0.09
1.1±0.07
0.09±0.002
0.08±0.002
0.09±0.003
17.9±0.9
12.6±0.6
13.2±0.9
30.1±0.7
30.3±0.5
30.3±1.3
16.3±0.5
13.0±1.1
13.2±0.3
29.2±0.4
30.5±0.7
29.3±0.6
58.6±0.9
55.9±1.5
93.8±0.5
98.6±0.2
(F5,33=0.53,p=0.75) (Table4). During preservation, the
in formaldehyde (Tukey HSDp=0.89). The interaction
earthworms lost their body mass, but the difference in the wet mass of animals preserved in ethanol and in formalde-
between the preservation method and drying method was insignificant (F2,33=1.20,p=0.31).
Fly larvae
hyde was not significant (t16= −1.7,p=0.1) (Table4).
After drying, the dry body masses (% of fresh mass) of the earthworms preserved before drying were significantly lower than those frozen before drying in all experimental groups(Table4). A two-wayANOVAindicated thatthere
Body mass loss during preservation was much lower in the fly larvae than in the earthworms (Table4), but the differ- ence between ethanol- and formaldehyde-preserved indi-
was an insignificant effect of drying method (F1,33=0.56
p=0.46) and a highly significant effect of preservation
viduals was significant (t26=9.3,p< 0.0001). After dry-
method (F2,33=22.32,p< 0.0001). Frozen individuals dif-
ing, the fly larvae lost much less of their mass than the earthworms, and neither the preservation method nor the drying method affected the dry masses of individuals from all groups (two-way ANOVA: drying methodF1,39=0.82,
fered from both the ethanol- and formaldehyde-preserved individuals (Tukey HSDp< 0.001), while no difference was observed between individuals preserved in ethanol and
13

b

a

Appl Entomol Zool (2015) 50:393–403
401
p=0.37; preservation method
F2,39
=0.53,p=0.59)
of nitrogen metabolism (containing urea, NH3, uric acid) that are excreted with mucus (Laverack1963), their loss alters the chemical composition of their body. After 3 days
of preservation, the earthworms lost over 40 %oftheirwet body mass, while the fly larvae lost less than 10 %(Table4). The proportion of water lost during preserva- tion in earthworms observed here is significantly higher than that lost inLumbricus terrestrisL. reported by Satch- ell (1971) and Raw (1962; cited after Satchell1971). This inconsistency may be explained by the differences in water loss between species (Satchell1971;Wetzelet al.2005). Finally, the different proportion of the preservation agent relative to the mass of the preserved organism may provide another possibleexplanation.
The dry masses of the fly larvae did not differ signifi- cantly between treatment groups (frozen, preserved inetha- nol or formaldehyde;Table4) or between drying methods (freeze-dried vs. 50 °C vacuum-dried,Table4). In contrast, the dry masses of the earthworms preserved in solvents were significantly lower than the dry masses of the frozen earthworms(Table4). The body mass loss during preser- vation is mainly due to the excretion of mucus, a reaction to stress in earthworms. The excretion of mucus may affect the body composition of earthworms in two ways: some elements may be more condensed in the dry mass of par- ticular tissues, while other elements may have lower con- centrations as a result of the loss of mucus (Scheu1991).
It is often difficult to judge which solvent—ethanol or formaldehyde—more strongly influences bodycomposition (Figs.1,2;Table3). The overall patterns in the changes in invertebrate body stoichiometry due to the exposure of preservation agents can be visualized using multidimen- sional analysis. The PCA plot on the two major axes sug- gests that the effect of formaldehyde is more pronounced (Fig.3).
Another important factor is the time of exposure(Wetzelet al.2005). For the insects studied (except cockroaches), during 2 weeks of preservation, potassium declinedrapidly, as this element is very mobile and can be easily washed out, but the concentrations of other elements were not affected(Table3). Three days of exposure did not result in any significant difference in potassium concentration in the fly larvae(Table3). In contrast, the preservation of earth- worms in both ethanol and formaldehyde resulted in sig- nificant changes in the concentration of almost all the ele- ments studied, even after only 3 days of preservation. The potassium concentration in the earthworms preserved for 2 weeks in ethanol amounted to only 1/8 of those in the freeze-dried individuals, whereas the earthwormscontained approximately 1/3 of the amount in the freeze-dried ones after 3 days of preservation in ethanol (Figs.1,2).
Our results show that preservation time plays an impor- tant role in the migration of elements from animal bodies.
(Table4). The interaction between preservation method and drying method was insignificant (F2,39=0.34,p=0.71).
Discussion
The results of our study show that the use of solvents(etha- nol or formaldehyde) in pitfall traps as killing agents and for preservation significantly affects the body composition and stoichiometry of earthworms, even during short expo- sure times. Insects (both adults and larvae) were affected only during a long (2 weeks) exposure; a 3-day exposure did not significantly change their chemical composition. Preservation time may play an important role in the migra- tion of elements from animal bodies. When using pitfall traps to sample invertebrates for chemical analyses,the time of exposure must be reduced—collecting animals from the traps every day is recommended. The effect of preservation in ethanol on body composition appears to be weaker than that of formaldehyde. Drying of animals at low temperatures (50 °C) in a vacuum does not affect their body composition compared with freeze-drying.
The results of the present study are compatible with pre- vious studies (Braun et al.2009,2012; Zödl and Wittmann2003), although the methods and animals used were differ- ent. Among the animals studied, insects (both adults and larvae) appeared to be more resistant to the impact of pres- ervation on body composition than oligochaetes. The short preservation time (3 days) did not significantly affect their element contents. The main factors determining the sus- ceptibility of body chemistry to preserving liquids are the permeability of the bodycover,the mobility of elements in the body tissues and the duration of exposure. Insects like arachnids are adapted to terrestrial environments, and their body cover prevents water loss in dryair,whereas oli- gochaetes (earthworms and enchytraeids), which inhabit the soil, escape dry conditions by moving into deeper soil layers or going into diapause (Edwards and Bohlen1996; Lavelle and Spain2005).Additionally, oligochaetes excrete high amounts of mucus, which allows them to keep their body moist even under dry environmental conditions. Another group of terrestrial animals that appears to lose elements quite easily during preservation is isopods, as has been shown by Zödl and Wittmann (2003).However,2 weeks of exposure to formalin in pitfall traps affected the metal concentrations in only one (Zn) or two (Cu) of the four populations sampled by Zödl and Wittmann(2003).
Because of the differential permeability of the integu-
ment, animals preserved in ethanol or formaldehyde lose their body liquids at different rates. Because body liquids may contain certain amounts of elements (e.g., nitrogen, potassium, sodium and in oligochaetes) as well as products
13

402
Appl Entomol Zool (2015) 50:393–403
However, collecting insects for chemical analyses in pitfall traps filled with preservation solvent may be employed if the time of exposure is reduced to a minimum (collecting animals from the traps every day), but oligochaetes should be collected alive.
of benthic invertebrate nutrient recycling: interspecific variationand the role of body mass. Aquat Ecol 44:421–430
Bertram SM, Schade JD, Elser JJ (2006) Signalling and phosphorus: correlations between mate signalling effort and body elementalcomposition in crickets. Anim Behav 72:899–907
Bertram SM, Bowen MM, Kyle MM, Schade JD (2008) Extensive natural intraspecific variation in stoichiometric (C:N:P)composi-tion in two terrestrial insect species. J Insect Sci8:1–7
Braun M, Simon E, Fábián I, Tóthmérész B (2009) The effects of ethylene glycol and ethanol on the body mass and elemental composition of insects collected with pitfall traps. Chemosphere77:1447–1452
Braun M, Simon E, Fábián I, Tóthmérész B (2012) Elemental analy- sis of pitfall-trapped insect samples: effects of ethylene glycolgrades. Entomol Exp Appl 143:89–94
Couture JJ, Servi JS, Lindroth RL (2010) Increased nitrogen availa- bility influences predator–prey interactions by alteringhost-plantquality. Chemoecology20:277–284
Cross WF, Benstead JP, Rosemond AD, Wallace JB (2003) Con- sumer-resource stoichiometry in detritus-based streams. EcolLett 6:721–732
DuelliP,Obrist MK, Schmatz DR (1999) Biodiversity evaluation in agricultural landscapes: above-ground insects. Agr EcosystEnvi-ron 74:33–64
Edwards CA, Bohlen PJ (1996) Biology and ecology of earthworms, 3rd edn. Chapman and Hall, London
Edwards FK, Lauridsen RB, Armand L, Vincent HM, Jones JI (2009) The relationship between length, mass and preservation time for three species of freshwater leeches (Hirudinea). Fund Appl Lim-nol 173:321–327
Finke MD (2002) Complete nutrient composition of commercially raised invertebrates used as food for Insectivores. Zoo Biol21:269–285
Finke MD (2007) Estimate of chitin in raw whole Insects. Zoo Biol26:105–115
Finke MD, Winn D (2004) Insects and related arthropods: a nutri-tional primer for rehabilitators. J Wildlife Rehabil 27:4–27
Gibb TJ, Oseto TY (2006) Arthropod collection and identifica- tion: laboratory and field techniques, 1st edn. Academic Press,Amsterdam
González AL, Fariña JE, Kay AD, Pinto R, Marquet PA (2011) Exploring patterns and mechanisms of interspecific and intraspe- cific variation in body elemental composition of desert consum-ers. Oikos 120:1247–1255
Hambäck PA, Gilbert J, Schneider K, Martinson HM, Kolb G, FaganWF (2009) Effects of body size, trophic mode and larval habi-
Our results suggest
that there is no effect of drying
method (vacuum in 50 °C and freeze-drying) on the results of invertebrate body composition analyses. Experiments by Zödl and Wittmann (2003) suggested that heat drying (at 105 °C) did not affect the concentration of heavy met- als in invertebrate bodies;however,the authors noted that in the case of volatile elements (Hg, As) high temperature may result in erroneous estimations. Some authorshaveusedevenhigher temperatures (70–130 °C, Alves et al.2010; Braun et al.2009; Jelaska et al.2007;Visanuvimoland Bertram2011). This may result in the evaporation of some organic compounds (e.g., lipids), resulting in the loss of dry mass and spuriously increasing the concentration of other elements. The high drying temperatures above the point of protein denaturation (approximately 70 °C) may cause a release of volatile forms of nitrogen; therefore, we recommend freeze-drying or heat-vacuum drying atlowertemperatures.
Conclusions
Our results show
that the methods of handling animals
before chemical analyses (sampling, pitfall traps, method of preservation, time of preservation and drying) may sig- nificantly affect results of the body composition and stoi- chiometry of invertebrates.However,the pitfall traps with an appropriate solvent may be used for sampling animals for chemical analyses if the exposition time is minimized.Werecommend using ethanol as a solvent and exposition of traps limited to 1 dayonly.
AcknowledgmentsThe authors wish to thankDr.AgnieszkaPas´nikfor technical assistance. The study was supported by grant no. Nr N N303 0521 33 from the Polish State Committee for Scien- tific Research (KBN) and by Jagiellonian University (DS/WBINOZ/ INOS/736/09).
tat on Diptera stoichiometry: a regional comparison. Oikos
ć P, Jelaska SD (2007) Heavy metal
118:615–623
Jelaska LS, Blanuša M, Durbeši
concentrations in ground beetles, leaf litter, and soil of a forestecosystem. Ecotox Environ Safe 66:74–81
Kagata H, Ohgushi T (2007) Carbon–nitrogen stoichiometry in the
Open Access
tritrophic food chain willow, leaf beetle, and predatory ladybirdbeetle. Ecol Res 22:671–677
Kay AD, Rostampour S, Sterner RW (2006) Ant stoichiometry: elemental homeostasis in stage-structured colonies. Funct Ecol20:1037–1044
Knapp M (2012) Preservative fluid and storage conditions alter body mass estimation in a terrestrial insect. Entomol Exp Appl143:185–190
Larsen T, Ventura M, Damgaard C, Hobbie EA, Krogh PH (2009)Nutrient allocations and metabolism in two collembolans with contrasting reproduction and growth strategies. Funct Ecol23:745–755
Larsen T, Ventura M, O’Brien DM, Magid J, Lomstein BA, Larsen J (2011) Contrasting effects of nitrogen limitation and amino acid
This article is distributed under the terms of the
Creative Commons Attribution 4.0 International License(http://crea- tivecommons.org/licenses/by/4.0/), which permits unrestricted use, distribution, and reproduction in any medium, provided you give appropriate credit to the original author(s) and the source, provide a
link to the Creative Commons license, and indicate if changes were made.
References
AlvesJM,CalimanA,GuarientoRD,Figueiredo-BarrosMP,Carneiro LS,FarjallaVF,BozelliRL,EstevesFA(2010)Stoichiometry
13

Appl Entomol Zool (2015) 50:393–403
403
imbalance on carbon and nitrogen turnover in three species ofCollembola. Soil Biol Biochem 43:749–759
Lavelle P, Spain AV (2005) Soil ecology, 1st edn. Kluwer AcademicPublishers, Dordrecht
LaverackMS(1963)Thephysiologyofearthworms,1stedn.Macmil-lan, NewYork
Marichal R, Mathieu J, Couteaux MM, Mora P, Royc J, Lavelle P (2011) Earthworm and microbe response to litter and soils of tropical forest plantations with contrasting C:N:P stoichiometricratios. Soil Biol Biochem 43:1528–1535
Nakamura K, Taira J (2005) Distribution of elements in the mil- lipede,Oxidus gracilisC. L. Koch (Polydesmida: Paradoxoso- matidae) and the relation to environmental habitats. Biometals18:651–658
Nakamura K, Taira J, Higa Y (2005) Internal elements of the milli- pede,Chamberlinius hualiensisWang (Polydesmida: Paradoxo-somatidae). Appl Entomol Zool 40:283–288
Pokarzhevskii AD, van Straalen NM, Zaboev DP, Zaitsev AS (2003) Microbial links and element flows in nested detrital food-webs.Pedobiologia 47:213–224
Satchell JE (1971) Earthworms. In: Philipson J (ed.). Methods of study in quantitive soil ecology: population, production and energyflow.IBP Handbook, vol 18. Blackwel ScientificPublica-tions, Oxford, pp107–127
Scheu S (1991) Mucus excretion and carbon turnover of endogeic earthworms. Biol Fert Soils 12:217–220
Spurgeon DJ, Weeks JM, Van Gestel CAM (2003) A summary of
11 years progress in earthworm ecotoxicology. Pedobiologia 47:588–606
StatSoft Inc. (2011) STATISTICA (data analysis software system),version 10.http://www.statsoft.com
Ter Braak CJF, Šmilauer P (2012) Canoco reference manual and user’s guide: software for ordination, version 5.0. Microcom-puter Power, Ithaca, USA
VillanuevaVD, Albariño R, Canhoto C (2011) Detritivores feedingon poor quality food are more sensitive to increased temperatures.Hydrobiologia 678:155–165
Visanuvimol L, Bertram SM (2011) How dietary phosphorus avail- ability during development influences condition and life historytraits of the cricket,Acheta domesticus. J Insect Sci 63:1–17
WetzelMA, Leuchs H, Koop JHE (2005) Preservation effects on wet weight, dry weight, and ash-free dry weight biomass estimates of four common estuarine macro-invertebrates: no differencebetween ethanol and formalin. Helgoland Mar Res 59:206–213
Woods HA, Fagan WF, Elser JJ, Harrison JF (2004) Allometric and phylogenetic variation in insect phosphorus content. Funct Ecol18:103–109
Zödl B, Wittmann KJ (2003) Effects of sampling, preparation and defection on metal concentrations in selected invertebrates at urban sites. Chemosphere 52:1095–1103
13