Vol. 11 (2018)	Acta Physica Polonica B Proceedings Supplement	No 1

# STUDY OF THREE-NUCLEON DYNAMICS IN THE dp BREAKUP COLLISIONS USING
THE WASA DETECTOR∗
B. Kłosa, I. Ciepałb, B. Jamróza, G. Khatric, S. Kistrync
Kozelab, A. Magierac, W. Parolb, I. Skwira-Chalotd
E. Stephana
aInstitute of Physics, University of Silesia, Chorzów, Poland
bH. Niewodniczański Institute of Nuclear Physics, Polish Academy of Sciences Kraków, Poland
cM. Smoluchowski Institute of Physics, Jagiellonian University Kraków, Poland
dFaculty of Physics, University of Warsaw, Warszawa, Poland

(Received December 28, 2017)
An experiment to investigate the 1H(d, pp)n breakup reaction using a deuteron beam of 300, 340, 380 and 400 MeV and the WASA detector has been performed at the Cooler Synchrotron COSY-Jülich. As a first step, the data collected at the beam energy of 340 MeV are analysed, with a focus on the proton–proton coincidences registered in the Forward Detector. Elastically scattered deuterons are used for precise determination of the luminosity. The main steps of the analysis, including energy calibration, particle identification (PID) and efficiency studies, and their impact on the final accuracy of the result, are discussed.

DOI:10.5506/APhysPolBSupp.11.57

  1. Introduction
Few nucleon systems are ideal laboratories to study details of nuclear interactions. Their theoretical and experimental investigation started from the simple nucleon–nucleon (2N ) systems and gradually evolved into more complex environments. At present, the breakup observables can be cal- culated using modern realistic pairwise nucleon–nucleon NN interactions, combined with model of 3N forces [1]. Moreover, the two- and three-nucleon interactions can be modelled within the coupled-channel (CC) framework by an explicit treatment of the ∆-isobar [2]. Alternatively, the dynam- ics is generated by the chiral eff e field theory (χEFT), so far at the

∗ Presented at the XXIV Nuclear Physics Workshop “Marie and Pierre Curie”, Kazimierz Dolny, Poland, September 20–24, 2017.

(57)

next-to-next-to-leading order with all relevant NN and 3N contributions taken into account [3]. The new, improved version of ChPT is currently being developed [4]. The modern theoretical calculations include also the long-range Coulomb interaction [5], particularly important at low relative momentum of outgoing protons. Recent years brought important progress in the theoretical calculations with respect to the relativistic treatment of the 3N systems. The first predictions were developed using 2N potential in [6] and this approach has also been extended for calculations including 3N F in [7]. The relativistic eff reveal at different parts of the phase- space with various magnitude. It was shown that in some particular regions of the breakup phase space, relativistic effects can increase or decrease the calculated breakup cross sections by up to 60%. With the lack of complete calculations performed in relativistic regime, including 3N F and Coulomb interaction, there is a need of the systematic (in the beam energy) data set collected in a large phase space. This may allow us to trace the eff in the kinematic regions where they play locally very important role. A new mea- surement of the 1H(d, pp)n breakup cross section using a deuteron beam of 300, 340, 380 and 400 MeV with the aim to check the theoretical predictions for relativistic effects and to unambiguously fix a relevance of the 3N F.

  1. Experiment
The experiment studying the 1H(d, pp)n breakup reaction at 300 MeV, 340 MeV, 380 MeV and 400 MeV deuteron beam energies has been performed at the Cooler Synchrotron COSY-Jülich with the WASA-at-COSY detector [8,9]. The WASA (Wide Angle Shower Apparatus) detector, covering almost full solid angle, consists of four main components: Central Detector (CD), Forward Detector (FD), Pellet Target Device and Scattering Chamber (see Fig. 1). The acceptance of WASA detection system is close to 4π what

Fig. 1. Schematic view of the detection system.

makes this devices very well suited for measurements of observables for the breakup and elastic scattering reactions, and then gives unique possibility to study various aspects of dynamics in a wide range of kinematic variables.

  1. Data analysis
The data analysis is focused on the proton–proton coincidences from the 1H(d, pp)n breakup reaction at 340 MeV deuteron beam energy registered in the Forward Detector. The aim of our study is the determination of the differential cross section on a dense angular grid of kinematical confi
defined by the emission angles of the two outgoing protons: two polar angles θ1 and θ2 (in the range between 5◦ and 15◦) and the relative azimuthal angle ϕ12 (in the full range between 20◦ and 180◦).
The first step of data analysis is the identification of interesting events,
  1. two protons from the breakup process and deuterons from the elastic scattering channel in the Forward Detector (range of the polar angles is from 3◦ to 18◦). The particle identification is based on the ∆E–E technique. In the whole range of energies, a clear separation between loci of protons and deuterons is observed (Fig. 2).

Fig. 2. Example of the ∆E–E identification spectrum collected at 340 MeV beam energy obtained with the use of the Forward Detector.

After the selection of the proton–proton coincidences and having per- formed the energy calibration, any kinematical configuration of the breakup reaction within the angular acceptance of the detection system can be anal- ysed. The position-sensitive detection system allows to determine polar an- gles with precision better than 1◦. The data were integrated within angular ranges of θ1,2 (±1◦) and ϕ12 (±5◦). These ranges are larger as compared

to angular resolution of the detectors and, therefore, no significant system- atic uncertainty is related to the determination of solid angles obtained for selected confi	The eff of averaging is taken into account when comparing the data with the theoretical calculations, averaged accordingly. The sample kinematical spectra E1 versus E2 are shown in Fig. 3. The cen- tral line of the experimental band of the registered kinematical spectrum is lying on the theoretical kinematics. It confi the correct energy calibra- tion. The energy threshold for the identification of protons in the Forward Detector is about 60 MeV. Events belonging to the confi tion of interest are projected onto the kinematical curve corresponding to the point-like, central geometry. To determine the contribution of the background, the events were divided into 8 MeV widths slices along S (arclength). Only events concentrated around kinematical curve within the band of D-values ranging from −20 MeV to 20 MeV were taken into account (Fig. 3).

Fig. 3. E1 vs. E2 coincidence spectrum of the two protons registered at θ1 = 5◦±1◦, θ2 = 5◦ ± 1◦, and ϕ12 = 20◦ ± 5◦. The solid line shows a three-body kinematical curve, calculated for the central values of experimental angular ranges. D axis in the picture denotes the distance of the (E1, E2) point from the kinematical curve. Box represents example of integration limits (∆S = 8 MeV) for a sample S-slice.

Number of events obtained after background subtraction is presented as a function of the arclength S. After normalization to the integrated luminosity and including detector acceptance, all cuts applied in the analysis, detector effi , the differential cross section is obtained. To obtain the differential cross section of the breakup reaction with precision relevant to study the 3N F or relativistic eff proper determination of above corrections are very important. All these steps of analysis should be controlled with a high accuracy.

  1. Detection efficiency
WASA Monte Carlo program was used for the precise determination of efficiency of the detection system. Including detector acceptance and all cuts applied in the analysis, detector effi	for registering and identifying elastically scattered deuterons is about 80%. The effi iency of the detection system for proton–proton coincidences obtained for each kinematical confi uration with defined integration limits: ∆θ1 = ∆θ2 = 2◦ and ∆ϕ12 = 10◦ is presented in Fig. 4.

Fig. 4. The efficiency of the detection system for proton–proton coincidences ob- tained for chosen kinematical configuration (θ1, θ2, ϕ12) using MC simulation.

  1. Cross-section normalization
For the purpose of normalization of the experimental results, the lumi- nosity is determined on the basis of the number of the elastically-scattered deuterons at a given θ angle, measured in parallel to the breakup reac- tion, and on the known cross section for elastic scattering at the studied energy [10]. The integrated luminosity is given by the formula
 Nel(θd)
L =
σel
LAB(θd)∆Ωdcel
(θd)
,	(1)
where Nel is a number of elastically scattered deuterons registered at the deuteron angle θd (during the same time period as breakup events) and ∆Ωd
(∆Ωd = 2π∆θd sin θd) is the solid angle for registering deuterons. σel
LAB
(θd)
is the value of elastic scattering cross section, cel(θd) is a product of all
effi	determined on the base of MC simulations.

The values of the luminosity presented as a function of the deuteron scattering polar angle for the sample of data are shown in Fig. 5. The error bars represent statistical uncertainties only. The boxes represent sys- tematic errors due to normalization either to calculated or measured (at 170 MeV, [10]) cross section and/or uncertainty related to the subtraction of the proton background (dominating at θd = 14◦). Taking into account systematic errors, the results obtained in the range of angles between 9◦ and 13◦ are consistent and their average is calculated.
3600
103
3500

3400

3300

3200

3100

3000
2900
8
9	10	11	12	13	14
[deg]
d
Luminosity [mb 1]

Fig. 5. Determination of the integrated luminosity. Values of the luminosity are presented at several deuteron polar angles, θd. The error bars represent statistical uncertainties. The solid line corresponds to the weighted average of five results with the smallest systematic errors (shown as boxes). The dashed lines represent the range of systematic error (2%–3%) taking into account to systematic uncertainties of all experimental points from the range between 9◦ and 13◦.

The differential breakup cross section for a chosen angular confi normalized to luminosity value (Eq. (1)) is given by the following formula:

d5σ(S, Ω1, Ω2)
dΩ1dΩ2dS
=	Nbr(S, Ω1, Ω2)
L ∆Ω1∆Ω2∆Scbr(S, Ω1, Ω2)

,	(2)

where Nbr is the number of breakup coincidences registered at the angles Ω1, Ω2 and projected onto a ∆S-wide arclength bin. Subscripts 1 and 2 refer to the first and second proton registered in coincidence. Ωi ≡ (θ1, ϕi), with i = 1, 2, are the polar and azimuthal angles, respectively, and ∆Ωi is the solid angle (∆Ωi = ∆θi∆ϕi sin θi). cbr(S, Ω1, Ω2) contains the product of all relevant effi	determined for each angular confi

  1. Experimental uncertainties
Statistical errors of the measured cross-section values comprise an un- certainty of the measured number of the breakup coincidences and of the luminosity. This statistical error per point of the cross-section data in 189 kinematic confi	is below 2% (in maxima of the cross-section distri- butions).
The systematic error of the cross section stems primarily form uncer- tainty of determination of efficiency for proton–proton coincidences which varies between 1% and 7%, reaching up to 11% for confi	with the lowest ϕ12 = 20◦ (see Fig. 4). In conclusion, systematic uncertainties vary between 4% and 10%.

  1. Breakup cross section
Examples of the normalized experimental breakup event rate obtained for the chosen kinematical confi	at the energy of 340 MeV are pre- sented in Fig. 6. In the figures, the error bars represent the statistical uncer- tainties. The systematic uncertainties are represented by grey/cyan bands in the lower part of each individual panel. The data have been compared to calculations performed by two theory groups (H. Witała et al., A. Deltuva) with the state-of-the-art 2N potentials, combined with 3N F, Coulomb in- teraction or carried out in a relativistic regime. The result presented in the left panel indicates an interplay of 3N F eff Coulomb force and relativis- tic eff For the configuration shown in the right panel, the calculations underestimate the experimental data. The discrepancy is even increased by r
elativistic calculations. Is it due to missing l
arge 3N F contribution?

30
d5   dSd d  mb MeV sr ]
		
-1 -2
12
		
d5   dSd d  mb MeV sr ]
-1 -2
25 
20

15
 

10

5

0

2N+TM99
2N CDB+ CDB+C CDB
CDBrel
10 
8

6
 

4

2

0

-2
200	300	400
S [ MeV ]
200	300	400
S [ MeV ]
Fig. 6. Examples of the differential cross section of breakup reaction at beam energy of 340 MeV obtained as a function of the S value for chosen kinematic configurations (indicated in the panels). Data (black dots) are compared to results of theoretical calculations designated in the figures. Statistical errors are smaller than the point size. The grey/cyan bands show ranges of systematic uncertainties.

  1. Summary and outlook
The analysis is continued with the aim to determine the differential cross sections for the the deuteron breakup process in the d + p system at energies of 380 and 400 MeV, performed for a large set of kinematic confi
covering a significant part of the reaction phase space (for large polar angles). The data will be compared to the theoretical predictions for three nucleon systems. The calculations including relativistic eff with 3N Fs and studies of the Coulomb eff s are very important to draw definitive conclusions.

REFERENCES
[1] W. Glöckle et al., Phys. Rep. 274, 107 (1996).
[2] A. Deltuva, K. Chmielewski, P.U. Sauer, Phys. Rev. C 67, 034001 (2003);
    1. Deltuva, R. Machleidt, P.U. Sauer, Phys. Rev. C 68, 024005 (2003).
[3] E. Epelbaum, Prog. Part. Nucl. Phys. 57, 645 (2006).
[4] R. Machleidt, F. Samaruca, Phys. Scr. 91, 083007 (2016).
[5] A. Deltuva, A.C. Fonseca, P.U. Sauer, Phys. Rev. C 72, 054004 (2005);
73, 057001 (2006).
[6] R. Skibiński, H. Witała, J. Golak, Eur. Phys. J. A 30, 369 (2006). [7] H. Witała et al., Phys. Rev. C 83, 044001 (2011).
[8] Chr. Bargholtz et al., Nucl. Instrum. Methods Phys. Res. A 594, 339 (2008). [9] H. Adam et al., arXiv:nucl-ex/0411038.
[10] K. Ermisch et al., Phys. Rev. C 68, 051001(R) (2003).