materials
Article
Visualisation of Amphetamine Contamination in Fingerprints Using TOF-SIMS Technique
Małgorzata I. Szynkowska-Józ´wik 1,* , Elz˙bieta Mac´kiewicz 1 , Jacek Rogowski 1, Magdalena Gajek 1 , Aleksandra Pawlaczyk 1 , Marcel de Puit 2,3 and Andrzej Parczewski 4
1
Faculty of Chemistry, Institute of General and Ecological Chemistry, Lodz University of Technology, Zeromskiego 116, 90-924 Lodz, Poland; elzbieta.mackiewicz@p.lodz.pl (E.M.); jacek.rogowski@p.lodz.pl (J.R.); magdalena.gajek@edu.p.lodz.pl (M.G.); aleksandra.pawlaczyk@p.lodz.pl (A.P.)
Digital Technology and Biometrics, Netherlands Forensic Institute, Laan van Ypenburg 6, 2497 GB Den Haag, The Netherlands; m.de.puit@nfi.nl
Department of Chemical Engineering, Faculty of Applied Sciences, Delft University of Technology, Van der Maasweg 9, 2629 HZ Delft, The Netherlands
Faculty of Chemistry, Jagiellonian University, Gronostajowa 2, 30-387 Cracow, Poland; parczews@chemia.uj.edu.pl
Correspondence: malgorzata.szynkowska@p.lodz.pl; Tel.: +48-42-631-31-01
2
3
4
*
Abstract: Time-of-flight secondary ion mass spectrometry (TOF-SIMS) was applied to detect traces of amphetamine on fingerprints. In the present study, three different lift tapes and latent powder fingerprints were tested. The obtained results show that it is possible to identify traces of a drug as well as its distribution over the tested fingerprint after its transfer from the primary base onto an adhesive lifter (secondary base). Moreover, images obtained by the TOF-SIMS technique enable the observation of very small areas of the analysed fingerprint as well as the identification of micro-objects (residues of a contaminant) that were left on the fingerprint. The use of the black latent fingerprint powder did not interfere with the TOF-SIMS analysis, which makes it possible to effectively use this technique to study the traces of substances on the revealed fingerprints.
check for
updates
Citation: Szynkowska-Józ´wik, M.I.; Mac´kiewicz, E.; Rogowski, J.; Gajek, M.; Pawlaczyk, A.; de Puit, M.; Parczewski, A. Visualisation of Amphetamine Contamination in Fingerprints Using TOF-SIMS Technique. Materials 2021, 14, 6243. https://doi.org/10.3390/ma14216243
Keywords: fingerprint; TOF-SIMS; amphetamine visualisation; lifting tape; black powder
1. Introduction
Papillary ridges are structures in the skin that are part of human fingers, palms, and feet. They are formed by the third to fourth month of embryogenesis and possess individual characteristics, which do not naturally change throughout one’s life. An impression left by the friction ridges of the human finger is known as a fingerprint, which may be transferred from the finger to other items in the form of a latent or patent print. The imprinted patterns can be related to the fingers, palms, and feet of an individual. As such, fingerprints can be used as a perfect tool for human identification or individualisation. Fingerprint identification or hand print identification, also known as dactyloscopy, is a very important field of forensic science, as it is proof of contact [1–3].
Fingerprints have distinct patterns that also hide lifestyle clues. Human skin is covered by natural excretion produced by glands. The chemical composition of fingermark residue differs from the general chemical composition of sweat because it contains a complex mixture of compounds coming from different glands (not only from the eccrine ones). Additionally, fingermark residues can also contain many contaminants such as cosmetics, food residue, dead cells, and skin oils, which contain residues of drugs or various chemicals and their metabolites present in the body [4,5]. Therefore, it is possible to determine whether a person is a smoker or takes drugs [6–8]. The presence of trace amounts of substances that do not exist in natural skin excretion may also be caused by the mere contact of the finger with some products (tobacco, drugs, etc.) or even by handshakes between a smoker and a non-smoker [8,9]. The last few years have shown an increasing
Academic Editor: Barbara Pawelec
Received: 26 August 2021
Accepted: 12 October 2021
Published: 20 October 2021
Publisher’s Note: MDPI stays neutral with regard to jurisdictional claims in published maps and institutional affil-
iations.
Copyright: © 2021 by the authors. Licensee MDPI, Basel, Switzerland. This article is an open access article distributed under the terms and conditions of the Creative Commons Attribution (CC BY) license (https:// creativecommons.org/licenses/by/
4.0/).
Materials 2021, 14, 6243. https://doi.org/10.3390/ma14216243
https://www.mdpi.com/journal/materials

Materials 2021, 14, 6243
2 of 11
application of various chemical imaging techniques in forensic science [10–15], especially in detecting exogenous materials present on fingermarks, such as particles of nicotine [9], gunshot residues [16–19], illicit drugs [6–8,18–23], caffeine [24,25], blood [26], explosive RDX residues [20,27], or in determining the sequencing of fingerprint and ink signals on documents [28,29].
Latent fingerprints are usually developed in situ at a crime scene by the application of powders. There are many types of latent fingerprint powders that are used by forensic technicians depending on e.g., the type of substrate and the quality of fingerprints [30]. After the treatment with powders, fingerprints have to be photographed and are often lifted with special adhesive tapes to transfer and preserve the details of the fingerprint. Nowadays, a wide range of different types of lifting materials, which are designed for lifting fingerprints from a range of surfaces, is commercially available.
In the previous study, we demonstrated time-of-flight secondary ion mass spectrome- try (TOF-SIMS) as a potential tool in forensic research, especially in chemical investigations of fingerprints and the detection of traces of substances that do not exist in natural excre- tion, derived from crime scenes, for example metal-containing compounds, gunpowder residues, or arsenic [16,21,31]. The technique was also used in the visualisation and analysis of fingerprints contaminated with amphetamine drugs, which were imprinted on selected substrates (plates of steel, aluminium, brass, and glass). TOF-SIMS measurements carried out for that study were made directly on these substrates [20]. The size of the substrate is a limiting factor, as the vacuum chamber can only hold smaller items. However, at crime scenes, visualised fingerprints are often lifted with some sort of tape. Other authors described a comparative analysis of fingerprint residue with the use of a suite of relevant analytical techniques, proving that TOF-SIMS was very selective, showing reproducible differences between the donors of fingerprints by imaging a fingerprint in situ [32]. It was also demonstrated that SIMS imaging of fingerprints can provide a sufficient ridge and fingerprint minutiae detail to allow its use for forensic identification purposes [33]. Conventional SIMS has low sensitivity for high-mass molecules. For this reason, MeV SIMS, which is a technique complementary to SIMS, has recently re-emerged. It uses an MeV (rather than keV) primary ion beam [34–36]. MeV-SIMS has proved to be useful to determine the order of sequence of a doped fingerprint and an ink entry [28].
In the study presented here, TOF-SIMS was applied in the detection and visualisation of traces of amphetamine left on fingerprints. To the best of our knowledge, this work shows for the first time that secondary ions mass spectrometry can be applied as one of the steps of fingermarks studies and development in order to possibly enhance the visualisation and enable the detection of psychoactive substance even when the latent fingerprint powder has already been powdered. The scenario proposed by us includes the trace detection of amphetamine from fingerprints, fingerprints lifted by tape, and fingerprints powdered with fingerprint powder as well as from fingerprints lifted from fingerprint powder. The investigated steps seem to be a standard procedure typically used at the crime scene.
An amphetamine-contaminated fingerprint was deposited directly on a glass slide/ surface. These fingerprints were treated with black latent fingerprint powder and lifted by tape in order to mimic the process usually followed at a crime scene.
1. Materials and Methods
  1. Preparation of Samples
The sample of amphetamine used in the present investigation was obtained from the Faculty of Chemistry, Jagiellonian University, Cracow, Poland. Then, the substance was used to imitate the process of transfer of trace amounts of an exogenous contaminant from a finger onto a tape and its subsequent revealing by the latent fingerprint powder.
At first, an amphetamine reference sample was prepared. A tablet of amphetamine was formed in a tableting machine under pressure of about 7 tons. This tablet was analysed using TOF-SIMS in order to gather information about the type of secondary ions present

Materials 2021, 14, 6243
3 of 11
for the studied reference material. Then, a volunteer left a fingerprint that had been contaminated with a small amount of amphetamine powder. The palms and fingers of the volunteer were washed and dried beforehand.
Then, the fingerprints contaminated with amphetamine were deposited on a glass and on three different adhesive materials employed for the transfer process of the fingerprints. The studied tape material consisted of commercially available Scotch adhesive tape, Remco fingerprint tape, and Filmolux fingerprint film. The last two materials are typically used by forensic technicians. TOF-SIMS spectra and ionic images of the tested adhesive materials (new, unused tapes and with a fingerprint contaminated with amphetamine) were created. The criteria of choice of the adhesive material were based on the quality of the obtained fingerprints contaminated with amphetamine after the transfer of the fingerprints using the tested adhesive materials. Finally, the fingerprint contaminated with amphetamine was placed on the glass surface (analogous to the first stage), and then, the fingerprint was revealed with a black fingerprint powder (Stanimex, Lublin, Poland) and transferred using the previously chosen fingerprint tape. TOF-SIMS spectra and ionic images were made for both the latent fingerprint powder (in the form of a tablet, pressed in the same way as the studied amphetamine substance) and the fingerprint contaminated with amphetamine and
revealed with the above-mentioned powder.
2.2. Instrumentation and Instrumental Parameters
The secondary ion mass spectra and images for the samples were recorded using a TOF-SIMS IV mass spectrometer manufactured by ION-TOF GmbH (Muenster, Germany). During the mass spectra measurement, the analysed area was irradiated with pulses of 25 keV Bi3+ ions at a 10 kHz repetition rate and an average ion current of 0.2 pA. The time of spectra acquisition was 30 s. The instrument was equipped with a Bi liquid metal ion gun and a time-of-flight mass analyser. Mass resolution was typically greater than 4000 at m/z 29 with the primary ion pulse width of 1 ns. Secondary ion mass spectra
were recorded from an approximately 100 mm × 100 mm area of the analysed surface.
TOF-SIMS images were recorded by scanning the surface of the sample with a pulsed beam
of Bi3+ ions. The analysed area was 500 × 500 µm2, divided into 128 × 128 pixels. Image
acquisition comprised 10 scans of the analysed surface, and 10 pulses of Bi3+ ions beam were shot at any pixel during each scan. Both spectra and images were acquired with the primary ion dose the below static limit of 1 × 1013 ions/cm2.
3. Results and Discussion
Figure 1a shows the TOF-SIMS spectrum of amphetamine with characteristic peaks at m/z 135.10 and 136.12 corresponding to the molecular (C9H13N+) and protonated ion of amphetamine (C9H14N+), respectively. There are also two peaks of characteristic ions, which are the products of fragmentation of the amphetamine molecule: C6H5+ (m/z = 77.04) and C7H7+ (m/z = 91.06). These ions were identified as probably the most characteristic fragmentation ions of amphetamine. However, these ions can be also linked with the frequently occurring contamination in samples. The enlarged fragment of the spectrum containing peaks of C9H13N+ and C9H14N+ ions is presented in Figure 1b.
Figure 2 presents the TOF-SIMS spectrum of the amphetamine-contaminated finger- print that was deposited on the glass. The spectrum in Figure 2b (m/z) shows peaks characteristic of amphetamine (C9H14N, C9H14N+), whose position is consistent with the location of peaks recorded for the amphetamine sample pressed into a tablet (Figure 1) and treated in our research as a reference sample. Figure 2b shows that the peak of the molecular ion of amphetamine overlaps with the peak of the ion with m/z = 135.05, which is generated from the fingerprint support. Therefore, we consider the C9H14N+ ion as the most characteristic peak of the amphetamine molecule.

Materials 2021, 14, 6243
4 of 11
Na
a
C9H14N
x105
x104
b
C9H14N
C7H7
1.2
1.0
0.8
0.6
0.4
0.2
1.2
1.0
0.8
0.6
0.4
0.2
K
C9H13N
C6H5
C9H13N
134.8 135.2 135.6 136.0 136.4
40
60
80
100
120
m / z
m / z
Figure 1. TOF-SIMS positive ion mass spectrum of a tablet of amphetamine: (a) m/z range = 20–138, (b) m/z
range = 134.5–136.5.
Na
a
x105 2.5
2.0
b
C9H13N
x102 6.0
5.0
4.0
3.0
2.0
1.0
C9H14N
Ca
Si
K
C6H5
1.5
1.0
0.5
C7H7
C9H14N C9H13N
134.8 135.2 135.6 136.0 136.4
40
60
80
100
120
m / z
m / z
Figure 2. TOF-SIMS positive ion mass spectrum of amphetamine-contaminated fingerprint (on glass surface), (a) m/z
range = 20–138, (b) m/z range = 134.5–136.5.
Then, the TOF-SIMS ion imaging was used to trace the microparticles of amphetamine in the fingerprint deposited on the glass support (Figure 3).
Figure 3. TOF-SIMS positive ion images (500 × 500 µm2) of fingerprint contaminated by am-
phetamine (deposited on glass), showing tc—total counts.
NH4+, C6H5+, C7H7+, and C9H14N+ ions were selected as indicative of amphetamine, and NH4+, Na+, and K+ ions were chosen as characteristic sweat. The emission intensity of these ions was not uniform, showing spatial distribution, which reflects the morphology of the analysed fingerprint. In this mode of TOF-SIMS operation, the higher the intensity of secondary ions emission from the analysed area, the brighter this area in the correspond- ing image.
Intensity
Intensity
Intensity
Intensity

Materials 2021, 14, 6243
5 of 11
According to the standard procedure in the forensic science, fingerprints are trans- ferred from the original base with lift tapes. Therefore, we find it necessary to verify whether the TOF-SIMS technique is able to detect amphetamine on the fingerprints im- printed on the lift tape. In the preliminary study, we analysed fingerprints deposited directly on the surface of the lift tape. Three different lift tapes were used for analysis.
Figure 4a presents the TOF-SIMS spectrum of the fragment of the fingerprint left on Scotch tape. In this spectrum, a C9H14N+ ion peak is clearly visible. The other two peaks attributed to the fragmentation ions of the amphetamine molecule, at m/z = 77.04 (C6H5+) and m/z = 91.06 (C7H7+), could not be used as an amphetamine marker because they were also found in the spectrum of the clean tape (Figure 4b).
a
C9H14N
x105
b
x105
C6H5
C7H7
C6H5
1.5
1.5
C H
7 7
1.0
1.0
C9H13N
0.5
0.5
80
90
100
110
120
130
80
90
100
110
120
130
m / z
m / z
Figure 4. TOF-SIMS positive ion mass spectra (m/z range 72–138) of: (a) Scotch tape with contaminated by amphetamine fingerprint and (b) clean Scotch tape.
A similar analysis was carried out for Filmolux film and Remco tape, and the corre- sponding spectra are presented in Figures 5 and 6, respectively. The presence of the peaks of C9H13N+ and C9H14N+ ions is observed in all spectra of contaminated tapes, indicating the existence of amphetamine in the fingerprints.
a
b
x105 2.5
2.0

1.5

1.0

0.5
x105 2.5
2.0
C7H7
C H
9 14 N
C7H7
C6H5
C6H5
C9H13 N
1.5
1.0
0.5
80
90
100
110
120
130
80
90
100
110
120
130
m / z
m / z
Figure 5. TOF-SIMS positive ion mass spectra (m/z range 72–138) of: (a) Filmolux film with amphetamine contaminated fingerprint and (b) clean Filmolux film.
a
C9H14 N C9H13 N
b
x105
x105
1.5
C6H5
C7H7
1.5
C6H5
C H
7 7
1.0
1.0
0.5
0.5
80
90
100
110
120
130
80
90
100
110
120
130
m / z
m / z
Figure 6. TOF-SIMS positive ion mass spectra (m/z range 72–138) of: (a) Remco tape with contaminated by amphetamine fingerprint and (b) clean Remco tape.
Furthermore, TOF-SIMS images of the surface of the analysed samples were recorded. Figure 7 shows TOF-SIMS images of the emission of three characteristic secondary ions— C6H5+, C7H7+, and C9H14N+—from the selected areas of fingerprints contaminated by amphetamine. It is noteworthy that surface distribution of C6H5+, C7H7+, and C9H14N+ ions emission from the tapes follows the pattern of the fingerprint. It should be noted that there is no emission of the C9H14N+ ion from the clean tapes, whereas peaks of the C6H5+ and C7H7+ ions are also observed from the clean tapes, as shown in Figure 8.
Intensity
Intensity
Intensity
Intensity
Intensity
Intensity

Materials 2021, 14, 6243
6 of 11
A
B
C
Figure 7. TOF-SIMS positive ion images (500 × 500 µm2) of fingerprint contaminated by am-
phetamine taken from: (A) Scotch tape, (B) Filmolux film, and (C) Remco tape surfaces.
A
B
C
Figure 8. TOF-SIMS positive ion images (500 × 500 µm2) of adhesive materials of new, unused tape,
taken from: (A) Scotch tape, (B) Filmolux film, and (C) Remco tape surfaces.
Due to the large number of analysed objects, one product was selected from the three tested adhesive materials (Scotch tape, Filmolux film, Remco tape). The chosen Remco tape was characterised by the best quality of the obtained fingerprints contaminated with amphetamine after being revealed by latent fingerprint powder and further transfer.

Materials 2021, 14, 6243
7 of 11
The application of various types of powders to reveal fingerprints has long been established as an effective and reliable method for developing latent fingerprints [14]. Fingerprints developed at a crime scene are usually lifted with tapes and then kept in evidence bags for further forensic research. As a result, fingerprints designated for the subsequent chemical analysis usually contain latent fingerprint powder, which may inhibit the detection of the studied substances. Therefore, in this study, we tried to prove that it is possible to detect exogenous substances on fingerprints, drugs, for example, after revealing fingermarks with the latent fingerprint powder.
Figure 9 presents the TOF-SIMS spectrum of the black latent fingerprint powder used in this study. It can be seen that Na, Mg, Al, Si, K, Ca, Ti, Cr, Mn, Fe, Ni, Co, and Cu are the main elemental components of this powder. The C2H5+ and C3H5+ ions in the spectrum can be attributed to the possible organic compounds contained in the latent fingerprint powder.
Na
x105
Mg
Ca K
58 Ni
4.0
Al
C 3 H 5
Si
3.0
Fe Mn
C 2 H 5
Co
SiHO
2.0
Cr
Ti
63 Cu
1.0
25
30
35
40
45
50
55
60
m / z
Figure 9. TOF-SIMS positive ion mass spectrum of pastille of black latent fingerprint powder, m/z range 20–65.
Figure 10 presents the TOF-SIMS spectra of the latent fingerprint powder (Figure 10a) and a tablet of amphetamine (Figure 10b) in the m/z range from 134.8 to 136.2.
x102
a
4.0
3.0
2.0
1.0
x104 1.0
C9H14N
b
0.8
0.6
0.4

0.2
C9H13N
135.0
135.2
135.4
135.6
135.8
136.0
m / z
Figure 10. TOF-SIMS positive ion mass spectra of (a) the pastille of black latent fingerprint powder and (b) pastille of amphetamine; m/z range 134.8–136.2.
This comparison shows that the spectrum of the latent fingerprint powder does not contain peaks overlapping with those of amphetamine (C9H13N+) and protonated amphetamine (C9H14N+).
Intensity
Intensity
Intensity

Materials 2021, 14, 6243
8 of 11
Figure 11 presents the TOF-SIMS spectrum of a fingerprint contaminated by am- phetamine, which was visualised with the black latent fingerprint powder on a non-porous surface. It is known that the black powder may contain ferric oxide and rosin, man- ganese dioxide and rosin, titanium dioxide, quartz, kaolin, inorganic salts, lamp black, and carbon soot.
a
b
Na
x103
x105 3.5
3.0
2.5
2.0
1.5
1.0
0.5
C9H14N
Mg
Al Si
1.2
1.0
0.8
0.6
0.4
0.2
K
Ca
Mn
Fe
C9H13N
C6H5
C7H7
C9H14N C9H13N
Cr
134.8 135.2 135.6 136.0 136.4
m / z
40
60
80
100
120
m / z
Figure 11. TOF-SIMS positive ion mass spectrum of fingerprint contaminated by amphetamine revealed with black latent fingerprint powder: (a) m/z range 20–138, (b) m/z range 134.5–136.5.
Both the ions characteristic of the powder and amphetamine are visible in the spectrum. The major peak of the amphetamine ion in Figure 11a has low intensity; therefore, it is presented separately in Figure 11b.
TOF-SIMS images of the fingerprints contaminated by amphetamine revealed with the black latent fingerprint powder are presented in Figure 12. From these images, it can be seen that spatial distribution of the emission of the NH4+, C6H5+, C7H7+, and C9H14N+ ions coincides with those characteristic of the fingerprint powder components (Mn+, Fe+). Na+, Ca+, and Mg+ ions that may originate from another source, e.g., a glass base, are overlapped by those originating from amphetamine and the fingerprint powder. On the other hand, the same spatial distribution of NH4+, C6H5+, C7H7+, and C9H14N+ ions strongly proves that these ions really originate from amphetamine. Moreover, it can be concluded from Figure 12 that amphetamine and fingerprint powder originate from the same adhesive spot on the finger.
Figure 12. TOF-SIMS positive ion images (500 × 500 µm2) of fingerprint contaminated by am-
phetamine revealed with black latent fingerprint powder (deposited on glass surface).
Intensity
Intensity

Materials 2021, 14, 6243
9 of 11
Moreover, TOF-SIMS was also successfully applied to detect amphetamine residues on the fingerprints visualised by the powder and transferred on the tape, as it is evidenced by the spectrum in Figure 13. At this step, only one type of the tested lift tapes was used: Remco tape.
a
b
C9H13N
Na Mg
x103 2.5
2.0
1.5
1.0
0.5
x105 3.5
3.0
2.5
2.0
1.5
1.0
0.5
Fe
Al Si
Ca
Mn
K
C9H14N
C6H5
Cr
C9H14N C9H13N
C H
7 7
40
60
80
100
120
134.8 135.2 135.6 136.0 136.4
m / z
m / z
Figure 13. TOF-SIMS positive ion mass spectrum of fingerprint contaminated by amphetamine revealed with black latent fin- gerprint powder and transferred from glass surface using Remco tape, (a) m/z range = 20–138, (b) m/z range = 134.5–136.5.
Figure 14 presents TOF-SIMS images of fingerprints containing a trace amount of amphetamine revealed with the black latent fingerprint powder and transferred onto the tape. Similarly, as in the case of the non-transferred fingerprints, emission of the Mn+ and Fe+ ions correlates spatially with the emission of the NH4+, C6H5+, C7H7+, and C9H14N+ ions, which are characteristic of amphetamine.
Figure 14. TOF-SIMS positive ion images (500 × 500 µm2) of fingerprint contaminated by am-
phetamine revealed with black latent fingerprint powder and transferred from glass surface using Remco tape.
4. Conclusions
The results demonstrated that TOF-SIMS can be helpful in obtaining fragments of the morphological characteristics of the latent fingerprints and the simultaneous detection of exogenous substances, which can be present on the suspect’s fingers. TOF-SIMS imaging of the studied fingerprints made it possible to gather information about the distribution of chemicals of detected components on fingerprints. This, combined with the spectra analysis, made it possible to correlate the presence of specific ions with their possible source.
Intensity
Intensity

Materials 2021, 14, 6243
10 of 11
It should also be emphasised that the images obtained by the TOF-SIMS technique enable the observation of very small areas of the analysed fingerprint as well as the identi- fication of micro-objects left on the fingerprint (residues of the contaminant). Therefore, in the application of TOF-SIMS in forensic investigation, the sample of a fingerprint left on an object must be prepared in the form and size appropriate for the TOF-SIMS technique.
Moreover, it was shown that revealing fingerprints with the black fingerprint powder is not disadvantageous for the TOF-SIMS application in the fingerprint analysis. Although the measurement was slightly less effective, a good MS image could be obtained with the latent material.
The TOF-SIMS technique appears to be a very effective and useful tool in forensic in- vestigations, which enables the identification of drug residues left on fingerprints imprinted on selected substrates. Even though the powder presence clearly limits the effectiveness of the analysis, the potential of the TOF-SIMS technique in the identification and detection of amphetamine has been confirmed, which seems to be valuable information for the forensic analysis.
Author Contributions: Conceptualization, M.I.S.-J., A.P. (Andrzej Parczewski), E.M.; methodology, M.I.S.-J., J.R., E.M.; investigation, M.I.S.-J., E.M., J.R., M.G., A.P. (Aleksandra Pawlaczyk), writing, M.I.S.-J., E.M., J.R., substantive supervision, M.I.S.-J., A.P. (Andrzej Parczewski), M.d.P. All authors have read and agreed to the published version of the manuscript.
Funding: This research received no external funding. Institutional Review Board Statement: Not applicable. Informed Consent Statement: Not applicable.
Data Availability Statement: Not applicable.
Conflicts of Interest: The authors declare no conflict of interest.
References
1.
Margot, P. History. Fingerprint Sciences. In Encyclopedia of Forensic Sciences, 1st ed.; Siegel, J., Saukko, P., Eds.; Academic Press: Oxford, UK, 2000; p. 1054.
Hamilton, I. Fingerprints. In Encyclopedia of Forensic Sciences, 1st ed.; Siegel, J., Saukko, P., Eds.; Academic Press: Oxford, UK, 2000; p. 346.
Mozayani, A.; Noziglia, C. The Forensic Laboratory Handbook. Procedures and Practice; Humana Press Inc.: Totowa, NJ, USA, 2006. Muramoto, S.; Forbes, T.P.; van Asten, A.C.; Gillen, G. Test sample for the spatially resolved quantification of illicit drugs on fingerprints using imaging mass spectrometry. Anal. Chem. 2015, 87, 5444–5450. [CrossRef]
Girod, A.; Ramotowski, R.; Weyermann, C. Composition of fingermark residue: A qualitative and quantitative review. Forensic Sci. Int. 2012, 223, 10–24. [CrossRef] [PubMed]
Hazarika, P.; Jickells, S.M.; Russell, D.A. Rapid detection of drug metabolites in latent fingermarks. Analyst 2009, 134, 93–96. [CrossRef] [PubMed]
Bailey, M.J.; Bradshaw, R.; Francese, S.; Salter, T.L.; Costa, C.; Ismail, M.; Webb, P.R.; Bosman, I.; Wolff, K.; de Puit, M. Rapid Detection of Cocaine, Benzoylecgonine and Methylecgonine in Fingerprints Using Surface Mass Spectrometry. Analyst 2015, 140, 6254–6259. [CrossRef] [PubMed]
Hazarika, P.; Jickells, S.M.; Russell, D.A.; Wolff, K. Multiplexed Detection of Metabolites of Narcotic Drugs from a Single Latent Fingermark. Anal. Chem. 2010, 82, 9150. [CrossRef]
Benton, M.; Chua, M.J.; Gu, F.; Rowell, F.; Ma, J. Environmental nicotine contamination in latent fingermarks from smoker contacts and passive smoking. Forensic Sci. Int. 2010, 200, 28–34. [CrossRef]
Bleay, S.M.; Bailey, M.J.; Croxton, R.S.; Francese, S. The forensic exploitation of fingermark chemistry: A review. WIREs Forensic Sci. 2020, 3, e1403. [CrossRef]
Wei, Q.; Zhang, M.; Ogorevcb, B.; Zhang, X. Recent advances in the chemical imaging of human fingermarks (a review). Analyst
2016, 141, 6172–6189. [CrossRef]
Bailey, M.J.; Ismail, M.; Bleay, S.; Bright, N.; Levin, E.M.; Cohen, Y.; Geller, B.; Everson, D.; Costa, C.; Webb, R.P.; et al. Enhanced imaging of developed fingerprints using mass spectrometry imaging. Analyst 2013, 138, 6246–6250. [CrossRef]
Bradshaw, R.; Denison, N.; Francese, S. Implementation of MALDI MS profiling and imaging methods for the analysis of real crime scene fingermarks. Analyst 2017, 142, 1581–1590. [CrossRef]
Lauzonand, N.; Chaurand, P. Detection of exogenous substances in latent fingermarks by silver-assisted LDI imaging MS: Perspectives in forensic sciences. Analyst 2018, 143, 3586–3594.
2.
3.
4.
5.
6.
7.
8.
9.
10.
11.
12.
13.
14.

Materials 2021, 14, 6243
11 of 11
15.
Bleay, S.M.; Croxton, R.S.; de Puit, M. Fingerprint Development Techniques. Theory & Application; John Wiley & Sons: Hoboken, NJ, USA, 2018.
Szynkowska, M.I.; Parczewski, A.; Szajdak, K.; Rogowski, J. Examination of gunshot residues transfer using ToF-SIMS. Surf. Interface Anal. 2012, 45, 596. [CrossRef]
Kara, I.; Lisesivdin, S.B.; Kasap, M.; Er, E.; Uzek, U. The Relationship Between the Surface Morphology and Chemical Composition of Gunshot Residue Particles. J. Forensic Sci. 2015, 60, 1030. [CrossRef] [PubMed]
Szynkowska, M.I.; Czerski, K.; Rogowski, J.; Paryjczak, T.; Parczewski, A. Detection of exogenous contaminants of fingerprints using ToF-SIMS. Surf. Interface Anal. 2010, 42, 393. [CrossRef]
Pluhácek, T.; Švidrnocha, M.; Maier, V.; Havlícek, V.; Lemr, K. Laser ablation inductively coupled plasma mass spectrometry imaging: A personal identification based on a gunshot residue analysis on latent fingerprints. Anal. Chim. Acta 2018, 1030, 25–32. [CrossRef]
Bailey, M.J.; Randall, E.C.; Costa, C.; Salter, T.L.; Race, A.M.; de Puit, M.; Koeberg, M.; Baumertg, M.; Bunch, J. Analysis of urine, oral fluid and fingerprints by liquid extraction surface analysis coupled to high resolution MS and MS/MS—opportunities for forensic and biomedical science. Anal. Method 2016, 8, 3373–3382. [CrossRef]
Szynkowska, M.I.; Czerski, K.; Rogowski, J.; Paryjczak, T.; Parczewski, A. ToF-SIMS application in the visualization and analysis of fingerprints after contact with amphetamine drugs. Forensic Sci. Int. 2009, 184, 24. [CrossRef]
West, M.J.; Went, M. The spectroscopic detection of drugs of abuse in fingerprints after development with powders and recovery with adhesive lifters. Spectrochim. Acta Part A Mol. Biomol. Spectrosc. 2009, 71, 1984–1988. [CrossRef]
De Oliveira Penido, C.A.F.; Tavares Pacheco, M.T.; Lednev, I.K.; Silveira, L., Jr. Raman spectroscopy in forensic analy- sis:identification of cocaine and other illegaldrugs of abuse. J. Raman Spectrosc. 2016, 47, 28–38. [CrossRef]
Matos, A.F.; Farinha, C.; Lima, T. Detection and identification of contaminants in fingerprints using infrared chemical imaging.
Eur. Police Sci. Res. Bull. 2015, 12, 32–38.
Kuwayama, K.; Tsujikawa, K.; Miyaguchi, H.; Kanamori, T.; Iwata, Y.T.; Inoue, H. ime-course measurements of caffeine and itsmetabolites extracted from fingertips after coffee intake: A preliminary study for the detection of drugs from fingerprints. Anal. Bioanal. Chem. 2013, 405, 3945–3952. [CrossRef]
Bradshaw, R.; Bleay, S.; Clench, M.R.; Francese, S. Direct detection of blood in fingermarks by MALDI MS profiling and imaging.
Sci. Justice 2014, 54, 110. [CrossRef]
Peng, T.; Qin, W.; Wang, K.; Shi, J.; Fan, C.; Li, D. Nanoplasmonic Imaging of Latent Fingerprints with Explosive RDX Residues.
Anal. Chem. 2015, 87, 9403–9407. [CrossRef] [PubMed]
Bailey, M.J.; Jones, B.N.; Hinder, S.; Watts, J.; Bleay, S.; Webb, R.P. Depth profiling of fingerprint and ink signals by SIMS and MeV SIMS. Nucl. Instrum. Methods Phys. Res. Sect. B 2010, 268, 1929–1932. [CrossRef]
Attard-Montalto, N.; Ojeda, J.J.; Reynolds, A.; Ismail, M.; Bailey, M.; Doodkorte, L.; de Put, M.; Jones, B.J. Determining the chronology of deposition of natural fingermarks and inks on paper using secondary ion mass spectrometry. Analyst 2014, 139, 4641. [CrossRef]
Sodhi, G.S.; Kaur, J. Powder method for detecting latent fingerprints: A review. Forensic Sci. Int. 2001, 120, 172. [CrossRef] Szynkowska, M.I.; Czerski, K.; Grams, J.; Paryjczak, T.; Parczewski, A. Preliminary studies using imaging mass spectrometry TOF-SIMS in detection and analysis of fingerprints. Imaging Sci. J. 2007, 55, 180–187. [CrossRef]
Bailey, M.J.; Bright, N.J.; Croxton, R.S.; Francese, S.; Fergusson, L.S.; Hinder, S.J.; Jickells, S.; Jones, B.J.; Jones, B.N.; Kazarian, S.G.; et al. Chemical Characterization of Latent Fingerprints by Matrix-Assisted Laser Desorption Ionization, Time-of-Flight Secondary Ion Mass Spectrometry, Mega Electron Volt Secondary Mass Spectrometry, Gas Chromatography/Mass Spectrometry, X-ray Photoelectron Spectroscopy, and Attenuated Total Reflection Fourier Transform Infrared Spectroscopic Imaging: An Intercomparison. Anal. Chem. 2012, 84, 8514–8523.
Hinder, S.J.; Watts, J.F. SIMS fingerprint analysis on organic substrates. Surf. Interface Anal. 2010, 42, 826–829. [CrossRef] Wakamatsu, Y.; Yamada, H.; Ninomiya, S.; Jones, B.N.; Seki, T.; Aoki, T.; Webb, R.; Matsuo, J. Highly sensitive molecular detection with swift heavy ions. Nucl. Instrum. Methods Phys. Res. Sect. B 2011, 269, 2251–2253. [CrossRef]
Jones, B.N.; Matsuo, J.; Nakata, Y.; Yamada, H.; Watts, J.; Hinder, S.; Palitsin, V.; Webb, R. Comparison of MeV monomer ion and keV cluster ToF-SIMS. Surf. Interface Anal. 2011, 43, 249–252. [CrossRef]
Jones, B.N.; Palitsin, V.; Webb, R. Surface analysis with high energy time-of-flight secondary ion mass spectrometry measured in parallel with PIXE and RBS. Nucl. Instrum. Methods Phys. Res. Sect. B 2010, 268, 1714. [CrossRef]
16.
17.
18.
19.
20.
21.
22.
23.
24.
25.
26.
27.
28.
29.
30.
31.
32.
33.
34.
35.
36.