GUIDELINES AND RECOMMENDATIONS

Monika Franczuk1, Tadeusz Przybyłowski2, Małgorzata Czajkowska-Malinowska3, Jakub Radliński4, Grażyna Bochenek5, Stefan Wesołowski1, Paweł Śliwiński6
1Department of Respiratory Physiopathology, Institute of Tuberculosis and Lung Diseases, Warsaw, Poland 2Department of Internal Medicine, Pulmonary Diseases and Allergy, Medical University of Warsaw, Poland 3Department of Pulmonary Diseases and Respiratory Failure, Center of Pneumonology, Bydgoszcz, Poland
4Department of Respiratory Physiopathology, Institute of Tuberculosis and Lung Diseases, Jan and Irena Rudnik Division, Rabka-Zdroj, Poland 5Department of Pulmonology, 2nd Chair of the Internal Medicine, Faculty of Medicine, Jagiellonian University Medical College, Krakow, Poland 62nd Department of Respiratory Medicine, Institute of Tuberculosis and Lung Diseases, Warsaw, Poland

Spirometry during the SARS-CoV-2 pandemic. Guidelines
and practical advice from the expert panel of the Respiratory Pathophysiology Assembly of the Polish Respiratory Society
This guidance provides advice to healthcare workers on the use of spirometry during the SARS-CoV-2 outbreak. It has been devel- oped based on currently available information and recommendations from relevant health care institutions. These recommendations are not based on scientific evidence (EBM, evidence based medicine), prospective studies, or research projects. This practical advice set will be kept under review and updated over time as new data becomes available.

## Introduction

The first cases of COVID-19 disease caused by the severe acute respiratory syndrome coronavirus 2 (SARS-CoV-2) were described at the end of 2019 in Wuhan, Hubei Province, China. The rapid spread of the infection resulted in the World Health Orga- nization announcing that the COVID-19 outbreak was a global pandemic on March 11th, 2020. The first case of SARS-CoV-2 infection in Poland was reported on March 4th, 2020 [1]. According to data from the Johns Hopkins Institute [2] dated Sep- tember 1st, COVID-19 disease caused by the new SARS-CoV-2 coronavirus has been confirmed in over 25,5 million people worldwide, and the num- ber of deaths has exceeded 850,000. In Poland, data from the Ministry of Health from early September indicates that there were over 67,000 infected individuals with the number of deaths exceeding 2000 [3]. At that time, 300–450 new cases were reported per day in Poland with most patients coming from groups of people working or living in close proximity (e.g., in workplaces and nursing homes). The daily morbidity rate during August
2020 increased to a range between 550–800 de- pending on which region of the country was being analyzed.
Current evidence suggests that the main routes of transmission of the SARS-CoV-2 virus are via inhalation, direct contact with contami- nated surfaces, and transmission via the mucous membranes of the mouth, nose, and eyes. Aero- sols containing the virus may spread up to 2 me- ters from an infected individual. As a result, this has culminated in many countries introducing social distancing in public spaces. However, studies have shown that the aerosol transmission distance of SARS-CoV-2 might be up to 4 or even 8 meters [4]. There are also reports suggesting that the virus can be transmitted through the air without being aerosolized [5, 6]. SARS-CoV-2 vi- ral particles have been shown to survive for at least 3 hours when aerosolized and can maintain viability for up to 72 hours on a hard surface, al- beit with a significantly reduced titer. The virus has been found to be more stable on plastic or stainless steel surfaces rather than on surfaces made of copper or cardboard [7].

Address for correspondence: Monika Franczuk, Department of Respiratory Physiopathology, Institute of Tuberculosis and Lung Diseases, Warsaw, Poland; e-mail: monika.franczuk@gmail.com
DOI: 10.5603/ARM.a2020.0186
Received: 09.10.2020 Copyright © 2020 PTChP ISSN 2451–4934

The SARS-CoV-2 virus has mainly been isolat- ed from nasal and pharyngeal secretions and spu- tum. Viral material was also found in tears, stool, and blood of infected people, although the clinical significance of this is yet to be determined [8–10]. The maximum incubation period is assumed to be up to 14 days, and the median time to onset of symptoms is estimated to be at 5.1 days (95% CI 4.5–5.8 days). In approximately 2.5% of patients, symptoms appeared within 2.2 days following in- fection. In 97.5% of patients, they appeared within
11.5 days (range 2 to 14 days) [11]. It is important to emphasize that although symptomatic individu- als pose the highest risk of transmission, it is also possible for an infected yet asymptomatic person to transmit the virus. The exact incidence of as- ymptomatic infections is not known. Most studies estimate the prevalence of asymptomatic trans- mission to range from 20% [12] to 40–45% [13], but some studies report a prevalence rate over 80% [14]. Such large discrepancies can be attributed to the lack of long-term observational data and the difficulty in differentiating between asymptomatic individuals and those who are pre-symptomatic patients in whom the infection was diagnosed be- fore the appearance of COVID-19 symptoms. One study showed that 13% of cases could be caused by the spread of the disease in patients who were pre-symptomatic [15].
The clinical course of SARS-CoV-2 infec- tion is diverse. In about 80% of patients, the illness is mild. In 14% of patients, the course is severe with dyspnea, hypoxemia, and >50% of lung parenchyma affected. In 5% of patients, the illness is critical with respiratory failure, shock, or multi-organ failure [16]. Mortality due to COVID-19 varies in different regions. Chinese authors estimate the overall mortality rate to be 2.3% with a significantly higher mortality rate (up to 14.8%) in those over the age of 80 [16]. In Italy, the overall mortality rate from COVID-19 was 7.2% during the pandemic’s initial period [17]. In patients who became critically ill, the mortal- ity rate was 61% in China [18], 50% in the USA [19], and 26% in one of the intensive care units in Lombardy, Italy [20].
The period of infectivity for individuals with SARS-CoV-2 infection has not yet been deter- mined. It is important to note that the presence of viral genetic material in airway secretions is not synonymous with infectivity. The duration of viral RNA shedding varies greatly; however, it seems to be linked to illness severity. One study showed a higher probability of elimination of the virus within the first week following infection
in asymptomatic patients when compared with patients reporting COVID-19 symptoms [21]. In another study, the median time of clearance of the virus in patients with mild COVID-19 disease who did not require hospitalization in the ICU was estimated to be at 24 days (interquartile range 18-31 days). However, one study observed that the viral shedding duration was up to 42 days [22]. According to the Centers for Disease Control and Prevention (CDC), viral load in the upper respiratory tract begins to significantly decrease after the onset of symptoms [23]. Therefore, the probability of isolating an infectious form of the virus from the airway secretions of patients with mild to moderate COVID-19 disease 10 days after the onset of symptoms is very low. In severe to critical COVID-19 patients, the probability of de- tecting an infectious form of the virus decreases to < 5% 15.2 days after initial infection [24]. It is also possible to detect viral genetic material in the airway secretions of those who have had COVID-19 disease for up to 3 months after the ini- tial infection occurred, albeit in much lower titers than during the illness. Isolation of an infectious form of the virus from these patients is usually not possible and, as a result, their infectivity is thought to be negligible [23].
The most common COVID-19 disease symp- toms are cough, shortness of breath, and a fever above 38°C. Other symptoms that may sug- gest infection include myalgia, headache, diz- ziness, changes in sense of taste and/or smell, and gastrointestinal disturbances. Diagnosis of SARS-CoV-2 infection requires confirmation by a positive reverse transcriptase polymerase chain reaction (RT-PCR) test result.

## Performing spirometry during
the SARS-CoV-2 pandemic

The SARS-CoV-2 coronavirus is becoming increasingly widespread in society and poses a potential threat to staff and patients attend- ing respiratory function laboratories. The inci- dence and infectivity of the virus, the Minister of Health’s recommendations, the Chief Sanitary Inspector, and local infection control teams are of value in providing guidelines for taking adequate preventive measures.
Maintaining patients and healthcare pro- fessionals’ safety is a priority. Therefore, extra precautions are required when performing respi- ratory function tests. All the necessary actions may lead to extended testing time, reorganiza- tion of diagnostic routines, a reduced number of

tests performed, and an increased consumption of disposable materials and personal protective equipment (PPE).

## Generation of aerosols
Although there is no official position on this, respiratory function testing is considered an aero- sol-generating procedure (AGP) [25]. An AGP is defined as any medical procedure which causes the generation of airborne particles (aerosols). Aerosols containing viral particles may remain suspended in the air for a while or travel for var- ious distances and cause infection via inhalation or contact with mucous membranes. Therefore, AGPs harbor a risk of airborne transmission of in- fections that would typically only be transmitted by droplets [26].

## Aerosol particle transmission
Airborne transmission of infectious diseases is possible by two routes:
Droplet transmission: expelled particles (di-
ameter > 5 μm) that settle quickly and can only travel short distances (within 1 meter) from the source.
Aerosol transmission: expelled particles (diameter  5 μm) which can travel much further.
In 2007, the World Health Organization (WHO) recommended the use of a 5 μm threshold to differentiate aerosol transmission (particle di- ameter  5 μm) from droplet transmission (particle diameter > 5 μm) [27].
The WHO, CDC, and National Health Service (NHS) have agreed that the type of personal pro- tective equipment required should be based on what transmission risks the person is exposed to. These include direct contact, fomites, aerosols, and/or droplets. According to the recommen- dations of the Agency for Health Technology Assessment and Tariff System (AOTMiT), “Protec- tion against droplet spread also protects against contact transmission. Protection against airborne transmission protects against infection via drop- lets and/or the contact route” [28].
Performing functional testing of the respi- ratory system often involves forced respiratory maneuvers and generating an airflow of up to 14 L/s (840 L/min). During these maneuvers, similar to when coughing or sneezing, macro and micro-aerosols are produced containing secre- tions from the patient’s respiratory tract. These secretions may contain bacteria and viruses, including SARS-CoV-2 particles. Aerosols and droplets produced during spirometry become
suspended in the air and eventually settle on sur- faces in the room such as equipment, furniture, and the floor. Therefore, there is a risk of infection from aerosolized particles and direct contact with contaminated surfaces for both patients and staff. Various guidelines regarding pulmonary function testing specific to the COVID-19 pan- demic have been published. These include guide- lines from the 9.1 group (Respiratory function technologists / Scientists) of the European Respi- ratory Society (ERS) [29], the American Thoracic Society (ATS) [30, 31], and the Association for Re- spiratory Technology & Physiology (ARTP) [32–34].

## Indications and contraindications for spirometry during
the SARS-CoV-2 pandemic
— During the SARS-CoV-2 pandemic, spirom- etry and other lung function tests should be performed only if they are deemed necessary to diagnose and manage respiratory diseases. Tests should be carried out with additional safety measures in place in order to minimize the risk of infection transmission. Also, they should only occur in laboratories that can facilitate adequate distancing, isolation, room disinfection, etc.
Lung function tests are likely to be necessary
for the following indications [31]:
  - To diagnose and support management in patients who urgently need treatment initiation (e.g., COPD, IPF).
  - To evaluate patients who are candidates for surgical treatment due to lung cancer.
  - To assess patients undergoing surgery that require urgent assessment of lung func- tion due to respiratory risk factors (e.g., respiratory disease, previous impairment in lung function, chest deformity, and/or severe obesity).
  - To study patients qualified for pharma- cological treatment programs who are attending drug trials in which the assess- ment of respiratory function is crucial for therapeutic decisions.
  - Patients qualified for lung transplantation.
  - Urgent diagnostic procedures.
- Lung function tests should not be performed in patients with diagnosed or suspected SARS-CoV-2 infection or with symptoms suggestive of COVID-19 [29].
- ERS guidelines state that lung function testing should not be performed on patients diagnosed with SARS-CoV-2 infection for a minimum of 30 days post-infection [29].

- The ATS recommends that lung function tests can be performed after COVID-19 infection if the patient meets one of the following cri- teria:
  - No fever (without the use of fever-reduc- ing medications), resolution of respiratory symptoms, and two negative RT-PCR swab test results (taken 24 hours apart).
  - No fever for at least 3 days (without the use of fever-reducing medications), a significantly decreased severity of respi- ratory symptoms, and 10 days since the onset of symptoms.
  - Asymptomatic with at least 2 negative RT- PCR tests obtained in the last 24 hours. Alternatively, 10 days since the previous positive RT-PCR test [31].
— In patients who are vulnerable to severe consequences from SARS-CoV-2 infection, lung function tests should be carried out in a room with negative pressure ventilation and without air conditioning, if possible [29].
- All routine respiratory function tests should be postponed until the end of the SARS- CoV-2 pandemic (this might be defined as a low viral prevalence and availability of reli- able tests to exclude SARS-CoV-2 infection).
- Lung function tests should be limited to spi- rometry (preferably only performed during slow breathing [32] with a measurement of forced expiratory volume in one sec- ond [FEV1] carried out in place of a forced expiration maneuver [flow-volume loop]), measurements of lung capacity and volume (if necessary) using body plethysmography, and diffusing capacity for carbon monoxide using the single-breath method.
- Procedures with significant aerosol genera- tion potential (e.g., bronchial hyperrespon- siveness testing, exercise testing [nb., the shuttle walk test and 6-minute walk test are recognized as procedures with decreased po- tential to generate aerosols], and reversibility testing) should not be performed [29].

## Organizational arrangements
As the SARS-CoV-2 infection can be trans- mitted by droplet transmission and by contact with contaminated surfaces and contaminated air [6, 33, 35, 36], significant adjustments are necessary in both the technique of testing and in the organization of laboratories that perform respiratory function tests. The Association for Respiratory Technology and Physiology (ARTP)
[32] recommendations include:
- Every patient attending for lung function testing should be treated as a potentially infectious person.
- All referrals should be verified by an experi- enced physician. Where possible, the results of previously performed lung function tests should be taken into account and analyzed. An assessment should be made as to whether further testing will contribute to the current clinical picture.
- Tests that generate high aerosol levels should be substituted by alternative, less aero- sol-generating procedures where clinically possible.
- SARS-CoV-2 RT-PCR test results should be documented in the patient’s notes. Inpa- tients referred for respiratory function testing should have undergone testing on admission.
- Outpatients referred for respiratory function testing should undergo a health check ques- tionnaire before performing any tests (p. 6). The ERS Group 9.1 suggests that screening for COVID-19 symptoms may be carried out by phone prior to laboratory attendance.

## Guidelines for waiting rooms
All waiting rooms should have either passive ventilation (through open windows) or mechani- cal ventilation. Air recirculation systems and air conditioners should be avoided.
Non-essential items (e.g., brochures, posters, pillows, covers, curtains, decorations, drink dis- pensers, etc.) should be removed. Surfaces, in- cluding chairs, should be made of non-porous and easy to clean material. An alcohol-based hand gel or handwashing facilities with disposable paper towels should be available for patient use. The use of soap bars and reusable textile towels should be avoided. An information poster on hand hygiene and handwashing techniques should be displayed in a visible place.
The 9.1 ERS group [29] recommends keeping a minimum distance of 2 meters between pa- tients. Patients are also recommended to attend alone and at an appointed date and time. If the patient requires a chaperone, it should be only one person who should also adhere to distancing and handwashing recommendations. Protective masks or visors should be worn when in the waiting room. It is advisable to create two separate waiting rooms for outpatients and hospitalized patients.

## Laboratory organization
The time interval between successive pa- tients should be long enough to allow for adequate

Table 1. Agents with activity against SARS-CoV-2 [38]

Product	Concentration	Exposure time	Decrease in infectivity (log10)
Ethanol	78%	30 s	 5.0
2-propanol (isopropyl alcohol)	100%	30 s	 3.3
	75%	30 s	 4.0
	70%	30 s	 3.3
2-propanol and 1-propanol (propyl alcohol)	45% and 30%	30 s	 4.3
Formaldehyde	1%	2 min	> 3
Glutaraldehyde
	2.5%	5 min	> 4
	0.5%	2 min	> 4
Iodopovidone	0.47%	1 min	3.8
	0.23%	1 min	> 4

Benzalkonium chloride	No date on efficacy are available — the product is not recommended

Chlorhexidine digluconate	Ineffective

ventilation of the room after each patient (at least 15 minutes), changing personal protective equip- ment by staff, and disinfection and recalibration of diagnostic equipment. This time interval is likely to last between 30–60 minutes.
Staff performing tests must use recommend- ed PPE for aerosol-generating procedures fol- lowing the national guidelines adopted from the AOTMiT which require [28]:
- A FFP3 or FFP2 half-face mask.
- Goggles or eye/face shield.
- A long-sleeved barrier apron (single-use or disinfectable and sterilizable).
- Disposable gloves, which should be discard-
ed after each test and after cleaning of the
laboratory.
Hand hygiene, which should be performed before and after putting on and taking off PPE.
— If appropriate PPE is not available, testing
should not be undertaken.
It is recommended that one examination is performed in one room at a time to reduce the risk of cross-contamination and infection of sub- sequent patients and staff. Where possible, pro- tective screens should be used between patients and staff to minimize the risk of direct contact with aerosols [32]. The technician and the patient should avoid facing each other during breathing maneuvers to reduce the risk of the patients’ ex- haled air being directly inhaled by the technician. Ventilation of rooms is crucial in order to reduce aerosolized viral particles. Ventilation involving just one air change has been found to

reduce the concentration of pollutants in the air (including SARS-CoV-2 particles) by 63%. After five air changes, less than 1% of air pollutants remain. Therefore, a ventilation system capable of performing 10–12 air changes per hour (ACH) would result in less than 1% of the initial air pol- lutants remaining after 30 minutes [33]. A room used for aerosol-generating procedures should have a ventilation system capable of at least 6 ACH. A room that does not meet this require- ment, or if there are other significant concerns, should be left empty for at least three hours before cleaning [32].
Natural ventilation (e.g., open windows and doors) has been shown to be an effective way to reduce the concentration of viral particles in the air. In one study, natural ventilation increased the ACH value by up to 69%. The addition of an extractor fan in the window further increases the efficiency of a ventilation system [37]. Wherever possible, consider performing tests in alternate rooms and using an interval between testing for ventilation and disinfection [32].
Agents active against SARS-CoV-2 should be used when disinfecting rooms and equipment. A summary of common cleaning agents is pre- sented in Table 1.

## Conducting measurements
Single-use bacterial viral filters (BVF) have previously been recommended for use when per- forming routine spirometry, especially in patients with colonization of the airways with a known

pathogen or in patients who have a comorbid disease (e.g., tuberculosis or cystic fibrosis) to avoid cross-infection [39–41]. However, this was not a common practice.
In the advent of the COVID-19 pandemic, BVFs are now recommended for all functional respiratory testing [29, 33]. The filters should provide adequate filtration for flow rates of up to 600 to 700 L/min. Filtration efficiency depends on the filter fibers’ density, the filter layer’s depth, and the flow rate. Several factors must be consid- ered when selecting filters:
- Bacterial removal efficiency (BRE) — the efficiency in trapping and removing bacterial and viral particles. Filters with an efficiency level of > 99.9% are recommended.
- Airflow resistance — the ATS recommends that the total airflow resistance at 14 L/s [42] must be < 1.5 cm H2O per L per second, measured with the BVF in situ. The spirom- eter must be re-calibrated to account for the additional resistance with the BVF included and placed between the calibration syringe and the device [39].
- Dead space volume — the volume of dead space created by the filter should be as small as possible to minimize rebreathing, which is especially important in patients with small lung volumes (young children or patients with severe respiratory impairment). Cur- rently available BVFs for functional testing have a dead space capacity of 50–75 mL.
- Single-use BVFs — they should be utilized. After testing, the filter should be disposed of according to local infection control pro- cedures. The filter should not be retained for use with other patients or subsequent examinations with the same patient. For BVFs with reusable housing, the housing must be disinfected between patients according to local infection control procedures.
- Type of BVF — it is recommended to use a type of filter that fits multiple devices in a given lab- oratory. BVFs, which also act as a mouthpiece, can make it easier to clean the flow transducer, reduce the dead space created by a filter, and are of a lower cost. If a filter with a mouthpiece is used, there is no need to use an additional disposable mouthpiece [29].
Consistent use of a new BVF for each pa- tient and routine cleaning of the device and surrounding environment with a disinfectant that has at least a 72% alcohol concentration are recommended to reduce the risk of equipment contamination and cross-infection.
When using equipment with disposable flow heads, compatible filters should also be used if the head has a physical connection with the pressure sensor(s). Additional filters are not required in devices where there is no connection between exhaled air and the rest of the apparatus (e.g., ultrasonic sensors). Compatible filters must be used to avoid affecting test results.
In order to reduce the number of unnecessary tests, improve efficiency, and shorten test time, each examination must be clearly explained to the patient. Technicians should not remove their mask to demonstrate breathing maneuvers to the patient, and the patient must breathe through the filter at all times.

## Specific patient groups

Lung function testing in children
Overall, performing tests on children re- quires more significant staff input and more attempts than with adult patients. It is also more challenging to maintain distancing and sanitary regimes when working with children. During the COVID-19 pandemic, only essential examinations should be performed in children [43]. Indications for lung function testing in children include testing those with chronic diseases (e.g., cystic fibrosis, primary ciliary dyskinesia, uncontrolled asthma), during the qualification process for lung transplants or hematopoietic cell transplants, and in situations when the pathogenesis of a disease is unclear or requires special assessment.
In the context of COVID-19, the recommenda- tions for testing children are consistent with the recommendations for adults. However, it should be noted that children, especially in younger age groups, are usually accompanied by an adult. Re- strictions regarding distancing and hand hygiene must also be adhered to by the accompanying adult. Where possible, children should enter the examination room alone while the accompanying person remains outside. However, if a guardian must accompany the child, movement within the room and direct contact with equipment should be minimized.

## Spirometry in the elderly
Older people with underlying diseases, in- cluding cardiovascular and chronic lung diseases, are known to be particularly susceptible to severe and critical effects of SARS-CoV-2 infection [18, 44]. Therefore, avoiding SARS-CoV-2 infection in this patient population is a priority, and visits to healthcare facilities should be avoided un-

less necessary with both routine and follow-up spirometry postponed until the post-pandemic period. Clinical circumstances and indications for spirometry should be discussed with the referring physician in terms of risk-benefit for the patient, and essential testing should be performed with all precautions mentioned above in place.

## Spirometry in lung cancer patients
Patients with a malignancy who become in- fected with SARS-CoV-2 have a higher mortality rate than the general population, and lung cancer patients are particularly susceptible to severe SARS- CoV-2 disease. Additional risk factors such as old age, smoking, other cardiac and pul- monary conditions (e.g., COPD), and concurrent cancer therapy further increase this risk [45]. Among all cancer patients infected with SARS- CoV-2, those with lung cancer make up the largest group (21–25% of all patients) [46, 47].
One of the essential indications for respira- tory function testing is evaluating lung cancer patients eligible for surgery. In these cases, the results of previously performed tests may be used to qualify for surgical treatment if the patients’ clinical condition remains stable. However, if these are not available or the patient’s clinical condition has deteriorated, spirometry should be performed with all the appropriate precautions.

## Telemedicine

Emerging technological advancements such as telemedicine are being utilized more often due to the SARS-CoV-2 pandemic. Telemedicine can be used for consultations, remote monitoring of vital signs (e.g., ECG, blood pressure, and oxygen saturation), and monitoring of test results to re- duce the risk of infection associated with phys- ically being in a hospital. Telemedicine may be useful in the monitoring and follow-up of patients with long-term respiratory conditions (e.g., cystic fibrosis and severe asthma). However, it should not be used as a diagnostic tool instead of lung function testing [48].

## Hospital procedure

Consistent rules or standard operating pro- cedures (SOPs) that are easy for staff to follow are essential for the organization and delivery of lung function testing with minimal SARS- CoV-2 infection risk. An example of an SOP is shown in Appendix 1. The document has been prepared by members of the Clinical Department
of Pulmonology and Allergology team at the Uni- versity Hospital in Cracow (which was designated a dedicated COVID-19 center). The SOP includes a description of the procedure, information re- garding the organization of tests, staff protection, infection control, and instructions on safely performing lung function testing (Appendix 1). The hospital procedure goes with the health as- sessment questionnaire (Appendix 2).

## Conflict od interest
None declared.

References:
1. Miniterstwo Zdrowia. Pierwszy przypadek koronawirusa w Polsce. 2020. Available from: www.gov.pl/web/zdrowie/pier- wszy-przypadek-koronawirusa-w-polsce. [Last accessed at: 30.11.2020].
2. Johns Hopkins University. Coronavirus resource center. 2020. Available from: https://coronavirus.jhu.edu/map.html. [Last accessed at: 27.07.2020].
3. Ministerstwo Zdrowia. Koronawirus: aktualne informacje
i zalecenia. 2020. Access Date: 27.07.2020. Available from: www.gov.pl/web/koronawirus/wykaz-zarazen-koronawi- rusem-sars-cov-2. [Last accessed at: 27.07.2020].
1. Bahl P, Doolan C, de Silva C, et al. Airborne or droplet precau- tions for health workers treating COVID-19? J Infect Dis. 2020 [Epub ahead of print], doi: 10.1093/infdis/jiaa189, indexed in Pubmed: 32301491.
2. Santarpia J, Rivera D, Herrera V, et al. Transmission potential of SARS-CoV-2 in viral shedding observed at the university of nebraska medical center. , doi: 10.1101/2020.03.23.20039446.
3. Stadnytskyi V, Bax CE, Bax A, et al. The airborne lifetime of small speech droplets and their potential importance in SARS- CoV-2 transmission. Proc Natl Acad Sci U S A. 2020; 117(22): 11875–11877, doi: 10.1073/pnas.2006874117, indexed in Pubmed: 32404416.
4. van Doremalen N, Bushmaker T, Morris DH, et al. Aerosol and surface stability of sars-cov-2 as compared with sars-cov-1. N Engl J Med. 2020; 382(16): 1564–1567, doi: 10.1056/NE- JMc2004973, indexed in Pubmed: 32182409.
5. Chen W, Lan Y, Yuan X, et al. Detectable 2019-nCoV vi- ral RNA in blood is a strong indicator for the further clini- cal severity. Emerg Microbes Infect. 2020; 9(1): 469–473, doi: 10.1080/22221751.2020.1732837, indexed in Pubmed: 32102625.
6. Wang W, Xu Y, Gao R, et al. Detection of SARS-CoV-2 in different types of clinical specimens. JAMA. 2020; 323(18): 1843–1844, doi: 10.1001/jama.2020.3786, indexed in Pubmed: 32159775.
7. Colavita F, Lapa D, Carletti F, et al. SARS-CoV-2 isolation from ocular secretions of a patient with COVID-19 in italy with pro- longed viral RNA detection. Ann Intern Med. 2020; 173(3): 242– 243, doi: 10.7326/M20-1176, indexed in Pubmed: 32302380.
8. Lauer SA, Grantz KH, Bi Q, et al. The incubation period of corona- virus disease 2019 (COVID-19) from publicly reported confirmed cases: estimation and application. Ann Intern Med. 2020; 172(9): 577–582, doi: 10.7326/M20-0504, indexed in Pubmed: 32150748.
9. Long QX, Tang XJ, Shi QL, et al. Clinical and immunological assessment of asymptomatic SARS-CoV-2 infections. Nat Med. 2020; 26(8): 1200–1204, doi: 10.1038/s41591-020-0965-6, in- dexed in Pubmed: 32555424.
10. Oran DP, Topol EJ. Prevalence of asymptomatic SARS-CoV-2 in- fection: a narrative review. Ann Intern Med. 2020; 173(5): 362– 367, doi: 10.7326/M20-3012, indexed in Pubmed: 32491919.
11. Sutton D, Fuchs K, D’Alton M, et al. Universal screening for SARS-CoV-2 in women admitted for delivery. N Engl J Med. 2020; 382(22): 2163–2164, doi: 10.1056/NEJMc2009316, in- dexed in Pubmed: 32283004.
12. Zhanwei D, Xiaoke X, Ye W, et al. Serial interval of COVID-19 among publicly reported confirmed cases. Emerg Infect Dis. 2020; 26(6): 1341.

1. Wu Z, McGoogan JM. Characteristics of and important lessons from the coronavirus disease 2019 (COVID-19) outbreak in China: summary of a report of 72 314 cases from the chi- nese center for disease control and prevention. JAMA. 2020; 323(13): 1239–1242, doi: 10.1001/jama.2020.2648, indexed in Pubmed: 32091533.
2. Onder G, Rezza G, Brusaferro S. Case-Fatality rate and characteristics of patients dying in relation to COVID-19 in italy. JAMA. 2020; 323(18): 1775–1776, doi: 10.1001/ jama.2020.4683, indexed in Pubmed: 32203977.
3. Yang X, Yu Y, Xu J, et al. Clinical course and outcomes of critically ill patients with SARS-CoV-2 pneumonia in Wuhan, China: a single-centered, retrospective, observational study. Lancet Respir Med. 2020; 8(5): 475–481, doi: 10.1016/S2213- 2600(20)30079-5, indexed in Pubmed: 32105632.
4. Bhatraju PK, Ghassemieh BJ, Nichols M, et al. COVID-19 in critically ill patients in the Seattle region — case series. N Engl J Med. 2020; 382(21): 2012–2022, doi: 10.1056/NEJ- Moa2004500, indexed in Pubmed: 32227758.
5. Grasselli G, Zangrillo A, Zanella A, et al. Baseline character- istics and outcomes of 1591 patients infected with sars-cov-2 admitted to icus of the lombardy region, italy. JAMA. 2020; 323(16): 1574–1581, doi: 10.1001/jama.2020.5394, indexed in Pubmed: 32250385.
6. Chau NV, Thanh Lam Vo, Thanh Dung N, et al. The natural history and transmission potential of asymptomatic SARS- CoV-2 infection. Clin Infect Dis. 2020 [Epub ahead of print], doi: 10.1093/cid/ciaa711, indexed in Pubmed: 32497212.
7. Xiao AiT, Tong YiX, Zhang S. Profile of RT-PCR for SARS- CoV-2: a preliminary study from 56 COVID-19 patients. Clin Infect Dis. 2020; 71(16): 2249–2251, doi: 10.1093/cid/ciaa460, indexed in Pubmed: 32306036.
8. Centers for Disease Control and Prevention. Symptom-based strategy to discontinue isolation for persons with COVID-19: decision memo. 2020. Available from: www.cdc.gov/corona- virus/2019-ncov/community/strategy-discontinue-isolation. html. [Last accessed: 15.08.2020].
9. Kampen Jv, Vijver Dv, Fraaij P, et al. Shedding of infec- tious virus in hospitalized patients with coronavirus dis- ease-2019 (COVID-19): duration and key determinants. , doi: 10.1101/2020.06.08.20125310.
10. Pasnick S, Carlos WG, Dela Cruz CS, et al. SARS-CoV-2 trans- mission and the risk of aerosol generating procedures. Am J Respir Crit Care Med. 2020 [Epub ahead of print], doi: 10.1164/ rccm.2020C11, indexed in Pubmed: 32603230.
11. WHO. Infection prevention and control of epidemic and pan- demic prone acute respiratory infections in health care. WHO Guidelines 2014.
12. Gralton J, Tovey E, McLaws ML, et al. The role of particle
size in aerosolised pathogen transmission: a review. J Infect. 2011; 62(1): 1–13, doi: 10.1016/j.jinf.2010.11.010, indexed in
Pubmed: 21094184.
1. Niżankowski R, Myśliwiec M, Szymański P. Zaleceniaw COVID-19. Polskie zalecenia diagnostyczno-terapeutyczne oraz organizacyjne w zakresie opieki nad osobami zakażonymi lub narażonymi na zakażenie SARS-CoV-2. Agencja Oceny Technologii Medycznych i Taryfikacji 2020.
2. European Respiratory Society. Recommendation from ERS
Group 9.1 (Respiratory function technologists /Scientists) lung function testing during COVID-19 pandemic and be- yond. 2020. Available from: www.ersnet.org/covid-19-guide- lines-and-recommendations-directory. [Last accessed: Access Date: 15.08.2020].
1. American Thoracic Society. Pulmonary function laboratories: advice regarding COVID-19. 2020. Available from: www.tho- racic.org/professionals/clinical-resources/disease-related-re- sources/pulmonary-function-laboratories.php. [Last accessed at: 20.06.2020].
2. Wilson KC, Kaminsky DA, Michaud G, et al. Restoring pulmo- nary and sleep services as the COVID-19 pandemic lessens. From an association of pulmonary, critical care, and sleep division directors and American Thoracic Society-coordinat- ed task force. Ann Am Thorac Soc. 2020; 17(11): 1343–1351,
doi: 10.1513/AnnalsATS.202005-514ST, indexed in Pubmed: 32663071.
1. ARTP Covid Group. Respiratory function testing during en- demic COVID-19. Version 1.5 - May 26th 2020. 2020. Available from:www.artp.org.uk/News/artp-guidance-respiratory-func- tion-testing-and-sleep-services-during-endemic-covid-19. [Last accessed at: 20.06.2020].
2. ARTP Covid Group. Covid19 infection control issues for lung function. 2020. Available from: www.artp.org.uk/COVID19. [Last accessed at: 20.06.2020].
3. ARTP Covid Group. Suggested lung function testing for pa-
tients after COVID-19, pneumonia or ARDS. 2020. Avail- able from: www.artp.org.uk/write/MediaUploads/Standards/ COVID19/Proposed_Lung_Function_Testing_for_COVID19_ Vers2.0.pdf. [Last accessed at: 20.06.2020].
National Academies of Sciences Engineering Medicine. Rapid
expert consultation on the possibility of bioaerosol spread of SARS-CoV-2 for the COVID-19 pandemic (April 1st, 2020). The National Academies Press Washington, DC, 2020.
1. Liu Y, Ning Z, Chen Yu, et al. Aerodynamic characteristics and RNA concentration of SARS-CoV-2 aerosol in Wuhan hospitals during COVID-19 outbreak. , doi: 10.1101/2020.03.08.982637.
2. Qian H, Li Y, Seto WH, et al. Natural ventilation for reducing airborne infection in hospitals. Build Environ. 2010; 45(3): 559–565, doi: 10.1016/j.buildenv.2009.07.011, indexed in Pubmed: 32288008.
3. Kampf G, Todt D, Pfaender S, et al. Persistence of coronavirus- es on inanimate surfaces and their inactivation with biocidal agents. J Hosp Infect. 2020; 104(3): 246–251, doi: 10.1016/j. jhin.2020.01.022, indexed in Pubmed: 32035997.
4. Tomalak W, Antczak A, Boros P, et al. Zalecenia Polskiego Towarzystwa Ftyzjopneumonologicznego dotyczące wykony- wania badań spirometrycznych. Pneumonol Alergol Pol. 2004; 72: 7–32.
5. Miller MR, Crapo R, Hankinson J, et al. General considerations for lung function testing. Eur Respir J. 2005; 26(1): 153–161, doi: 10.1183/09031936.05.00034505, indexed in Pubmed: 15994402.
6. Graham BL, Steenbruggen I, Miller MR, et al. Standardization of spirometry 2019 update. An official American Thoracic Society and European Respiratory Society technical state- ment. Am J Respir Crit Care Med. 2019; 200(8): e70–e88, doi: 10.1164/rccm.201908-1590ST, indexed in Pubmed: 31613151.
7. Miller MR, Hankinson J, Brusasco V, et al. Standardisa- tion of spirometry. Eur Respir J. 2005; 26(2): 319–338, doi: 10.1183/09031936.05.00034805, indexed in Pubmed: 16055882.
8. Bignamini E, Cazzato S, Cutrera R, et al. Italian pediatric respiratory society recommendations on pediatric pulmonary function testing during COVID-19 pandemic. Ital J Pediatr. 2020; 46(1): 68, doi: 10.1186/s13052-020-00829-0, indexed in Pubmed: 32448282.
9. Zhou F, Yu T, Du R, et al. Clinical course and risk factors for mortality of adult inpatients with COVID-19 in Wuhan, Chi- na: a retrospective cohort study. Lancet. 2020; 395(10229): 1054–1062, doi: 10.1016/S0140-6736(20)30566-3, indexed in Pubmed: 32171076.
10. Garassino M, Whisenant J, Huang LC, et al. COVID-19 in patients with thoracic malignancies (TERAVOLT): first re- sults of an international, registry-based, cohort study. The Lancet Oncology. 2020; 21(7): 914–922, doi: 10.1016/s1470- 2045(20)30314-4.
11. Dai M, Liu D, Liu M, et al. Patients with cancer appear more vulnerable to SARS-CoV-2: a multicenter study during the COVID-19 outbreak. Cancer Discov. 2020; 10(6): 783–791, doi: 10.1158/2159-8290.CD-20-0422, indexed in Pubmed: 32345594.
12. Zhang L, Zhu F, Xie L, et al. Clinical characteristics of COVID-19-infected cancer patients: a retrospective case study in three hospitals within Wuhan, China. Ann Oncol. 2020; 31(7): 894–901, doi: 10.1016/j.annonc.2020.03.296, indexed in Pubmed: 32224151.
13. Hare N., Bansal P., Bajowala S.S. et al. COVID-19: unmasking telemedicine. J Allergy Clin Immunol Pract; 8(8): 2461–2473. e2463.

Appendix 1. A standard operating procedure (SOP) [29, 49]

Rules for lung function testing during the state of epidemic emergency due to SARS-CoV-2 virus
Aim and scope / The aim of the procedure is to determine the procedure and method of performing lung function tests in the Pulmonary Function Lab / ...................................................................... during the state of epidemic emergency due to SARS-CoV-2 virus. / It is obligatory for medical personnel............................................................ to adhere to this procedure / Definitions and terminology / COVID-19 — an acute respiratory infection caused by SARS-CoV-2 virus. / Lung function tests — used to identify the severity of pulmonary impairment and, inter alia, diffusion of gases in the alveoli. / Responsibilities and powers / The procedure applies to medical personnel as per their respective responsibilities. / Qualification of the patient and completion of the questionnaire — a ward/clinic physician who refers to lung function testing. / Performing pulmonary function tests — nursing staff of the Pulmonary Function Lab ......................................... / Description of the procedure / Pulmonary function testing is an aerosol-generating procedure. During the test, secretions from the patient’s airways often spread between people interacting in close proximity as a result of the forced exhalation maneuver and coughing that may accompany it. This procedure carries the risk of spreading the infection to other people. It poses a serious risk to the health and safety of staff performing the tests as well as other patients. / During the COVID-19 pandemic, performing lung function tests should be limited only to those cases where the outcome is essential to further patient management. / Under no circumstances should pulmonary function tests be performed in patients with suspected or confirmed COVID-19. In patients with COVID-19, such tests may be performed after two consecutive negative swab test results and 30 days after the infection. / Patients must present a referral form and the “Patient Health Assessment Questionnaire” completed by the referring physician (Appendix 2). / Organization of work / Prior to referral, the referring physician should assess current health state of the patient, according to the patient’s health assessment questionnaire (Appendix 2). / In the waiting room, patients should wear face masks and sit at least 2 m away from each other. / After each test, a break (30–60 min) should be provided, intended for: / cleaning / decontamination of equipment and the environment, / ventilation of the room (15 min), / removing and putting on personal protective equipment by the staff, / recalibration of the device. / Staff protection / It is mandatory for the staff to wear personal protective equipment in the test room. It is forbidden to wear it outside of the room. / A separate room should be designated for staff’s changing into personal protective equipment and the second one for performing the tests. / Plexiglas screens should be placed between the patient and the personnel while performing the tests. / Use: / FFP3 or FFP2 half-face masks, / goggles or eye/face shields, / long sleeve protective apron (additional plastic apron, which should be discarded after each patient encounter in units of particular risk) / disposable gloves to be discarded after each patient encounter and after cleaning the room’s surfaces. / Hand hygiene (washing and disinfection) is mandatory before and after removal of gloves.

Æ

  1. Performing pulmonary function tests
    1. Lung function tests should be limited to spirometry and diffusing capacity of lung for carbon monoxide (DLCO) testing.
    2. Body plethysmography should be used only when necessary due to the risk of contamination of the plethysmograph.
    3. Cardiopulmonary exercise testing, bronchial challenge tests and nebulization therapy should not be performed due to aerosol generation.
    4. Disposable mouthpieces with high-quality filters should be used, other consumables e.g. nose clips should also be used only once.
If used more than once, they should be thoroughly cleaned according to local infection control guidelines.
  1. Cleaning and infection control
    1. Strictly follow the guidelines for disinfection of equipment, according to local infection control guidelines, ventilate the rooms and use ultraviolet (UV) light sanitizing systems such as germicidal lamps as often as recommended by local authorities.
    2. Specific local guidelines for infection control must be followed.
5.	Annexes
Patient health assessment (Appendix 2).

Appendix 2. Health assessment questionnaire

Patient name ........................................................................................................... / Contact number ......................................................................................................... / Full name of the referring doctor .......................................................................................... / Contact number .........................................................................................................
Date and time		Temperature	Oxygen saturation	RT-PCR SARS-CoV-2 (date)
				Positive (+)		Negative (+)

History					YES		NO
Previous contact with a person with confirmed SARS-CoV-2 infection
Clinical features of respiratory infection in the past 14 days
Contact with a medical professional in the past 14 days
Symptoms that occurred 14 days before the examination					YES		NO
	Cough
	Dyspnea
	Body temperature  38°C
	Muscle or bone pain
	Sore throat
	Headache or dizziness
	Nausea or vomiting
	Diarrhea or loss of appetite
	Change in the sense of taste or smell
	Conjunctivitis
	Other symptoms (skin lesions, cyanosis of fingers or toes)

Actions are taken (select one option)

	YES	NO
SARS-CoV-2 infection suspected; / Conduct a swab test and isolate while awaiting the result
SARS-CoV-2 infection not suspected; / Swab test not required
Name and surname of the interviewer / ........................................................................................................................ / Patient signature / ........................................................................................................................