Ginekologia Polska
2019, vol. 90, no. 2, 104–108
Copyright © 2019 Via Medica
RE VIE W PAPER / G y n E co lo G y
ISSN 0017–0011
DOI: 10.5603/GP.2019.0018
Food and Drug Administration — approved molecular
methods for detecting human papillomavirus infection
1, 2
1
Katarzyna Sitarz
, Slawa Szostek
1
Department of Virology, Chair of Microbiology, Jagiellonian University Medical College, Cracow, Poland
2
Faculty of Chemistry, Jagiellonian University, Cracow, Poland
ABSTRACT
In the world, there are many tests that allow the detection of HPV infection. These tests are based on different operating
principles and have different levels of sensitivity. The first test to detect HPV infection was approved by the Food and
Drug Administration in 2003. Since then, the FDA has approved five more commercial tests for this purpose, the last one
in 2018. This paper discusses the principles of molecular tests to detect HPV, which have been approved by the FDA, the
main differences between them, as well as their advantages and disadvantages.
HPV detection; Hybrid Capture; Cervista; COBAS; Aptima; Onclarity
Key words:
Ginekologia Polska 2019; 90, 2: 104–108
detection of HPV infection [5, 6]. The current guidelines of the
INTRODUCTION
Polish Society of Gynecologists and Obstetricians recommend
Cervical cancer is currently the fourth most common
performing an HPV test in case of obtaining an abnormal cytol-
cancer in terms of both incidence as well as mortality among
ogy result (ASC-US, LSIL) as an alternative to a repeat cytology
women in the world [1]. According to estimated data, in
test [7]. There are many methods for detecting HPV infection,
2018 in the world, there were 570,000 new cases of this
which we can divide into three main groups: nucleic acid hy-
cancer and 311,000 deaths. However, in 28 countries, it is the
bridization assays, signal amplification assays and nucleic acid
most commonly diagnosed cancer among women, and in
amplification assays [5]. Until today, the Food and Drug Admin-
42 countries, it is the cancer with the highest mortality rate
istration (FDA) has approved 7 tests detecting HPV infection:
among women [1]. In Poland, cervical cancer now ranks sev-
TM
three signal amplification assays (Hybrid Capture
enth in terms of cancer incidence and ninth as regards cancer
 II genera-
tion, Cervista™ HPV HR, Cervista™ HPV 16/18) and four nucleic
mortality among women [2]. Main known etiological factors
of cervical cancer are oncogenic types of human papilloma-
acid amplification assays (COBAS® HPV Test, Aptima™ HPV
Assay, Aptima™ HPV 16 18/45 and BD Onclarity™ HPV Assay).
virus (HPV) [3]. HPV is a sexually transmitted virus. There are
both high-oncogenic and low-oncogenic HPV types. The
group of high-oncogenic types includes HPV –16, –18, –31,
HYBRID CAPTURE
–33, –35, –39, –45, –51, –52, –56, –58 and –59 [4]. However,
The first method for the detection of HPV infection reg-
manufacturers of most commercial tests described here
istered by the FDA (2003) is a type of solution hybridiza-
have also included the –66 and –68 types to high–risk (HR)
tion followed by signal amplification, the Hybrid Capture II
types. In the further part of the publication, this classification
(HC2) generation method (Qiagen, Canada; former: Digene,
will be adopted for simplification, however, these types are
USA) [8]. The materials to be examined are cervical swabs
classified by the authors of the latest publications as probably
and biopsies [9]. The second-generation HC test allows to
(–66) and possibly (–68) carcinogenic [4]. The operation of
show the presence of 5 types of the virus with low oncogenic
molecular tests lies primarily in the detection of these types.
potential (HPV –6, –11, –42, –43, –44) and 13 types of the
The important aspects in preventing the development of
virus with high oncogenic potential (HPV –16, –18, –31, –33,
cervical cancer involve both cytological examination and the
–35, –39, –45, –51, –52, –56, –58, –59, –68).
Corresponding author:
Slawa Szostek
18 Czysta St., 31–121 Cracow, Poland
Tel.: 12 634 54 00; e-mail: slawa.szostek@uj.edu.pl
104

---
 FDA-approved HPV molecular tests
Katarzyna Sitarz et al.,
in relation to the emission of positive control light. In order
to eliminate false negative results caused by too little ma-
terial, the recommended cutoff value is 1.0 pg of viral DNA
per 1 mL of the test sample, this value is similar for each of
the HPV types detected [9]. This concentration is equivalent
to 5,000 viral copies per assay or 100,000 copies/mL [10].
The advantages of the test are: the semi-quantitative
evaluation of viral DNA in the infected cell and a relatively
high sensitivity of the method, comparable to the amplifica-
tion reaction [11–13]. The method allows to distinguish virus
types with high and low oncogenic potential but does not
specify particular genotypes. The disadvantage of the test
is also the occurrence of cross-reactions between the probe
detecting HPV types with high oncogenic potential and
other HPV viruses, the sequence of which do not contain
a probe [14]. However, increasing the cutoff value to 10 pg of
viral DNA per 1 mL eliminates the majority of cross reactions,
except for reactions with HPV –53 and –67 [14]. From a clinical
point of view, cross-reactions of the probe detecting types
with high oncogenic potential with non-oncogenic types
have practically no effect on the treatment of patients with
cytological changes in the cervix [15]. Another disadvantage
of the test is the possibility of false negative results when
using some antifungal creams and contraceptive jelly [9].
The literature also reports on the existence of the Hy-
brid Capture III test, which was intended to remedy the
cross-reactivity problem by using labeled oligonucleotides
instead of antibodies against the DNA:RNA hybrids used in
the HC2 test [16]. Although it has come into commercial
use, the small literature defines it as a “non-commercial test”
and states that it is sometimes used in scientific research in
Principles of molecular HPV tests (description in the
Figure 1.
combination with the PCR reaction and the HC2 test [17].
relevant paragraphs): (A) Hybrid Capture; (B) Cervista; (C) COBAS
vs. Onclarity detection and genotyping of HPV types – different
colors are different fluorescent dyes; (D) Common steps in COBAS and
CERVISTA
Onclarity; (E) APTIMA; F — fluorophore; Q — quencher; IC — internal
Other methods approved by the FDA (2009) are the
control; M — magnetic microparticle
Cervista™ HPV HR test and the Cervista™ HPV 16/18 test
(Hologic Inc., USA). The materials for examination are cervi-
In the laboratory, the material is denatured in an alkaline
cal swabs [18], as well as biopsies [19].
environment [9] leading to lysis of cervical epithelial cells,
The Cervista™ HPV HR test is based on solution hybridiza-
viral capsid damage, release of HPV DNA and obtaining
tion and is a qualitative test to detect DNA of all 14 types of
HR HPV [18, 19]. The method uses the Cleavase enzyme and
a single strand of viral DNA (Fig. 1A). The single strand of
HPV DNA hybridizes with a specific RNA probe and, practi-
consists of two isothermal reactions: the primary one, i.e. the
binding of oligonucleotides to the target sequence, and the
cally, with a mixture of RNA sequences complementary to
HPV DNA of high or low oncogenic potential. The resulting
secondary one, i.e. fluorescence generation [18]. In the primary
reaction, two types of oligonucleotides are used: a probe oli-
RNA: DNA hybrids are captured and immobilized in wells
of a microplate coated with antibodies against RNA:DNA
gonucleotide comprising a sequence complementary only to
the 5 ‘part of the target sequence and a non-complementary
hybrids. Then they are combined with a conjugate of an-
ti-hybrid antibodies with alkaline phosphatase. The addition
region to its further part and Invader® oligonucleotide, com-
plementary to the 3’ part of the target sequence (Fig. 1B). These
of a chemiluminescent substrate (dioxetane) to the enzyme
reaction triggers the emission of light proportional to the
oligonucleotides overlap with at least one nucleotide, so that
when bound to the target sequence, a structure is created that
number of hybrids. The luminous intensity is measured in
the luminometer and expressed in relative light units (RLU)
is a substrate for the Cleavase enzyme. This enzyme cleaves
105
www. journals.viamedica.pl/ginekologia_polska

---
Ginekologia Polska 2019, vol. 90, no. 2
the non-complementary region and overlapping nucleotides
swab [25]. The test contains primers that are used in the
from the oligonucleotide probe. In the secondary reaction, the
PCR reaction to amplify the sequence of about 200 nucleo-
cleaved fragment hybridizes to a FRET oligonucleotide with
tides of the gene encoding the L1 protein of 14 HR HPV
a hairpin structure. FRET oligonucleotide has a fluorophore
types. Oligonucleotide primers are fluorescently labeled,
and a quencher. The presence of the quencher eliminates the
allowing the use of quantitative PCR technology (qPCR).
phenomenon of fluorescence, because its absorption spectrum
The reaction is automated and takes place in the dedicated
coincides with the emission spectrum of the fluorophore [20].
COBAS x 480 instrument, which reduces the manual work
required [25]. There are 4 fluorescent probes used: separate
The next sequence is created, which cleaves the Cleav-
ase enzyme, because in this case, nucleotides of the hybrid-
for HPV-16, for HPV-18, for the remaining 12 types, and for
the beta-globin gene as positive control of human DNA
ized sequences overlap. Cleavase cleaves the FRET oligonu-
cleotide between the fluorophore and the quencher, which
isolation (Fig. 1C). The test is therefore differentiating only
for HPV –16 and –18 genotypes.
causes fluorescence emission [18]. The internal control of
the test is the sequence encoding the histone 2 protein
If L1 gene sequence of one or more HR HPV types is
present in the sample, specific primers attach to the com-
— the mixture of oligonucleotides also contains oligonu-
cleotides that bind to this sequence. For the method to
plementary sequences and the amplification reaction
takes place (Fig. 1D). Detection is based on oligonucleotide
detect the presence of viral DNA and prevent false negative
results, 1,250–2,500 copies of DNA are required for virus
probes [26]. These probes are labeled at one end with a fluo-
types –16, –18, –31, –45, –52 and –56; 2,500–5,000 copies
rophore and at the other with a quencher. The quencher is
of DNA for types –33, –39, –51, –58, –59, –66 and –68; and
so close to the fluorophore that no emission of fluorescence
5,000–7,500 copies for type –35 [18].
occurs. If the probe binds to a complementary sequence,
The Cervista™ HPV HR test is characterized by high
then it will be degraded during the ongoing qPCR reaction,
analytical sensitivity, comparable to the sensitivity of the
thanks to 5’–3’ exonuclease activity of polymerase.
HC2 test [19]. Compared to the HC2 test, the advantages
Degradation of the probe causes separation of the
of the test are: the Cervista includes an internal control,
fluorophore from the quencher, thanks to which the fluo-
rescence can be detected (for each marker at different ex-
requires lower sample volume and involves hands-free time,
because there is a possibility for automation [21, 22]. Be-
citation wave) [26].
The detection limit (LoD) has been specified for 150 cop-
cause the test requires a small-volume sample, the collected
material can be used for a greater amount of analysis, e.g.
ies/mL for type –45, 300 copies/mL for types –16, –31, –33,
–39, –51 and –59, 600 copies/mL for types –18, –35 and –58,
for testing for other pathogens. The disadvantages of the
test are: cross-reactivity with HPV types –67 and –70 and the
1200 copies/ mL for types –56, –66 and –68 and 2400 cop-
ies/mL for type –52 [25].
possibility of false negative results when using contraceptive
gels and antifungal creams. Like the HC2 method, Cervista
The advantage of the test is its high sensitivity, com-
parable to the HC2 test [27]. The COBAS test shows lower
is not specific for particular viral genotypes [18].
The Cervista™ HPV 16/18 test is based on the same re-
cross-reactivity with non-oncogenic virus types than Hybrid
actions as the Cervista™ HPV HR test, however, it contains
Capture II (1.2% vs. 2.2%) [28]. The test does not cross-react
oligonucleotides complementary only to the two most
with other microorganisms or interact with lubricants or
oncogenic HPV strains: 16 and 18, so it is used to detect
antifungal drugs [25]. The COBAS test allows genotyping
only these two types [23]. The test can be used alone or
of only HPV –16 and –18 types. The remaining 12 types
in combination with Cervista™ HPV HR, which is recom-
give the same signal, so they are detected together, and
mended in the case of squamous cells with indeterminate
it is not possible to differentiate the type of virus. Another
significance (ASC-US) [21]. The advantages of the test are
advantage mentioned above is automation, which reduces
the need for manual work. The literature does not report
high analytical sensitivity and analytical specificity [24]. In
comparison to the PCR method, the overall positive and
any shortcomings of the test, however, the high price of
the instrument used to conduct the test can certainly be
negative percentages of compliance were 94% and 85%,
respectively [24]. The disadvantage is the cross-reactivity
regarded as a disadvantage.
with HPV 31; however, it only occurs at high concentrations
of this genotype in the sample [21, 22].
APTIMA
The APTIMA (Gen-Probe, USA) test was approved by
the FDA in 2011. The materials tested are ThinPrep cervi-
COBAS
The COBAS® HPV (Roche Molecular Systems Inc., Swit-
cal smears [29]. The tests are designed to detect mRNA of
zerland) was approved by the FDA in 2011. The material
E6/E7 oncoproteins encoded in the viral genome. There
are two variants of this test: APTIMA™ HPV and APTIMA™
for examination is an LBC (liquid-based cytology) cervical
106

---
 FDA-approved HPV molecular tests
Katarzyna Sitarz et al.,
16 18/45 (approved by the FDA in 2012). APTIMA™ HPV
is based on qPCR [32]. The materials are cervical swabs col-
detects an infection with 14 HR HPV types, while APTIMA™
lected in a BD SurePath Preservative Fluid. BD Onclarity ™
16 18/45 detects an infection with three HPV oncogenic
HPV Assay detects E6/E7 oncogenes of 14 HPV HR types. The
types: –16, –18 and/or –45. The tests do not allow to dis-
test is performed in three separate tubes (Fig. 1C). Onclarity
tinguish which of the detected types of infection occurred.
test differentiates infection types –16, –18, –31, –45, –51 and
The APTIMA test consists of 3 stages, which are carried out
–52 while the remaining 8 genotypes are detected as 3 dif-
in one tube: target capture; target amplification; detection of
ferent groups (–33/–58, –56/–59/–66 and 35/39/68) [32, 33].
the amplification products [29]. At the beginning, samples are
The three tubes are necessary because the test uses
transferred to the Specimen Transport Medium, in which cell ly-
15 probes (14 for viral sequences and 1 for the human beta
sis occurs and the mRNA contained therein is released (Fig. 1E).
globin gene sequence, as internal control), but only four
Then, target mRNAs bind to complementary oligonucleotides
fluorescent dyes are employed so each tube contains dif-
with (poly-deoxyadenosine) polyA tail. Next, these hybrids are
ferent probes labeled with the markers used.
bound by poly-deoxythymidine (polyT) molecules, attached to
The test is fully automated and is divided into two stag-
es. The first stage consists in cell lysis and DNA isolation in
the magnetic microparticles. This makes it possible to separate
the target mRNA with a magnet. The next step, amplification,
a high pH environment [32, 33]. The second stage is based
on TaqMan oligonucleotide probes, identically to the COBAS
is associated with using the TMA method, i.e. amplification
of RNA using reverse transcriptase and T7 polymerase. The
test (Fig. 1D).
captured mRNAs are transcribed into complementary DNA
The LoD of the test is about 250 copies/mL for HPV–16,
by reverse transcriptase. The cDNA contains a promoter for
in the range of 800–900 copies/mL for HPV –31, –52 and –66,
the T7 RNA polymerase, which allows this enzyme to join the
in the range of 1,000–1,500 copies/mL for types –18, –45,
cDNA and create multiple copies of the complementary RNA
–56 and –59, in the range of 1,500–1,800 copies/mL for types
strand. Detection of the resulting amplicons is done using the
–33, –35, –39 and –51 and in the range of 2,300–2,400 cop-
Hybridization Protection Assay. The assay involves hybridiza-
ies/mL for types –58 and –68 [32].
tion of duplicated sequences with fluorescently labeled oligo-
The advantages of the test are high specificity and sen-
nucleotide probes. In the absence of hybridization, the probe is
sitivity, which are comparable to the HC2 test [34]. The test
degraded by borate buffered solution containing a surfactant.
provides genotyping information for 6 types of HPV – this is
Therefore, the fluorescence signal can be detected only in the
the largest number out of all tests presented here. Thanks to
presence of multiplication by T7 polymerase. Light emitted by
full automation, the test is very easy to use and limits the work
hybrids is measured by RLU using a luminometer [29].
required [32]. There was also no cross-reactivity with other
The LoD test, according to the manufacturer’s data, is
types of HPV or any microorganisms. As the only one of all
FDA-accepted tests, it differentiates between 6 types of viral
less than 100 copies/reaction for types –16, –18, –31, –33,
–35, –39, –45, –58, –59, –66, and –68, and between 100 and
infection. The disadvantage of the test is the possibility of ob-
taining false negative results when using mucin, acyclovir and
300 copies/reaction for types –51, –52 and –56. The reaction
is carried out in a volume of 400 μL +/- 100 μL [29].
clindamycin [32]. Another downside is the high price of the
The sensitivity of the test is comparable to the sensi-
BD Viper ™ LT system, which is necessary to perform the test.
tivity of the HC2 test (according to Ratman et al., 96.3%
for APTIMA vs 94.3% for Hybrid Capture II), so it is high,
SUMMARY
however, the greatest advantage of the test compared to
All molecular tests approved by the FDA have high sen-
HC2 is a higher correlation between a positive result of the
sitivity and specificity. All tests detect 14 types of HPV HR,
test and pre-cancer/cervical cancer stages [30]. The test also
except for the HC2 test, which does not detect HPV-66, but
has a higher specificity compared to the COBAS test [31].
does detect 5 low-oncogenic types. Cervista and APTIMA
A small disadvantage of the test is cross-reactivity with HPV
have variants that detect only types with the highest on-
types –26, –67, –70 and –82, however, it does not show
cogenicity. The COBAS allows genotyping of HPV types
cross-reactivity with other HPV strains or microorgan-
–16 and –18, while Onclarity allows genotyping of types
isms. Another disadvantage of the test is no genotyping
–16, –18, –31, –45, –51 and –52. The APTIMA test has the
of particular viral genotypes. The test interferes with some
lowermost limit of detection among the tests described. The
lubricants containing Polyquaternium 15, as well as with
tests show cross-reactivity with low-risk HPV types, except
some antifungal agents containing tioconazole [29].
for the Onclarity test, where cross-reactivity was not found.
Cervista has the ability to be automated, and COBAS and
Onclarity are compulsorily automated. Automation reduces
ONCLARITY
the need to perform laboratory work, but the one-time
This test was approved by the FDA in 2018. The BD On-
expenditure for equipment is high.
clarity ™ HPV Assay (Becton, Dickinson and Company, USA)
107

---
Ginekologia Polska 2019, vol. 90, no. 2
The main disadvantage of the described tests is that they
cervical specimen collection strategies. J Clin Microbiol. 1998; 36(11):
3248–3254, indexed in Pubmed: 9774574.
do not allow for observation of mixed infections as well as
15.
Castle PE, Solomon D, Wheeler CM, et al. Human papillomavirus
monitoring of persistent infection with all types belonging
genotype specificity of hybrid capture 2. J Clin Microbiol. 2008; 46(8):
2595–2604, doi: 10.1128/JCM.00824-08, indexed in Pubmed: 18579716.
to the HPV HR group.
16.
Castle PE, Lorincz AT, Scott DR, et al. Comparison between prototype
In comparison to cytological and histopathological tests,
hybrid capture 3 and hybrid capture 2 human papillomavirus DNA assays
for detection of high-grade cervical intraepithelial neoplasia and cancer.
the molecular HPV tests described show different corre-
J Clin Microbiol. 2003; 41(9): 4022–4030, indexed in Pubmed: 12958220.
lations between pathological changes in the cervix and
17.
Schiffman M, Glass AG, Wentzensen N, et al. A long-term prospective
study of type-specific human papillomavirus infection and risk of
HPV-positive results. Differentiation of correlation between
cervical neoplasia among 20,000 women in the Portland Kaiser Cohort
CIN2 + and positive HPV test result is as follows: HC2 test
Study. Cancer Epidemiol Biomarkers Prev. 2011; 20(7): 1398–1409, doi:
shows 93.4% detection of CIN2+ lesions, Cevrista HPV HR
10.1158/1055-9965.EPI-11-0206, indexed in Pubmed: 21602310.
18.
Cervista ™ HPV HR. Madison: Third Wave Technologies. https://www.
98.4%, Cervista HPV 16/18 77%, COBAS 95%, APTIMA HPV
accessdata.fda.gov/cdrh_docs/pdf8/p080014c.pdf (2008).
89.4%, Onclarity 98% [10, 21, 27, 30, 33, 35]. The literature
19.
Kurian EM, Caporelli ML, Baker S, et al. Cervista HR and HPV 16/18 as-
says vs hybrid capture 2 assay: outcome comparison in women with
does not provide this data for the APTIMA 16 16/45 test.
negative cervical cytology. Am J Clin Pathol. 2011; 136(5): 808–816,
Each of the tests described has both advantages and
doi: 10.1309/AJCPCQD7B7DPVHLH, indexed in Pubmed: 22031321.
20.
Marras SAE. Selection of fluorophore and quencher pairs for fluorescent
disadvantages. It is important, therefore, that a laboratory
nucleic acid hybridization probes. Methods Mol Biol. 2006; 335: 3–16,
that wants to carry out HPV detection tests selects the most
doi: 10.1385/1-59745-069-3:3, indexed in Pubmed: 16785616.
21.
Alameda F, Garrote L, Mojal S, et al. Cervista HPV HR test for cervical
suitable option for itself.
cancer screening: a comparative study in the Catalonian population.
Arch Pathol Lab Med. 2015; 139(2): 241–244, doi: 10.5858/arpa.2014-
REFERENCES
0012-OA, indexed in Pubmed: 25611107.
22.
Torres M, Fraile L, Echevarria Jm, et al. Human Papillomavirus (HPV)
1.
Bray F, Ferlay J, Soerjomataram I, et al. Global cancer statistics 2018:
Genotyping: Automation and Application in Routine Laboratory Testing.
GLOBOCAN estimates of incidence and mortality worldwide for 36
Open Virol J. 2012; 6: 144–150, doi: 10.2174/1874357901206010144,
cancers in 185 countries. CA Cancer J Clin. 2018; 68(6): 394–424,
indexed in Pubmed: 23248734.
doi: 10.3322/caac.21492, indexed in Pubmed: 30207593.
23.
Cervista ™ HPV 16/18. Madison: Third Wave Technologies. https://www.
2.
Human Papillomavirus and Related Diseases Report. Barcelona: HPV
accessdata.fda.gov/cdrh_docs/pdf8/P080015c.pdf (2008).
Information Centre. http://www.hpvcentre.net/statistics/reports/POL.
24.
Bartholomew DA, Luff RD, Quigley NB, et al. Analytical performance of
pdf (2018).
Cervista HPV 16/18 genotyping test for cervical cytology samples. J Clin
3.
Bosch FX, Lorincz A, Muñoz N, et al. The causal relation between hu-
Virol. 2011; 51(1): 38–43, doi: 10.1016/j.jcv.2011.01.016, indexed in
man papillomavirus and cervical cancer. J Clin Pathol. 2002; 55(4):
Pubmed: 21376660.
244–265, indexed in Pubmed: 11919208.
25.
cobas® HPV Test. South Branchburg: Roche Molecular Systems. https://
4.
de Sanjosé S, Brotons M, Pavón MA. The natural history of human papil-
www.accessdata.fda.gov/cdrh_docs/pdf10/p100020s017c.pdf (2015).
lomavirus infection. Best Pract Res Clin Obstet Gynaecol. 2018; 47: 2–13,
26.
Rao A, Young S, Erlich H, et al. Development and characterization of
doi: 10.1016/j.bpobgyn.2017.08.015, indexed in Pubmed: 28964706.
the cobas human papillomavirus test. J Clin Microbiol. 2013; 51(5):
5.
Abreu ALP, Souza RP, Gimenes F, et al. A review of methods for detect
1478–1484, doi: 10.1128/JCM.03386-12, indexed in Pubmed: 23447640.
human Papillomavirus infection. Virol J. 2012; 9: 262, doi: 10.1186/1743-
27.
Heideman DAM, Hesselink AT, Berkhof J, et al. Clinical validation of the
422X-9-262, indexed in Pubmed: 23131123.
cobas 4800 HPV test for cervical screening purposes. J Clin Microbiol.
6.
Krajowa Izba Diagnostów Laboratoryjnych; Polskie Towarzystwo Gine-
2011; 49(11): 3983–3985, doi: 10.1128/JCM.05552-11, indexed in Pub-
kologiczne. Guidelines for application of molecular tests identyfying HR
med: 21880968.
HPV DNA in the prevention of cervical cancer. Statement of experts from
28.
Preisler S, Rebolj M, Ejegod DM, et al. Cross-reactivity profiles of hybrid
PGS (PTG) and NCLD (KIDL). Ginekol Pol. 2013; 84: 395–399, indexed in
capture II, cobas, and APTIMA human papillomavirus assays: split-sample
Pubmed: 23819408.
study. BMC Cancer. 2016; 16: 510, doi: 10.1186/s12885-016-2518-4,
7.
Olejniczak T, Rabiega-Gmyrek D, Niepsuj-Biniaś J, et al. [Human papil-
indexed in Pubmed: 27439470.
loma virus genotyping in women with abnormal cytology]. Ginekol Pol.
29.
APTIMA® HPV Assay. San Diego: Gen-Probe Incorporated. https://www.
2015; 86(7): 541–546, indexed in Pubmed: 26376534.
accessdata.fda.gov/cdrh_docs/pdf10/P100042c.pdf (2011).
8.
Wong AA, Fuller J, Pabbaraju K, et al. Comparison of the hybrid capture
30.
Ratnam S, Coutlee F, Fontaine D, et al. Aptima HPV E6/E7 mRNA test is
2 and cobas 4800 tests for detection of high-risk human papillomavirus
as sensitive as Hybrid Capture 2 Assay but more specific at detecting
in specimens collected in PreservCyt medium. J Clin Microbiol. 2012;
cervical precancer and cancer. J Clin Microbiol. 2011; 49(2): 557–564,
50(1): 25–29, doi: 10.1128/JCM.05400-11, indexed in Pubmed: 22090403.
doi: 10.1128/JCM.02147-10, indexed in Pubmed: 21147950.
9.
Hybrid CaptureTM II. Gaithersburg: Digene Corporation. https://www.
31.
Castle PE, Eaton B, Reid J, et al. Comparison of human papillomavirus
accessdata.fda.gov/cdrh_docs/pdf/P890064S009c.pdf. (2012).
detection by Aptima HPV and cobas HPV tests in a population of women
10.
Sargent A, Bailey A, Turner A, et al. Optimal threshold for a posi-
referred for colposcopy following detection of atypical squamous cells of
tive hybrid capture 2 test for detection of human papillomavirus:
undetermined significance by Pap cytology. J Clin Microbiol. 2015; 53(4):
data from the ARTISTIC trial. J Clin Microbiol. 2010; 48(2): 554–558,
1277–1281, doi: 10.1128/JCM.03558-14, indexed in Pubmed: 25653409.
doi: 10.1128/JCM.00896-09, indexed in Pubmed: 20007387.
32.
BD Onclarity™ HPV Assay. Sparks: Becton, Dickinson and Company. htt-
11.
Bozzetti MC, Nonnenmacher B, Mielzinska I, et al. Comparison between
 (2018).
ps://www.accessdata.fda.gov/cdrh_docs/pdf16/P160037C.pdf
hybrid capture II and polymerase chain reaction results among women
33.
Ejegod DM, Junge J, Franzmann M, et al. Clinical and analytical perfor-
at low risk for cervical cancer. Annals of Epidemiology. 2000; 10(7): 466,
mance of the BD Onclarity™ HPV assay for detection of CIN2+ lesions
doi: 10.1016/s1047-2797(00)00147-2.
on SurePath samples. Papillomavirus Res. 2016; 2: 31–37, doi: 10.1016/j.
12.
Castle PE, Schiffman M, Wheeler CM. Hybrid capture 2 viral load and
pvr.2016.01.003, indexed in Pubmed: 29074183.
the 2-year cumulative risk of cervical intraepithelial neoplasia grade 3
34.
Bottari F, Sideri M, Gulmini C, et al. Comparison of Onclarity Human Papil-
or cancer. Am J Obstet Gynecol. 2004; 191(5): 1590–1597, doi: 10.1016/j.
lomavirus (HPV) Assay with Hybrid Capture II HPV DNA Assay for Detec-
ajog.2004.05.018, indexed in Pubmed: 15547529.
tion of Cervical Intraepithelial Neoplasia Grade 2 and 3 Lesions. J Clin
13.
Kulmala SM, Syrjänen S, Shabalova I, et al. Human papillomavirus testing
Microbiol. 2015; 53(7): 2109–2114, doi: 10.1128/JCM.00246-15, indexed
with the hybrid capture 2 assay and PCR as screening tools. J Clin Mi-
in Pubmed: 25903574.
crobiol. 2004; 42(6): 2470–2475, doi: 10.1128/JCM.42.6.2470-2475.2004,
35.
Guo M, Khanna A, Feng J, et al. Analytical performance of cervista
indexed in Pubmed: 15184422.
HPV 16/18 in SurePath pap specimens. Diagn Cytopathol. 2015; 43(4):
14.
Peyton CL, Schiffman M, Lörincz AT, et al. Comparison of PCR- and hybrid
301–306, doi: 10.1002/dc.23221, indexed in Pubmed: 25352375.
capture-based human papillomavirus detection systems using multiple
108