# DETERMINATION OF MORPHINE, CODEINE AND 6-MONOACETYL-MORPHINE IN HAIR OF ADDICTED PERSONS
Renata WIETECHA1, Roman STANASZEK2
1. Faculty of Chemistry, Jagiellonian University, Cracow
2. Institute of Forensic Research, Cracow
ABSTRACT: In the last decades advances in analytical methods have enabled de-
termination of drugs of abuse in alternative biological samples such as hair, sweat,
saliva etc. One important feature of hair analysis is that it provides long-term infor-
mation on an individual’s drug use, in contrast to the short-term information pro-
vided by urinalysis. The analytical procedure of determination of opiates in hair
which was previously developed in the Institute of Forensic Research was applied to
the group of drugs of abuse mentioned in the title, in hair from patients who abused
“Polish heroin” and were undergoing detoxification and methadone treatment. This
was a preliminary study in this field.
KEY WORDS: Hair; Gas Chromatography/Mass Spectrometry (GC/MS); Opiates;
Methadone Treatment Programme.
Z Zagadnień Nauk Sądowych, z. XLIX, 2002, 38-50
Received 20 February 2002; accepted 7 March 2002
INTRODUCTION
Drug addiction has been increasing in Poland recently, as have efforts to
prevent and counteract it. Laws have been changed and made more severe to
help in the fight against this problem. The results of laboratory analysis are
very often the basis for judicial rulings. Nowadays forensic laboratories are
requested not only to identify seized illicit substances, but also to confirm
drug use or abuse. Thus a need for developing new methods of detection and
determination of drugs of abuse and their metabolites in alternative biologi-
cal specimens such as hair, saliva, etc. [13] (as opposed to classical ones such
as blood and urine) has arisen.
Hair is a useful diagnostic specimen thanks to the non-invasive way of
collecting samples, their stability, and also because of the fact that hair anal-
ysis provides information on short and long-term history of addiction to or
abstinence from psychoactive substances in an individual [2].

Determination of morphine, codeine
39
Hair testing plays an especially significant role in forensic toxicology.
Very often a hair sample is the only specimen suitable or available for analy-
sis: for example, in post-mortem examinations where corpses have been
found a long time after death (victims of drowning, traffic accidents, aircraft
catastrophes victims, exhumed corpses etc.) and are decomposed and it is
not possible to collect body fluids samples for analysis [9].
Hair analysis can be used to study an individual’s exposure to xeno-
biotics, for instance in children living amongst adults addicted to cocaine.
Another example is analysis of the hair of newborn babies to check for prena-
tal exposure to drugs of abuse and medicaments taken by the mother during
pregnancy. The results can explain an infant’s addiction, withdrawal or de-
fective development symptoms. Detection of drugs in hair is more and more
frequently applied in clinical studies, e.g. monitoring drug therapy, check-
ing abstinence in drug addiction treatments programmes [11] and epidemio-
logical studies [8].
Another field of application for hair testing is civil cases such as divorces,
child custody, adoption or insurance cases [7]. There is also a possibility of
its use by institutions issuing driving licences or by employers before hiring
staff 14]. Hair analysis can also be used to detect other organic substances -
e.g. doping control in athletes or sports animals [5].
PURPOSE
The aim of this work was to apply analytical procedure of determination
of opium alkaloids in hair, which was previously developed in the Institute
of Forensic Research, to the determination of morphine, codeine, and
6-monoacetylmorphine in hair samples collected from patients treated in
the Szczecin Centre for Detoxification and Drug Addiction Treatment [3], as
well as to assess the usefulness of hair testing in practice.
MATERIALS AND METHODS
## Standards
Standard compounds (morphine, codeine, 6-monoacetylmorphine) and
their deuterium labelled internal standards (morphine-D3, codeine-D3,
6-monoacetylmorphine-D3, 6-MAM-D3) were purchased from Promochem
(Radian).

40
R. Wietecha, R. Stanaszek
Reagents
The following reagents, all of analytical grade, were used in the study:
triethylamine (Merck), dichloromethane (Merck), acetonitrile (Gradient
Grade for HPLC, Merck), pentafluoropropionic acid anhydrate - PFPAA
(Supelco), 75% 2,2,3,3,3-pentafluoro-1-propanol - PFPOH (Sigma -
Aldrich), 2-propanol and acetone (Ośrodek Badawczo-Rozwojowy Przemy-
słu Rafineryjnego w Płocku), chloroform (Polskie Odczynniki Chemiczne),
methanol (Eurochem BGD). Bond Elut Certify solid phase extraction col-
umns with mixed mode sorbent (C8 and strong cation exchange resin -
SCX), were purchased from Varian (USA).
Hair samples
Hair samples were collected from 36 addicted persons treated in the
Szczecin Centre for Detoxification and Drug Addiction Treatment. Hair
used to prepare blank and calibration samples was collected from children
who had not been exposed to the studied drugs.
Instrumentation
A Varian gas chromatograph (GC 3400 series) coupled to a FinniganMat
Magnum ion trap mass spectrometer (ITD) was used for determination of
opium alkaloids in hair. Chromatographic separation was achieved on
a Hewlett Packard HP-5MS Fused Silica Capillary Column (FSCC), length-
30 m, inner diameter - 0.25 mm, film thickness - 0.25 pm. Hair samples
were pulverised in a Retsch KG ball mill. Solid phase extraction was done
using Baker vacuum apparatus.
Hair sample preparation
Hair samples were cut as close as possible to the skin from the posterior
vertex head region according to the guidelines of the Society of Hair Tes-
ting [12]. The site of cutting and top site of the strand were marked with
a white thread. Detailed data concerning selected patients and their hair
samples are presented in Table I.
Each sample was decontaminated by washing hair stands with the fol-
lowing solvents: 2-propanol, phosphate buffer (pH = 7.4) and dichloro-
methane. To perform segmental hair analysis (analysis of particular hair
strand segments), previously air-dried samples were divided into 2 cm seg-
ments from the site of cutting to the end of the strand. Assuming average
hair growth rate as 1 cm per month [9, 10] and knowing the date of sample
collection, by analysing each segment of the hair, segmental hair analysis
can provide information on abuse history (abstinence periods) in particular
time periods up to the day of sampling.

Determination of morphine, codeine
41
TABLE I. DATA CONCERNING SELECTED PATIENTS AND THEIR HAIR SAMPLES
Number of patient	Date of sample collection	Hair strand length [cm]	Number of hair / segments	Drugs abused	Treatment	Sex, age, / hair colour
3	12.11.1999	21	9	Opiates, / amphetamine, / ephedrine	Detoxification	Male, 38, dark auburn
4	12.11.1999	42	16	Opiates	Detoxification	Female, 38, red (dyed)
28	3.01.2000	28	11	Opiates, / amphetamine	Methadone / programme	Female, 40, / blond
30	3.01.2000	7	3	Opiates, / Amphetamine, / medicinal / drugs	Methadone / Programme	Male, 27, auburn
31	7.01.2000	38	13	Opiates	Detoxification, / Methadone / Programme	Male, 35, auburn
34	7.01.2000	6.5	3	Opiates, barbi- turates	Detoxification	Male, 40, dark auburn

First hair samples were cut with scissors into about 1 mm long pieces and
then pulverised in a ball mill. 50 mg of milled hair originating from each seg-
ment was weighed out and subjected to successive stages of analysis. For
each series of determinations, standard hair samples were prepared in order
to create a calibration curve. For this purpose, five 50 mg pulverised blank
hair samples (hair not containing analytes) were weighed out. Then working
solutions of morphine and codeine in methanol (1 pg/ml) and 6-MAM in
acetonitrile (10 pg/ml) were added in amounts so that concentration of
analytes in the standard hair samples ranged from 0 to 10 ng/mg. 10 pl of
10 pg/ml internal standard solution was added to each sample. The final con-
centration of internal standard in each sample was 2 ng/mg.
## Hydrolysis and extraction
Hair samples spiked with standard substances were digested by acid hy-
drolysis. 1 ml of 0.1 M hydrochloric acid was added to each sample and then
incubated for 16 hours at a temperature of 50°C. After hydrolysis, the aque-
ous phase was extracted with solid phase extraction using a Bond Elut Cer-
tify Column and extraction apparatus. First, incubated samples were cooled
to room temperature and centrifuged at a speed of 4000 cycles/min for 2 min.
Then, the acidic phase was separated from hair residue and transferred to
appropriately marked 20 ml glass vials. Hair residues were then rinsed with
1 ml of phosphate buffer (pH = 7.4) and again centrifuged for 2 min at
4000 revolutions/min. The buffer phase was combined with the acid phase,
and then 1 ml of phosphate buffer was added. Before applying supernatant

42
R. Wietecha, R. Stanaszek
to the extraction columns, they were conditioned with 2 ml of methanol and
2 ml 0.0115 M of hydrochloric acid. After conditioning, the vacuum was
turned off and phosphate buffer was applied onto the columns, allowing it to
freely flow through the bed under gravitation. Next, to remove the interfer-
ing matrix from the samples, the columns were washed with 2 ml of
0.0115 M HCl, 2 ml of 0.012 M H3PO4, 2 ml of 0.087 M CH3COOH and 2 ml of
2-propanol. After this step, the columns were dried under vacuum for
30 min. Finally, analytes were eluted, without use of vacuum, with 2 ml of
mixture of dichloromethane, isopropanol, and triethylamine (78:20:2, v/v/v)
into 2 ml of silanised glass vials.
## Derivatisation
Extracts were derivatised by incubation at 70°C for 30 min with 50 |il
PFPA (pentafluoropropionic acid anhydrate) and 50 |il 75% PFPOH
(2,2,3,3,3-penta-fluoro-1-propanol). The derivatising agent was evaporated
under nitrogen. After evaporation the dried residue was dissolved in 50 |il of
dried chloroform. The final samples were analysed by means of gas chroma-
tography coupled to mass spectrometry (GC/MS).
## GC/MS analysis
Hair analysis was performed with a Varian series 3400 gas chromato-
graph coupled to a Finnigan Mat Magnum ion trap detector. The gas
chromatograph was equipped with a split/splitless injector. The sample
(2 ql) was injected in splitless mode (1 min). Chromatographic separation
was achieved on a Hewlett Packard HP-5MS Fused Silica Capillary (length
30 m, inner diameter 0.25 mm, film thickness 0.25 qm). The flow of the car-
rier gas (helium 6.0) was 1.2 cm3/min. The injector temperature was set to
260°C. The column temperature programme was made up of 3 stages: 130°C
maintained for 1 min, then raised linearly by 20°C/min up to 275°C and
maintained at 275°C for 4.5 min. The transfer line was maintained at 280°C
and the ion trap was operated at a temperature of 220°C in positive electron
impact ionisation mode (EI). The energy of the bombarding electron beam
was 70 eV. The electron multiplier voltage was set to 1900 V. Ion trap was
operated in a full scan mode (mass range 50 to 600 m/z).
RESULTS AND CONCLUSION
Figure 1 shows chromatographic separation of target compounds (range
from 600 to 800 scans) in a standard hair sample containing 5 ng/mg of
analytes and 2 ng/mg of internal standards. Identification of chromato-

Determination of morphine, codeine .
43
graphic peaks corresponding to morphine-di-PFP, morphine-D3-di-PFP, co-
deine-PFP, codeine-D3-PFP, 6-MAM-PFP and 6-MAM-D3-PFP was based
on their retention times and comparison of the mass spectra of eluted com-
pounds with reference mass spectra from the Magnum software library.
Fig. 1. Chromatographic separation of analytes (morphine-di-PFP, mor-
phine-D3-di-PFP, codeine-PFP, codeine-D3-PFP, 6-MAM-PFP, 6-MAM-D3-PFP) in
a range from 600 to 800 scans - standard hair sample containing 5 ng/mg of analytes
and 2 ng/mg of internal standards.
Quantitative analysis was based on calibration curves in a concentration
range 0-10 ng/mg. Internal standards were deuterium labelled derivatives
of analytes. The concentrations of xenobiotics in hair samples collected from
36 patients (12 detoxification and 24 methadone maintenance programme
patients) were calculated using calibration data files created with Magnum
Software. In 20 cases, the calculated concentrations were below the detec-
tion limits of the target substances (morphine - 0.3 ng/mg, codeine -
6 ng/mg, 6-monoacetylomorphine - 0.6 ng/mg), so the final results were re-
corded as negative and the concentration value was regarded as 0.0 ng/mg.
The concentrations of the analytes in the remaining patients’ hair samples
were in the following ranges: morphine: 0.3-32.5 ng/mg, codeine 0.6-
8.5 ng/mg, and 6-monoacetylomorfiny 0.6-2.4 ng/mg. The concentration of
the target xenobiotics found in hair of selected patients are shown in Figure 2.
The method of determination of opium alkaloids in hair allows ascertain-
ment of opiates concentration in particular segments of hair strands corre-
sponding to particular time periods. Contrarily to blood and urine analysis,
which gives only gives short-term information on “presence” of xenobiotics
(hours - days), hair testing enables determination of chronic drug use

44
R. Wietecha, R. Stanaszek
(weeks - months), identification of the type of drug, and detection of the time
period in which the drugs were taken.
Fig. 2. Concentrations of xenobiotics (S1 — 6-MAM, S2 — codeine, S3 — morphine) in
hair segments of: a) patient 3, b) patient 4, c) patient 8 and d) patient 28.
The concentrations of morphine, codeine and 6-monoacetylmorphine found
in the hair of selected patients are presented in Figure 2; these indicate opiates
use history (e.g. patient 3 - Figure 2a, patient 4 - Figure 2b, patient 8 - Fig-
ure 2c) or abstinence periods (patient 28 - segment 10 - Figure 2d).
The obtained results to a large degree reflect the clinical picture of the pa-
tients. For instance, they confirm information gained from interviews car-
ried out with patients undergoing treatment, concerning the type of drugs of
abuse used and the period of drug addiction. Moreover, hair analysis has en-
abled the monitoring of abstinence of patients in detoxification and metha-
done maintenance patients treated in the Szczecin Centre for Detoxification
and Drug Addiction Treatment.
To draw more conclusions, hair analysis of a greater number of patients
must be performed. This will enable determination of the average concen-
tration of particular opiate compounds in lightly and strongly addicted per-
sons using liquid “Polish heroin”, whose composition differs from solid her-

Determination of morphine, codeine
45
oin (brown sugar) found in western countries [1, 6]. Furthermore, it will fa-
cilitate adjudication in court cases in which addiction must be ascertained.
References:
1. Barnfield C., Burns S., Byron D. L. [et al.], The routine profiling of
   forensic heroin samples, Forensic Science International 1988, vol. 39,
   pp. 107—117.
2. Baumgartner W. A., Discussion of hair analysis for drugs of abuse, Journal
   of Forensic Sciences 1990, vol. 35, pp. 778—779.
3. Brewer C., Hair analysis as a tool for monitoring and managing patients on
   methadone maintenance, Forensic Science International 1993, vol. 63,
   pp. 277—283.
4. Chiarotti M, Strano-Rosii S., Offidani C. [et al.], Evaluation of co-
   caine use during pregnancy through toxicological analysis of hair, Journal of
   Analytical Toxicology 1996, vol. 20, pp. 555—558.
5. Gaillard Y., Vayssette F., Pepin G., Compared interest between hair
   analysis and urinalysis in doping controls. Results for amphetamines, corti-
   costeroids and anabolic steroids in racing cyclists, Forensic Science Interna-
   tional 2000, vol. 107, pp. 361—379.
6. Kaia M., Lechowicz W., Stanaszek R., Kompot — the Polish source of
   opium alkaloids, Problems of Forensic Sciences 1998, vol. 37, pp. 45—54.
7. Lewis D., Moore C., Morrissey P. [et al.], Determination of drug expo-
   sure using hair: application to child protective cases, Forensic Science Interna-
   tional 1997, vol. 84, pp. 123—128.
8. Ricossa M. C., Bernini M., de Ferrari F., Hair analysis for drivingli-
   cense in cocaine and heroin users. An epidemiological study, Forensic Science
   International 2000, vol. 107, pp. 301—308.
9. Sachs H., Forensic applications of hair analysis, [in:] Drug testing in hair,
   Kintz P. [ed.], CRC Press, Boca Raton 1996.
10. Sachs H., Theoretical limits of the evaluation of drug concentrations in hair
    due to irregular hair growth, Forensic Science International 1995, vol. 70,
    pp. 53—61.
11. Smerek J. J., Baumgartner W. A., Tollos J. A. [et al.], Hair analysis
    for detection of phencyclidine in newly admitted psychiatric patients, Ameri-
    can Journal of Psychiatry 1985, vol. 142, pp. 950—959.
12. Society of Hair Testing, Statement of the Society of Hair Testing Concerning,
    the examination of drugs in human hair, Forensic Science International 1997,
    vol. 84, pp. 3—6.
13. Suzuki S., Inoune T., Hori H. [et al.], Analysis of methamphetamine in
    hair, nail, sweat, and saliva by mass fragmentography, Journal of Analytical
    Toxicology 1989, vol. 13, pp. 176—178.
14. Tagliaro F., de Battisi Z., Lubli G. [etal.], Integrated use of hair analy-
    sis to investigate the physical fitness to obtain the driving license: a casework
    study, Forensic Science International 1997, vol. 84, pp. 129—135.

# OZNACZANIE MORFINY, KODEINY I 6-MONOACETYLOMORFINY WE WŁOSACH OSÓB UZALEŻNIONYCH
Renata WIETECHA, Roman STANASZEK
WPROWADZENIE
W ostatnich latach w Polsce problemy związane z narkomanią i jej zapobiega-
niem uległy nasileniu. Spowodowało to zmianę i zaostrzenie przepisów prawa regu-
lującego zapobieganie narkomanii. Wielokrotnie podstawą do sądowego orzekania
w tych sprawach są wyniki badań laboratoryjnych. Od laboratoriów sądowych wy-
maga się obecnie nie tylko identyfikacji skonfiskowanych narkotyków, ale potwier-
dzenia ich używania. Pojawiła się więc potrzeba opracowania procedur oznaczania
narkotyków i ich metabolitów w nowych, alternatywnych w stosunku do klasycznych
(krwi i moczu) materiałach biologicznych takich jak włosy, ślina i inne [13].
Włosy stanowią cenny materiał diagnostyczny ze względu na nieinwazyjność
pobierania próbek, ich trwałość, a także fakt, że analiza włosów dostarcza informacji
na temat bliskiej i dalszej historii uzależnienia lub abstynencji danej osoby od
substancji psychoaktywnych [2].
Szczególne znaczenie analiza włosów odgrywa w toksykologii sądowej. Bardzo
często zdarza się, że jedynym materiałem do badań toksykologicznych, nadającym
się do nich lub w ogóle dostępnym, są włosy. Przykładem mogą być znalezione po
długim czasie zwłoki (ofiary utonięć, wypadków drogowych, katastrof lotniczych,
zwłoki po ekshumacji itp.), które są tak silnie rozłożone, że nie można z nich pobrać
płynów ustrojowych [9].
Dzięki analizie włosów można przeprowadzić badania narażenia osób na działa-
nie ksenobiotyków. Przykładem są badania dzieci, które żyją wśród dorosłych uza-
leżnionych od kokainy, lub też analiza włosów noworodka w celu kontroli narażenia
na narkotyki lub leki spowodowanego przyjmowaniem ich przez matkę w czasie
ciąży. Dzięki tej analizie można wyjaśnić objawy uzależnienia, abstynencji lub nie-
dorozwoju noworodka [4]. Coraz większe zastosowanie zdobywa analiza włosów
w badaniach klinicznych, np. monitorowaniu terapii lekami, kontroli abstynencji
w programach leczenia uzależnień [11] oraz badaniach epidemiologicznych [8].
Analiza włosów ma także zastosowanie w sądowych sprawach cywilnych, takich
jak rozwody, przyznanie opieki nad dzieckiem, adopcje oraz ubezpieczenia [7].
Istnieje możliwość wykorzystania jej przez instytucje wydające prawo jazdy oraz
przez pracodawców przed zatrudnieniem pracowników [14]. Poprzez możliwość
oznaczania innych organicznych substancji, analizę włosów wykorzystuje się także do
kontroli stosowania środków dopingujących u sportowców i zwierząt sportowych [5].
CEL PRACY
Przedmiotem niniejszej pracy było zastosowanie opracowanej w Instytucie Eks-
pertyz Sądowych procedury oznaczania alkaloidów opium we włosach do badania

Oznaczanie morfiny, kodeiny
47
pacjentów leczonych w Oddziale Detoksykacji Przychodni dla Osób Uzależnionych
od Środków Psychoaktywnych Centrum Psychiatrycznego Publicznego Psychia-
trycznego Zakładu Opieki Zdrowotnej w Szczecinie oraz uczestników programu
metadonowego [3] na obecność alkaloidów opium (morfiny, kodeiny i 6-monoacetylo-
morfiny — 6-MAM) oraz ocena jej przydatności w praktyce.
MATERIAŁY I METODY
### Substancje wzorcowe
Substancje wzorcowe (morfina, kodeina i 6-monoacetylomorfina) oraz ich deute-
rowe pochodne używane jako standardy wewnętrzne (morfina-D3, kodeina-D3,
6-monoacetylo-morfina-D3 - 6-MAM-D3) zostały zakupione w firmie Promochem
(Radian).
### Odczynniki
W badaniach wykorzystano następujące oddczynniki: trietyloamina (cz.d.a.,
Merck), dichlorometan (cz.d.a., Merck), acetonitryl (Gradient Grade for HPLC,
Merck), bezwodnik kwasu pentafluoropropionowego - PFPAA (Supelco),
75% 2,2,3,3,3-pentafluoro-1-propanol - PFPOH (Sigma - Aldrich), 2-propanol
(cz.d.a) oraz aceton (cz.d.a, Ośrodek Badawczo-Rozwojowy Przemysłu Rafineryjnego
w Płocku), chloroform (cz.d.a., Polskie Odczynniki Chemiczne), metanol (cz.d.a.,
Eurochem BGD). Kolumny ekstrakcyjne Bound Elut Certify, których złoże składało
się z mieszaniny sorbenta C8 i silnego wymieniacza kationowego (SCX), nabyto w fir-
mie Varian.
### Materiał do badań
Materiał do badań stanowiły próbki włosów pobrane od 36 uzależnionych pacjen-
tów leczonych w Oddziale Detoksykacji Przychodni dla Osób Uzależnionych od
Środków Psychoaktywnych Centrum Psychiatrycznego Samodzielnego Publicznego
Psychiatrycznego Zakładu Opieki Zdrowotnej w Szczecinie oraz uczestników progra-
mu metadonowego. Próbki włosów używane do przygotowania ślepej próby oraz
próbek kalibracyjnych były pobrane od dzieci nie narażonych na działanie badanych
związków.
### Sprzęt i aparatura
Do oznaczania alkaloidów opium we włosach zastosowano chromatograf gazowy
(GC) serii 3400 firmy Varian sprzężony ze spektrometrem mas (MS) wersji Magnum
firmy Finnigan Mat typu pułapka jonowa (ITD). Rozdział chromatograficzny składni-
ków próbki prowadzono na kolumnie kapilarnej FSCC (Fused Silica Capilary Column,
HP-5MS, długość - 30 m, średnica wewnętrzna - 0,25 mm, grubość filmu - 0,25 pm).
Próbki włosów mielono w młynie kulowym firmy Retsch KG. Ekstrakcję na fazie
stałej wykonywano przy użyciu aparatu podciśnieniowego firmy Baker.

48
R. Wietecha, R. Stanaszek
Przygotowanie próbek włosów do analizy
Próbki włosów zostały ucięte przy skórze w potylicznej części głowy według
zaleceń Towarzystwa Badania Włosów [12]. Miejsce cięcia i końcówkę kosmyka
oznaczono białą bawełnianą nitką. Szczegółowe dane dotyczące wybranych pacjen-
tów i pobranych od nich próbek zamieszczono w tabeli I.
Każda próbka została poddana procesowi dekontaminacji, który obejmował
mycie włosów przy użyciu sekwencji rozpuszczalników: 2-propanolu, buforu fosfora-
nowego (pH = 7,4) oraz dichlorometanu. W celu przeprowadzenia analizy segmen-
towej (analizy poszczególnych odcinków włosów), wcześniej wysuszone próbki wło-
sów poddano podziałowi na dwucentymetrowe segmenty, zaczynając od miejsca
ucięcia włosów, aż do końca kosmyka. Znając datę pobrania próbki oraz średnią
szybkość wzrostu włosów (ok. 1 cm/miesiąc [9, 10]) i analizując kolejne sekwencje
włosów, można uzyskać informacje na temat historii używania (lub czasu absty-
nencji) danego związku chemicznego w poszczególnych odcinkach czasu od momentu
pobrania próbki.
W celu wstępnego rozdrobnienia próbki włosów, pocięto je nożyczkami na części
długości ok. 1 mm, a następnie zmielono w młynku kulowym. Do analizy odważano
po 50 mg zmielonych włosów pochodzących z każdego segmentu i poddano kolejnym
etapom analizy. Dla każdej serii oznaczeń przygotowano próbki wzorcowe służące do
sporządzenia krzywej kalibracyjnej. W tym celu odważono pięć 50 miligramowych
zmielonych próbek „ślepych” (włosów nie zawierających analitów). Następnie
dodawano do nich takie objętości roztworów roboczych morfiny i kodeiny w metanolu
oraz 6-MAM w acetonitrylu o stężeniu 1 oraz 10 pg/ml, by stężenia analitów
w próbkach wzorcowych wynosiły od 0 do 10 ng/mg. Ponadto do każdej analizowanej
próbki dodano po 10 pl roztworów wzorców wewnętrznych o stężeniu 10 pg/ml.
Ostateczne stężenie standardu wewnętrznego w każdej próbce wynosiło 2 ng/mg.
Hydroliza i ekstrakcja
Próbki włosów wraz z dodanymi substancjami wzorcowymi poddawano kwaśnemu
roztwarzaniu hydrolitycznemu. Do każdej próbki dodawano po 1 ml 0,1 M kwasu sol-
nego i inkubowano przez 16 godzin w temperaturze 50°C. Po zakończonej hydrolizie
fazę wodną ekstrahowano na fazie stałej przy użyciu kolumn Bond Elut Certify oraz
aparatu do ekstrakcji. W pierwszej kolejności próbki po hydrolizie doprowadzano do
temperatury pokojowej, po czym odwirowywano przez 2 min przy prędkości 4000 ob-
rotów/min. Następnie oddzielano fazę kwaśną od próbki włosów i przenoszono do od-
powiednio opisanych szklanych fiolek o pojemności 20 ml. Próbki następnie prze-
mywano 1 ml buforu fosforanowego (pH = 7,4) i ponownie odwirowywano przez 2 min
przy 4000 obr./min. Fazę buforową dołączano do fazy kwaśnej. Następnie do połączo-
nych faz dodawano 1 ml buforu fosforanowego. Przed naniesieniem supernatantu na
kolumny ekstrakcyjne poddawano je kondycjonowaniu 2 ml metanolu oraz 2 ml
0,0115 M kwasu solnego. Po etapie kondycjonowania złoża wyłączano podciśnienie
1. naniesiono fazę buforową na kolumny, pozwalając jej swobodnie przepłynąć przez
   wypełnienie kolumn ekstrakcyjnych pod wpływem sił grawitacji. W dalszej kolej-
   ności kolumny poddawano myciu za pomocą2 ml 0,0115 M HCl, 2 ml 0,012 M H3PO4,
2. ml 0,087 M CH3COOH oraz 2 ml 2-propanolu w celu usunięcia interferującej ma-
   trycy znajdującej się w ekstrahowanym roztworze. Po wymyciu kolumny osuszano

Oznaczanie morfiny, kodeiny
49
pod pełnym podciśnieniem przez 30 min. Analizowane substancje eluowano bez
użycia podciśnienia 2 ml mieszaniny dichlorometanu, izopropanolu trietyloaminy
w stosunku i objętościowym 78:20:2 do oznaczonych, szklanych, wcześniej silanizo-
wanych fiolek o pojemności 2 ml.
### Derywatyzacja
Ekstrakty poddawano derywatyzacji przez dodanie 50 pl PFPA (bezwodnika
kwasu pentafluoropropionowego) oraz 50 pl 75% PFPOH (2,2,3,3,3-penta-fluoro-
1-propanolu) oraz inkubowaniu przez 30 min w temperaturze 70°C. Następnie
odparowywano odczynnik derywatyzujący w strumieniu azotu. Po odparowaniu
suchą pozostałość rozpuszczano w 50 pl wcześniej osuszonego chloroformu. Tak
przygotowane próbki poddawano analizie metodą chromatografii gazowej sprzężo-
nej ze spektrometrią mas (GC/MS).
### Warunki analizy GC/MS
Analizę przeprowadzano, stosując chromatograf gazowy (Varian, model 3400)
sprzężony ze spektrometrem masowym (pułapka jonowa wersji Magnum) firmy
Finnigan Mat. Chromatograf gazowy wyposażony był w dzielnik strumienia gazu
nośnego. Nastrzyku próbki (2 pl) dokonywano przy odpowiedniej konfiguracji dozow-
nika, przy której próbka nie jest dzielona (1 min). Rozdział składników próbki
następował na kolumnie kapilarnej HP-5MS o długości 30 m, średnicy wewnętrznej
0,25 mm i grubości filmu 0,25 pm). Gazem nośnym był hel, którego przepływ przez
kolumnę wynosił 1,2 cm3/min. Temperatura injektora wynosiła 260°C. Program
temperaturowy kolumny chromatograficznej składał się z 3 etapów: początkowo
kolumna była utrzymywana w temperaturze 130°C przez 1 min, następnie
temperatura wzrastała liniowo z szybkością 20°C/min do 275°C i przez 4,5 minuty
nie zmieniała swojej wartości. Linia transferowa była utrzymywana w temperaturze
280°C, a pułapka jonowa pracowała w temperaturze 220°C. Jonizacja następowała
w wyniku bombardowania strumieniem elektronów (EI) o energii 70 eV. Powielacz
jonowy pracował pod napięciem 1900 V. Zakres skanowania pułapki jonowej wynosił
od 50 do 600 m/z.
WYNIKI I WNIOSKI
Na rycinie 1 przedstawiono chromatogram obrazujący rozdział chromatograficz-
ny badanych związków w zakresie od 600 do 800 liczby skanów na przykładzie próbki
wzorcowej o stężeniu analitów 5 ng/mg i standartów wewnętrznych o stężeniu
2 ng/mg. Identyfikacji pików chromatograficznych morfiny-di-PFP, morfiny-D3-
di-PFP, kodeiny-PFP, kodeiny-D3-PFP, 6-MAM-PFP oraz 6-MAM-D3-PFP dokonano
na podstawie czasów retencji oraz na drodze porównania widm masowych eluowa-
nych związków z widmami masowymi substancji wzorcowych znajdującymi się w bi-
bliotece widm, wchodzącej w skład oprogramowania Magnum.
Analizę ilościową przeprowadzono w oparciu o krzywe kalibracyjne w zakresie
stężeń 0-10 ng/mg. Standard wewnętrzny stanowiły deuterowane pochodne anali-
tów. Na podstawie utworzonych zbiorów danych kalibracyjnych z wykorzystaniem
oprogramowania aparatu obliczono zawartość poszczególnych ksenobiotyków w ba-

50
R. Wietecha, R. Stanaszek
danych próbkach włosów 36 pacjentów, w tym 12 pacjentów poddanych detoksykacji
i 24 pacjentów objętych programem metadonowym. W przypadku 20 pacjentów
otrzymane wyniki mieściły się poniżej granicy wykrywalności analizowanych kseno-
biotyków (morfina - 0,3 ng/mg, kodeina - 0,6 ng/mg, 6-monoacetylomorfina -
0,6 ng/mg) i w tych przypadkach przyjęto, iż wynik jest „ujemny” i jego wartość
wynosi 0,0 ng/mg. We włosach pozostałych pacjentów stężenie morfiny mieściło się
w przedziale 0,3-32,5 ng/mg, kodeiny 0,6-8,5 ng/mg, a 6-monoacetylomorfiny
0,6-2,4 ng/mg. Zawartość określonych ksenobiotyków dla wybranych pacjentów
zamieszczono na rycinie 2.
Wykorzystując metodę oznaczania alkaloidów opium we włosach, można określić
stężenie opiatów w poszczególnych segmentach włosów, które odpowiadająkolejnym
przedziałom czasu. Dzięki temu istnieje możliwość stwierdzenia chronicznego uży-
wania określonych narkotyków, ich rodzaju oraz okresu przyjmowania w prze-
ciwieństwie do tych metod, w których jako materiał biologiczny stosuje się krew
i mocz. W tych przypadkach otrzymujemy wynik określający tylko „obecną” (okres od
kilku godzin do paru dni) zawartość ksenobiotyków w organizmie.
Zamieszczone na rycinie 2 wyniki stężeń morfiny, kodeiny oraz 6-monoacetylo-
morfiny wyznaczonych dla poszczególnych pacjentów przedstawiają historię przyj-
mowania (np. pacjent nr 3 - ryc. 2a, pacjent nr 4 - ryc. 2b, pacjent nr 8 - ryc. 2c) lub
okresy abstynencji (np. pacjentka nr 28 - segment 10 - rycina 2d) środków odurza-
jących z grupy alkaloidów opium.
Uzyskane wyniki w dużym stopniu odzwierciedlają obraz kliniczny pacjenta,
m.in. potwierdzają informacje pochodzące z wywiadu przeprowadzonego z leczonymi
pacjentami, a dotyczące rodzaju stosowanych substancji odurzających, tj. „kompo-
tu” - „polskiej heroiny” oraz okresu uzależnienia. Ponadto umożliwiająmonitorowa-
nie abstynencji pacjentów poddanych detoksykacji i objętych programem metadono-
wym w Oddziale Detoksykacji Przychodni dla Osób Uzależnionych od Środków
Psychoaktywnych Centrum Psychiatrycznego Publicznego Psychiatrycznego Zakła-
du Opieki Zdrowotnej w Szczecinie.
W celu sformułowania dalszych wniosków, konieczne jest przebadanie większej
liczby pacjentów. Pozwoli to także określić średnie stężenia poszczególnych związ-
ków u średnio i silnie uzależnionych osób przyjmujących tzw. „polskąheroinę”, której
skład różni się od stałej heroiny, tzw. brown sugar, spotykanej w krajach zachodnich
[1, 6] oraz ułatwi orzekanie w sprawach sądowych, w których istnieje konieczność
stwierdzenia uzależnienia.