Acta Chim.Slov.2009,56,441–446
441
Shortcommunication
Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method
RenataWietecha-Posluszny,1Justyna Dobrowolska-Iwanek,1PawelKos´cielniak1,2andPawelZagrodzki3,4
1Faculty of Chemistry, Jagiellonian University, 30-060 Krakow, Poland
2Institute of Forensic Research, 31-033 Krakow, Poland
3Collegium Medicum, Jagiellonian University, 30-688 Krakow, Poland
4Institute of Nuclear Physics, 31-342 Krakow, Poland
* Corresponding author: E-mail:wietecha@chemia.uj.edu.pl
Received: 16-06-2008
Abstract
A simple and versatile procedure has been developed for the determination of selenium in biological samples for clini- cal purposes. The procedure consists of microwave sample digestion and the determination of selenium using atomic fluorescence spectrometry with a hydride generation system (HG-AFS). The method allows the determination of sele- niuminarangeof0.5–100.0μgL–1withadetectionlimitnothigherthan0.2μgL–1andwithgoodrepeatabilitynotex- ceeding1%.Itwasappliedfordeterminationofseleniuminwomen’splasmasamples(n=90)withasuspicionofathy- roid cancer and the control group of women (n = 87). Most of the obtained results were in the range 30.0–60.0 μg L–1and either did not match the physiological level of selenium in human plasma or indicate moderate selenium deficien-cy.In the further examinations the thyroid tissues taken from 30 patients were analyzed. In most of the cases the sele- niumconcentrationwasfoundtobelower(0.14–1.67μgg–1wetweight)thanitsphysiologicallevelinahealthytissue. Onthisbasisthehypothesishasbeendrawnthatseleniumcanbeconsideredasanadditionalmarkerofthethyroidcan- cerdisease.
Keywords:Selenium; thyroid cancer; atomic fluorescence spectrometry
1. Introduction
Foodisthe mainsourceofeasilyavailableseleniumforliving organisms. Concentrationofseleniuminplants de-pendsontheamountofthiselement presentinthe soilandwater,aswellas onthelevelofenvironmentalpollution.1
Epidemiologic investigations showed that the fre- quency of tumor occurrence were significantly higher in the regions typified by low selenium concentration in soil thantheothers.2Toolowconcentrationofseleniuminhu- mantissuesincreasestheriskofcancerbutprobablydoes not have any influence on the size and the localization of pathological changes.3,4The examination carried out with many patients proved that in some cases of cancer (e.g. lung, breast, or prostate cancer) high selenium intake re- duces morbidity and mortality caused by this disease.5–8Similarly, it was found that 200 μg of selenium supple- mented daily from yeast for four years or more led tosig-
nificant reduction (more than 60%) in case of prostate, skin,andcolorectalcancers.9,10Moreover,Sundarametal. who studied the malignant neoplasm of the brain stated that selenium was able to inhibit the growth of the tumor cells causing their apoptosis. Authors suggested that sele- nium or non-toxic selenium compounds could be some of the most important prevention agents in the case of brain tumor.11
It was found that in the malignant neoplasm of breast or lung the selenium concentration was 1.7 times higher comparing to healthy adjacent tissues. Although the mechanism of selenium accumulation in tumor tissue is still not well recognized, it is known that this effect is connected with the process of induction of synthesis of GSH-Px(glutathioneperoxidaseenzyme),whichcontains selenium in its activecenter.This enzyme is one of the primary antioxidants hence it prevents various pathologi- cal changes in internalorgans.12
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method

Acta Chim.Slov.2009,56,441–446
442
On the other hand, the research carried out in Kes- han region, China (where the selenium intake is lowest over the world) showed the inverse correlation between the selenium concentration in blood and the incidence of the cancer disease of lung, stomach, esophagus and li- ver.13In another research it has been stated that the con- centration of selenium in body fluids of patients with tu- mors was lower in most cases, comparing to healthy per- sons.1–5
The diverse changes of selenium concentration mentionedabovecouldbeconnectedwithspecificproper- ties of selenium. This element is considered to bethe
šmost toxic among essential elements’ as the difference between its therapeutic and toxic level is very small.14Thisisthereasonforwhichtheappropriateassessmentof theroleofseleniuminhumanorganismrequiresananaly- ticaltool.Itshouldbecapableofdeterminingthiselement intissueswithespeciallygoodreliabilityintermsofaccu- racy and precision. As the concentration of selenium in tissuesisverylow15–18(seeTable1),theanalyticaltechni- que applied has to be also characterized by high sensiti- vityandalowlimitofdetection.Nowadaysalotofanaly- tical methods are used to determination of selenium and its speciation.19–25Furthermore, due to the complexity of the matrix of biological samples the calibration strategy should be carefully taken intoaccount.26
Accuracy of selenium determination in biological samples mostly depends on the efficiency of its transfer from an organic matrix to solution. Currently, the most popularmethodofdecompositionoforganicmatrixismi-crowavedigestion27(seeTable2).However,the described procedures usually require the use of many reagents and to apply multistage digestion processes in order to elimi- nateinterferences.Asaconsequence,theybecomeexpen-siveandlaborious.Inaddition,theyprovidemanysources ofbothrandomandsystematicerrorsconnectedwithpos- siblecontaminationofreagentsand/oralossofananalyte at each individual proceduralstage.
Table 1.The average content in tissues in the different organs for various populations.15–18
Physiological amount of seleniumg g–1Poland	Germany	Italy	Bulgaria
Organs
Liver Spleen Kidney Lung Brain Heart Pancreas Testicles
0.54
0.34
0.61
0.15
0.13
*
0.30
*
0.29
0.23
1.09
0.13
0.11
0.28
*
0.30
1.60
0.90
0.77
1.16
*
*
*
*
0.82
0.78
4.78
*
*
0.63
*
*
*no data available
Table2.Specification of digestion mixtures used for decomposition of various biological samples.27
No.
Biological samplesbovineliver*,
Required reagents
Analyte
Methods of analysis
1.
HNO3-HClO4**
As, Co, Cr, Cu, Ni, Pb,Se, Zn
AAS, NAA
hair, nails
serum*, bovine liver
2.
HNO3-H2SO3, next H2O2HNO3-H2O2
HNO3with add. 9 ppm Y (internal standard)
As,Se
HG-AAS
3.
pork liver
Fe, Mn,Se
F-AAS, HG-AFS
animals muscle*, food samples*
4.
As, Ba, Fe, K,
Mo, Ni, Pb,Se,Sr,V,Zn
PIXE
bovine liver*, food samples*, sediment
5.
HNO3-HCl, next H2O2
B, Ba, Hg, Mn,
Ni, Pb, Sb,Se
ICP-AES, ET-AAS
blood*, urine*, bovine liver and muscle*
6.
HNO3-HClO4- H2SO3
As, Cd, Co, Cu, Ni,Se,Pb
HG-AAS, DPASV
oyster tissue*,
human and animals muscles*
7.
HNO3, next H2O2
Al, As, Ba, Ca,
Cd, Mg, Mn, Ni, Rb,
Se, Sr i inne
ICP-MS
pork kidney*, bovine liver*
8.
HNO3
Ag, Cd, Cu, Fe, Ga, Hg, Mn, Pb, Sb,Se
ZE-ET-AAS,ET-AAS, FANES
crabs*
9.
1. HNO3-HClO4
2. HNO3-HClO4-HF
As, Cd, Co,Cr,Cu, Fe, Mn, Ni, Pb,Se
ET-AAS, ICP-AES, F-AAS, ICP-MS, ASV
*samples of reference materials, open system.
**digestion was made in the
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method

Acta Chim.Slov.2009,56,441–446
443
The purpose of this work is to present a simple, fast and inexpensive analytical procedure dedicated to the de- termination of selenium in biological samples. Reliability of the method has been verified by analyzing the referen- ce materials of several biological materials. The method was applied to the determination of selenium inwomen’splasma with thyroid disorders. Based on the results obtai- nedtheattemptwasmadetoestimatetherelationbetween theoccurrenceofthyroidtumorsandseleniumconcentra- tion in thisorgan.
A double-channel atomic fluorescence spectrometer AFS-230 (Beijing Haiguang Instrument Co., China), equipped with a 130-positional autosampler and a flow hydride-generation system with an intermittent flow met- hod, was used for the measurement of analytical signals. The light sources used were cathode lamps (Se-HCL), specially dedicated for AFS measurements. Operating current(pulsedvalue)oftheselampswas100mA.Argon was used as the shield and the carrier gas with a flow of 800 and 500 mL min–1respectively. The atomization pro- cess occurred in the Ar–H2flame at the temperature of 200 °C. The signals were measured for selenium and pro- cessedinthepeakareamodewiththeuseoftheIBM586computer.
Statistical calculations were carried out using the commercially available package Statistica v. 6.0. (Stat- Soft, Polska).
2. Experimental
2. 1. Reagents and Samples
Standard stock solutions containing 1000 mg L–1Se was prepared from Titrisol standards (Merck, Germany). Theworkingsolutionsweremadewiththeuseofconcen- trated HNO3(Merck, Germany), concentratedHCl(POCh, Poland) and 98% (m/v) NaBH4(Sigma-Aldrich Chemise, Germany), 0.5% (m/v) NaOH (Sigma-Aldrich Chemise, Germany). All reagents were of analytical rea- gent grade. Doubly deionised water (< 1.0 μS cm–1) was usethroughout.
The following reference materials were examined: human blood (LOT 404109, level 3, Norway), human se- rum (MI01181, level 1, Norway), bovine liver (SRM 1577b, Germany) pig kidney (BCR 186, Belgium), pork muscle (GBW 08552, China)
PlasmasampleswereobtainedfromtheBloodBank in Krakow. Samples were taken from persons of good health and not taking a selenium supplement.Plasmasamples and extracts of pathogenic thyroid tissues (the study group) were obtained from patients with thyroid tu- mors, from The Third Department of General Surgery, Collegium Medicum inKrakow.The plasma and thyroid tissue samples were stored frozen in polypropylene bott- les at –20 °C untilanalysis.
3. Results and Discussion
3. 1. Sample Preparation
Samples were digested according to the procedure developed in our laboratory.28,29Not more than 0.5 ml (bodyfluid)or0.5g(solidtissue)ofsamplewasplacedin ahigh-pressureteflonvessel,7mLofconcentratedHNO3was added and then the vessel was closed and transferred into the microwave oven for digestion. The program of mineralization was described in details inTable3. After digestionthevesselwascooledtothetemperatureof25
°C. Then it was opened and the gas above the samplewas removed (see below for details) by a stream of nitrogen gently flowing for several minutes. Then the sample was transferredintoa25mLvolumetricflask,and12.5mLof 6molL–1hydrochloricacid(asthepre-reductionreagent) was added and the solution was diluted to the mark withwater.
Before introducing the solution into the AFS instru- mentitwasmergedwithasolutioncontaining2%(mv–1) sodiumtetrahydroborate and 0.5% (m v–1) sodium hydro- xide in the flow hydride generation system. Hydrochloric acid in a concentration of 3 mol L–1was used as a carrier solution.
Three portions of each sample were digested at the sametime.Togetherwiththese,theblank(i.e.thesolution containing all the required reagents except sample) was digested and then treated like a sample. Fluorescence for seleniumwasmeasuredasthedifferencebetweenthesig- nals produced by the sample and by theblank.
2. 2. Instrumentation
The microwave system MARS X (CEM, Matthews, USA) was used for sample digestion. An internal control systemallowedprogrammablecontrolofthepressureand temperature up to 5520 kPa (800 psi) and 220 °C, respec-tively.The specific parameters of the digestion process weregiveninTable3.Toremovegasfromabovedigested samplewiththenitrogenstream,theMini-vapdevicewas used (Sigma Aldrich,Germany).
Table 3.Parameters of the optimized digestion procedure.
Stage
Power
%
Temperature
°C
Pressure psi
Ramp time min.
Hold time min.
I II III
90
90
95
180
200
220
350
4.00
4.00
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method

Acta Chim.Slov.2009,56,441–446
444
3. 2. Analytical Aspects
The serious problem dealing with the determination of selenium in the form of hydrides is a strong negative influence of nitrogen oxides on the analytical results.30,31The cause of this effect was reported to be based on the fact that nitrogen oxides prevent the reduction of analyte ions to a compound that is capable of forming hydrides with the highestefficiency.In order to avoid this effect it is recommended to use a way that was proved to beeffi-cient in analyses of other biological materials:28,29,32to re- move nitrogen oxides from the mineralized sample using thestreamofaninertgas(argon,nitrogen)atpressureof5 barforafewminutes.TheresultsshowninTable4revea- led that selenium can be determined in various reference materialswithgoodaccuracyandprecisionwhennitrogen is used for 10minutes.
Theanalyticalrangewasfoundtobelinearupto100
μgL–1.Thecalibrationcanbeperformedwithuseofinor- ganic standard solutions without their prior digestion or otherspecialtreatmentbeforemeasurements.Thelimitof selenium detection in the biological samples examined was defined to be 0.2 μgL–1.
confirm that thesis by means of the analytical method de- veloped.
First,theanalyticalprocedurewasusedtodetermine seleniuminthefirstgroupofwomenatriskofthyroidcan- cers. The 90 plasma samples were analyzed. All samples were collected from patients before eating. In the sameti-meandusingthesameconditions87samplesofplasmata-ken from the other group of healthy women (the control group) were analyzed. As the samples’ volumes were small,eachofthemwasanalyzedonlyonce.Theresultsof these experiments areshownin the Fig. 1. In addition,theaveragephysiologicallevelof selenium determined onthebasisofliteraturedataisalsoshowninFigure1.37
Table 4.Results of the determination of selenium in the reference samples obtained in different conditions defined by the time of the removal of nitrous oxides by using the nitrogen stream.
Concentration of Seg g–1
Expelling time min.
Figure1.Seleniumlevelinplasmasamplescollectedfromwomen with suspicion of cancer (hatched columns) and the control group of women (empty columns). The roman numbers presentthegroups of patients with different ranges of seleniumlevel.
Materials
Certified
Found
64.5 ± 5.5*
Blood
0
5
10
0
5
10
0
5
10
0
5
10
0
5
10
79 ± 1.5
71.5 ± 5.1
81.5 ± 1.4
69.5 ± 5.4
71.5 ± 4.1
79.5 ± 1.3
< DL 9.86 ± 0.01
9.94 ± 0.01
0.246 ± 0.006
0.446 ± 0.003
0.492 ± 0.002
0.532 ± 0.081
0.701 ± 0.012
0.721 ± 0.003
Serum
80 ± 2.5
Theresultsobtainedforthewholestudygroupwere assigned to subgroups of patients (from I to VII). Each subgroup was characterized by a particular range of sele- nium concentration in plasma. The majority of the obtai- ned results did not match the physiological level of sele- nium in human plasma. Only in 10 cases in 90 (group IV–VII) the patients had normal amount of selenium. In the remaining groups of patients the selenium status was detected to be very low (I–III, 89% of all patients). In ad- dition, the selenium level determined in 24% of patients (group I–III) was so low as 30–40 μgL–1.
Further tests were concerning the determination ofseleniuminthyroid gland tumors. Accordingtoavailabledatathepathologyofthethyroidmaybeassociatedwithio- dineandalso seleniumdeficiency.33,36Therefore, many re- search institutes decidedtodetermine selenium concentra- tioninbloodorplasma and,at thesame timeinthyroid tis- suesofpatients withvariousthyroid diseases: nodular goi-ter,thyroid cancerandGrave’sdiseases. Similar research was carriedout in thegroupofpatients with hyperthyroi- dism,cancerandthyroidadenoma.Inallcasestheseleniumlevelwaslowerthanaverageand thelowest levelwas ob- servedinthyroid tissues taken from patients withcancer.37
Pig kidney
10.3 ± 0.5
Pork muscle
0.49 ± 0.05
Bovine liver
0.73 ± 0.06
*
confidenceintervalwascalculatedaccordingtoformula:Δx=t(,f)s/n where= 0.05, f = 2, n = 3 and s is the standard deviation
3. 3. Application: Selenium Status
and Cancer Disease – Case Studies
As mentioned in the introduction, numerous clini- cal and epidemiological studies proved that the level of selenium in human body fluids and tissues affects the risk of the occurrence of some cancers, especially thyroid cancer, which is the most common endocrine cancer.33–36The aim of this part of the research presented here was to
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method

Acta Chim.Slov.2009,56,441–446
445
Thyroid tissue samples in present work were takenduring surgical operations on 30 patients from CollegiumMedicum UJ, Krakow. In most cases amounts of tissues were very small and were ranged from 0.07 to 0.5 grams. The patients were diagnosed with:struna nodosa;Graves’ disease or toxic nodular goitre;follicular or ma-crofollicular adenoma;papillary carcinoma;lymphomamaligant. The selenium concentration results ranged from
0.14to1.67μgg–1(wetweight).Theresultsassignedinto the subgroups are shown in Figure 2. They show that in most patients (90% of study group) the selenium concen- tration was found in thyroid tissues to be lower than the physiological level typical for healthy tissues (i.e, ca 1.24 μg g–1).Moreover,in 50% of patients selenium wasdeter- mined in very low concentration (less than 0.4 μgg–1).
ween selenium level and diagnosed diseases. Differences with p < 0.05 were considered to be statistically signifi- cant. The analysis did not reveal statistically significant differences between studied groups (p = 0.374).
4. Conclusions
Interesting papers showing the influence of sele- nium on human health encourage many authors to inten- sifytheirstudyonthebiologicalfunctionofseleniumand its influence on the humanbody.Obtaining reliable infor- mationonthissubject,isinalargemeasuredependingon the selection and skilful application of proper analytical methods.
Inthepresentedstudyasimpleandlowcostmethod was shown which gives a great possibility to determine selenium with good accuracy and precision at the low se- lenium levels (at physiological levels and lower) in vari- ous biological materials. The reliability of this method was successfully confirmed many times by analysis of a great number of various referencematerials.
It wasprovedthat the presented method can be used to determine selenium in the human tissues taken from peoplesufferingfromcancer.The obtained results of pla- sma samples and thyroid tissuesshowthe association bet- weenseleniumlevelandariskofcancer.Moreover,there-sults proved the hypothesis that a low selenium level is characteristic for thyroid cancer and it can be a,,marker”ofthiskindofdisease.Theresearchalsoshowedthatinthegroup of women with a risk of cancer therevealedplasmaseleniumlevelsweresignificantly lowerthan physiologi- callevel.However,itwasnotprovedthatthereisanyasso- ciationbetweenseleniumconcentrationsinpathogenically changedtissuestakenfromanexaminedgroupwithtypes of thyroid disease. It is possible that the correlation could beprovedonthebasisofanalyticalexaminationswithpar- ticipation of much greater number ofpatients.
Figure 2.Number of patients and the range of selenium concentra- tion.
Figure3illustratestherelationbetweenseleniumle- vels in thyroid tissues and the types of diseases the pa- tients were diagnosed with. Kruskal-Wallis test was ap- plied in order to check for any differences between vari- ousgroupsofpatientsandtofindthepossiblerelationbet-
5. Acknowledgement
The study presented in this paper was conducted within the research project No. 1027/T09/2003/24 which was financially supported by the Polish State Committee for Scientific Research. Dr Marian S¦owiaczek from The ThirdDepartmentofGeneralSurgeryofCollegiumMedi- cum Jagiellonian University is appreciated for delivering thyroidsamples.
6. References
1. M. Sanz, F. J. Romero, C. Romero,Nutr. Rev.2000,16, 376–383.
2. J. C. Fleet,Nutr. Rev.1997,55, 277–279.
Figure 3.The relation between selenium levels in thyroid tissues and diagnosis (SN – struna nodosa; GD – Graves’ disease or toxic nodular goitre; FA – follicular or macrofollicular adenoma; PTC – papillary carcinoma; LM – lymphpma maligant).
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method

Acta Chim.Slov.2009,56,441–446
446
3. L. Foster, S. Sumar,Crit. Rev. Food Science & Nutr.1997,
37, 211–228.
4. M. Rayman,Lancet2000,356, 233–241.
P.Knekt, J. Marniemi, L.Teppo,M. Heliövaara, A.Aromaa,
Am. J. Epidemiol.1998148, 975–982.
1. H.Zhuo,A.H.Smith,C.Steinmaus,CancerEpidemiol.Bio-markersPrev.2004,13,771–778.
2. D. J. Hunter, J. S. Morris, M. J. Stampfer, A. ColditzF.E. SpeizerW.C.Willett,J.Am. Med. Assoc.1990,264, 1128– 1131.
3. J. D. Brooks, E. J. Metter, D.W.Chan, L. J. Sokoll,P.Lan- dis,W.G.Nelson,D.Muller,R.Andres,H.B.Carter,J.Urol.2001,166, 2034–2038.
4. L. C. Clark, B. Dalkin, A. Krongrad, G.F.Combs,Jr.,B.W.Turnbull,E. H. Slate, R. Witherington, J. H. Herlong, E. Ja- nosko, D. Carpenter, C. Borosso, S. Falk, J. Rounder,Br.J.Urol.1998,81,730–734.
5. L. C. Clark, G.F.,Jr,Combs, B.W.Turnbull,E. H. Slate,D.
K. Chalker, J. Chow, L. S. Davis, R. A. Glover, G. F. Gra- ham, E. G. Gross, A. Krongrad, J. L. Lesher, Jr., H. K. Park,
B. B. Sanders, Jr., C. L. Smith, J. R. Taylor,J. Am. Med. As-soc.1996,276,1957–1963.
1. N.Sundaram,A.Pahwa,M.Ard,N.Lin,E.Perkins,A.P.Jr.Bowles,Journal Neuro-Oncology2000,46,125–133.
2. B. Zachara, E.Marchaluk-Wis´niewska,A.Macia¸g,J. Pe-plin´ski,J. Skokowski,W.Lambrecht,Lung1997,175, 321– 332.
3. S-Y.Yu,Y-J.Chu, X-L. Gong, C. Hou,Biol.TraceElem.Res.1985,7,21–29.
4. J. E. Spallholz,Bull. Selenium-TelluriumDevelop. Assoc.
2001, 1–12.
H.A.Schroeder,D.V.Frost,J.J.Balassa,J.Chron.Dis.
1970,23, 227–243.
O.Oster,G. Schmiedel,W.Prellwitz,Biol.TraceElem.Res.
1988,15, 23–45.
1. Y.D.Cheng,G.S.Zhunang,M.G.Tan,J.TraceElem.inEx-perimental Med.1988,1,19–21.
2. G.Ingrao,P.Belloni,S.Pietro,Biol.Trace.Elem.Res.1990,
26–27, 699–708.
1. B. Deng, J. Feng, J. Meng,Anal. Chim. Acta2007,583, 1, 92–97.
2. P.Masson,D.Orignac,T.Prunet,Anal.Chim.Acta2005,
545,1, 79–84.
N.Etxebarria,R.Antolín,G.Borge,T.Posada,J.C.Raposo,
Talanta2005,65, 5,1209–1214.
1. N. Carrión, M. Murillo, E. Montiel, D. Díaz,Spectrochim.Acta B2003,58,8,1375–1389.
2. K. Takafumi; N. Akifumi; O. Kentaro; M. Hirotsugu; Z. Qiangbin; I. Sadanobu; A. Ikuo,Spectrochim. ActaPartB2005,60, 3, 327–331.
3. H.Sun,Z.Liu,W.Wu,L.Li,H.Shi,Anal.Bioanal.Chem.
2005, 382, 4,1060–1065.
J. Arnaud, J.Weber,C.W.Weykamp,P.Parsons, J.Angerer,
E.Mairiaux,O.Mazarrasa,S.Valkonen,A.Menditto,M.Pa- triarca,A.Taylor,Clin. Chem.2008,54,1892–1899.
1. P.Borella,A.Bargellini,E.Caselgrandi,A.Menditto,M.Pa- triarca, A.Taylos,G.Vivoli,Microchem.J.1998,58, 325– 336.
2. F.Smith, E. Arsenault,Talanta1996,43,1207–1268.
3. R. Wietecha,P.Kos´cielniak,T.Lech, M. Rymanowski,
Probl. Forensic Sci.2002,52, 21–36.
1. R. Wietecha,P.Kos´cielniak,T.Lech,T.Kielar,Microchim.Acta2005,149,137–144.
2. E. M. Morales Flores, L. Cirne da Silva, J. S. Barin, A.P.Saidelles, R. Zanella,V.L. Dressler, J. N. Paniz,Spectroc-him. Acta2001,56B,1883–1891.
31. G. Cutter,Anal. Chim. Acta1983,149, 391–394.
R. Wietecha-Pos¦uszny, J. Dobrowolska,P.Kos´cielniak,
Anal. Lett.2006,39, 2787–2796.
M.Kucharzewski,J.Braziewicz,U.Majewska,S.Góz´dz´,
Biol. Trace Elem. Res.200393, 9–18.
1. J. Kohrle,Exp. Clin. Endocrinol.1994,102,63–89.
2. P.Lyn,Alternative Medicine Review2004,9,239–258.
3. J. Aaseth, H.Frey,E. Glattre, G. Norheim, J. Ringstad,Y.Thomassen,Biol.TraceElem. Res.1990,24,147–152.
4. W.Sen´czuk(Ed)Toxicology(inPolish),Warsaw2ndedn.,
1994, pp. 437–509.
Povzetek
Razvilismoenostavenpostopekzadolo~anjeselenavbiolo{kihvzorcih.Vzorecrazkrojimospomo~jomikrovalovter nadaljujemozdolo~itvijoselenaspomo~joatomskefluorescen~nespektrometrijeshidridnotehniko(HG-AFS).Meto- dajeuporabnavobmo~ju0,5–100gL–1zmejodolo~itve0,2gL–1terponovljivostjo1%.Uporabilismojozadolo~a- njeselenavkrvniplazmi`ensk(n=90),prikaterihsmosumiliprisotnosttiroidnegaraka,terprikontrolniskupini(n= 87).Ve~inarezultatov je bila v obmo~ju 30–60 g L–1, kar ne odgovarja fiziolo{kim koncentracijam selena v ~love{ki plazmialika`ecelonapomanjkanje.Vnadaljnjihraziskavahsmopreverili{etiroidnatkiva30pacientkinugotovilizni-
`anekoncentracije(0,14–1,67gg–1mokremase).Naosnovitegasmozaklju~ili,dalahkoselenuporabimokotdodatni marker za prisotnost tiroidnegaraka.
Wietecha-Pos¦uszny et al.:Determination of Selenium as a Biomarker of Thyroid Cancer by HG-AFS Method