Eur. Phys. J. C (2015) 75:255
DOI 10.1140/epjc/s10052-015-3409-6
Regular Article - Experimental Physics
Improvement of the energy resolution via an optimized digital
signal processing in
Phase I
GERDA
1,a
GERDA Collaboration
16
5
14
2
12
5,21
20
M.
Agostini
,
M.
Allardt
,
A.
M.
Bakalyarov
,
M.
Balata
,
I.
Barabanov
,
N.
Barros
,
L.
Baudis
,
8
15
9,10
12,13
14
20
17,18
C. Bauer
, N. Becerici-Schmidt
, E. Bellotti
, S. Belogurov
, S. T. Belyaev
, G. Benato
, A. Bettini
,
12
16
4,6
6
17,18
16
15
10
L. Bezrukov
, T. Bode
, D. Borowicz
, V. Brudanin
, R. Brugnera
, D. Budjáš
, A. Caldwell
, C. Cattadori
,
13
13
5
12
6
A.
Chernogorov
,
V.
D’Andrea
,
E.
V.
Demidova
,
A.
di Vacri
,
A.
Domula
,
E.
Doroshkevich
,
V.
Egorov
,
19
12
19
4
8,12
17,18
19
R. Falkenstein
, O. Fedorova
, K. Freund
, N. Frodyma
, A. Gangapshev
, A. Garfagnini
, P. Grabmayr
,
12
6,14,16
19
8
17,18
8
8
7
V. Gurentsov
, K. Gusev
, A. Hegai
, M. Heisel
, S. Hemmer
, G. Heusser
, W. Hofmann
, M. Hult
,
12,22
16
19
12
8
13
L. V. Inzhechik
, J. Janicskó Csáthy
, J. Jochum
, M. Junker
, V. Kazalov
, T. Kihm
, I. V. Kirpichnikov
,
8
6,8,23
8
6
12,13
12
A.
Kirsch
,
A.
Klimenko
,
K.
T.
Knöpfle
,
O.
Kochetov
,
V.
N.
Kornoukhov
,
V.
V.
Kuzminov
,
16
14
5
15
8
18
M.
Laubenstein
,
A.
Lazzaro
,
V.
I.
Lebedev
,
B.
Lehnert
,
H.
Y.
Liao
,
M.
Lindner
,
I.
Lippi
,
6,8
12
7
15
8
A.
Lubashevskiy
,
B.
Lubsandorzhiev
,
G.
Lutter
,
C.
Macolino
,
B.
Majorovits
,
W.
Maneschg
,
17,18
4
12
6
15
4
3
E.
Medinaceli
,
M.
Misiaszek
,
P.
Moseev
,
I.
Nemchenok
,
D.
Palioselitis
,
K.
Panas
,
L.
Pandola
,
4
11
11
6
17,18
8
19
5
K. Pelczar
, A. Pullia
, S. Riboldi
, N. Rumyantseva
, C. Sada
, M. Salathe
, C. Schmitt
, B. Schneider
,
16
8
19
15
8
12
6,14
S. Schönert
, J. Schreiner
, A.-K. Schütz
, O. Schulz
, B. Schwingenheuer
, O. Selivanenko
, M. Shirchenko
,
8
8
18
8
18
15
13
H.
Simgen
,
A.
Smolnikov
,
L.
Stanco
,
M.
Stepaniuk
,
C.
A.
Ur
,
L.
Vanhoefer
,
A.
A.
Vasenko
,
12
17,18
8
20
8
5
5
A.
Veresnikova
,
K.
von Sturm
,
V.
Wagner
,
M.
Walter
,
A.
Wegmann
,
T.
Wester
,
H.
Wilsenach
,
4
12
6
14
6
5
4
M. Wojcik
, E. Yanovich
, P. Zavarise
, I. Zhitnikov
, S. V. Zhukov
, D. Zinatulina
, K. Zuber
, G. Zuzel
1
LNGS, Assergi, Italy
INFN Laboratori Nazionali del Gran Sasso, LNGS, and Gran Sasso Science Institute, GSSI, Assergi, Italy
INFN Laboratori Nazionali del Sud, Catania, Italy
4
Institute of Physics, Jagiellonian University, Kraków, Poland
5
Institut für Kern- und Teilchenphysik, Technische Universität Dresden, Dresden, Germany
6
Joint Institute for Nuclear Research, Dubna, Russia
7
Institute for Reference Materials and Measurements, Geel, Belgium
8
Max-Planck-Institut für Kernphysik, Heidelberg, Germany
9
Dipartimento di Fisica, Università Milano Bicocca, Milan, Italy
10
INFN Milano Bicocca, Milan, Italy
11
Dipartimento di Fisica, Università degli Studi di Milano e INFN Milano, Milan, Italy
12
Institute for Nuclear Research of the Russian Academy of Sciences, Moscow, Russia
13
Institute for Theoretical and Experimental Physics, Moscow, Russia
14
National Research Center “Kurchatov Institute”, Moscow, Russia
15
Max-Planck-Institut für Physik, Munich, Germany
16
Physik Department and Excellence Cluster Universe, Technische Universität München, Munich, Germany
17
Dipartimento di Fisica e Astronomia dell’Università di Padova, Padua, Italy
18
INFN Padova, Padua, Italy
19
Physikalisches Institut, Eberhard Karls Universität Tübingen, Tübingen, Germany
20
Physik Institut der Universität Zürich, Zurich, Switzerland
21
Present address: Department of Physics and Astronomy, University of Pennsylvania, Philadelphia, PA, USA
22
Moscow Institute of Physics and Technology, Moscow, Russia
23
International University for Nature, Society and Man “Dubna”, Dubna, Russia
Received: 15 February 2015 / Accepted: 15 April 2015 / Published online: 9 June 2015
© The Author(s) 2015. This article is published with open access at Springerlink.com
76
Abstract
An optimized digital
shaping filter
has
been
trinoless double beta decay in
Ge.
The
Phase I
Gerda
developed for the
experiment which searches for neu-
energy calibration data have been reprocessed and an aver-
age improvement of 0.3 keV in energy resolution (FWHM)
a
e-mail: gerda-eb@mpi-hd.mpg.de
123

---
255
Page 2 of 11
Eur. Phys. J. C (2015) 75 :255
corresponding to 10 % at
the Q value for 0νββ decay in
enough band width,
the optimization of energy resolution
76
Ge is obtained.
This is possible thanks to the enhanced
through a digital signal processing is possible.
low-frequency noise rejection of this Zero Area Cusp (ZAC)
A new energy reconstruction shaping filter leading to an
signal shaping filter.
improved energy resolution has been developed (Sect.
3),
that is denoted as Zero Area Cusp (ZAC) filter. The
experiment (Sect. 2), the readout of the data (Sect. 2.1) and
the signal processing (Sect. 2.2) are described first. After the
1 Introduction
optimization of the ZAC filter (Sect. 4) the Phase I data have
been reprocessed (Sect. 5).
(GERmanium Detector Array) [1] searches for neu-
76
trinoless double beta decay (0νββ decay) in
Ge. The exper-
iment is located at the underground Gran Sasso National Lab-
2 The GERDA experiment
oratory (LNGS) of INFN, Italy. Crystals made from isotopi-
76
cally modified germanium with a fraction of ∼86 % of
Ge
The design and the construction of
were tailored
for a total mass of ∼20 kg are operated as source and detector
to background minimization. The germanium detectors are
of the process.
mounted in low-mass
ultra-pure copper
holders
and are
Several
extensions
of
the Standard Model
of
particle
directly inserted in 64 m
of liquid argon (LAr) acting as
physics predict the existence of 0νββ decay, a process which
cooling medium and shield against external background radi-
violates lepton number conservation by two units and which
ation. The argon cryostat is complemented by a water tank
is possible if neutrinos have a Majorana mass component.
with 5 m diameter which further shields from neutron and
0νββ decay is therefore of primary interest in the field of
gamma backgrounds. It is instrumented with photomultipli-
neutrino physics.
Neglecting the nuclear recoil
energy the
ˇ
ers to veto the cosmic muons by detecting
Cerenkov radia-
energy released by a 0νββ event is shared by the two emit-
tion. A further muon veto is provided by plastic scintillators
ted electrons.
Both electrons are stopped within ∼1 mm
installed on the top of the structure. A detailed description of
of
germanium and thus all
available energy is deposited
the experimental setup is provided in Ref. [1].
in a small
region inside the detector.
Since distortions by
A first physics data collection, denoted as Phase I, was car-
bremsstrahlung are expected to be small
the 0νββ decay
ried out between November 2011 and June 2013. In Phase I
signature is a peak in the energy spectrum at the Q value
76
76
eight p-type semi-coaxial detectors enriched in
Ge from the
of
the reaction,
Q
,
amounting to 2039 keV for
Ge.
ββ
76
Heidelberg–Moscow (
) [4] and IGEX [5] experiments
The most
recent
result
of this process for
Ge was pub-
HdM
and five Broad Energy Germanium (BEGe) detectors were
lished by the
collaboration with a 90 % confidence
0ν
25
used [6]. Three coaxial detectors with natural isotopic abun-
level (CL) limit on the 0νββ half-life of T
> 2.1 · 10
1/2
dance from the Genius Test Facility (GTF) project [7,8] were
year [2].
also installed. In a second physics run (Phase II) 30 BEGe
The sensitivity for detection of a possible 0νββ decay
detectors will
be operated in addition to the eight
semi-
signal depends on the total efficiency ε (≃75 % for
coaxial together with instrumentation to detect the LAr scin-
Phase
I),
the
enrichment
fraction
f
and the
isotopic
76
tillation light to actively suppress background [9–11].
mass m
of the considered isotope,
the total
source mass
A
M,
the background level
and the energy resolution.
0ν
2.1 Signal readout and shaping with germanium detectors
expected number of signal events n
for a given half-life T
S
1/2
is [3]:
The typical readout of a germanium detector operated as a
1
ln 2 · N
A
n
=
·
·
f
· ε · M · t
(1)
diode with inverse bias voltage applied consists of a charge
S
76
0ν
m
T
A
1/2
sensitive preamplifier
whose output
wave form is either
where N
is the Avogadro number and t the live time of the
shaped and then processed by an analog to digital converter
A
measurement.
The expected number of background events
or, as in
, directly digitized by a flash analog to digi-
n
within an energy window E is:
tal converter (FADC). Figure 1 presents the detector and the
B
charge sensitive preamplifier system consisting of a junction
n
= B I · E · M · t
(2)
B
gate field-effect transistor (JFET) coupled to a feedback cir-
with B I
being the background index in cts/(keV·kg·year).
cuit. The capacitor C
integrates the charge from the detector
f
The size of E is proportional to the energy resolution at
causing a steep change in voltage at the preamplifier output.
Q
, expressed as full width at half-maximum (FWHM). The
In order not to saturate the dynamic range of the preamplifier
ββ
energy resolution is of primary importance for the enhance-
a feedback resistor R
is connected in parallel to the capaci-
f
ment
of
the sensitivity and the modeling of
background
tor to bring back the voltage to its baseline value. The shape
sources.
If
the event
waveforms are fully digitized with
of the preamplifier output
pulse is characterized by a fast

---
Page 3 of 11
10000
GERDA 15-01
detector
feedback
R
f
8000
circuit
+HV
C
f
6000
C
D
−A
4000
Q
in
2000
0
Fig.
1
Typical readout scheme of a germanium detector with a charge
20
40
60
80
100
120
140
160
sensitive preamplifier with open loop gain A. The detector with capac-
time [
s]
itance C
is operated with inverse bias voltage H V . The charge Q
is
µ
D
i n
collected on the capacitor C
of ∼0.3 pF which then discharges because
f
Typical wave form recorded in
Phase I after baseline
of the presence of the feedback resistor R
= 500 M
f
subtraction. A ∼80 µs long baseline is recorded before each signal. The
noiseless
rise of ∼1 µs is followed by an exponential decay tail of τ ∼150 µs
preamplifier
due the discharge of the feedback capacitor
s(f )
digitizer
the parallel noise generated by the detector leakage current
I
, the gate current I
and the thermal noise of the feedback
L
G
Q · δ(t)
resistor R
. The parallel noise is proportional to τ
and the
f
s
p(f )
C
C
D
i
series noise to its inverse while the 1/ f
noise is independent
of τ
. Therefore, the optimal shaping time is the one which
s
Signal and main noise sources in a germanium detector readout
minimizes the sum of the series and parallel
noise.
More
system. The trace recorded by the digitizer can be modeled as the out-
detailed descriptions of the noise origin and its treatment in
put of a noiseless preamplifier, connected to a noiseless detector with
germanium detectors can be found in Refs. [12] and [13].
capacitance C
, a series voltage generator and a parallel current gener-
D
In
Phase I an additional low-frequency disturbance
ator with spectral densities s( f ) and p( f ), respectively. Q · δ(t ) is the
original current signal and C
is the preamplifier input capacitance
comes from microphonics related to mechanical vibrations
i
of the long wiring (30–60 cm) connecting the detectors to
step with a rise time of about 0.5–1.5 µs corresponding to
the preamplifiers.
the charge collection process followed by an exponential tail.
This tail with τ ∼150 µs is introduced by the discharge of
2.1.1 Digital shaping
the feedback capacitor (see Figs. 1, 3). In
Phase I the
recorded range amounts to 160 µs with the rise of the pulse
In
Phase I the signals were digitized with 14 bits pre-
located in the center.
A description of the
readout
cision and 100 MHz sampling frequency [1]. 16384 samples
scheme is given in Ref. [1].
were recorded per pulse (Fig. 3). After a ∼80 µs long base-
Figure 2 shows the signal and main intrinsic noise sources
line the charge signal rises up with a ∼1 µs rise time followed
in the detector and preamplifier system. The intrinsic equiv-
by a ∼80 µs long exponential tail due to the discharge of the
alent noise charge (ENC) for a given shaping time τ
is given
s
feedback capacitor.
as:
The energy estimation was performed by applying a shap-
2kT
ing filter to the digitized signal. The advantages with respect
E NC
= α
C
+ β A
C
f
T
T
g
τ
m
s
to analog shaping are that a large number of filters are avail-
2kT
able without restriction to the possible settings of the analog
+γ
e(I
+ I
) +
τ
(3)
G
L
s
R
shaping module and that raw data remain available for further
f
reprocessing.
where g
the JFET transconductance,
k is the Boltzmann
m
constant, and T the operating temperature. The constants α,
β and γ are of order 1 depending on the signal shaping filter
2.1.2 Energy resolution
(c.f. Ref. [12]). The series noise (first term) is proportional
to the total capacitance C
which is the sum of the detec-
The energy resolution of a germanium detector depends on
T
tor capacitance C
,
the feedback capacitance C
and the
the electronic noise, on the charge production in the crystal
D
f
preamplifier input capacitance C
.
The second term repre-
and on the charge collection properties of the diode and the
i
sents the 1/ f
noise of the JFET with amplitude A
and is
shaping filter. A hypothetical γ line at energy E will have a
f
also proportional to the total capacitance. The third term is
E (FWHM) expressed by:
voltage [FADC reading]

---
Page 4 of 11
sively on ENC, i.e. on the shaping filter. Given that ENC is
Table 1 Definition of data sets. The run ranges and active detectors are
listed
independent of the energy, any γ line with sufficiently high
statistics can be exploited for the optimization of the shaping
Set
Duration
Detector configuration
filter.
A
09.11.11–22.05.12
ANGs + RGs + GTFs
B
02.06.12–15.06.12
ANGs + RGs + GTF112
2.2 Data collection and processing in
C
15.06.12–02.07.12
ANGs + RGs + GTF112
D
08.07.12–21.05.13
ANGs + RGs + GTF112 + BEGes
Calibration data from the period November 2011–May 2013
were used to optimize the shaping filter. The detectors con-
sidered are ANG2–5 from the
experiment, RG1–2 from
HdM
IGEX and four of the five BEGes (with names starting with
η
E = 2.355
E NC
+ ηF · E + c
E
(4)
“GD”). These are the same detectors used for the 0νββ decay
e
analysis [
2]. Since the electronic disturbances could change
where:
as a function of the detector configuration in
, the cali-
bration data were divided in four data sets as listed in Table 1.
– η is the average energy necessary to generate an electron-
In total 72 (45) calibration measurements are available for the
hole pair (η = 2.96 eV in Ge) and F is the Fano fac-
coaxial (BEGe) detectors.
tor (∼0.1 for Ge [14]). This term contributes with about
1.8 keV at 2039 keV thus imposing a lower limit to the
2.2.1 Calibration of the energy spectrum
achievable E;
– c is a parameter related to the quality of the charge col-
The calibrations were performed by inserting up to three
lection and integration. An incomplete charge collection
228
Th sources in proximity of the detectors [15,16]. The total
can be induced by charge recombination due to a too
activity of the sources was about 40 kBq at the beginning of
high impurity concentration or due to a too low bias volt-
Phase I. The duration of the measurements was between one
age while a deficient integration of the collected charge
and two hours. The energy threshold for the calibrations is
can arise if a filter with a too short
integration time is
∼400 keV to reduce disk usage. At least ten peaks with ener-
employed. The same effect is obtained in all cases result-
gies between 0.5 and 2.6 MeV are visible in the recorded
ing in low-energy tails of the spectral peaks. The parameter
spectra (Fig. 4).
While all peaks are exploited for the cali-
c expresses therefore the amplitude of such tails. For the
bration of the energy scale, only the full energy peaks (FEP)
detectors used in
Phase I, the third term of Eq. (4)
are used in the fit of the FWHM as function of energy. This
is usually one order of magnitude lower than the electronic
is necessary because the single escape peak (SEP), the dou-
and charge production terms for events with energy up to
ble escape peak (DEP) and the 511.0 keV line are Doppler
3 MeV.
broadened.
Given the large number of calibration spectra to be ana-
If the charge collection inefficiency is not dominant, the
lyzed, a fully automatized routine was developed and used
optimization of the energy resolution depends almost exclu-
throughout Phase I. The main steps of the procedure are:
ANG5
4
10
10
10
10
1
500
1000
1500
2000
2500
energy [keV]
228
4
A
Th calibration spectrum recorded by ANG5. The threshold is set to ∼400 keV
counts/keV
511.0
583.2
661.7
727.3
763.5
785.4
860.5
893.4
1078.6
1512.7
1592.5 (DEP)
1620.7
2103.5 (SEP)
2614.5

---
Page 5 of 11
– rejection of events which might decrease the precision of
3 ZAC: a novel filter for enhanced energy resolution
the calibration; e.g., coincidences between detectors, wave
forms with superimposed events (pile-up events);
Several methods have been developed to obtain the optimum
– search and identification of the peaks;
digital shaping for a given experimental setup [12,13,18,19].
– fit
of the peaks and automatic adjustment
of the fitting
For series and parallel noise and with infinitely long wave
function according to the number of events in the peak
forms it can be proven [18] that the optimum shaping filter
and the peak shape;
for energy estimation of a δ-like signal
is an infinite cusp
– extraction of the calibration curve;
with the sides of the form exp (t /τ
) where τ
is the recipro-
s
s
– fit of the FWHM as a function of energy.
cal of the corner frequency; i.e., the frequency at which the
contribution of the series and parallel noise of the referred
input become equal. When dealing with wave forms of finite
2.2.2 Signal processing
length,
a modified cusp is obtained in which the two sides
have the form of a sinh-curve. If low-frequency noise and dis-
The signal processing of
Phase I data was performed
turbances are also present, the energy resolution is optimized
through an offline analysis of the digitized wave forms with
using filters with total area equal to zero [20]. In addition, the
the software tool
[17]. The standard energy recon-
Gelatio
low-frequency baseline fluctuations (e.g. due to microphon-
struction algorithm is a digital pseudo-Gaussian filter con-
ics) are well subtracted by filters with parabolic shape [21].
sisting of:
The best energy resolution for
is achieved if a finite-
length cusp-like filter with zero total area is employed. This
– a delayed differentiation of the sampled trace
can be obtained by subtracting two parabolas from the sides
of the cusp filter keeping the area under the parabolas equal
x
[t] → x
[t ] = x
[t ] − x
[t − δ]
(5)
to that underlying the cusp.
1
In reality the detector
output
current
is not
a pure δ-
function, but has a width of approximately 1 µs. If a cusp filter
where x
[t ] is the signal height at time t and δ was chosen
is used, this leads to the effect of a ballistic deficit [22,23]
to be 5 µs;
and consequently to the presence of low-energy tails in the
– the iteration of 25 moving average (MA) operations:
spectral peaks. This can be remedied by inserting a flat-top
in the central part of the cusp with a width equal to almost the
t
1
′
x
[t] → x
[t ] =
x
[t
]
i
= 1, . . . , 25
(6)
maximum length of the charge collection in the diode. The
i
i+1
i
δ
resulting filter is a Zero-Area finite-length Cusp filter with
′
t
=t−δ
central flat-top that will be referred as ZAC from here on.
The ZAC filter was implemented as:
The energy is given by the height of the output signal whose
shape is close to a Gaussian.
Z AC(t)
This pseudo-Gaussian shaping is a high-pass filter fol-

t
L
L

sinh
+ A ·
t −
−
0 < t
< L
lowed by n low-pass filters.
The resolution obtained with


τ

s

the pseudo-Gaussian shaping is very close to optimal if the

L
sinh
L < t
< L + FT
τ
=
detectors are operated in conditions where the 1/ f
noise is
s


2L+FT −t
L
sinh
+ A ·
L + FT − t
−

negligible [12]. This is not the case for
Phase I where

τ

s

the preamplifiers had to be placed at a distance of 30–60 cm
L + FT < t
< 2L + FT
from the crystals due to the low background requirements.
(7)
The diodes and the pre-amplification chain were connected
where τ
is the equivalent of the shaping time for an analog
by OFHC copper strips insulated by soft teflon hoses. Hence,
s
a significant low-frequency noise is present for some of the
shaping filter, 2L is the length of the cusp filter and F T is that
Phase I detectors.
of the flat-top and where the constant A is chosen such that the
As described in Sect. 2.1, the ENC depends on the prop-
total integral is zero. The numerical expression of the ZAC
erties of the detector,
of the preamplifier and of the con-
filter is obtained through the substitution t
→ t ·i where t
nection between them. In
the diodes have different
is the sampling time and i
the sample index; the maximum
geometries and impurity concentrations resulting in differ-
number of samples in the ZAC filter is n
.
A graphical
Z AC
ent capacitances C
and different
I
. In addition, the non-
representation of the ZAC filter construction is provided in
D
L
standard connections between the detectors and the pream-
Fig. 5.
plifiers result in different input capacitances (C
). It is there-
Before proceeding with the shaping the original current
i
fore preferable to adapt the form and the parameters of the
pulse has to be reconstructed from the preamplifier output
shaping filter to each detector separately.
wave form (Fig. 3). This is performed via a deconvolution of

---
Page 6 of 11
20
finite length cusp
2.0
Zero-Area constraint
15
Zero-Area finite length Cusp
10
1.5
5
1.0
-5
0.5
-10
0.0
-15
-20
-0.5
20
40
60
80
100
120
140
160
20
40
60
80
100
120
140
160
time [
s]
µ
time [
s]
µ
6
The ZAC filter after the convolution with the inverse preampli-
5
Amplitude versus time for the ZAC filter (red full line). It is com-
fier response function (red dashed) and the wave form of Fig. 3 after
posed of the finite-length cusp (blue dashed) from which two parabolas
the convolution with it (full blue)
are subtracted on the cusp sides (green dash-dotted)
tronic noise within the same data set. In this case the filter
the preamplifier response function, an exponential curve with
parameters giving the best energy resolution should be the
decay time τ = R
C
. Specifically, it is implemented as the
f
f
constant for each data set.
convolution with the filter consisting of two elements,
f
=
τ
208
The filter optimization was performed on the FEP of
Tl,
t
[1, − exp (−
)].
No correction for the finite band width
τ
i.e. the 2614.5 keV line. Quality cuts were applied prior to
of the electronics was implemented.
Since the convolution
the energy reconstruction that was performed only on the sur-
operation is commutative, the convolution between the ZAC
viving events. The energy spectrum was reconstructed with
filter and the inverse preamplifier response function f
can
τ
different values of the four filter parameters L,
F T , τ
and
s
be performed once for all:
τ . In particular:
t
−
F F[i ] = Z AC[i ] ·
−e
+ Z AC[i + 1] · 1
τ
– the total filter length 2L + F T was varied for only one
i
= 1, . . . , n
− 1
(8)
Z AC
calibration run between 120 and 163 µs. As expected [18]
The final filter (F F ) obtained is shown in red in Fig. 6.
A
the best
energy resolution was obtained for the longest
convolution of each individual signal trace x with F F is then
possible filter.
Given the variability of the trigger time
performed:
within a 2 µs range the maximum of the shaped filter
can be at one of the extremes of the wave form when the
i+n
−2
Z AC
maximum filter length of 163 µs is used leading to a wrong
y[i ] =
x[k] · F F [i + n
− 1 − k]
Z AC
energy estimation. This effect completely disappears if the
k=i
filter is shortened by 2 µs.
Hence,
the optimization was
i
= 1, . . . , n
− n
+ 2
(9)
x
Z AC
performed with ∼161 µs long filters;
n
is the number of samples in the trace.
Typically n
is
– the optimal
length of
F T is related to the charge col-
x
x
set
to 16384 and n
ranges from 16060 to 16120.
lection time in the detector. For coaxial detectors this is
Z AC
output y for the trace of Fig. 3 is shown as blue full line in
typically between 0.6 and 1 µs depending on the electric
Fig. 6. The energy E is then estimated as the maximum of
field configuration in the detector and on the location of
this convoluted signal y.
the energy deposition. For BEGes it is slightly longer due
to the slower charge drift. The value of F T was therefore
varied between 0.5 and 1.5 µs in 120 ns steps;
4 Optimization of the ZAC filter on calibration data
– the optimal filter shaping time τ
depends on the electronic
s
noise spectrum as described in Sect. 2.1. Typically, τ
is of
s
The optimization of the ZAC filter using the Phase I cali-
order of 10 µs. The optimization was therefore performed
bration data was performed separately for each detector. The
with values of τ
between 3 and 30 µs in steps of 1 µs.
s
first and the last calibration run of each period were selected
Since the optimal τ
was not infinite, the noise present in
s
(Table 1). Given their longer duration one more run taken in
Phase I data had a non negligible parallel component;
the middle of the period was used for data sets A and D as
– the value of τ can in principle be calculated knowing the
well. It is expected that no change was present in the elec-
feedback resistance and capacitance. In reality τ is modi-
amplitude [a.u.]
amplitude [a.u.]

---
Page 7 of 11
ZAC shaping
18000
Table 2 Optimized parameters of the ZAC filter for period D. While
ANG5
4
the filter length 2L is equal for all the detectors F T varies between 0.6
A: 1.377(25)
 10
⋅
16000
and 1.2 µs according to the charge collection properties of each diode
: 2614.736(16)
µ
: 1.7267(56)
σ
Detector
2L (µs)
FT (ns)
τ
(µs)
τ (µs)
14000
s
C: 69.81(83)
ANG2
160
600
9
190
4
D: 2.76(29)
 10
12000
⋅
: 1.486(33)
ANG3
160
840
16
220
δ
B: 4.19(18)
10000
ANG4
160
720
13
250
Gaussian shaping
ANG5
160
960
17
170
8000
4
A: 1.169(38)
 10
RG1
160
720
12
210
⋅
: 2614.886(24)
µ
RG2
160
680
8
240
6000
: 1.8084(72)
σ
GD32B
160
1080
13
220
C: 70.13(83)
4000
GD32C
160
960
16
170
4
D: 4.61(55)
 10
⋅
GD32D
160
840
15.5
170
2000
: 1.391(30)
δ
GD35B
160
1200
17
135
B: 4.08(18)
2610
2615
2620
energy [keV]
fied by the presence of parasitic capacitance in the front-
208
7
Tl FEP data for ANG5 at 2614.5 keV. The curves and param-
end electronics.
Moreover,
given the presence of
long
eter values corresponding to the best fit for the ZAC and the pseudo-
cables a signal deformation can arise. Therefore, τ is nor-
Gaussian shaping are shown
mally estimated by fitting the pulse decay tail. This was
not possible due to the presence of more than one expo-
ZAC shaping
8000
GD35B
nential. Therefore τ was varied between 100 and 300 µs
A: 7517(31)
with 5 µs step size.
: 2614.5135(41)
7000
µ
: 1.2115(29)
σ
C: 20.56(40)
6000
The peak at 2614.5 keV was fitted with the function [24]
for each combination of the filter parameters:
5000
B: 1.47(10)
(E − µ)
C
E − µ
f (E) = A exp
−
+ B +
erfc
√
4000
Gaussian shaping
2σ
2 · σ
A: 5247(21)
D
E − µ
E − µ
σ
3000
: 2614.5317(58)
+
exp
erfc
+
(10)
√
√
µ
δ
2 · σ
2 · δ
: 1.7375(42)
σ
2000
C: 20.15(41)
corresponding to a Gaussian peak with a low-energy tail (last
term) sitting on flat background and on a step-like function
1000
(third term) which describes the continuum on the left side
B: 1.40(10)
of the peak. The FWHM was obtained from the fitting func-
2610
2615
2620
tion after the subtraction of the flat and step-like background
energy [keV]
components. The energy resolutions resulting from different
208
8
Tl
FEP data for GD35B at
2614.5 keV.
The curves and
parameters of the ZAC filter were compared and the param-
parameter values corresponding to the best
fit
for the ZAC and the
eters leading to a minimal FWHM were chosen for the full
pseudo-Gaussian shaping are shown
reprocessing of the data. For the detectors of the 0νββ analy-
sis the optimal parameters of the ZAC filter for period D are
reported in Table 2 as an example.
phonic disturbances on the cable routing. Hence, all Phase I
calibration and physics data were reprocessed with the opti-
mal parameters of the ZAC filter.
5 Results
A first
remarkable result
is
the improvement
of
the
208
energy resolution between 5 and 23 % for the
Tl FEP at
The parameter
optimization for
the ZAC filter
provided
2614.5 keV of all the Phase I data. As an example Figs. 7 and 8
results in agreement with expectations: for each detector the
show the summed spectrum of all Phase I calibrations around
optimal filter parameters are stable within the same data set,
the 2614.5 keV line for ANG5 and GD35B, respectively. In
but they can vary for those detectors that changed configu-
both cases, the amplitude of the Gaussian component is larger
ration in time. This confirms the dependence of the micro-
for the spectrum obtained with the optimized ZAC filter and
counts/(0.25 keV)
counts/(0.25 keV)

---
Page 8 of 11
ANG5. As expected the major improvement regards the ENC
ANG5
which reduces FWHM
at
all
energies by a constant.
For
18
both,
the pseudo-Gaussian and the ZAC filter,
the charge
production term w
= 2.355
η F is compatible with the the-
17
p
Gaussian shaping
−3
oretical value of 1.64·10
keV. Finally, the charge collection
16
term c
for the ZAC filter is compatible within the uncertainty
(
 : 2.094(38)
 ENC/e)
η
with the value obtained for the pseudo-Gaussian filter. The
15
-3
w
: 2.10(39)
 10
⋅
p
large uncertainty of this parameter is due to the lack of peaks
-8
c
: 3.8(2.2)
 10
14
above 3 MeV which makes the fit imprecise. This term is the
⋅
smallest of the three and accounts for maximally 15 % of the
ZAC shaping
13
width at 2614.5 keV. A consistent behavior is observed for
(
 ENC/e)
 : 1.736(35)
the other detectors as well.
η
12
One of
the original
motivations for
the application of
-3
w
: 1.64(36)
 10
⋅
p
the ZAC filter to the
Phase I data was the obser-
11
-8
c
: 6(2)
 10
⋅
vation of temporary deterioration of the energy resolution in
500
1000
1500
2000
2500
some detectors interpreted as due to time-evolving micro-
energy [keV]
phonic disturbance not being properly treated by the pseudo-
Gaussian filter. This is confirmed by the comparison of the
9
Resolution curve (Eq. 4 with w
= 2.355
ηF) for ANG5 cal-
p
FWHM over time for both filters as shown for ANG2 and
culated for all Phase I calibration spectra merged together for pseudo-
Gaussian (full line) and ZAC (dashed line) shaping
GD35B in Figs. 10 and 11, respectively. In case of ANG2 the
FWHM at 2614.5 keV obtained with the pseudo-Gaussian
its width is correspondingly reduced. The parameters B and
shaping fluctuates between 4.5 and 4.9 keV.
In June 2012
C describing the continuum below the peak are compatible
stronger microphonic disturbance caused a FWHM increase
for the two shaping filters.
up to about 5.1 keV.
When using the ZAC filter the effect
While for the coaxial ANG5 a low-energy tail has to be
is significantly reduced and the FWHM obtained for
the
accounted for in the fit (Fig. 7) the amplitude of the tail in
affected calibrations is brought
back to a value consistent
the BEGe GD35B is negligible.
The tail it therefore auto-
with the average.
Stronger
fluctuations were present
for
matically removed from the fit (Fig. 8). This is attributed to
GD35B.
A very poor energy resolution was observed dur-
the smaller dimensions of the BEGe detector and its reduced
ing the first
month of operation together with a continu-
charge collection inefficiency. In case of ANG5 the tail ampli-
ous worsening of the spectroscopic performances in the last
tude D is strongly reduced when the ZAC shaping is used
4 months of Phase I. Also in this case the ZAC filter energy
thanks to the presence of
the flat-top that
allows for
an
estimate is unaffected by the low-frequency baseline fluctu-
improved integration of the collected charge.
ations induced by microphonics and allowed to stabilize the
A deeper understanding of the result is provided by study-
FWHM over time to about 2.8 keV (at 2614.5 keV).
208
ing the evolution of the FWHM as function of energy which
Phase
I
average
FWHM for
the
Tl
line
at
is fitted according to Eq. (4). An example is given in Fig. 9
2614.5 keV for
each detector
obtained with the pseudo-
showing the resolution curve of
all
calibration runs
for
Gaussian and the ZAC filter are reported in Table 3. The aver-
5.2
ZAC shaping
ANG2
Gaussian shaping
5.0
4.8
4.6
4.4
4.2
4.0
01 Jan 12
01 Apr 12
01 Jul 12
01 Oct 12
31 Dec 12
01 Apr 13
208
10
FWHM of the full energy peak of
Tl at 2614.5 keV for ANG2
]
 [keV
FWHM
FWHM at 2614.5 keV [keV]

---
Page 9 of 11
ZAC shaping
GD32B
Gaussian shaping
7
6
5
4
01 Jul 12
31 Aug 12
31 Oct 12
31 Dec 12
02 Mar 13
02 May 13
208
11
FWHM of the full energy peak of
Tl at 2614.5 keV for GD35B. The error bars are partially within the symbols size
Table 3 Average FWHM over
the complete Phase I
period.
ZAC shaping
Gaussian shaping
improvement
is computed as the difference between the FWHM for
160
mean: 1524.410(55)
mean: 1524.411(59)
the pseudo-Gaussian and that
for the ZAC filter.
Only the statistical
uncertainty due to the peak fit is quoted
FWHM: 4.09(11)
FWHM: 4.49(11)
140
signal cts: 1165(36)
signal cts: 1176(36)
Detector
FWHM at 2614.5 keV (keV)
Improvement (keV)
120
bkg cts: 111(16)
bkg cts: 98(15)
Gaussian
ZAC
100
ANG2
4.712 (3)
4.314 (3)
0.398 (4)
ANG3
4.658 (3)
4.390 (3)
0.268 (4)
80
ANG4
4.458 (3)
4.151 (3)
0.307 (4)
60
ANG5
4.323 (3)
4.022 (3)
0.301 (4)
RG1
4.595 (4)
4.365 (4)
0.230 (6)
40
RG2
5.036 (5)
4.707 (4)
0.329 (6)
20
GD32B
2.816 (4)
2.699 (3)
0.117 (5)
GD32C
2.833 (3)
2.702 (3)
0.131 (4)
1520
1525
1530
GD32D
2.959 (4)
2.807 (3)
0.152 (5)
energy [keV]
GD35B
3.700 (5)
2.836 (3)
0.864 (6)
42
12
K peak for the coaxial detectors in the energy spectrum for
all Phase I physics runs. The curves and parameter values relative to the
best fit for the ZAC and the pseudo-Gaussian shaping are reported
age improvement was calculated as the difference between
the two values.
This is about 0.31 keV for the coaxial and
different physics runs are reduced because the microphon-
0.13 keV for the BEGe detectors apart
from GD35B for
ics and the noise are treated better.
The resulting FWHM
42
which a much larger improvement is obtained as described
of the
K peak is 4.09 ± 0.11 keV and is only 0.15 keV
above.
higher than expected from calibration data. The net improve-
The comparison of the effective energy resolution achieved
ment in energy resolution at 1524.6 keV for the coaxial data
is 0.40 keV.
In case of BEGes the ZAC shaping provides
with Phase I physics data can be performed exclusively on
42
the
K peak at 1524.6 keV which is the only background
a 2.75 ± 0.21 keV FWHM compared to 3.05 ± 0.30 keV
line with a sufficient number of counts for a spectral fit. The
obtained with the pseudo-Gaussian. The comparison in this
summed energy spectra in the 1515–1535 keV range for all
case is harder due to the very limited number of events. The
42
Phase I data for the six coaxial and the four BEGe detec-
improvement on the FWHM of the
K line is in agreement
tors used for the 0νββ decay analysis are shown in Figs. 12
with the expectation from the calibration data.
and 13, respectively. The FWHM obtained for the pseudo-
The improvement in energy resolution given by the ZAC
Gaussian shaping and the coaxial detectors is 4.49±0.11 keV.
filter is also reflected in a more precise estimation of the
This is 0.30 keV larger than the value expected from the cal-
energy scale for
the single calibration runs.
In
a
ibration data. The reason is given by drifts of the electron-
second degree polynomial is used as a calibration curve in
ics between calibrations and microphonics mainly present
order to account for the preamplifier non-linearity. Figures 14
228
in ANG2 and ANG4. For the ZAC filter the drifts between
and 15 show the residuals of the
Th peak positions from
FWHM at 2614.5 keV [keV]
counts/(0.33 keV)

---
Page 10 of 11
−2
the average residuals are of order of 10
keV. Hence, they
30
ZAC shaping
Gaussian shaping
are much smaller than the peak widths.
mean: 1524.47(12)
mean: 1524.60(14)
A more informative estimation of the energy calibration
25
FWHM: 2.75(21)
FWHM: 3.05(30)
precision is obtained by calculating the uncertainty δ
of
E
signal cts: 111(11)
signal cts: 110(11)
the calibration curve at a given energy,
e.g.
at 1524.6 keV.
bkg cts: 16.1(50)
bkg cts: 18.3(58)
20
For each calibration run the quantity δ
(E = 1524.6 keV)
E
is calculated by error propagation on the calibration curve
5
parameters. Using Monte Carlo (MC) simulations 10
events
15
were randomly generated according to a Gaussian distribu-
tion with zero mean and δ
(E = 1524.6 keV). The distribu-
E
10
tions from all Phase I calibration runs are then summed up and
the systematic uncertainty of the energy scale at 1524.6 keV
is given by the half-width of the 68 % central interval. This
5
results to be between 0.03 and 0.07 keV and is up to 16 %
smaller for ZAC shaping with respect to the pseudo-Gaussian
filter.
1520
1525
1530
A cross check of the reprocessed data is given by the event-
energy [keV]
by-event comparison of the energy obtained with the ZAC
42
13
K peak for the BEGe detectors in the energy spectrum for
and the pseudo-Gaussian filter. This is performed by calculat-
all Phase I physics runs. The curves and parameter values relative to the
ing the energy difference of the events in the 2614.5 keV peak
best fit for the ZAC and the pseudo-Gaussian shaping are reported
as shown in Fig. 16 for ANG2 during a typical calibration
run. For all the detectors this distribution is a Gaussian with
the corresponding calibration curve averaged over all Phase I
a mean value compatible with zero and a width σ ∼ 0.8 keV.
calibration runs. Both for the Gaussian and the ZAC shaping,
ZAC shaping
ANG5
0.02
Gaussian shaping
0.01
0.00
-0.01
-0.02
-0.03
-0.04
500
1000
1500
2000
2500
energy [keV]
228
14
Average residuals of the
Th peak positions relative to literature values for ANG5. The error bars on the data points correspond to the
RMS of the residuals for a given peak
ZAC Shaping
GD35B
Gaussian Shaping
0.04
0.02
0.00
-0.02
-0.04
500
1000
1500
2000
2500
energy [keV]
228
15
Average residuals of the
Th peak positions relative to literature values for GD35B. The error bars on the data points correspond to the
RMS of the residuals for a given peak
counts/(0.33 keV)
average residuals [keV]
average residuals [keV]

---
Page 11 of 11
will be performed from the beginning of Phase II following
ANG2
a procedure similar to the one described in the present work.
1600
2610 < E < 2619 keV
1400
Acknowledgments
experiment is supported financially
: 0.0047(50)
µ
by the German Federal Ministry for Education and Research (BMBF),
: 0.8373(42)
σ
1200
the German Research Foundation (DFG) via the Excellence Cluster
Universe, the Italian Istituto Nazionale di Fisica Nucleare (INFN), the
1000
Max Planck Society (MPG), the Polish National Science Center (NCN),
the Foundation for
Polish Science (MPD programme),
the Russian
Foundation for Basic Research (RFBR), and the Swiss National Science
800
Foundation (SNF). The institutions acknowledge also internal financial
support. The
collaboration thanks the directors and the staff of
600
the LNGS for their continuous strong support of the
experiment.
400
Open Access
This article is distributed under the terms of the Creative
Commons Attribution 4.0 International License (http://creativecomm
200
ons.org/licenses/by/4.0/), which permits unrestricted use, distribution,
and reproduction in any medium, provided you give appropriate credit
-4
-2
4
to the original author(s) and the source, provide a link to the Creative
Commons license, and indicate if changes were made.
energy difference (ZAC-Gauss) [keV]
Funded by SCOAP
.
16
Distribution of the difference between the energy estimated
with the pseudo-Gaussian and that obtained with the ZAC filter for the
208
Tl FEP events at 2614.5 keV. The data refer to a standard calibration
and are for ANG2
References
The same behavior is observed at all energies for both cali-
1.
K.-H. Ackermann et al., Gerda Collaboration, Eur. Phys. J. C 73,
bration and physics data.
2330 (2013)
2.
M.
Agostini
et
al.,
Gerda Collaboration,
Phys.
Rev.
Lett.
111,
122503 (2013)
6 Summary
3.
F.T. Avignone III, G.S. King III, Y.G. Zdesenko, New J. Phys. 7, 6
(2005)
4.
M. Gunther et al., Phys. Rev. D 55, 54 (1997)
The presence of low-frequency noise in the signals of
5.
C.E. Aalseth et al., Nucl. Phys. Proc. Suppl. 48, 223 (1996)
Phase I mostly induced by microphonic disturbance leads to
6.
M.
Agostini
et
al.,
Gerda Collaboration,
Eur.
Phys.
J.
C 75,
39
a degraded energy resolution for some of the deployed detec-
(2015)
7.
L. Baudis et al., Phys. Rep. 307, 301 (1998)
tors. Spectroscopic performance close to optimal is obtained
8.
H.V. Klapdor-Klingrothaus et al., Nucl. Instrum. Methods A 481,
by the use of the ZAC shaping filter. This novel Zero Area
149 (2002)
Cusp filter is obtained by subtracting two parabolas from the
9.
J. Janicskó Csáthy et al., Nucl. Instrum. Methods A 654, 225 (2011)
sides of the cusp filter keeping the area under the parabolas
10.
M. Heisel, LArGe—a liquid argon scintillation veto for Gerda. PhD
thesis, Ruperto-Carola University of Heidelberg (2011)
equal to that underlying the cusp. A selection of calibration
11.
M. Agostini et al., Gerda Collaboration, PoS (TIPP2014), p. 109
runs has been exploited for the optimization of the ZAC filter.
(2014)
All calibration data sets have then been reprocessed using
12.
E. Gatti, P.F. Manfredi, Riv. Nuovo Cim. 9, 1 (1986)
the optimal
filter parameters.
An average improvement
of
13.
V. Radeka, Annu. Rev. Nucl. Part. Sci. 38, 217 (1988)
14.
B.G. Lowe, Nucl. Instrum. Methods A 399, 354 (1997)
0.30 keV in FWHM has been obtained for both coaxial and
15.
M.
Tarka,
Studies of the neutron flux suppression from a γ ray
BEGe detectors. In one case (GD35B) the energy resolution
source and the Gerda calibration system. PhD thesis, University of
is improved by 0.86 keV with the excellent low-frequency
Zurich (2012)
rejection provided by the ZAC filter.
16.
F. Froborg, Nucl. Instrum. Methods A 729, 557 (2013)
17.
M. Agostini et al., JINST 6, P08013 (2011)
The stability of the filter parameters over time for the same
18.
M.O. Deighton, I.E.E.E. Trans, Nucl. Sci. 16, 68 (1969)
detector configuration in
along with its outstanding
19.
E. Gatti, M. Sampietro, P.F. Manfredi, Nucl. Instrum. Methods A
low-frequency noise rejection capabilities provides a FWHM
287, 513 (1990)
42
improvement of 0.40 (0.30) keV at the
K line in the Phase I
20.
A. Geraci, E. Gatti, Nucl. Instrum. Methods A 361, 277 (1995)
21.
A. Geraci et al., Nucl. Instrum. Methods A 482, 441 (2002)
physics data for the coaxial (BEGe) detectors. Any improve-
22.
V. Radeka, Nucl. Instrum. Methods 99, 525 (1972)
ment
in the energy resolution will
increase the sensitivity
23.
F.S.
Goulding,
D.A.
Landis,
I.E.E.E.
Trans,
Nucl.
Sci.
35,
119
of the experiment
and allow a better understanding of the
(1988)
experimental background.
24.
G.W.
Phillips,
K.W.
Marlow,
Nucl.
Instrum.
Methods 137,
525
(1976)
The Phase I physics data, reprocessed with the ZAC shap-
ing, will be combined with the Phase II data in a future anal-
ysis of the 0νββ decay. The optimization of the shaping filter
counts