Anal Bioanal Chem (2017) 409:1493–1501 DOI 10.1007/s00216-016-0097-5
Capillary coating as an important factor in optimization
of the off-line and on-line MEKC assays of the highly hydrophobic enzyme chlorophyllase
Paweł Mateusz Nowak1 & Michał Woźniakiewicz1 & Maciej Michalik2 & Leszek Fiedor2 &
Paweł Kościelniak1
Received: 8 October 2016 / Revised: 7 November 2016 / Accepted: 11 November 2016 / Published online: 25 November 2016
# The Author(s) 2016. This article is published with open access at Springerlink.com
Abstract The choice between bare and coated capillaries is a key decision in the development and use of any methods based on capillary electrophoresis. In this work several per- manently and dynamically coated capillaries were successful- ly implemented in a previously developed micellar electroki- netic chromatography (MEKC) assay of the plant membrane enzyme chlorophyllase. The results obtained demonstrate the rationale behind the use of capillary coating, which is crucial for successful optimization of both the off-line mode and the on-line/electrophoretically mediated microanalysis assay mode. The application of an amine permanently coated capil- lary (eCAP) is a simple way to significantly increase the re- peatability of migration times and peak areas, and to ensure a strong electroosmotic flow that considerably decreases the overall analysis time. A dynamic coating (CEofix) allows one to apply an on-line incubation to control the reaction progress inside the capillary, and to increase the signal-to- noise ratio and peak efficiency. The dynamic coating is possi- ble with use of both the normally applied uncoated silica cap- illary and the precoated amine capillary, which ensures more repeatable migration times. The strong points of the uncoated silica capillary are its attractive price and wide range of pH that can be applied. The characteristics presented may
simplify the choice of capillary modification, especially in the case of hydrophobic analytes, MEKC-based separations, and other enzymatic assays.
Keywords Capillary electrophoresis . Capillary coating . Chlorophyll . Chlorophyllase . Electrophoretically mediated microanalysis . Micellar electrokinetic chromatography
Abbreviations
CE
Chla Chlidea Chlase EMMA EOF LDAO MEKC
Capillary electrophoresis Chlorophyll a Chlorophyllide a Chlorophyllase
Electrophoretically mediated microanalysis Electroosmotic flow
Lauryldimethylamine N-oxide
Micellar electrokinetic chromatography
Introduction
Capillary electrophoresis (CE) has become a routine instru- mental technique applied in biochemical analysis. Most of the CE-based methods rely on the use of low-cost bare fused- silica capillaries, but there are many reports on the application of coated capillaries, which are recommended for many rea- sons [1–5]. Capillary coating is a potential method for con- trolling or eliminating electroosmotic flow (EOF), for preventing undesirable adsorption of analytes onto the capil- lary inner surface, and for increasing the reproducibility of the migration times, resolution, and peak efficiency. The broad commercial availability of permanently coated capillaries and reagents for reversible dynamic coating makes the choice not straightforward. Intriguingly, only several systematic
Electronic supplementary material The online version of this article (doi:10.1007/s00216-016-0097-5) contains supplementary material, which is available to authorized users.
* Paweł Mateusz Nowak nowakp@chemia.uj.edu.pl
1
Faculty of Chemistry, Jagiellonian University in Kraków, Ingardena 3, 30-060 Kraków, Poland
Faculty of Biochemistry, Biophysics and Biotechnology, Jagiellonian University in Kraków, Gronostajowa 7, 30-387 Kraków, Poland
2
PAPER IN FOREFRONT

1494
P.M. Nowak et al.
comparisons of various capillary modifications can be found in the literature [6–13].
There are many reports on CE-based assays of water- soluble enzymes [14–17], which are easier to use than hydro- phobic membrane enzymes because of the need to maintain a hydrophobic environment for both the reaction mixture and the separation medium. In the latter case the use of capillary coating is especially advisable to minimize potential undesir- able effects; for example, the formation of protein aggregates that may adsorb onto the capillary inner surface, leading to the deterioration of the repeatability of both migration times and peak areas, and to the loss of catalytic activity. Therefore, the development of CE enzymatic assays of membrane proteins in combination with a rational choice of capillary modification is an important direction of research.
Chlorophyllase (Chlase) is an ubiquitous plant membrane en- zyme catalyzing a hydrolytic cleavage of chlorophyll to chlorophyllide and phytol, which is the first step in chlorophyll biodegradation [18]; see Fig. 1. Its catalytic activity is of global importance to the biosphere [18, 19], but the mechanisms of Chlase regulation in plants are not well understood [19]. Studies on this enzyme are of interest not only for its significant physiological role and the regulatory mechanisms involved in vivo [19] but also for its applications in the olive oil industry [20], and as a convenient synthetic tool in the modification of chlorophyll s as photosensitizers for photodynamic therapy [21, 22]. However, because of its very high hydrophobicity, any ex- perimental work with Chlase is still a challenge. Recently, we developed a CE-based assay of recombinant Chlase from Arabidopsis thaliana based on a bare silica capillary as the first such assay of a plant membrane enzyme [23].
A CE-based enzymatic assay may be realized in an off-line mode, where the reaction occurs in a separate vessel, or in an on-line mode, where the mixing of reactants, the reaction, and the separation occur directly in the capillary [24, 25]. The latter approach facilitates automation and a spectacular reduc- tion of reaction volumes, down even to a nanoliter scale. Electrophoretically mediated microanalysis (EMMA) is a var- iant of the on-line method, and is based on the injection of several plugs containing reagents with different electrophoret- ic mobilities that are mixed by application of a voltage. After reaction inside the capillary, the substrates and the products
are separated as in the off-line mode. Reaction progress can be controlled by the introduction of a zero potential amplification step directly after mixing, without the application of a voltage. In this case, maintenance of resolution between the particular peaks plays a crucial role, and is often problematic because of the strong diffusional effects and the consequent peak broadening.
In this work we present a comparison of several commer- cially available capillary coatings applied in the analysis of the enzymatic activity of Chlase, and the evaluation of their ad- vantages over the uncoated silica capillary. Both the off-line reaction mode and the on-line reaction mode were tested. Particular attention was paid to analysis of the following criteria: repeatability of migration times and peak areas, selec- tivity, peak efficiency, signal-to-noise ratio, total analysis time, and feasibility of EMMA with the programmed zero potential amplification step in-capillary [24, 25]. Our results indicate some particular characteristics of the permanently and dynam- ically coated capillaries that are potentially important in the context of other methods using the CE technique.
Materials and methods
Instrumentation
The experiments were performed with a P/ACE MDQ CE system (Beckman Coulter, Brea, CA, USA) equipped with a diode-array detector. The following commercially available capillaries were used: an unmodified bare fused-silica capil- lary; a neutral eCAPTM polyacrylamide-coated capillary pro- viding neutralization of EOF; an amine eCAPTM polyamine- coated capillary providing the reversal of EOF (Beckman Coulter); and CelerityTM capillary columns coated with chro- matographic stationary phases: C18, diol, and cholesterol (MicroSolve Technology, Eatontown, NJ, USA). All capil- laries were of 60-cm total length, 50-cm effective length, and 50-μm internal diameter. In addition, the silica and amine capillaries were subjected to dynamic coating performed with a commercially available CEofixTM kit (Beckman Coulter). Coating by a double ionic-polymer layer (cationic–anionic) was performed with the silica capillary, and by a single
Fig. 1 The reaction of chlorophyll hydrolysis catalyzed by chlorophyllase

Capillary coating as an important factor in optimization
1495
anionic-polymer layer with the amine capillary, precoated per- manently by a polyamine layer. Recently, the efficiency of such a specific double coating was examined by us during a search for the optimal capillary type for determination of acid dissociations constant by CE [26].
UV–vis absorption spectra were collected between 200 and 600 nm; 430 nm was the analytical wavelength for the mon- itoring of the reaction substrate and product. The sample trays and capillaries were conditioned at 30 °C. All aqueous solu- tions were prepared with deionized water (Milli-Q, Merck Millipore, Billerica, MA, USA), filtered through a 0.45-μm regenerated cellulose membrane, and then degassed by soni- cation and centrifugation.
The rinsing of capillaries between the runs was done by ap- plication of a pressure of 137.9 kPa (20 psi). The procedures either were developed in our laboratory (for the uncoated silica capillary) or followed the instructions provided by the suppliers. The uncoated silica capillary, between the runs, was rinsed with 0.1 M NaOH for 4 min and with the running buffer for 4 min. Before the first use of the capillary on a working day, it was rinsed with methanol for 5 min, 0.1 M HCl for 3 min, deionized water for 3 min, 0.1 M NaOH for 10 min, and the running buffer for 10 min. For fresh capillary conditioning, the same rinsing sequence was used but the duration of each step was doubled. In other cases, deionized water, the running buffer, the amine regenerator solution (amine capillary), and the initiator solution (cationic layer, dynamically coated silica capillary) were used for rinsing, with application of the rinsing times as recommended by the manufactures.
Two separation buffers were tested, a borate buffer (Na2B4O7 · 10H2O–HCl) of 50 mM ionic strength, pH 9.0, and a phosphate buffer (Na2HPO4–NaH2PO4) of 50 mM ionic stren g th, p H 8 .0, each con t aining 0.4% (v/v) lauryldimethylamine N-oxide (LDAO). LDAO is a nondenaturing zwitterionic surfactant with a critical micelle concentration of around 1–2 mM. In dynamic coating with the CEofixTM kit, borate (pH 9.0) and phosphate (pH 8.0) buffers containing an accelerator (polyanion) and 0.4% LDAO were used. Their exact ionic strength could not be determined precisely, but during the runs they both gave cur- rents similar to the ones seen in the buffers of 50 mM ionic strength. The isolation of chlorophyll a (Chla) and Chlase was done as previously [27, 28]; see the electronic supplementary material for more details.
The analysis of the electropherograms, including the peak deconvolution and fitting with a Gaussian function, was done with Origin 9.1 (OriginLab, Northampton, MA, USA). The peak analyzer function with manual baseline definition was used.
membrane enzyme interacting with a hydrophobic substrate, was maintained by the use of a zwitterionic surfactant— LDAO. At basic pH, around 9.0, the micellar phase of LDAO provides an optimal medium for both the solubiliza- tion of reactants and separation between the substrate (Chla) and the product (chlorophyllide a, Chlidea) after application of a voltage [23]. Hence, this separation method is an example of micellar electrokinetic chromatography (MEKC).
Reactions in the off-line format were performed in PCR- type microtubes placed directly on a sample tray, and condi- tioned inside the CE instrument at 30 °C. The reaction mixture (total volume of 50 μL) was prepared by addition of a 10-μL aliquot of Chla in acetone and a 5-μL aliquot of purified Chlase in LDAO solution to the borate buffer (Na2B4O7 · 10H2O–HCl) of 20 mM ionic strength, pH 9.0, containing 1.0% (v/v) LDAO. We recently showed that in these condi- tions Chlase maintains its catalytic activity [23]. The final concentration of the substrate was 100 μM and that of the enzyme was 2.0 μg/mL The electrophoretic analysis was per- formed by several consecutive injections of the reaction mix- ture into the capillary, with application of a forward pressure of 3.45 kPa (0.5 psi) for 5 s, and separation of Chla and Chlidea by subsequent application of a 30-kV voltage. Normal polarity (anode at the inlet) was applied in all cases, except with the amine capillary, which generated the reverse EOF. All reactions with the same capillary were performed in triplicate, with least nine separations being performed in total. Reactions in the on-line format were performed with an EMMA in a sandwich-like plug–plug mode [24, 25], achieved by consecutive injection (3.45 kPa/0.5 psi) of three plugs: enzyme (10 s), substrate (5 s), and enzyme (10 s). The con- centrations of reactants in the plugs were the same as in the reaction mixture used in the off-line approach. After injection, a 5-kV voltage was applied for 1 min to mix the reactant plugs, and then the zero potential amplification step was applied for 10 min, during which the capillary content was incubated (no voltage). Then a 20-kV separation voltage was applied and the mixture was separated as in the off-line mode. A schematic illustration of all the aforementioned steps is shown in Fig. 2.
Enzymatic assay
The hydrophobic character of the reaction and separation en- vironment, which is required in the assay of a water-insoluble
Fig. 2 The electrophoretically mediated microanalysis approach, including the four sequential steps (see the text for details)

1496
P.M. Nowak et al.
Evaluation criteria
and the same capillaries subjected to dynamic coating by a polyanionic layer. In most cases the borate buffer was the more effective separation medium, except for the amine cap- illary, for which the phosphate buffer also gave entirely satis- factory separation. For further tests we selected five separation systems: three capillary types used with borate buffer (uncoat- ed and two dynamically coated), and one type (amine) used with both effective buffers. The respective electropherograms are shown in Fig. 3, and the negative results obtained for the neutral and stationary-phase-coated capillaries are described and discussed in the electronic supplementary material.
The differences between the migration times obtained for Chla and Chlidea, shown in Fig. 3, suggest a similar mecha- nism of separation in all capillaries. The separation is most likely possible because of selective interactions with the mi- cellar phase, and because of differences in the net charges on the analyte molecules. Chla, being insoluble in water, is ex- pected to have stronger affinity for micelles than water-soluble Chlidea, a carboxylic acid ionized at neutral/basic pH. This weaker binding to micelles entailing a smaller hydrodynamic radius and weaker resistance during migration, and the nega- tive charge, collectively result in higher negative electropho- retic mobility in the normal polarity. Thus, the Chlidea migra- tion time is longer than that of Chla. In the amine capillary, the reverse polarity is applied, and the migration order is reversed.
The following criteria were used in the evaluation of the cap- illaries: reaction progress, selectivity, resolution, theoretical number of plates for Chla (NChla), theoretical number of plates for Chlidea (NChlidea), and electroosmotic mobility (μEOF).
 AChlidea
RP ¼ A
ð1Þ
;
þ A
Chlidea	Chla
where RP is the reaction progress, AChlidea is the peak area of the product (Chlidea), and AChla is the peak area of the sub- strate (Chla). Equal values of the molecular absorption coef- ficients for Chla and Chlidea were used, as previously [23].
 t
slower
Sel ¼
ð2Þ
;
tfaster
where Sel is the selectivity and tslower and tfaster are the migra- tion times (min) of the slower and the faster analyte, i.e., Chla or Chlidea respectively, depending on the capillary type.
 2ðjtChla−tChlideajÞ ;
Res ¼
ð3Þ
wChla þ wChlidea
where Res is the resolution, tChla and tChlidea are the migration times (min) of Chla and Chlidea respectively, and wChla and wChlidea are the respective peak widths (min).
Off-line mode

!
2
   t
Chla
NChla ¼ 5:54
ð4Þ
;
To estimate the activity of enzyme in various capillaries with the off-line approach, the reaction progress was analyzed at three time points corresponding to three consecutive injections performed from the same vial, placed on the sample tray. The courses of the reactions are depicted in Fig. 4. They are sim- ilar, with a characteristic hyperbola-like shape probably reflecting depletion of the substrate and/or an inhibitory effect of the reaction products on the enzyme. It cannot be the effect of acetone because the enzyme is known to be active at much higher concentrations of organic solvents [18, 19]. The close similarity of the plots obtained for the bare silica, the perma- nently coated, and the dynamically coated capillaries can be taken as an indication of their usefulness in the CE-based off- line assay of Chlase.
The separation between Chla and Chlidea was assessed in terms of the overall precision, defined as the repeatability of the migration times and peak areas. The respective coeffi- cients of variation were determined separately for Chla and Chlidea in each of the evaluated separation systems (Table 1). Concerning the repeatability of migration times, the bare silica capillary gives coefficients of variation of around 6%. This is generally a poor outcome compared with other sepa- ration techniques regarded as repeatable (e.g., high- performance liquid chromatography). However, a significant improvement is achieved with the amine capillary, including
w1=2Chla

!2
t
Chlidea
NChlidea ¼ 5:54
ð5Þ
;
w1=2Chlidea
where w1/2Chla and w1/2Chlidea are the respective peak widths at half the peak height (min).
 L	L
eff ⋅ tot
μ
ð6Þ
¼
;
EO F
U ⋅tEO F
where Leff and Ltot are the effective and total capillary lengths
(m) respectively, U is the separation voltage (kV), and tEOF is the migration time of acetone (min).
Results and discussion
Preliminary capillary selection
At the beginning a preliminary test was performed to select the capillaries that gave acceptable resolution between the sub- strate and the product. The separation enabling reaction mon- itoring in the conventional off-line reaction mode was achieved with the bare silica capillary, the amine capillary,

Capillary coating as an important factor in optimization
1497
Fig. 4 The average reaction progress analyzed off-line in various capillaries (see the text for details). DC dynamically coated, phosp. phosphate
than two times higher coefficients of variation than the dy- namically coated amine capillary.
The coefficients of variation determined for peak areas are around two times higher than those for the migration times; for the bare silica capillary they are 10–11%. However, again, the permanently coated amine capillary brings a significant im- provement, as the coefficients of variation drop to 3–6%. In the case of dynamically coated capillaries, only a weak im- provement is noted (coefficient of variation 7–8%). On that account, the use of the permanently coated amine capillary seems to be the best way of increasing the overall precision of the assay. For the amine capillary the repeatability of both the migration times and the peak areas is noticeably better in the phosphate buffer (the lowest coefficients of variation) than in the borate buffer.
The selectivity expressed as a ratio of the migration times of Chla and Chlidea is comparable in each case when the borate buffer is applied (1.03–1.04), and it increases to 1.09 for the amine capillary used with the phosphate buffer. This result and the fact that the phosphate buffer was effective only in the case of the amine capillary point to some coating-specific alteration of the separation mechanism. According to the information provid- ed by the manufacturer (Beckman Coulter), the components of the phosphate buffer may interact selectively with the inner cap- illary surface by pairing the positive charge of the amine groups [29], causing a partial reduction of EOF and a better separation efficiency than with other buffers. This notion is supported by the assessment of selectivity and resolution (Table 1), as well as by the estimation of the electroosmotic mobility. The electroosmotic mobility calculated on the basis of the acetone peak is more than twofold higher for the amine capillary used with the borate buffer
Fig. 3 Electropherograms presenting separations between chlorophyll a (substrate, S) and chlorophyllide a (product, P) in various capillaries at 430 nm, and the peak deconvolution performed for the on-line reaction. DC dynamically coated, phosp. phosphate
both the permanently coated inner surface (the borate and phosphate buffers) and the surface dynamically coated by a polyanionic layer(dynamically coated amine). Noticeably, the coefficient of variation in these cases is nearly two to three times lower than for the uncoated silica capillary. It is inter- esting that the dynamically coated silica capillary gives more

1498
P.M. Nowak et al.
Table 1	General comparison of all capillaries useful in chlorophyllase off-line and on-line assays on account of the various analytical and practical criteria
Parameter
Bare silica
Amine (borate)
Amine (phosphate)
DC silica
DC amine
On-line DC silica
On-line DC amine
CVt-Chla CVt-Chlidea CVA-Chla CVA-Chlidea Sel
Res NChla NChlidea H/IN
μEOF (10-4 m2 kV-1 min-1)
pH range Conditioning Cost
5.8%
5.8%
10.2%
10.9%
1.03
1.09
17,202
17,802
1.00 (ref) 6.8
Wide
Medium Low
2.4%
2.4%
5.8%
5.7%
1.04
1.13
11,186
15,345
0.48
22.7
Medium Medium Medium
1.5%
1.4%
3.0%
3.6%
1.09
2.02
7335
9543
0.73
8.9
Medium Medium Medium
4.9%
4.7%
7.6%
7.1%
1.04
1.35
25,368
26,789
1.21
9.2
Narrow Long Medium
1.9%
2.0%
7.7%
7.8%
1.03
1.72
28,786
30,120
1.26
10.1
Narrow Medium High
5.0%
5.1%
11.0%
12.9%
1.04
1.33a
1092a
1157a
0.57
9.3
Narrow Long Medium
2.9%
2.8%
9.8%
12.1%
1.04
1.55a
1140a
1231a
0.58
10.0
Narrow Medium High
The values presented (except for the coefficients of variation) are the average from all separations.
CVt-Chla and CVt-Chlidea coefficients of variation for the migration times of the substrate (chlorophyll a, Chla) and the product (chlorophyllide a, Childea) respectively (n = 9); CVA-Chla and CVA-Chlidea coefficients of variation for the peak areas of Chla and Chlidea respectively (n = 9); Sel selectivity-related parameter, ratio of the migration times obtained for Chla and Chlidea (slower one to faster one); Res resolution; NChla number of theoretical plates obtained for Chla; NChlidea number of theoretical plates obtained Chlidea; H/IN signal-to-noise ratio measured from the peak height (H) and instrumental noise (IN) level (mAU) with reference to the bare silica capillary (the value obtained for the reference capillary was assumed to be 1.00 and the values obtained for other capillaries were recalculated accordingly); μEOF electroosmotic mobility/strength of electroosmotic flow; DC dynamically coated
a The values obtained after peak deconvolution
(22.7 cm2 · kV-1 · min-1) than with the phosphate buffer (8.9 cm2 · kV-1 · min-1). This difference in electroosmotic mobility is nicely reflected in the corresponding migration times (Fig. 3). A much weaker EOF may also explain the lower coefficients of variation and better precision seen for the phosphate buffer. This shows that in the case of the amine capillary the use of phosphate buffer may lead to favorable coating-specific alterations of the separa- tion mechanism and to better precision, but results in longer migration times and slower analysis.
The resolution in the permanently coated amine and dy- namically coated amine and silica capillaries is better com- pared with that in the bare silica capillary (Table 1), and reaches a higher value for the dynamically coated amine cap- illary than for the dynamically coated silica capillary. The theoretical number of plates expresses peak efficiency, and the highest values were obtained for the two dynamically coated capillaries, and they are 50% higher than for the un- coated silica capillary. The narrower and well-resolved peaks may facilitate prospective extension/enrichment of the method with additional reaction components, giving a better separa- tion of the analytes. At the same time, the performance of the permanently coated amine capillary is worse in both cases than that of the bare silica capillary.
The average total peak height of Chla and Chlidea obtained for the uncoated silica capillary is greater than for the other capillaries, but the permanently and dynamically coated cap- illaries, in turn, generate significantly lower instrumental noise
(not shown). In principle, the signal-to-noise ratio is perhaps a more appropriate criterion for capillary evaluation as it is re- lated to the limits of detection and quantification, which are important in the assays of enzymes of low activity or in inhi- bition studies. The permanent coating by the amine layer sig- nificantly reduces the signal-to-noise ratio, by 50%, whereas the dynamic coating increases it by around 20% (Table 1). Therefore, for the detection and quantification of low amounts of reaction products, dynamically coated silica or amine cap- illaries seem the best choice.
As mentioned earlier, in capillary evaluation the strength of EOF in another useful parameter that determines migration times and the speed of analysis. Except for the amine capillary, the strength of EOF was very similar. The increase in EOF seen on dynamic coating of the silica capillary was weak. However, EOF was more than twice as strong in the amine capillary used with the borate buffer as in the bare silica cap- illary, similar to the results obtained by us with buffers devoid of a micellar phase [26]. This suggests that the amine capillary is generally a good choice for both the significant reduction of migration times and the improvement of their repeatability.
Additional criteria that may be useful in a general characteri- zation and evaluation of various capillaries are (1) the range of pH that can be applied without detriment to the coating (recom- mended by the manufacturer), (2) the simplicity of the rinsing/ conditioning procedure, including a recommended number of flushing solutions required to achieve suitable reproducibility of

Capillary coating as an important factor in optimization
1499
the inner surface, and (3) the cost of a particular capillary mod- ification (Table 1). The use of dynamically coated capillaries is restricted to buffers of relatively narrow pH range. The reagents for dynamic coating are offered as ready to use, without the possibility of preparing them de novo, and the modification of pH is very limited. Secondly, the dynamic coating applied to the amine capillary is simpler than that applied to the bare silica capillary because the step involving flushing with the polycation is unnecessary (the amine capillary is itself positively ionized). In terms of economy, this variant though is the most expensive because the cost of the amine capillary adds to the cost of the dynamic coating kit.
both reaction modes interchangeably. The introduction of an in-capillary incubation adversely affects the resolution be- tween the analytes; however, the dynamic coating providing better peak efficiency appears to be an effective means for counteracting this undesirable effect and for maintaining suf- ficient resolution for peak deconvolution.
The repeatability of migration times is generally similar in both reaction modes, whereas the coefficients of variation ob- tained for the peak areas are noticeably larger in EMMA than in the off-line mode (Table 1). This could be due to some unfavorable effects inherent to in-capillary incubation (e.g., an increased dispersion of the injection zones). An additional source of random errors could be the peak deconvolution. In the on-line mode the signals from Chla and Chlidea largely overlapped in all cases, except for the dynamic coating, where the peaks were better resolved. The resolution for the deconvoluted peaks is quantitatively very similar as in the same capillaries used in the off-line mode.
However, the analysis based on deconvolution results in a significantly reduced number of theoretical plates, even more than 20 times in comparison with the same capillaries used in the off-line reaction mode (Table 1). This stems most likely from the aforementioned stronger diffusional effects, causing peak broadening due to the incubation performed in-capillary. This also explains the lower signal-to-noise ratio.
Electrophoretically mediated microanalysis
In the EMMA approach the bare silica and permanently coat- ed amine capillaries were ineffective: the peaks of the analytes strongly overlapped, which hampers the analysis (not shown). The most probable reason is that the prolonged time spent by the analytes inside the capillary causes larger diffusional ef- fects. The analysis of Chlase activity in this mode was feasible only with the dynamically coated silica and amine capillaries, but because of a drop in resolution (Fig. 3), a peak deconvolution was required to estimate the RP values. The average value RP was then 0.28–0.29 for both the dynamical- ly coated silica capillary and the dynamically coated amine capillary. Surprisingly, assuming that the effective concentra- tions of substrate and enzyme were the same in both modes, this is more than 180% of the reference values obtained after 10 min in the off-line mode in the same capillaries. In the EMMA approach, however, it is difficult to precisely deter- mine the in-capillary total reaction time. Although the incuba- tion lasts 10 min, the substrate–enzyme contact time is prob- ably somewhat longer. The enzyme plug may remain partially mixed with the substrate plug during separation over some period, because of the similar migration velocities. According to the known amino acid sequence of Chlase [30, 31], one may expect the lack of net charge of Chlase and Chla at neutral/weakly basic pH and similarly the hydrophobic character of both molecules to cause the strong affinity for the micellar phase. Therefore, despite the mobility of the en- zyme being unknown (no signal was detected), it is most likely comparable to the that of the substrate. Thus, it seems reasonable to assume that the RP values obtained confirm a reaction time longer than the nominal 10 min. On the other hand, the total amount of enzyme injected into the capillary with respect to the substrate was larger than in the off-line mode, as follows from the length of the injection zones. Therefore, after diffusional mixing, the enzyme-to-substrate ratio could be increased in comparison with that in the off- line reaction. Hence, although activity of the enzyme can be analyzed by EMMAwith the zero potential amplification step, further optimization and calibration will be necessary to apply
Conclusions
In this work we have shown the applicability of both permanent and dynamic capillary coatings in optimization of the MEKC off-line and on-line assays of an experimentally demanding membrane enzyme. The comparison of a variety of criteria shows that the permanently coated amine capillary (eCAP) and the dynamically coated silica and amine capillaries (CEofix), used instead of the conventional uncoated silica capillary, give significant analytical improvements. The use of a permanently coated amine capillary, particularly in the case of phosphate buff- er, appreciably enhances the repeatability of the migration times and peak areas, and this makes CE competitive with other ana- lytical techniques. This type of coating may also favorably change the separation efficiency obtained with phosphate buffer, or speed up analysis with borate buffer. The dynamic coating, most importantly, facilitates a switch between the off-line and on- line assay modes. Despite the zero potential amplification step in the on-line mode, the resolution of analytes remains sufficient to assess reaction progress via peak deconvolution. In the off-line mode, the peak efficiency and signal-to-noise ratio are also en- hanced by dynamic coating. It is worth emphasizing that the permanently coated amine capillary may be used as a matrix for dynamic coating, and the outcomes seen in this case appear even better than for the dynamically coated bare silica capillary. This specific double coating ensures the increased repeatability

1500
P.M. Nowak et al.
8.
Lucy CA, MacDonald AM, Gulcev MD. Non-covalent capillary coatings for protein separations in capillary electrophoresis. J Chromatogr A. 2008;1184:81–105.
Lanz C, Kuhn M, Bortolotti F, Tagliaro F, Thormann W. Evaluation and optimization of capillary zone electrophoresis with different dy- namic capillary coatings for the determination of carbohydrate-deficient transferrin in human serum. J Chromatogr A. 2002;979:43–57.
Eugenio PFM, Carrilho E. Evaluation of capillaries with different inner coatings for DNA analysis using dilute polymer solutions by capillary electrophoresis. J Braz Chem Soc. 2009;10:1833–40.
Iwata YT, Mikuma T, Kuwayama K, Tsujikawa K, Miyaguchi H, Kanamon T, et al. Applicability of chemically modified capillaries in chiral capillary electrophoresis for methamphetamine profiling. Forensic Sci Int. 2013;226:235–39.
Zeisbergerová M, Řemínek R, Mádr A, Glatz Z, Hoogmartens J, Van Schepdael A. On-line drug metabolites generation and their subsequent target analysis by capillary zone electrophoresis with UV-absorption detection. Electrophoresis. 2010;31:3256–62.
Nowak PM, Woźniakiewicz M, Garnysz M, Kościelniak P. A com- parative study of various physicochemically modified capillaries used in CE technique for the three distinct analytical purposes. J Chromatogr B. 2016;1020:134–41.
Zhu Q, El-Mergawy RG, Heinemann SH, Schönherr R, Jáč P, Scriba GK. Stereospecific electrophoretically mediated microanal- ysis assay for methionine sulfoxide reductase enzymes. Anal Bioanal Chem. 2014;406:1723–9.
Křížek T, Doubnerová V, Ryšlavá H, Coufal P, Bosáková Z. Offline and online capillary electrophoresis enzyme assays of β-N- acetylhexosaminidase. Anal Bioanal Chem. 2013;405:2425–34. Nehmé H, Nehmé R, Lafite P, Duverger E, Routier S, Morin P. Electrophoretically mediated microanalysis for in-capillary electri- cal cell lysis and fast enzyme quantification by capillary electropho- resis. Anal Bioanal Chem. 2013;405:9159–67.
Camara MA, Tian M, Guo L, Yang L. Application of capillary enzyme micro-reactor in enzyme activity and inhibitors studies of glucose-6-phosphate dehydrogenase. J Chromatogr B. 2015;990: 174–80.
Fiedor L, Rosenbach-Belkin V, Scherz A. The stereospecific inter- action between chlorophylls and chlorophyllase. Possible implica- tion for chlorophyll biosynthesis and degradation. J Biol Chem. 1992;267:22043–7.
Banaś AK, Łabuz J, Sztatelman O, Gabryś H, Fiedor L. Expression of enzymes involved in chlorophyll catabolism in Arabidopsis is light controlled. Plant Physiol. 2011;157:1497–504.
Kermasha S, Gaffar R, Bisakowski B. Biocatalysis of silica gel- immobilized chlorophyllase in a ternary micellar system. Process Biochem. 2000;35:1103–9.
Fiedor L, Rosenbach-Belkin V, Sai M, Scherz A. Preparation of tetrapyrrole-amino acid covalent complexes. Plant Physiol Biochem. 1996;34:393–8.
Staroń J, Boroń B, Karcz D, Szczygieł M, Fiedor L. Recent prog- ress in chemical modifications of chlorophylls and bacteriochloro- phylls for the applications in photodynamic therapy. Curr Med Chem. 2015;22:3054–74.
Nowak P, Michalik M, Fiedor L, Woźniakiewicz M, Kościelniak P. Capillary electrophoresis as a tool for a cost-effective assessment of the activity of plant membrane enzyme chlorophyllase. Electrophoresis. 2013;34:3341–44.
Wang X, Li K, Adams E, Van Schepdael A. Recent advances in CE- mediated microanalysis for enzyme study. Electrophoresis. 2014;35:119–27.
Nowak P, Woźniakiewicz M, Kościelniak P. An overview of on-line systems using drug metabolizing enzymes integrated into capillary electrophoresis. Electrophoresis. 2013;34:2604–14.
Nowak PM, Woźniakiewicz M, Piwowarska M, Kościelniak P. Determination of acid dissociation constant of 20 coumarin
of migration times and requires one step less during the capillary conditioning. Its disadvantage lies in its high cost, as it requires the purchase of both an amine capillary and a dynamic coating kit. In addition, in principle the dynamic coating may be applied to capillaries of any dimensions, whereas the permanently coated capillaries are available in only one or two variants of internal diameter. These features make both permanently and dynamical- ly coated capillaries a potentially attractive choice for enzymatic assays using CE, separations in micellar media, and other appli- cations of the CE technique.
9.
10.
11.
Acknowledgements P.N. acknowledges financial support from the Ministry of Science and Higher Education of Poland (Iuventus Plus 2015-2017, grant no. IP2014 033273) and from Krakowskie Konsorcjum BMateria-Energia-Przyszłość^ within the KNOW subsidy.
The study was in part supported by the Foundation for Polish Science
(grant no. TEAM/2010-5/3 to L.F.) and was performed with equipment purchased thanks to the European Regional Development Fund within the framework of the Polish Innovation Economy Operational Program (contract no. POIG.0 2.01.00-12-0 23/08).
12.
13.
14.
Compliance with ethical standards
15.
Conflict of interest The authors declare that they have no competing interests.
16.
Open Access This article is distributed under the terms of the Creative Commons Attribution 4 .0 International License (http:// creativecommons.org/licenses/by/4.0/), which permits unrestricted use, distribution, and reproduction in any medium, provided you give appropriate credit to the original author(s) and the source, provide a link to the Creative Commons license, and indicate if changes were made.
17.
18.
References
19.
1.
Melansom JE, Baryla NE, Lucy CA. Dynamic capillary coatings for electroosmotic flow control in capillary electrophoresis. Trends Anal Chem. 2001;20:365–74.
Horvath J, Dolnik V. Polymer wall coatings for capillary electro- phoresis. Electrophoresis. 2001;22:644–55.
Dolnik V. Wall coating for capillary electrophoresis on microchips. Electrophoresis. 2004;25:3589–601.
Znaleziona J, Petr J, Knob R, Maier V, Ševčík J. Dynamic coating agents in CE. Chromatogr Suppl. 2008;67:S5–12.
Hardenborg E, Zuberovic A, Ullsten S, Söderberg L, Heldin E, Markides KE. Novel polyamine coating providing non-covalent deactivation and reversed electroosmotic flow of fused-silica capil- laries for capillary electrophoresis. J Chromatogr A. 2003;1003: 217–21.
Danel C, Melnyk P, Azaroual N, Larchanché PE, Goossens JF, Vaccher C. Evaluation of three neutral capillary coatings for the determination of analyte-cyclodextrin binding constants by affinity capillary electrophoresis. Application to N, N’-disubstituted piper- azine derivatives. J Chromatogr A. 2016;1455:163–71.
Pobozy E, Sentkowska A, Piskor A. Comparison of three modifi- cations of fused-silica capillaries and untreated capillaries for pro- tein profiling of maize extracts by capillary electrophoresis. J Sep Sci. 2014;37:2388–94.
20.
2.
21.
3.
4.
22.
5.
23.
6.
24.
25.
7.
26.

Capillary coating as an important factor in optimization
1501
Maciej Michalik is a PhD candi- date in the Department of Plant Physiology and Biochemistry, Faculty of Biochemistry, Biophysics and Biotechnology, the Jagiellonian University in Kraków. His research is focused on the mechanisms of solar ener- gy conversion in light-harvesting complexes of higher plants and purple photosynthetic bacteria.
derivatives by capillary electrophoresis using the amine capil- lary and two different methodologies. J Chromatogr A. 2016;1446:149–57.
Karcz D, Boroń B, Matwijczuk A, Furso J, Staroń J, Ratuszna A, et al. Lessons from chlorophylls: modifications of porphyrinoids towards optimized solar energy conversion. Molecules. 2014;19: 15938–54.
Szczygieł M, Urbańska K, Jurecka P, Stawoska I, Stochel G, Fiedor
L. Central metal determines pharmacokinetics of chlorophyll- derived xenobiotics. J Med Chem. 2008;51:4412–8.
Coulter B. Instructions for eCAPTM amine capillary. Brea: Beckman Coulter; 2011.
Tsuchiya T, Suzuki T, Yamada T, Shimada H, Masuda T, Ohta H, et al. Chlorophyllase as a serine hydrolase: identification of a puta- tive catalytic triad. Plant Cell Physiol. 2003;44:96–101.
Tsuchiya T, Ohta H, Okawa K, Iwamatsu A, Shimada H, Masuda T, et al. Cloning of chlorophyllase, the key enzyme in chlorophyll degradation: Finding of a lipase motif and the induction by methyl jasmonate. Proc Natl Acad Sci U S A. 1999;96:15362–7.
27.
28.
29.
30.
31.
Leszek Fiedor graduated in 1987 from the Department of Organic Chemistry, Faculty of Chemistry, the Jagiellonian University in Kraków. In the same year he was appointed to an assistant position in the Institute of Molecular Biology at the Jagiellonian University, where he continues to be employed as a professor. In 1989 he was awarded a Kennedy Family Scholarship, and as a PhD student on leave he joined the group of Avigdor Scherz at the Weizmann Institute of Science,
Rehovot, Israel. In 1994 he received his PhD degree in chemistry from the Feinberg Graduate School of the Weizmann Institute, under the su- pervision of Avigdor Scherz. In 1997 he received a postdoctoral fellow- ship from the AvH Foundation, and for 3 years joined the group of Hugo Scheer (Botanisches Institut, Ludwig–Maximilian University of Munich, Munich, Germany). Then he continued his postdoctoral studies with Yasushi Koyama (Kwansei Gakuin University, Sanda, Japan), sponsored by the Japan Society for the Promotion of Science. His main scientific interests lie in the (bio)chemistry of photosynthetic pigments, the primary photosynthetic processes, and the development of photodynamic therapy.
Paweł Mateusz Nowak is employed in the Department of Analytical Chemistry, Faculty of Chemistry, the Jagiellonian University in K raków. In September 2016 he defended his PhD thesis devoted to the devel- opment of new bioanalytical methods based on the capillary electrophoresis technique. His major scientific interest embraces various aspects of capillary elec- trophoresis (enhancing repeatabil- ity of qualitative and quantitative analysis, separations of structural-
ly similar molecules, analytical utilization of electrophoretic mobilities, determination of equilibrium constants), as well as supramolecular chem- istry, biochemistry, and thermodynamics. He is a principal investigator of two research grants and a co-author of 17 scientific articles published since 2013.
Michał Woźniakiewicz graduat- ed with an MSc degree (in 2003) and a PhD degree (with honors, in 2008) in analytical and forensic chemistry from the Jagiellonian University in Kraków. He is an assistant professor and heads the Laboratory for F orensi c Chemistry at the Jagiellonian University. His scientific efforts are focused on exploring various aspects of capillary electrophore- sis, and the application of modern analytical techniques for forensic purposes. He has actively partici-
pated in many research and educational projects. He is a member of the Polish Chemical Society and a participant of the Eurolecturer Label.
Paweł Kościelniak He received his PhD degree in 1981 from the Faculty of Chemistry, the Jagiellonian University in Kraków. He is a full professor (since 2000) and Head of the Department of Analytical Chemistry at the Jagiellonian University (since 1997). He is a member of the Committee of Analytical Chemistry of the Polish Academy of Sciences. He has published more than 200 sci- entific articles, reviews, and book chapters. His main scientific inter-
ests are flow techniques (including capillary electrophoresis) applied to forensic chemistry and environmental analysis.