Monatshefte für Chemie - Chemical Monthly (2021) 152:745–755 https://doi.org/10.1007/s00706-021-02786-8
Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous humor for forensic toxicology purposes
Anna Wójtowicz1 · Agata Mitura1 · Renata Wietecha‑Posłuszny1	· Rafał Kurczab2 · Marcin Zawadzki3
Received: 16 April 2020 / Accepted: 17 May 2021 / Published online: 22 June 2021
© The Author(s) 2021
Abstract
Vitreous humor (VH) is an alternative biological matrix with a great advantage of longer availability for analysis due to the lack of many enzymes. The use of VH in forensic toxicology may have an added benefit, however, this application requires rapid, simple, non-destructive, and relatively portable analytical analysis methods. These requirements may be met by Fourier transform infrared spectroscopy technique (FT-IR) equipped with attenuated total reflection accessory (ATR). FT-IR spectra of vitreous humor samples, deposited on glass slides, were collected and subsequent chemometric data analysis by means of Hierarchical Cluster Analysis and Principal Component Analysis was conducted. Differences between animal and human VH samples and human VH samples stored for diverse periods of time were detected. A kinetic study of changes in the VH composition up to 2 weeks showed the distinction of FT-IR spectra collected on the 1st and 14th day of storage. In addition, data obtained for the most recent human vitreous humor samples—collected 3 and 2 years before the study, presented suc- cessful discrimination of all time points studied. The method introduced was unable to detect mephedrone addition to VH in the concentration of 10 µg/cm3.
Graphic abstract
Keywords Vitreous humor · Human sample · Post-mortem analysis · Forensic toxicology · FT-IR spectroscopy
Introduction
Vitreous humor (VH) is a gelatinous matrix that fills the space between the lens and the retina. VH consists mainly of water (> 98%) and other components such as collagens (type II, V, VI, IX, and X), glycosaminoglycans (GAG), inorganic salts, and lipids [1–3]. In the VH composition were found also, soluble non-structural proteins such as serum compo- nents which are normally present in lower concentrations than in serum [4]. In addition, vitreous humor contains a low number of structural cells—hyalocytes [5]. The exact
Renata Wietecha-Posłuszny wietecha@chemia.uj.edu.pl; renata.wietecha-posluszny@uj.edu.pl
Laboratory for Forensic Chemistry, Department
of Analytical Chemistry, Faculty of Chemistry, Jagiellonian University, Gronostajowa 2, 30-387 Kraków, Poland
Faculty of Mathematical and Natural Sciences, Department of Chemistry, University of Applied Sciences in Tarnow, Mickiewicza 8, 33-100 Tarnów, Poland
Department of Forensic Medicine, Medical University in Wroclaw, 4 Jana Mikulicza-Radeckiego St.,
50-345 Wrocław, Poland

1
2
3
1 3
ORIGINAL PAPER

746
A. Wójtowicz et al.
composition and viscosity of VH samples depends on the anatomical region were the sample is taken, the state of the lenses and the presence of vitreous pathologies [2]. Further- more, it was reported that human vitreous humor undergoes aging changes throughout life that include collagen fibrils aggregation [6]. Studies also showed that mammalian vit- reous humor differs between species. Human eyes were reported to contain higher concentration of collagens than bovine vitreous [5] and to contain the hCA II as well as hCA IV isoenzymes [7]. Vitreous humor was successfully applied as an alternative matrix in post-mortem forensic toxicology, especially in cases when commonly used matrices, such as blood and urine, were not available due to advanced putre- faction, skeletonisation, exhumation or air accidents [8, 9]. The greatest advantage of VH over classical matrices is that it lacks many enzymes and is well protected against putrefac- tion and activity of microorganisms, so it can be analyzed for a longer period of time [8].
Numerous studies were performed on the drug deter- mination in the vitreous humor matrix. Quantification of cocaine [10, 11], amphetamines [10, 12], opiates [10, 13],
cannabinoids [10, 14], benzodiazepines [15, 16], antidepres-
sants [17, 18], gamma-hydroxybutyric acid (GHB) [19], syn-
thetic opioids [20, 21], synthetic cathinones [22], and their metabolites in vitreous humor was reported. Designer drugs from the group of synthetic cathinones such as mephedrone, which chemical structure is shown in Fig. 1, are popular recreational substances especially among youths, however, their abuse has been associated with toxicity and drug- related deaths have been reported [23]. There is still a lack of data available on human and animal toxicity, potential overdose and long-term effects or the pharmacokinetics and pharmacodynamics of synthetic cathinones [24]. Mephed- rone was reported to be extensively metabolized as a sub- strate of cytochrome P450 2D6, however, still around 15% of the absorbed dose was detected unchanged in urine. Four metabolites of mephedrone: nor-mephedrone, N-succinyl- nor-mephedrone, 1′-dihydromephedrone, and 4′-carbox- ymephedrone have been successfully determined in human plasma and urine and in rat brain homogenates. Mephedrone and nor-mephedrone were the main active compounds found in the brain, and therefore, the compounds with the greatest ability to cross the blood–brain barrier in vivo [25]. How- ever, there is still little information on mephedrone pharma- cokinetics in vitreous humor. The utility of VH matrix in the
analysis of mephedrone was reported by Adamowicz et al. [24], when in a case of fatal intoxication, the drug was found in vitreous humor at the concentration of 7.1 µg/cm3 and in blood at the concentration of 5.5 µg/cm3.
Analytical techniques most widely used for successful VH drug determination are separation techniques, includ- ing liquid and gas chromatography, coupled to mass spec- trometry detectors [26]. The use of these techniques makes analysis a time-consuming, labor-intensive and destructive process. Contemporary trends in drug analysis of vitreous humor were critically evaluated by Wójtowicz et al. [27] in a recent review. For the purposes of forensic toxicology, consideration should be given to the application of methods which do not require complicated sample preparation and prevent sample destruction [27].
Fourier transform infrared (FT-IR) spectroscopy is a vibrational spectroscopy technique that enables fast, non- destructive, and relatively inexpensive analysis. Its multi- ple applications for the analysis of biological samples have already been reported including screening and diagnosis of diseases such as colitis [28], brain tumor [29], cancer [30, 31], and even depression [32]. Forensically, relevant biologi- cal samples have also been analyzed by FT-IR spectroscopy for the identification of blood [33] and blood’s aging [34], and hair’s identification [35]. In addition, ATR-FT-IR spec- troscopy has recently been used to evaluate the effect of cause of death on the estimation of the post-mortem interval from seven rats organs including the brain, heart, lung, liver, spleen, kidney, and skeletal muscle [36]. Non-biological traces such as paints [37] cosmetics [38], fibers [39], gun- shot residues [40], and gasoline [41] have also been studied using FT-IR spectroscopy.
All the advantages of FT-IR spectroscopy make it a use- ful tool in the analysis of vitreous humor samples. Zhang et al. [42] have already proven that vitreous humor can be analyzed by FT-IR spectroscopy. Study on prediction of post-mortem interval in rabbit vitreous humor samples was performed by the group [42]. Absorption bands assigned to amides of peptide backbone, lipids, free fatty acids, free amino acids, polypeptides, other carboxylic acids, carbohy- drates, phosphoric acids, DNA, and RNA were observed in the 1900–900 cm−1 range of VH spectrum. Table 1 shows the assignment of FT-IR spectral bands recorded for rab- bit VH samples in the 1900–900 cm−1 range [42]. Zhang et al. found the 1313 and 925 cm−1 absorption bands to be highly correlated with post-mortem intervals. Further study enabled the identification of fatal hypothermia from rabbit VH samples based on changes in their FT-IR spectrum [43].
The aim of this study was to test the possible application of FT-IR spectroscopy in toxicological analysis of post-mor- tem vitreous humor samples. FT-IR spectra of post-mortem human and animal VH samples were compared and kinetic study was conducted to capture changes occurring in VH
Fig. 1 Chemical structure of mephedrone [23]
1 3

Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous…
747
Table 1 Assignment of FT-IR spectral bands from rabbit VH samples
Wavenumber/ Mode assignment
Compound assignment
cm−1

1663
1586
1454
1409

1313
1121
1083
1041
925
Amide I
N–H bending and C–N stretching C–H stretching from CH2 and CH3 C=O vibration of COO−
Amide III
C–O, C–OH, and P–O vibration
Proteins Proteins Lipids
Free fatty acids, free amino acids, polypeptides, and other carboxylic acids
Proteins
Carbohydrates, phosphoric acids, DNA, and RNA
1700 cm−1 obtained on 1st and 14th measuring day is pre- sented in Fig. 2. As can be seen, the spectral characteris- tic of human VH2 and VH3 samples was the most similar and bands assigned to proteins (~ 1313, 1586 cm−1), lipids (~ 1454 cm−1), and carboxylic acids (~ 1409 cm−1) are vis- ible. However, on the spectrum of the oldest human sam- ple (VH1), the presence of these characteristic bands is not clearly outlined, which impacts its distinction. The same bands are also present on the bovine VH spectrum, however, their relative intensity and position differs. That might be a result of different proteins composition of human and ani- mal vitreous humor [5]. In addition, after 14 days, spectral bands present on the bovine VH sample spectrum lose their intensity and the spectral characteristic of VH4 gets closer to VH1 that worsens these sample distinctions.
The distinction between VH samples studied may be clearly visible when chemometric methods are applied. Hierarchical cluster analysis (HCA) and principal compo- nent analysis (PCA) were used throughout the study. The analyses were carried in the full spectral range from 550 to 4000 cm−1. The comparison of results from the 1st and 14th measuring day is presented in Figs. 4 and 5 for HCA and PCA analyses, respectively. The number of PCs needed to describe the data was selected based on scree plots shown in Fig. 6. PC1 and PC2 accounted for 96% of the varia- tion for the data from the 1st measuring day and 90% for the 14th day. As was mentioned before in the analysis of spectra, the distinction worsens over time. However, even when results from all measuring days are compared there is a significant trend visible in the distinction of VH spectra. Results obtained after PCA analysis of VH samples from all measuring days is presented in Fig. 7.
Clear distinction of both younger human vitreous humor samples and the bovine sample puts into a question the application of animal VH as a surrogate matrix. Differences between these two matrices can be captured by a method as simple as FT-IR. Furthermore, the age of a VH sample is another issue that should be taken into account as significant
throughout 2 weeks storage. Two ways of sample deproteiza- tion were applied and compared on FT-IR results obtained. Moreover, FT-IR spectra of VH after addition of mephed- rone in low concentration (10 µg/cm3 as similar to the VH level reported in a fatal mephedrone intoxication [24]) were recorded to check if the method is able to detect drugs in this toxicologically relevant concentration. A two-week kinetics study was also performed on mephedrone containing sam- ples to track the possible impact of drugs metabolism on VH spectrum changes with time.
Results and discussion
Differentiation between human and animal VH samples
Throughout the entire study, visual comparison of FT-IR spectra obtained for human (VH1, VH2, VH3) and bovine (VH4) vitreous humor samples showed that they differ most significantly in the spectral range between 1250 and 1700 cm−1. A comparison of spectra recorded in the full range studied and the range 1250–1700 cm−1 are presented in Fig. 2. The spectra were obtained after averaging three replicates of spectra obtained for blank samples obtained after deproteinization with ACN stored at room temperature and three replicates of spectra obtained for samples where ACN stored in the freezer was used, as none statistical differ- ences between these two groups were observed and will be further discussed. A strong band appearing below 1250 cm−1 was assigned to a glass slide substrate, as can be seen on a blank spectrum of the glass slide presented in Fig. 3. The spectrum recorded confirms that the glass substrate provides a large spectral window to detect changes in the sample composition.
The discrimination of VH groups was the greatest on the first days of study and got worse over time. A com- parison of VH spectra in the range between 1250 and
1 3

748
A. Wójtowicz et al.
Comparison of VH spectra in the full spectroscopic range
measuring day for blank human (VH1, VH2, VH3) and bovine (VH4) samples stored in a fridge at 4 °C
Fig. 2
(550–4000 cm−1) obtained on A 1st and B 14th measuring day, and in the range between 1250 and 1700 cm−1 obtained on C 1st and D 14th
differences can be seen between samples collected over and below 5 years.
Time changes in the vitreous sample composition
measuring day, while highest intensities are characteristic for days 3–9. These intensity changes may indicate time changes in the structure of VH proteins. However, a thorough expla- nation of the non-linearity of the changes requires further intensive research. Some explanation can be found in the intricate structure of the amide I band. The deconvolution of this band done by Litvinov et al. [45] illustrates the con- tribution of individual secondary structure elements, such as β-sheets, α-helix, random coils, etc. All these elements might behave differently under the influence of changing environmental conditions.
HCA and PCA statistical analyses of the changes within samples were also conducted. PCA results provided better data discrimination so they are included in the study. Fig- ure 9 presents PCA results obtained for time changes in the spectral characteristic of all samples studied. The number of PCs needed to describe the data was selected based on scree
Throughout 2-week study, time changes in the FT-IR spectra of vitreous humor samples were visible. Visual comparison of the spectra shows intensity changes of the band around 1630 cm−1, which can be assigned to the amide I region. Amide I component usually occurs in the spectral range from 1600 to 1700 cm−1 and arises mainly from stretching vibrations of main-chain. Furthermore, Zandomeneghi et al.
[44] reported that the characteristic of this band relates to the β-sheet twist and the number of strands per sheet. Fig- ure 8 presents how the intensity of this band was changing for human VH2 sample. As can be seen, changes are non- linear and the lowest intensity is observed for 1st and 14th
1 3

Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous…
749
plots shown in Fig. 10. PC1 and PC2 for samples VH2, VH3, and VH4 accounted for 94–97% of the variation. However, for VH1, three PCs were needed to explain 90% of the varia- tion. For comparison purposes, in Fig. 9, the PCA results for the first two components are presented. As shown in Fig. 9, for human vitreous samples VH2 and VH3, appropriate measuring days discrimination is visible along PC1. The PC1 score increases linearly from 1st to 9th day with 3rd and 7th day mixed as presenting transitional characteristic. Furthermore, the last measuring day is clearly separated and presents the lowest PC1 score. However, for the human VH1 and bovine VH4 sample, the discrimination of sample age is not as successful and allows only the 14th measurement day distinction for the VH4 sample and no clear separation between any of the groups for VH1.
Fig. 3 FT-IR spectrum of a glass slide purchased from Equimed com- pany
Fig. 4 Comparison of HCA results obtained for the distinction of blank human (VH1, VH2, VH3) and bovine (VH4) vitreous humor samples stored at 4 °C, measured on A 1st and B 14th day
Fig. 5 Comparison of PCA plots obtained for the distinction of blank human (VH1, VH2, VH3) and bovine (VH4) vitreous humor samples stored at 4 °C, measured on A 1st and B 14th day
1 3

750
A. Wójtowicz et al.
Fig. 6 Scree plots obtained for PCA analysis of data collected for blank human (VH1, VH2, VH3) and bovine (VH4) vitreous humor samples stored at 4 °C, measured on A 1st and B 14th day
Fig. 7 PCA plot obtained for the distinction of human (VH1, VH2, VH3) and bovine (VH4) samples stored at 4 °C, through- out the 14-day study
Vitreous humor changes under different conditions
VH samples were deproteinized with acetonitrile solutions stored at different conditions: in a freezer (− 20 °C) and in ambient laboratory temperature (~ 20 °C) did not present dif- ferent FT-IR spectral characteristic. Results obtained for all VH samples studied were undistinguishable after their HCA and PCA analyses. As an example, PCA results obtained for VH2 sample are presented in Fig. 11. Then, it may be con- cluded that different acetonitrile deproteinization conditions do not affect vitreous humor FT-IR spectra and can be used interchangeably.
Measurement conducted after addition of mephedrone to VH samples did not result in successful drug’s detec- tion. There was no significant difference observed in the FT-IR spectra recorded for blank and mephedrone contain- ing samples. Furthermore, HCA and PCA methods were also unsuccessful in the discrimination between blank
Fig. 8 Intensity changes of the 1630 cm−1 band for the blank human VH2 sample, stored at 4 °C, measured on 1st, 3rd, 7th, 9th, and 14th days
1 3

Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous…
751
Fig. 9 PCA results obtained for the discrimination of time changes in the spectral characteristic of: A VH1, B VH2, C VH3 (human samples), D
VH4 (bovine sample), stored in 4 °C, measured on 1st, 3rd, 7th, 9th, and 14th days
and drug-containing samples. As an example, PCA results obtained for VH3 sample are presented in Fig. 12.
Opportunity to detect drugs in the vitreous humor matrix by simple and non-destructive FT-IR method could be a great advantage for forensic toxicology. However, detec- tion capabilities of FT-IR method are limited and further advances need to be studied to enable detection at such a low concentration level. To check if the detection capabil- ity is not diminished by VH matrix, detection of mephed- rone in a methanol solution was also examined. 2 mm3 of mephedrone solution in methanol was deposited on a glass slide, left for 30 min drying and measured by FT-IR. No spectrum was obtained for the concentration of 10 µg/cm3, however, the drug’s concentration of 1 mg/cm3 presented successful mephedrone identification as shown in Fig. 13. This concentration is much higher than toxicologically rel- evant concentrations, therefore, studies regarding addition of mephedrone in concentrations between 10 µg/cm3 and 1 mg/cm3 are planned. Capability to detect other psychoac- tive drugs will be also studied.
Conclusion
The study proved that the analysis of vitreous humor sam- ples can be performed using the fast and non-destructive FT-IR spectroscopy technique. Visual comparison of FT-IR spectra and further chemometric analyses enabled the discrimination of human and bovine vitreous humor. Differences between human VH samples stored for diverse times (for the long time) were also observed.
Time changes in vitreous humor samples were identi- fied on FT-IR data collected throughout a 2 weeks’ study. PCA analysis enabled the distinction of spectroscopic data. For most of the samples, clear distinction of data obtained for the 14th day was reported. However, changes during the earliest time points were successfully distinguished only for human vitreous humor samples VH2 and VH3. Further studies are required on a larger number of samples including fresh or stored for less than 2 years post-mortem VH human samples. Furthermore, changes during storage times longer than 14 days need to be studied.
FT-IR technique was not able to capture changes related to the mephedrone addition to VH in the concentration of 10 µg/cm3. PCA and HCA analyses were unsuccessful in the data discrimination between blank and drug-containing
1 3

752
A. Wójtowicz et al.
Scree plots obtained for PCA analysis of data collected for A VH1, B VH2, C VH3 (human samples), D VH4 (bovine sample), stored in
Fig. 10
4 °C, measured on 1st, 3rd, 7th, 9th, and 14th days
Fig. 11 PCA results obtained for the discrimination of human vitreous humor samples con- taining mephedrone in the con- centration of 10 µg/cm3, after deproteinization with acetoni- trile stored at room temperature
(VH2_mef) and in the freezer at
− 20 °C (VH2_mefz)
1 3

Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous…
753
Fig. 12 PCA results obtained for the discrimination of blank human VH samples (VH3_ blank) and mephedrone contain- ing samples (VH3_mef), stored at 4 °C, measured throughout the 14th-day study
Fig. 13 FT-IR spectrum of mephedrone standard measured on a glass slide after evaporation of A 10 µg/cm3, B 1 mg/cm3 solution in acetonitrile
samples. No time changes that may be associated to drug stability or kinetics were observed. Higher drugs concen- trations may be required to obtain their FT-IR detection.
one sample of bovine VH, as a surrogate matrix, was col- lected from calf eyes supplied by the meat manufacture (Laskopol, Poland). Human VH samples were stored in a freezer (− 20 °C) for different times: more than 5 years (VH1) (case Archival X), 3 years (VH2) and 2 years (VH3). Bovine VH sample (VH4) was collected 2 weeks before the analysis and also stored in the freezer.
From each VH sample, two groups were prepared: (1) blank samples containing 200 mm3 of each VH, and (2) samples containing 200 mm3 of each VH with mephedrone in a concentration of 10 μg/cm3. All samples were left in a fridge (4 °C) to reach equilibrium. After 24 h, samples were centrifuged (14000 rpm, 10 min) and two portions (20 mm3) of each sample’s supernatant were collected. 20 mm3 of acetonitrile stored in a room temperature—first
Experimental
Sample preparation
Three different human vitreous humor samples collected post-mortem were provided by courtesy of the Institute of Forensic Research and the Forensic Medicine Unit at the Department of Forensic Medicine of the Wroclaw Medical University (according to the Bioethical Com- mission Approval no 1072.6120.303.2018). In addition,
1 3

754
A. Wójtowicz et al.
group of portions, and stored in a freezer—second group of portions, was used for the samples deproteinization. All samples obtained were vortexed for 20 s and centrifuged (14000 rpm, 10 min). 20 mm3 of each sample’s superna- tant was subsequently collected, vortexed for 5 s and three drops (2 mm3) were deposited on microscope slides, dried for 30 min under fume hood and subjected to FT-IR analysis. The whole procedure was then repeated after 3, 7, 9, and 14 days of sample storage (4 °C).

FT‑IR spectroscopy measurements
need to obtain permission directly from the copyright holder. To view a copy of this licence, visit http://creativecommons.org/licenses/by/4.0/.
References
1.
Murthy KR, Goel R, Subbannayya Y, Jacob HKC, Murthy PR, Srinivas Manda S, Patil AH, Sharma R, Sahasrabuddhe NA, Parashar A, Nair BG, Krishna V, Prasad TSK, Gowda H, Pandey A (2014) Clin Proteomics 11:29
Rocha AS, Santos FM, Monteiro JP, Castro-de-Sousa JP, Quei- roz JA, Tomaz CD, Passarinha LA (2014) Electrophoresis 35:2495
Bishop PN (2000) Prog Retin Eye Res 19:323 Chen CH, Chen SC (1981) Exp Eye Res 32:381 Bishop P (1996) Eye (Lond) 10:664
Le Goff MM, Bishop PN (2008) Eye 22:1214
Yeşildağ İ, Ulus R, Başar E, Aslan M, Kaya M, Bülbül M (2014) Monatsh Chem 145:1027
Harper DR (1989) Forensic Sci Int 43:37 Skopp G (2004) Forensic Sci Int 142:80
Peres MD, Pelicao FS, Caleffi B, De Martinis BS (2014) J Anal Toxicol 38:39
Alvear E, von Baer D, Mardones C, Hitschfeld A (2014) J Forensic Leg Med 23:37
Narapanyakul R, Tungtananuwat W, Yongpanich P, Sinchai T, Thong-ra-ar N, Lawanprasert S (2014) Thai J Pharm Sci 38:5 Bogusz MJ, Maier RD, Erkens M, Driessen S (1997) J Chroma- togr B 703:115
Saenz SR, Lewis RJ, Angier MK, Wagner JR (2017) J Anal Toxicol 41:508
Cabarcos P, Tabarnero MJ, Alvarez I, Lopez P, Bermejo AM (2010) J Anal Toxicol 34:549
Fernandez P, Lago M, Alvarez I, Carro AM, Lorenzo RA (2013) Anal Methods 5:4999
Øiestad ÅML, Karinen R, Rogde S, Nilsen S, Eldor KBB, Bro- chmann GW, Arnestad M, Øiestad EL, Peres MD, Kristoffersen L, Vindenes V (2018) J Anal Toxicol 42:446
Evenson MA, Engstrand DA (1989) J Anal Toxicol 13:322 Kintz P, Villain M, Cirimele V, Ludes B (2004) Forensic Sci Int 143:177
Fels H, Lottner-Nau S, Sax T, Roider G, Graw M, Auwarter V, Musshoff F (2019) Forensic Sci Int 301:20
Concheiro M, Chesser R, Pardi J, Cooper G (2018) Front Phar- macol 9:1210
Glicksberg L, Winecker R, Miller C, Kerrigan S (2018) Forensic Toxicol 36:291
https://www.deadiversion.usdoj.gov/drug_chem_info/mephe drone.pdf. Accessed 17 Dec 2019
Adamowicz P, Tokarczyk B, Stanaszek R, Slopianka M (2013) J Anal Toxicol 37:37
Olesti E, Farré M, Papaseit E, Krotonoulas A, Pujadas M, de la Torre R, Pozo OJ (2017) AAPS J 19:1767
Bevalot F, Cartiser N, Bottinelli C, Fanton L, Guitton J (2016) Forensic Toxicol 34:12
Wójtowicz A, Wietecha-Posłuszny R, Snamina M (2020) Trends Anal Chem 129:115935
Titus J, Viennois E, Merlin D, Unil Perera AG (2017) J Biopho- tonics 10:465
Hands JR, Dorling KM, Abel P, Ashton KM, Brodbelt A, Davis C, Dawson T, Jenkinson MD, Lea RW, Walker C, Baker MJ (2014) J Biophotonics 7:189
Thumanu K, Sangrajrang S, Khuhaprema T, Kalalak A, Tantha- nuch W, Pongpiachan S, Heraud P (2014) J Biophotonics 7:222
2.
3.
4.
5.
6.
7.
8.
9.
10.
11.
12.
13.
14.
15.
16.
17.
ATR FT-IR measurements were performed using Thermo Nicolet iS50 FT-IR (Thermo Fisher Scientific Co, Waltham, MA, USA). Glass slides with samples were placed at appro- priate position on a ZnSe crystal and carefully pressed with an ATR pressure tower. The spectra were collected co-add- ing 32 scans in the range between 550 and 4000 cm−1 with a resolution of 4 cm−1. After each measurement, the surface of the crystal was cleaned with 50% v/v isopropanol–water solution. A background check was performed before each sample’s measurement.

Statistical data analysis
Spectra processing was performed using Thermo Electron’s OMNIC 9 software and it included background correction and normalization by maximum. In addition, the spectra were smoothed using the Savitzky-Golay filter (15 pts) in the R environment (ChemoSpec package). Hierarchical clus- ter analysis (HCA) and principal component analysis (PCA) was used to provide statistical analysis of the spectra. The spectra were not scaled. Classical PCA option with no scal- ing was used. For HCA, complete clustering method and Euclidean distance method were applied. Statistical analyses were performed using the R environment equipped with the ChemoSpec package, which is a free software that enables relatively simple and short data analysis.
Acknowledgements The author gratefully acknowledge the Ministry of Science and Higher Education, National Science Centre, Poland for financial support (R. Wietecha-Posłuszny, Sonata Bis 6, no. 2016/22/E/ ST4/00054 and Opus-19 no. 2020/37/B/ST4/01364) R. Wietecha- Posłuszny ORCID: 0000-0001-8908-6725.

Open Access This article is licensed under a Creative Commons Attri- bution 4.0 International License, which permits use, sharing, adapta- tion, distribution and reproduction in any medium or format, as long as you give appropriate credit to the original author(s) and the source, provide a link to the Creative Commons licence, and indicate if changes were made. The images or other third party material in this article are included in the article’s Creative Commons licence, unless indicated otherwise in a credit line to the material. If material is not included in the article’s Creative Commons licence and your intended use is not permitted by statutory regulation or exceeds the permitted use, you will
18.
19.
20.
21.
22.
23.
24.
25.
26.
27.
28.
29.
30.
1 3

Spectroscopy as a useful tool for the identification of changes with time in post‑mortem vitreous…
755
31.
32.
Blat A, Wiercigroch E, Smeda M, Wislocka A, Chlopicki S, Malek K (2019) J Biophotonics 12:e201900067
Depciuch J, Sowa-Kućma M, Misztak P, Szewczyk B, Nowak G, Pankiewicz P, Parlińska-Wojtan M (2016) Pharmacol Rep 68:521
Mistek E, Lednev IK (2015) Anal Bioanal Chem 407:7435 Lin H, Zhang Y, Wang Q, Li B, Huang P, Wang Z (2017) Sci Rep 7:13254
Manheim J, Doty KC, McLaughlin G, Lednev IK (2016) Appl Spectrosc 70:1109
Zhang K, Wang Q, Liu R, Wei X, Li Z, Fan S, Wang Z (2020) Int J Legal Med 134:1
Lambert D, Muehlethaler C, Esseiva P, Massonnet G (2016) Forensic Sci Int 263:39
Gładysz M, Król M, Kościelniak P (2017) Forensic Sci Int 280:130
Espinoza E, Przybyla J, Cox R (2006) Appl Spectrosc 60:386
40.
41.
42.
43.
44.
45.
Bueno J, Sikirzhytski V, Lednev IK (2013) Anal Chem 85:7287 Noor P, Khanmohammadi M, Roozbehani B, Bagheri Gar- marudi A (2018) Monatsh Chem 149:1341
Zhang J, Wei X, Huang J, Lin H, Deng K, Li Z, Shao Y, Zou D, Chen Y, Huang P, Wang Z (2018) Anal Bioanal Chem 410:7611 Zhang Z, Lin H, Li Z, Luo Y, Wang L, Chen L, Huang P (2019) Aust J Forensic Sci 53:27
Zandomeneghi G, Krebs MRH, McCammon MG, Fändrich M (2004) Protein Sci 13:3314
Litvinov RI, Faizullin DA, Zuev YF, Weisel JW (2012) Biophys J 103:1020
33.
34.
35.
36.
37.
38.
39.
Publisher’s Note Springer Nature remains neutral with regard to jurisdictional claims in published maps and institutional affiliations.
1 3