Eur. Phys. J. C (2016) 76:652
DOI 10.1140/epjc/s10052-016-4454-5
Regular Article - Experimental Physics
Limit on the radiative neutrinoless double electron capture of 36Ar
from
Phase I
GERDA
1,a
GERDA Collaboration
1
4
13
11
4,20
19
7
M. Agostini
, M. Allardt
, A. M. Bakalyarov
, M. Balata
, I. Barabanov
, N. Barros
, L. Baudis
, C. Bauer
,
8,9
11,12
13
19
16,17
11
15
E. Bellotti
, S. Belogurov
, S. T. Belyaev
, G. Benato
, A. Bettini
, L. Bezrukov
, T. Bode
3,5
5
16,17
14
9
12
D. Borowicz
, V. Brudanin
, R. Brugnera
, A. Caldwell
, C. Cattadori
, A. Chernogorov
, V. D’Andrea
12
4
11
5
18
11
E. V. Demidova
, A. di Vacri
, A. Domula
, E. Doroshkevich
, V. Egorov
, R. Falkenstein
, O. Fedorova
18
3
7,11
16,17
14
18
11
K. Freund
, N. Frodyma
, A. Gangapshev
, A. Garfagnini
, C. Gooch
, P. Grabmayr
, V. Gurentsov
5,13,15
7
18
7
17
7
7
6
K. Gusev
, J. Hakenmüller
, A. Hegai
, M. Heisel
, S. Hemmer
, G. Heusser
, W. Hofmann
, M. Hult
11,21
15
18
11
7
12
L. V. Inzhechik
, J. Janicskó Csáthy
, J. Jochum
, M. Junker
, V. Kazalov
, T. Kihm
, I. V. Kirpichnikov
7
19
5,7,22
14
7
5
11,12
A. Kirsch
, A. Kish
, A. Klimenko
, R. Kneißl
, K. T. Knöpfle
, O. Kochetov
, V. N. Kornoukhov
11
15
13
4
14
7
V. V. Kuzminov
, M. Laubenstein
, A. Lazzaro
, V. I. Lebedev
, B. Lehnert
, H. Y. Liao
, M. Lindner
17
5,7
11
6
1,23
14
7
I. Lippi
, A. Lubashevskiy
, B. Lubsandorzhiev
, G. Lutter
, C. Macolino
, B. Majorovits
, W. Maneschg
16,17
19
19
11
5
E. Medinaceli
, M. Miloradovic
, R. Mingazheva
, M. Misiaszek
, P. Moseev
, I. Nemchenok
14
2
10
5
16,17
D. Palioselitis
, K. Panas
, L. Pandola
, K. Pelczar
, A. Pullia
, S. Riboldi
, N. Rumyantseva
, C. Sada
9
7
18
4
15
7
18
14
F. Salamida
, M. Salathe
, C. Schmitt
, B. Schneider
, S. Schönert
, J. Schreiner
, A.-K. Schütz
, O. Schulz
7
11
5,13
7
7
17
7
B. Schwingenheuer
, O. Selivanenko
, M. Shirchenko
, H. Simgen
, A. Smolnikov
, L. Stanco
, M. Stepaniuk
14
12
11
16,17
7
19
7
L. Vanhoefer
, A. A. Vasenko
, A. Veresnikova
, K. von Sturm
, V. Wagner
, M. Walter
, A. Wegmann
4
15
4
11
5
13
T. Wester
, C. Wiesinger
, H. Wilsenach
, M. Wojcik
, E. Yanovich
, I. Zhitnikov
, S. V. Zhukov
5
4
D. Zinatulina
, K. Zuber
, G. Zuzel
INFN Laboratori Nazionali del Gran Sasso and Gran Sasso Science Institute, Assergi, Italy
INFN Laboratori Nazionali del Sud, Catania, Italy
Institute of Physics, Jagiellonian University, Kra ków, Poland
4
Institut für Kern- und Teilchenphysik, Technische Universität Dresden, Dresden, Germany
5
Joint Institute for Nuclear Research, Dubna, Russia
6
European Commission, JRC-Geel, Geel, Belgium
7
Max-Planck-Institut für Kernphysik, Heidelberg, Germany
8
Dipartimento di Fisica, Università Milano Bicocca, Milan, Italy
9
INFN Milano Bicocca, Milan, Italy
Dipartimento di Fisica, Università degli Studi di Milano e INFN Milano, Milan, Italy
11
Institute for Nuclear Research of the Russian Academy of Sciences, Moscow, Russia
12
Institute for Theoretical and Experimental Physics NRC “Kurchatov Institute”, Moscow, Russia
13
National Research Centre “Kurchatov Institute”, Moscow, Russia
14
Max-Planck-Institut für Physik, Munich, Germany
15
Physik Department and Excellence Cluster Universe, Technische Universität München, Munich, Germany
16
Dipartimento di Fisica e Astronomia dell’Università di Padova, Padua, Italy
17
INFN Padova, Padua, Italy
18
Physikalisches Institut, Eberhard Karls Universität Tübingen, Tübingen, Germany
19
Physik Institut der Universität Zürich, Zurich, Switzerland
20
Present address:Department of Physics and Astronomy, University of Pennsylvania, Philadelphia, PA, USA
21
Also at: Moscow Institute of Physics and Technology, Moscow, Russia
22
Also at: International University for Nature, Society and Man “Dubna”, Dubna, Russia
23
Present address: LAL, CNRS/IN2P3, Université Paris-Saclay, Orsay, France
Received: 19 May 2016 / Accepted: 12 October 2016 / Published online: 28 November 2016
© The Author(s) 2016. This article is published with open access at Springerlink.com
Abstract
Neutrinoless double electron capture is a process
lation and the Majorana nature of neutrinos.
A search for
36
that, if detected, would give evidence of lepton number vio-
neutrinoless double electron capture of
Ar has been per-
formed with germanium detectors installed in liquid argon
a
e-mail: gerda-eb@mpi-hd.mpg.de
using data from Phase I of the GERmanium Detector Array
123

---
652
Page 2 of 6
Eur. Phys. J. C (2016) 76 :652
(
) experiment at the Gran Sasso Laboratory of INFN,
Gerda
p
n
+
W
Italy. No signal was observed and an experimental lower limit
−
on the half-life of the radiative neutrinoless double electron
e
bound
capture of
Ar was established: T
> 3.6 × 10
years at
1/2
(A,Z+2)
(A,Z)
−
90% CI.
e
bound
+
W
p
n
1 Introduction
Fig.
Diagram for zero neutrino double electron capture with the
The observation of neutrinoless double beta decay (0νββ):
emission of one photon
−
(A, Z − 2) → (A, Z) + 2e
(1)
130
130
geochemical measurement of
Ba decay into
Xe [8,9]
and the second is a large-volume copper proportional counter
can provide unambiguous information on lepton number
78
searching for
double K-shell
capture in
Kr
[10].
Sev-
violation and indicate the Majorana nature of
neutrinos,
eral
experiments including the latter established limits on
regardless the physics mechanism responsible for the decay.
both neutrino accompanied and neutrinoless double elec-
Currently many experiments are searching for this decay
tron capture of different
isotopes (see Refs.
[10–17]).
For
considering different
isotopes.
Among these there is the
some isotopes the possibility of
a resonant
enhancement
(GERmanium Detector Array) experiment [1] imple-
of the 0νECEC decay has been predicted in case of mass
76
menting bare germanium detectors enriched in
Ge.
This
degeneracy between the initial
state and an excited final
experiment
searches
for
neutrinoless
double beta decay
state [4, 18].
76
of
Ge.
Recently the best
limit
on 0νββ decay half-
Ar is expected [19] to undergo double electron cap-
76
life of
Ge has been published by the
collabora-
ture to the ground state of
S.
The available energy [20]
tion [2].
of the decay is 432.58 ± 0.19 keV and, therefore, both the
Another lepton number violating process that can provide
radiative and the internal conversion modes are energetically
the same information as neutrinoless double beta decay is
allowed. A resonance enhancement of the decay is not pos-
the double capture of two bound atomic electrons without
sible for this isotope. Calculations based on the quasiparticle
the emission of neutrinos (0νECEC):
random-phase approximation (QRPA) predict a half-life for
38
Ar in the order of 10
years for an effective Majorana
−
2e
+ (A, Z + 2) → (A, Z) + Q,
(2)
neutrino mass of 1 eV [21]. So far, an experimental limit on
the radiative mode obtained during detector characterizations
where the quantity Q corresponds to the energy difference
in the
Detector Laboratory has been published (T
between the ground state atoms ( A, Z + 2) and ( A, Z ) [3,4].
18
> 1.9×10
years at 68% CL) [22].
While in the corresponding process where two neutrinos
The radiative mode of 0νECEC in
Ar with the emission
are emitted (2νECEC) the available energy of the decay is
of one photon provides a clear signature through the discrete
carried away by neutrinos plus X-rays or Auger electrons, in
value of its energy and allows the detector to be separate
the neutrinoless double electron capture the decay must be
from the source of the decay. Two cascades of characteristic
accompanied by the emission of at least another particle to
X-rays with energies of E
= 2.47 keV and E
= 0.23 keV
ensure energy and momentum conservation. Different modes
K
L
are emitted [23],
corresponding to the capture of the elec-
can be considered in which 0νECEC decay is associated with
trons from the K - and the L-shell, respectively. The uncer-
+
−
the emission of different
particles like e
e
pairs,
one or
tainties for
the energies of
the X-rays amount
to 0.4 eV.
two photons, or one internal conversion electron. A detailed
The corresponding energy for the monochromatic photon is
discussion about double electron capture processes can be
E
= Q − E
− E
= 429.88 ± 0.19 keV.
found in Refs. [5–7].
γ
k
L
This paper reports the search for the 429.88 keV γ line
+
+
For
0
→ 0
transitions the capture of
two K -shell
from 0νECEC decay of
Ar with
Phase I germanium
electrons with the emission of only one photon is forbidden
detectors and the determination of a limit on its half-life.
because of angular momentum conservation. Therefore, the
most likely process is the capture from the K - and the L-shell.
The diagram of this mode is depicted in Fig. 1. The unsta-
ble daughter atom relaxes by emission of X-rays or Auger
2 The GERDA experiment
electrons.
At present, only two experiments found an indication of
The
experiment
[1]
is
located at
the Laboratori
two neutrino double electron capture. The first is based on a
Nazionali
del
Gran Sasso (
)
of
the INFN.
It
was
Lngs
x

---
Page 3 of 6
GERDA 16-03
GERDA 16-03
enr
4
Coax
39
Ar
Coax, 17.9 kg yr
BEGe
BEGe, 2.3 kg yr
nat
Coax
Coax, 5.9 kg yr
ν
β
β
-1
500
1000
1500
2000
2500
360
380
400
420
440
460
480
energy [keV]
energy [keV]
Energy spectra from the three data sets collected during
region between 360 and 500 keV. The shaded area corresponds to the
Phase I. The left panel shows the energy spectra weighted with the prod-
ROI defined between 410 and 450 keV
uct of life time and detector mass. The right panel displays the energy
designed in two phases.
During Phase I
reprocessed p-
fore, data collected from these detectors were discarded. The
type semi-coaxial
High-Purity Germanium (HPGe) detec-
total collected data used for the search for 0νECEC of
76
tors enriched in
Ge (
Ge) to up to 86% [24] from the
correspond to a life time of about 460 d. The data were divided
[25] and
[26] experiments have been employed
into three different data sets, one containing data from natural
HdM
Igex
in the experiment as well as natural germanium (
Ge) HPGe
semi-coaxial detectors (labeled as
Coax), one containing
detectors from the
Test Facility and newly produced
data from enriched semi-coaxial detectors (
Coax) and the
Genius
enriched Broad Energy Germanium (
) detectors [27].
last containing data collected by
detectors (
BEGe).
The bare detectors are immersed into a cryostat containing
The energy spectra from the three data sets are shown in
64 m
(89.2 t) of LAr, which acts both as the coolant medium
2.
The left
panel
shows the energy spectra weighted
and a shield against external radiation.
The isotopic abun-
with the product of life time and detector mass.
The right
dance of
Ar in natural
argon is 0.3336(4)% [28],
which
panel displays the energy region between 360 and 500 keV.
sums up to about
298 kg of
Ar.
An additional
shield of
Indeed, in the region around 429.88 keV, enriched and nat-
ultra pure water (10 m in diameter) surrounds the cryostat
ural detectors are characterized by different contributions to
76
containing the argon. The water tank is instrumented with 66
the spectrum, in particular due to 2νββ decays from
Ge in
PMTs as a muon Cherenkov veto [29]. Each detector string
the enriched ones. In addition,
detectors are consid-
is surrounded by a 60 µm thick Cu foil (“mini-shroud”), to
ered as a separate data set because of the improved energy
42
limit drifting of
K ions to detector surfaces. In addition, to
resolution with respect to semi-coaxial detectors. The main
39
mitigate radon contamination, a 30 µm Cu cylinder (“radon
contribution to the spectrum around 430 keV is due to
shroud”) surrounds the array of strings.
β decays. The spectral shape is different for
detectors
due to the different detector geometry and outer dead layer
thickness.
Offline reconstruction of
data was
performed
3 Data taking and data selection
within the
software framework [30]. Detector sig-
Gelatio
nals
are read out
by charge sensitive preamplifiers
and
The data taking of
Phase I started in November 2011
then digitized by 100 MHz flash analog to digital
con-
and ended in May 2013. Until March 2012, the setup included
verters
(FADCs).
Preceded by a ∼80 µs
long baseline,
8
Ge semi-coaxial and 3
Ge semi-coaxial detectors. Two
the charge signal
rises
up with a rise time of
∼1 µs
months later, two of the
Ge semi-coaxial detectors were
and is followed by a ∼80 µs long exponential
tail.
replaced by five new
Ge
detectors. After this inser-
energy of
each event
estimated by applying an opti-
tion a higher background was observed. Therefore a period
31] to the digitized signal.
mized Zero Area Cusp filter [
of 49 days was excluded from this analysis. The data taking
Cuts based on the baseline slope,
the number of triggers
was separated into runs, with a duration of about one month
and the position of the rising edge were applied to remove
each.
Detectors which showed instabilities during specific
pile-up events
and accidental
coincidences.
All
detected
runs where removed from the analysis. Two detectors showed
events within 10 µs from the muon veto trigger were also
instabilities from the very beginning of data taking. There-
counts/(20 keV kg yr)
counts / keV

---
Page 4 of 6
rejected.
Finally,
an anti-coincidence cut
was applied to
detector.
It
has been determined by Monte Carlo simula-
remove events with an energy deposition in more than one
tions employing the
software framework [34] based
MaGe
9
detector.
on
[35,36]. 10
γ rays with an energy of 429.88 keV
Geant4
The energy calibration was performed during dedicated
were generated in a cylindrical LAr volume with a radius of
calibration runs (every one or two weeks) in which three
67 cm and a height of 130 cm,
centered around the detec-
228
Th sources were lowered to the vicinity of
the detec-
tor array.
The considered volume corresponds to 1827 l of
tors. In addition, the stability of the system was continuously
LAr equivalent to 7.7 kg of
Ar. A measurement with mass
monitored by injecting test charge pulses into the input of
spectrometer showed no difference in the
Ar abundance
the preamplifiers. The energy dependence of the resolution
between atmospheric and liquid phase within the instrumen-
was obtained for each data set
from the summed calibra-
tal sensitivity of 0.5%. The LAr density variation due to tem-
tion spectra and then the value at the signal peak position
perature differences in the cryostat is less than 1.5% [37].
42
of 429.88 keV was derived. The
K background γ line at
Within statistical precision both systematic effects are neg-
1524.7 keV in the physics data was used to determine a cor-
ligible on the limit estimation. The contribution from γ rays
rection factor in case its energy resolution differed more than
originating from outside this volume to the number of full
one standard deviation from the one obtained during the cal-
energy depositions is less than the statistical uncertainty of
ibrations. To combine the different values into a single value
0.2%.
The full efficiency for each data set was derived by
for the data set, the average of the energy resolution of each
summing up the individual
detector efficiencies weighted
detector was calculated weighted with the signal detection
for the life time of each run.
Their systematic uncertainty
efficiency of the detector. The uncertainty on the resolution
is dominated by two main contributions:
the uncertainty
is primarily coming from the fit of the resolution curve and
on the Monte Carlo processes,
whose effect
on the effi-
is largest
for the detectors that
require the correction fac-
ciency was estimated to be 4%, and the uncertainty on the
tor [32]. The expected Full Width at Half Maximum (FWHM)
dead layer of the germanium detectors. The latter was esti-
value at
429.88 keV is 4.08 ± 0.20 keV for the
Coax,
mated by independently varying for each detector the dead
3.72 ± 0.05 keV for the
Coax and 2.01 ± 0.10 keV for the
layer
values within ±1 standard deviation.
This changes
BEGe data set. The systematic uncertainty on the FWHM,
the efficiency of 8–10 % for a single semi-coaxial
detec-
estimated by comparing the resolution of the summed cali-
tor
and 3.5–6% for
a single
detector.
The uncer-
bration spectra to the average resolution of the single cali-
tainty for the three data sets,
calculated assuming full cor-
brations, is ± 0.05 keV.
relation among the uncertainties of individual detectors,
Coax and
Coax data sets and 4.5 % for
9.2 % for the
the
BEGe data set.
The total
systematic uncertainty on
the efficiency is obtained by summing in quadrature the two
4 Determination of the half-life of 0νECEC of
contributions and amounts to 10% for the
Coax data set,
10% for the
Coax data set and 6% for the
BEGe data
A limit on the half-life T
of 0νECEC decay of
Ar was
set.
determined considering the data of
Phase I discussed
Statistical uncertainties are negligible with respect to sys-
in Sect.
3.
The region of interest (ROI) around the signal,
tematic ones. The efficiencies are quoted in Table
1.
the 429.88 keV γ line from the 0νECEC decay, is defined
between 410 and 450 keV. The energy spectrum of coinci-
dence events shows the presence of the three γ lines from
Analysis
108m
Ag [33].
Ag has a half-life of 418 years and under-
+
108
goes electron capture into the 6
excited state of
Pd with
The expected signal counts S
from neutrinoless double elec-
a probability of 91.3%.
The de-excitation of the daughter
d
tron capture from dataset d are related to the half-life T
nucleus leads to three equally probable γ rays in the final
according to the following relation
state, with energies of 433.9, 614.3 and 722.9 keV. The pres-
ence of
Ag was also observed in the screening measure-
ments. For these reasons the 433.9 keV γ line from
Ag
ε
N
· M
·
f
· t
A
L Ar
S
= ln 2 ·
·
(3)
in the ROI was taken into account in the analysis. The deter-
T
m
mination of the detection efficiency and the analysis result
are discussed in the following.
where ε
is the signal detection efficiency for data set d, N
A
Detection efficiency
is the Avogadro constant,
t
is the total
life time,
M
L Ar
the mass of the LAr volume that was used for the efficiency
The detection efficiency ε is defined as the number of γ rays
determination,
f
the abundance of
Ar and m
the molar
which entirely deposit their energy inside a single
mass of argon.

---
Page 5 of 6
Table 1 Fit parameters values: FWHM is the Full Width at Half Maximum, ε the signal detection efficiency, B
the expected number of counts
from the 433.9 keV
Ag γ line and B
the expected number of counts from the linear background component at the signal position
Data set
FWHM
ε
B
B
(keV)
(counts)
(counts/keV)
+14.0
−4
Coax
4.08 ± 0.20
(2.92 ± 0.29)×10
41.9
18.3 ± 0.8
−12.9
+18.6
−4
Coax
3.72 ± 0.05
(7.06 ± 0.71)×10
24.6
116.9 ± 1.8
−23.0
−4
+5.3
2.01 ± 0.10
(1.11 ± 0.07)×10
0.0
9.7 ± 0.6
68% probability band
combined data set
best fit
posterior probability interval:
68%
95%
99.7%
95% probability band
90% cred. limit
GERDA 16-05
GERDA 16-03
25
200
20
15
90% quantile
150
(limit)
5
100
0.1
0.2
0.3
0.4
0.5
0.6
0.7
410
415
420
425
430
435
440
445
450
energy [keV]
-1
-21
T
 [10
 yr
]
 -1
90% CI Bayesian fit result for the inverse of the half-life on
Ag. The arrows indicate the respective peak positions. The right
−1
neutrinoless double electron capture of
Ar.
The left panel
displays
panel shows the marginalized posterior probability distribution for T
the experimental data from
Phase I together with the best fit
where the arrow indicates the 90% quantile from which the limit
result (in blue) and the 90% credibility interval limit (in red). The peak
derived
centered at 433.9 keV represents the best fit result for the γ line from
The unbinned likelihood function is defined as
where σ
is the energy resolution (FWHM = 2.35 · σ
), δ
a possible systematic shift
in energy scale.
B
and B
0,d
1,d
N
describe the linear background and B
the count expecta-
λ
Ag,d
d ,i
N
−µ
L =
µ
e
(4)
tion of the
Ag peak. A Bayesian approach was used to
µ
−1
i
extract the posterior probability density on T
. In total, the
fit has 17 floating parameters, six describing the signal peak
where the product runs over all data sets d and events i . N
(ε
, σ
), six for the linear background (B
, B
), three for
0,d
1,d
the total number of events in the data set. λ
= λ
(E
|p
)
−1
d ,i
d ,i
Ag peak (B
). T
and δ
are in common to all
Ag,d
is the extended probability density of finding an event with
data sets. The parameters ε
, σ
and δ
are constrained by
energy E
in dataset d with a given set of parameters p
.
d ,i
Gaussian shaped prior distributions whose standard deviation
µ
represents the total number of expected events in dataset
is given by their systematic uncertainty. A flat prior is con-
d over the whole energy range µ
=
λ
(E|p
)d E . In the
sidered for the remaining parameters, including the inverse
region of interest the background is in good approximation
−1
−1
half-life T
. Furthermore,
B
B
and T
are bound
0,d
Ag,d
linear. Therefore, λ
can be described as the sum of a linear
d ,i
to positive values, while B
is bound to negative values. The
1,d
background contribution plus a peak from
Ag and the
best fit is defined as the mode of the global posterior proba-
signal peak from 0νECEC of
−1
bility density and yields T
= 0, i.e. no signal events from
0νECEC. The 90% credibility limit of the half-life, defined as
(E
− 429.88 + δ
)
the 90% quantile of the marginalized posterior distribution, is
d ,i
λ
=
S
· exp
−
√
d ,i
2σ
2πσ
T
> 3.6 · 10
yr (90%CI).
(6)
(E
− 433.9 + δ
)
d ,i
+B
· exp
−
Ag,d
2σ
The median sensitivity for the 90% CI limit was estimated
+B
+ B
· (E
− 429.88),
(5)
with toy Monte Carlo simulations and is equal
to 2.7 ·
0,d
1,d
d ,i
counts / keV
) [arb. unit]
n
|
-1
P(T

---
Page 6 of 6
years.
The sum spectrum of all
data sets around the
and reproduction in any medium, provided you give appropriate credit
to the original author(s) and the source, provide a link to the Creative
ROI and the fit
functions are displayed in Fig.
3 together
Commons license, and indicate if changes were made.
−1
with the marginalized posterior distribution for T
.
Funded by SCOAP
.
Systematic uncertainties are directly folded into the fit
through the Gaussian priors associated to parameters ε
, σ
and δ
.
They weaken the limit by about 0.3%,
which was
References
evaluated by fixing these 7 parameters and repeating the
fit
with the remaining 10 parameters.
To test
if the model
1.
K.-H. Ackermann et al. (Gerda collaboration), Eur. Phys. J. C 73,
described in Eq.
5 is sufficient,
the p value was calculated
2330 (2013)
2.
M.
Agostini
et
al.
(Gerda collaboration),
Phys.
Rev.
Lett.
111,
for the three data sets,
as proposed in Ref.
[38] using a 1
122503 (2013)
keV binning. The obtained values are 0.96, 0.11 and 0.91 for
3.
R.G. Winter, Phys. Rev. 100, 142 (1955)
Coax,
Coax and
BEGe data sets respectively and
4.
J. Bernabeu et al., Nucl. Phys. B 223, 15 (1983)
indicate that the model describes the data sufficiently well.
5.
V. Vergados, Nucl. Phys. B 218, 109 (1983)
6.
M. Doi, T. Kotani, Prog. Theor. Phys. 89, 129 (1993)
The fit result for B
shows the presence of the 433.9 keV
7.
F. Simkovic et al., Prog. Part. Nucl. Phys. 66, 446 (2011)
γ line in the
Coax data set. The 90% CI limit is reduced
8.
A.P. Meshik et al., Phys. Rev. C 64, 035205 (2001)
by 10 % in case the presence of this line is neglected in the
9.
M. Pujol et al., Geochim. Cosmochim. Acta 73, 6834 (2009)
fit. The expectation value for the number of counts from the
10.
Y.M. Gavrilyuk et al., Phys. Atom. Nucl. 78, 13 (2015)
11.
Ch. Briançon et al. (TGV-2 collaboration). Phys. Atom. Nucl. 78,
Ag γ line for the three data sets is reported in Table 1
740 (2015)
together with the fit result for B
which represents the num-
12.
D.M. Mei et al., Phys. Rev. C 89, 014608 (2014)
ber of events from the linear background component at the
13.
M. Jeskovsky et al., Nucl. Instrum. Methods A 795, 268 (2015)
signal peak energy of 429.88 keV (third term of Eq. 5). In
14.
P. Belli et al., Phys. Rev. C 93, 045502 (2016)
15.
P.P. Povinec et al., AIP Conf. Proc., vol. 1686 (2015), p. 020018
the same table the efficiency values and the energy resolution
16.
A.S. Barabash et al., Nucl. Phys. A 807, 269 (2008)
are also reported.
17.
A.S. Barabash et al., Phys. Rev. C 83, 045503 (2011)
18.
S. Eliseev et al., Phys. Rev. Lett. 106, 052504 (2011)
19.
V.I.
Tretyak,
YuG Zdesenko,
At.
Data Nucl.
Data Tables 80,
83
(2002)
5 Conclusions
20.
M. Wang et al., Chin. Phys. C 36, 1636 (2012)
21.
A. Merle, Ph.D. Thesis, University of Heidelberg (2009)
established the most stringent half-life limit on the
22.
O.
Chkvorets,
Ph.D.
Thesis,
University of
Heidelberg (2008).
radiative mode of neutrinoless double electron capture of
arXiv:0812.1206
23.
G.P. Williams, in X ray data booklet, ed. by A.C. Thompson et al.
Ar with Phase I data. The limit is three orders of magnitude
Electron Binding Energies
(2009).
http://xdb.lbl.gov/Section1/
better than previous results for this isotope; however, it is still
Table1-1a.htm
orders of magnitude far from the theoretical prediction from
24.
M.
Agostini
et
al.
(Gerda collaboration),
Eur.
Phys.
J.
C 75,
39
QRPA calculations.
(2015)
25.
M. Günther et al., Phys. Rev. D 55, 54 (1997)
26.
A. Morales, Nucl. Phys. B 77, 335 (1999)
Acknowledgements
experiment is supported financially
27.
Canberra
Semiconductor
NV.,
Lammerdries-Oost
25,
B-2439
by the German Federal Ministry for Education and Research (BMBF),
Olen, Belgium
the German Research Foundation (DFG) via the Excellence Cluster
28.
J.-Y. Lee et al., Geochim. Cosmochim. Acta 70, 17 (2006)
Universe, the Italian Istituto Nazionale di Fisica Nucleare (INFN), the
29.
K. Freund et al., Eur. Phys. J. C 76, 298 (2016)
Max Planck Society (MPG), the Polish National Science Centre (NCN),
30.
M. Agostini et al., J. Instrum. 6, P08013 (2011)
the Foundation for
Polish Science (MPD programme),
the Russian
31.
M. Agostini et al. (Gerda collaboration), Eur. Phys. J. C 75, 255
Foundation for Basic Research (RFBR), and the Swiss National Science
(2015)
Foundation (SNF). The institutions acknowledge also internal financial
32.
G. Benato, Ph.D. Thesis, University of Zürich (2016)
support. The
collaboration is grateful for useful discussions with
33.
M.
Agostini
et
al.
(Gerda collaboration),
J.
Phys.
G Nucl.
Part.
V. Tretyak. The
collaboration thanks the director and the staff
Phys. 42, 115201 (2015)
of LNGS for their continuous strong support of the
experiment.
34.
M. Boswell et al., IEEE Trans. Nucl. Sci. 58, 1212 (2011)
Furthermore we acknowledge the use of the CPU farm ATLAS of ZIH
35.
S. Agostinelli et al., (Geant collaboration), Nucl. Inst. Meth. A 506,
at TU Dresden for the Monte Carlo simulations.
250 (2003)
36.
J. Allison et al., IEEE Trans. Nucl. Sci. 53, 270 (2006)
Open Access
This article is distributed under the terms of the Creative
37.
Ch. Haberstroh, A.I.P. Conf, Proc. vol. 985 (2008), p. 1201
Commons Attribution 4.0 International License (http://creativecomm
38.
F. Beaujean, A. Caldwell, J. Stat. Plan. Inference 141, 11 (2011)
ons.org/licenses/by/4.0/), which permits unrestricted use, distribution,