Monatshefte für Chemie - Chemical Monthly (2020) 151:1225–1230
https://doi.org/10.1007/s00706-020-02643-0
ORIGINAL PAPER
Effective extraction methodology for the isolation of antidepressants
from human blood
1
1
2
Magdalena Świądro
 · Renata Wietecha‑Posłuszny
 · Dominika Dudek
Received: 25 March 2020 / Accepted: 8 June 2020 / Published online: 20 June 2020
© The Author(s) 2020
Abstract
The objective of this study is to choose the best methodology containing a high-efficiency extraction technique and an
extraction agent for the isolation of antidepressants, such as citalopram, fluoxetine, paroxetine, sertraline, and venlafaxine,
from human blood samples. In this research, various extraction agents have been examined to achieve the highest efficiency
of the conducted process. Moreover, the following most available extraction techniques have been investigated and com-
pared: liquid–liquid extraction, ultrasound-assisted extraction, and microwave-assisted extraction. The obtained extracts
have been analysed with the application of the ultra-high performance liquid chromatography with mass spectrometry. The
conducted research has confirmed that the microwave-assisted extraction with ethyl acetate—the average extraction effi-
ciency is 77.4 ± 2.7%—onstitute the most promising extraction method and the agent. Furthermore, the developed method
was successfully applied to the analysis of the whole blood samples collected from patients treated with the analysed drugs.
It should be emphasised that choice of extraction and solvent methods are the first steps to develop the methods allowing for
determination of antidepressants in whole blood for toxicological and clinical purposes.
Graphic abstract
Keywords
  Antidepressants · Real clinical samples · Extraction methods · UHPLC-MS
mechanism of action is to inhibit the reabsorption (reuptake)
Introduction
of serotonin. All drugs in this group work in a similar way
Selective serotonin reuptake inhibitors (SSRI) are the first-
and they can cause similar side effects, despite better overall
line antidepressants, applied in the treatment of mood dis-
safety and tolerability in comparison to older antidepres-
order. They are called selective because they seem to affect
sants. Due to their positive properties and high treatment
primarily serotonin, not other neurotransmitters. Their main
effectiveness as regards patients with mood disorder, the
most frequently used ones include citalopram, fluoxetine,
paroxetine, and sertraline [1–6].
Magdalena Świądro
*
magda.swiadro@doctoral.uj.edu.pl
There is a drug similar to SSRIs in terms of both desired
and side effects—venlafaxine. It belongs to the seroto-
1
Department of Analytical Chemistry, Faculty of Chemistry,
nin–norepinephrine reuptake inhibitors (SNRI). In spite of
Jagiellonian University in Kraków, Kraków, Poland
this, the effect of venlafaxine at low doses is significantly
2
Department of Adult Psychiatry, Jagiellonian University
lower on norepinephrine than on serotonin. It is also one
Medical College in Kraków, Kraków, Poland
1 3
Vol.:(0123456789)

---
1226
M. Świądro et al.
of the most popular antidepressant used in the treatment of
simple procedure used for analyzed drugs from different
mood disorder [7, 8]. The selected properties of SSRIs and
classes. The wide range of different classes covered with
SNRIs are presented in Table 1.
acceptable results for 119 analytes, including SSRIs and
The SSRIs and SNRIs are the most used antidepres-
SNRIs drugs, constitutes the major advantage and novelty.
sants. Their efficacy after administration as first-line drugs
Unfortunately, the LLE extraction has disadvantages as well.
is approximately 60%, where only 15% of patients do
For example, it often produces an emulsion that is difficult
not achieve remission after several subsequent treatment
to remove or separate [15, 16].
attempts (STAR-D study) [9, 10]. One of the most signifi-
Nowadays, extraction methods seek an increase in extrac-
cant reasons for the lack of response to treatment is poor
tion yield and reproducibility of operations, and the reduc-
collaboration, which results in a lack of adequate drug levels.
tion of extraction time and solvent consumption, which
Individual differences in drug metabolism may also play an
implies a significant improvement in cost saving and envi-
important role here [11]. Hence, it is crucial to control the
ronmental benefits. Thus, LLE extraction is gradually being
concentration of these drugs in biological material. New
replaced in analytical laboratories by UAE and MAE tech-
methods are still being sought for determining the concen-
niques [12, 14]. Both UAE and MAE are easy to handle,
tration of medicines, which would facilitate the therapeutic
safe, and economical. They constitute automated extraction
drug monitoring of the patient. It is useful for better adjust-
technique where it is possible to control the extraction time
ment of doses to the treatment of an individual patient.
and temperature. Moreover, they are the optimal technique
Nevertheless, the extraction procedure is the main step in
for thermolabile compounds, where at the same time, it is
the analysis of human fluids and tissues. If the extraction
possible to prepare multiple (up to 40) samples. The appli-
efficiency is high, it guarantees the proper isolation of drugs
cation of the microwave-assisted extraction as an isolation
and, consequently, accurate results. What is more, the extrac-
technique provides a significant decrease in the required time
tion technique should be accordance with the principles of
of extraction as suggested by Wietecha-Posłuszny et al. [17],
green analytical chemistry. Within this green extraction con-
who have used MAE extraction in a new screening method-
cept, an extract should be obtained in such a way to have
ology for the identification of 30 psychoactive drugs, includ-
the lowest possible impact on the environment. Armenta
ing antidepressants [8, 17, 18].
et al. [14] suggest remarking the green extraction aspects of
There are numerous publications on the extraction of anti-
the currently used methods based on miniaturization, auto-
depressants from biological material using more advanced
mation, voiding the use of single-use plastic consumables,
(sometimes more expensive) extraction techniques such as
reducing exploration costs, and avoiding toxic residues accu-
solid-phase microextraction procedure [19], protein precipi-
mulation. Due to this, each proposed methodology applied
tation [6], or dispersive liquid–liquid microextraction [18].
for determination and isolation of SSRIs and SNRIs drugs
However, not every laboratory can afford to use modern
must be more innovative, ecologic, and economic [12–14].
techniques. Therefore, the aim of the research has been to
Some of the most frequently used and available tech-
select the most effective first-line extraction method—among
niques for isolation analytes from biological material include
LLE, UAE, and MAE extraction techniques—that is useful
liquid–liquid extraction (LLE), ultrasonic-assisted extraction
to isolate antidepressants from SSRI and SNRI groups from
(UAE), and microwave-assisted extraction (MAE). However,
whole blood. The crucial element was to choose an optimal
each of these techniques has both its advantages and disad-
extraction agent for extraction citalopram, fluoxetine, par-
vantages. The LLE extraction is characterized by simplicity,
oxetine, sertraline, and venlafaxine. The research allows to
universality, and it does not require expensive apparatus.
uniquely choose high-efficiency extraction technique char-
Remane et al. [15] described LLE extraction as a fast and
acterized by its simplicity, automation, and environmental
friendliness. Furthermore, the suggested methodology has
been applied to the analysis of real blood samples taken from
Table 1
Selected properties of selective serotonin reuptake inhibitors
patients with a mood disorder. This was a group of patients
and serotonin norepinephrine reuptake inhibitors drugs
(female and male at different ages) treated with SSRIs or
+
Drug
Class of drugs
pK
LogP Drug mass [M + H]
SNRIs drugs.
A
Citalopram
Selective sero-
9.50 3.74
325.171 ± 0.001
tonin reuptake
Fluoxetine
10.3
4.05
310.141 ± 0.001
inhibitors
Results and discussion
Paroxetine
9.90 3.95
330.150 ± 0.001
(SSRI)
Sertraline
9.48 5.29
306.081 ± 0.001
Selection of extraction agent and technique
Venlafaxine
Serotonin–nor-
10.1
3.28
278.212 ± 0.001
epinephrine
reuptake inhibi-
In the case of extraction from whole blood, no obvious state-
tors (SNRI)
ments may be made as to which extraction technique and

---
Effective extraction methodology for the isolation of antidepressants from human blood
1227
(
)
agents are excellent for SSRIs and SNRIs drugs. The aim
I
peak area obtained for the standard drug (B) solution
A
of this stage was to select the extraction agents which tested
I
B
IS
—see Eq. (1).
compounds, extracted from the blood in undissociated form,
(
)
passing more efficiently to the organic phase, as a result.
I
A
Due to these different extraction agents such as: chloroform,
I
A
IS
EE
100
,
(1)
=
×
%
(
)
hexane, ethyl acetate, ethyl acetate: hexane (10:90, v/v)
I
A
methyl alcohol: acetonitrile (1:1, v/v), and 3-methylbutan-
I
B
IS
1-ol: hexane (1:99, v/v) were selected and compared. Each
The obtained extraction efficiency of citalopram, fluox-
solvent was tested using three extraction techniques: LLE
etine, paroxetine, sertraline, and venlafaxine isolated from
(extraction parameter: 10 min), UAE (extraction parameters:
whole blood with the use of the LLE, UAE, and MAE
10 min, 25 °C), and MAE (extraction parameters: 10 min,
extraction and various extraction solvents, have been sum-
50 °C, 800 W). The samples were prepared according to the
marized in Table 2.
procedure described in the section “Sample preparation”,
As can be seen, each solvent extracted all investigated
3
at the drug concentration 500 ng/cm
. Moreover, for each
antidepressants; however, their optimum extraction param-
sample, 0.6 M NaOH (pH = 13.5) was added. Under these
eters are completely different. For instance, citalopram, ser-
conditions, the pH value is higher than the pKa value of the
traline, and venlafaxine are best when extracted in the mix-
analysed drugs (see Table 1). The formation of a strongly
ture consisting of 3-methylbutan-1-ol and hexane (1:99, v/v),
alkaline environment during the extraction resulted in the
in contrast to fluoxetine that is best isolated with application
citalopram, fluoxetine, paroxetine, sertraline, and venlafax-
of hexane. In the case of paroxetine, the best efficiency was
ine being mostly in uncharged form, and thus showing a
obtained using ethyl acetate. Moreover, the extraction effi-
greater affinity for the organic phase.
ciency (see Table 2) in the same extraction agent is different
In the preliminary research, two of them (chloroform and
for the analysed extraction techniques. For example, taking
methyl alcohol: acetonitrile) were rejected due to a problem
into consideration the LLE extraction and UAE extraction,
in a blood preparation step where observed the protein pre-
the best results were obtained using 3-methylbutan-1-ol:
cipitation (coagulation) which prevented further analysis.
hexane, yet, higher performance was obtained for UAE—
Therefore, in the further analysis, only hexane, ethyl acetate,
the
 = 50.9 ± 4.9 for LLE and
 = 63.9 ± 1.9 for UAE.
EE
EE
ethyl acetate: hexane (10:90, v/v), and 3-methylbutan-1-ol:
It was observed that ethyl acetate allows for achievement
hexane (1:99, v/v) were used. Each time, three samples were
of the best extraction efficiency
EE
 = 77.4 ± 2.7) with the
(
prepared and analysed three times using UHPLC-MS tech-
application of MAE extraction. Both SSRIs and SNRIs
nique. The results were compared by means of the extraction
have satisfactory EE, which is certainly due to the character
efficiency (EE) relating to an analyte. It was calculated as
of the performed process, as the action of the microwave
regards, the ratio of the relative peak area obtained for an
(
)
prompts the destruction of the blood cells (from the inside).
I
extracted (A) sample
 in comparison to the relative
A
Thus, this effective procedure—MAE extraction and ethyl
I
A
IS
Table 2
Summary of the extraction efficiency obtained based on the liquid–liquid extraction (LLE), ultrasonic-assisted extraction (UAE), and
microwave-assisted extraction (MAE) techniques and different extraction agents
Extraction
Extraction agent
Extraction efficiency (EE) /% (n = 5)
Average extraction
−
technique
efficiency (
)/%
EE
LLE
Hexane
33.0 ± 6.7
38.4 ± 3.4
58.5 ± 9.6
38.4 ± 1.9
40.1 ± 1.3
41.7 ± 4.6
Ethyl acetate
30.2 ± 2.5
35.4 ± 2.1
25.8 ± 1.7
29.8 ± 3.2
38.3 ± 1.1
31.9 ± 3.9
Ethyl acetate: hexane (10:90, v/v)
50.9 ± 4.8
45.1 ± 3.3
48.6 ± 5.9
51.3 ± 1.2
47.2 ± 5.4
48.6 ± 4.2
3-Methylbutan-1-ol: hexane (1:99, v/v)
81.0 ± 3.8
36.0 ± 5.4
30.1 ± 6.0
38.1 ± 5.2
69.4 ± 4.0
50.9 ± 4.9
UAE
Hexane
47.2 ± 2.9
23.9 ± 0.4
76.6 ± 1.4
57.0 ± 2.1
18.0 ± 1.3
44.5 ± 1.6
Ethyl acetate
56.3 ± 2.0
28.6 ± 1.1
13.6 ± 3.7
68.2 ± 0.8
24.5 ± 0.6
38.2 ± 1.4
Ethyl acetate: hexane (10:90, v/v)
26.5 ± 2.1
78.9 ± 2.1
19.7 ± 3.7
49.7 ± 1.9
69.3 ± 2.9
48.9 ± 2.5
3-Methylbutan-1-ol: hexane (1:99, v/v)
62.4 ± 2.1
59.1 ± 1.3
44.2 ± 3.7
90.4 ± 0.3
63.2 ± 2.4
63.9 ± 1.9
Hexane
26.9 ± 5.9
84.9 ± 2.2
34.0 ± 1.3
71.9 ± 1.4
76.4 ± 0.9
58.8 ± 2.3
MAE
Ethyl acetate
60.8 ± 3.2
81.4 ± 2.4
79.4 ± 1.8
77.2 ± 1.9
88.4 ± 4.3
77.4 ± 2.7
Ethyl acetate: hexane (10:90, v/v)
54.1 ± 1.2
73.2 ± 5.0
47.3 ± 2.7
56.9 ± 4.9
59.5 ± 2.2
58.2 ± 3.2
3-Methylbutan-1-ol: hexane (1:99, v/v)
57.2 ± 2.3
81.0 ± 1.5
65.7 ± 3.6
73.8 ± 2.6
91.9 ± 3.7
73.9 ± 2.6

---
1228
acetate—may be successfully used in clinical patients’ blood
for analysed drugs, the intraday precision was lower than
samples. Moreover, the suggested methodology constitutes
9.6% and interday precision was lower than 13.7% for each
a good alternative to fast, easier and cheaper method of the
analyte. It is in accordance with the accepted criteria (see
drugs employed in clinical examinations. In addition, it may
Table 3)—less than ± 15.0% [20]. Moreover the obtain preci-
be useful for comparison with novel extraction techniques.
sion was similar to isolation of SSRIs and SNRIs with the
application of the novel extraction techniques—dispersive
liquid–liquid microextraction [18], which further empha-
Validation procedure
sizes the possibility of using traditional MAE extraction.
The validation procedure of the suggested extraction meth-
The obtained results were better than protein extraction to
odology was carried out according to the literature guide-
determine sertraline. The intraday precision of the developed
lines [8, 20]. Validation parameters, such as linearity, the
method was lower than 12% [21].
limit of detection (LOD), the limit of quantitation (LOQ),
The satisfying results for validation of the proposed meth-
and precision (CV) obtained with the application of the
odology of isolation of citalopram, fluoxetine, paroxetine,
microwave-assisted extraction method and ethyl acetate as
sertraline, and venlafaxine from whole blood using the
the extraction agent are presented in Table 3.
MAE extraction and ethyl acetate guarantee the possibility
The linearity of the optimized method was tested in the
of its application for the analysis of the blood samples of
range with concentration points: 25, 50, 100, 150, 200,
the patients.
250, and 300 ng/cm
, for each of the drugs. Calibration
curves were based on a linear regression model that took
Case samples
into account the ratio of the peak area of each compound to
that of the IS. Deuterated compounds from the same groups
The validated method based on the combination of MAE
of drugs as the studied compounds, such as fluoxetine-D
extraction and ethyl acetate (such as extraction agent) was
5
for fluoxetine and sertraline, paroxetine-D
 for paroxetine
applied for the analysis of real samples collected in vivo.
5
and citalopram, and venlafaxine-D
 for venlafaxine, were
The clinical samples were provided by the Department of
5
used. The concentration of each IS (added to the samples
Adult Psychiatry at the Jagiellonian University Medical Col-
before the extraction process) was constant and amounted
lege. The whole blood samples were collected from patients
to 150 ng/cm
.
treated by SSRIs and SNRIs drugs. The first patient (case
The limits of detection (LOD) and quantification (LOQ)
#I) was a 61-year-old male treated with 150 mg of prefax-
were calculated as the ratios of three times and ten times
ine (venlafaxine). Case #II (51-year-old male), case #IV
the standard deviation of the analytical signal measured
(41-year-old male) and case #V (47-year-old female) were
at 50 ng/cm
 to the slope of the calibration graph, respec-
treated with 75 mg of effectin ER (venlafaxine). Case #III
tively. The calculated LOD and LOQ values indicate the
was collected from a female who was treated with 20 mg
possibility of determining the studied compounds at the low
parogen (paroxetine). Each patient suffered from a mood dis-
concentration.
order—bipolar disorder or depression. The obtained results
As for precision, this was determined at medium (150 mg/
are presented in Table 4.
dm
) levels. For intraday precision (n = 9), three samples
As can be seen in Table 4, in each case #I–V samples
containing analytes of the concentration were analysed and
were successfully used in identifying the analysed drugs
each analysis was repeated three times. The interday pre-
in therapeutic concentration—paroxetine in the range
cision (n = 27) was evaluated by repeating the analysis for
10–75 ng/cm
 and venlafaxine 250–750 ng/cm
 [22].On
three consecutive days. The obtained results confirm that
this basis, it can be concluded that the patient takes this
Table 3
Validation parameters
Parameter
Results
obtained with the application
of the microwave-assisted
extraction method and ethyl
Linearity range/ng/cm
LOQ-300
acetate as the extraction agent
2
R
0.9902
0.9876
0.9708
0.9820
0.9886
Slope
0.0044
0.0010
0.0014
0.0023
0.0175
LOD/ng/cm
4.1 ± 2.0
4.6 ± 5.0
3.6 ± 4.3
3.7 ± 4.1
1.8 ± 0.6
LOQ/ng/cm
13.5 ± 6.6
15.3 ± 6.7
11.9 ± 3.8
12.3 ± 3.5
5.9 ± 2.0
Precision, CV/%
 Intraday (n = 9)
6.8
4.7
9.6
7.9
8.6
 Interday (n = 27)
10.6
8.8
13.7
11.6
9.8

---
Effective extraction methodology for the isolation of antidepressants from human blood
1229
Table 4
Results obtained from
Parameters
Case #I
Case #II
Case #III
Case #IV
Case #V
analysis of real case samples
Drug
t
/min
3.84 ± 0.01
3.85 ± 0.01
6.23 ± 0.01
3.84 ± 0.01
3.88 ± 0.02
R
Final concentra-
287.5 ± 2.3
386.3 ± 2.0
54.6 ± 1.3
406.8 ± 3.1
265.2 ± 1.6
tion/ng/cm
medication according to the psychiatrist’s recommendation.
generated with the Milli-Q system by Merck-Millipore
It may be a good preliminary step to develop the analytical
(Darmstadt, Germany).
and quantitative research for a larger group of drugs.
Instrumentation
The measurements were carried out using UltiMate 3000
Conclusion
RS liquid chromatography system (Dionex, USA) coupled
In the proposed research, three most common extraction
with a mass spectrometer MicrOTOF-Q II with a time of
techniques—LLE, UAE, and MAE extraction have been
flight mass analyser (Bruker, Germany). The mobile phase
compared. The main goal was to choose the easiest and high-
consisted of 0.1% formic acid in ultrapure water (A) and
efficiency methodology for isolation of SSRIs and SNRIs
acetonitrile (B). The following gradient programme (B) at
drugs from human blood. As it has been presented, the best
the flow rate of 0.4 cm
/min was used: 0 min − 5%; 14 min
results are obtained by means of the ethyl acetate in conjunc-
− 70%; 16.5 min − 5%; 20 min − 5%. Separation was car-
tion with MAE extraction. Moreover, the suggested MAE
ried out in a Hypersil Gold Phenyl column (50 mm × 2.1 mm
extraction technique is rapid and easy to handle as well as it
I.D., particles 1.9 μm, injection: 5 mm
, Dionex) at 20 °C.
moderates solvent consumption. It enables the isolation of
The ESI ion source conditions were as follows: nebulizer
drugs with high efficiency, which is important in qualitative
pressure: 2.5 bar, dry gas: 5.5 dm
/min heated to 200 °C.
analysis. The results of the analyses of real samples indicate
Data were recorded in the positive ion mode and profile
the possibility of using the suggested methodology based
spectra were acquired in the mass range 100–1000 m/z.
on the combination of MAE extraction and ethyl acetate for
Cluster mass calibration was performed using a mixture of
the isolation of SSRIs and SNRIs drugs from blood. It may
10 mM sodium formate and isopropanol before each run.
prove to be a useful contribution to development of the new
For the extraction of drugs from human blood ultrasonic
methods for therapeutic drug monitoring (i.e., patients with
bath SONIC-3 (Polsonic, Poland), which works at the fre-
depression) or in forensic and toxicology analysis.
quency of 40 kHz. and a MARS 5 microwave-assisted sam-
ple preparation system (CEM Matthews NC, USA) equipped
with 24 Xpress PHA vessels (75 cm
) were used.
Experimental
Blood collections
Chemicals and materials
In the present study, whole human blood (drug free) was
Drug standards and their deuterated analogue at a concen-
provided by at local blood bank (Krakow, Poland). The
tration of 1 mg/cm
: citalopram, fluoxetine, paroxetine,
real case samples from patients (case #I–V), who took the
sertraline, venlafaxine, fluoxetine-D
, paroxetine-D
, and
analysed drugs were kindly provided by the Department of
5
5
venlafaxine-D
 were purchased from Lipomed AG (Switzer-
Adult Psychiatry at the Jagiellonian University Medical Col-
5
land). Each standard solution was stored in methyl alcohol
lege (according to the Bioethical Commission Approval no
in a freezer at − 20 °C. The other chemicals used throughout
1072.6120.302.2018). All the samples were stored at the
the experiments, such as: chloroform, formic acid, hexane,
temperature of − 20 °C prior to the analysis in accordance
acetic acid, and sodium tetraborate decahydrate (borax),
with the standard laboratory practice.
were purchased from Sigma-Aldrich (USA). Acetonitrile,
3-methylbutan-1-ol, and methyl alcohol were supplied by
Sample preparation
Fluka Analytical (Germany), whereas the 3-methylbutan-
1-ol was obtained from Chempur (Poland). Ethyl acetate
The solutions of citalopram, fluoxetine, paroxetine, sertra-
was purchased from Avantor Performance Materials
line, and venlafaxine were prepared at a concentration of
POCH (Poland). Ultrapure water (18.2 MΩ cm, < 3 ppb
100 ng/cm
 in methyl alcohol with the application of stock
TOC) which was used to prepare all aqueous solutions was
solutions at a concentration 1 mg/cm
. Subsequently, it

---
1230
evaporated under nitrogen at the temperature of 40 °C. Then,
References
300 mm
 of whole blood and 300 mm
 of borate buffer
(pH = 9.5) were added to each probe and vortexed (Vortex
  1.
Bingcong Z, Zhigang L, Yuanzheng W, Xuehong M, Xiangqun
W, Xueqin W, Jianping L, Yong H, Jianbin Z, Liqin L, Xiaoyang
Heidolph, Germany) for 5 min. The prepared samples were
H, Jinfeng J, Shanshan Q, Qianyun C, Meng S, Xinjing Y, Tuya
extracted using three techniques—LLE, UAE, and MAE—
B, Yutong F (2019) J Psychiatr Res 114:24
and for testing six different extraction solvents: chloroform,
  2.
Eap CB, Baumann P (1996) J Chromatogr B Biomed Appl 686:51
hexane, ethyl acetate, ethyl acetate: hexane (10:90, v/v),
  3.
Tournel G, Houdret N, Hédouin V, Deveaux M, Gosset D, Lher-
mitte M (2001) J Chromatogr B Biomed Sci Appl 761:147
methyl alcohol: acetonitrile (1:1, v/v), and 3-methylbutan-
  4.
Takahashi M, Suzuki M, Muneoka K, Tsuruoka Y, Sato K, Shi-
1-ol: hexane (1:99, v/v). The amount of 1 cm
 of extraction
rayama Y (2014) Psychiatry Res 220:1144
solvent (during analyses) was added and these prepared sam-
  5.
Iaboni A, Mulsant BH (2016) Psychotropic drugs. Elsevier, Ber-
ples were gently agitated for 10 min using at platform shaker
lin, p 294
  6.
Dziurkowska E, Wesołowski M (2018) Psychiatr Pol 52:997
(LLE) or sonicated for 10 min at 25 °C (UAE). The MAE
  7.
Ciraulo DA, Shader RI, Greenblatt DJ (2011) Clinical pharmacol-
extraction was performed with the application of 3 cm
 of
ogy and therapeutics of antidepressants. In: Ciraulo DA, Shader
extraction solvent using the following parameters: 10 min,
RI (eds) Pharmacotherapy of depression. Springer Science +
50 °C and 800 W. Next, for each sample, the amount of 1
Business Media, Berlin, p 33
  8.
Snamina M, Wietecha-Posłuszny R, Zawadzki M (2019) Talanta
 cm
 of 0.6 M NaOH was added, then vortexed for 2 min and
204:607
filtrated using PTFE filters (0.25 μm). Finally, the superna-
  9.
Amste JD, Lorenzo L (2018) Psychiatr Pol 52:957
tant was transferred to a new probe and evaporated under
10.
Trivedi MH, Rush AJ, Wisniewski SR (2006) Am J Psychiatry
nitrogen. Prior to UHPLC-MS analysis, 100
mm
 of mobile
163:28
11.
Dold M, Kasper S (2017) Int J Psychiatry Clin Pract 21:13
phase (acetonitrile 0.1% formic acid, 1:9, v/v) was added.
12.
Kurowska-Susdorf A, Zwierżdżyński M, Bevanda AM, Talić S,
In respect of case #I–V samples, 300 mm
 of whole
Ivanković A, Płotka-Wasylka J (2019) TrAC Trends Anal Chem
blood was taken and 300
mm
 of borate buffer was added
111:185
(pH = 9.5). The prepared samples were extracted using only
13.
Korany MA, Mahgoub H, Haggag RS, Ragab MAA, Elmallah OA
(2017) J Liq Chromatogr Relat Technol 40:839
the MAE technique (10 min, 50 °C, and 800 W) and ethyl
14.
Armenta S, Garrigues S, Esteve-Turrillas FA, de la Guardia M
acetate as an extraction agent. Other activities were carried
(2019) TrAC Trends Anal Chem 116:248
out analogically as described above.
15.
Remane D, Meyer MR, Peters FT, Wissenbach DK, Maurer HH
(2010) Anal Bioanal Chem 397:2303
16.
Chemat F, Zill-E-Huma H, Khan MK (2011) Ultrason Sonochem
Acknowledgements
  Magdalena Świądro acknowledges the support
18:813
of InterDokMed project no. POWR.03.02.00-00-I013/16-phD study
17.
Wietecha-Posłuszny R, Lendor S, Garnysz M, Zawadzki M,
programm. The authors gratefully acknowledge the financial support
Kościelniak P (2017) J Chromatogr B Anal Technol Biomed Life
of the Ministry of Science and Higher Education, National Science
Sci 1061–1062:459
Centre, Poland (R. Wietecha-Posłuszny, Sonata Bis 6, no. 2016/22/E/
18.
Fernández P, Taboada V, Regenjo M, Morales L, Alvarez I, Carro
ST4/ 00054). Renata Wietecha-Posłuszny: ORCID ID 0000-0001-
AM, Lorenzo RA (2016) J Pharm Biomed Anal 124:189
8908-6725. The research was carried out with equipment purchased
19.
Cantú MD, Toso DR, Lacerda CA, Lanças FM, Carrilho E, Quei-
thanks to the financial support of the European Regional Development
roz MEC (2006) Anal Bioanal Chem 386:256
Fund within the framework of the Polish Innovation Economy Opera-
20.
Scientific Working Group for Forensic Toxicology (SWGTOX)
tional Programme (contract no. POIG.02.01.00-12-023/08)
(2013) J Anal Toxicol 37:452
21.
Domingues DS, Pinto MAL, De Souza ID, Hallak JEC, de Crippa
Open Access
  This article is licensed under a Creative Commons Attri-
JAS, Queiroz MEC (2016) J Anal Toxicol 40:28
bution 4.0 International License, which permits use, sharing, adapta-
22.
Moffat A, Osselton D, Widdop B, Watts J (2011) Clarke’s analysis
tion, distribution and reproduction in any medium or format, as long
of drugs and poisons in pharmaceuticals, body fluids and post-
as you give appropriate credit to the original author(s) and the source,
mortem material, 4th edn, part 2. Pharmaceutical Press, London,
provide a link to the Creative Commons licence, and indicate if changes
p 887
were made. The images or other third party material in this article are
included in the article’s Creative Commons licence, unless indicated
Publisher’s
Note
  Springer
Nature
remains
neutral
with
regard
to
otherwise in a credit line to the material. If material is not included in
jurisdictional claims in published maps and institutional affiliations.
the article’s Creative Commons licence and your intended use is not
permitted by statutory regulation or exceeds the permitted use, you will
need to obtain permission directly from the copyright holder. To view a
copy of this licence, visit http://creat
iveco
mmons
.org/licen
ses/by/4.0/.