# PS

PoS(PANIC2021)450
https://pos.sissa.it/
## Beta spectrum shape measurements using a multi-wire drift chamber and a plastic scintillator
De Keukeleere,a D. Rozpedzik,b K. Bodek,b L. Hayen,c K. Lojek,b M. Perkowski,a,b N. Severijnsa and S. Vanlangendoncka
a Institute of Nuclear and Radiation Physics, KU Leuven, B-3001 Leuven,Belgium
b Marian Smoluchowski Institute of Physics, Jagiellonian University, 30348 Krakow, Poland
c Department of Physics, North Carolina State Univeristy, Raleigh, NC 27695-8202, USA
E-mail: lennert.dekeukeleere@kuleuven.be
Spectrum shape measurements in nuclear ft decay are a versatile observable. They can be used to test physics beyond the Standard Model with results being complementary to high energy collider experiments. In addition, the ft spectrum shape is a useful tool to probe Standard Model effects. One of those effects is called Weak Magnetism and is induced by QCD interactions between quarks in the nucleon.
In order to study effects on the order of 10-3 - 10-2 inthe ft spectrum shape, a new prototype spectrometer, named miniBETA, was designed and built. It consists of a 3D low-pressure gas tracker, i.e. a multi-wire drift chamber with hexagonal cells, and a plastic scintillator for triggering the data acquisition and recording the ft particle energy.
Results of the miniBETA spectrometer characterization, supported by Monte Carlo simulations in Geant4 and Garfield++, are reported here. In addition, the preliminary results fromft spectrum shape measurements on the allowed Gamow-Teller transition 114In ^ll4 Sn are presented, including an extraction of the Weak Magnetism form factor.
*** Particles and Nuclei International Conference - PANIC2021 ***
*** 5 - 10 September, 2021 ***
*** Online ***
Speaker
© Copyright owned by the author(s) under the terms of the Creative Commons Attribution-NonCommercial-NoDerivatives 4.0 International License (CC BY-NC-ND 4.0).

PoS(PANIC2021)450
### 1. Introduction
Beyond Standard Model (BSM) theories are probed in different types of experiments. In collider experiments, i.e. at LHC, one tries to directly produce new exotic bosons in high-energy proton - proton collisions. Another way to test BSM theories, is by studying low-energy observables. One then searches for the small effects the exotic bosons would induce on these observables. The shape of the spectrum, which is the topic ofthis research, is sensitive to two exotic currents, scalar and tensor, both prohibited in the Standard Model (SM) weak interaction. For allowed fi transitions, these currents would introduce a correction term in the spectrum, called the Fierz term bFierz , which is inversely proportional to the fi particle energy[1].
Reaching the 0.5% precision level, higher-order SM effects cannot be neglected. An important higher- order effect is induced by the strong interaction and the fact that the decaying quark is not a free particle but embedded in the nucleon. This effect is dominated by the so-called Weak Magnetism (WM) term (e.g. [2]). The lack in knowledge ofWMhas already limited the attainable precision ofseveral ofthe recent experiments or constituted a major contribution to their systematic error bar [3]. This is especially important for searches of tensor currents, which typically use pure Gamow-Teller transitions in order to optimize sensitivity (WM is absent in pure Fermi transitions). Recently, an update was made of existing experimental knowledge for the WM form factor bWM, combined with shell-model based calculations to gain further insight in its nuclear structure and/or mass dependence[4]. However, experimental knowledge is limited to nuclei with mass number up to A = 61. Hence, a measurement of WM in the higher mass region could serve as a benchmark for nuclear shell-model calculations. In addition, for some particular transitions a measurement of WM can provide a good test for the Conserved Vector Current hypothesis (CVC) [2]. Furthermore, the knowledge of WM for high-mass neutron-rich nuclei is important in the analysis of reactor anti-neutrino experiments[5].
When taking both the Beyond Standard Model Fierzterm and the Standard Model WMterm into account, the fi spectrum shape for an allowed Gamow-Teller decay can be written as:
with F(±Z, Ee) the Fermi function, which includes the dominant Coulomb correction, £ = |CA|2 + \C'A\2 + |CT|2 + IC^I2 a factor including the axial and tensor couplings, Ee and pe the total energy and momentum of the > particle, E0 the maximum total electron energy, me the electron mass, Mn the nucleon mass, and c = CAMGT the Gamow-Teller form factor. The upper (lower) sign refers to £>~ (8+) decay, and A and Z are the mass number and charge of the daughter nucleus, respectively.
(1)
In order to improve existing constraints on BSM currents, a precision of 10-3 is required when deter­mining bFierz [1]. Based on previously measured values of bWM a spectrum shape distortion at the level of 10-3 - 10-2 is expected, due to WM[4]. With this in mind, the current research attempts to measure the pure Gamow-Teller 114In ^ll4 Sn spectrum shape at the 10-3 to 10-2 precision level.
### 2. Apparatus
The miniBETA apparatus (Fig. 1, panel A) is a combination of a > particle energy detector and a low-energy charged particle gas tracker. The former comprises a plastic scintillator disk with a thickness of 3 cm, optically coupled to a light guide disk on which 4 PMT's are stacked (Fig. 1, panel B). The latter is a honeycomb-like multi-wire drift chamber (MWDC) with anode wires in the centre at high voltages around 2000V, and grounded cathode wires at the corners (Fig. 1, panel C). The gas medium is a mixture of helium and isobutane. Based on performance studies, it was decided to use a ratio of70 % helium to 30 % isobutane at a pressure of 600 mbar. The purpose of the MWDC is to identify events that distort the spectrum shape, e.g. electrons back-scattering from the scintillator surface or cosmic muons flying through the experimental setup. In addition to event pattern recognition, the setup allows for several filtering and calibration methods. For example, by requiring coincidence between the scintillator and drift chamber, noise and gamma particles
are filtered. Furthermore, in order to correct for non-uniform light propagation in scintillator and light guide, tracking conversion electrons from a 207Bi calibration source, located next to the ft source, enables the real-time generation of a 2D-detector surface gain map (see Sec. 3).
The 3D-track reconstruction in the MWDC occurs in two steps. First, the track is reconstructed in the plane perpendicular to the wires (Fig. 1, panel C), using the relation between trigger delay and the track's distance of closest approach R to the anode wire (top of panel C). A Legendre tracking method is devised to find a straight track, minimizing the difference between di and Ri (bottom of panel C). Second, the track is reconstructed in the plane parallel to the wires (Fig. 1, panel D). Here, a model of charge division is employed to infer the position along each wire traversed by the particle (top of panel D). A simple straight line fit then attempts to reconstruct the track in this second plane (bottom of panel D). Track reconstruction precisions of ~1 mm and ~10 mm were obtained in the respective projection planes.
### 3. Methods
PoS(PANIC2021)450
Figure 1: The miniBETA apparatus. Panel A: a picture of the full setup, with the MWDC (visible as green PCB boards with the front-end electronics) and the PMT housing on top. Panel B: (top) external view of the energy detector with the aluminium end cap and PMT housing, and (bottom) 3D CAD scheme of the detector seen from below, showing the cylindrical plastic scintillator in blue, the end cap in brown and the inside of the PMT housing in green. Panel C: (top) a hexagonal cell in the plane perpendicular to the wires, with the HV anode wire in the centre and the grounded cathode wires at the corners. The colours and lines show the electric field magnitude and shape, respectively. The ionization electrons drift towards the centre along the electric field lines, leaving behind a signal on the anode wire. From the signal delay the distance R at which the track passes can be inferred and used to reconstruct the 2D-track (bottom). Panel D: (top) the charge division model, used for the simple straight line fit in the plane parallel to the wires(see bottom picture).
First of all, the track reconstruction algorithm is responsible for recognizing patterns and identifying different event origins. As demonstrated in the left panel of Fig. 2, the applied data analysis methods are able to distinguish cosmic muons, 207Bi calibration electrons, 114In ft particles and backscattered electrons. The recognition efficiency was tested with MC simulations [6] and found to be extremely good, giving rise to > 99% clean 207Bi conversion and 114In ft spectra. In addition, the algorithm reduces the number of backscatter events by 50%.
Secondly, the 3D-track reconstruction is employed to extrapolate the detector entry point. This informa­tion is crucial, since the light collection efficiency is position dependent. By dividing the scintillator surface in a grid of 1x1 cm2 squares and by fitting the 207Bi conversion electron energy spectrum for the set of events entering the detector in the selected area (middle panel of Fig. 2), a 2D map of the energy calibration parameters can be constructed (right panel). This, in turn, can be used to reconstruct the ft spectrum shape.
### 4. Results and Outlook
Figure 2: Left panel: Different event origins, recognized by the track algorithm. Middle and right panel: A visual description of the 2D position-dependent scintillator energy calibration procedure. See the text for more details.
As a first proof of principle, the total experimental and simulated 207Bi and 114In ft spectra, with bFierz and bWM put to zero, were compared (Fig. 3). The experimental spectra were found to be reproduced by simulation at the 10-2-level. In the Bi-spectrum both the high intensity 500 keV (Channel 12000) and 1000 keV (Channel 26000) peaks, as well as the low intensity coincident transitions (the right shoulder of the 1 MeV bump) and 1.7 MeV (Channel 40000) peak were well matched. The ft spectrum comparison exhibits a 10-2-level slope in the fiducial energy region, i.e. 700 - 1600 keV, which could be due to the WM effect.
To test this claim, the same simulation parameters were used to simulate the detector response to electron energies ranging from 300 to 2000 keV. The WM form factor was then fitted by sampling the theoretical ft spectrum shape [7] for varying bWM values, meanwhile assessing the match with the experimental data. The preliminary result of this procedure is presented in Fig. 4. The fit reveals a bWM = 9.2 ± 1.2, which lies within the region of previous measurements on low-mass nuclei.
Figure 3: A comparison of the recorded exper­imental and simulated 207 Bi conversion spectra and 114In ft spectra..
However, the quoted error bar is merely statistical. A thorough systematic error analysis is currently ongoing.
### References
PoS(PANIC2021)450
M.	Gonzalez-Alonso et al., Prog. in Part. and Nucl. Phys. 104, 165-223 (2019).
Channel
Figure 4: The preliminary WM-fit result for the
114In ft spectrum. See the text for more details.
F. P. Calaprice and B. R. Holstein: Nucl. Phys. A 276 (1976) 301.
F. Wauters et al., Phys. Rev. C 82 (2010) 055502.
N.	Severijns et al., submitted to Phys. Rev. C.
A. C. Hayes and P. Vogel, Ann. Rev. of Nucl. and Part. Sc. 66, 219-244 (2016).
L. De Keukeleere et al., Nucl. Instr. and Meth. A 935, 121-134 (2019)
L. Hayen et al., Rev. Mod. Phys. 90, 015008 (2018).
[7]