Eur. Phys. J. C (2016) 76:292
DOI 10.1140/epjc/s10052-016-4120-y
# The European Physical journal C
CrossMark
Regular Article - Experimental Physics
# Muon reconstruction performance of the ATLAS detector in proton-proton collision data at √s=13 TeV
ATLAS Collaboration*
CERN, 1211 Geneva 23, Switzerland
Received: 18 March 2016 / Accepted: 29 April 2016 / Published online: 23 May 2016
© CERN for the benefit of the ATLAS collaboration 2016. This article is published with open access at Springerlink.com
Abstract This article documents the performance of the
ATLAS muon identification and reconstruction using the
LHC dataset recorded at *Js = 13 TeV in 2015. Using a large
sample of J/f ^ pp and Z ^ pp decays from 3.2 fb-1
of pp collision data, measurements of the reconstruction effi-
ciency, as well as of the momentum scale and resolution, are
presented and compared to Monte Carlo simulations. The
reconstruction efficiency is measured to be close to 99 %
over most of the covered phase space (\n\ < 2.5 and
5 < pT < 100 GeV). The isolation efficiency varies between
93 and 100 % depending on the selection applied and on the
momentum of the muon. Both efficiencies are well repro-
duced in simulation. In the central region of the detector,
the momentum resolution is measured to be 1.7 % (2.3 %)
for muons from J/f ^ pp (Z ^ pp) decays, and the
momentum scale is known with an uncertainty of 0.05 %.
In the region \n\ > 2.2, the pT resolution for muons from
Z ^ p,p, decays is 2.9 % while the precision of the momen-
tum scale for low-pT muons from J/f ^ pp decays is
about 0.2 %.
1 Introduction
Muons are key to some of the most important physics results
published by the ATLAS experiment [1] at the LHC. These
results include the discovery of the Higgs boson [2] and the
measurement of its properties [3-5], the precise measurement
of Standard Model processes [6,7], and searches for physics
beyond the Standard Model [8-11].
The performance of the ATLAS muon reconstruction dur-
ing the LHC run at */s = 7-8 TeV has been documented
in recent publications [12,13]. During the 2013-2015 shut-
down, the LHC was upgraded to increase the centre-of-mass
energy from 8 to 13 TeV and the ATLAS detector was
equipped with additional muon chambers and a new inner-
most Pixel layer, the Insertable B-Layer, providing measure-
* e-mail: atlas.publications@cern.ch
ments closer to the interaction point. Moreover, the muon
reconstruction software was updated and improved.
After introducing the ATLAS muon reconstruction and
identification algorithms, this article describes the perfor-
mance of the muon reconstruction in the first dataset collected
at */s = 13 TeV. Measurements of the muon reconstruction
and isolation efficiencies and of the momentum scale and
resolution are presented. The comparison between data and
Monte Carlo (MC) simulation and the determination of the
corrections to the simulation used in physics analyses are also
discussed. The results are based on the analysis of a large
sample of J/f ^ pp and Z ^ pp decays reconstructed
in 3.2 fb-1 of pp collisions recorded in 2015.
This article is structured as follows: Sect. 2 describes the
ATLAS subdetectors that are most relevant to this work;
Sects. 3 and 5 describe the muon reconstruction and iden-
tification in ATLAS, respectively; Sect. 4 describes the data
samples used in the analysis; the reconstruction and isola-
tion efficiencies are described in Sects. 6 and 7, respectively,
while the momentum scale and resolution are described in
Sect. 8. Finally, conclusions are given in Sect. 9.
2 ATLAS detector
A detailed description of the ATLAS detector can be found in
Ref. [1]. Information primarily from the inner detector (ID)
and the muon spectrometer (MS), supplemented by informa-
tion from the calorimeters, is used to identify and precisely
reconstruct muons produced in pp collisions.
The ID consists of three subdetectors: the silicon pixels
(Pixel) and the semiconductor tracker (SCT) with a pseudo-
rapidity1 coverage up to \n\ = 2.5, and the transition radi-
1 ATLAS uses a right-handed coordinate system with its origin at the
nominal interaction point (IP) in the centre of the detector and the z-axis
along the beam pipe. The x-axis points from the IP to the centre of the
LHC ring, and the y-axis points upward. Cylindrical coordinates (r, ft)
are used in the transverse plane, ft being the azimuthal angle around
the beam pipe. The pseudorapidity and the transverse momentum are
defined in terms of the polar angle 9 as n = — ln tan(9/2) and pt =
1 Springer

292 Page 2 of 30
Eur. Phys. J. C (2016) 76:292
ation tracker (TRT) with a pseudorapidity coverage up to
\n \ =2.0. The ID measures the muon track close to the inter-
action point, providing accurate measurements of the track
parameters inside an axial magnetic field of 2 T.
The MS is the outermost ATLAS subdetector. It is
designed to detect muons in the pseudorapidity region up
to \n\ =2.7, and to provide momentum measurements with
a relative resolution better than 3 % over a wide pT range
and up to 10 % at pT « 1 TeV. The MS consists of one barrel
(\n\ < 1.05) and two endcap sections (1.05 < \n\ < 2.7). A
system of three large superconducting air-core toroidal mag-
nets, each with eight coils, provides a magnetic field with a
bending integral of about 2.5 Tm in the barrel and up to 6 Tm
in the endcaps. Resistive plate chambers (RPC, three dou-
blet layers for \n\ < 1.05) and thin gap chambers (TGC, one
triplet layer followed by two doublets for 1.0 < \n\ < 2.4)
provide triggering capability to the detector as well as
(n, ft) position measurements with typical spatial resolution
of 5-10 mm. A precise momentum measurement for muons
with pseudorapidity up to \n\ = 2.7 is provided by three
layers of monitored drift tube chambers (MDT), with each
chamber providing six to eight n measurements along the
muon trajectory. For \n\ > 2, the inner layer is instrumented
with a quadruplet of cathode strip chambers (CSC) instead
of MDTs. The single-hit resolution in the bending plane for
the MDT and the CSC is about 80 and 60 ^m, respectively.
The muon chambers are aligned with a precision between 30
and 60 ^m.
During the shutdown preceding the LHC Run 2, the MS
was completed to its initial design [14] by adding the last
missing chambers in the transition region between the barrel
and the endcaps (1.0 < \n\ < 1.4). Four RPC-equipped
MDT chambers were also installed inside two elevator shafts
to improve the acceptance in that region compared to Run 1.
Some of the new MDT chambers are made of tubes with a
smaller radius compared to the ones used in the rest of the
detector, allowing the detector to cope with higher rates.
The material between the interaction point (IP) and
the MS ranges approximately from 100 to 190 radiation
lengths, depending on n, and consists mostly of calorimeters.
The lead/liquid-argon electromagnetic calorimeter covers
\n\ < 3.2. It is surrounded by hadronic calorimeters made
of steel and scintillator tiles for \n\ < 1.7, and copper or
tungsten and liquid argon for \n\ > 1.7.
3 Muon reconstruction
Muon reconstruction is first performed independently in the
ID and MS. The information from individual subdetectors
is then combined to form the muon tracks that are used in
p sin 9, respectively. The n-ft distance between two particles is defined
as AR = V(An)2 + (Aft)2.
physics analyses. In the ID, muons are reconstructed like
any other charged particles as described in Refs. [15,16].
This section focuses on the description of the muon recon-
struction in the MS (Sect. 3.1) and on the combined muon
reconstruction (Sect. 3.2).
Muon reconstruction in the MS
Muon reconstruction in the MS starts with a search for hit
patterns inside each muon chamber to form segments. In each
MDT chamber and nearby trigger chamber, a Hough trans-
form [17] is used to search for hits aligned on a trajectory
in the bending plane of the detector. The MDT segments
are reconstructed by performing a straight-line fit to the hits
found in each layer. The RPC or TGC hits measure the coor-
dinate orthogonal to the bending plane. Segments in the CSC
detectors are built using a separate combinatorial search in
the n and ft detector planes. The search algorithm includes a
loose requirement on the compatibility of the track with the
luminous region.
Muon track candidates are then built by fitting together hits
from segments in different layers. The algorithm used for this
task performs a segment-seeded combinatorial search that
starts by using as seeds the segments generated in the middle
layers of the detector where more trigger hits are available.
The search is then extended to use the segments from the
outer and inner layers as seeds. The segments are selected
using criteria based on hit multiplicity and fit quality and are
matched using their relative positions and angles. At least
two matching segments are required to build a track, except
in the barrel-endcap transition region where a single high-
quality segment with n and ft information can be used to
build a track.
The same segment can initially be used to build several
track candidates. Later, an overlap removal algorithm selects
the best assignment to a single track, or allows for the segment
to be shared between two tracks. To ensure high efficiency for
close-by muons, all tracks with segments in three different
layers of the spectrometer are kept when they are identical
in two out of three layers but share no hits in the outermost
layer.
The hits associated with each track candidate are fitted
using a global x2 fit. A track candidate is accepted if the
X2 of the fit satisfies the selection criteria. Hits providing
large contributions to the x2 are removed and the track fit is
repeated. A hit recovery procedure is also performed looking
for additional hits consistent with the candidate trajectory.
The track candidate is refit if additional hits are found.
Combined reconstruction
The combined ID-MS muon reconstruction is performed
according to various algorithms based on the information
1 Springer

Eur. Phys. J. C (2016) 76:292
Page 3 of 30 292
provided by the ID, MS, and calorimeters. Four muon types
are defined depending on which subdetectors are used in
reconstruction:
- Combined (CB) muon: track reconstruction is performed
  independently in the ID and MS, and a combined track
  is formed with a global refit that uses the hits from both
  the ID and MS subdetectors. During the global fit pro-
  cedure, MS hits may be added to or removed from the
  track to improve the fit quality. Most muons are recon-
  structed following an outside-in pattern recognition, in
  which the muons are first reconstructed in the MS and
  then extrapolated inward and matched to an ID track. An
  inside-out combined reconstruction, in which ID tracks
  are extrapolated outward and matched to MS tracks, is
  used as a complementary approach.
- Segment-tagged (ST) muons: a track in the ID is classi-
  fied as a muon if, once extrapolated to the MS, it is asso-
  ciated with at least one local track segment in the MDT
  or CSC chambers. ST muons are used when muons cross
  only one layer of MS chambers, either because of their
  low pT or because they fall in regions with reduced MS
  acceptance.
- Calorimeter-tagged (CT) muons: a track in the ID is iden-
  tified as a muon if it can be matched to an energy deposit
  in the calorimeter compatible with a minimum-ionizing
  particle. This type has the lowest purity of all the muon
  types but it recovers acceptance in the region where the
  ATLAS muon spectrometer is only partially instrumented
  to allow for cabling and services to the calorimeters and
  inner detector. The identification criteria for CT muons
  are optimised for that region (\n\ < 0.1) and a momen-
  tum range of 15 < pT < 100 GeV.
- Extrapolated (ME) muons: the muon trajectory is recon-
  structed based only on the MS track and a loose require-
  ment on compatibility with originating from the IP. The
  parameters of the muon track are defined at the interac-
  tion point, taking into account the estimated energy loss
  of the muon in the calorimeters. In general, the muon
  is required to traverse at least two layers of MS cham-
  bers to provide a track measurement, but three layers are
  required in the forward region. ME muons are mainly
  used to extend the acceptance for muon reconstruction
  into the region 2.5 < \n\ < 2.7, which is not covered by
  the ID.
Overlaps between different muon types are resolved
before producing the collection of muons used in physics
analyses. When two muon types share the same ID track,
preference is given to CB muons, then to ST, and finally to
CT muons. The overlap with ME muons in the muon sys-
tem is resolved by analyzing the track hit content and select-
ing the track with better fit quality and larger number of
hits.
The muon reconstruction used in this work evolved from
the algorithms defined as Chain 3 in Ref. [12]. These algo-
rithms were improved in several ways. The use of a Hough
transform to identify the hit patterns for seeding the segment-
finding algorithm makes the reconstruction faster and more
robust against misidentification of hadrons, thus providing
better background rejection early in the pattern recognition
process. The calculation of the energy loss in the calorime-
ter was also improved. An analytic parameterization of the
average energy loss is derived from a detailed description of
the detector geometry. The final estimate of the energy loss
is obtained by combining the analytic parameterization with
the energy measured in the calorimeter. This method yields
a precision on the mean energy loss of about 30 MeV for
50 GeV muons.
4 Data and Monte Carlo samples
The efficiency measurements presented in this article are
obtained from the analysis of 3.2 fb—1 of pp collision data
recorded at +Js = 13 TeV at the LHC in 2015 during the
data-taking period with 25 ns spacing between bunch cross-
ings. About 1.5M Z ^ pp and 3.5M J/f ^ pp events
are reconstructed and used for the analysis. For the study
of the momentum calibration, 2.7 fb—1 of data were used,
rejecting the runs in which the longitudinal position of the
beam spot was displaced by about 3 cm with respect to the
centre of the detector.
Events are accepted only if the ID, the MS, and the
calorimeters were operational and the solenoid and toroid
magnet systems were both active. The online event selection
was performed by a two-level trigger system derived from the
one described in Ref. [18]. The Z ^ pp candidates are trig-
gered by the presence of at least one muon candidate with a
transverse momentum, pT, of at least 20 GeV. For the recon-
struction efficiency and momentum calibration studies, the
muon firing the trigger is required to be isolated (see Sect. 7).
The J/f ^ pp candidates used for the momentum calibra-
tion are triggered by a dedicated dimuon trigger that requires
two opposite-charge muons, each with pT > 4 GeV, compa-
tible with the same vertex, and with a dimuon invariant mass
in the range 2.5-4.5 GeV. The J/f ^ pp sample used for
the efficiency measurement is selected using a combination
of single-muon triggers and triggers requiring one muon with
transverse momentum of at least 4 GeV and an ID track such
that the invariant mass of the muon+track pair, under a muon
mass hypothesis, is compatible with the mass of the J/f.
Monte Carlo samples for the process
pp ^ (Z/y*)X ^ ppX are generated using the
POWHEG BOX [19] interfaced to PYTHIA8 [20] and the
CT10 [21] parton distribution functions. The PHOTOS [22]
package is used to simulate final-state photon radiation in Z
12n

292 Page 4 of 30
Eur. Phys. J. C (2016) 76:292
boson decays. Samples of prompt J/f ^ pp decays are
generated using PYTHIA8 complemented with PHOTOS
to simulate the effects of final-state radiation. A require-
ment on the minimum transverse momentum of each muon
( pT > 4 GeV) is applied at the generator level. The sam-
ples used for the simulation of the backgrounds to Z ^ pp
include: Z ^ tt, W ^ pv, and W ^ tv, gener-
ated with POWHEG BOX; WW, ZZ, and WZ generated
with SHERPA [23]; tt samples generated with POWHEG
BOX + PYTHIA8; and bb and cc samples generated with
PYTHIA8.
All the generated samples are passed through the simula-
tion of the ATLAS detector based on GEANT4 [24,25] and
are reconstructed with the same programs used for the data.
The ID and the MS are simulated with an ideal geometry
assuming no misalignment.
The effect of multiple pp interactions per bunch crossing
(“pile-up”) is modelled by overlaying simulated minimum-
bias events onto the original hard-scattering event. Monte
Carlo events are then reweighted so that the distribution of
the average number of interactions per event agrees with the
data.
##### 5 Muon identification
Muon identification is performed by applying quality require-
ments that suppress background, mainly from pion and kaon
decays, while selecting prompt muons with high efficiency
and/or guaranteeing a robust momentum measurement.
Muon candidates originating from in-flight decays of
charged hadrons in the ID are often characterized by the pres-
ence of a distinctive “kink” topology in the reconstructed
track. As a consequence, it is expected that the fit quality
of the resulting combined track will be poor and that the
momentum measured in the ID and MS may not be compat-
ible. Several variables offering good discrimination between
prompt muons and background muon candidates are studied
in simulated tt events. Muons from W decays are categorized
as signal muons while muon candidates from light-hadron
decays are categorized as background. For CB tracks, the
variables used in muon identification are:
• q/p significance, defined as the absolute value of the dif-
ference between the ratio of the charge and momentum
of the muons measured in the ID and MS divided by the
sum in quadrature of the corresponding uncertainties;
- p', defined as the absolute value of the difference between
  the transverse momentum measurements in the ID and
  MS divided by the pT of the combined track;
- normalised x 2 of the combined track fit.
To guarantee a robust momentum measurement, specific
requirements on the number of hits in the ID and MS are
used. For the ID, the quality cuts require at least one Pixel
hit, at least five SCT hits, fewer than three Pixel or SCT holes,
and that at least 10 % of the TRT hits originally assigned to
the track are included in the final fit; the last requirement is
only employed for \n \ between 0.1 and 1.9, in the region of
full TRT acceptance. A hole is defined as an active sensor
traversed by the track but containing no hits. A missing hit is
considered a hole only when it falls between hits successfully
assigned to a given track. If some inefficiency is expected for
a given sensor, the requirements on the number of Pixel and
SCT hits are reduced accordingly.
Four muon identification selections (Medium, Loose,
Tight, and High-pT) are provided to address the specific needs
of different physics analyses. Loose, Medium, and Tight are
inclusive categories in that muons identified with tighter
requirements are also included in the looser categories.
Medium muons The Medium identification criteria provide
the default selection for muons in ATLAS. This selection
minimises the systematic uncertainties associated with muon
reconstruction and calibration. Only CB and ME tracks are
used. The former are required to have >3 hits in at least two
MDT layers, except for tracks in the \ n\ < 0.1 region, where
tracks with at least one MDT layer but no more than one
MDT hole layer are allowed. The latter are required to have
at least three MDT/CSC layers, and are employed only in the
2.5 < \n\ < 2.7 region to extend the acceptance outside
the ID geometrical coverage. A loose selection on the com-
patibility between ID and MS momentum measurements
is applied to suppress the contamination due to hadrons
misidentified as muons. Specifically, the q/p significance is
required to be less than seven. In the pseudorapidity region
\n\ < 2.5, about 0.5 % of the muons classified as Medium
originate from the inside-out combined reconstruction strat-
egy.
Loose muons The Loose identification criteria are designed
to maximise the reconstruction efficiency while providing
good-quality muon tracks. They are specifically optimised
for reconstructing Higgs boson candidates in the four-lepton
final state [5]. All muon types are used. All CB and ME
muons satisfying the Medium requirements are included in
the Loose selection. CT and ST muons are restricted to the
\n\ < 0.1 region. In the region \ n\ < 2.5, about 97.5 % of the
Loose muons are combined muons, approximately 1.5 % are
CT, and the remaining 1 % are reconstructed as ST muons.
Tight muons Tight muons are selected to maximise the purity
of muons at the cost of some efficiency. Only CB muons
with hits in at least two stations of the MS and satisfying the
Medium selection criteria are considered. The normalised
X2 of the combined track fit is required to be <8 to remove
pathological tracks. A two-dimensional cut in the p' and q/p
significance variables is performed as a function of the muon
12n

Eur. Phys. J. C (2016) 76:292
Page 5 of 30 292
Table 1 Efficiency for prompt muons from W decays and hadrons
decaying in-flight and misidentified as prompt muons computed using
a tt MC sample. The results are shown for the four identification
selection criteria separating low (4 < pt < 20 GeV) and high
(20 < pt < 100 GeV) momentum muons for candidates with
\n\ < 2.5. The statistical uncertainties are negligible
Selection	4 < p T <	20 GeV	20 < pT <	100 GeV
	eMC [%]	eHaSrons [%]	eMC [%]	eHadrons [%]
Loose	96.7	0.53	98.1	0.76
Medium	95.5	0.38	96.1	0.17
Tight	89.9	0.19	91.8	0.11
High-pT	78.1	0.26	80.4	0.13

pT to ensure stronger background rejection for momenta
below 20 GeV where the misidentification probability is
higher.
High-pT muons The High-pT selection aims to maximise
the momentum resolution for tracks with transverse momen-
tum above 100 GeV. The selection is optimised for searches
for high-mass Z' and W' resonances [8,9]. CB muons pass-
ing the Medium selection and having at least three hits in
three MS stations are selected. Specific regions of the MS
where the alignment is suboptimal are vetoed as a precaution.
Requiring three MS stations, while reducing the reconstruc-
tion efficiency by about 20 %, improves the pT resolution of
muons above 1.5 TeV by approximately 30 %.
The reconstruction efficiencies for signal and background
obtained from tt simulation are reported in Table 1. The
results are shown for the four identification selection cri-
teria separating low (4 < pT < 20 GeV) and high
(20 < pT < 100 GeV) transverse momentum muon can-
didates. No isolation requirement is applied in the selection
shown in the table. When isolation requirements are applied,
the misidentification rates are reduced by more than an order
of magnitude. It should be noted that the higher misidentifi-
cation rate observed for Loose with respect to Medium muons
is mainly due to CT muons in the region \n\ < 0.1.
The misidentification probability estimated with the MC
simulation is validated in data by measuring the proba-
bility that pions are reconstructed as muons. An unbiased
sample of pions from KS0 ^ n+n- decays is collected
with calorimeter-based (photon, electron, jet) triggers. Good
agreement between data and simulation is observed indepen-
dent of the pT, n, and impact parameter of the track.
##### 6 Reconstruction efficiency
As the muon reconstruction in the ID and MS detectors is per-
formed independently, a precise determination of the muon
reconstruction efficiency in the region \n\ < 2.5 is obtained
with the tag-and-probe method, as described in the Sect. 6.1.
A different methodology, described in Sect. 6.2, is used in
the region 2.5 < \n\ < 2.7 where muons are reconstructed
using only the MS detector.
Efficiency measurement in the region \n\ < 2.5
The tag-and-probe method is employed to measure the effi-
ciency of the muon identification selections within the accep-
tance of the ID (\n\ < 2.5). The method is based on the
selection of an almost pure muon sample from J/f ^ xx
or Z ^ xx events, requiring one leg of the decay (tag) to
be identified as a Medium muon that fires the trigger and the
second leg (probe) to be reconstructed by a system indepen-
dent of the one being studied. A selection based on the event
topology is used to reduce the background contamination.
Three kinds of probes are used to measure muon efficien-
cies. ID tracks and CT muons both allow a measurement
of the efficiency in the MS, while MS tracks are used to
determine the complementary efficiency of the muon recon-
struction in the ID. Compared to ID tracks, CT muons offer
a more powerful rejection of backgrounds, especially at low
transverse momenta, and are therefore the preferred probe
type for this part of the measurement. ID tracks are used as
a cross-check and for measurements not directly accessible
to CT muons. A direct measurement of the CT muon recon-
struction efficiency is possible using MS tracks.
The efficiency measurement for Medium, Tight, and
High-pT muons consists of two stages. First, the efficiency
e (X\CT) (X = Medium/Tight/High-pT) of reconstructing
these muons assuming a reconstructed ID track is measured
using a CT muon as probe. Then, this result is corrected by
the efficiency e (ID\MS) of the ID track reconstruction, mea-
sured using MS probes:
e (X) = e (X\ID) ■ e (ID) = e (X\CT) ■ e (ID\MS)
(X = Medium/Tight/High-pT).	(1)
A similar approach is used when using ID probe tracks for
cross-checks.
This approach is valid if two assumptions are satisfied:
- the ID track reconstruction efficiency is independent from
  the muon spectrometer track reconstruction (e (ID) =
  e (ID\MS)).
- the use of a CT muon as a probe instead of an ID track does
  not affect the probability for Medium, Tight, or High-pT
  reconstruction (e (X\ID) = e (X\CT)).
Both assumptions have been tested using generator-level
information from simulation and small differences are taken
into account in the systematic uncertainties.
The muons selected by the Loose identification require-
ments are decomposed into two samples: CT muons within
1 Springer

292 Page 6 of 30
Eur. Phys. J. C (2016) 76:292
1 Springer
\n\ < 0.1 and all other muons. The CT muon efficiency
is measured using MS probe tracks, while the efficiency of
other muons is evaluated using CT probe muons in a fashion
similar to the Medium, Tight, and High-pT categories.
The level of agreement of the measured efficiency,
eData (X), with the efficiency measured with the same method
in simulation, eMC (X), is expressed as the ratio of these two
numbers, called the “efficiency scale factor” (SF):
eData (X)
SF = v ^.	(2)
eMC (X)
This quantity describes the deviation of the simulation from
the real detector behaviour, and is of particular interest to
physics analyses, where it is used to correct the simulation.
The tag-and-probe method with Z ^ pp events
Events are selected by requiring muon pairs with an invari-
ant mass within 10 GeV of the Z boson mass. The tag
muon is required to satisfy the Loose isolation (see Sect. 7.2)
and Medium muon identification selections and to have a
transverse momentum of at least 24 GeV. Requirements
on the significance of the transverse impact parameter d0
(\d0\/o(d0) < 3.0) and on the longitudinal impact parame-
ter \z0\ (\z0\ < 10 mm) of the tag muon are imposed. Finally,
the tag muon is required to have triggered the readout of the
event.
The probe muon is required to have a transverse momen-
tum of at least 10 GeV and to satisfy the Loose isolation
criteria. While this is sufficient to ensure high purity in the
case of MS probe tracks, further requirements are applied to
both the ID track and CT muon probes. In the case of ID
tracks, an isolation requirement is applied which is consid-
erably stricter than the Loose selection in order to suppress
backgrounds as much as possible. In addition, the invariant
mass window is tightened to 5 GeV around the Z boson
mass, rather than the 10 GeV used in the other cases. For
CT muon probes, additional requirements on the compatibil-
ity of the associated calorimeter energy deposit with a muon
signature are applied to further enhance the purity. The ID
probe tracks and calorimeter-tagged probe muons must also
have transverse and longitudinal impact parameters consis-
tent with being produced in a primary pp interaction, as
required for tag muons. A probe is considered successfully
reconstructed if a reconstructed muon is found within a cone
in the plane of size AR = 0.05 around the probe track.
A small fraction (about 0.1 %) of the selected tag-probe
pairs originates from sources other than Z ^ pp events. For
a precise efficiency measurement, these backgrounds must
be estimated and subtracted. Contributions from Z ^ tt
and tt decays are estimated using simulation. Additionally,
multijet events and W ^ pv decays in association with
jet activity (W +jets) can yield tag-probe pairs through sec-
ondary muons from heavy- or light-hadron decays. As these
backgrounds are approximately charge-symmetric, they are
estimated from the data using same-charge (SC) tag-probe
pairs. This leads to the following estimate of the opposite-
charge (OC) background, NBkg, for each region of the kine-
matic phase-space:
## NBkg = nZc“ MC + T • (NSDCata - NjZc" MC) (3)
where nOC MC is the contribution from Z ^ tt and tt
decays, NSDCata is the number of SC pairs measured in data
and NC^ MC is the estimated contribution of the Z ^ pp,
Z ^ tt, and tt processes to the SC sample. T is a global
transfer factor that takes into account the charge asymmetry
of the multijet and W +jets processes, estimated in data using
a control sample of events obtained by inverting the probe
isolation requirement. For MS (ID) tracks, a value of T = 1.7
(1.1) is obtained, while for calorimeter-tagged muon probes
the transfer factor is T = 1.2. The systematic uncertainties
in the transfer factor vary between 40 % and 100 % and are
included in the systematic error in the reconstruction effi-
ciency described in Sect. 6.1.3.
The efficiency measured in the data is corrected for the
background contributions described above by subtracting the
predicted probe yields attributed to these sources from the
number of observed probes,
## NData - NRBkg NjData - NpBkg’
where NP denotes the total number of probes and NR the
number of successfully reconstructed probes. The resulting
efficiency can then be compared directly to the result of the
simulation.
The tag-and-probe method with J/f ^ pp events
The reconstruction efficiencies of the Loose, Medium, and
Tight muon selections at low pT are measured from a sam-
ple of J/f ^ pp events selected using a combination of
single-muon triggers and the dedicated “muon + track” trig-
ger described in Sect. 4.
Tag-probe pairs are selected within the invariant mass
window of 2.7-3.5 GeV and requiring a transverse momen-
tum of at least 5 GeV for each muon. The tag muon is required
to satisfy the Medium muon identification selection and to
have triggered the readout of the event. In order to avoid low-
momentum curved tracks sharing the same trigger region,
tag and probe muons are required to be AR > 0.2 apart
when extrapolated to the MS trigger surfaces. Finally, they

Eur. Phys. J. C (2016) 76:292
Page 7 of 30 292
Fig. 1 Total uncertainty in the efficiency scale factor for Medium muons as a function of n as obtained from Z ^ xx data (left) for muons with
pT > 10 GeV, and from J/f ^ xx data (right) for muons with 5 < pt < 20 GeV. The combined uncertainty is the sum in quadrature of the
individual contributions
are selected with Az0 = \z0ag - zprobe\ < 5 mm, to sup-
press background. A probe is considered successfully recon-
structed if a selected muon is found within a AR = 0.05
cone around the probe track.
The background contamination and the muon reconstruc-
tion efficiency are measured with a simultaneous maximum-
likelihood fit of two statistically independent distributions
of the invariant mass: events in which the probe is or is not
successfully matched to the selected muon. The fits are per-
formed in six pT and nine n bins of the probe tracks. The
signal is modelled with a Crystal Ball function [26] with a
single set of parameters for the two independent samples.
Separate first-order polynomial fits are used to describe the
background shape for matched and unmatched probes.
Systematic uncertainties
Fig. 2 Total uncertainty in the efficiency scale factor for Medium
muons as a function of pt as obtained from Z ^ xx (solid lines)
and J/f ^ xx (dashed lines) decays. The combined uncertainty is
the sum in quadrature of the individual contributions
The main contributions to the systematic uncertainty in
the measurement of the efficiency SFs with Z ^ xx and
J/f ^ xx events are shown in Figs. 1 and 2, as a function
of n and pT, respectively.
The uncertainty in the background estimate is evaluated
in the Z ^ xx analysis by taking the maximum variation of
the transfer factor T when estimated with a simulation-based
approach as described in Ref. [12] and when assuming the
background to be charge-symmetric. This results in an uncer-
tainty of the efficiency measurement below 0.1% over a large
momentum range, but reaching ~ 1 % for low muon momenta
where the contribution of the background is most significant.
In the J/f ^ xx analysis, the background uncertainty is
estimated by changing the function used in the fit to model
the background, replacing the first-order polynomial with an
exponential function. An uncertainty due to the signal mod-
elling in the fit, labelled as “Signal” in Figs. 1 and 2, is also
estimated using a convolution of exponential and Gaussian
functions as an alternative model. Each uncertainty is about
1 %.
The cone size used for matching selected muons to probe
tracks is optimised in terms of efficiency and purity of the
matching. The systematic uncertainty deriving from this
choice is evaluated by varying the cone size by ±50 %. This
yields an uncertainty below 0.1 % in both analyses.
Possible biases in the tag-and-probe method, such as
biases due to different kinematic distributions between recon-
structed probes and generated muons or correlations between
ID and MS efficiencies, are estimated in simulation by
comparing the efficiency measured with the tag-and-probe
method with the “true” efficiency given by the fraction of
generator-level muons that are successfully reconstructed.
This uncertainty is labelled as “Truth Closure” in Figs. 1
and 2. Inthe Z ^ xx analysis, agreement better than 0.1 %
is observed in the high momentum range. This uncertainty
1 n

292 Page 8 of 30
Eur. Phys. J. C (2016) 76:292
Fig. 3 Muon reconstruction efficiency as a function of n measured in
Z ^ xx events for muons with pt > 10 GeV shown for Medium
(top), Tight (bottom left), and High-pT (bottom right) muon selections.
In addition, the top plot also shows the efficiency of the Loose selec-
tion (squares) in the region \n\ < 0.1 where the Loose and Medium
selections differ significantly. The error bars on the efficiencies indi-
cate the statistical uncertainty. Panels at the bottom show the ratio of
the measured to predicted efficiencies, with statistical and systematic
uncertainties
grows at low pT, and differences up to 0.7 % are found in the
J/f ^ xx analysis. A larger effect of up to 1-2 % is mea-
sured in both analyses in the region \n\ < 0.1. In the extrac-
tion of the efficiency scale factors, the difference between
the measured and the “true” efficiency cancels to first order.
To take into account possible imperfections of the simula-
tion, half of the observed difference is used as an additional
systematic uncertainty in the SF.
No significant dependence of the measured SFs with
pT is observed in the momentum range considered in the
Z ^ xx analysis. An upper limit on the SF variation for
large muon momenta is extracted from simulation, leading
to an additional uncertainty of 2-3 % per TeV for muons with
pT > 200 GeV. The efficiency scale factor is observed to be
independent of the amount of pile-up.
Results
Figure 3 shows the muon reconstruction efficiency as a func-
tion of n as measured from Z ^ xx events for the different
muon selections. The efficiency as measured in data and the
corresponding scale factors for the Medium selection are also
shown in Fig. 4 as a function of n and 0. The efficiency at
low pT is reported in Fig. 5 as measured from J/f ^ xx
events as a function of pT in different n regions.
The efficiencies of the Loose and Medium selections are
very similar throughout the detector with the exception of
the region \n\ < 0.1, where the Loose selection fills the MS
acceptance gap using the calorimeter and segment-tagged
muons contributions. The efficiency of these selections is
observed to be in excess of 98 %, and between 90 and 98 % for
the Tight selection, with all efficiencies in very good agree-
ment with those predicted by the simulation. An inefficiency
due to a poorly aligned MDT chamber is clearly localised
at (n, 0) ~ (-1.3, 1.6), and is the most significant feature
of the comparison between collision data and simulation for
these three categories. In addition, a 2 %-level local ineffi-
ciency is visible in the region (n, 0) ~ (1.9, 2.5), traced to
temporary failures in the SCT readout system. Further local
inefficiencies in the barrel region around 0 ~ —1.1 are also
1 n

Eur. Phys. J. C (2016) 76:292
Page 9 of 30 292
Fig. 4 Reconstruction
efficiency measured in data
(top), and the data/MC
efficiency scale factor (bottom)
for Medium muons as a function
of n and 0 for muons with
pT > 10 GeV in Z ^ xx
events. The thin white bins
visible in the region \0\~ n are
due to the different bin
boundaries in 0 in the endcap
and barrel regions
Fig. 5 Muon reconstruction efficiency in different n regions measured
in J/f ^ xx events for Loose (left) and Tight (right) muon selections.
Within each n region, the efficiency is measured in six pt bins (5-6,
6-7, 7-8, 8-10, 10-12, and 12-15 GeV). The resulting values are plot-
ted as distinct measurements in each n bin with pT increasing from 5 to
15 GeV going from left to right. The error bars on the efficiencies indi-
cate the statistical uncertainty. The panel at the bottom shows the ratio
of the measured to predicted efficiencies, with statistical and systematic
uncertainties
linked to temporary faults during data taking. The efficiency
of the High-pT selection is significantly lower, as a conse-
quence of the strict requirements on momentum resolution.
Local disagreements between prediction and observation are
more severe than in the case of the other muon selections.
Apart from the poorly aligned MDT chamber, they are most
prominent in the CSC region.
Figure 6 shows the reconstruction efficiencies for the
Medium muon selection as a function of transverse momen-
tum, including results from Z ^ xx and J/f ^ xx, for
1 n

292 Page 10 of 30
Fig. 6 Reconstruction efficiency for the Medium muon selection as
a function of the pr of the muon, in the region 0.1 < |n| < 2.5 as
obtained with Z ^ pp and J^ pp events. The error bars on the
efficiencies indicate the statistical uncertainty. The panel at the bottom
shows the ratio of the measured to predicted efficiencies, with statistical
and systematic uncertainties
muons with 0.1 < |n| < 2.5. The efficiency is stable and
slightly above 99 % for pT > 6 GeV. Values measured from
J/■$■ ^ ppt and Z ^ pp events are in agreement in the
overlap region between 10 and 20 GeV. The efficiency scale
factors are also found to be compatible.
Muon reconstruction efficiency for |n| > 2.5
As described in the previous sections, the reconstruction of
combined muons is limited by the ID acceptance to the pseu-
dorapidity region |n| < 2.5. For |n| > 2.5, the efficiency is
recovered by using the ME muons included in the Loose and
Medium muon selections. A measurement of the efficiency
SF for muons in the region 2.5 < | n| < 2.7 (high-n region)
is performed using the method described in Ref. [12]. The
number of muons observed in Z ^ pp decays in the high-n
region is normalised to the number of muons observed in the
region 2.2 < | n I < 2.5. This ratio is calculated for both data
and simulation, applying all known performance corrections
to the region | n I < 2.5. The SFs in the high-n region are
defined as the ratio of the aforementioned ratios and are pro-
vided in 4 n and 16 $ bins. The values of the SFs measured
using the 2015 dataset are close to 0.9 and are determined
with a 3-5 % uncertainty.
7 Isolation
Muons originating from the decay of heavy particles, such
as W, Z, or Higgs bosons, are often produced isolated from
other particles. Unlike muons from semileptonic decays,
which are embedded in jets, these muons are well separated
from other particles in the event. The measurement of the
Eur. Phys. J. C (2016) 76:292
detector activity around a muon candidate, referred to as
muon isolation, is therefore a powerful tool for background
rejection in many physics analyses.
Muon isolation variables
Two variables are defined to assess muon isolation: a track-
based isolation variable and a calorimeter-based isolation
variable.
The track-based isolation variable, pTarcone30, is defined as
the scalar sum of the transverse momenta of the tracks with
pT > 1 GeV in a cone of size AR = min (10 GeV/pip, 0.3)
around the muon of transverse momentum pp, excluding the
muon track itself. The cone size is chosen to be pT-dependent
to improve the performance for muons produced in the decay
of particles with a large transverse momentum.
The calorimeter-based isolation variable, ^Tj?pocone20, is
defined as the sum of the transverse energy of topological
clusters [27] in a cone of size AR = 0.2 around the muon, after
subtracting the contribution from the energy deposit of the
muon itself and correcting for pile-up effects. Contributions
from pile-up and the underlying event are estimated using
the ambient energy-density technique [28] and are corrected
on an event-by-event basis.
The isolation selection criteria are determined using the
relative isolation variables, which are defined as the ratio
of the track- or calorimeter-based isolation variables to the
transverse momentum of the muon. The distribution of the
relative isolation variables in muons from Z ^ pp events
is shown in the top panels of Fig. 7. Muons included in
the plot satisfy the Medium identification criteria and are
well separated from the other muon from the Z boson
(ARpp > 0.3). The bottom panel shows the ratio of data
to simulation.
Muon isolation performance
Seven isolation selection criteria (isolation working points)
are defined, each optimised for different physics analyses.
Table 2 lists the seven isolation working points with the dis-
criminating variables and the criteria used in their definition.
The efficiencies for the seven isolation working points are
measured in data and simulation in Z ^ pp decays using the
tag-and-probe method described in Sect. 6. To avoid probe
muons in the vicinity of a jet, the angular separation AR
between the probe muon and the closest jet, reconstructed
using an anti-kt algorithm [29] with radius parameter 0.4
and with a transverse momentum greater than 20 GeV, is
required to be greater than 0.4. In addition, the two muons
originating from the Z boson decay are required to be sep-
arated by ARpp > 0.3. Figure 8 shows the isolation effi-
ciency measured for Medium muons in data and simulation
1 Springer

Eur. Phys. J. C (2016) 76:292
Page 11 of 30 292
Fig. 7 Distributions of the track-based (left) and the calorimeter-based
(right) relative isolation variables measured in Z ^ pp events. Muons
are selected by the Medium identification algorithm. The dots show the
distribution for data while the histograms show the distribution from
simulation. The bottom panels show the ratio of data to simulation with
the corresponding statistical uncertainty. The pile-up reweighted simu-
lated distribution is normalised to the number of events selected in data
Table 2 Definition of the seven
isolation working points. The
discriminating variables are
listed in the second column and
the criteria used in the definition
are reported in the third column
as a function of the muon pT for the LooseTrackOnly, Loose,
GradientLoose, and FixedCutLoose working points, with the
respective data/MC ratios included in the bottom panel. The
systematic uncertainties in the SFs are estimated by varying
the background contributions within their uncertainties and
by varying some of the selection criteria, such as the invari-
ant mass selection window, the isolation of the tag muon,
the minimum quality of the probe muon, the opening angle
between the two muons, and the A R between the probe muon
and the closest jet. In Fig. 8, the largest systematic uncer-
tainty contribution over the entire pT region arises from hav-
ing neglected the n dependence of the SFs, which are usually
provided as a function of n and pT.Inthe low-pT region, other
important contributions are due to the background estimation
and the mass window variation, while the high- pT region is
dominated by statistical uncertainties in data and simulation.
The total uncertainty is at the per mille level over a wide
range of pT and reaches the percent level in the high- pT
region. The suppression factor for muons from light mesons
or b/c semileptonic decays is estimated from simulation and
depends on the isolation working point, ranging from a min-
imum of 15 for LooseTrackOnly to a maximum of 40 for
Gradient.
8 Momentum scale and resolution
The muon momentum scale and resolution are studied using
J/f ^ pp and Z ^ pp decays. Although the simulation
contains an accurate description of the ATLAS detector, the
level of detail is not enough to describe the muon momentum
scale to the per mille level and the muon momentum reso-
lution to the percent level. To obtain such a level of agree-
ment between data and simulation, a set of corrections is
applied to the simulated muon momentum. The methodology
used to extract these corrections is described in Sect. 8.1. In
Sect. 8.2, measurements of the muon momentum scale and
resolution in data and simulation are presented for various
detector regions and for a wide range of pT. To improve the
precision of the procedure, the pT and n distributions of the
Z and J/f resonances in simulation are reweighted to the
distributions observed in data.
Muon momentum calibration procedure
In the following, the “muon momentum calibration” is
defined as the procedure used to identify the corrections to
the simulated muon transverse momenta reconstructed in the
ID and MS subdetectors to precisely describe the measure-
1 Springer

292 Page 12 of 30
Eur. Phys. J. C (2016) 76:292
Fig. 8 Isolation efficiency for the LooseTrackOnly (top left), Loose
(top right), GradientLoose (bottom left), and FixedCutLoose (bottom
right) muon isolation working points. The efficiency is shown as a func-
tion of the muon transverse momentum pt and is measured in Z ^ pp
events. Thefull (empty) markers indicate the efficiency measured in data
(MC) samples. The errors shown on the efficiency are statistical only.
The bottom panel shows the ratio of the efficiency measured in data and
simulation, as well as the statistical uncertainties and combination of
statistical and systematic uncertainties
ment of the same quantities in data. Only CB muons are used
to extract the calibration parameters. The transverse momen-
tum of the ID and MS components of a CB track, referred to
as pTID and pTMS, respectively, are used. The ID (MS) tracks
are reconstructed using the hits from the ID (MS) detector
and are extrapolated to the interaction point. In the case of MS
tracks, the fit corrects for the energy loss in the calorimeters
as described earlier.
The corrected transverse momentum, pTCor,Det (Det
= ID, MS), is described by the following equation:
pMC,Det + i sDet (n, $) (pMC,Det )n
p?°r,Det =	2	—	,	(5)
1 + i ArDet(n,$UpMC,Det)m- gm
m=0	v	;
where pTMC,Det is the uncorrected transverse momentum in
simulation, gm are normally distributed random variables
with zero mean and unit width, and the terms Ar?Det (n, $)
and s^1 (n, $) describe the momentum resolution smearing
and the scale corrections applied in a specific (n, $) detector
region, respectively.
The corrections described in Eq. (5) are defined in n-$
detector regions that are homogeneous in terms of detector
technology and performance. Both the ID and the MS are
divided into 18 pseudorapidity regions. In addition, the MS is
divided into two $ bins separating the two types of $ sectors:
those that include the magnet coils (small sectors) and those
between two coils (large sectors). The small and large MS
sectors employ independent alignment techniques and cover
detector areas with different material distribution. Therefore,
relevant scale and resolution differences exist.
The numerator of Eq. (5) describes the momentum scales.
The s1Det term corrects for inaccuracy in the description of
the magnetic field integral and the dimension of the detec-
tor in the direction perpendicular to the magnetic field. The
sMS (n,$) term models the effect on the MS momentum from
the inaccuracy in the simulation of the energy loss in the
calorimeter and other materials between the interaction point
and the MS. As the energy loss between the interaction point
and the ID is negligible, s0D(n) is set to zero.
The denominator of Eq. (5) describes the momentum
smearing that broadens the relative pT resolution in simu-
lation, o(pT)/pT, to properly describe the data. The correc-
tions to the resolution assume that the relative pT resolution
can be parameterized as follows:
a(pT)
 = r0/pr ® rx ® r2 ■ pr,	(6)
pT
with © denoting a sum in quadrature. In Eq. (6), the first term
accounts mainly for fluctuations of the energy loss in the tra-
12n

Eur. Phys. J. C (2016) 76:292
Page 13 of 30 292
which assumes that the relative contribution of the two sub-
detectors to the combined track remains unchanged before
and after momentum corrections.
8.1.1 Determination of the pT calibration constants
The MS and ID correction parameters contained in Eq. (5)are
extracted from data using a binned maximum-likelihood fit
with templates derived from simulation which compares the
invariant mass distributions for J/f ^ yy and Z ^ yy
candidates in data and simulation. The exceptions are Ar0D,
ArMS, and s0D, which are set to zero, and ArMS, which is
determined from alignment studies using special runs with
the toroidal magnetic field off.
The J/f ^ yy and Z ^ yy candidates are selected
by requiring two oppositely charged CB muons satisfying
the Medium identification criteria. Both muons must have
impact parameters compatible with tracks produced by the
primary interaction and pseudorapidity within the acceptance
of both the ID and MS detectors (|n| < 2.5). Both muons
from J/f ^ yy (Z ^ yy) candidate decays are required
to have momenta in the range 5-20 (22-300) GeV and to
form an invariant mass in the range 2.65-3.6 (76-106) GeV.
Muons from Z boson decays need to be isolated, while no
isolation criterion is imposed on muons from J/f decays.
The extraction of the correction parameters is performed
in n-0 regions of fit (ROFs) defined separately for the ID
and the MS. Events are assigned to a specific ROF if at least
one muon falls in the corresponding n~$ region.
The ID corrections are extracted using the distributions
of the ID dimuon invariant mass, m^. To enhance the sen-
sitivity to pT-dependent correction effects, the myy is clas-
sified according to the pT of the muons. For J/f ^ yy
(Z ^ yy) decays, the fit is performed in two exclusive cat-
egories defined requiring the candidates to have pTID of the
Table 3 Summary of ID muon momentum resolution and scale correc-
tions used in Eq. (5), averaged over three main detector regions. The
corrections are derived in 18 pseudorapidity regions, as described in
Sect. 8, and averaged, assigning a weight to each region proportional
to its n width. The uncertainties represent the sum in quadrature of the
statistical and systematic uncertainties
Region	ArID (x10-3)	Ar2D [TeV-1]	sjD(x 10-3)
Ini < 1.05 1.05 < Ini < 2.0 / Ini > 2.0	1+06 / —0.9 / 5+2.5 / —0.8 / 9+9 9—2	0 17+0.04 / -0.03 / 0 34+0.07 / 0.34-0.09 / 0.05 ± 0.01	0.6+0.1 0 -0.2 / 0.5+0.2 / 0 -0.5 / 1.0+3.5 / 1.0-1.6

1 Springer
versed material, the second term accounts mainly for multi-
ple scattering, local magnetic field inhomogeneities and local
radial displacements of the hits, and the third term mainly
describes intrinsic resolution effects caused by the spatial
resolution of the hit measurements and by residual misalign-
ment of the muon spectrometer. The energy loss term is neg-
ligible in both the ID and MS measurements, and therefore
Ar® and ArMS are set to zero.
The corrected momentum of the combined muons,
Cor CB
pT ’	, is obtained by combining the ID and MS corrected
momenta using a weighted average:
Cor,CB	Cor,ID	Cor,MS
Pt = f • Pt	+ (1 - f) •	Pt	,	(7)
with the weight f derived from the following linear equation
pMc,cb = f • pMC,ID + (1 - f) • pMC,MS	(8)
sub-leading (leading) muon greater than 5 or 9 (22 or 47)
GeV, respectively.
Similarly, the MS corrections are extracted using the dis-
tributions of the MS-reconstructed dimuon invariant mass,
m^p. Since there are more parameters and more ROFs in the
MS version of Eq. (5), an additional variable is added to the
MS fit. This is defined by the following equation
pTMS - pCor,ID
FT FT	(9)
P	Cor,ID	’
pT
which represents the pT imbalance between the measurement
in the ID and in the MS. In Eq. (9), the momentum of the ID,
pCor,ID, contains the appropriate pT corrections. The variable
p is used only in Z ^ pp candidate events and is binned
according to pMS of the muon with lower bin boundaries of
pMS = 22, 35, 47, 60, 90 GeV.
Templates for the m pp, m Mp, and p are built using
J/f ^ pp and Z ^ pp simulated signal samples. In the
Z ^ pp sample, the small background component (approx-
imately 0.1 %) is extracted from simulation and added to the
templates. A much larger (about 15 %) non-resonant back-
ground from decays of light and heavy hadrons and from con-
tinuum Drell-Yan production is present in the J/f ^ pp
sample. As this background is not easy to simulate, a data-
driven approach is used. The dimuon invariant mass distri-
bution in data is fitted in each ROF using a Crystal Ball func-
tion added to an exponential background distribution in the
ID and MS fits. The background model and its normalisation
are then used in the template fit.
The results are shown in Tables 3 and 4, averaged over
three n regions. The quoted errors include systematic uncer-
tainties evaluated by varying several parameters of the tem-
plate fit. The main contributions to the final systematic uncer-
tainty are:
• Mass window width for the Z ^ pp candidate selec-
tion. Non-Gaussian smearing effects are accounted for
by varying the mpp selection by ±5 GeV.

292 Page 14 of 30
Eur. Phys. J. C (2016) 76:292
Table 4 Summary of MS momentum resolution and scale corrections
for small and large MS sectors, averaged over three main detector
regions. The corrections for large and small MS sectors are derived in
18 pseudorapidity regions, as described in Sect. 8, and averaged assign-
ing a weight to each region proportional to its n width. The energy loss
term Ar0fS is negligible and therefore fixed to zero in the fit for all n.
The uncertainties represent the sum in quadrature of the statistical and
systematic uncertainties
Region	ArMS / (xl0-3)	Ar“S [TeV-1]	sMS / s0 / [MeV]	sMS / s1 / (x10-3)
Ini < 1.05	17± 1	0.080 ± 0.006	-23 ± 5	-0.9 ± 0.3
(small)
InI < 1.05 (large)	15± 1	0.162 ± 0.007	-26-5	1 8+0.4 / 1 . 8 - 0.3
1.05 < ini <	25-1	0.20 ± 0.03	-13 ± 6	-1.4 ± 0.4
2.0 (small)
1.05 < ini <	23-1	0.160 ± 0.015	-15 ± 10	1.1+0.5 / -1.1-0.6
2.0 (large)
ini > 2.0 / (small)	17-1	0.08 ± 0.01	_6+6 6-7	0.7+0.4 / 0.7-0.3
ini > 2.0 / (large)	15-3	0.112 ± 0.010	-3 + 13 -3-10	0.3+0.6 / 0.3-0.7

• Background parameterization for the J/f fit as well as
increased muon pT cut (from 5 to 7 GeV) to reduce the
weight of the contribution of low-pT muons.
- Scale parameter for the ID corrections obtained by fit-
  ting separately the J/f ^ pp and Z ^ pp samples,
  to include possible non-linear scale effects.
- As ArMS is sensitive to the alignment of the MS cham-
  bers, its systematic uncertainty is determined from align-
  ment studies performed on special runs where the toroidal
  magnetic field was turned off.
Dimuon mass scale and resolution after applying
momentum corrections
The samples of J/f ^ pp and Z ^ pp decays are used
to study the muon momentum scales and resolution in data
and simulation and to validate the momentum corrections
obtained with the template fit method described in the previ-
ous section.
The invariant mass distributions for the J/f ^ pp and
Z ^ pp candidates are shown in Fig. 9 and compared with
uncorrected and corrected simulation. In the uncorrected sim-
ulation, it is noticeable that the signal distributions are nar-
rower and slightly shifted with respect to data. After correc-
tion, the lineshapes of the two resonances in simulation agree
with the data within the systematic uncertainties, demonstrat-
ing the overall effectiveness of the pT calibration.
A better demonstration of the effectiveness of the momen-
tum calibration is obtained by comparing, in data and simu-
Fig. 9 Dimuon invariant mass distribution of Z ^ pp (left) and
J/f ^ pp (right) candidate events reconstructed with CB muons.
The upper panels show the invariant mass distribution for data and for
the signal simulation plus the background estimate. The points show
the data. The continuous line corresponds to the simulation with the
MC momentum corrections applied while the dashed lines show the
simulation when no correction is applied. Background estimates are
added to the signal simulation. The band represents the effect of the
systematic uncertainties on the MC momentum corrections. The lower
panels show the data to MC ratios. In the Z sample, the MC background
samples are added to the signal sample according to their expected cross
sections. In the J/f sample, the background is estimated from a fit to
the data as described in the text. The sum of background and signal MC
distributions is normalised to the data
1 Springer

Eur. Phys. J. C (2016) 76:292
Page 15 of 30 292
Fig. 10 Fitted mean mass of the dimuon system for CB muons for
Z ^ pp (left) and J/f ^ pp (right) events for data and corrected
simulation as a function of the pseudorapidity of the highest-pt muon.
The upper panels show the fitted mean mass value for data and cor-
rected simulation. The small variations of the invariant mass estimator
as a function of pseudorapidity are due to imperfect energy loss correc-
tions and magnetic field description in the muon reconstruction. Both
effects are well reproduced in the simulation. The lowerpanels show the
data/MC ratio. The error bars represent the statistical uncertainty; the
shaded bands represent the systematic uncertainty in the correction and
the systematic uncertainty in the extraction method added in quadrature
lation, the measurement of the position mpp and resolution
app of the dimuon mass peaks, extracted in bins of n and
pT from fits to the J/^ ^ pp and Z ^ pp invariant mass
distributions.
When the two muons have similar momentum resolution
and angular effects are neglected, the relative mass resolu-
tion, app/mpp, is directly proportional to the relative muon
momentum resolution, aPp/pp:
= —aPp.	(10)
### mpp V2 Pp
Similarly, the total	muon	momentum	scale,	defined as
s = ((pmeas - ptrue)/ptrue>,	is directly related to	the dimuon
mass scale, defined as spp = ((mjp - mpp)/mpp):
### spp = — sp1 sp2 , (11)
where sp1 and sp2 are the momentum scales of the two muons.
The dimuon mass resolution is obtained by fitting the
width of the invariant mass peaks. In J/f ^ pp decays, the
intrinsic width of the resonance is negligible with respect to
the experimental resolution. The bulk of the peak is modelled
by a Crystal Ball function; a Gaussian distribution centred on
the Crystal Ball function is added to the signal description to
model the tails of the distribution. The non-resonant back-
ground is described by an exponential function. In Z ^ pp
decays, the fits use a convolution of the true lineshape (mod-
elled by a Breit-Wigner function) with an experimental res-
olution function (a combination of a Crystal Ball and a Gaus-
sian function). Similarly to the J/f, the non-resonant back-
ground is described by an exponential function. The peak
position and width of the Crystal Ball function are used as
estimators for the mpp and o(mpp) variables in the various
n and pT bins.
Figure 10 shows the position of the peak of the invariant
mass distribution, mpp, obtained from the fits to the Z boson
and J/f samples as a function of the pseudorapidity of the
highest-pT muon for CB pairs. The distributions are shown
for data as well as corrected simulation, with the ratio of the
two in the lower panel. The simulation is in very good agree-
ment with the data. Minor deviations are contained within the
scale systematic uncertainties of 0.05 % in the barrel region,
increasing with ini to 0.1 %(0.3 %) in the region ini ~ 2.5
for Z ^ pp (J/f ^ pp) decays. The systematic uncer-
tainties shown in the plots include the effects of the uncer-
tainties in the calibration constants described in Sect. 8.1 and
the changes in the fit parameterization. The observed level
of agreement demonstrates that the pT calibration for com-
bined muon tracks described above provides a very accurate
description of the momentum scale in all n regions, over
a wide pT range. Similar levels of data/MC agreement are
observed for the ID and MS components of the combined
tracks.
Figure 11 displays the dimuon mass resolution o(mpp)
as a function of the leading-muon n for the two resonances.
The dimuon mass resolution is about 1.2 and 1.6 % at small
n values for J/f and Z bosons, respectively, and increases
to 1.6 and 1.9 % in the endcaps. This corresponds to a rel-
ative muon pT resolution of 1.7 and 2.3 % in the centre of
the detector and 2.3 and 2.9 % in the endcaps for J/f and
Z boson decays, respectively. After applying the momen-
tum corrections described above, the simulation reproduces
the resolution measured in data, well within the systematic
1 Springer

292 Page 16 of 30
Fig. 11 Dimuon invariant mass resolution for CB muons for Z ^ pp
(left) and J/f ^ pp (right) events for data and corrected simulation
as a function of the pseudorapidity of the highest-pt muon. The upper
panels show the fitted resolution value for data and corrected simulation.
Eur. Phys. J. C (2016) 76:292
The lower panels show the data/MC ratio. The error bars represent the
statistical uncertainty; the shaded bands represent the systematic uncer-
tainty in the correction and the systematic uncertainty in the extraction
method added in quadrature
uncertainties. The systematic uncertainties are estimated fol-
lowing the same procedure described for the determination
of the energy scale. Good agreement between the dimuon
mass resolution measured in data and simulation is also
observed for the ID and MS components of the combined
tracks.
The relative dimuon mass resolution o^/m^ depends
approximately on the average momentum of the muons, as
shown in Eq. (10). This allows a direct comparison of the
momentum resolution function determined with J/f and
Z boson decays. This is shown in Fig. 12, where the rela-
tive dimuon mass resolution from J/f ^ p,p, and Z ^ p,p.
events is compared to simulation. The J/f ^ and
Z ^ resolutions are in good agreement. For the J/f,
the average momentum is defined as (pT) = 1 (pT, 1 + pT,2)
while for the Z boson it is defined as
/ sin 01 sin 02
PT = mZJ——1	2—,	(12)
y 2(1 - cos a12)
where mZ is the Z boson mass [30], 91 and 92 are the polar
angles of the two muons, and a12 is the opening angle of
the muon pair. This definition, based on angular variables
only, removes the correlation between the measurement of
the dimuon mass and the average pT.
9 Conclusions
The performance of the ATLAS muon reconstruction has
been measured using 3.2 fb-1 of data from pp collisions at
= 13 TeV recorded during the 25 ns run at the LHC
in 2015. A large calibration sample consisting of Z ^ pp
Fig. 12 Dimuon invariant mass resolution divided by the dimuon
invariant mass for CB muons measured from J/f ^ pp and Z ^ pp
events as a function of the average transverse momentum variables ( pt )
and pT defined in the text. Both muons are required to be in the same
i n i range. The error bars represent the statistical uncertainty while the
bands show the systematic uncertainties
decays and J/f ^ pp decays allows for a precise mea-
surement of the reconstruction and isolation efficiency as
well as of the momentum resolution and scale over a wide
pT range.
The muon reconstruction efficiency is close to 99 %
over most of the pseudorapidity range of ini < 2.5 for
pT > 5 GeV. The Z ^ pp sample enables a measurement
of the efficiency with a precision at the 0.2 % level for pT >
20 GeV. The J/f ^ pp sample provides a measurement of
the reconstruction efficiency between 5 and 20 GeV with a
precision better than 1 %.
The Z ^ pp sample is also used to measure the iso-
lation efficiency for seven isolation working points in the
12n

Eur. Phys. J. C (2016) 76:292
Page 17 of 30 292
momentum range 10-120 GeV. The isolation efficiency
varies between 93 and 100 % depending on the selection
and on the momentum of the particle, and is well reproduced
in the simulation.
The muon momentum scale and resolution have been stud-
ied in detail using J/f ^ pp and Z ^ pp decays. These
studies are used to correct the simulation to improve the
agreement with data and to minimise the systematic uncer-
tainties in physics analyses. For Z ^ pp decays, the uncer-
tainty in the momentum scale varies from a minimum of
0.05 % for ini < 1toa maximum of 0.3 % for i n I ~ 2.5. The
dimuon mass resolution is about 1.2%(1.6 %) at small values
of pseudorapidity for J/f (Z) decays, and increases to 1.6
and 1.9 % in the endcaps for J/f and Z decays, respectively.
This corresponds to a relative muon pT resolution of 1.7 and
2.3 % at small values of pseudorapidity and 2.3 and 2.9 % in
the endcaps for J/f and Z decays, respectively. After apply-
ing momentum corrections, the pT resolution in data and
simulation agree to better than 5 % for most of the n range.
Acknowledgments We thank CERN for the very successful operation
of the LHC, as well as the support staff from our institutions with-
out whom ATLAS could not be operated efficiently. We acknowledge
the support of ANPCyT, Argentina; YerPhI, Armenia; ARC, Australia;
BMWFW and FWF, Austria; ANAS, Azerbaijan; SSTC, Belarus; CNPq
and FAPESP, Brazil; NSERC, NRC and CFI, Canada; CERN; CONI-
CYT, Chile; CAS, MOST and NSFC, China; COLCIENCIAS, Colom-
bia; MSMT CR, MPO CR and VSC CR, Czech Republic; DNRF and
DNSRC, Denmark; IN2P3-CNRS, CEA-DSM/IRFU, France; GNSF,
Georgia; BMBF, HGF, and MPG, Germany; GSRT, Greece; RGC, Hong
Kong SAR, China; ISF, I-CORE and Benoziyo Center, Israel; INFN,
Italy; MEXT and JSPS, Japan; CNRST, Morocco; FOM and NWO,
Netherlands; RCN, Norway; MNiSW and NCN, Poland; FCT, Portu-
gal; MNE/IFA, Romania; MES of Russia and NRC KI, Russian Fed-
eration; JINR; MESTD, Serbia; MSSR, Slovakia; ARRS and MIZS,
Slovenia; DST/NRF, South Africa; MINECO, Spain; SRC and Wal-
lenberg Foundation, Sweden; SERI, SNSF and Cantons of Bern and
Geneva, Switzerland; MOST, Taiwan; TAEK, Turkey; STFC, United
Kingdom; DOE and NSF, United States of America. In addition, indi-
vidual groups and members have received support from BCKDF, the
Canada Council, CANARIE, CRC, Compute Canada, FQRNT, and the
Ontario Innovation Trust, Canada; EPLANET, ERC, FP7, Horizon 2020
and Marie Skłodowska-Curie Actions, European Union; Investisse-
ments d’Avenir Labex and Idex, ANR, Region Auvergne and Fondation
Partager le Savoir, France; DFG and AvH Foundation, Germany; Her-
akleitos, Thales and Aristeia programmes co-financed by EU-ESF and
the Greek NSRF; BSF, GIF and Minerva, Israel; BRF, Norway; Gen-
eralitat de Catalunya, Generalitat Valenciana, Spain; the Royal Society
and Leverhulme Trust, United Kingdom. The crucial computing support
from all WLCG partners is acknowledged gratefully, in particular from
CERN and the ATLAS Tier-1 facilities at TRIUMF (Canada), NDGF
(Denmark, Norway, Sweden), CC-IN2P3 (France), KIT/GridKA (Ger-
many), INFN-CNAF (Italy), NL-T1 (Netherlands), PIC (Spain), ASGC
(Taiwan), RAL (UK) and BNL (USA) and in the Tier-2 facilities world-
wide.
Open Access This article is distributed under the terms of the Creative
Commons Attribution 4.0 International License (http://creativecomm
ons.org/licenses/by/4.0/), which permits unrestricted use, distribution,
and reproduction in any medium, provided you give appropriate credit
to the original author(s) and the source, provide a link to the Creative
Commons license, and indicate if changes were made.
Funded by SCOAP3.
References
1. ATLAS Collaboration, The ATLAS experiment at the CERN large
   hadroncollider. JINST3, S08003 (2008). doi:10.1088/1748-0221/
   3/08/S08003
2. ATLAS Collaboration, Observation of a new particle in the search
   for the Standard Model Higgs boson with the ATLAS detector at
   the LHC. Phys. Lett. B 716, 1-29 (2012). doi:10.1016/j.physletb.
   2012.08.020. arXiv:1207.7214 [hep-ex]
3. ATLAS Collaboration, Measurement of the Higgs boson mass
   from the H ^ yy and H ^ ZZ* ^ 4l channel with
   the ATLAS detector using 25 fb-1 of pp collision data. Phys.
   Rev. D 90, 052004 (2014). doi:10.1103/PhysRevD.90.052004.
   arXiv:1406.3827 [hep-ex]
4. ATLAS Collaboration, Study of the spin and parity of the
   Higgs boson in diboson decays with the ATLAS detector. Eur.
   Phys. J. C 75, 476 (2015). doi:10.1140/epjc/s10052-015-3685-1.
   arXiv:1506.05669 [hep-ex]
5. ATLAS Collaboration, Measurements of Higgs boson produc-
   tion and couplings in the four-lepton channel in pp collisions at
   center-of-mass energies of 7 and 8 TeV with the ATLAS detec-
   tor. Phys. Rev. D 91, 012006 (2015). doi:10.1103/PhysRevD.91.
   012006. arXiv:1408.5191 [hep-ex]
6. ATLAS Collaboration, Measurement of the transverse momentum
   and 4’* distributions of Drell-Yan lepton pairs in proton-proton
   collisions at ^fs = 8 TeV with the ATLAS detector. Submitted to
   PLB (2015). arXiv:1512.02192 [hep-ex]
7. ATLAS Collaboration, Measurement of the ZZ production cross
   section in pp collisions at -Js = 13 TeV with the ATLAS detector.
   Phys. Rev. Lett. 116(10), 101801 (2016). arXiv:1512.05314 [hep-
   ex]
8. ATLAS Collaboration, Search for high-mass dilepton resonances
   in pp collisions at -Js = 8 TeV with the ATLAS detector. Phys.
   Rev. D 90, 052005 (2014). doi:10.1103/PhysRevD.90.052005.
   arXiv:1405.4123 [hep-ex]
9. ATLAS Collaboration, Search for new particles in events with one
   lepton and missing transverse momentum in pp collisions at -Js =
   8 TeV with the ATLAS detector. JHEP 09, 037 (2014). doi:10.
   1007/JHEP09(2014)037. arXiv:1407.7494 [hep-ex]
10. ATLAS Collaboration, Combination of searches for WW, WZ ,and
    ZZ resonances in pp collisions at -Js = 8 TeV with the ATLAS
    detector. Phys. Lett. B 755, 285-305 (2016). arXiv:1512.05099
    [hep-ex]
11. ATLAS Collaboration, Search for new light gauge bosons in
    Higgs boson decays to four-lepton final states in pp collisions
    at Js = 8 TeV with the ATLAS detector at the LHC. Phys.
    Rev. D 92, 092001 (2015). doi:10.1103/PhysRevD.92.092001.
    arXiv:1505.07645 [hep-ex]
12. ATLAS Collaboration, Measurement of the muon reconstruction
    performance of the ATLAS detector using 2011 and 2012 LHC
    proton-proton collision data. Eur. Phys. J. C 74, 3130 (2014).
    doi:10.1140/epjc/s10052-014-3130-x. arXiv:1407.3935 [hep-ex]
13. ATLAS Collaboration, Muon reconstruction efficiency and
    momentum resolution of the ATLAS experiment in proton-proton
    collisions at J = 7 TeV in 2010. Eur. Phys. J. C 74, 3034 (2014).
    doi:10.1140/epjc/s10052-014-3034-9. arXiv:1404.4562 [hep-ex]
14. ATLAS Collaboration, ATLAS muon spectrometer: technical
    design report. CERN-LHCC-97-22, ATLAS-TDR-10 (1997)
12n

292 Page 18 of 30
Eur. Phys. J. C (2016) 76:292
1. T. Cornelissen et al., Concepts, design and implementation of
   the ATLAS new tracking (NEWT). ATL-SOFT-PUB-2007-007
   (2007). http://cds.cern.ch/record/1020106
2. ATLAS Collaboration, Performance of the ATLAS silicon pat-
   tern recognition algorithm in data and simulation at -Js = 7
   TeV. ATLAS-CONF-2010-072 (2010). http://cds.cern.ch/record/
   1281363
3. J. Illingworth, J. Kittler, A survey of the Hough trans-
   form. Comput. Vis. Graph. Image Process. 44, 87-116 (1988).
   ISSN: 0734-189X. http://www.sciencedirect.com/science/article/
   pii/S0734189X88800331
4. ATLAS Collaboration, Performance of the ATLAS trigger sys-
   tem in 2010. Eur. Phys. J. C 72, 1849 (2012). doi:10.1140/epjc/
   s10052-011-1849-1. arXiv:1110.1530 [hep-ex]
5. S. Alioli et al., A general framework for implementing NLO cal-
   culations in shower Monte Carlo programs: the POWHEG BOX.
   JHEP 06, 043 (2010). arXiv:1002.2581 [hep-ph]
6. T. Sjostrand, S. Mrenna, P. Skands, A brief introduction to PYTHIA
   8.1. Comput. Phys. Commun. 178, 852 (2008). doi:10.1016/j.cpc.
   2008.01.036. arXiv:0710.3820 [hep-ph]
7. H.-L. Laietal., New parton distributions for collider physics. Phys.
   Rev. D 82 , 074024 (2010). doi:10.1103/PhysRevD.82.074024.
   arXiv:1007.2241 [hep-ph]
1. P. Golonka, Z. Was, PHOTOS Monte Carlo: a precision tool for
   QED corrections in Z and W decays. Eur. Phys. J. C 45, 97 (2006).
   doi:10.1140/epjc/s2005-02396-4. arXiv:0506026 [hep-ph]
2. T. Gleisberg et al., Event generation with SHERPA 1.1.
   JHEP 02 , 007 (2009). doi:10.1088/1126-6708/2009/02/007.
   arXiv:0811.4622 [hep-ph]
3. ATLAS Collaboration, The ATLAS simulation infrastructure. Eur.
   Phys. J. C 70, 823 (2010). arXiv:1005.4568 [physics.ins-det]
4. S. Agostinelli et al., Geant4, a simulation toolkit. Nucl. Instrum.
   Methods A 506,250(2003).doi:10.1016/S0168-9002(03)01368-8
5. M. Oreglia, Ph.D. thesis. SLAC-R-0236 (1980) Appendix D
6. ATLAS Collaboration, Jet energy measurement with the ATLAS
   detector in proton-proton collisions at -fs = 7 TeV. Eur.
   Phys. J. C 73,2304 (2013). doi:10.1140/epjc/s10052-013-2304-2.
   arXiv:1112.6426 [hep-ex]
7. M. Cacciari, G.P. Salam, Pileup subtraction using jet areas. Phys.
   Lett. B 659, 119 (2008). doi:10.1016/j.physletb.2007.09.077
8. M. Cacciari, G.P. Salam, G. Soyez, The anti-kt jet clustering algo-
   rithm. JHEP 04,063 (2008). doi:10.1088/1126-6708/2008/04/063
9. K.A. Olive et al., Review of particle physics. Chin. Phys. C 38,
   090001 (2014). doi: 10.1088/1674-1137/38/9/090001
ATLAS Collaboration
G. Aad87, B. Abbott114, J. Abdallah65, O. Abdinov12, B. Abeloos118, R. Aben108, M. Abolins92, O. S. AbouZeid138
N. L. Abraham150, H. Abramowicz154, H. Abreu153, R. Abreu117, Y. Abulaiti147a,147b, B. S. Acharya164a,164b,a
L. Adamczyk40a, D. L. Adams27, J. Adelman109, S. Adomeit101, T. Adye132, A. A. Affolder76, T. Agatonovic-Jovin14
J. Agricola56, J. A. Aguilar-Saavedra127a'127f, S. P. Ahlen24, F. Ahmadov67'b, G. Aielli134a'134b, H. Akerstedt147a'147b
T. P. A. Akesson83, A. V. Akimov97, G. L. Alberghi22a-22b, J. Albert169, S. Albrand57, M. J. Alconada Verzini73
M. Aleksa32, I. N. Aleksandrov67, C. Alexa28b, G. Alexander154, T. Alexopoulos10, M. Alhroob114, M. Aliev75a,75b
G. Alimonti93a, J. Alison33, S. P. Alkire37, B. M. M. Allbrooke150, B. W. Allen117, P. P. Allport19, A. Aloisio105a,105b
A. Alonso38, F. Alonso73, C. Alpigiani139, M. Alstaty87, B. Alvarez Gonzalez32, D. Alvarez Piqueras167
M. G. Alviggi105a,105b, B. T. Amadio16, K. Amako68, Y. Amaral Coutinho26a, C. Amelung25, D. Amidei91
S. P. Amor Dos Santos127a'127c, A. Amorim127a,127b, S. Amoroso32, G. Amundsen25, C. Anastopoulos140, L. S. Ancu51
N. Andari109, T. Andeen11, C. F. Anders60b, G. Anders32, J. K. Anders76, K. J. Anderson33, A. Andreazza93a,93b
V. Andrei60a, S. Angelidakis9, I. Angelozzi108, P. Anger46, A. Angerami37, F. Anghinolfi32, A. V. Anisenkov110,c
N. Anjos13, A. Annovi125a,125b, M. Antonelli49, A. Antonov99, J. Antos145b, F. Anulli133a, M. Aoki68, L. Aperio Bella19
Arabidze92, Y. Arai68, J. P. Araque127a, A. T. H. Arce47, F. A. Arduh73, J-F. Arguin96, S. Argyropoulos65, M. Arik20a
A. J. Armbruster32, L. J. Armitage78, O. Arnaez32, H. Arnold50, M. Arratia30, O. Arslan23, A. Artamonov98, G. Artoni121
S. Artz85, S. Asai156, N. Asbah44, A. Ashkenazi154, B. Asman147a,147b, L. Asquith150, K. Assamagan27, R. Astalos145a
M. Atkinson166, N. B. Atlay142, K. Augsten129, G. Avolio32, B. Axen16, M. K. Ayoub118, G. Azuelos964, M. A. Baak32
E. Baas60a, M. J. Baca19, H. Bachacou137, K. Bachas75a,75b, M. Backes32, M. Backhaus32, P. Bagiacchi133a,133b
P. Bagnaia133a,133b, Y. Bai35a, J. T. Baines132, O. K. Baker176, E. M. Baldin110,c, P. Balek130, T. Balestri149
Balli137, W. K. Balunas123, E. Banas41, Sw. Banerjee173,e, A. A. E. Bannoura175, L. Barak32, E. L. Barberio90
Barberis52a'52b, M. Barbero87, T. Barillari102, T. Barklow144, N. Barlow30, S. L. Barnes86, B. M. Barnett132
R. M. Barnett16, Z. Barnovska5, A. Baroncelli135a, G. Barone25, A. J. Barr121, L. Barranco Navarro167, F. Barreiro84
J. Barreiro Guimaraes da Costa35a, R. Bartoldus144, A. E. Barton74, P. Bartos145a, A. Basalaev124, A. Bassalat118
R. L. Bates55, S. J. Batista159, J. R. Batley30, M. Battaglia138, M. Bauce133a,133b, F. Bauer137, H. S. Bawa144,f
J. B. Beacham112,M. D. Beattie74, T. Beau82, P. H. Beauchemin162,P. Bechtle23,H. P. Beck18,g,K. Becker121, M. Becker85
M. Beckingham170, C. Becot111, A. J. Beddall20e, A. Beddall20b, V. A. Bednyakov67, M. Bedognetti108, C. P. Bee149
L. J. Beemster108, T. A. Beermann32, M. Begel27, J. K. Behr44, C. Belanger-Champagne89, A. S. Bell80, G. Bella154
L. Bellagamba22a, A. Bellerive31, M. Bellomo88, K. Belotskiy99, O. Beltramello32, N. L. Belyaev99, O. Benary154
Benchekroun136a, M. Bender101, K. Bendtz147a,147b, N. Benekos10, Y. Benhammou154, E. Benhar Noccioli176
J. Benitez65, J. A. Benitez Garcia160b, D. P. Benjamin47, J. R. Bensinger25, S. Bentvelsen108, L. Beresford121
12n

Eur. Phys. J. C (2016) 76:292
Page 19 of 30 292
M. Beretta49, D. Berge108, E. Bergeaas Kuutmann165, N. Berger5, J. Beringer16, S. Berlendis57, N. R. Bernard88
C. Bernius111, F. U. Bernlochner23, T. Berry79, P. Berta130, C. Bertella85, G. Bertoli147a,147b, F. Bertolucci125a,125b
I. A. Bertram74, C. Bertsche114, D. Bertsche114, G. J. Besjes38, O. Bessidskaia Bylund147a,147b, M. Bessner44, N. Besson137
Betancourt50, S. Bethke102,	A.	J. Bevan78, W. Bhimji16, R. M. Bianchi126, L. Bianchini25, M. Bianco32, O. Biebel101
Biedermann17, R. Bielski86,	N. V. Biesuz125a,125b, M. Biglietti135a,	J. Bilbao De Mendizabal51, H.	Bilokon49
M. Bindi56, S. Binet118, A. Bingul20b, C. Bini133a-133b, S. Biondi22a'22b, D. M. Bjergaard47, C. W. Black151, J. E. Black144
K. M. Black24, D. Blackburn139, R. E. Blair6, J.-B. Blanchard137, J. E. Blanco79, T. Blazek145a, I. Bloch44, C. Blocker25
W. Blum85’*, U. Blumenschein56, S. Blunier34a, G. J. Bobbink108, V. S. Bobrovnikov110,c, S. S. Bocchetta83, A. Bocci47
Bock101, M. Boehler50, D. Boerner175, J. A. Bogaerts32, D. Bogavac14, A. G. Bogdanchikov110, C. Bohm147a
V. Boisvert79, T. Bold40a, V. Boldea28b, A. S. Boldyrev164a,164c, M. Bomben82, M. Bona78, M. Boonekamp137
A. Borisov131, G. Borissov74, J. Bortfeldt101, D. Bortoletto121, V. Bortolotto62a,62b,62c, K. Bos108, D. Boscherini22a
M. Bosman13, J. D. Bossio Sola29, J. Boudreau126, J. Bouffard2, E. V. Bouhova-Thacker74, D. Boumediene36
Bourdarios118, S. K. Boutle55, A. Boveia32, J. Boyd32, I. R. Boyko67, J. Bracinik19, A. Brandt8, G. Brandt56
Brandt60a, U. Bratzler157, B. Brau88, J. E. Brau117, H. M. Braun175^, W. D. Breaden Madden55, K. Brendlinger123
J. Brennan90, L. Brenner108, R. Brenner165, S. Bressler172, T. M. Bristow48, D. Britton55, D. Britzger44
M. Brochu30, I. Brock23, R. Brock92, G. Brooijmans37, T. Brooks79, W. K. Brooks34b, J. Brosamer16, E. Brost117
J. H. Broughton19, P. A. Bruckman de Renstrom41, D. Bruncko145b, R. Bruneliere50, A. Bruni22a, G. Bruni22a , BH Brunt30
M. Bruschi22a, N. Bruscino23,	P. Bryant33, L. Bryngemark83, T. Buanes15,	Q. Buat143, P. Buchholz142, A. G.	Buckley55
A. Budagov67, F. Buehrer50,	M.	K. Bugge120, O. Bulekov99, D. Bullock8,	H. Burckhart32, S. Burdin76, C. D.	Burgard50
Burghgrave109, K. Burka41, S. Burke132, I. Burmeister45, E. Busato36, D. Buscher50, V. Buscher85, P. Bussey55
J. M. Butler24, C. M. Buttar55, J. M. Butterworth80, P. Butti108, W. Buttinger27, A. Buzatu55, A. R. Buzykaev110,c
S. Cabrera Urban167, D. Caforio129, V. M. Cairo39a,39b, O. Cakir4a, N. Calace51, P. Calafiura16, A. Calandri87
Calderini82, P. Calfayan101, L. P. Caloba26a, D. Calvet36, S. Calvet36, T. P. Calvet87, R. Camacho Toro33, S. Camarda32
P. Camarri134a,134b, D. Cameron120, R. Caminal Armadans166, C. Camincher57, S. Campana32, M. Campanelli80
A. Camplani93a,93b, A. Campoverde149, V. Canale105a,105b, A. Canepa160a, M. Cano Bret35e, J. Cantero84, R. Cantrill127a
T. Cao42, M. D. M. Capeans Garrido32, I. Caprini28b, M. Caprini28b, M. Capua39a,39b, R. Caputo85, R. M. Carbone37
R. Cardarelli134a, F. Cardillo50, I. Carli130, T. Carli32, G. Carlino105a, L. Carminati93a,93b, S. Caron107, E. Carquin34b
D. Carrillo-Montoya32, J. R. Carter30, J. Carvalho127a,127c, D. Casadei19, M. P. Casado13,h, M. Casolino13
W. Casper163, E. Castaneda-Miranda146a, A. Castelli108, V. Castillo Gimenez167, N. F. Castro127a,\ A. Catinaccio32
J. R. Catmore120, A. Cattai32, J. Caudron85, V. Cavaliere166, E. Cavallaro13, D. Cavalli93a, M. Cavalli-Sforza13
V. Cavasinni125a,125b, F. Ceradini135a,135b, L. Cerda Alberich167, B. C. Cerio47, A. S. Cerqueira26b, A. Cerri150, L. Cerrito78
Cerutti16, M. Cerv32, A. Cervelli18, S. A. Cetin20d, A. Chafaq136a, D. Chakraborty109, S. K. Chan59, Y. L. Chan62a
P. Chang166, J. D. Chapman30, D. G. Charlton19, A. Chatterjee51, C. C. Chau159, C. A. Chavez Barajas150, S. Che112
S. Cheatham74, A. Chegwidden92, S. Chekanov6, S. V. Chekulaev160a, G. A. Chelkov67,j, M. A. Chelstowska91, C. Chen66
Chen27, K. Chen149, S. Chen35c, S. Chen156, X. Chen35f, Y. Chen69, H. C. Cheng91, H. J. Cheng35a, Y. Cheng33
A. Cheplakov67, E. Cheremushkina131, R. Cherkaoui El Moursli136e, V. Chernyatin27’*’ E. Cheu7, L. Chevalier137
V. Chiarella49, G. Chiarelli125a,125b, G. Chiodini75a, A. S. Chisholm19, A. Chitan28b, M. V. Chizhov67, K. Choi63
R. Chomont36, S. Chouridou9, B. K. B. Chow101, V. Christodoulou80, D. Chromek-Burckhart32, J. Chudoba128
J. Chuinard89, J. J. Chwastowski41, L. Chytka116, G. Ciapetti133a,133b, A. K. Ciftci4a, D. Cinca55, V. Cindro77
A. Cioara23, A. Ciocio16, F. Cirotto105a,105b, Z. H. Citron172, M. Citterio93a, M. Ciubancan28b, A. Clark51, B. L. Clark59
M. R. Clark37, P. J. Clark48, R. N. Clarke16, C. Clement147a,147b, Y. Coadou87, M. Cobal164a464c, A. Coccaro51
J. Cochran66, L. Coffey25, L. Colasurdo107, B. Cole37, S. Cole109, A. P. Colijn108, J. Collot57, T. Colombo32
Compostella102, P. Conde Muino127a,127b, E. Coniavitis50, S. H. Connell146b, I. A. Connelly79, V. Consorti50
S. Constantinescu28b,C. Conta122a,122b,G. Conti32, F. Conventi105a,k,M. Cooke16, B. D. Cooper80, A. M. Cooper-Sarkar121
K. J. R. Cormier159, T. Cornelissen175, M. Corradi133a,133b, F. CorrDeau894, A. Corso-Radu163, A. Cortes-Gonzalez13
Cortiana102, G. Costa93a, M. J. Costa167, D. Costanzo140, G. Cottin30, G. Cowan79, B. E. Cox86, K. Cranmer111
S. J. Crawley55, G. Cree31, S. Crepe-Renaudin57, F. Crescioli82, W. A. Cribbs147a,147b, M. Crispin Ortuzar121
M. Cristinziani23, V. Croft107, G. Crosetti39a,39b, T. Cuhadar Donszelmann140, J. Cummings176, M. Curatolo49, J. Cuth85
Cuthbert151, H. Czirr142, P. Czodrowski3, S. D’Auria55, M. D’Onofrio76, M. J. Da Cunha Sargedas De Sousa127a,127b
Da Via86, W. Dabrowski40a, T. Dado145a, T. Dai91, O. Dale15, F. Dallaire96, C. Dallapiccola88, M. Dam38, J. R. Dandoy33
N. P. Dang50, A. C. Daniells19,N. S. Dann86,M. Danninger168,M. Dano Hoffmann137,V. Dao50,G. Darbo52a,S. Darmora8
J. Dassoulas3, A. Dattagupta63, W. Davey23, C. David169, T. Davidek130, M. Davies154, P. Davison80, E. Dawe90
I. Dawson140, R. K. Daya-Ishmukhametova88, K. De8, R. de Asmundis105a, A. De Benedetti114, S. De Castro22a,22b
12n

292 Page 20 of 30
Eur. Phys. J. C (2016) 76:292
S.DeCecco82, N. De Groot107, P. deJong108, H. De la Torre84, F. De Lorenzi66, D. De Pedis133a, A. De Salvo133a
U. De Sanctis150, A. De Santo150, J. B. De Vivie De Regie118, W. J. Dearnaley74, R. Debbe27, C. Debenedetti138
V. Dedovich67, I. Deigaard108, M. Del Gaudio39a,39b, J. Del Peso84, T. Del Prete125a,125b, D. Delgove118, F. Deliot137
M. Delitzsch51, M. Deliyergiyev77, A. Dell’Acqua32, L. Dell’Asta24, M. Dell’Orso125a,125b, M. Della Pietra105a,k
1. della Volpe51, M. Delmastro5, P. A. Delsart57, C. Deluca108, D. A. DeMarco159, S. Demers176, M. Demichev67
   A. Demilly82, S. P. Denisov131, D. Denysiuk137, D. Derendarz41, J. E. Derkaoui136d, F. Derue82, P. Dervan76, K. Desch23
   C. Deterre44, K. Dette45, P. O. Deviveiros32, A. Dewhurst132, S. Dhaliwal25, A. Di Ciaccio134a,134b, L. Di Ciaccio5
   W. K. Di Clemente123, C. Di Donato133a,133b, A. Di Girolamo32, B. Di Girolamo32, B. Di Micco135a,135b, R. DiNardo49
   A. Di Simone50, R. Di Sipio159, D. Di Valentino31, C. Diaconu87, M. Diamond159, F. A. Dias48, M. A. Diaz34a
2. B. Diehl91, J. Dietrich17, S. Diglio87, A. Dimitrievska14, J. Dingfelder23, P. Dita28b, S. Dita28b, F. Dittus32, F. Djama87
   T. Djobava53b, J. I. Djuvsland60a, M. A. B. do Vale26c, D. Dobos32, M. Dobre28b, C. Doglioni83, T. Dohmae156
   J. Dolejsi130, Z. Dolezal130, B. A. Dolgoshein992, M. Donadelli26d, S. Donati125a,125b, P. Dondero122a,122b, J. Donini36
   J. Dopke132, A. Doria105a, M. T. Dova73, A. T. Doyle55, E. Drechsler56, M. Dris10, Y. Du35d, J. Duarte-Campderros154
Duchovni172, G. Duckeck101, O. A. Ducu96,m, D. Duda108, A. Dudarev32, L. Duflot118, L. Duguid79, M. Duhrssen32
M. Dumancic172, M. Dunford60a, H. Duran Yildiz4a, M. Duren54, A. Durglishvili53b, D. Duschinger46, B. Dutta44
M. Dyndal40a, C. Eckardt44, K. M. Ecker102, R. C. Edgar91, N. C. Edwards48, T. Eifert32, G. Eigen15, K. Einsweiler16
T. Ekelof165, M. El Kacimi136c, V. Ellajosyula87, M. Ellert165, S. Elles5, F. Ellinghaus175, A. A. Elliot169, N. Ellis32
J. Elmsheuser27, M. Elsing32, D. Emeliyanov132, Y. Enari156, O. C. Endner85, M. Endo119, J. S. Ennis170, J. Erdmann45
1. Ereditato18, G. Ernis175, J. Ernst2, M. Ernst27, S. Errede166, E. Ertel85, M. Escalier118, H. Esch45, C. Escobar126
2. Esposito49, A. I. Etienvre137, E. Etzion154, H. Evans63, A. Ezhilov124, F. Fabbri22a,22b, L. Fabbri22a,22b, G. Facini33
   R. M. Fakhrutdinov131, S. Falciano133a, R. J. Falla80, J. Faltova130, Y. Fang35a, M. Fanti93a,93b, A. Farbin8, A. Farilla135a
3. Farina126, T. Farooque13, S. Farrell16, S. M. Farrington170, P. Farthouat32, F. Fassi136e, P. Fassnacht32, D. Fassouliotis9
   M. Faucci Giannelli79, A. Favareto52a,52b, W. J. Fawcett121, L. Fayard118, O. L. Fedin124n, W. Fedorko168, S. Feigl120
   L. Feligioni87, C. Feng35d, E. J. Feng32, H. Feng91, A. B. Fenyuk131, L. Feremenga8, P. Fernandez Martinez167
   S. Fernandez Perez13, J. Ferrando55, A. Ferrari165, P. Ferrari108, R. Ferrari122a, D. E. Ferreira de Lima60b, A. Ferrer167
4. Ferrere51, C. Ferretti91, A. Ferretto Parodi52a,52b, F. Fiedler85, A. Filipcic77, M. Filipuzzi44, F. Filthaut107
   M. Fincke-Keeler169, K. D. Finelli151, M. C. N. Fiolhais127a,127c, L. Fiorini167, A. Firan42, A. Fischer2, C. Fischer13
   J. Fischer175, W. C. Fisher92, N. Flaschel44, I. Fleck142, P. Fleischmann91, G. T. Fletcher140, R. R. M. Fletcher123
   T. Flick175, A. Floderus83, L. R. Flores Castillo62a, M. J. Flowerdew102, G. T. Forcolin86, A. Formica137, A. Forti86
G. Foster19,	D. Fournier118, H. Fox74,	S. Fracchia13,	P. Francavilla82,	M. Franchini22a,22b,	D. Francis32
L. Franconi120, M. Franklin59, M. Frate163, M. Fraternali122a,122b, D. Freeborn80, S. M. Fressard-Batraneanu32
1. Friedrich46, D. Froidevaux32, J. A. Frost121, C. Fukunaga157, E. Fullana Torregrosa85, T. Fusayasu103, J. Fuster167
   C. Gabaldon57, O. Gabizon175, A. Gabrielli22a,22b, A. Gabrielli16, G. P. Gach40a, S. Gadatsch32, S. Gadomski51
2. Gagliardi52a,52b, L. G. Gagnon96, P. Gagnon63, C. Galea107, B. Galhardo127a,127c, E. J. Gallas121, B. J. Gallop132
   P. Gallus129, G. Galster38, K. K. Gan112, J. Gao35b,87, Y. Gao48, Y. S. Gao1444 F. M. Garay Walls48, C. Garcia167
   J. E. Garcia Navarro167, M. Garcia-Sciveres16, R. W. Gardner33, N. Garelli144, V. Garonne120, A. Gascon Bravo44
   C. Gatti49, A. Gaudiello52a,52b, G. Gaudio122a, B. Gaur142, L. Gauthier96, I. L. Gavrilenko97, C. Gay168, G. Gaycken23
N. Gazis10, Z. Gecse168, C. N. P. Gee132, Ch. Geich-Gimbel23, M. P. Geisler60a, C. Gemme52a, M. H. Genest57
Geng35b,°, S. Gentile133a,133b, S. George79, D. Gerbaudo13, A. Gershon154, S. Ghasemi142, H. Ghazlane136b
M. Ghneimat23, B. Giacobbe22a, S. Giagu133a,133b, P. Giannetti125a,125b, B. Gibbard27, S. M. Gibson79, M. Gignac168
M. Gilchriese16, T. P. S. Gillam30, D. Gillberg31, G. Gilles175, D. M. Gingrich3,d, N. Giokaris9, M. P. Giordani164a,164c
M. Giorgi22a, F. M. Giorgi17, P. F. Giraud137, P. Giromini59, D. Giugni93a, F. Giuli121, C. Giuliani102, M. Giulini60b
K. Gjelsten120, S. Gkaitatzis155, I. Gkialas155, E. L. Gkougkousis118, L. K. Gladilin100, C. Glasman84, J. Glatzer32
P. C. F. Glaysher48, A. Glazov44, M. Goblirsch-Kolb102, J. Godlewski41, S. Goldfarb91, T. Golling51, D. Golubkov131
Gomes127a’127b’127d’ R. Gonęalo127a, J. Goncalves Pinto Firmino Da Costa137, L. Gonella19, A. Gongadze67
S. Gonzalez de la Hoz167, G. Gonzalez Parra13, S. Gonzalez-Sevilla51, L. Goossens32, P. A. Gorbounov98, H. A. Gordon27
Gorelov106, B. Gorini32, E. Gorini75a,75b, A. Gorisek77, E. Gornicki41, A. T. Goshaw47, C. Gossling45, M. I. Gostkin67
R. Goudet118,D. Goujdami136c, A. G. Goussiou139,N. Govender146b,p, E. Gozani153,L. Graber56,I. Grabowska-Bold40a
P. O. J. Gradin57, P. Grafstrom22a,22b, J. Gramling51, E. Gramstad120, S. Grancagnolo17, V. Gratchev124, H. M. Gray32
Graziani135a, Z. D. Greenwood81,q, C. Grefe23, K. Gregersen80, I. M. Gregor44, P. Grenier144, K. Grevtsov5
J. Griffiths8, A. A. Grillo138, K. Grimm74, S. Grinstein13,r, Ph. Gris36, J.-F. Grivaz118, S. Groh85, J. P. Grohs46
Gross172, J. Grosse-Knetter56, G. C. Grossi81, Z. J. Grout150, L. Guan91, W. Guan173, J. Guenther129, F. Guescini51
Guest163, O. Gueta154, E. Guido52a,52b, T. Guillemin5, S. Guindon2, U. Gul55, C. Gumpert32, J. Guo35e, Y. Guo35’’^
12n

Eur. Phys. J. C (2016) 76:292
Page 21 of 30 292
S. Gupta121, G. Gustavino133a,133b, P. Gutierrez114, N. G. Gutierrez Ortiz80, C. Gutschow46, C. Guyot137, C. Gwenlan121
B. Gwilliam76, A. Haas111, C. Haber16, H. K. Hadavand8, N. Haddad136e, A. Hadef87, P. Haefner23, S. Hagebock23
Z. Hajduk41, H. Hakobyan177’*’ M. Haleem44, J. Haley115, G. Halladjian92, G. D. Hallewell87, K. Hamacher175
P. Hamal116, K. Hamano169, A. Hamilton146a, G. N. Hamity140, P. G. Hamnett44, L. Han35b, K. Hanagaki68,s, K. Hanawa156
M. Hance138, B. Haney123, P. Hanke60a, R. Hanna137, J. B. Hansen38, J. D. Hansen38, M. C. Hansen23, P. H. Hansen38
K. Hara161, A. S. Hard173, T. Harenberg175, F. Hariri118, S. Harkusha94, R. D. Harrington48, P. F. Harrison170
Hartjes108, M. Hasegawa69, Y. Hasegawa141, A. Hasib114, S. Hassani137, S. Haug18, R. Hauser92, L. Hauswald46
M. Havranek128, C. M. Hawkes19, R. J. Hawkings32, A. D. Hawkins83, D. Hayden92, C. P. Hays121, J. M. Hays78
S. Hayward76, S. J. Haywood132, S. J. Head19, T. Heck85, V. Hedberg83, L. Heelan8, S. Heim123, T. Heim16
1. Heinemann16, J. J. Heinrich101, L. Heinrich111, C. Heinz54, J. Hejbal128, L. Helary24, S. Hellman147a,147b
2. Helsens32, J. Henderson121, R. C. W. Henderson74, Y. Heng173, S. Henkelmann168, A. M. Henriques Correia32
   S. Henrot-Versille118, G. H. Herbert17, H. Herde25, Y. Hernandez Jimenez167, G. Herten50, R. Hertenberger101, L. Hervas32
G. Hesketh80, N. P. Hessey108, J. W. Hetherly42, R. Hickling78, E. Higón-Rodriguez167, E. Hill169, J. C. Hill30
K. H. Hiller44, S. J. Hillier19, I. Hinchliffe16, E. Hines123, R. R. Hinman16, M. Hirose158, D. Hirschbuehl175, J. Hobbs149
N. Hod160a, M. C. Hodgkinson140, P. Hodgson140, A. Hoecker32, M. R. Hoeferkamp106, F. Hoenig101, M. Hohlfeld85
Hohn23, T. R. Holmes16, M. Homann45, T. M. Hong126, B. H. Hooberman166, W. H. Hopkins117, Y. Horii104
A. J. Horton143, J-Y. Hostachy57,S. Hou152, A. Hoummada136a,J. Howarth44,M. Hrabovsky116,I. Hristova17, J. Hrivnac118
T. Hryn’ova5, A. Hrynevich95, C. Hsu146c, P. J. Hsu152,t, S.-C. Hsu139, D. Hu37, Q. Hu35b, Y. Huang44, Z. Hubacek129
Hubaut87, F. Huegging23, T. B. Huffman121, E. W. Hughes37, G. Hughes74, M. Huhtinen32, T. A. Hulsing85, P. Huo149
N. Huseynov67,b, J. Huston92, J. Huth59, G. Iacobucci51, G. Iakovidis27, I. Ibragimov142, L. Iconomidou-Fayard118
Ideal176, Z. Idrissi136e, P. Iengo32, O. Igonkina108,u, T. Iizawa171, Y. Ikegami68, M. Ikeno68, Y. Ilchenko11,v, D. Iliadis155
N. Ilic144, T. Ince102, G. Introzzi122a,122b, P. Ioanno^^, M. Iodice135a, K. Iordanidou37, V. Ippolito59, M. Ishino70
M. Ishitsuka158, R. Ishmukhametov112, C. Issever121, S. Istin20a, F. Ito161, J. M. Iturbe Ponce86, R. Iuppa134a,134b
W. Iwanski41, H. Iwasaki68, J. M. Izen43, V. Izzo105a, S.Jabbar3, B. Jackson123, M. Jackson76, P. Jackson1, V. Jain2
K. B. Jakobi85, K. Jakobs50, S. Jakobsen32, T. Jakoubek128, D. O. Jamin115, D. K. Jana81, E. Jansen80, R. Jansky64
J. Janssen23, M. Janus56, G. Jarlskog83, N. Javadov67,b, T. Javhrek50, F. Jeanneau137, L. Jeanty16, J. Jejelava53a,w
1. -Y. Jeng151, D. Jennens90, P. Jenni50,x, J. Jentzsch45, C. Jeske170, S. Jezequel5, H. Ji173, J. Jia149, H. Jiang66, Y. Jiang35b
   S. Jiggins80, J. Jimenez Pena167, S. Jin35a, A. Jinaru28b, O. Jinnouchi158, P. Johansson140, K. A. Johns7, W. J. Johnson139
   K. Jon-And147a,147b, G. Jones170, R. W. L. Jones74, S. Jones7, T. J. Jones76, J. Jongmanns60a, P. M. Jorge127a,127b
   J. Jovicevic160a, X. Ju173, A. Juste Rozas13,r, M. K. Kohler172, A. Kaczmarska41, M. Kado118, H. Kagan112, M. Kagan144
   S. J. Kahn87, E. Kajomovitz47, C. W. Kalderon121, A. Kaluza85, S. Kama42, A. Kamenshchikov131, N. Kanaya156
   S. Kaneti30, L. Kanjir77, V. A. Kantserov99, J. Kanzaki68, B. Kaplan111, L. S. Kaplan173, A. Kapliy33, D. Kar146c
   K. Karakostas10, A. Karamaoun3, N. Karastathis10, M. J. Kareem56, E. Karentzos10, M. Karnevskiy85, S. N. Karpov67
   Z. M. Karpova67, K. Karthik111, V. Kartvelishvili74, A. N. Karyukhin131, K. Kasahara161, L. Kashif173, R. D. Kass112
   A. Kastanas15, Y. Kataoka156, C. Kato156, A. Katre51, J. Katzy44, K. Kawagoe72, T. Kawamoto156, G. Kawamura56
   S. Kazama156, V. F. Kazanin110,c, R. Keeler169, R. Kehoe42, J. S. Keller44, J. J. Kempster79	, K Kentaro104
2. Keoshkerian159, O. Kepka128, B. P. Kersevan77, S. Kersten175, R. A. Keyes89, F. Khalil-zada12, A. Khanov115
G. Kharlamov110,c, T. J. Khoo30, V. Khovanskiy98, E. Khramov67, J. Khubua53b,y, S. Kido69, H. Y. Kim8, S. H. Kim161
Y. K. Kim33, N. Kimura155, O. M. Kind17, B. T. King76, M. King167, S. B. King168, J. Kirk132, A. E. Kiryunin102
T. Kishimoto69, D. Kisielewska40a, F. Kiss50, K. Kiuchi161, O. Kivernyk137, E. Kladiva145b, M. H. Klein37, M. Klein76
U. Klein76, K. Kleinknecht85, P. Klimek147a,147b, A. Klimentov27, R. Klingenberg45, J. A. Klinger140, T. Klioutchnikova32
-E. Kluge60a, P. Kluit108, S. Kluth102, J. Knapik41, E. Kneringer64, E. B. F. G. Knoops87, A. Knue55, A. Kobayashi156
Kobayashi158, T. Kobayashi156, M. Kobel46, M. Kocian144, P. Kodys130, N. M. Koehler102, T. Koffas31, E. Koffeman108
T. Koi144, H. Kolanoski17, M. Kolb60b, I. Koletsou5, A. A. Komar97^, Y. Komori156, T. Kondo68, N. Kondrashova44
K. Koneke50, A. C. Konig107, T. Kono68,z, R. Konoplich111,aa, N. Konstantinidis80, R. Kopeliansky63, S. Koperny40a
L. Kopke85, A. K. Kopp50, K. Korcyl41, K. Kordas155, A. Korn80, A. A. Korol110,c, I. Korolkov13, E. V. Korolkova140
O.	Kortner102, S. Kortner102, T. Kosek130, V. V. Kostyukhin23, A. Kotwal47, A. Kourkoumeli-Charalampidi155
Kourkoumelis9, V. Kouskoura27, A. B. Kowalewska41, R. Kowalewski169, T. Z. Kowalski40a, W. Kozanecki137
S. Kozhin131, V. A. Kramarenko100, G. Kramberger77, D. Krasnopevtsev99, M. W. Krasny82, A. Krasznahorkay32
J. K. Kraus23, A. Kravchenko27, M. Kretz60c, J. Kretzschmar76, K. Kreutzfeldt54, P. Krieger159, K. Krizka33
K. Kroeninger45, H. Kroha102, J. Kroll123, J. Kroseberg23, J. Krstic14, U. Kruchonak67, H. Kruger23, N. Krumnack66
Kruse173,M. C. Kruse47,M. Kruskal24,T. Kubota90,H. Kucuk80,S. Kuday4b,J. T. Kuechler175,S. Kuehn50,A. Kugel60c
Kuger174, A. Kuhl138, T. Kuhl44, V. Kukhtin67, R. Kukla137, Y. Kulchitsky94, S. Kuleshov34b, M. Kuna133a,133b
1 Springer

292 Page 22 of 30
Eur. Phys. J. C (2016) 76:292
T. Kunigo70, A. Kupco128, H. Kurashige69, Y. A. Kurochkin94, V. Kus128, E. S. Kuwertz169, M. Kuze158, J. Kvita116
T. Kwan169, D. Kyriazopoulos140, A. La Rosa102, J. L. La Rosa Navarro26d, L. La Rotonda39a,39b, C. Lacasta167
Lacava133a,133b, J. Lacey31, H. Lacker17, D. Lacour82, V. R. Lacuesta167, E. Ladygin67, R. Lafaye5, B. Laforge82
T. Lagouri176, S. Lai56, S.Lammers63, W. Lampl7, E. Lanęon137, U. Landgraf50, M. P. J. Landon78, V. S. Lang60a
J. C. Lange13, A. J. Lankford163, F. Lanni27, K. Lantzsch23, A. Lanza122a, S. Laplace82, C. Lapoire32, J. F. Laporte137
T. Lari93a, F. Lasagni Manghi22a,22b, M. Lassnig32, P. Laurelli49, W. Lavrijsen16, A. T. Law138, P. Laycock76
T. Lazovich59, M. Lazzaroni93a,93b, B. Le90, O. LeDortz82, E. Le Guirriec87, E. Le Menedeu13, E. P. Le Quilleuc137
M. LeBlanc169, T. LeCompte6, F. Ledroit-Guillon57, C. A. Lee27, S. C. Lee152, L. Lee1, G. Lefebvre82, M. Lefebvre169
Legger101, C. Leggett16, A. Lehan76, G. Lehmann Miotto32, X. Lei7, W. A. Leight31, A. Leisos155,ab, A. G. Leister176
M. A. L. Leite26d, R. Leitner130, D. Lellouch172, B. Lemmer56, K. J. C. Leney80, T. Lenz23, B. Lenzi32, R. Leone7
S. Leone125a,125b, C. Leonidopoulos48, S. Leontsinis10, G. Lerner150, C. Leroy96, A. A. J. Lesage137, C. G. Lester30
M. Levchenko124, J. Leveque5, D. Levin91, L. J. Levinson172, M. Levy19, A. M. Leyko23, M. Leyton43, B. Li35b’°’ H. Li149
L. Li33, L. Li47, L. Li35e, Q. Li35a, S. Li47, X. Li86, Y. Li142, Z. Liang138, B. Liberti134a, A. Liblong159, P. Lichard32
K. Lie166, J. Liebal23, W. Liebig15, A. Limosani151, S. C. Lin152,ac, T. H. Lin85, B. E. Lindquist149, E. Lipeles123
A. Lipniacka15, M. Lisovyi60b, T. M. Liss166, D. Lissauer27, A. Lister168, A. M. Litke138, B. Liu152,ad, D. Liu152, H. Liu91
Liu27, J. Liu87, J. B. Liu35b, K. Liu87, L. Liu166, M. Liu47, M. Liu35b, Y. L. Liu35b, Y. Liu35b, M. Livan122a,122b
Lleres57, J. Llorente Merino84, S. L. Lloyd78, F. Lo Sterzo152, E. Lobodzinska44, P. Loch7, W. S. Lockman138
K. Loebinger86, A. E. Loevschall-Jensen38, K. M. Loew25, A. Loginov176, T. Lohse17, K. Lohwasser44, M. Lokajicek128
A. Long24, J. D. Long166, R. E. Long74, L. Longo75a,75b, K. A. Looper112, L. Lopes127a, D. Lopez Mateos59
1. Lopez Paredes140, I. Lopez Paz13, A. Lopez Solis82, J. Lorenz101, N. Lorenzo Martinez63, M. Losada21, P. J. Losel101
   X. Lou35a, A. Lounis118, J. Love6, P. A. Love74, H. Lu62a, N. Lu91, H. J. Lubatti139, C. Luci133a,133b, A. Lucotte57
2. Luedtke50, F. Luehring63, W. Lukas64, L. Luminari133a, O. Lundberg147a,147b, B. Lund-Jensen148, D. Lynn27
   R. Lysak128, E. Lytken83, V. Lyubushkin67, H. Ma27, L. L. Ma35d, Y. Ma35d, G. Maccarrone49, A. Macchiolo102
M. Macdonald140, B. Macek77, J. Machado Miguens123,127b, D. Madaffari87, R. Madar36, H. J. Maddocks165
W. F. Mader46, A. Madsen44, J. Maeda69, S. Maeland15, T. Maeno27, A. Maevskiy100, E. Magradze56, J. Mahlstedt108
Maiani118, C. Maidantchik26a, A. A. Maier102, T. Maier101, A. Maio127a,127b,127d, S. Majewski117, Y. Makida68
N. Makovec118, B. Malaescu82, Pa. Malecki41, V. P. Maleev124, F. Malek57, U. Mallik65, D. Malon6, C. Malone144
S. Maltezos10, S. Malyukov32, J. Mamuzic167, G. Mancini49, B. Mandelli32, L. Mandelli93a, I. Mandic77
J. Maneira127a,127b, L. Manhaes de Andrade Filho26b, J. Manjarres Ramos160b, A. Mann101, B. Mansoulie137, R. Mantifel89
M. Mantoani56, S. Manzoni93a,93b, L. Mapelli32, G. Marceca29, L. March51, G. Marchiori82, M. Marcisovsky128
M. Marjanovic14, D. E. Marley91, F. Marroquim26a, S. P. Marsden86, Z. Marshall16, S. Marti-Garcia167, B. Martin92
T. A. Martin170,	V. J. Martin48,	B. Martin dit Latour15,	M. Martinez13,r,	S. Martin-Haugh132, V. S. Martoiu28b
A. C. Martyniuk80, M. Marx139, A. Marzin32, L. Masetti85, T. Mashimo156, R. Mashinistov97, J. Masik86
1. L. Maslennikov110,c, I. Massa22a,22b, L. Massa22a,22b, P. Mastrandrea5, A. Mastroberardino39a,39b, T. Masubuchi156
   P. Mattig175, J. Mattmann85, J. Maurer28b, S. J. Maxfield76, D. A. Maximov110,c, R. Mazini152, S. M. Mazza93a,93b
   N. C. Mc Fadden106, G. Mc Goldrick159, S. P. Mc Kee91, A. McCarn91, R. L. McCarthy149, T. G. McCarthy31
   L. I. McClymont80, E. F. McDonald90, K. W. McFarlane58,:\ J. A. Mcfayden80, G. Mchedlidze56, S. J. McMahon132
   R. A. McPherson169,l,	M. Medinnis44, S. Meehan139,	S. Mehlhase101, A. Mehta76, K. Meier60a, C. Meineck101
2. Meirose43, B. R. Mellado Garcia146c, M. Melo145a,	F. Meloni18, A. Mengarelli22a,22b,	S. Menke102, E. Meoni162
S. Mergelmeyer17, P. Mermod51, L. Merola105a,105b, C. Meroni93a, F. S. Merritt33, A. Messina133a,133b, J. Metcalfe6
A. S. Mete163, C. Meyer85, C. Meyer123, J-P. Meyer137, J. Meyer108, H. Meyer Zu Theenhausen60a, R. P. Middleton132
S. Miglioranzi52a,52b,	L. Mijovic23, G. Mikenberg172,	M. Mikestikova128, M. Mikuz77,	M. Milesi90, A. Milic32
1. W. Miller33, C. Mills48, A. Milov172, D. A. Milstead147a,147b, A. A. Minaenko131, Y. Minami156, I. A. Minashvili67
   A. I. Mincer111, B. Mindur40a, M. Mineev67, Y. Ming173, L. M. Mir13, K. P. Mistry123, T. Mitani171, J. Mitrevski101
   V. A. Mitsou167, A. Miucci51, P. S. Miyagawa140, J. U. Mjornmark83, T. Moa147a,147b, K. Mochizuki87, S. Mohapatra37
   W. Mohr50, S. Molander147a,147b, R. Moles-Valls23, R. Monden70, M. C. Mondragon92, K. Monig44, J. Monk38
2. Monnier87, A. Montalbano149, J. Montejo Berlingen32, F. Monticelli73, S. Monzani93a,93b, R. W. Moore3, N. Morange118
Moreno21, M. Moreno Llacer56, P. Morettini52a, D. Mori143, T. Mori156, M. Morii59, M. Morinaga156, V. Morisbak120
S. Moritz85, A. K. Morley151, G. Mornacchi32, J. D. Morris78, S. S. Mortensen38, L. Morvaj149, M. Mosidze53b
J. Moss144, K. Motohashi158, R. Mount144, E. Mountricha27, S. V. Mouraviev97,:\ E. J. W. Moyse88, S. Muanza87
R. D. Mudd19, F. Mueller102, J. Mueller126, R. S. P. Mueller101, T. Mueller30, D. Muenstermann74, P. Mullen55
A. Mullier18, F. J. Munoz Sanchez86, J. A. Murillo Quijada19, W. J. Murray170,132, H. Musheghyan56, M. Muskinja77
G. Myagkov131,ae,	M. Myska129, B. P. Nachman144, O. Nackenhorst51, J. Nadal56,	K. Nagai121, R. Nagai68^
1 Springer

Eur. Phys. J. C (2016) 76:292
Page 23 of 30 292
K. Nagano68, Y. Nagasaka61, K. Nagata161, M. Nagel102, E. Nagy87, A. M. Nairz32, Y. Nakahama32, K. Nakamura68
T. Nakamura156, I. Nakano113, H. Namasivayam43, R. F. Naranjo Garcia44, R. Narayan11, D. I. Narrias Villar60a
Naryshkin124, T. Naumann44, G. Navarro21, R. Nayyar7, H. A. Neal91, P. Yu. Nechaeva97, T. J. Neep86
P. D. Nef144, A. Negri122a,122b, M. Negrini22a, S. Nektarijevic107, C. Nellist118, A. Nelson163, S. Nemecek128
P. Nemethy111, A. A. Nepomuceno26a, M. Nessi32,af, M. S. Neubauer166, M. Neumann175, R. M. Neves111, P. Nevski27
P. R. Newman19, D. H. Nguyen6, T. Nguyen Manh96, R. B. Nickerson121, R. Nicolaidou137, J. Nielsen138, A. Nikiforov17
V. Nikolaenko131,ae, I. Nikolic-Audit82, K. Nikolopoulos19, J. K. Nilsen120, P. Nilsson27, Y. Ninomiya156, A. Nisati133a
R. Nisius102, T. Nobe156, L. Nodulman6, M. Nomachi119, I. Nomidis31, T. Nooney78, S. Norberg114, M. Nordberg32
N. Norjoharuddeen121, O. Novgorodova46, S. Nowak102, M. Nozaki68, L. Nozka116, K. Ntekas10, E. Nurse80
Nuti90, F. O’grady7, D. C. O’Neil143, A. A. O’Rourke44, V. O’Shea55, F. G. Oakham31,d, H. Oberlack102
T. Obermann23, J. Ocariz82, A. Ochi69, I. Ochoa37, J. P. Ochoa-Ricoux34a, S. Oda72, S. Odaka68, H. Ogren63, A. Oh86
S. H. Oh47, C. C. Ohm16, H. Ohman165, H. Oide32, H. Okawa161, Y. Okumura33, T. Okuyama68, A. Olariu28b
L. F. Oleiro Seabra127a, S. A. Olivares Pino48, D. Oliveira Damazio27, A. Olszewski41, J. Olszowska41, A. Onofre127a,127e
K. Onogi104, P. U. E. Onyisi11,Y, M. J. Oreglia33, Y. Oren154, D. Orestano135a,135b, N. Orlando62b, R. S. Orr159
1. Osculati52a,52b, R. Ospanov86, G. Otero y Garzon29, H. Otono72, M. Ouchrif136d, F. Ould-Saada120, A. Ouraou137
   K. P. Oussoren108, Q. Ouyang35a, M. Owen55, R. E. Owen19, V. E. Ozcan20a, N. Ozturk8, K. Pachal143, A. Pacheco Pages13
2. Padilla Aranda13, M. Pagacova50, S. Pagan Griso16, F. Paige27, P. Pais88, K. Pajchel120, G. Palacino160b, S. Palestini32
   M. Palka40b,	D. Pallin36,	A. Palma127a,127b, E. St. Panagiotopoulou10, C. E. Pandini82, J.	G. Panduro Vazquez79
P. Pani147a,147b, S. Panitkin27, D. Pantea28b, L. Paolozzi51, Th. D. Papadopoulou10, K. Papageorgiou155, A. Paramonov6
Paredes Hernandez176, A. J. Parker74, M. A. Parker30, K. A. Parker140, F. Parodi52a,52b, J. A. Parsons37, U. Parzefall50
V. R. Pascuzzi159, E. Pasqualucci133a, S. Passaggio52a, F. Pastore135a’135b’*’ Fr. Pastore79, G. Pasztor31,ag, S. Pataraia175
J. R. Pater86,	T. Pauly32,	J. Pearce169, B. Pearson114, L. E. Pedersen38, M. Pedersen120,	S. Pedraza Lopez167
R. Pedro127a,127b, S. V. Peleganchuk110,c, D. Pelikan165, O. Penc128, C. Peng35a, H. Peng35b, J. Penwell63, B. S. Peralva26b
M. M. Perego137, D. V. Perepelitsa27, E. Perez Codina160a, L. Perini93a,93b, H. Pernegger32, S. Perrella105a,105b
R. Peschke44, V. D. Peshekhonov67, K. Peters44, R. F. Y. Peters86, B. A. Petersen32, T. C. Petersen38, E. Petit57, A. Petridis1
1. Petridou155,P. Petroff118,E. Petrolo133a,M. Petrov121, F. Petrucci135a,135b,N. E. Pettersson88, A. Peyaud137,R. Pezoa34b
   P. W. Phillips132, G. Piacquadio144, E. Pianori170, A. Picazio88, E. Piccaro78, M. Piccinini22a,22b, M. A. Pickering121
   R. Piegaia29, J. E. Pilcher33, A. D. Pilkington86, A. W. J. Pin86, M. Pinamonti164^164^, J. L. Pinfold3, A. Pingel38
   S. Pires82, H. Pirumov44, M. Pitt172, L. Plazak145a, M.-A. Pleier27, V. Pleskot85, E. Plotnikova67, P. Plucinski92, D. Pluth66
   R. Poettgen147a,147b, L. Poggioli118, D. Pohl23, G. Polesello122a, A. Poley44, A. Policicchio39a,39b, R. Polifka159
   A. Polini22a, C. S. Pollard55, V. Polychronakos27, K. Pommes32, L. Pontecorvo133a, B. G. Pope92, G. A. Popeneciu28c
2. S. Popovic14, A. Poppleton32, S. Pospisil129, K. Potamianos16, I. N. Potrap67, C. J. Potter30, C. T. Potter117
Poulard32, J. Poveda32, V. Pozdnyakov67, M. E. Pozo Astigarraga32, P. Pralavorio87, A. Pranko16, S. Prell66
Price86, L. E. Price6, M. Primavera75a, S. Prince89, M. Proissl48, K. Prokofiev62c, F. Prokoshin34b, S. Protopopescu27
J. Proudfoot6, M. Przybycien40a, D. Puddu135a,135b, D. Puldon149, M. Purohit27,ai, P. Puzo118, J. Qian91, G. Qin55, Y. Qin86
A. Quadt56, W. B. Quayle164a,164b, M. Queitsch-Maitland86, D. Quilty55, S. Raddum120, V. Radeka27, V. Radescu60b
S. K. Radhakrishnan149, P. Radloff117, P. Rados90, F. Ragusa93a,93b, G. Rahal178, J. A. Raine86, S. Rajagopalan27
M. Rammensee32, C. Rangel-Smith165, M. G. Ratti93a,93b, F. Rauscher101, S. Rave85, T. Ravenscroft55, M. Raymond32
A. L. Read120, N. P. Readioff76, D. M. Rebuzzi122a,122b, A. Redelbach174, G. Redlinger27, R. Reece138, K. Reeves43
L. Rehnisch17, J. Reichert123, H. Reisin29, C. Rembser32, H. Ren35a, M. Rescigno133a, S. Resconi93a, O. L. Rezanova110,c
P. Reznicek130, R. Rezvani96, R. Richter102, S. Richter80, E. Richter-Was40b, O. Ricken23, M. Ridel82, P. Rieck17
J. Riegel175, J. Rieger56, O. Rifki114, M. Rijssenbeek149, A. Rimoldi122a,122b, L. Rinaldi22a, B. Ristic51, E. Ritsch32
Riu13, F. Rizatdinova115, E. Rizvi78, C. Rizzi13, S. H. Robertson894, A. Robichaud-Veronneau89, D. Robinson30
J. E. M. Robinson44, A. Robson55, C. Roda125a,125b, Y. Rodina87, A. Rodriguez Perez13, D. Rodriguez Rodriguez167
S. Roe32, C. S. Rogan59, O. R0hne120, A. Romaniouk99, M. Romano22a,22b, S. M. Romano Saez36, E. Romero Adam167
N. Rompotis139, M. Ronzani50, L. Roos82, E. Ros167, S. Rosati133a, K. Rosbach50, P. Rose138, O. Rosenthal142
V. Rossetti147a,147b, E. Rossi105a,105b, L. P. Rossi52a, J. H. N. Rosten30, R. Rosten139, M. Rotaru28b, I. Roth172
J. Rothberg139, D. Rousseau118, C. R. Royon137, A. Rozanov87, Y. Rozen153, X. Ruan146c, F. Rubbo144, V. I. Rud100
M. S. Rudolph159, F. Ruhr50, A. Ruiz-Martinez31, Z. Rurikova50, N. A. Rusakovich67, A. Ruschke101, H. L. Russell139
J. P. Rutherfoord7, N. Ruthmann32, Y. F. Ryabov124, M. Rybar166, G. Rybkin118, S. Ryu6, A. Ryzhov131, G. F. Rzehorz56
A. F. Saavedra151, G. Sabato108, S. Sacerdoti29, H. F-W. Sadrozinski138, R. Sadykov67, F. Safai Tehrani133a
P. Saha109, M. Sahinsoy60a, M. Saimpert137, T. Saito156, H. Sakamoto156, Y. Sakurai171, G. Salamanna135a,135b
A. Salamon134a,134b, J. E. Salazar Loyola34b, D. Salek108, P. H. Sales De Bruin139, D. Salihagic102, A. Salnikov144
12n

292 Page 24 of 30
Eur. Phys. J. C (2016) 76:292
J. Salt167, D. Salvatore39a,39b, F. Salvatore150, A. Salvucci62a, A. Salzburger32, D. Sammel50, D. Sampsonidis155
A. Sanchez105a,105b, J. Sanchez167, V. Sanchez Martinez167, H. Sandaker120, R. L. Sandbach78, H. G. Sander85
M. Sandhoff175, C. Sandoval21, R. Sandstroem102, D. P. C. Sankey132, M. Sannino52a,52b, A. Sansoni49, C. Santoni36
R. Santonico134a,134b, H. Santos127a, I. Santoyo Castillo150, K. Sapp126, A. Sapronov67, J. G. Saraiva127a,127d, B. Sarrazin23
O.	Sasaki68, Y. Sasaki156, K. Sato161, G. Sauvage5,\ E. Sauvan5, G. Savage79, P. Savard159,d, C. Sawyer132, L. Sawyer81,q
J. Saxon33, C. Sbarra22a, A. Sbrizzi22a,22b, T. Scanlon80, D. A. Scannicchio163, M. Scarcella151, V. Scarfone39a,39b
J. Schaarschmidt172, P. Schacht102,D. Schaefer32, R. Schaefer44, J. Schaeffer85, S. Schaepe23, S. Schaetzel60b,U. Schafer85
A. C. Schaffer118, D. Schaile101, R. D. Schamberger149, V. Scharf60a, V. A. Schegelsky124, D. Scheirich130,M. Schernau163
Schiavi52a,52b, C. Schillo50, M. Schioppa39a,39b, S. Schlenker32, K. Schmieden32, C. Schmitt85, S. Schmitt44
S. Schmitz85, B. Schneider160a, U. Schnoor50, L. Schoeffel137, A. Schoening60b, B. D. Schoenrock92, E. Schopf23
A. L. S. Schorlemmer45, M. Schott85, J. Schovancova8, S. Schramm51, M. Schreyer174, N. Schuh85, M. J. Schultens23
-C. Schultz-Coulon60a, H. Schulz17, M. Schumacher50, B. A. Schumm138, Ph. Schune137, C. Schwanenberger86
A. Schwartzman144, T. A. Schwarz91, Ph. Schwegler102, H. Schweiger86, Ph. Schwemling137, R. Schwienhorst92
J. Schwindling137, T. Schwindt23, G. Sciolla25, F. Scuri125a,125b, F. Scutti90, J. Searcy91, P. Seema23, S. C. Seidel106
A. Seiden138, F. Seifert129, J. M. Seixas26a, G. Sekhniaidze105a, K. Sekhon91, S. J. Sekula42, D. M. Se^e^ov124^
N. Semprini-Cesari22a,22b, C. Serfon120, L. Serin118, L. Serkin164a,164b, M. Sessa135a,135b, R. Seuster169, H. Severini114
T. Sfiligoj77, F. Sforza32, A. Sfyrla51, E. Shabalina56, N. W. Shaikh147a,147b, L. Y. Shan35a, R. Shang166, J. T. Shank24
M. Shapiro16, P. B. Shatalov98, K. Shaw164a,164b, S. M. Shaw86, A. Shcherbakova147a,147b, C. Y. Shehu150, P. Sherwood80
L. Shi152,aj, S. Shimizu69, C. O. Shimmin163, M. Shimojima103, M. Shiyakova67,ak, A. Shmeleva97, D. Shoaleh Saadi96
M. J. Shochet33, S. Shojaii93a,93b, S. Shrestha112, E. Shulga99, M. A. Shupe7, P. Sicho128, P. E. Sidebo148
O.	Sidiropoulou174, D. Sidorov115, A. Sidoti22a,22b, F. Siegert46, Dj. Sijacki14, J. Silva127a,127d, S. B. Silverstein147a
V. Simak129, O. Simard5, Lj. Simic14, S. Simion118, E. Simioni85, B. Simmons80, D. Simon36, M. Simon85
P. Sinervo159, N. B. Sinev117, M. Sioli22a,22b, G. Siragusa174, S. Yu. Sivoklokov100, J. Sjolin147a,147b, T. B. Sjursen15
M. B. Skinner74, H. P. Skottowe59, P. Skubic114, M. Slater19, T. Slavicek129, M. Slawinska108, K. Sliwa162, R. Slovak130
V. Smakhtin172, B. H. Smart5, L. Smestad15, S. Yu. Smirnov99, Y. Smirnov99, L. N. Smirnova100,al, O. Smirnova83
M. N. K. Smith37, R. W. Smith37, M. Smizanska74, K. Smolek129, A. A. Snesarev97, S. Snyder27, R. Sobie169d, F. Socher46
A. Soffer154, D. A. Soh152,aj, G. Sokhrannyi77, C. A. Solans Sanchez32, M. Solar129, E. Yu. Soldatov99, U. Soldevila167
A. A. Solodkov131, A. Soloshenko67, O. V. Solovyanov131, V. Solovyev124, P. Sommer50, H. Son162, H. Y. Song35b,am
A. Sood16, A. Sopczak129, V. Sopko129, V. Sorin13, D. Sosa60b, C. L. Sotiropoulou125a,125b, R. Soualah164a,164c
A. M. Soukharev110,c, D. South44, B. C. Sowden79, S. Spagnolo75a,75b, M. Spalla125a,125b, M. Spangenberg170
Spano79, D. Sperlich17, F. Spettel102, R. Spighi22a, G. Spigo32, L. A. Spiller90, M. Spousta130, R. D. St. Denis55^
A. Stabile93a, R. Stamen60a, S. Stamm17, E. Stanecka41, R. W. Stanek6, C. Stanescu135a, M. Stanescu-Bellu44
M. M. Stanitzki44, S. Stapnes120, E. A. Starchenko131, G. H. Stark33, J. Stark57, P. Staroba128, P. Starovoitov60a, S. Starz32
R. Staszewski41, P. Steinberg27, B. Stelzer143, H. J. Stelzer32, O. Stelzer-Chilton160a, H. Stenzel54, G. A. Stewart55
J. A. Stillings23, M. C. Stockton89, M. Stoebe89, G. Stoicea28b, P. Stolte56, S. Stonjek102, A. R. Stradling8, A. Straessner46
M. E. Stramaglia18, J. Strandberg148, S. Strandberg147a,147b, A. Strandlie120,M. Strauss114, P. Strizenec145b, R. Strohmer174
M. Strom117, R. Stroynowski42, A. Strubig107, S. A. Stucci18, B. Stugu15, N. A. Styles44, D. Su144, J. Su126
R. Subramaniam81, S. Suchek60a, Y. Sugaya119, M. Suk129, V. V. Sulin97, S. Sultansoy4c, T. Sumida70, S. Sun59, X. Sun35a
J. E. Sundermann50, K. Suruliz150, G. Susinno39a,39b, M. R. Sutton150, S. Suzuki68, M. Svatos128, M. Swiatlowski33
Sykora145a, T. Sykora130, D. Ta50, C. Taccini135a,135b, K. Tackmann44, J. Taenzer159, A. Taffard163, R. Tafirout160a
N. Taiblum154, H. Takai27, R. Takashima71, T. Takeshita141, Y. Takubo68, M. Talby87, A. A. Talyshev110,c, J. Y. C. Tam174
K. G. Tan90, J. Tanaka156, R. Tanaka118, S. Tanaka68, B. B. Tannenwald112, S. Tapia Araya34b, S. Tapprogge85
S. Tarem153, G. F. Tartarelli93a, P. Tas130, M. Tasevsky128, T. Tashiro70, E. Tassi39a,39b, A. Tavares Delgado127a,127b
Y. Tayalati136d, A. C. Taylor106, G. N. Taylor90, P. T. E. Taylor90, W. Taylor160b, F. A. Teischinger32, P. Teixeira-Dias79
K. K. Temming50, D. Temple143, H. Ten Kate32, P. K. Teng152, J. J. Teoh119, F. Tepel175, S. Terada68, K. Terashi156
J. Terron84, S. Terzo102, M. Testa49, R. J. Teuscher1592, T. Theveneaux-Pelzer87, J. P. Thomas19, J. Thomas-Wilsker79
N. Thompson37, P. D. Thompson19, A. S. Thompson55, L. A. Thomsen176, E. Thomson123, M. Thomson30
M. J. Tibbetts16, R. E. Ticse Torres87, V. O. Tikhomirov97,™ Yu. A. Tikhonov110^, S. Timoshenko99, P. Tipton176
S. Tisserant87, K. Todome158, T. Todorov5,:\ S. Todorova-Nova130, J. Tojo72, S. Tokar145a, K. Tokushuku68, E. Tolley59
L. Tomlinson86, M. Tomoto104, L. Tompkins144^, K. Toms106, B. Tong59, E. Torrence117, H. Torres143, E. Torró Pastor139
J. Toth87,ap, F. Touchard87, D. R. Tovey140, T. Trefzger174, A. Tricoli27, I. M. Trigger160a, S. Trincaz-Duvoid82
M. F. Tripiana13, W. Trischuk159, B. Trocme57, A. Trofymov44, C. Troncon93a, M. Trottier-McDonald16, M. Trovatelli169
L. Truong164a,164b, M. Trzebinski41, A. Trzupek41, J. C-L. Tseng121, P. V. Tsiareshka94, G. Tsipolitis10, N. Tsirintanis9
12n

Eur. Phys. J. C (2016) 76:292
Page 25 of 30 292
S. Tsiskaridze13, V. Tsiskaridze50, E. G. Tskhadadze53a, K. M. Tsui62a, 1.1. Tsukerman98, V. Tsulaia16, S. Tsuno68,
Tsybychev149, A. Tudorache28b, V. Tudorache28b, A. N. Tuna59, S. A. Tupputi22a,22b, S. Turchikhin100,al,
Turecek129, D. Turgeman172, R. Turra93a,93b, A. J. Turvey42, P. M. Tuts37, M. Tyndel132, G. Ucchielli22a,22b,
Ueda156, R. Ueno31, M. Ughetto147a,147b, F. Ukegawa161, G. Unal32, A. Undrus27, G. Unel163, F. C. Ungaro90,
Y. Unno68, C. Unverdorben101, J. Urban145b, P. Urquijo90, P. Urrejola85, G. Usai8, A. Usanova64, L. Vacavant87,
V. Vacek129, B. Vachon89, C. Valderanis101, E. Valdes Santurio147a,147b, N. Valencic108, S. Valentinetti22a,22b, A. Valero167,
L. Valery13, S. Valkar130, S. Vallecorsa51, J. A. Valls Ferrer167, W. Van Den Wollenberg108, P. C. Van Der Deijl108,
R. van der Geer108, H. van der Graaf108, N. van Eldik153, P. van Gemmeren6, J. Van Nieuwkoop143, I. van Vulpen108,
M. C. van Woerden32, M. Vanadia133a,133b, W. Vandelli32, R. Vanguri123, A. Vaniachine6, P. Vankov108, G. Vardanyan177,
R. Vari133a, E. W. Varnes7, T. Varol42, D. Varouchas82, A. Vartapetian8, K. E. Varvell151, J. G. Vasquez176, F. Vazeille36,
T. Vazquez Schroeder89, J. Veatch56, L. M. Veloce159, F. Veloso127a,127c, S. Veneziano133a, A. Ventura75a,75b, M. Venturi169,
N. Venturi159, A. Venturini25, V. Vercesi122a, M. Verducci133a,133b, W. Verkerke108, J. C. Vermeulen108, A. Vest46,aq,
M. C. Vetterli143,d, O. Viazlo83, I. Vichou166, T. Vickey140, O. E. Vickey Boeriu140, G. H. A. Viehhauser121, S. Viel16,
L. Vigani121, R. Vigne64, M. Villa22a,22b, M. Villaplana Perez93a,93b, E. Vilucchi49, M. G. Vincter31, V. B. Vinogradov67,
Vittori22a,22b, I. Vivarelli150, S. Vlachos10, M. Vlasak129, M. Vogel175, P. Vokac129, G. Volpi125a,125b, M. Volpi90,
von der Schmitt102, E. von Toerne23, V. Vorobel130, K. Vorobev99, M. Vos167, R. Voss32, J. H. Vossebeld76, N. Vranjes14,
M. Vranjes Milosavljevic14, V. Vrba128, M. Vreeswijk108, R. Vuillermet32, I. Vukotic33, Z. Vykydal129, P. Wagner23,
W. Wagner175, H. Wahlberg73, S. Wahrmund46, J. Wakabayashi104, J. Walder74, R. Walker101, W. Walkowiak142,
V. Wallangen147a,147b, C. Wang152, C. Wang35d,87, F. Wang173, H. Wang16, H. Wang42, J. Wang44, J. Wang151,
K.Wang89, R.Wang6, S. M. Wang152, T.Wang23, T. Wang37, X. Wang176, C. Wanotayaroj117, A. Warburton89,
P. Ward30, D. R. Wardrope80, A. Washbrook48, P. M. Watkins19, A. T. Watson19, M. F. Watson19, G. Watts139,
S. Watts86, B. M. Waugh80, S. Webb85, M. S. Weber18, S. W. Weber174, J. S. Webster6, A. R. Weidberg121, B. Weinert63,
J. Weingarten56, C. Weiser50, H. Weits108, P. S. Wells32, T. Wenaus27, T. Wengler32, S. Wenig32,N. Wermes23, M. Werner50,
P. Werner32, M. Wessels60a, J. Wetter162, K. Whalen117, N. L. Whallon139, A. M. Wharton74, A. White8, M. J. White1,
R. White34b, S. White125a,125b, D. Whiteson163, F. J. Wickens132, W. Wiedenmann173, M. Wielers132, P. Wienemann23,
Wiglesworth38, L. A. M. Wiik-Fuchs23, A. Wildauer102, F. Wilk86, H. G. Wilkens32, H. H. Williams123, S. Williams108,
Willis92, S. Willocq88, J. A. Wilson19, I. Wingerter-Seez5, F. Winklmeier117, O. J. Winston150, B. T. Winter23,
M. Wittgen144, J. Wittkowski101, S. J. Wollstadt85, M. W. Wolter41, H. Wolters127a,127c, B. K. Wosiek41, J. Wotschack32,
M. J. Woudstra86, K. W. Wozniak41, M. Wu57, M. Wu33, S. L. Wu173, X. Wu51, Y. Wu91, T. R. Wyatt86, B. M. Wynne48,
S. Xella38, D. Xu35a, L. Xu27, B. Yabsley151, S. Yacoob146a, R. Yakabe69, D. Yamaguchi158, Y. Yamaguchi119,
A. Yamamoto68, S. Yamamoto156, T. Yamanaka156, K. Yamauchi104, Y. Yamazaki69, Z. Yan24, H. Yang35e, H. Yang173,
Y. Yang152, Z. Yang15, W-M. Yao16, Y. C. Yap82, Y. Yasu68, E. Yatsenko5, K. H. Yau Wong23, J. Ye42, S. Ye27,
Yeletskikh67, A. L. Yen59, E. Yildirim44, K. Yorita171, R. Yoshida6, K. Yoshihara123, C. Young144, C. J. S. Young32,
S. Youssef24, D. R. Yu16, J. Yu8, J. M. Yu91, J. Yu66, L. Yuan69, S. P. Y. Yuen23, I. Yusuff30,ar, B. Zabinski41, R. Zaidan35d,
A. M. Zaitsev131,ae, N. Zakharchuk44, J. Zalieckas15, A. Zaman149, S. Zambito59, L. Zanello133a,133b, D. Zanzi90,
Zeitnitz175, M. Zeman129, A. Zemla40a, J. C. Zeng166, Q. Zeng144, K. Zengel25, O. Zenin131, T. Zenis145a, D. Zerwas118,
Zhang91, F. Zhang173, G. Zhang35b,am, H. Zhang35c, J. Zhang6, L. Zhang50, R. Zhang23, R. Zhang35b,as, X. Zhang35d,
Z. Zhang118, X. Zhao42, Y. Zhao35d, Z. Zhao35b, A. Zhemchugov67, J. Zhong121, B. Zhou91, C. Zhou47, L. Zhou37,
L. Zhou42, M. Zhou149, N. Zhou35f, C. G. Zhu35d, H. Zhu35a, J. Zhu91, Y. Zhu35b, X. Zhuang35a, K. Zhukov97, A. Zibell174,
Zieminska63, N. I. Zimine67, C. Zimmermann85, S. Zimmermann50, Z. Zinonos56, M. Zinser85, M. Ziolkowski142,
L. Zivkovic14, G. Zobernig173, A. Zoccoli22a,22b, M. zur Nedden17, G. Zurzolo105a,105b, L. Zwalinski32
1 Department of Physics, University of Adelaide, Adelaide, Australia
2 Physics Department, SUNY Albany, Albany, NY, USA
3 Department of Physics, University of Alberta, Edmonton, AB, Canada
4 ^Department of Physics, Ankara University, Ankara, Turkey; (^Istanbul Aydin University, Istanbul, Turkey; (^Division
of Physics, TOBB University of Economics and Technology, Ankara, Turkey
5 LAPP, CNRS/IN2P3 and Universite Savoie Mont Blanc, Annecy-le-Vieux, France
6 High Energy Physics Division, Argonne National Laboratory, Argonne, IL, USA
7 Department of Physics, University of Arizona, Tucson, AZ, USA
8 Department of Physics, The University of Texas at Arlington, Arlington, TX, USA
9 Physics Department, University of Athens, Athens, Greece
10 Physics Department, National Technical University of Athens, Zografou, Greece
12n

292 Page 26 of 30
Eur. Phys. J. C (2016) 76:292
1. Department of Physics, The University of Texas at Austin, Austin, TX, USA
2. Institute of Physics, Azerbaijan Academy of Sciences, Baku, Azerbaijan
3. Institut de Fisica d’Altes Energies (IFAE), The Barcelona Institute of Science and Technology, Barcelona, Spain
4. Institute of Physics, University of Belgrade, Belgrade, Serbia
5. Department for Physics and Technology, University of Bergen, Bergen, Norway
6. Physics Division, Lawrence Berkeley National Laboratory and University of California, Berkeley, CA, USA
7. Department of Physics, Humboldt University, Berlin, Germany
8. Albert Einstein Center for Fundamental Physics and Laboratory for High Energy Physics, University of Bern, Bern,
   Switzerland
9. School of Physics and Astronomy, University of Birmingham, Birmingham, UK
10. ^Department of Physics, Bogazici University, Istanbul, Turkey; (b)Department of Physics Engineering, Gaziantep
    University, Gaziantep, Turkey; (c)Faculty of Engineering and Natural Sciences, Istanbul Bilgi University, Istanbul,
    Turkey; (d)Faculty of Engineering and Natural Sciences, Bahcesehir University, Istanbul, Turkey
11. Centro de Investigaciones, Universidad Antonio Narino, Bogota, Colombia
12. (a)INFN Sezione di Bologna, Bologna, Italy; (b)Dipartimento di Fisica e Astronomia, Universita di Bologna, Bologna,
    Italy
13. Physikalisches Institut, University of Bonn, Bonn, Germany
14. Department of Physics, Boston University, Boston, MA, USA
15. Department of Physics, Brandeis University, Waltham, MA, USA
16. (a)Universidade Federal do Rio De Janeiro COPPE/EE/IF, Rio de Janeiro, Brazil; (b)Electrical Circuits Department,
    Federal University of Juiz de Fora (UFJF), Juiz de Fora, Brazil; ^Federal University of Sao Joao del Rei (UFSJ), Sao
    Joao del Rei, Brazil; (d)Instituto de Fisica, Universidade de Sao Paulo, Sao Paulo, Brazil
17. Physics Department, Brookhaven National Laboratory, Upton, NY, USA
18. (a)Transilvania University of Brasov, Brasov, Romania; ^National Institute of Physics and Nuclear Engineering,
    Bucharest, Romania; (c)Physics Department, National Institute for Research and Development of Isotopic and Molecular
    Technologies, Cluj Napoca, Romania; ^University Politehnica Bucharest, Bucharest, Romania; (e)West University in
    Timisoara, Timisoara, Romania
19. Departamento de Fisica, Universidad de Buenos Aires, Buenos Aires, Argentina
20. Cavendish Laboratory, University of Cambridge, Cambridge, UK
21. Department of Physics, Carleton University, Ottawa, ON, Canada
22. CERN, Geneva, Switzerland
23. Enrico Fermi Institute, University of Chicago, Chicago, IL, USA
24. (a)Departamento de Fisica, Pontificia Universidad Católica de Chile, Santiago, Chile;(b) Departamento de Fisica,
    Universidad Tecnica Federico Santa Marfa, Valparaiso, Chile
25. (a)Institute of High Energy Physics, Chinese Academy of Sciences, Beijing, China; (b)Department of Modern Physics,
    University of Science and Technology of China, Hefei, Anhui, China; (c)Department of Physics, Nanjing University,
    Nanjing, Jiangsu, China; (d)School of Physics, Shandong University, Jinan, Shandong, China; (e)Shanghai Key
    Laboratory for Particle Physics and Cosmology, Department of Physics and Astronomy, Shanghai Jiao Tong University
    (also affiliated with PKU-CHEP), Shanghai, China; (f)Physics Department, Tsinghua University, Beijing 100084, China
26. Laboratoire de Physique Corpusculaire, Clermont Universite and Universite Blaise Pascal and CNRS/IN2P3,
    Clermont-Ferrand, France
27. Nevis Laboratory, Columbia University, Irvington, NY, USA
28. Niels Bohr Institute, University of Copenhagen, Kobenhavn, Denmark
29. (a)INFN Gruppo Collegato di Cosenza, Laboratori Nazionali di Frascati, Frascati, Italy; (b)Dipartimento di Fisica,
    Universita della Calabria, Rende, Italy
30. (a)Faculty of Physics and Applied Computer Science, AGH University of Science and Technology, Kraków, Poland;
    (b)Marian Smoluchowski Institute of Physics, Jagiellonian University, Kraków, Poland
31. Institute of Nuclear Physics, Polish Academy of Sciences, Krakow, Poland
32. Physics Department, Southern Methodist University, Dallas, TX, USA
33. Physics Department, University of Texas at Dallas, Richardson, TX, USA
34. DESY, Hamburg and Zeuthen, Germany
35. Institut fur Experimentelle Physik IV, Technische Universitat Dortmund, Dortmund, Germany
36. Institut fur Kern- und Teilchenphysik, Technische Universitat Dresden, Dresden, Germany
1 Springer

Eur. Phys. J. C (2016) 76:292
Page 27 of 30 292
1. Department of Physics, Duke University, Durham, NC, USA
2. SUPA-School of Physics and Astronomy, University of Edinburgh, Edinburgh, UK
3. INFN Laboratori Nazionali di Frascati, Frascati, Italy
4. Fakultat fur Mathematik und Physik, Albert-Ludwigs-Universitat, Freiburg, Germany
5. Section de Physique, Universite de Geneve, Geneva, Switzerland
6. (a)INFN Sezione di Genova, Genoa, Italy; (b)Dipartimento di Fisica, Universita di Genova, Genoa, Italy
7. (a)E. Andronikashvili Institute of Physics, Iv. Javakhishvili Tbilisi State University, Tbilisi, Georgia; (b)High Energy
   Physics Institute, Tbilisi State University, Tbilisi, Georgia
8. II Physikalisches Institut, Justus-Liebig-Universitat Giessen, Giessen, Germany
9. SUPA-School of Physics and Astronomy, University of Glasgow, Glasgow, UK
10. II Physikalisches Institut, Georg-August-Universitat, Gottingen, Germany
11. Laboratoire de Physique Subatomique et de Cosmologie, Universite Grenoble-Alpes, CNRS/IN2P3, Grenoble, France
12. Department of Physics, Hampton University, Hampton, VA, USA
13. Laboratory for Particle Physics and Cosmology, Harvard University, Cambridge, MA, USA
14. (a)Kirchhoff-Institut fur Physik, Ruprecht-Karls-Universitat Heidelberg, Heidelberg, Germany; (b)Physikalisches Institut,
    Ruprecht-Karls-Universitat Heidelberg, Heidelberg, Germany; (c)ZITI Institut fur technische Informatik,
    Ruprecht-Karls-Universitat Heidelberg, Mannheim, Germany
15. Faculty of Applied Information Science, Hiroshima Institute of Technology, Hiroshima, Japan
16. (a)Department of Physics, The Chinese University of Hong Kong, Shatin, NT, Hong Kong; (b)Department of Physics,
    The University of Hong Kong, Pokfulam, Hong Kong; (c)Department of Physics, The Hong Kong University of Science
    and Technology, Clear Water Bay, Kowloon, Hong Kong, China
17. Department of Physics, Indiana University, Bloomington, IN, USA
18. Institut fur Astro- und Teilchenphysik, Leopold-Franzens-Universitat, Innsbruck, Austria
19. University of Iowa, Iowa City, IA, USA
20. Department of Physics and Astronomy, Iowa State University, Ames, IA, USA
21. Joint Institute for Nuclear Research, JINR Dubna, Dubna, Russia
22. KEK, High Energy Accelerator Research Organization, Tsukuba, Japan
23. Graduate School of Science, Kobe University, Kobe, Japan
24. Faculty of Science, Kyoto University, Kyoto, Japan
25. Kyoto University of Education, Kyoto, Japan
26. Department of Physics, Kyushu University, Fukuoka, Japan
27. Instituto de Fisica La Plata, Universidad Nacional de La Plata and CONICET, La Plata, Argentina
28. Physics Department, Lancaster University, Lancaster, UK
29. (a)INFN Sezione di Lecce, Lecce, Italy;(b)Dipartimento di Matematica e Fisica, Universita del Salento, Lecce, Italy
30. Oliver Lodge Laboratory, University of Liverpool, Liverpool, UK
31. Department of Physics, Jozef Stefan Institute and University of Ljubljana, Ljubljana, Slovenia
32. School of Physics and Astronomy, Queen Mary University of London, London, UK
33. Department of Physics, Royal Holloway University of London, Surrey, UK
34. Department of Physics and Astronomy, University College London, London, UK
35. Louisiana Tech University, Ruston, LA, USA
36. Laboratoire de Physique Nucleaire et de Hautes Energies, UPMC and Universite Paris-Diderot and CNRS/IN2P3, Paris,
    France
37. Fysiska institutionen, Lunds universitet, Lund, Sweden
38. Departamento de Fisica Teorica C-15, Universidad Autonoma de Madrid, Madrid, Spain
39. Institut fur Physik, Universitat Mainz, Mainz, Germany
40. School of Physics and Astronomy, University of Manchester, Manchester, UK
41. CPPM, Aix-Marseille Universite and CNRS/IN2P3, Marseille, France
42. Department of Physics, University of Massachusetts, Amherst, MA, USA
43. Department of Physics, McGill University, Montreal, QC, Canada
44. School of Physics, University of Melbourne, Melbourne, VIC, Australia
45. Department of Physics, The University of Michigan, Ann Arbor, MI, USA
46. Department of Physics and Astronomy, Michigan State University, East Lansing, MI, USA
47. (a)INFN Sezione di Milano, Milan, Italy; (b)Dipartimento di Fisica, Universita di Milano, Milan, Italy
1 Springer

292 Page 28 of 30
Eur. Phys. J. C (2016) 76:292
1. B.I. Stepanov Institute of Physics, National Academy of Sciences of Belarus, Minsk, Republic of Belarus
2. National Scientific and Educational Centre for Particle and High Energy Physics, Minsk, Republic of Belarus
3. Group of Particle Physics, University of Montreal, Montreal, QC, Canada
4. P.N. Lebedev Physical Institute of the Russian, Academy of Sciences, Moscow, Russia
5. Institute for Theoretical and Experimental Physics (ITEP), Moscow, Russia
6. National Research Nuclear University MEPhI, Moscow, Russia
7. D.V. Skobeltsyn Institute of Nuclear Physics, M.V. Lomonosov Moscow State University, Moscow, Russia
8. Fakultat fur Physik, Ludwig-Maximilians-Universitat Munchen, Munich, Germany
9. Max-Planck-Institut fur Physik (Werner-Heisenberg-Institut), Munich, Germany
10. Nagasaki Institute of Applied Science, Nagasaki, Japan
11. Graduate School of Science and Kobayashi-Maskawa Institute, Nagoya University, Nagoya, Japan
12. (a)INFN Sezione di Napoli, Naples, Italy; (b)Dipartimento di Fisica, Universita di Napoli, Naples, Italy
13. Department of Physics and Astronomy, University of New Mexico, Albuquerque, NM, USA
14. Institute for Mathematics, Astrophysics and Particle Physics, Radboud University Nijmegen/Nikhef, Nijmegen, The
    Netherlands
15. Nikhef National Institute for Subatomic Physics and University of Amsterdam, Amsterdam, The Netherlands
16. Department of Physics, Northern Illinois University, DeKalb, IL, USA
17. Budker Institute of Nuclear Physics, SB RAS, Novosibirsk, Russia
18. Department of Physics, New York University, New York, NY, USA
19. Ohio State University, Columbus, OH, USA
20. Faculty of Science, Okayama University, Okayama, Japan
21. Homer L. Dodge Department of Physics and Astronomy, University of Oklahoma, Norman, OK, USA
22. Department of Physics, Oklahoma State University, Stillwater, OK, USA
23. Palacky University, RCPTM, Olomouc, Czech Republic
24. Center for High Energy Physics, University of Oregon, Eugene, OR, USA
25. LAL, Univ. Paris-Sud, CNRS/IN2P3, Universite Paris Saclay, Orsay, France
26. Graduate School of Science, Osaka University, Osaka, Japan
27. Department of Physics, University of Oslo, Oslo, Norway
28. Department of Physics, Oxford University, Oxford, UK
29. (a)INFN Sezione di Pavia, Pavia, Italy; (b)Dipartimento di Fisica, Universita di Pavia, Pavia, Italy
30. Department of Physics, University of Pennsylvania, Philadelphia, PA, USA
31. National Research Centre “Kurchatov Institute” B.P.Konstantinov Petersburg Nuclear Physics Institute, St. Petersburg,
    Russia
32. (a)INFN Sezione di Pisa, Pisa, Italy; (b)Dipartimento di Fisica E. Fermi, Universita di Pisa, Pisa, Italy
33. Department of Physics and Astronomy, University of Pittsburgh, Pittsburgh, PA, USA
34. (a)Laboratório de Instrumentaęao e Fisica Experimental de Partfculas-LIP, Lisbon, Portugal; (b)Faculdade de Ciencias,
    Universidade de Lisboa, Lisbon, Portugal; (c)Department of Physics, University of Coimbra, Coimbra, Portugal; (d)Centro
    de Fisica Nuclear da Universidade de Lisboa, Lisbon, Portugal; (e)Departamento de Fisica, Universidade do Minho,
    Braga, Portugal; (f)Departamento de Fisica Teorica y del Cosmos and CAFPE, Universidad de Granada, Granada, Spain;
    (g)Dep Fisica and CEFITEC of Faculdade de Ciencias e Tecnologia, Universidade Nova de Lisboa, Caparica, Portugal
35. Institute of Physics, Academy of Sciences of the Czech Republic, Prague, Czech Republic
36. Czech Technical University in Prague, Prague, Czech Republic
37. Faculty of Mathematics and Physics, Charles University in Prague, Prague, Czech Republic
38. State Research Center Institute for High Energy Physics, Protvino, NRC KI, Russia
39. Particle Physics Department, Rutherford Appleton Laboratory, Didcot, UK
40. (a)INFN Sezione di Roma, Rome, Italy; (b)Dipartimento di Fisica, Sapienza Universita di Roma, Rome, Italy
41. (a)INFN Sezione di Roma Tor Vergata, Rome, Italy; (b)Dipartimento di Fisica, Universita di Roma Tor Vergata, Rome,
    Italy
42. (a)INFN Sezione di Roma Tre, Rome, Italy; (b)Dipartimento di Matematica e Fisica, Universita Roma Tre, Rome, Italy
43. (a)Faculte des Sciences Ain Chock, Reseau Universitaire de Physique des Hautes Energies-Universite Hassan II,
    Casablanca, Morocco; (b)Centre National de l’Energie des Sciences Techniques Nucleaires, Rabat, Morocco; (c)Faculte
    des Sciences Semlalia, Universite Cadi Ayyad, LPHEA-Marrakech, Marrakech, Morocco; (d)Faculte des Sciences,
1 n

Eur. Phys. J. C (2016) 76:292
Page 29 of 30 292
Universite Mohamed Premier and LPTPM, Oujda, Morocco; (e)Faculte des Sciences, Universite Mohammed V, Rabat,
Morocco
1. DSM/IRFU (Institut de Recherches sur les Lois Fondamentales de l’Univers), CEA Saclay (Commissariat a l’Energie
   Atomique et aux Energies Alternatives), Gif-sur-Yvette, France
2. Santa Cruz Institute for Particle Physics, University of California Santa Cruz, Santa Cruz, CA, USA
3. Department of Physics, University of Washington, Seattle, WA, USA
4. Department of Physics and Astronomy, University of Sheffield, Sheffield, UK
5. Department of Physics, Shinshu University, Nagano, Japan
6. Fachbereich Physik, Universitat Siegen, Siegen, Germany
7. Department of Physics, Simon Fraser University, Burnaby, BC, Canada
8. SLAC National Accelerator Laboratory, Stanford, CA, USA
9. (a)Faculty of Mathematics, Physics and Informatics, Comenius University, Bratislava, Slovak Republic; (b)Department
   of Subnuclear Physics, Institute of Experimental Physics of the Slovak Academy of Sciences, Kosice, Slovak Republic
10. (a)Department of Physics, University of Cape Town, Cape Town, South Africa; (b)Department of Physics, University of
    Johannesburg, Johannesburg, South Africa; (c)School of Physics, University of the Witwatersrand, Johannesburg, South
    Africa
11. (a)Department of Physics, Stockholm University, Stockholm, Sweden; (b)The Oskar Klein Centre, Stockholm, Sweden
12. Physics Department, Royal Institute of Technology, Stockholm, Sweden
13. Departments of Physics and Astronomy and Chemistry, Stony Brook University, Stony Brook, NY, USA
14. Department of Physics and Astronomy, University of Sussex, Brighton, UK
15. School of Physics, University of Sydney, Sydney, Australia
16. Institute of Physics, Academia Sinica, Taipei, Taiwan
17. Department of Physics, Technion: Israel Institute of Technology, Haifa, Israel
18. Raymond and Beverly Sackler School of Physics and Astronomy, Tel Aviv University, Tel Aviv, Israel
19. Department of Physics, Aristotle University of Thessaloniki, Thessaloniki, Greece
20. International Center for Elementary Particle Physics and Department of Physics, The University of Tokyo, Tokyo, Japan
21. Graduate School of Science and Technology, Tokyo Metropolitan University, Tokyo, Japan
22. Department of Physics, Tokyo Institute of Technology, Tokyo, Japan
23. Department of Physics, University of Toronto, Toronto, ON, Canada
24. (a)TRIUMF, Vancouver, BC, Canada; (b)Department of Physics and Astronomy, York University, Toronto, ON, Canada
25. Faculty of Pure and Applied Sciences, and Center for Integrated Research in Fundamental Science and Engineering,
    University of Tsukuba, Tsukuba, Japan
26. Department of Physics and Astronomy, Tufts University, Medford, MA, USA
27. Department of Physics and Astronomy, University of California Irvine, Irvine, CA, USA
28. (a)INFN Gruppo Collegato di Udine, Sezione di Trieste, Udine, Italy; (b)ICTP, Trieste, Italy; (c)Dipartimento di Chimica,
    Fisica e Ambiente, Universita di Udine, Udine, Italy
29. Department of Physics and Astronomy, University of Uppsala, Uppsala, Sweden
30. Department of Physics, University of Illinois, Urbana, IL, USA
31. Instituto de Fisica Corpuscular (IFIC) and Departamento de Fisica Atomica, Molecular y Nuclear and Departamento de
    Ingenierfa Electrónica and Instituto de Microelectrónica de Barcelona (IMB-CNM), University of Valencia and CSIC,
    Valencia, Spain
32. Department of Physics, University of British Columbia, Vancouver, BC, Canada
33. Department of Physics and Astronomy, University of Victoria, Victoria, BC, Canada
34. Department of Physics, University of Warwick, Coventry, UK
35. Waseda University, Tokyo, Japan
36. Department of Particle Physics, The Weizmann Institute of Science, Rehovot, Israel
37. Department of Physics, University of Wisconsin, Madison, WI, USA
38. Fakultat fur Physik und Astronomie, Julius-Maximilians-Universitat, Wurzburg, Germany
39. Fakultat fur Mathematik und Naturwissenschaften, Fachgruppe Physik, Bergische Universitat Wuppertal, Wuppertal,
    Germany
40. Department of Physics, Yale University, New Haven, CT, USA
41. Yerevan Physics Institute, Yerevan, Armenia
42. Centre de Calcul de l’Institut National de Physique Nucleaire et de Physique des Particules (IN2P3), Villeurbanne, France
1 n

292 Page 30 of 30
Eur. Phys. J. C (2016) 76:292
a Also at Department of Physics, King’s College London, London, UK
b Also at Institute of Physics, Azerbaijan Academy of Sciences, Baku, Azerbaijan
c Also at Novosibirsk State University, Novosibirsk, Russia
d Also at TRIUMF, Vancouver, BC, Canada
e Also at Department of Physics and Astronomy, University of Louisville, Louisville, KY, USA
f Also at Department of Physics, California State University, Fresno, CA, USA
g Also at Department of Physics, University of Fribourg, Fribourg, Switzerland
h Also at Departament de Fisica de la Universitat Autonoma de Barcelona, Barcelona, Spain
i Also at Departamento de Fisica e Astronomia, Faculdade de Ciencias, Universidade do Porto, Porto, Portugal
j Also at Tomsk State University, Tomsk, Russia
k Also at Universita di Napoli Parthenope, Napoli, Italy
l Also at Institute of Particle Physics (IPP), Canada
m Also at National Institute of Physics and Nuclear Engineering, Bucharest, Romania
n Also at Department of Physics, St. Petersburg State Polytechnical University, St. Petersburg, Russia
Also at Department of Physics, The University of Michigan, Ann Arbor, MI, USA
p Also at Centre for High Performance Computing, CSIR Campus, Rosebank, Cape Town, South Africa
q Also at Louisiana Tech University, Ruston, LA, USA
r Also at Institucio Catalana de Recerca i Estudis Avancats, ICREA, Barcelona, Spain
s Also at Graduate School of Science, Osaka University, Osaka, Japan
Also at Department of Physics, National Tsing Hua University, Taiwan
u Also at Institute for Mathematics, Astrophysics and Particle Physics, Radboud University Nijmegen/Nikhef, Nijmegen,
Netherlands
v Also at Department of Physics, The University of Texas at Austin, Austin, TX, USA
w Also at Institute of Theoretical Physics, Ilia State University, Tbilisi, Georgia
x Also at CERN, Geneva, Switzerland
y Also at Georgian Technical University (GTU), Tbilisi, Georgia
z Also at Ochadai Academic Production, Ochanomizu University, Tokyo, Japan
aa Also at Manhattan College, New York, NY, USA
ab Also at Hellenic Open University, Patras, Greece
ac Also at Academia Sinica Grid Computing, Institute of Physics, Academia Sinica, Taipei, Taiwan
ad Also at School of Physics, Shandong University, Shandong, China
ae Also at Moscow Institute of Physics and Technology State University, Dolgoprudny, Russia
af Also at Section de Physique, Universite de Geneve, Geneva, Switzerland
ag Also at Eotvos Lorand University, Budapest, Hungary
ah Also at International School for Advanced Studies (SISSA), Trieste, Italy
ai Also at Department of Physics and Astronomy, University of South Carolina, Columbia, SC, USA
aj Also at School of Physics and Engineering, Sun Yat-sen University, Guangzhou, China
ak Also at Institute for Nuclear Research and Nuclear Energy (INRNE) of the Bulgarian Academy of Sciences, Sofia,
Bulgaria
al Also at Faculty of Physics, M.V. Lomonosov Moscow State University, Moscow, Russia
am Also at Institute of Physics, Academia Sinica, Taipei, Taiwan
an Also at National Research Nuclear University MEPhI, Moscow, Russia
ao Also at Department of Physics, Stanford University, Stanford, CA, USA
ap Also at Institute for Particle and Nuclear Physics, Wigner Research Centre for Physics, Budapest, Hungary
aq Also at Flensburg University of Applied Sciences, Flensburg, Germany
ar Also at University of Malaya, Department of Physics, Kuala Lumpur, Malaysia
as Also at CPPM, Aix-Marseille Universite and CNRS/IN2P3, Marseille, France
* Deceased
1 n