Vol. 127 (2015)
ACTA PHYSICA POLONICA A
No. 5
Proceedings of the II Symposium on Applied Nuclear Physics and Innovative Technologies, Kraków, September 2427, 2014
Project of the Underwater System
for Chemical Threat Detection
*
M. Silarski
, D. Hunik, P. Moskal, M. Smolis, S. Tadeja
Institute of Physics, Jagiellonian University, St.
Łojasiewicza 11, 30-348 Kraków, Poland
In this article we describe a novel
method for the detection of explosives and other hazardous substances in
the marine environment using neutron activation.
Unlike the other considered methods based on this technique
we propose to use guides for neutron and gamma quanta which speeds up and simplies identication.
Moreover,
it may provide a determination of the density distribution of a dangerous substance.
First preliminary results of
Monte Carlo simulations dedicated for design of a device exploiting this method are also presented.
DOI: 10.12693/APhysPolA.127.1543
PACS: 28.41.Ak, 89.20.Dd, 28.20.Cz, 28.20.Fc
1.
Introduction
demand a precise knowledge of
location and amount of
sunk munitions.
During both World Wars the Baltic Sea was a scene of
Presently used methods for underwater munition de-
intense naval warfare and became a container for almost
tection is based on sonars which show only a shape of
whole Nazi
chemical
munition arsenal.
In accordance
underwater objects, like e.g.
sunk ships or depth charges.
with the provisions of the Potsdam Conference, Germany
To estimate the amount of dangerous substances and to
was demilitarized but only a small
part of their arsenal
determine the exact location of sunk munition it is still
was neutralized on land.
Technologies for safe and eec-
necessary that people are diving and searching the bot-
tive disposal of chemical weapons were not known shortly
tom of the sea.
This operation is always very dangerous
after the war.
Thus,
till 1948 about 250000 tons of mu-
for divers since the corrosion state of the shells is usually
nition,
including up to 65000 tons of
chemical
agents,
not known.
Moreover, these methods are very expensive
were sunk in Baltic Sea waters by both Germans and
and slow, thus they cannot be used in practice to search
Allies.
The main known contaminated areas are Little
big sea areas.
The above mentioned disadvantages can be
Belt, Bornholm Deep (east of Bornholm) and the south-
to large extend overcome by using devices based on neu-
western part of the Gotland Deep [1].
Apart from known
tron activation analysis (NAA) techniques which will be
underwater stockyard there is unknown amount of dan-
discussed in more details in next sections of this article.
gerous war remnants spread over the whole Baltic,
es-
pecially along maritime convoys paths and in vicinity of
2.
Underwater detection of hazardous
coasts.
It is not clear how dangerous are these underwa-
substances with neutron beams
ter arsenals.
At the bottom of the sea (in approximately
◦
57
C) the chemical
agents take a form of
oily liquids
Most of the commonly used explosives or drugs are or-
hardly soluble in water.
Thus, the sunk ammunition does
ganic materials.
Therefore, they are composed mostly of
not release hazardous substances.
It becomes dangerous
oxygen, carbon, hydrogen, and nitrogen.
War gases con-
however,
if
the rusted tanks and shells are raised from
tain also sulfur, chlorine, phosphorus and uorine.
Thus,
the bottom of the sea.
Chemical
munitions,
containing
these substances can be unambiguously identied by the
mostly mustard gas,
was shed several
times by sher-
determination of the ratio between number of C,
H,
N,
men on the Baltic Sea over the last fty years.
Moreover,
O,
S,
P,
and F atoms in a molecule,
which can be done
already in 1952 and 1955 the contamination was found at
noninvasively applying NAA techniques.
The suspected
the polish coast causing serious injuries to people.
It was
item can be irradiated with a ux of neutrons produced
estimated that if only 1/6 of the sunk chemical agents was
using compact generators based e.g.
on deuterontritium
released into Baltic the life in the sea and at its shores
fusion, where deuterons are accelerated to the energy of
would be entirely ruined for the next 100 years [1].
High
0.1 MeV and hit a solid target containing tritium.
As a
economic and environmental costs have been preventing
result of the fusion an alpha particle is created together
so far any activities aiming at extraction of
these haz-
with the neutron,
which is emitted nearly isotropically
ardous substances,
but it is clear that we are about to
with a well dened energy equal to about 14.1 MeV [2].
face a very serious problem in the Baltic Sea.
Appro-
Such energy is sucient to excite all nuclei composing
priate actions for preventing the ecological
catastrophe
γ
organic substances and the resulting
quanta from the
de-excitation of nuclei are then detected by e.g.
a germa-
nium detector providing a very good energy resolution.
Counting the number of gamma quanta emitted by nuclei
*
corresponding author; e-mail:
michal.silarski@uj.edu.pl
from the examined item provides information about its
(1543)

---
1544
M. Silarski et al.
stoichiometry.
Devices using NAA to detect explosives
on the ground were already designed and are produced,
e.g.
in USA [3] and Poland [4].
In the aquatic environment however we encounter se-
rious problems since neutrons are strongly attenuated by
water.
Moreover,
as in the case of ground detectors,
an
isotropic generation of neutrons induces a large environ-
mental background, in this case from oxygen.
This noise
can be signicantly reduced by the requirement of the co-
incident detection of the alpha particle, which allows for
the neutron tagging [5].
The attenuation of neutrons can
be compensated by decreasing the distance between gen-
erator and examined item [6].
There are also solutions
based on low energy neutrons which are moderated in
water before reaching the tested object.
The detector is
Fig. 1.
(a) Schematic view of a device for underwater
then counting the gamma quanta from thermal
neutron
detection of hazardous substances using neutron beams.
capture and secondary neutrons originating from the ir-
Application of guides reduce the scattering of both neu-
radiated object.
The identication is done by searching
α
trons and
quanta, while registration of an
particle in
for anomalies in the observed spectra of gamma quanta
anti-coincidence with gamma quanta detector allows to
reduce background.
(b) Demonstration of how changing
and neutrons [7].
of the relative position between neutron and
quanta
However, these methods do not allow to detect explo-
guides provides a tomographic image of the interrogated
sives
buried deeply in the bottom of
the sea.
More-
object.
over,
the device has
to approach the suspected item
very close and the strong attenuation of
neutrons and
of impinging particles.
If the diameter-to-length ratio of
gamma quanta signicantly increases the exposure time
both guides is small
the depth at which
quanta ex-
and make the interpretation of
results dicult.
There-
∆t
cite nuclei can be determined by measuring the time
fore,
we propose to build a detector which uses NAA
α
elapsed from the
particle registration until the time of
technique and special
guides for neutrons and emitted
the
quantum registration.
Generated neutrons travel
gamma rays [8].
v
L
with known velocity
the distance
from the tritium
The
device
allows
for
detection of
dangerous
sub-
n
n
target to the point of interaction.
Similarly the gamma
stances hidden deep in the bottom of the sea with signif-
L
emitted from the tested object y over a distance
with
icantly reduced background and provides determination
c
∆t
a speed of light
.
Thus,
can be expressed as
of the density distribution of the dangerous substance in
∆t = L
/v
+ L
/c − L
/v
,
the tested object.
(1)
n
n
α
α
If we know the positions of the generator target and
ray
x
detector and lengths of both guides the distance
cov-
3.
Concept of using the neutron guides
ered by neutrons from the end of the guide to the point
of interaction can be calculated as
Scheme of the proposed device is presented in Fig.
1.
L
l
l
cv
cos φ
α
n
n
Neutron generator
collides
deuterium ions
with a tri-
x =
∆t +
−
−
,
(2)
v
v
c
c cos φ + v
α
tium target producing a neutron and an
particle.
Be-
α
n
n
l
l
where
and
are the length of
guides for neutrons
cause of
the much higher energy released in this reac-
n
quanta,
respectively.
Additional
information on
tion compared to the energy of
deuterium,
both parti-
the depth of interaction is given by changing the relative
cles are produced almost isotropically and move back-to-
φ
α
position of
the guides and the angle
between them.
back.
The
particle is detected by a system of position
As it is demonstrated in Fig. 1a and b changing the dis-
sensitive detectors,
e.g.
silicon pads or scintillation ho-
tance between the guides provides registration of gamma
doscope, disposed on the walls of the generator.
Neutrons
quanta emitted from dierent parts of the object.
This
emitted towards the subject of interrogation y inside a
allows one to determine the density distribution of
el-
guide built out of
a stainless steal
pipe lled with low
ements building the suspected object.
In order to re-
pressure air or some other gas having low cross-section
move background resulting from interaction of neutrons
for neutron interaction.
Neutrons after leaving a guide
emitted in other directions only signals registered by the
may be scattered inelastically on atomic nuclei
in the
α
quanta detector in coincidence with signals from
par-
tested substance.
The nuclei
deexcite and emit gamma
ticle detectors mounted in-line with the neutron guide are
quanta with energy specic to the element.
Part of the
saved, while the other coincidences are discarded.
emitted
quanta y towards a dedicated detector within
an analogous guide which decrease their absorption and
Taking into account cross-section for neutron inelastic
scattering with respect to gamma quanta ying in water.
scattering with dierent nuclides and the detection ef-
The
ray detector could be again a position sensitive
ciency of
quanta we can reconstruct the number of
detector measuring the energy,
time and impact point
atoms of each element building the object and compare

---
Project of the Underwater System for Chemical
Threat Detection
1545
them with the known stoichiometry of
hazardous sub-
This information is stored in an SQLite database and
stances stored in the database.
The whole detection unit
recalled during the simulation only for elements specied
can be mounted on a small
submarine steered remotely
by user.
So far we have implemented only main processes
from a ship.
induced by 14.1 MeV neutrons which we are interested in,
i.e.
elastic and inelastic scattering and radiative capture,
but in the near future the simulations will
be supple-
4.
Prototype design:
simulations
mented with other processes, e.g.
ssion.
At present ne-
glected processes are taken into account eectively as one
In order to optimize the dimensions and relative po-
process after which neutron is no longer tracked.
Cross-
sitions of detectors and guides we have developed dedi-
section for this process is calculated in a way that the
cated open source software package written in the C++
sum of all
processes induced by neutron is equal
to the
programming language and based on the Monte Carlo
total
cross-section for a given nuclei
with which the re-
simulation methods.
Our goal
is to create a fast and
action occurred.
Neutrons are tracked according to the
user-friendly tool
using novel
methods of geometry def-
algorithm presented in Fig.
2 until
they reach the scene
inition and particle tracking based on hypergraphs [9].
boundary or their energy goes below the lowest included
The simulation framework is written using the C++11
−5
10

in the database
, i.e.
eV [11].
The reaction place is
standard and Open MPI library [10]
supporting paral-
randomly generated with exponential
probability distri-
lel
computing and it is destined for Unix-like operating
bution taking into account total cross-section values from
systems.
The application needs to be congured with in-
the database and concentrations of all the isotopes build-
put le dening scene description (location and shape of
ing the substance
.
User can choose to calculate concen-
all
objects included in simulation,
as well
as substances
building them),
and neutron source parameters (loca-
tion,
number of generated neutrons and their energies).
The parameters of neutron interaction with selected nu-
clei, e.g.
total cross-sections, neutron and
quanta angu-
lar distributions and multiplicities, are parameterized as
a function of neutron energy using data from the ENDF
database [11].
Similarly, gamma quanta energies were taken from the
evaluated nuclear structure data les (ENSDF) [12].
Fig. 3.
Distribution of
neutron interaction points
in
x−y
view for guide in a shape of (a) cuboid and (b) trun-
cated pyramid.
The point-like source of neutrons is lo-
cated at the origin of the reference frame.
The neutron
guide is presented as the blue rectangle (a) or trape-
y
zoid (c) aligned along the
axis.
The container with
explosives is represented by the red cuboid aligned hor-
izontally.
For better visibility of
the inuence of
neu-
tron guide plots (a), (c) and (b), (d) are made only for
−5 ≤ z ≤ 5
y ≤ 0
, respectively.
trations for a single chemical compound or a mixture of
substances for a specied density.
Selection of an isotope
with which the interaction took place is also random and

All results presented in this article were obtained however ne-
E < 10
glecting neutrons with energy
keV.
Fig. 2.
Scheme
of
the
algorithm used for
neutron
Currently we take into consideration only the most abundant
tracking (top) and details of the determination of neu-
isotope for each element.
tron reaction place (bottom).

---
1546
M. Silarski et al.
it is done again based on neutron total cross-sections and
tribution of the path length of neutrons in water is char-
known stoichiometry of
the material
in which the reac-
acterized by a mean free path of about 9.5 cm.
At the
tion is simulated.
Next the reaction type is drawn accord-
same time the ux ying through the guide lled with
ing to cross-section values for each process from the list
air reaches the container with mustard gas and excites
specied by user in the input le.
The direction of neu-
its nuclei.
Comparing Fig. 3a and b one can see also that
tron after the reaction is generated using angular distri-
both shapes of the neutron guide give eectively the same
butions parametrized with the Legendre polynomials or
ux irradiating the gas container, but for the trapezoidal
using uniform distribution if there is no relevant data in
shape a better spatial separation between regions where
the database.
It is rst determined in the center of mass
neutrons interact in water and in the interrogated object
system and then the four-momentum is transformed back
is clearly visible.
The optimization of shapes and cong-
to the laboratory coordinate system.
In case of inelastic
uration of the neutron and gamma quanta guides will be
scattering neutron energy in the laboratory is calculated
a subject of future investigations.
taking into account the nuclei
excitation energy.
In the
current version of simulations we take into account up to
tenth excited nuclei
level.
Directions of
gamma quanta
coming from the nuclei deexcitation are currently gener-
ated uniformly in the laboratory frame.
Fig. 5.
Distribution of the distance covered by neutron
y ≥ 0
till the point of rst interaction in the water (for
).
Fig. 4.
Distribution of
neutron interaction points
in
x−y
view for guide in a shape of
(a) cuboid and (b)
truncated pyramid.
The point-like source of neutrons is
located at the origin of the reference frame.
The neutron
guide is presented as the blue rectangle (a) or trape-
y
zoid (c) aligned along the
-axis.
The container with
explosives is represented by the red cuboid aligned hor-
izontally.
For better visibility of
the inuence of
neu-
Fig. 6.
Distributions
of
energies
of
gamma
quanta
tron guide plots (a), (c) and (b), (d) are made only for
coming from nuclei excitation in (a) water and (b) mus-
−20 ≤ z ≤ 20
y ≤ 0
, respectively.
tard gas.
As a starting point for design of
the device for un-
The energy spectra of gamma quanta from deexcitation
derwater
threats
detection we
have
dened a simple
of nuclei
in water and interrogated object are presented
setup with point-like source generating 14.1 MeV neu-
in Fig.
6.
In Fig.
6a one can see strong lines from the
trons uniformly in space.
The scheme of
the simulated
excitation of oxygen with energies about 3 MeV, 6 MeV
setup with superimposed points of
of
neutrons interac-
and 7 MeV, and characteristic line of neutron capture by
tion are shown in Figs.
3 and 4.
We have considered
hydrogen (about 2.2 MeV).
The spectrum for the con-
two neutron guides lled with air under normal
condi-
tainer with mustard gas in Fig. 6b contains a big peak for
3
40×40×100
tions:
cuboid with dimensions
cm
(Figs. 3a
12
E
= 4.43
gamma quanta emitted by carbon
C (
MeV)
and 4a)
and truncated pyramid with height
equal
to
E
≈ 6
and a structure at low energies and a peak at
MeV
100 cm and bases with dimensions of
5 cm and 20 cm
37
32
coming from chlorine
Cl.
Hydrogen and sulfur
S com-
(Figs. 3b and 4b).
The interrogated object with dimen-
E
= 2.2
pose one line at
MeV, which shows that identi-
3
194 × 255 × 50
sions
cm
lies on the bottom of a sea and
cation of this element will be dicult.
contains mustard gas.
As one can see in Fig.
5 the dis-

---
Project of the Underwater System for Chemical
Threat Detection
1547
5.
Summary and outlook
[
]
.
Ka¹mierczak,
S.
Borsuk,
M.
Gierlik,
Z.
Guzik,
4
J.
Iwanowska-Hanke,
S.
Korolczuk,
T.
Kozªowski,
Methods of
chemical
threat detection based on neu-
T.
Krakowski,
R.
Marcinkowski,
L.
Swiderski,
tron activation have a huge potential and may open a new
M.
Szeptycka,
J.
Szewi«ski,
A.
Urban,
Acta Phys.
frontier in homeland security.
In the aquatic environment
Pol. A 127, 1540 (2015).
application of
this method encounters serious problems
[
]
M. Silarski,
Acta Phys.
Pol.
B Suppl.
6, 1061 (2013).
5
since neutrons are strongly attenuated.
In order to sup-
[
]
C. Eleon, B. Perot, C. Carasco, D. Sudac, J. Obhodas,
6
press this attenuation and to decrease background from
V.
Valkovic,
Nucl.
Instrum.
Methods Phys.
Res. A
gamma radiation induced in the water we propose to use
629, 220 (2011).
guides for neutrons and gamma quanta which speeds up
[
]
D.
Lambertus,
T.
Schneider-Pungs,
K.
Buckup,
7
and simplies identication.
Moreover, it may provide a
Patent application WO2012089584 A1.
determination of the density distribution of a dangerous
[
]
M. Silarski, P. Moskal, Patent application PL409388.
8
substance.
For designing of a device exploiting this idea
[
]
E.
Grabska,
A.
achwa,
G.
lusarczyk,
Adv.
Eng.
9
we have been developing a fast and user-friendly simula-
Inform.
26, 681 (2012).
tion package using novel methods of geometry denition
[
]
M.J.
Quinn,
Parallel
Programming in C with MPI
10
and particle tracking based on hypergraphs.
Although
and OpenMP, McGraw-Hill, 2004.
we are in a very early stage of the development the rst
[
]
M.B.
Chadwick,
M.
Herman,
P.
Obloºinský,
11
results indicate that indeed the guides will
increase the
M.E.
Dunn,
Y.
Danon,
A.C.
Kahler,
D.L.
Smith,
B.
Pritychenko,
G.
Arbanas,
R.
Arcilla,
R.
Brewer,
performance of
underwater threats detection with fast
D.A.
Brown,
R.
Capote,
A.D.
Carlson,
Y.S.
Cho,
neutrons.
H.
Derrien,
K.
Guber,
G.M.
Hale,
S.
Hoblit,
S.
Hol-
loway,
T.D.
Johnson,
T.
Kawano,
B.C.
Kiedrowski,
Acknowledgments
H.
Kim,
S.
Kunieda,
N.M.
Larson,
L.
Leal,
J.P.
Le-
This work was supported by the Polish Ministry of Sci-
stone,
R.C.
Little,
E.A.
McCutchan,
R.E.
Mac-
ence and Higher Education through grant No.
7150/E-
Farlane,
M.
MacInnes,
C.M.
Mattoon,
R.D.
McK-
night, S.F. Mughabghab, G.P.A. Nobre, G. Palmiotti,
338/M/2014 for the support of
young researchers and
A. Palumbo, M.T. Pigni, V.G. Pronyaev, R.O. Sayer,
Ph.D.
students of
the Department of
Physics,
Astron-
A.A. Sonzogni, N.C. Summers, P. Talou, I.J. Thomp-
omy and Applied Computer Science of
the Jagiellonian
son,
A.
Trkov,
R.L.
Vogt,
S.C.
van der
Marck,
University.
A.
Wallner,
M.C.
White,
Nucl.
Data Sheets 112,
2887 (2011).
References
[
]
Data extracted using the NNDC On-Line Data Ser-
12
[
]
T. Kasperek,
Czas Morza 1, 15 (2001).
1
vice from the ENSDF database; M. R. Bhat, Nuclear
Data for Science and Technology,
Ed.
S.M.
Qaim,
[
]
P. Moskal,
Ann.
UMCS Physica 66, 71 (2012).
2
Springer, Berlin 1992, p. 817.
[
]
B.C. Maglich,
AIP Conf.
Proc.
796, 431 (2005).
3