DTI - calculations step-by-step
+++++++++++++++++++++++++++++++++++++++++++++++
MR SIEMENS SKYRA 3-T: 64-channels; 94 directions; 49 slices
#if the file path are needed in command below, please replace appropriately:
$F = subject dir
$DATA = data dir
++++++++++++++++++++++++++++++++++++++++++++++

PART I: TBSS analysis
Software you need: FSL (FMRIB Software Library version at least 6.0), eventually AFNI when problems occur during skull strip. If you need more help check out FSL Wiki: https://fsl.fmrib.ox.ac.uk/fsl/fslwiki/TBSS
1. Anonymisation - dcm2niix
  # DICOM to NIIFTI conversion # Chris Rorden's dcm2niiX version v1.0.20180622 GCC5.3.1 (64-bit Linux) # http://neuro.debian.net/install_pkg.html?p=dcm2niix
  sudo dcm2niix -9 -b n -ba y -f %p -z y -v 2 $DATA/$F
2. Preparation:
  1. Copy and format files and directories:

cd $DATA/$F
mv t2_spc_p4.nii.gz T2.nii.gz
mv t1_mprage_rs_diff.nii.gz T1.nii.gz

2.2. For step called eddy you need to create 2 files: acqparams.txt ; index.txt (we will create these files, store them in $DATA dir, and then copy to each subject in later steps):

-index.txt- # the number of volumes [e.g. 95] = number of DIFF DICOM files
indx=""
for ((i=1; i<95; i+=1)); do indx="$indx 1"; done
echo $indx > index.txt

-acqparams.txt - #make file manually
#Last value comes from the calculation (values are in MRI protocol): EPI factor x echo spacing => 0.95 x 0.001 (for Metaphor project). The first three values is the vector from the phase enc. dir. A >> P
0 -1 0 0.0912

2.3 Next make dti dir and copy/rename files there, so they are formatted for later use:

mkdir $DATA/$F/dti #creates dti directory within subject dir

cp $DATA/$F/{fieldmap_diff_e2.nii.gz,fieldmap_diff_e2_ph.nii.gz,diff.bval,diff.bvec,T1.nii.gz,T2.nii.gz,diff.nii.gz} $DATA/$F/dti
cp $DATA/$F/{acqparams.txt,index.txt} $DATA/$F/dti #copies necessary files into dti dir

cd $DATA/$F/dti #from now on in FSL preprocessing we are always in this directory

#rename new files in dti dir
mv fieldmap_diff_e2.nii.gz fmap_mag.nii.gz
mv fieldmap_diff_e2_ph.nii.gz fmap_ph.nii.gz
mv diff.bval bvals
mv diff.bvec bvecs

Skull strip

  1. Use BET for skull stripping.
bet T1.nii.gz T1_brain.nii.gz -f 0.4 -B # first try BET with these options, usually gives best results, sometimes needs to adjust -f value and try again
fsleyes T1.nii.gz T1_brain.nii.gz #always check the results
# -f ( 0 -> 1 ) smaller value is bigger brain, higher value smaller brain, 0.5 = default
# -g ( -1 -> 1) positive values bigger bottom, negative bigger top, 1 = default (be careful, usually +-0.1 is enough

# if still not working, AFNI skull strip might work
3dSkullStrip -input T1.nii.gz -prefix T1_brain.nii.gz # skullstriping T1 #
# first try add -push to edge, eg.
3dSkullStrip -input T1.nii.gz -prefix T1_brainx.nii.gz -push_to_edge

  1. Remove brain mask - unnecessary file:
rm T1_brain_mask.nii.gz

3.3 Skullstrip of fieldmap magnitude image - usually good with predefined settings:
bet fmap_mag.nii.gz fmap_mag_brain.nii.gz -f 0.45 -B fsleyes fmap_mag.nii.gz fmap_mag_brain.nii.gz

3.4 Making nodif mask for eddy correction:
fslroi diff.nii.gz nodif_distored 0 1
bet nodif_distored.nii.gz nodif_brain_eddy.nii.gz -F -f 0.1 #usually works with these settings as default
rm nodif_brain_eddy.nii.gz
fsleyes nodif_distorted.nii.gz nodif_brain_eddy_mask.nii.gz

Normalization of T1 scans:
flirt -ref ${FSLDIR}/data/standard/MNI152_T1_2mm_brain.nii.gz -in T1_brain.nii.gz -omat T1_brain_2_MNI.mat # comparing T1 to MNI space

fnirt --in=T1.nii.gz --aff=T1_brain_2_MNI.mat --cout=T1_brain_fnirt.nii.gz –config=T1_2_MNI152_2mm

applywarp --ref=${FSLDIR}/data/standard/MNI152_T1_2mm.nii.gz --in=T1.nii.gz --warp=T1_brain_fnirt.nii.gz --out=T1_2_MNI.nii.gz

applywarp --ref=${FSLDIR}/data/standard/MNI152_T1_2mm.nii.gz --in=T1_brain.nii.gz --warp=T1_brain_fnirt.nii.gz --out=T1_warped.nii.gz

#### WE USE FILE T1_warped.nii.gz in next steps. Please check in Fsleyes if the final images are in the same dimension as MNI.####

1. Eddy current correction (eddy)
  1. Normalization of fieldmap:
flirt -ref nodif.nii.gz -in fmap_mag_brain.nii.gz -omat fmap2epi.mat

5.2 Preparation of the field map in the right format:
fsl_prepare_fieldmap SIEMENS fmap_ph fmap_mag_brain fmap_rads 4.92
fslmaths fmap_rads.nii.gz -div 6.28 fmap_hz.nii.gz

5.3 Eddy:
eddy_cuda --imain=diff.nii.gz --mask=nodif_brain_eddy_mask.nii.gz --acqp=acqparams.txt --index=index.txt --bvecs=bvecs --bvals=bvals --repol --out=eddy_corrected_data --field=fmap_hz.nii.gz --field_mat=fmap2epi.mat # eddy- motion correction etc.

5.4. Creating nodif mask of the brain:

fslroi eddy_corrected_data.nii.gz 0 1 nodif.nii.gz
bet nodif.nii.gz nodif_brain.nii.gz -F

6. Dti Fit – fitting tensors on the cleaned (with eddy) diffusion data:
dtifit --data=eddy_corrected_data.nii.gz --out=dti --mask=nodif_brain_mask.nii.gz --bvecs=bvecs --bvals=bvals

7. TBSS analysis:
7.1. Create data dir for TBSS with consequitevely named all subjects files from DTIFIT 'dti_FA.nii.gz' ‘dti_MD.nii.gz’ ... -> dti_FA_001.nii.gz, dti_FA_002....
#run each command from data dir#
tbss_1_preproc *.nii.gz
tbss_2_reg -T
tbss_3_postreg -S #check data -> cd stats -> fsleyes -std1mm mean_FA -cm red-yellow -dr 0.2 0.6 &
tbss_4_prestats 0.2 #make skeleton with default option 0.2

7.2. In the main TBSS directory (where are FA, origidata, stats) create folder for MD (with MD_dti files for every subject), AD (with L1_dti files from every subject). Create RD folder then run this script:
#!/bin/bash
for fname in *; do
if [[ -d dtifitoutput/$fname ]]; then
if [[ -e dtifitoutput/$fname/dti_L2.nii.gz ]]; then
fslmaths dtifitoutput/$fname/dti_L2.nii.gz -add dtifitoutput/$fname/dti_L3.nii.gz -div 2 RD/$fname.nii.gz
else
echo "no file dti_L2.nii.gz in the directory $fname"
fi
else
echo "$fname is not a directory"

fi

done

#After copying your images into new directories: MD, AD, RD, make sure that they are named exactly the same as the original FA images were (look in origdata to check the original names - and keep them exactly the same, even if they include FA, which can be confusing)

7.3. Run from the main TBSS directory (where are FA, MD, AD, RD, origidata, stats):

tbss_non_FA MD
tbss_non_FA RD
tbss_non_FA AD

8. Statistics
8.1. Before running randomise you need to generate design matrix and contrast files (e.g., design.mat and design.con) by Glm GUI
Glm -> a. GUI [recommended] -> b. command design_ttest2 design (number of patients) (number of control group) #creating the design.mat and design.con
$Glm -> GLMSetup-change timeseries design into non-timeseries design; enter number of inputs; specify number of the first group; name contrasts; left only 2 A>B A<B; save as design.*

8.2. Non - parametric testing for FA:
randomise -i all_FA_skeletonised -o tbss -m mean_FA_skeleton_mask -d design.mat -t design.con -n 10000 -T -V

8.3. Non - parametric testing for non_FA values:
randomise -i all_MD_skeletonised -o tbss -m mean_FA_skeleton_mask -d design.mat -t design.con -n 100000 --T2 -V
randomise -i all_AD_skeletonised -o tbss -m mean_FA_skeleton_mask -d design.mat -t design.con -n 100000 --T2 -V
randomise -i all_RD_skeletonised -o tbss -m mean_FA_skeleton_mask -d design.mat -t design.con -n 100000 --T2 -V

9. Getting final results and visualization:

9.1 Extracting values of the significant clusters in separate txt file:
cluster --in=tbss_thresh_tstat1 --zstat=tbss_thresh_tstat1 --thresh=0.95 -t 0.95 --scalarname="1-p" --oindex=tbss_cluster_index --olmax=tbss_lmax.txt --osize=tbss_cluster_size > cluster_info.txt -v
or: cluster --in=tbss_thresh_tstat2 --thresh=0.095 --oindex=tbss_cluster_index2 --olmax=tbss_lmax2.txt --osize=tbss_cluster_size2 > cluster_info.txt -v

9.2. Creating thresholded image:
fslmaths tbss_tfce_corrp_tstat1 -thr 0.95 -bin -mul tbss_tstat1 tbss_thresh_tstat1 fslmaths tbss_tfce_corrp_tstat2 -thr 0.95 -bin -mul tbss_tstat2 tbss_thresh_tstat2

9.3. Filling image to get better visual effect:
tbss_fill tbss_tfce_corrp_tstat1 0.95 mean_FA tbss_fill
tbss_fill tbss_tfce_corrp_tstat2 0.95 mean_FA tbss_fill

9.4 Viewing the final result:
fsleyes mean_FA -b 0,0.6 mean_FA_skeleton -l Green -b 0.2,0.7 tbss_fill -l Red-Yellow

PART II: ROI – FA analysis

Software you need: FSL, SPSS.

1. Based on one of the anatomical atlases, for e.g. Harvard – Oxford Cortical Atlas, find interesting structures and create ROIs from them (useful instruction on how to do this: https://www.andysbrainblog.com/andysbrainblog/2017/6/2/creating-masks-from-the-juelich-atlas)
2. For every ROI you’ve created do:

for fname in *; do
fslmaths $fname.nii.gz -thr 10 -bin $fname_thr.nii.gz #mask binarization
fslmaths $fname_thr.nii.gz -mas mean_FA_skeleton_mask.nii.gz -bin $fname_thr_mask.nii.gz #finding common voxels of mask and FA skeleton
fslmeants -i all_FA_skeletonised.nii.gz -m $fname_thr_mask.nii.gz -o meants_$fname.txt #creating of the table with values from each subject for every ROI
done
Between group comparison in SPSS.

Partial Spearman rank order correlation in SPSS, controlling for sex, age, illness duration and medication (chlorpromazine equivalent) between obtained values and scores in BNSS and PANSS five/two factor model.

THE END.