Acta Poloniae Pharmaceutica ñ Drug Research, Vol. 74 No. 3 pp. 793ñ800, 2017
ISSN 0001-6837
Polish Pharmaceutical Society
EVALUATION OF IN VITRO TIGECYCLINE ACTIVITY AGAINST MULTIDRUG-RESISTANT ACINETOBACTER BAUMANNII CLINICAL ISOLATES FROM POLAND
PAULINA PALUCHOWSKA1*, PAWE£ NOWAK1, MA£GORZATA SKA£KOWSKA2 and ALICJA BUDAK1
1 Department of Pharmaceutical Microbiology, Faculty of Pharmacy, Jagiellonian University Medical College, 9 Medyczna Street, 30-688 KrakÛw, Poland
2 Microbiological Laboratory, Department of Laboratory Diagnostics,
Ludwik Rydygier Memorial Specialized Hospital, Z≥otej Jesieni 1, 31-826 KrakÛw, Poland
Abstract: Acinetobacter baumannii is a major cause of nosocomial infections worldwide. Therapeutic options in management of this bacteria are limited. Tigecycline is considered as an alternative treatment of infections caused by multidrug-resistant A. baumannii strains, however this resistance has emerged recently. Another growing problem is a lack of international consensus between U.S. FDA and EUCAST recommendations, regarding tigecycline breakpoints for Acinetobacter spp., and frequently off-label use. The aim of the present study was to assess the in vitro susceptibility to tigecycline and other antimicrobials, routinely used in the treat- ment of infections, among 155 A. baumannii isolates, collected between 2008-2013 from a hospital in Poland. The most active agent against the tested MDR strains was colistin (99.3% susceptible isolates). Our study has shown a low efficiency of tigecycline, with 74.2% of non-susceptible strains (according to the U.S. FDA guide- lines). Tigecycline MIC values ranged from 0.125 to 48 mg/L. The MIC50 and MIC90 were 3 and 8 mg/L, respectively, and 25.8% (40) of the isolates displayed MIC = 2 mg/L. The highest percentage of tigecycline- resistant strains were noted in 2010 (56.3%). Our study revealed remarkably high tigecycline non-susceptibili- ty rates among MDR A. baumannii isolates, therefore this antimicrobial should be administered with caution.
Keywords: multidrug-resistant, A. baumannii, tigecycline, Etest
Acinetobacter (A.) baumannii is a Gram-nega- tive, aerobic, non-fastidious, oxidase-negative opportunistic bacterial pathogen, which has emerged as a major cause of nosocomial infections, such as pneumonia (most often ventilator-associated pneumonia, VAP), infections of the bloodstream, urinary tract, surgical sites or others occurring espe- cially in intensive care units, critically ill or immunocompromised patients (1, 2).
Recently, an increasing number of clinically significant A. baumannii infections has been observed worldwide. The most important features of the bacterium are: the ability to prolonged survival in the hospital environment, a high degree of genome plasticity and, as a result, ability to rapidly acquire resistance determinants. During the last decades, A. baumannii resistance to most or all antimicrobial agents available for therapeutic use, has been observed. The percentage of strains non-susceptible
to carbapenems, that until recently were considered as antibiotics of last-resort, increased. The carbapen- em resistance phenotype has become increasingly prevalent or even (in some regions) dominant (3, 4). Due to the increasing resistance, a group of international experts, through an initiative of the European Centre for Disease Prevention and Control and the Centers for Disease Control and Prevention, introduced terminology clearly defining multidrug- resistant (MDR), extensively drug-resistant (XDR) and pandrug-resistant (PDR) phenotypes of clinical- ly relevant bacterial species. MDR was defined as acquired non-susceptibility to at least one antimicro- bial agent in three or more antimicrobial categories, described by Magiorakos et al. (5). This definition covers different bacterial species, including Acinetobacter, of epidemiological significance, increasing antimicrobial resistance and importance
within the healthcare system.
* Corresponding author: e-mail: paulina.mrowiec@uj.edu.pl; phone: +48126205753, fax: +48126205758
793

794
PAULINA PALUCHOWSKA et al.
Isolation of strains resistant to all antimicrobial agents available for the treatment, limits therapeutic options and causes high mortality of patients with Acinetobacter infections (6). Colistin remains active against the MDR strains of A. baumannii, although resistance to this agent has also been reported (7, 8). Tigecycline, belonging to a new class of antimicro- bials, known as glycylcyclines, is an alternative antimicrobial to treat infections caused by the MDR
A. baumannii, however resistance to this drug in A. baumannii is a rising problem (9). This agent pos- sesses bacteriostatic activity against Gram-negative bacilli, nevertheless the susceptibility breakpoint for Acinetobacter spp. has not been adequately deter- mined.
The mechanism of action of this derivative of minocycline is based on reversible binding to the 30S subunit of the bacterial ribosome, which inhibits the synthesis of amino acids. Tigecycline shows broad-spectrum activity against Gram-posi- tive and Gram-negative bacteria, anaerobes and atypical bacteria as well as difficult-to-treat pathogens, such as methicillin-resistant Staphylo- coccus aureus (MRSA), vancomycin-resistant En- terococcus spp., penicillin-resistant Streptococcus pneumoniae, MDR Acinetobacter baumannii, and Gram-negative bacterial strains that produce extend- ed-spectrum -lactamases (ESBL) (9). Minimal organ toxicity and lack of dosage adjustment in most patients are important considerations for use of this compound in infection therapy (10).
Tigecycline was initially approved by the U.S. Food and Drug Administration (FDA) in 2005, and by the European Medicines Agency in 2006 for the treatment of adults with complicated intra-abdominal infections and complicated skin and skin structure infections. In 2008, tigecycline also received FDA approval for the treatment of adult patients with com- munity-acquired bacterial pneumonia (11). The clearest applications of tigecycline are for on-label indications, but it could be also used to treat other infections caused by multidrug-resistant pathogens. Other clinical applications for tigecycline, not cur- rently approved by the FDA, include: hospital- acquired or ventilator-associated pneumonia, diabet- ic foot infections, nosocomial urinary tract infec- tions, and bloodstream infections (10, 12, 13).
The level of resistance of A. baumannii to tige- cycline in various regions of the world differs with the highest rates of non-susceptibility noted in MDR strains (9). In case report studies many investigators underline evolution and acquiring of resistance to tigecycline by strains recovered from patients during long-term tigecycline monotherapy (4, 14, 15).
The increasing number of serious infections caused by MDR A. baumannii prompted the search of a new class of antimicrobial agents as an alterna- tive to medication with carbapenems and colistin, and as a drug of last-resort, because in the nearest future no treatment options may exist (10, 16).
The mechanism of rapid development of tigecycline resistance among MDR A. baumannii strains is poorly understood. Tigecycline non-sus- ceptibility observed in Acinetobacter spp. clinical isolates has been associated with up-regulation of chromosomally encoded multidrug efflux system, AdeABC, belonging to the resistance-nodulation- cell division (RND) family of transporters (15, 17). The expression of the pump is regulated by two-component system, containing a sensor kinase (AdeS) and a response regulator (AdeR), encoded by the adeRS operon. Overexpression may be responsible for reducing accumulation of many antimicrobials, including aminoglycosides, fluoroquinolones, -lactams, macrolides, chlor- amphenicol, tetracycline, trimethoprim, and tige- cycline. Overexpression of the AdeABC efflux system can be caused by the therapeutic use of tigecycline or other antibiotics. Molecular mecha- nism of overexpression may be related to the ISAba-1 insertion upstream of the adeABC oper- on, or by point mutations in adeR and adeS genes (10, 18).
Due to the growing tigecycline resistance, monitoring of its activity against A. baumannii is crucial. Both global and local level surveillance, using reference and commercial methods (e.g., disk diffusion, Etest), may provide important insights into the activity of tigecycline (19).
The aim of the study was to assess the in vitro susceptibility of A. baumannii clinical isolates to tigecycline (Etest method) and to other antimicro- bials (automated method), routinely used in the treatment of infections. A. baumannii strains were isolated from patients hospitalized in Krakowís hos- pital, Poland between 2008 and 2013.
MATERIALS AND METHODS
Patients and bacterial strains
The study was conducted at the Ludwik Rydygier Memorial Specialized Hospital, 700-bed, tertiary care medical center in Krakow, Poland. A total of 155 MDR A. baumannii clinical strains were collected from patients hospitalized in different wards of this medical center between 2008 and 2013. In particular years, various numbers of iso- lates were recovered: in 2008 ñ 15 strains, i.e. 9.7%

795
Evaluation of in vitro tigecycline activity against multidrug-resistant...
of the total number (155) of the examined A. bau- mannii isolates, in 2009 ñ 74 (47.7%), 2010 ñ 16
(10.3%), 2011 ñ 17 (11.0%), 2012 ñ 10 (6.5%) and
in 2013 ñ 23 (14.8%) strains, respectively. Each strain was isolated from another patient. Multi-sus- ceptible A. baumannii strains were not included to the study.
The patients enrolled in this study were treated in the following hospital units: intensive care (86; 55.5%), burn therapy (39; 25.1%), orthopedic (11;
7.1%), surgical (6; 3.9%), and others, comprising:
neurology (3; 2.0%), plastic surgery (3; 2.0%), urol-
ogy (2; 1.4%), hematology (1; 0.6%), cardiology (1;
0.6%), toxicology (1; 0.6%), oncology (1; 0.6%) and nephrology (1; 0.6%). Data recorded for each patient included age, sex, and type of clinical speci- men. The mean patient age was 56.6 years (from 15 to 100) and 117 (75.5%) of patients were male, while 38 (24.5%) were female. Endotracheal aspi- rates (ETAs) (74; 47.7%; ), wound swabs (31;
20.0%), blood samples (27; 17.4%), urine (17;
11.0%) and catheters (6; 3.9%) were the source of isolates. Quantitative cultures were performed for ETA and urine. Growth > 105 CFU/mL was taken as the threshold for microbiological diagnosis of VAP, while growth > 104 CFU/mL was taken as the cut-off for urine. The information concerning clinical data
values for imipenem, meropenem, amikacin, gen- tamicin, tobramycin, ciprofloxacin and colistin was performed by using Vitek 2 Compact semiquantita- tive automatic system (susceptibility cards used in the study do not contain tigecycline) and interpreted according to CLSI breakpoints (21).
The susceptibility of A. baumannii isolates to tigecycline was determined by using the quantitative Etest method (bioMÈrieux, France), which measured the MIC value of the antimicrobial agent. For this purpose, the colonies from a 18-hour culture of A. baumannii on solid medium were suspended in 0.85% NaCl solution in order to obtain an equiva- lent of 0.5 McFarland units. The bacterial suspen- sion was inoculated onto Mueller-Hinton 2 agar (bioMÈrieux, France). EtestÆ TGC (TGC ñ tigecy- cline) gradient stripes (0.016 to 256 mg/L) were placed on the agar and incubated in aerobic condi- tions in accordance with the manufacturerís recom- mendations.
Quality control was performed using Escherichia coli ATCC 25922 and Pseudomonas aeruginosa ATCC 27853 reference strains.
Tigecycline interpretative breakpoints for A. bau- mannii
The U.S. FDA did not approve the interpreta- tive criteria of tigecycline for A. baumannii in vitro susceptibility testing, therefore the FDA recommen- dations of tigecycline breakpoints used for Enterobacteriaceae (susceptible, MIC = 2 mg/L; intermediate, MIC > 2 or < 8 mg/L; resistant, MIC = 8 mg/L) were applied as MIC interpretation criteria for A. baumannii (22-24).
According to the European Committee on Antimicrobial Susceptibility Testing (EUCAST) expert rules the evidence that A. baumannii is a good
(e.g., antimicrobial treatment) unavailable.
of
patients
was
Susceptibility testing methods
All the isolates were identified using Vitek 2 Compact system (bioMÈrieux, France). Identifi- cation was confirmed by the species-specific PCR for the blaOXA-51-like gene (20).
Antimicrobial susceptibility testing with deter-
mination of minimal inhibitory concentration (MIC)
Table 1. Antimicrobial susceptibility of 155 Acinetobacter baumannii isolates with MIC50 and MIC90 values.
R - resistant; I - intermediate susceptible; S - susceptible
Antimicrobial agent

No. (%) of isolates
MIC [mg/L]
R
I
S
50%
90%
Imipenem
141 (91.0)
2 (1.3)
12 (7.7)
 16
 16
Meropenem
144 (92.9)
1 (0.6)
10 (6.5)
 16
 16
Amikacin
62 (40.0)
32 (20.6)
61 (39.4)
16
 64
Gentamicin
138 (89.0)
4 (2.6)
13 (8.4)
 16
 16
Tobramicin
62 (40.0)
60 (38.7)
33 (21.3)
8
 16
Ciprofloxacin
155 (100.0)
0 (0)
0 (0)
 4
 4
Colistin
1 (0.6)
0 (0)
154 (99.4)
 0.5
 0.5

796
PAULINA PALUCHOWSKA et al.
target for therapy with tigecycline is insufficient (25). The results of susceptibility testing should be reported as MIC values with a comment, but without an accompanying S, I or R category (10). According to some authors, the tigecycline MIC of A. bauman- nii were also interpreted using EUCAST categories for Enterobacteriaceae (susceptible, MIC = 1 mg/L; resistant, MIC > 2 mg/L) (23, 25, 26).
Due to the lack of an international consensus regarding tigecycline breakpoints for Acinetobacter spp., the interpretation of results obtained in our study was conducted using susceptibility break-
susceptibility to all tested antimicrobial agents (except tigecycline) and the values of MIC50 and MIC90 for A. baumannii strains isolated between 2008 and 2013, are shown in Table 1.
Colistin was the agent which displayed a good activity (99.4% susceptible isolates) against tested MDR strains, with MIC90 less than 0.5 mg/L, followed by amikacin (39.4% susceptible isolates). Notably, in our study the only isolate resistant to colistin was sus- ceptible to tigecycline with MIC 2 mg/L. A high level of carbapenem non-susceptibility was observed, with 92.9% and 91.0% of isolates resistant to meropenem and imipenem, respectively. Ciprofloxacin and gen- tamicin also should not be taken into account when selecting the most appropriate antimicrobial therapy, due to a high percentage of resistant strains, 100% and 89%, respectively (Table 1).
The distribution of tigecycline MIC values of
A. baumannii is shown in Figure 1. The MIC50 and MIC90 values were 3 and 8 mg/L, respectively, with a wide MIC range of tigecycline, from 0.125 to 48 mg/L. Forty (25.8%) of the isolates displayed MIC
= 2 mg/L and the MIC value most frequently observed among the tested strains, was 3 mg/L (23.2%).
MIC values for tigecycline were interpreted according to breakpoints for Enterobacteriaceae set by the FDA and EUCAST recommendations, for comparison purposes only (Table 2). Using FDA breakpoints it was found that 40 A. baumannii iso- lates (25.8%) were susceptible to tigecycline, while according to EUCAST interpretative criteria, only 17 strains (11.0%) were susceptible to this antimi- crobial agent. On the basis of EUCAST breakpoints, a high tigecycline resistance rate of 74.2% was observed, when only 24.5% of isolates were resist- ant according FDA interpretation-based category. The percentage of non-susceptibility (resistant or intermediate susceptible strains) was 74.2% and 89.0% with American and European recommenda- tions, respectively.
points for Enterobacteriaceae established by
the for
U.S. FDA and EUCAST comparison purpose only.
recommendations,
Statistical analysis
Statistical analysis was performed to determine the differences between the level of resistance to tigecycline in the years 2008-2010 and 2011-2013 and between the criteria of FDA and EUCAST. Statistical methods were also applied to compare the resistance to tigecycline of the tested organisms iso- lated from different clinical specimens. The Chi- square test of Independence (2) alone or with Yatesí correction (when expected values were less than five), or Fisherís Exact test (two-sided) were used to compare discrete variables. A p value less than 0.05 was considered statistically significant. All analyses were performed with StatsDirect, ver- sion 2.7.9 (StatsDirect Ltd., Cheshire, UK).
Ethics statement
The present study does not require an approval from the ethics committee.
RESULTS
A total of 155 A. baumannii strains, in accor- dance with expert rules described by Magiorakos et al. (5) were multidrug-resistant. Data detailing the
Table 2. Evaluation of Acinetobacter baumannii susceptibility to tigecycline according to EUCAST and FDA breakpoints.

Interpretation of tigecycline MIC value

Recommendation
EUCAST
FDA
No. (%) of isolates
No. (%) of isolates
Resistant
115 (74.2)
38 (24.5)
Intermediate susceptible
23 (14.8)
77 (49.7)
Susceptible
17 (11.0)
40 (25.8)
Total
155 (100.0)
155 (100.0)

797
Evaluation of in vitro tigecycline activity against multidrug-resistant...
Figure 1. Distribution of tigecycline MIC values of Acinetobacter baumannii isolates (interpretation by FDA)
According to FDA interpretation, compared to EUCAST rules, tigecycline-resistant strains of A. baumannii occurred significantly less frequently in the years 2008-2010 (p < 0.001; statistically signifi- cant, Chi-square test of Independence) and 2011- 2013 (p < 0.001; statistically significant, Chi-square test of Independence).
The FDA criteria were used to further analyse the occurrence of tigecycline resistance among iso- lates. The level of resistance to tigecycline has changed over the years covered by the study. The highest percentage of resistance among A. bauman- nii strains was noted in 2010 (56.3%), followed by 2012 (50.0%) and 2013 (30.4%). Twenty-zero eight was the year without confirmed resistant isolates and in the years 2009 and 2011 we observed resist- ance in 20.3% and 11.8% isolates, respectively.
The investigated period of time was divided into the years 2008-2010 and 2011-2013, when 105 and 50 strains of A. baumannii were isolated. Tigecycline resistance of A. baumannii strains in the selected years was compared with the use of the 2 test and an increase of resistance was demonstrated from 22.8% in the years 2008-2010 to 28.0% in the years 2011-2013, although statistically this relation- ship was not significant (p = 0.487) (Table 3).
Chi-square test or Fisherís Exact test (two- sided) were applied to compare the tigecycline resistance levels of strains isolated from wound swabs and other specimens. No statistically signifi- cant difference (p = 0.05) in the tigecycline resist-
ance between isolates recovered from wound swabs and strains cultured from other clinical materials (ETA, p = 0.714; blood samples, p = 0.991; urine, p
= 0.523; catheter, p = 0.335) was observed.
DISCUSSION
Non-fastidious bacilli of the species A. bau- mannii were the main cause of infections occurring in patients of the Rydygier Memorial Specialized Hospital in Krakow, Poland. Eighty six (55.5%) patients of our studied group were admitted to the intensive care unit, and endotracheal aspirates were the specimens most often taken from those subjects. It may have been associated with the development of hospital-acquired pneumonia (data not available). When a MDR A. baumannii strain was isolated and other treatment options were limited or unavailable, tigecycline may have been used off-label as a last- resort medication (27). Several authors have also reported the use of tigecycline in A. baumannii infections of respiratory tract (VAP), blood (bac- teremia) and other, in which this drug was not rec- ommended (28-31).
For the first time, tigecycline was approved in 2005, and since then, the proposed scope of its application has been extended. Moreover, it is a rel- atively new antibacterial agent so future modifica- tions or other changes in the recommendations for its use may be necessary due to a growing body of experience, results of new clinical trials, evolving

798
PAULINA PALUCHOWSKA et al.
(17; 30.4% versus 6; 10.7%) and lower rates of sus-
ceptible isolates (16; 28.6% versus 39; 69.6%), when the EUCAST rules were applied and com- pared with FDA. In this Greek study, the MIC50 and MIC90 of tigecycline for MDR A. baumannii were reported to be 2 and 4 mg/L, respectively. Chen et al. (36) in the ìTigecycline In Vitro Surveillanceî in Taiwan, reported higher tigecycline resistance when the EUCAST breakpoints were applied (31.9% resistant strains for EUCAST criteria compared to 8.8% for FDA criteria). Liu et al. (26) obtained sim- ilar results (39.4% compared to 9.9%, respectively). Our conclusions were comparable to both groups. Many authors based their interpretations of tigecy- cline MICs for A. baumannii on the FDA Enterobacteriaceae breakpoints (9, 30, 37, 38). The comparison of our results with results of other inves- tigators was also conducted on the basis of the FDA criteria.
High rates of non-susceptibility to most antimi- crobial agents of the first-line treatment options for Acinetobacter infections were reported for the ana- lyzed A. baumannii isolates. Tigecycline and col- istin, antimicrobials commonly used in therapy, still presented good activity against this microorganism (11, 35). Our study revealed that colistin could be the most appropriate regimen for the treatment of Acinetobacter infections. Remarkably high tigecy- cline non-susceptibility rates (74.2% according to FDA criteria) of A. baumannii clinical isolates, demonstrated in our study, suggest that tigecycline may not be an option to treat A. baumannii infec- tions. Ku and coworkers (34), who compared the efficacy of colistin to tigecycline for the treatment of
A. baumannii infections, revealed that 82% of the tested A. baumannii clinical isolates were non-sus- ceptible to tigecycline. They pointed out that tigecy- cline monotherapy should be limited to patients without severe sepsis and that it was more common- ly used for wound infections, than colistin (34). In contrast, Eser et al. (29) observed potent tigecycline in vitro activity (MIC90 1.5 mg/L) among 32 MDR A. baumannii strains and its utility as a therapeutic
epidemiological situation, and the increasing resist- ance of clinically relevant pathogens.
Etest was considered as a reliable method of tigecycline susceptibility testing (23, 32), although some investigators revealed that MICs obtained by this method were generally two- to fourfold higher than broth microdilution MICs among selected bac- terial species (A. baumannii, Serratia marcescens, Streptococcus pneumoniae) (19). It is difficult to pinpoint the factors that may be affecting suscepti- bility testing performance against Acinetobacter spp., however some researchers observed that a vari- able concentration of manganese in Mueller Hinton 2 agar medium, used in Etest and disk diffusion method, had an impact on the tigecycline MICs against A. baumannii (10, 19).
Since the clinical breakpoints of tigecycline for
A. baumannii are not available, recommendations for the use of this antibacterial agent are problemat- ic. The lack of an international consensus and reports of increasing resistance among A. baumannii isolates are of growing concern (16, 33). Non-sus- ceptibility to this glycylcycline was observed most frequently in MDR A. baumannii and certain species of the family Enterobacteriaceae (especially Klebsiella pneumoniae, Escherichia coli, Entero- bacter spp.) (34).
Our study was restricted to the strains isolated from patients of a single tertiary hospital, therefore generalization to other clinical settings was limited. Another drawback of this study was the absence of molecular identification of isolates. Without isolate genotyping, it was difficult to determine if regional changes in MIC values were caused by local out- breaks or widespread increases in resistance in the general bacterial population (35).
Interpretation of MICs for tigecycline accord- ing to the European and American guidelines has shown a higher percentage of resistant strains with the EUCAST criteria, due to the more stringent breakpoints. Zarkotou et al. (23), who had tested tigecycline against 56 A. baumannii isolates by Etest, also noted the higher rates of resistant strains
Table 3. Resistance to tigecycline among Acinetobacter baumannii strains.
a p value Chi-square test of Independence (2); p  0.05 was deemed statistically significant; NS - non significant.
Interpretative criteria

No. (%) of tigecycline-resistant A. baumannii strains

p value a

2008-2010
2011-2013
n = 105
n = 50
FDA
24 (22.8%)
14 (28%)
0.487 NS

799
Evaluation of in vitro tigecycline activity against multidrug-resistant...
option in patients with respiratory infections. Moreover, the study conducted by Anthony et al.
(14) revealed, that in the group of patients with tige- cycline resistant strains the mortality rate was high- er than in the group from whom susceptible isolates were cultured. These data suggest that clinical out- come can be predicted by the tigecycline MIC val- ues for A. baumannii determined pretherapeutically. There are many studies evaluating tigecycline sus- ceptibility for A. baumannii strains. Our observa- tions were different from those reported by other investigators, who observed tigecycline non-suscep- tibility in 50% of the MDR A. baumannii isolates in Italy (30), 45.5% in Taiwan (39), and 44% in Turkey (31). The studies on MDR A. baumannii conducted in Italy and Egypt reported even lower non-suscep- tibility rate to tigecycline of 27.5% and 26.8% iso- lates, respectively (37, 38).
Concerning the activity of tigecycline against MDR A. baumannii isolates, our results (25.8%) were similar to those reported by Navon-Venezia et al. (28), who obtained 22.0% susceptibility and Sun et al. (22), who noted 17.7% susceptibility, against the tested isolates.
In addition, the MIC50 and MIC90 for tigecy- cline (3 and 8 mg/L, respectively) were higher than that previously reported by other authors (11, 18, 19, 40-42), lower than those reported by Navon- Venezia et al (28) and similar to those obtained by Mohamed and Youssef (38).
The high MICs of tigecycline observed in our study differed from the previous reports in which Acinetobacter isolates were almost uniformly sus- ceptible to tigecycline. It is worth noting that a Latin American global surveillance study called T.E.S.T (The Tigecycline Evaluation and Surveillance Trial) revealed good activity of this agent against A. bau- mannii, where 95.8% of the isolates displayed a MIC  2 mg/L (MIC50 0.5 mg/L and MIC90 2 mg/L) (43). Another study concerning Acinetobacter spp. strains from 32 countries showed a high activity of tigecycline which inhibited 97.0% of isolates at  2 mg/L (MIC50/90, 0.5/2 mg/L). Over 140 strains from Poland, included in this investigation, demonstrated MIC50/90, values as 1 and 2 mg/L, respectively (44). In a recent study (global surveillance program SEN- TRY), Sader and coworkers (2013) observed good activity of tigecycline among meropenem-non-sus- ceptible A. baumannii isolates (89.8% and 65.2% of susceptible strains according FDA and EUCAST criteria, respectively).
The distribution of tigecycline MICs varied
according to the geographic region and even within the regions (44). Discrepancies between the results
of various studies may be attributed to the use of dif- ferent methods of antimicrobial susceptibility assessment in either case, discordance between the methods or to variations within the analyzed popu- lation of isolates (e.g., a high percentage of clonal strains reflecting local outbreaks in institutions or cities).
The effectiveness of this glycylcycline alone or in combination with other antimicrobials for the treatment of MDR A. baumannii infections in criti- cally ill patients is still uncertain, due to the lack of large, well-controlled clinical trials and extended clinical experience. The results of the present study, along with reports of decreasing susceptibility to tigecycline among Acinetobacter strains, suggest that antimicrobial resistance should be monitored through surveillance programs in order to detect the local, regional, and national variations in resistance patterns and to guide appropriate empirical antimi- crobial therapy (6, 11).
To conclude, our results suggest that tigecy- cline may be of limited clinical utility for the treat- ment of infections involving the MDR Acinetobacter non-fermentative bacilli. Further investigations of A. baumannii isolates are required to assess the efficiency of tigecycline in the man- agement of nosocomial infections caused by this significant pathogen. Tigecycline should be used with caution, together with monitoring of suscepti- bility patterns in order to delay the emergence of increased resistance in this bacteria (4, 23, 29, 43).
Conflict of interest
Conflicts of interest (financial or personal): none.
Sponsorships: Scientific work was supported by the Jagiellonian University Medical College with funds from maintenance of the research potential of the Department of Pharmaceutical Microbiology JU MC.
REFERENCES
1. Antunes L.C., Visca P., Towner K.J.: Pathog. Dis. 71, 292 (2014).
2. Pogue J.M., Mann T., Barber K.E., Kaye K.S.: Expert Rev. Anti. Infect. Ther. 11, 383 (2013).
3. Baumgart A.M., Molinari M.A., Silveira A.C.: Braz. J. Infect. Dis. 14, 433 (2010).
4. Hornsey M., Loman N., Wareham D.W., Ellington M.J., Pallen M.J. et al.: J. Antimicrob. Chemother. 66, 1499 (2011).

800
PAULINA PALUCHOWSKA et al.
5.
Magiorakos A.P., Srinivasan A., Carey R.B., Carmeli Y., Falagas M.E. et al.: Clin. Microbiol. Infect. 18, 268 (2012).
Sader H.S., Farrell D.J., Flamm R.K., Jones R.N.: Diagn. Microbiol. Infect. Dis. 78, 443 (2014).
Gˆttig S., Gruber T.M., Higgins P.G., Wachs- muth M., Seifert H., Kempf V.A.: J. Antimicrob. Chemother. 69, 2578 (2014).
Valencia R., Arroyo L.A., Conde M., Aldana J.M., Torres M.J. et al.: Infect. Control. Hosp. Epidemiol. 30, 257 (2009).
Sun Y., Cai Y., Liu X., Bai N., Liang B., Wang R.: Int. J. Antimicrob. Agents 41, 110 (2013). Stein G.E., Babinchak T.: Diagn. Microbiol. Infect. Dis. 75, 331 (2013).
Sader H.S., Flamm R.K., Jones R.N.: Diagn. Microbiol. Infect. Dis. 76, 217 (2013).
Schafer J.J., Goff D.A., Stevenson K.B., Mangino J.E.: Pharmacotherapy 27, 980 (2007). Shin J.A., Chang Y.S., Kim H.J., Kim S.K., Chang J. et al.: Yonsei Med. J. 53, 974 (2012). Anthony K.B., Fishman N.O., Linkin D.R., Gasink L.B., Edelstein P.H. et al.: Clin. Infect. Dis. 46, 567 (2008).
Hornsey M., Ellington M.J., Doumith M., Thomas C.P., Gordon N.C. et al.: J. Antimicrob. Chemother. 65, 1589 (2010).
Abbott I., Cerqueira G.M., Bhuiyan S., Peleg A.Y.: Expert Rev. Anti. Infect. Ther. 11, 395 (2013).
Ruzin A., Keeney D., Bradford P.A.: J. Antimicrob. Chemother. 59, 1001 (2007).
Sun J.R., Chan M.C., Chang T.Y., Wang W.Y., Chiueh T.S.: Antimicrob. Agents Chemother. 54, 4934 (2010).
Pillar C.M., Draghi D.C., Dowzicky M.J., Sahm D.F.: J. Clin. Microbiol. 46, 2862 (2008).
Woodford N., Ellington M.J., Coelho J.M., Turton J.F., Ward M.E. et al.: Int. J. Antimicrob. Agents. 27, 351 (2006).
Clinical and Laboratory Standards Institute. 2008. Performance standards for antimicrobial susceptibility testing; 18th informational sup- plement. CLSI document M100-S18. Clinical and Laboratory Standards Institute, Wayne, PA. Sun J.R., Perng C.L., Chan M.C., Morita Y., Lin J.C. et al.: PLoS One 7, e49534. (2012).
Zarkotou O., Pournaras S., Altouvas G., Pitiriga V., Tziraki M. et al.: J. Clin. Microbiol. 50, 3747 (2012).
Tygacil Package Insert (2014), Wyeth Pharma- ceuticals, Philadelphia, PA; 2014. Available at: www.tygacil.com. Accessed July, 2014.
25.
European Committee on Antimicrobial Sus- ceptibility Testing. Breakpoints tables for inter- pretation of MICs and zones diameters. Version 4.0, 2014. http://www.eucast.org
Liu J.W., Ko W.C., Huang C.H., Liao C.H., Lu
C.T. et al.: Antimicrob. Agents Chemother. 56, 1414 (2012).
Curcio D.: Braz. J. Infect. Dis. 17, 277 (2013). Navon-Venezia S., Leavitt A., Carmeli Y.: J. Antimicrob. Chemother. 59, 772 (2007).
Eser O.K., Ergin A., TunÁkanat F., HasÁelik G.: New Microbiol. 31, 535 (2008).
Ricciardi R., Ricciardi A.M., Danzi G.: Infez. Med. 17, 236 (2009).
Dizbay M., Tozlu D.K., Cirak M.Y., Isik Y., Ozdemir K., et al.: J. Antibiot. (Tokyo). 63, 51 (2010).
Bolmstrˆm A., Karlsson A., Engelhardt A., Ho P., Petersen P.J. et al.: J. Clin. Microbiol. 45, 2474 (2007).
Curcio D.: Diagn. Microbiol. Infect. Dis. 69, 466 (2011).
Ku K., Pogue J.M., Moshos J., Bheemreddy S., Wang Y. et al.: Am. J. Infect. Control. 40, 983 (2012).
Morfin-Otero R., Dowzicky M.J.: Clin. Ther. 34, 101 (2012).
Chen Y.H., Lu P.L., Huang C.H., Liao C.H., Lu
C.T. et al.: Antimicrob. Agents Chemother. 56, 1452 (2012).
Capone A., DíArezzo S., Visca P., Petrosillo N., Gruppo Romano Acinetobacter baumannii.:
J. Antimicrob. Chemother. 62, 422 (2008). Mohamed N.M., Youssef A.A.: Microb. Drug Resist. 17, 489 (2011).
Chang K.C., Lin M.F., Lin N.T., Wu W.J., Kuo
H.Y. et al.: J. Microbiol. Immunol. Infect. 45, 37 (2012).
Hawser S.P., Hackel M., Person M.B., Higgins P.G., Seifert H. et al.: Int. J. Antimicrob. Agents. 36, 289 (2010).
Sader H.S., Farrell D.J., Jones R.N.: Diagn. Microbiol. Infect. Dis. 69, 223 (2011).
Denys G.A., Callister S.M., Dowzicky M.J.: Ann. Clin. Microbiol. Antimicrob. 12, 24
(2013).
Fern·ndez-Canigia L., Dowzicky M.J.: Ann. Clin. Microbiol. Antimicrob. 11, 29 (2012).
Mendes R.E., Farrell D.J., Sader H.S., Jones R.N.: Diagn. Microbiol. Infect. Dis. 68, 307 (2010).
6.
26.
7.
27.
28.
8.
29.
9.
30.
10.
31.
11.
32.
12.
13.
33.
14.
34.
15.
35.
36.
16.
37.
17.
18.
38.
39.
19.
20.
40.
21.
41.
42.
22.
43.
23.
44.
24.
Received: 20. 04. 2016