© by the Institute
of Forensic Research
Problems of Forensic Sciences 2007, LXIX, 90-97	ISSN	1230-7483
# DETERMINATION OF DESIPRAMINE AND NORTRIPTYLINE IN BLOOD BY MEANS OF THE HPLC-DAD METHOD USING 7,7,8,8-TETRACYANOQUINODIMETHANE (TCNQ) AS A DERIVATISATION AGENT
Michał WOŹNIAKIEWICZ1, Jagoda KUCZARA1, Paweł KOŚCIELNIAK1’ 2
1. Faculty of Chemistry, Jagiellonian University, Krakow
2. Institute of Forensic Research, Krakow
## Abstract
The aim of present study was to develop a sensitive and reliable method of simultaneous determination of desipramine and
nortriptyline in blood by means of high-performance liquid chromatography coupled with a diode array spectrophotometer
(HPLC-DAD). For this purpose, a procedure based on formation of colour derivatives of these drugs with 7,7,8,8-tetrat
cyanoquinodimethane (TCNQ) was proposed. The tested drugs and the internal standard were added to blood samples, and then
they were extracted by the microwave assisted liquid-liquid extraction method. The separated organic layer was evaporated and
was subjected to derivatisation by TCNQ reagent dissolved in acetonitrile. Method validation was performed and the limits of de-
tection (0.03-0.05 pg/ml) and quantitation (0.09-0.18 pg/ml) ofboth analytes were determined, as were the precision and accu-
racy of their determination at two concentration levels. The worked-out method altows determination of desipramine and
nortriptyline present in blood at therapeutic levels.
## Key words
Desipramine; Nortriptyline; TCNQ; HPLC-DAD; Derivatisation.
Received 10 July 2007; accepted 1 August 2007
## 1. Introduction
Although novel drugs, e.g. selective serotonin
reuptake inhibitors (fluoxetine and others), have been
introduced into therapy of depressive diseases, the
tricyclic antidepres s ant (TCA) drugs are still com-
monly recommended by spesialt sts. Although it is
known that these drugs have a broad spectrum of side
effects and high toxicity, their therapeutic efficiency,
confirmed by many years of expesience, means that
they are still widely used. Thus, there is still a need to
develop analytical methods offering the possibility of
effective detection and determination of TCA drugs,
especially in biological material, which is the most
common object of toxicological examinations for fo-
rensic purposes. Because of the specific nature of the
samples, separation methods like gas chromatogra-
phy [5], capillary electrophoresis [1, 3] and high-per-
formance liquid chromatography [4] are particularly
rec ommended.
In the literature, procedures of analytical examina-
tion of TCA drugs with use of 7,7,8,8-tetracyano -
quinodimethane (TCNQ) dissolved in acetonitrile as
a derivatisation agent are known. This compound was
applied in de-ermina-ion of nortriptyline and desi-
pramine, drugs containing a secondary nitrogen atom

Determination of desipramine and nortriptyline in blood.
91
in their chemical structure, by means of UV-VIS spec-
trometric methods [6] and chromatographic meth-
ods [7]. The mechanism of formation of the appro-
priate derivatives by secondary amines was described
in detail by Hertler et al. [2] and his idea is shown in
Figure 1. In the presence of TCNQ excess, only the
first stage of the reaction takes place, which results in
products showtng strong absorption at 567 nm. The
second stage of the reaction according to the suggested
mechanism occurs only in the presence of a great ex-
cess of secondary amine.
NC. .CN C / II		NC. .NR2 c	R2N. .NR. C ' ||
rS	r2nh	in R2NH	fill
y	-HCN	kk -HCN	T
II / YY / NC CN		H / YY / NC CN	II / yy / NC CN

Fig. 1. The mechanism of the derivatisation reaction of sec-
ondary amines with TCNQ.
A. Oztunz et al. presented a method of detection of
several TCA drugs in serum, includtng desipramine,
nortriptyline, paroxetine, fluoxetine and maprotiline,
by derivatisation of extracted analytes using TCNQ [7].
Liquid-liquid extraction into a hexane-ethyl acetate
(1:1, v/v) mixture was applied for separation of ana-
lytes from the biological matrix. After extraction, the
supernatant was additionally dried with anhydrous
Na2SO4 and evaporated in a nitrogen stream. Then, the
dry residue was reconstituted in a solution of TCNQ in
acetonitrile and incubated at 80oC for 20 min. The ob-
tained navy-blue derivatives were subjected to analy-
sis by means of HPLC, thin-layer chromatog-aphy
(TLC) and high-performance thin-layer chromatogra-
phy (HPTLC). In the HPLC method, the exam-ned
compounds were separated with use of a C18 column
(250 x 4 mm) and elution was performed at room tem-
perature using water-acetonitrile (40:60, v/v) mixture.
The elution time of nortryptyline was about 30 min.
However, in the cited paper, a quantitative method was
not developed and the limit of determination of tested
drugs was not accurately determined.
In the presented paper, the above-described
method [7] was modified and adapted to the analysis
of blood sample spiked with nortryptyline and desi-
pramine.
## 2. Material and methods
  1. Reagents
In the study, the following standards and reagents
were used: nordoxepine hydrochlor ide (Nord), desi-
pramine hydrochloride (Des), nortryptyline hydrochlo-
ride (Nort) (> 98%, Sigma, United States), acetonitrile
(HPLC gradient grade purity, Merck, Germany),
7,7,8,8-tetracyanoquinodimethane (> 98%, Fluka, Ger-
many), concentrated phosphoric acid (V) (analytical
purity grade, POCh, Poland), diethylamine (> 99.5%,
Aldrich, Germany), iso-amyl alcohol (analytical purity
grade, Hempur, Poland) and methanol (HPLC gradient
grade purity, Merck, Germany). All aqueous solutions
were prepared with use of water purified by the reverse
os mo sis pro cess.
  1. Material
The studied material was blood samples spiked by
standards of drugs - desipramine and nortryptyline -
in methanol, which were suitably dissolved in water.
Nordoxepine, at a constant concentration of 0.5 pg/ml,
was applied as an int ernal standard. The blood for
studies was purchased in the blood donation centre in
Krakow and was stored frozen at -20oC until sample
preparation for studies.
  1. Sample preparation for analysis
In order to separ ate analytes from the biol ogi cal
matrix, the microwave assisted liquid-liquid extrac-
tion method was applied. For this purpose, 1 ml of
blood spiked with the tested drugs and IS was placed in
a Tefl on 100 ml extract ion vessel. Then, the Teft on
vessels were placed in an ultrasound bath for about
15 min in order to ensure homogenous distribution of
analytes in the sample. In the next step, the samples
were alkalised by 3 ml of 0.6 M NaOH solution, and
5 ml of extraction solvent - a mixture of n-hexane and
iso-amyl alcohol (99:1, v/v) - was added. Tightly-clo-
sed Teflon vessels were placed in a MarsX microwave
oven (CEM, United States) and were subjected to mi-
crowave assisted extraction according to the following
temperature program: increase to 60oC (t = 2 min),
maintaining the temperature at 60oC (t = 1 min) and
cooling of extraction vessels to room temperature
(about 30 min).
Then, the samples together with extraction solvent
were quantitatively poured into glass vials, and the
Teflon vessels were additionally rinsed by two 0.5 ml
portions of extraction solvent. In order to separate the
Problems of Forensic Sciences 2007, LXIX, 90-97

92
M. Woźniakiewicz, J. Kuczara, P. Kościelniak
phases completely, the solutions were centrifuged
(10 min, 4500 rpm). 5 ml of organic layer was col-
lected and poured into Eppendorf-type tubes. Then, it
was vapori sed to dryness in a stream of nitrogen at
45oC.
The dry res t due was subj ected to derivatisation.
For this purpose, it was dissolved in 75 pl of 0.2 mg/ml
TCNQ solution in acetonitrile. The tightly-closed
tubes were placed in a heati ng block at 80oC for
30 min. The colour of the derivatives obtained in the
derivatisation process changed depending on the con-
centration, from light to dark blue.
2.4. Instruments
A LaChrom liquid chromatograph (Merck,
Germiany) coupled to an L-7455 spectrophotometric
detector (Merck, Germany) with diode-array matrix
was used in the study. Separation was performed using
a Spheri-5 column (C18, 100 x 4.6 mm, Perkin-Elmer,
United States). 10 pl of sample was introduced each
time onto the column and the analytes were eluted
isocratically with a mixture of diluted solution of
phosphoric (V) acid with addition of 1% (v/v)
diethylamine at pH 2.3 and acetonitrile, mixed in the
volumetric proportion of 40:60 (v/v). Detection of
analytes was performed at 567 nm. The analysis time
of a single sample amounted to 10 min.
## 3. Results and discussion
Nucleophilic substitution of TCNQ with secondary
amines at elevated temperature is selective and only
sub stances con tain ing a sec ond ary ni tro gen atom in
their structure and some primary amines undergo this
reaction. This practically excludes interference from
components of serum and the maj ori ty of drugs and
their metabolites (that is primary amines, aminoacids
and even some secondary amines [7]), because these
compounds do not form a product showing absorption
at 567 nm, but only, at most, complexes with a charge
transfer of characteristic bands at 743 and 840 nm.
The performed experiments confirmed that compo-
nents of whole blood do not cause the appearance of
int erferi ng peaks in chromatograms. The chromat o t
grams of the blank sample (blood spiked only with in-
ternal standard) and the tested drugs (desipramine and
nortryptyline) analysed at two blood cont entration
levels, 0.2 and 0.8 pg/ml, are shown in Figure 2. As is
seen, peaks originating from the biological matrix oc-
cur only up to about 2 min, and their number is low.
This situation is different from the results of analysis
t [min]
Fig. 2. Chromatograms obtained by the analysis of blood
samples spiked with nordoxepine (IS) as int ernal standard
and containing desipramine (Des) and nortriptyline (Nort) at
concentrations of 0.0, 0.2 and 0.8 pg/ml.
of serum samples [7], where numerous peaks coming
from the relatively simpler matrix are seen up to about
8 min. This situation should be linked mainly to the ap-
plication of different extraction processes of analytes
and different chromatographic systems.
In the course of the systematic studies, the valida-
tion parameters of the worked-out method were deter-
mined, including linearity, limit of determination and
quantitation, precision, accuracy and the repeatability
of relative retention time. Results are presented in Ta-
ble I.
Calibration was performed with the use of a linear
model of the relationship between the analytical sig-
nals (the ratio of the peak heights of analyte and IS) us-
ing 10 standard samples. The values of the limit of
determination (LOD) and quantitation (LOQ) for desi-
pramine and nortryptyline determination in blood
were calculated. For this purpose, the equations
LOD = 3 SD/S and LOQ = 10 SD/S were used, where
SD denotes the standard deviation of the analytical
signal measured for a sample of concentration
0.2 pg/ml (n = 5), and S - slope of the caltbration
curve. The obtained values of LOD allow detection of
both tested drugs in blood at therapeutic levels, which,
according to the literature [8] are 0.05-0.684 pg/ml for
desipramine and 0.05-0.375 for nortryptyline. Com
currently, because of the relatively broad range of lin-
earity of the method (from ca. 0.2 to 2.0 pg/ml), it is
possible to determine the tested drugs in blood in view
of intoxications, when the concentration of each of the
above-mentioned drugs in blood is usually higher than
0.5 pg/ml [8].
Problems of Forensic Sciences 2007, LXIX, 90-97

Determination of desipramine and nortriptyline in blood..
93
TABLE I. VALIDATION PARAMETERS FOR DETERMINATION OF DESIPRAMINE AND NORTRIPTYLINE
Parameter	Desipramine	Nortriptyline
Internal standard, IS	Nordoxepine	Nordoxepine
Linearity range, pg/ml (n= 10)	0.1-2.0	0.18-2.0
Calibration curve equation	y = 2.33 x X - 0.014	y = 2.01 x x + 0.014
Coefficient of determination, R2	0.9996	0.9999
LOD, pg/ml	0.03	0.0S
LOQ, pg/ml	0.09	0.18
RSD% (0.2 pg/ml, n = 5, in single series)	4.81	10.01
RSD% (0.8 pg/ml, n = 5, in single series)	2.86	2.80

The accuracy and precision of the worked-out
method were tested at two concentration levels:
2 and 0.8 pg/ml. For this purpose, 5 blood samples
spiked with investigated drugs and IS, for both tested
concentration levels, were prepared and then the sam-
ples were analysed. The results of accuracy examina-
tion for both analytes (measured as the relative error of
measurement RE%) and repeatability of the method
(measured as the standard deviation RSD%) were sat-
isfactory, taking into account that biological material
was analysed.
For identification of the tested analytes, their rela-
tive retention time calculated in relation to the time of
IS can be used, especially when taki ng into account
that in the examined chromatographic system their re-
peatability was very good (ca. 0.20% RSD). In the
worked-out method, in the case of doubt, analysis of
spectra of their derivatives with TCNQ (for concentra-
tions higher than LOQ) can also be applied to identifi-
caiion of analytes. The normal i sed UV specira ob i
tained by means of a spectrophotometric detector with
diode-array matrix for the derivatives of tested drugs
obtained in the derivatisation process are shown in
Figure 3. The spectrum of TCNQ, excess of which is
eluted at ca. 1.8 min, is also shown in the figure. Lack
of presence of the peak coming from the derivatisation
agent should be explained by the fact that this com-
pound does not absorb light at 567 nm.
## 4. Summary
The per formed stud ies con firmed the pos si bil ity of
use of the derivatisation process for the determination
of desipramine and nortryptyline in blood by forma-
tion of colour derivatives with TCNQ and further anal-
ysis by means of HPLC-DAD. An innovative, micro-
X [nm]
Fig. 3. UV spectra of deriv atives of desipramine (Des),
nortriptyline (Nort) and nordoxepine (Nord) with TCNQ
and also the solution of the derivatisation reagent (TCNQ).
The spec tra were recorded at maxi ma of chromatographic
peaks coming from mentioned substances.
wave ass isted ext ract ion technique, was applied to
sample preparation for analysis. Thus, an original ana-
lyti cal method, which is sensit ive only to substances
containtng a secondary nitrogen atom in their struc-
ture, was developed. It combines an efficient techt
nique for isot ation of analytes from the bio togt cal
matrix with a derivatisation process which is selective
for these compounds. In the near future, a broadening
of the examined group of drugs is planned in order to
include other psychotropic drugs with a secondary ni-
trogen atom in their structure, e.g. fluoxetine. To the
best of the authors’ knowledge, the described method
is the first quantitative method that al tows simultat
neous chromatographic determination of nortryptyline
and desipramine in blood with the use of derivatisation
of these substances by TCNQ reagent and the applica-
tion of an IS. It should be emphasised that the valida-
tion parameters of the method allow its application to
Problems of Forensic Sciences 2007, LXIX, 90-97

94
M. Wozniakiewicz, J. Kuczara, P. Kościelniak
detection and determination of the tested drugs in
blood at therapeutic levels. Additionally, when com-
paring the method and obtained results with literature
data [7], a shortening of analysis time to only 10 min
and also - due to the application of the microwave as-
sisted liquid-liquid extraction method - much cleaner
extracts can be observed.
Acknowledgements
The research proj ect was co-financed by the European
Union Structural Fund and the state budget within the fra-
mework of the Integrated Regional Operational Pro-
gramme (IROP).
## References
1. Automell A., Wells R. J., Dejermination of a cardiac
   antiarrhythmic, tricyclic antipsychotic s and anjidepres j
   sants in human and anrmal urine by micellar electro j
   kinetic capillary chromatography using a bile salt, Jour-
   nal of Chromatography B 1995, 669, 331-344.
2. Hertler W. R., Hartzler H. D., Acker D. S. [et al.], Substi-
   tuted quinodimethanes. III. Displacement reactions of
tetracyanoquinodimethane, Journal of American
Chemical Society 1962, 84, 3387-3393.
1. Madej K., Marczyk A., Woźniakiewicz M., Non-aqueous
   CE screening method for 14 psychotropic drugs in whole
   blood samples, Chromatographia 2007, 65, 313-317.
2. Madej K., Parczewski A., Kała M., HPLC/DAD screen-
   ing method for selected psychotropic drugs in blood, Tox-
   icology Mechanisms and Methods 2003, 13, 121-127.
3. Martínez M. A., Sánchez de la Torre C., Almarza E.,
A comparative solid-phase extraction study for the simul-
taneous determination of fluoxetine, amitriptyline, nor-
triptyline, trimipramine, maprotiline, clomipramine, and
trazodone in whole blood by capillary gas-liquid chroma-
tography with nitrogen-phosphorus detection, Journal of
Analytical Toxicology 2003, 27, 353-358.
Oztunc A., Dokumaci N., Tahtasakal E., The use of
tetracyanoquinodimethane for the determination
of nortriptyline and desipramine in tabjets, Farmaco
1999, 54, 835-837.
Oztunc A., Onal A., Erturk S., 7,7,8,8-Tetracyanoquino-
dimethane as a new derivatization reagent for high-per-
formance liquid chromatography and thin-layer chro-
matography: rapid screening for some antidepressants,
Journal of Chromatography B 2002, 774, 149-155.
Winek C. L., Wahba W. W., Winek Jr. C. L. [et al.], Drug	Corresponding	author
and chemical blood-level data 2001, Forensic Science In-	Paweł Kościelniak
ternational 2001, 122, 107-123.	Uniwersytet Jagielloński, Wydział Chemii
ul. Ingardena 3
PL 30-060 Kraków
e-mail: koscieln@chemia.uj.edu.pl
Problems of Forensic Sciences 2007, LXIX, 90-97

Problems of Forensic Sciences 2007, LXIX, 90-97
# OZNACZANIE DEZYPRAMINY I NORTRYPTYLINY WE KRWI METODĄ HPLC-DAD Z ZASTOSOWANIEM 7,7,8,8-TETRACJANOCHINODIMETANU (TCNQ) JAKO ODCZYNNIKA DERYWATYZUJĄCEGO
### 1. Wstęp
Mimo wprowadzania do terapii chorób depresyjnych
nowych leków, np. należących do grupy selektywnych
inhibitorów wychwytu zwrotnego serotoniny (fluoksety-
ny i innych), trójpierścieniowe leki przeciwdepresyjne
(TCAD) nadal są powszechnie zalecane przez specjalis-
tów. Choć znane jest szerokie spektrum efektów ubocz-
nych i duża toksyczność tych leków, to o ich popular-
ności decyduje potwierdzona wieloletnim stosowaniem
skuteczność terapeutyczna. W tej sytuacji nadal istnieje
potrzeba rozwoju metod analitycznych oferujących moż-
liwości efektywnego wykrywania i oznaczania leków
TCAD, w szczególności w materiale biologicznym, który
najczęściej jest obiektem badań toksykologiczno-sądo-
wych. Ze względu na charakterystykę próbek do analtz
polecane są szczególnie metody separacyjne, w szczegól-
ności chromatografia gazowa [5], elektroforeza kapilar-
na [1, 3] i wysokosprawna chromatografia cieczowa [4].
W literaturze znane są procedury analitycznego badania
leków TCAD z wykorzystaniem acetonitrylowego roz-
tworu 7,7,8,8-tetracjanochinodimetanu (TCNQ) jako od-
czynnika derywatyzującego. Związek ten stosowano do
oznaczania nortryptyliny i dezypraminy (czyli leków za-
wierających w swojej chemicznej strukturze drugorzę-
dowy atom azotu) metodami spektrometrti UV-VIS [6]
oraz metodami chromatograficznymi [7]. Mechanizm
tworzenia odpowiednich pochodnych przez drugorzędo-
we aminy opisano szczegółowo w pracy Hertlera i in. [2],
a jego ideę pokazano na rycinie 1. W obecności nadmiaru
TCNQ zachodzi tylko pierwszy etap reakcji, dając w re-
zultacie produkty wykazujące silną absorpcję przy
567 nm. Drugi etap reakcji według zaproponowanego
mechanizmu zachodzi tylko w obecności dużego nad-
miaru drugorzędowej aminy.
A. Oztunz i in. zaproponowali metodę wykrywania
kilku leków TCAD, m.in. dezypraminy, nortryptyliny,
paroksetyny, fluoksetyny i maprotyliny) w osoczu po-
przez derywatyzację wyekstrahowanych analitów za po-
mocą TCNQ [6]. Do wyosabn-ania analitów z matrycy
biologicznej zastosowali ekstrakcję ciecz-ciecz do mie-
szantny heksan-octan etylu (1:1, v/v). Po ekstrakcj i su-
pernatant był dodatkowo osuszany bezwodnym N2SO4,
odparowywany w strumieniu azotu, sucha pozostałość
była rekonstytuowana w acetonitrylowym roztworze
TCNQ, a następnie inkubowana w temperaturze 80oC
przez 20 min. Otrzymane pochodne barwy granatowej
poddawano analizie metodami HPLC, chromatografii
cienkowarstwowej (TLC) i wysoko sprawnej chromato-
grafii cienkowarstwowej (HPTLC). W przypadku me-
tody HPLC badane związki rozdzielano przy użyciu ko-
lumny C18 (250 x 4 mm), eluując anality w temperaturze
pokojowej mieszaniną wody i acetonitrylu (40:60, v/v).
Czas elucj i nortryptyliny wynosił ok. 30 min. W cyto-
wanej pracy nie opracowano jednak metody ilościowej
i nie wyznaczono dokładnie granicy wykrywalności ba-
danych leków.
W niniejszej pracy dokonano modyfikacji przedsta-
wionej powyżej metody [7], adaptując ją do analizy pró-
bek krwi dotowanej nortryptyliną i dezypraminą.
### 2. Materiały i metody
  1. Odczynniki
W badaniach zastosowano następujące wzorce i od-
czynniki: chlorowodorek nordoksepiny (Nord), chloro-
wodorek dezypraminy (Des), chlorowodorek nortrypty-
liny (Nort) (> 98%, Sigma, Stany Zjednoczone), acetoni-
tryl (cz. do chromatografii gradientowej, Merck, Niem-
cy), 7,7,8,8-tetracjanochinodimetan (> 98%, Fluka, Niem-
cy), stężony kwas fosforowy (V) (cz.d.a. POCh, Polska),
dietyloamina (> 99,5%, Aldrich, Niemcy), alkohol izoa-
mylowy (cz.d.a. Hempur, Polska) oraz metanol (cz. do
chromatografii gradientowej, Merck, Niemcy). Wszyst-
kie wodne roztwory sporządzano przy użyciu wody
oczyszczonej w procesie odwrotnej osmozy.
  1. Materiał
Materiał do badań stanowiły próbki krwi dotowane
odpowiednio rozcieńczonymi wodą metanolowymi stan-
dardami leków: dezypraminy i nortryptyliny. Jako stan-
dard wewnętrzny (IS) zastosowano nordoksepinę w sta-
łym stężeniu 0,5 pg/ml. Krew do badań zakupiono w sta-
cji krwiodawstwa w Krakowie i przechowywano zamro-
żoną w temperaturze -20oC do momentu przygotowania
próbek do badań.
  1. Przygotowanie próbki do analizy
W celu wyosobni enia analitów z matrycy biologicz-
nej zastosowano ekstrakcję w układzie ciecz-ciecz wspo-
maganą promieniowaniem mikrofalowym. W tym celu
do teflonowych naczyń ekstrakcyjnych (o objętości

96
M. Woźniakiewicz, J. Kuczara, P. Kościelniak
100 ml) wprowadzano po 1 ml krwi dotowanej badanymi
lekami oraz IS. Następnie naczynia teflonowe umiesz-
czano w łaźni ultradźwiękowej na ok. 15 min celem za-
pewnienia homogenicznego rozmieszczenia analitów
w próbce. W kolejnym etapie próbki alkalizowano za po-
mocą 3 ml 0,6 M roztworu NaOH oraz dodawano 5 ml
rozpuszczalnika ekstrakcyjnego - mieszaniny n-heksanu
z alkoholem izoamylowym (99:1, v/v). Szczelnie zam-
knięte naczynia teflonowe umieszczano w piecu mikrofa-
lowym MarsX (CEM, Stany Zjednoczone) i poddawano
procesowi ekstrakcji wspomaganej mikrofalami według
planu temperaturowego: przyrost do temperatury 60oC
(t = 2 min), utrzymanie temperatury 60oC (t = 1 min)
i ochłodzenie naczyń ekstrakcyjnych do temperatury po-
kojowej (ok. 30 min). Następnie próbki wraz z rozpusz-
czalnikiem ekstrakcyjnym przenoszono ilościowo do
szklanych fiolek, przepłukując dodatkowo teflonowe na-
czynia dwoma porcjami rozpuszczalnika ekstrakcyjnego
(po 0,5 ml). Roztwory odwirowywano (10 min,
4500 obr./min) cel em całkowitego rozdzielenia faz, po
czym pobierano 5 ml fazy organicznej, przenoszono ją do
próbówek typu Eppendorfa i odparowywano do sucha
w strumieniu azotu w temperaturze 45oC.
Suchą pozostałość poddawano procesowi derywaty-
zacj i. W tym celu rozpuszczano ją w 75 pl acetonitry-
lowego roztworu TCNQ o stężeniu 0,2 mg/ml. Szczelnie
zamknięte probówki umieszczano w bloku grzejnym
o temperaturze 80oC na30 min. Uzyskane w procesie de-
rywatyzacji pochodne miały w zależności od stężenia
barwę od jasno- do ciemnoniebieskiej.
  1. Aparatura
W badaniach wykorzystano chromatograf cieczowy
LaChrom (Merck, Niemcy) sprzężony z detektorem spek-
trofotometrycznym z matrycą diodową L-7455 (Merck,
Niemcy). Rozdział prowadzono za pomocą kolumny
Spheri-5 (C18, 100 x 4,6 mm, Perkin-Elmer, Stany Zjed-
noczone). Do kolumny wprowadzano każdorazowo 10 pl
próbki, a anality eluowano izokratycznie mieszaniną roz-
tworu rozcieńczonego kwasu fosforowego(V) z dodat-
kiem 1% (v/v) dietytoaminy o pH = 2,3 i acetonitrytu
zmieszanych w stosunku objętościowym 40:60 (v/v). De-
tekcj ę anatitów prowadzono przy długości fali 567 nm.
Czas analizy pojedynczej próbki wynosił 10 minut.
### 3. Wyniki i dyskusja
Reakcja substytucji nukleofilowej TCNQ z drugo-
rzędowymi aminami w podniesionej temperaturze j est se-
lektywna i ulegają jej jedynie substancje zawierające
w swej strukturze chemicznej drugorzędowy atom azotu
oraz tylko nieliczne aminy pierwszorzędowe. Wyklucza
to praktycznie interferencje ze składnikami osocza, a tak-
że ze znaczną liczbą leków i ich metabolitów (czyli m.in.
z aminami pierwszorzędowymi, aminokwasami i nawet
niektórymi aminami drugorzędowymi [7]), związki te
bowiem nie tworzą produktu wykazującego absorpcję
przy 567 nm, a jedyni e co naj wyżej kompleksy z prze-
niesieniem ładunku o charakterystycznych pasmach przy
743 i 840 nm.
Przeprowadzone eksperymenty potwierdziły, że rów-
nież składniki pełnej krwi nie powodują poj awtania się
na chromatogramach interferujących pików. Na rycinie 2
przedstawiono chromatogramy ślepej próby (próbki krwi
dotowanej jedynie standardem wewnętrznym) i bada-
nych leków (dezypraminy i nortryptyliny) analizowa-
nych przy dwóch poziomach stężeń we krwi: 0,2
i 0,8 pg/ml. Jak widać, piki pochodzące od matrycy bio-
logicznej występują jedynie do ok. 2 minuty, a ich liczba
jest niewielka. Jest to sytuacja odmienna od wyników
analizy próbek osocza [7], gdzie liczne piki pochodzące
od sto tunkowo prosttzej matrycy widoczne są do ok.
8 minuty. Sytuację tę należy wiązać przede wszystkim
z zastosowaniem odmiennego procesu ekstrakcji ana-
litów oraz innego układu chromatograficznego.
W toku systematycznych badań wyznaczono para-
metry walidacyjne opracowanej metody analitycznej: li-
niowość, granicę wykrywalności i oznaczalności, pre-
cyzję i dokładność oraz powtarzalność względnego czasu
retencji. Wyniki te zebrano w tabeli I.
Kalibrację przeprowadzono, wykorzystując liniowy
model zależności pomiędzy sygnałem analitycznym (sto-
sunktem wysokości piku pochodzącego do analitu do
piku IS) z wykorzystaniem 10 próbek wzorcowych. Ob-
liczono wartość granicy wykrywalności (LOD) i ozna-
czalności (LOQ) dla oznaczania nortryptyliny i dezy~
praminy we krwi. W tym celu wykorzystano równania
LOD = 3 SD/S oraz LOQ = 10 SD/S, gdzie SD oznacza
odchylenie standardowe pomiaru sygnału analitycznego
zmierzonego dla próbki o stężeniu 0,2 pg/ml (n = 5),
a S - nachylenie krzywej kalibracyjnej. Uzyskane wart-
ości LOD pozwalają na wykrycie obu badanych leków
we krwi na poziomach terapeutycznych, które według da-
nych zawartych w literaturze wynoszą 0,05-0,684 pg/ml
dla dezypraminy i 0,05-0,375 dla nortryptyliny [8]. Rów-
nocześnie ze wzgl ędu na stosunkowo szeroki zakres li-
niowości metody (od ok. 0,2 do 2,0 pg/ml), możliwe jest
oznaczenie badanych leków we krwi analizowanej pod
kątem zatruć, kiedy to stężenie każdego z ww. leków we
krwi zazwyczaj przewyższa 0,5 pg/ml [8].
Dokładność i precyzję opracowanej metody anali-
tycznej zbadano przy dwóch poziomach stężeń: 0,2
i 0,8 pg/ml. W tym celu sporządzono po 5 próbek krwi
dotowanej badanymi lekami i IS dla obu badanych pozio-
mów stężeń, a następnie próbki poddano analizie. Wyniki
badania dokładności oznaczenia obu analitów (mierzone
względnym błędem pomiaru RE%) i powtarzalności me-
tody (mierzonej względnym odchyleniem standardowym
Problems of Forensic Sciences 2007, LXIX, 90-97

Oznaczanie dezypraminy i nortryptyliny we krwi..
97
RSD%) były zadawalające, biorąc pod uwagę, że analizo-
wano materiał biologiczny.
Do identyfikacji badanych analitów posłużyć może
ich względny czas retencji liczony względem czasu IS,
zwłaszcza że w badanym układzie chromatograficznym
jego powtarzalność była bardzo dobra (wynosiła ok.
0,20% RSD). W ramach opracowanej metody, w przy-
padku wątpliwości, do identyfikacj i analitów może być
również zastosowana analiza widm ich pochodnych
z TCNQ (dla stężeń przekraczających LOQ). Znormali-
zowane widma UV otrzymane za pomocą detektora spek-
trofotometrycznego z matrycą diodową dla pochodnych
badanych leków otrzymanych w procesie derywatyzacji
przedstawiono na rycinie 3. Na rycinie tej pokazano rów-
nież widmo TCNQ, którego nadmiar eluowany jest przy
ok. 1,8 min. Brak obecności na chromatogramach piku
pochodzącego od odczynnika derywatyzującego należy
tłumaczyć nieabsorbowaniem światła przez ten związek
przy 567 nm.
Podziękowania
Projekt badawczy był współfinansowany z Europejskiego
Funduszu Społecznego oraz budżetu państwa w ramach Zin-
tegrowanego Programu Operacyjnego Rozwoju Regional-
nego.
### 4. Pod sum owa nie
Przeprowadzone badania potwierdziły możliwość za-
stosowania procesu derywatyzacji do oznaczania dezy-
praminy i nortryptyliny we krwi poprzez tworzem e ich
barwnych pochodnych z TCNQ i dalszą analizę metodą
HPLC-DAD. Na etapie przygotowania próbek do analizy
zastosowano nowatorską technikę ekstrakcji wspomaga-
nej promieniowaniem mikrofalowym. Tym samym opra-
cowano oryginalną metodę analityczną, czułą jedynie na
substancje mające w swojej strukturze drugorzędowy
atom azotu, łączącą w sobie wydajną technikę izolacji
analitów z matrycy biologicznej z procesem derywaty-
zacji selektywnym względem tych związków. W najbliż-
szym czasie planuje się rozszerzenie badanej grupy le-
ków o inne leki psychotropowe mające w swojej struktu-
rze drugorzędowy atom azotu, np. fluoksetynę.
Według wiedzy autorów, opisana metoda jest pierw-
szą metodą ilościową pozwalającą na jednoczesne chro-
matograficzne oznaczenie nortryptyliny i dezypraminy
we krwi z wykorzystaniem procesu derywatyzacji tych
substancji odczynnikiem TCNQ oraz z zastosowa-
niem IS. Podkreślić należy, iż parametry walidacyjne me-
tody pozwalają na użycie jej do wykrywania i oznaczania
badanych leków we krwi w stężeniach terapeutycznych.
Dodatkowo, porównując uzyskane wyniki z danymi za-
wartymi w literaturze [7], można zauważyć skrócenie
czasu analizy do zaledwie 1G min, a także, dzięki zastoso-
waniu metody ekstrakcji ciecz-ciecz wspomaganej mi-
krofalami, otrzymanie znacznie czystszych ekstraktów.
Problems of Forensic Sciences 2007, LXIX, 90-97