Articles
https://doi.org/10.1038/s41567-021-01393-y
Search for topological defect dark matter with a
global network of optical magnetometers
1,2
3
1,2,4
5,26
5
Samer Afach
, Ben C. Buchler
, Dmitry Budker
, Conner Dailey
, Andrei Derevianko
,
6
1,2
7
8,9
10
Vincent Dumont
, Nataniel L. Figueroa
, Ilja Gerhardt
, Zoran D. Grujić
, Hong Guo
11
12
13
Chuanpeng Hao
, Paul S. Hamilton
, Morgan Hedges
, Derek F. Jackson Kimball
14,15
12
16
9
17
Dongok Kim
, Sami Khamis
, Thomas Kornack
, Victor Lebedev
, Zheng-Tian Lu
 ✉
1,2
4,13
18
13
Hector Masia-Roig
, Madeline Monroy
, Mikhail Padniuk
, Christopher A. Palm
19,27
13
10
20,21
Sun Yool Park
, Karun V. Paul
, Alexander Penaflor
, Xiang Peng
, Maxim Pospelov
13
18
9,22
19,28
Rayshaun Preston
, Szymon Pustelny
, Theo Scholtes
, Perrin C. Segura
 ✉
14,15
11
14
1,2
Yannis K. Semertzidis
, Dong Sheng
, Yun Chang Shin
, Joseph A. Smiga
19
23
19
24
9
Jason E. Stalnaker
, Ibrahim Sulai
, Dhruv Tandon
, Tao Wang
, Antoine Weis
1,2
13
10
25
10
Arne Wickenbrock
, Tatum Wilson
, Teng Wu
, David Wurm
, Wei Xiao
10
10
10
Yucheng Yang
, Dongrui Yu
 and Jianwei Zhang
Ultralight bosons such as axion-like particles are viable candidates for dark matter. They can form stable, macroscopic field
configurations in the form of topological defects that could concentrate the dark matter density into many distinct, compact
spatial regions that are small compared with the Galaxy but much larger than the Earth. Here we report the results of the search
for transient signals from the domain walls of axion-like particles by using the global network of optical magnetometers for
exotic (GNOME) physics searches. We search the data, consisting of correlated measurements from optical atomic magnetom-
eters located in laboratories all over the world, for patterns of signals propagating through the network consistent with domain
walls. The analysis of these data from a continuous month-long operation of GNOME finds no statistically significant signals,
thus placing experimental constraints on such dark matter scenarios.
T
he nature of dark matter—an invisible substance compris-
Axions and ALPs arise from spontaneous symmetry breaking at an
ing over 80% of the mass of the Universe
—is one of the
unknown energy scale f
, which—along with their mass m
—deter-
1,2
SB
a
most
profound
mysteries
of
modern
physics.
Although
mines many of their physical properties.
evidence for the existence of dark matter comes from its gravita-
ALPs can manifest as stable, macroscopic field configurations
tional interactions, unravelling its nature likely requires observing
in the form of topological defects
  or composite objects bound
8–10
non-gravitational interactions between dark matter and ordinary
together by self-interactions such as boson stars
. Such ALP
11,12
matter
. One of the leading hypotheses is that dark matter consists
field configurations could concentrate the dark matter density into
many distinct, compact spatial regions that are small compared
of ultralight bosons such as axions
 or axion-like particles (ALPs)
.
4
5–7
Helmholtz-Institut Mainz, GSI Helmholtzzentrum für Schwerionenforschung, Darmstadt, Germany.
Johannes Gutenberg-Universität Mainz, Mainz,
1
2
Germany.
Centre for Quantum Computation and Communication Technology, Research School of Physics, The Australian National University, Acton, ACT,
Australia.
Department of Physics, University of California at Berkeley, Berkeley, CA, USA.
Department of Physics, University of Nevada, Reno, NV, USA.
4
5
Computational Research Division, Lawrence Berkeley National Laboratory, Berkeley, CA, USA.
Institute for Quantum Science and Technology (IQST),
6
7
3rd Institute of Physics, and Max Planck Institute for Solid State Research, Stuttgart, Germany.
Institute of Physics Belgrade, University of Belgrade,
8
Belgrade, Serbia.
Physics Department, University of Fribourg, Fribourg, Switzerland.
State Key Laboratory of Advanced Optical Communication Systems
9
10
and Networks, Department of Electronics, and Center for Quantum Information Technology, Peking University, Beijing, China.
Department of Precision
11
Machinery and Precision Instrumentation, University of Science and Technology of China, Hefei, People’s Republic of China.
Department of Physics and
12
Astronomy, University of California, Los Angeles, CA, USA.
Department of Physics, California State University–East Bay, Hayward, CA, USA.
Center
13
14
for Axion and Precision Physics Research, IBS, Daejeon, Republic of Korea.
Department of Physics, KAIST, Daejeon, Republic of Korea.
Twinleaf LLC,
15
16
Plainsboro, NJ, USA.
Hefei National Laboratory for Physical Sciences at the Microscale, University of Science and Technology of China, Hefei, People’s
17
Republic of China.
Institute of Physics, Jagiellonian University, Kraków, Poland.
Department of Physics and Astronomy, Oberlin College, Oberlin,
18
19
OH, USA.
School of Physics and Astronomy, University of Minnesota, Minneapolis, MN, USA.
William I. Fine Theoretical Physics Institute, School
20
21
of Physics and Astronomy, University of Minnesota, Minneapolis, MN, USA.
Leibniz Institute of Photonic Technology, Jena, Germany.
Department
22
23
of Physics and Astronomy, Bucknell University, Lewisburg, PA, USA.
Department of Physics, Princeton University, Princeton, NJ, USA.
Technische
24
25
Universität München, Garching, Germany.
Present address: Department of Physics and Astronomy, University of Waterloo, Waterloo, Canada.
Present
26
27
address: JILA, NIST and Department of Physics, University of Colorado, Boulder, CO, USA.
Present address: Department of Physics, Harvard University,
28
✉
Cambridge, MA, USA.
e-mail: hemasiar@uni-mainz.de; jsmiga@uni-mainz.de
 | VOL 17 | DECEMBER 2021 | 1396–1401 | www.nature.com/naturephysics
NATuRE PHYSICS
1396

---
NaTUrE PHysics
with the Galaxy but much larger than the Earth. In such scenarios,
Earth-bound detectors would only be able to measure signals asso-
ciated with dark matter interactions on occasions when the Earth
passes through such a dark matter object. It turns out that there is a
wide range of parameter space—consistent with observations—for
which such dark matter objects can have the required size and abun-
6
dance such that the characteristic time between encounters could
be of the order of one year or less
. This opens up the possibility
9,10,12
of searches with terrestrial detectors. Here we present the results of
such a search for ALP domain walls, a class of topological defects
that can form between regions of space with different vacua of an
7
ALP field
. We note that although some models suggest that axion
8,9
domain walls cannot survive to the present epoch
, there do exist
13–15
5
9
a number of ALP models demonstrating the theoretical possibility
that ALP domain walls or composite dark matter objects with simi-
lar characteristics
  can survive to modern times
  and have
12,16,17
18–20
4
8
the characteristics of cold dark matter
9,10,21
Since ALPs can interact with atomic spins
, the passage of Earth
through an ALP domain wall affects atomic spins similar to a tran-
b
sient magnetic-field pulse
. Considering a linear coupling between
9,12
1. Beijing, China
the ALP field gradient
 and atomic spin S, the interaction
, t
∇
(
)
r
Hamiltonian can be written as
2. Berkeley, USA
ξ
3. Daejeon, South Korea
S
3/2
H
hc
, t
(1)
= −(¯
)
· ∇
(
)
r
lin
f
S
∥
∥
4. Fribourg, Switzerland
where ℏ is the reduced Planck’s constant, c is the speed of light, r is
5. Hayward, USA
the position of spin, t is time, and f
/ξ ≡ f
 is the coupling constant
int
in units of energy described with respect to the symmetry-breaking
6. Hafei, China
scale f
 (ref.
); here ξ is unitless. In most theories, the coupling
22
7. Kraków, Poland
constants f
 describing the interaction between standard model fer-
int
mions and the ALP field are proportional to f
; however, f
 can dif-
8. Lewisburg, USA
int
fer between electrons, neutrons and protons by model-dependent
9. Mainz, Germany
factors that can be substantial
3,5
Analogous to equation (1), the Zeeman Hamiltonian describing
Time
the interaction of magnetic field B with atomic spin S can be writ-
ten as
Fig. 1 |
 a, Image showing
Visualization of an ALP domain-wall crossing.
the Earth together with the position and sensitive axes of the GNOME
magnetometers during Science Run 2. Position and sensitive axes are show
H
γ
(2)
= −
·
S
B
Z
as red arrows. The crossing direction of the domain wall is represented
where γ is the gyromagnetic ratio. Since equations (1) and (2) have
as a black arrow (Extended Data Table 1). b, Simulation of the signals
the same structure, the gradient of the ALP field—even though it
expected to be observed from a domain-wall crossing at the different
couples to the particle spin rather than the magnetic moment—can
magnetometers comprising the network.
be treated as a ‘pseudo-magnetic field’ as it causes energy shifts of
Zeeman sublevels. An important distinction between the ALP-spin
interaction (equation (1)) and the Zeeman interaction (equation
for in our analysis are discussed in Supplementary Section II and
(2)) is that although γ tends to scale inversely with the fermion mass,
other studies
9,12,22
no such scaling of the ALP-spin interaction is expected
The
global
network
of
optical
magnetometers
for
exotic
The
amplitude,
direction
and
duration
of
the
pseudo-
(GNOME) physics searches is a worldwide network searching for
magnetic-field pulse associated with the transit of the Earth through
correlated signals heralding beyond-the-standard-model physics
an ALP domain wall depends on many unknown parameters such
that currently comprises more than a dozen optical atomic mag
-
as the energy density stored in the ALP field, coupling constant
netometers, with stations (each with a magnetometer and support-
f
, thickness of the domain wall, and relative velocity v between
ing devices) in Europe, North America, Asia, the Middle East and
int
Earth and the domain wall. The dynamical parameters, such as the
Australia. A schematic of a domain-wall encounter with GNOME
velocities of dark matter objects, are expected to randomly vary
is shown in Fig. 1. The measurements from the magnetometers
from encounter to encounter. We assume that they are described by
are
recorded
with
custom
data-acquisition
systems
;
synchro-
25
the standard halo model for virialized dark matter
. Furthermore,
nized to the global positioning system (GPS) time; and uploaded
23
the abundance of domain walls in the Galaxy is limited by physi-
to servers located in Mainz, Germany, and Daejeon, South Korea.
cal constants, namely, m
  and f
, as these determine the energy
Descriptions of the operational principles and characteristics of
contained in the wall, and the total energy of all the domain walls
GNOME magnetometers are presented in Methods, Extended Data
is constrained by estimates of the local dark matter density
. The
Table 1, and ref.
24
26
expected temporal form of the pseudo-magnetic-field pulse can
The active field sensor at the heart of every GNOME magnetom-
depend on the theoretical model describing the ALP domain wall
eter is an optically pumped and probed gas of alkali atoms. Magnetic
as well as particular details of the terrestrial encounter (such as the
fields are measured by variations in the Larmor spin precession of
orientation of Earth). The relationships between these parameters
the optically polarized atoms. The vapour cells containing the alkali
and characteristics of the pseudo-magnetic-field pulses searched
atoms are placed inside multilayer magnetic-shielding systems that
1397
Signal

---
reduce background magnetic noise by orders of magnitude
 despite
27
σ
Significance (
)
retaining sensitivity to exotic spin couplings between ALP dark
0.72
1.11
1.44
1.53
1.57
1.74
matter and atomic nuclei.
100
10
Background
If
the
ALP
field
only
couples
to
electron
spins,
interac-
tions
between
the
ALP
field
and
magnetic
shield
will
reduce
Search
the
ALP-induced
signal
amplitudes
in
each
magnetometer
by
10
10
roughly the magnetic shielding factors of 10
–10
, as discussed
6
7
in ref.
. Therefore, in the present work, we only consider interac-
28
tions between ALP fields and atomic nuclei. Since all the GNOME
10
magnetometers presently use atoms whose nuclei have a valence
proton, the signal amplitudes measured by GNOME due to an
ALP-spin interaction are proportional to the relative contribu-
0.1
0
10
tion of proton spin to nuclear spin (as discussed in Supplementary
Section
II
and
ref.
).
This
pattern
of
signal
amplitudes
29
0.01
(equation (1)) can be characterized by a pseudo-magnetic field B
j
5
10
15
20
25
30
35
40
measured with sensor j:
ζ
Magnitude-to-uncertainty ratio,
σ
η
j
j
(3)
=
Fig. 2 |
 The blue dashed line represents
p
j
Significance of the search events.
g
F,j
the cumulative number of events expected from the background in the
23 days of data from Science Run 2. Here 10.7 years of time-shuffled data
where
are used to evaluate the background. Such a duration is an arbitrary choice,
but it is sufficiently long to characterize the background. The number of
2ξ
3/2
, t
hc
, t
(4)
(
) = (¯
)
∇
(
)
r
r
candidate events measured in the background data is re-scaled to the
μ
f
duration of Science Run 2. The solid green line represents the cumulative
number of events measured in Science Run 2. The red crosses indicate
is the normalized pseudo-magnetic field describing the effect of the
the magnitude-to-uncertainty ratio at which new events are found in
ALP domain wall on proton spins and μ
  is the Bohr magneton.
the search data. The upper axis indicates the statistical significance in
The ratio between the Landé g-factor and the effective proton spin
units of Gaussian standard deviations of finding one event in the search
(g
/σ
) accounts for the specific proton-spin coupling in the respec-
F,j
j
data. The significance is given by the probability of detecting one or more
tive sensor. This ratio depends on the atomic and nuclear structure
background events at a magnitude-to-uncertainty ratio above that of
in addition to details of the magnetometry scheme (Supplementary
the candidate event (equation (5)). The right axis shows the normalized
Section II). Since each GNOME magnetometer measures the pro-
number of events over a period of a year. The event with the greatest
jection of the field along a particular sensitive axis, the factor η
 is
j
magnitude-to-uncertainty ratio is found at 12.6.
introduced to account for directional sensitivity. This factor, given
by the cosine of the angle between
 and the sensitive axes, takes
on values between +1 and –1.
In
spite
of
the
unknown
properties
of
particular
terres-
Search for ALP domain-wall signatures
trial encounter with an ALP domain wall, GNOME measures a
There have been four GNOME science runs between 2017 and 2020,
recognizable global pattern of the associated amplitudes of the
as discussed in Methods. Here we analyse the data from Science
pseudo-magnetic-field pulse described by equation (3), as illus-
Run 2, which had comparatively good overall noise characteris-
trated in Fig. 1b. The associated pseudo-magnetic-field pulses would
tics and consistent network operation (as shown in Extended Data
point along a common axis, have the same duration and exhibit a
Fig. 1). Nine magnetometers took part in Science Run 2 that spanned
characteristic timing pattern. The data-analysis algorithm used in
from 29 November 2017 to 22 December 2017. The characteristics
the present work to search for ALP domain walls is described in
of the magnetometers are summarized in Extended Data Table 1.
Methods and ref.
. The algorithm searches for a characteristic sig-
Before the data are searched for evidence of domain-wall signa-
30
nal pattern across GNOME, having properties consistent with the
tures, they are preprocessed by applying a rolling average, high-pass
passage of Earth through an ALP domain wall. Separate analyses to
filters, and notch filters to the raw data. The averaging process
search for transient oscillatory signals associated with boson stars
enhances the signal-to-noise ratio for certain pulse durations, avoids
12
and bursts of exotic low-mass fields from cataclysmic astrophysical
complications arising from different magnetometers having differ-
events
 are presently underway.
ent bandwidths, and reduces the amount of data to be analysed. The
31
Here we report the results of a dark matter search with GNOME:
high-pass and notch filters reduce the effects of long-term drifts and
a search for transient couplings of atomic spins to macroscopic
noisy frequency bands. We refer to the filtered and rolling-averaged
dark matter objects, thereby demonstrating the ability of GNOME
dataset as the ‘search data.’
to explore the parameter space previously unconstrained by direct
The search data are examined for the evidence of collective sig
-
laboratory
experiments.
Searches
for
macroscopic
dark
matter
nal patterns corresponding to planes with uniform, non-zero thick-
objects based on similar ideas were carried out using atomic clock
ness, crossing Earth at constant velocities. The imprinted pattern
networks
, and there are a number of experimental proposals
of amplitudes depends on the domain-wall-crossing velocity
. We
10,23,32,33
30
utilizing other sensor networks
. All these networks are sensitive
assume that the domain-wall-velocity probability density function
34–37
to bosonic dark matter with a scalar coupling to standard model
follows the standard halo model for virialized dark matter. The signa-
particles
. GNOME is sensitive to a different class of dark matter:
ture of a domain wall crossing the magnetometer network depends
bosons with pseudo-scalar couplings to standard model particles.
on the component of the relative velocity between the domain wall
Pseudo-scalar bosonic dark matter generally produces no observ-
and the Earth that is perpendicular to the domain-wall plane, v
⊥
able effects in clock networks
, but it does couple to atomic spins via
A lattice of points in the velocity space is constructed such that
the interaction described by equation (1). Thus, GNOME is sensi-
the search algorithm covers 97.5% of the velocity probability den-
tive to a distinct—so far, mostly unconstrained—class of interac-
sity function. The algorithm scans over the velocity lattice and, for
tions compared with other sensor networks.
every velocity, the data from each magnetometer are appropriately
1398
Cumulative number of events
Event rate (year
–1
)

---
in the search data with the largest magnitude-to-uncertainty ratio
–3
–2
ALP mass, m
 (eV c
); v = 10
c
(namely, 12.6) had a significance of less than one sigma. Therefore,
–11
–12
–13
–14
–15
10
10
10
10
10
we find no evidence of an ALP domain-wall crossing during Science
Run 2. Rare domain-wall-crossing events that produce signals below
a magnitude-to-uncertainty ratio of 12.6 are indistinguishable from
20
the background. Therefore, we base constraints on the ALP param
-
eters on the absence of any detection above the ‘loudest event’ in a
100
15
manner similar to that described, for example, in ref.
38
To evaluate the domain-wall characteristics excluded by this
result,
the
observable
domain-wall-crossing
parameters
above
10
a magnitude-to-uncertainty ratio of 12.6 during Science Run 2
10
are determined. GNOME has non-uniform directional sensitiv
-
5
ity
; we conservatively estimate the network sensitivity assuming
30
the domain wall comes from the least-sensitive direction. Figure
′
3 shows the active time T(
), that is, how long the network
Δt,
0
was sensitive to domain walls as a function of sensitivity of the
–1
0
10
10
10
10
10
′
pseudo-magnetic-field
magnitude,
and
pulse
duration,
Δt.
∆
Signal duration,
t (s)
A signal with pseudo-magnetic-field magnitude
  produces a
′
magnitude-to-uncertainty
ratio
of
The
active
time,
ζ
/
= B
Fig. 3 |
 Amount
Sensitivity of the GNOME network to domain walls.
′
T(
), can be used to constrain the ALP domain-wall parameter
Δt,
of time T, indicated in colour, for which GNOME had a normalized
space, as discussed in Supplementary Section II.
′
pseudo-magnetic-field-magnitude sensitivity above
 (that is, the
If one assumes a probability distribution for the number of
domain wall would induce a magnitude-to-uncertainty ratio of at least
domain-wall encounters, an upper bound on the rate R
  of such
one) for domain walls with a given duration Δt (defined as the FWHM of
C
encounters can be calculated with confidence level C. We assume
a Lorentzian signal) throughout Science Run 2. The upper axis shows the
a Poisson probability distribution for the domain-wall crossings.
range of ALP masses to which GNOME is sensitive (equation (9)). The
Since the excess number of events in the search data compared
characteristic shape of the sensitive region is a result of the filtering and
with the background data was not statistically significant, the upper
averaging of the raw data, as described in Methods. Averaging reduces
bound on the observable rate is given by the probability of measur
-
the sensitivity of the search data to short pulse durations and high-pass
ing no events during the effective time
. Note that since T depends
38
filtering suppresses sensitivity to long Δt. The sensitivity of GNOME varies
on the parameters of the domain-wall crossing, our constraint on
in time with changes in the number of active GNOME magnetometers
the observed rate depends on the ALP properties. We choose the
recording data and their background noise. Only the worst-case direction
confidence level to be C = 90%.
is considered. The plot assumes the parameters of the analysis: 20 s
averaging time, 1.67 mHz first-order zero-phase Butterworth filter, and 50
Constraints on ALP domain walls
and 60 Hz zero-phase notch filters with a quality factor of 60.
Analysis of the GNOME data did not find any statistically significant
excess of events above the background during Science Run 2 that
could point to the existence of ALP domain walls, as shown in Fig. 2.
time-shifted so that the signals in different magnetometers from a
The expected rate of domain-wall encounters (r) depends on the
hypothetical domain-wall crossing with the given velocity occur at
ALP mass (m
), domain-wall energy density in the Milky Way (ρ
),
DW
the same time. For each velocity and at each measurement time,
typical relative domain-wall speed
 and symmetry-breaking scale
v
¯
(
)
the amplitudes measured by each magnetometer are fit to the ALP
(f
). The region of parameter space to which GNOME is sensitive
domain-wall-crossing model described in ref.
. As a result, estima-
is defined by the ALP parameters expected to produce signals above
30
tions for signal magnitude and domain-wall direction, along with
the magnitude-to-uncertainty ratio of 12.6 with rates r ≥ R
 during
90%
associated uncertainties, are obtained for each measurement time
Science Run 2 (Fig. 3). Based on the null result of our search, the
and all the lattice velocities. The magnitude-to-uncertainty ratio of
sensitive region is interpreted as the excluded ALP parameter space.
an event is given by the ratio between the signal magnitude and its
The ALP parameters and the phenomenological parameters
associated uncertainty.
describing the ALP domain walls in our Galaxy, namely, thickness
The search algorithm uses two different tests to evaluate if a given
Δx, surface tension or energy per unit area σ
, and the average
DW
event is likely to have been produced by an ALP domain-wall cross
-
separation L, can be related through the ALP domain-wall model
ing: a domain-wall model test and a directional-consistency test
described
elsewhere
A
full
derivation
of
how
the
observ-
30
9,22
The domain-wall model test evaluates whether the event ampli-
able parameters are related to the ALP parameters is given in
tudes measured by the GNOME magnetometers match the signal
Supplementary Section II.
amplitudes predicted by the ALP domain-wall-crossing model, and
The coloured region in Fig. 4a describes the symmetry-breaking
is quantified by the P-value, as discussed in Methods and ref.
scales
up
to
which
GNOME
was
sensitive
with
90%
confi-
30
The directional-consistency test checks the agreement between the
dence. The parameter space is spanned by ALP mass, maximum
direction of the scanned velocity and the estimated domain-wall
symmetry-breaking scale, and ratio between the symmetry-breaking
direction, and is quantified by the angle between the two direc-
scale
and
coupling
constant.
The
shape
of
the
sensitive
area
tions normalized by the angle between the adjacent lattice veloci-
shown in Fig. 4a is determined by the event with the largest
magnitude-to-uncertainty ratio and the characteristics of prepro
ties. The thresholds on these tests are chosen to guarantee an overall
-
detection efficiency ϵ ≥ 95% for the search algorithm, considering
cessing applied to the raw data.
both incomplete velocity lattice coverage and detection probability
Figure 4b shows the various cross sections for different ratios
(Extended Data Fig. 2).
between the symmetry-breaking scale and the coupling constant,
The search data are analysed for domain-wall encounters using
as indicated by the dashed lines in Fig. 4a. The upper bound of f
the algorithm presented in ref.
. The cumulative distribution of
that can be observed by the network is shown in Fig. 4b for differ-
30
candidate events as a function of their magnitude-to-uncertainty
ent values of ξ ≡ f
/f
. Because
 (Supplementary equation
m
∝
int
ratio is shown as the solid green line in Fig. 2. The candidate event
(10) in Supplementary Section II), there is a sharp cutoff for low
1399
Days sensitive
Sensitivity, B
′
 (pT)

---
b
4
10
ξ
 ≡
f
/f
int
0.004
10
0.100
5
10
1.000
5
10
10.000
10
10
4
10
4
10
0
10
–1
10
10
10
–2
10
–3
10
–15
–14
–13
–12
–11
–15
–14
–13
–12
–11
10
10
10
10
10
10
10
10
10
10
–2
–2
Mass (eV c
)
Mass (eV c
)
Fig. 4 |
 The bounds are drawn from the presented analysis of Science Run 2 with 90% confidence level. Relationship
Bounds on the ALP parameter space.
between the parameters from ALP theory and measured quantities is discussed in Supplementary Section II. a, In colour, upper bound on the interaction
scale for axion–nucleon coupling, f
, to which GNOME was sensitive as a function of m
 and the ratio between symmetry-breaking and interaction scales
int
(ξ ≡ f
/f
). The dashed horizontal lines highlight the cross-section used in b with the respective colour. b, Cross-sections of the excluded parameter
int
volume in a for different ξ ratios. We note that the domain walls may not be the only form of dark matter; therefore, ρ
 < 0.4 GeV cm
. If the domain-wall
–3
DW
energy density is substantially smaller, this would affect the bounds shown here.
ALP mass where the corresponding field magnitude falls below the
walls. Additionally, GNOME data can be searched for other sig
-
network sensitivity. Even though
 increases for large m
, the mean
natures of physics beyond the standard model, such as boson
rate of domain-wall encounters decreases with increasing mass
stars
, relaxion halos
 and bursts of exotic low-mass fields from
12
48
(equations (11) and (12)). Correspondingly, the upper limit for the
black-hole mergers
31
√
symmetry-breaking scale f
 is
. Given that no events were
In
terms
of
the
data-analysis
algorithm
used
to
search
for
1/
m
∝
ALP domain walls, recent studies
found, the sensitive region of the ALP domain-wall parameter space
  have considered a possible
49
during Science Run 2 can be excluded.
back-action that the Earth may have on a domain wall when certain
Our
experiment
explores
the
ALP
parameter
space
up
to
interactions are important, namely, up-to-quadratic coupling terms
f
 ≈ 4 × 10
 GeV (Fig. 4). This goes beyond that excluded by pre-
between a scalar field and fermions. In contrast to another study
5
49
int
vious direct laboratory experiments searching for ALP-mediated
the present work analyses a completely different interaction, namely,
exotic pseudo-scalar interactions between protons that have shown
a linear coupling between a pseudo-scalar field and fermion spins,
that f
 ≳ 300 GeV over the ALP mass range probed by GNOME
which produces no major back-action effect. Regardless, it would be
39
int
Although astrophysical observations suggest that f
 ≳ 2 × 10
 GeV,
worthwhile to consider interactions generating similar back-action
8
int
there are a variety of scenarios in which such astrophysical con-
effects of the Earth on domain walls and the ALP field in later analy
-
straints can be evaded
. The parameter space for f
  and m
sis. Further, in future work, we aim to improve the efficiency of the
40,41
int
explored in this search is well outside the typical predictions for
scan over the velocity lattice. The number of points in the velocity
axions in quantum chromodynamics
. However, for ALPs, a vast
lattice to reliably cover a fixed fraction (for example, 97.5%) of the
42,43
ALP-velocity probability distribution grows as (Δt)
array of possibilities for the generation of ALP masses and couplings
 (where Δt is
–3
are opened by a variety of beyond-the-standard-model theories,
given by equation (9)). This makes the algorithm computationally
meaning that the values of f
  and m
  explored in our search are
intensive. We are investigating a variety of analysis approaches, such
int
theoretically possible
as machine-learning-based algorithms, to address these issues.
44,45
Future work of the GNOME collaboration will focus on both
upgrades to our experimental apparatus and new data-analysis
Online content
strategies. One of our key goals is to improve the overall reliabil-
Any
methods,
additional
references,
Nature
Research
report-
ity and duration of continuous operation of GNOME magnetom-
ing summaries, source data, extended data, supplementary infor-
eters. The intermittent operation of some magnetometers due to
mation, acknowledgements, peer review information; details of
technical difficulties during Science Runs 1–3 made it difficult to
author contributions and competing interests; and statements of
search for signals persisting for ≳1 h. Additionally, magnetom-
data and code availability are available at https://doi.org/10.1038/
eters varied in their bandwidths and reliability, as well as stabil-
s41567-021-01393-y.
ity of their calibration. These challenges were addressed in Science
Received: 9 March 2021; Accepted: 17 September 2021;
Run 4 through a variety of magnetometer upgrades and institut-
Published online: 7 December 2021
ing daily worldwide test and calibration pulse sequences. However,
GNOME suffered disruptions due to the COVID-19 pandemic. We
References
plan to carry out Science Run 5 in 2021 to take full advantage of
 1.
Bertone, G., Hooper, D. & Silk, J. Particle dark matter: evidence, candidates
the improvements. Furthermore, by upgrading to noble-gas-based
and constraints. Phys. Rep. 405, 279–390 (2005).
comagnetometers
 for future science runs (advanced GNOME),
46,47
 2.
Gorenstein, P. & Tucker, W. Astronomical signatures of dark matter. Adv.
we expect to considerably improve the sensitivity to ALP domain
High Energ. Phys. 2014, 878203 (2014).
1400
ξ ≡
f
/f
int
Max f
int
 (GeV)
f
int
 (GeV)

---
 3.
Safronova, M. et al. Search for new physics with atoms and molecules. Rev.
 31. Dailey, C. et al. Quantum sensor networks as exotic field telescopes for
Mod. Phys. 90, 025008 (2018).
multi-messenger astronomy. Nat. Astron. 5, 150–158 (2021).
 4.
Preskill, J., Wise, M. B. & Wilczek, F. Cosmology of the invisible axion. Phys.
 32. Wcisło, P. et al. Experimental constraint on dark matter detection with optical
Lett. B 120, 127–132 (1983).
atomic clocks. Nat. Astron. 1, 0009 (2017).
 5.
Graham, P. W., Irastorza, I. G., Lamoreaux, S. K., Lindner, A. & van Bibber,
 33. Roberts, B. M. et al. Search for transient variations of the fine structure
K. A. Experimental searches for the axion and axion-like particles. Annu. Rev.
constant and dark matter using fiber-linked optical atomic clocks. New J.
Nucl. Part. Sci. 65, 485–514 (2015).
Phys. 22, 093010 (2020).
 6.
Graham, P. W., Kaplan, D. E. & Rajendran, S. Cosmological relaxation of the
 34. Stadnik, Y. V. & Flambaum, V. V. Enhanced effects of variation of the
electroweak scale. Phys. Rev. Lett. 115, 221801 (2015).
fundamental constants in laser interferometers and application to dark-matter
 7.
Co, R. T., Hall, L. J. & Harigaya, K. Predictions for axion couplings from ALP
detection. Phys. Rev. A 93, 063630 (2016).
cogenesis. J. High Energ. Phys. 2021, 172 (2021).
 35. Jacobs, D. M., Weltman, A. & Starkman, G. D. Resonant bar detector
 8.
Vilenkin, A. Cosmic strings and domain walls. Phys. Rep. 121, 263–315 (1985).
constraints on macro dark matter. Phys. Rev. D 91, 115023 (2015).
 9.
Pospelov, M. et al. Detecting domain walls of axionlike models using
 36. Arvanitaki, A., Dimopoulos, S. & Van Tilburg, K. Sound of dark matter:
terrestrial experiments. Phys. Rev. Lett. 110, 021803 (2013).
searching for light scalars with resonant-mass detectors. Phys. Rev. Lett. 116,
 10. Derevianko, A. & Pospelov, M. Hunting for topological dark matter with
031102 (2016).
atomic clocks. Nat. Phys. 10, 933–936 (2014).
 37. McNally, R. L. & Zelevinsky, T. Constraining domain wall dark matter with a
 11. Braaten, E., Mohapatra, A. & Zhang, H. Dense axion stars. Phys. Rev. Lett.
network of superconducting gravimeters and LIGO. Eur. Phys. J. D 74, 61
117, 121801 (2016).
(2020).
 12. Jackson Kimball, D. et al. Searching for axion stars and Q-balls with a
 38. Brady, P. R., Creighton, J. D. E. & Wiseman, A. G. Upper limits on
terrestrial magnetometer network. Phys. Rev. D 97, 043002 (2018).
gravitational-wave signals based on loudest events. Class. Quantum Grav. 21,
 13. Sikivie, P. Axions, domain walls, and the early Universe. Phys. Rev. Lett. 48,
S1775–S1781 (2004).
1156–1159 (1982).
 39. Ramsey, N. F. The tensor force between two protons at long range. Physica A
 14. Press, W. H., Ryden, B. S. & Spergel, D. N. Dynamical evolution of domain
96, 285–289 (1979).
walls in an expanding Universe. Astrophys. J. 347, 590–604 (1989).
 40. DeRocco, W., Graham, P. W. & Rajendran, S. Exploring the robustness
 15. Buschmann, M., Foster, J. W. & Safdi, B. R. Early-Universe simulations of the
of stellar cooling constraints on light particles. Phys. Rev. D 102,
cosmological axion. Phys. Rev. Lett. 124, 161103 (2020).
075015 (2020).
 16. Coleman, S. Q-balls. Nucl. Phys. B 262, 263–283 (1985).
 41. Bar, N., Blum, K. & D’amico, G. Is there a supernova bound on axions? Phys.
 17. Kusenko, A. & Steinhardt, P. J. Q-ball candidates for self-interacting dark
Rev. D 101, 123025 (2020).
matter. Phys. Rev. Lett. 87, 141301 (2001).
 42. Shifman, M., Vainshtein, A. & Zakharov, V. Can confinement ensure natural
 18. Bucher, M. & Spergel, D. Is the dark matter a solid? Phys. Rev. D 60, 043505
CP invariance of strong interactions? Nucl. Phys. B 166, 493–506 (1980).
(1999).
 43. Svrcek, P. & Witten, E. Axions in string theory. J. High Energ. Phys. 2006, 051
 19. Avelino, P., Martins, C., Menezes, J., Menezes, R. & Oliveira, J. Dynamics of
(2006).
domain wall networks with junctions. Phys. Rev. D 78, 103508 (2008).
 44. Marsh, D. J. Axion cosmology. Phys. Rep. 643, 1–79 (2016).
 20. Hiramatsu, T., Kawasaki, M., Saikawa, K. & Sekiguchi, T. Axion cosmology
 45. Irastorza, I. G. & Redondo, J. New experimental approaches in the search for
with long-lived domain walls. J. Cosmol. Astropart. Phys. 2013, 001 (2013).
axion-like particles. Prog. Part. Nucl. Phys. 102, 89–159 (2018).
 21. Baek, S., Ko, P. & Park, W.-I. Hidden sector monopole, vector dark matter
 46. Kornack, T. W. & Romalis, M. V. Dynamics of two overlapping spin
and dark radiation with Higgs portal. J. Cosmol. Astropart. Phys. 2014, 067
ensembles interacting by spin exchange. Phys. Rev. Lett. 89, 253002 (2002).
(2014).
 47. Kornack, T. W., Ghosh, R. K. & Romalis, M. V. Nuclear spin gyroscope based
 22. Pustelny, S. et al. The global network of optical magnetometers for exotic
on an atomic comagnetometer. Phys. Rev. Lett. 95, 230801 (2005).
physics (GNOME): a novel scheme to search for physics beyond the Standard
 48. Banerjee, A., Budker, D., Eby, J., Kim, H. & Perez, G. Relaxion stars and their
Model. Ann. Phys. 525, 659–670 (2013).
detection via atomic physics. Commun. Phys. 3, 1 (2020).
 23. Roberts, B. M. et al. Search for domain wall dark matter with atomic clocks
 49. Stadnik, Y. V. New bounds on macroscopic scalar-field topological defects
on board global positioning system satellites. Nat. Commun. 8, 1195 (2017).
from nontransient signatures due to environmental dependence and spatial
 24. Bovy, J. & Tremaine, S. On the local dark matter density. Astrophys. J. 756, 89
variations of the fundamental constants. Phys. Rev. D 102, 115016 (2020).
(2012).
 25. Włodarczyk, P., Pustelny, S., Budker, D. & Lipiński, M. Multi-channel data
Publisher’s note Springer Nature remains neutral with regard to jurisdictional claims in
acquisition system with absolute time synchronization. Nucl. Instr. Meth.
published maps and institutional affiliations.
Phys. Res. A 763, 150–154 (2014).
Open Access This article is licensed under a Creative Commons
 26. Afach, S. et al. Characterization of the global network of optical
Attribution 4.0 International License, which permits use, sharing, adap-
magnetometers to search for exotic physics (GNOME). Phys. Dark Universe
tation, distribution and reproduction in any medium or format, as long
22, 162–180 (2018).
as you give appropriate credit to the original author(s) and the source, provide a link to
 27. Yashchuk, V. V., Lee, S.-K. & Paperno, E. in Optical Magnetometry (eds
the Creative Commons license, and indicate if changes were made. The images or other
Budker, D. & Kimball, D. F. J.) Ch. 2 (Cambridge Univ. Press, 2013).
third party material in this article are included in the article’s Creative Commons license,
 28. Jackson Kimball, D. F. et al. Magnetic shielding and exotic spin-dependent
unless indicated otherwise in a credit line to the material. If material is not included in
interactions. Phys. Rev. D 94, 082005 (2016).
the article’s Creative Commons license and your intended use is not permitted by statu-
 29. Jackson Kimball, D. F. Nuclear spin content and constraints on exotic
tory regulation or exceeds the permitted use, you will need to obtain permission directly
spin-dependent couplings. New J. Phys. 17, 073008 (2015).
from the copyright holder. To view a copy of this license, visit http://creativecommons.
 30. Masia-Roig, H. et al. Analysis method for detecting topological defect dark
org/licenses/by/4.0/.
matter with a global magnetometer network. Phys. Dark Universe 28, 100494
© The Author(s) 2021
(2020).
1401

---
χ
 minimization is performed for each time point to estimate the domain-wall
Methods
parameters. An ALP domain-wall-crossing direction and magnitude
 with
GNOME consists of over a dozen optical atomic magnetometers, each
the corresponding P-value quantifying the agreement is obtained. The P-value
enclosed within a multilayer magnetic shield, distributed around the world
27
is evaluated as the probability of obtaining the given χ
 value or higher from χ
GNOME magnetometers are based on a variety of different atomic species,
minimization. The P-value is calculated using the quadrature sum of the standard
optical transitions and measurement techniques: some are frequency- or
deviation of the data and the uncertainty due to drifts in the calibration factors.
amplitude-modulated nonlinear magneto-optical rotation magnetometers
50,51
All the data points in every time-shifted dataset are considered to be potential
some are radio-frequency-driven optical magnetometers
, whereas others are
26
events, characterized by time, P-value, and direction and magnitude
 with their
spin-exchange-relaxation-free magnetometers
. A detailed description and
52
associated uncertainties. The magnitude-to-uncertainty ratio of an event ζ is the
characterization of six GNOME magnetometers are given in ref.
. A summary
26
ratio between
 and its associated uncertainty.
of the properties of the GNOME magnetometers active during Science Run 2 is
Third, in the post-selection stage, two tests are carried out to check if a potential
presented in Extended Data Table 1.
event is consistent with an ALP domain-wall crossing. The domain-wall model test
Each GNOME station is equipped with auxiliary sensors, including
evaluates if the observed signal amplitudes are consistent with the expected pattern
accelerometers, gyroscopes and unshielded magnetometers, to measure local
of a domain-wall crossing from any possible direction. It is quantified by the
perturbations that could mimic a dark matter signal. Suspicious data are flagged
26
aforementioned P-value. The directional-consistency test is based on the angular
and discarded during the analysis.
difference between the estimated domain-wall-crossing direction and the direction
The number of active GNOME magnetometers during the four science runs
of velocity corresponding to the particular time-shifted dataset being analysed. In a
and the combined network noise, as defined in ref.
, are shown as a function
30
real domain-wall-crossing event, these two directions should be aligned.
of time in Extended Data Fig. 1. Although Science Run 4 was carried out over a
To evaluate the consistency of a potential event with a domain-wall crossing,
longer period of time than Science Run 2, it featured poorer noise characteristics
we impose thresholds on the P-value and the angular difference normalized
and consistency of operation compared with Science Run 2. Since many GNOME
with respect to the angular spacing of the lattice of velocity points for that speed.
stations underwent upgrades in 2018 and 2019, further characterization of the data
The thresholds are chosen to guarantee a detection probability of 97.5% with
from Science Run 4 is needed, and the results will be presented in future work. The
the minimum possible false-positive probability. The false-positive analysis is
number of active magnetometers during Science Runs 1 and 3 was often less than
performed on the background data. The true-positive analysis is performed on
four, which in insufficient to characterize a domain-wall crossing. We thus present
the test data consisting of background data with randomly inserted domain-wall
the analysis efforts on the data from Science Run 2.
signals as described below.
Here we provide more details on the analysis procedure. The identification of
A single signal pattern may appear as multiple potential events in the analysis,
events likely to be produced by ALP domain-wall crossings comprise three stages:
whereas we are seeking to characterize a single underlying domain-wall-crossing
preprocessing, velocity scanning and post-selection
. First, in the preprocessing
30
event. For example, a signal consistent with a domain-wall crossing lasting
stage, a rolling average and filters are applied to the raw data from the GNOME
for multiple sampling periods would appear as multiple potential events in a
magnetometer, which are originally recorded by the GPS-synchronized
single time-shifted dataset. Furthermore, even if such a signal lasts only for a
data-acquisition system at the rate of 512 samples per second (ref.
). The rolling
25
single sampling period, the corresponding potential events appear in different
average is characterized by a 20 s time constant. Noisy frequency bands are
time-shifted datasets. Since it is assumed that domain-wall crossings rarely occur,
suppressed using a first-order Butterworth high-pass filter at 1.67 mHz together
such clusters of potential events are classified as a single ‘event’. To reduce the
with notch filters corresponding to power-line frequencies of 50 or 60 Hz with a
double counting of these events, conditions are imposed. If potential events passing
quality factor of 60. These filters are applied forward and backward to remove any
the thresholds occur at the same time in different time-shifted datasets or are
phase effects. This limits the observable pulse properties to a frequency region
contiguous in time, the potential event with the greatest magnitude-to-uncertainty
to which all the magnetometers are sensitive. Additionally, it guarantees that the
ratio is classified as the corresponding single event.
duration of the signal is the same for all the sensors. We note that these filter
To evaluate the detection probability of the search algorithm, a
settings may be changed in future analyses.
well-characterized dataset that includes domain-wall-crossing signals with
The local standard deviation around each point in the magnetometer’s data is
known properties is required. For this purpose, we generate a background
determined using an iterative process. Outliers are discarded until the standard
dataset by randomly time shuffling the search data so that the relative timing of
deviation of the data in the segment converges. The local standard deviation is
measurements from different GNOME stations is shifted by amounts so large that
calculated taking 100 down-sampled points around each data point.
no true-positive events could occur. By repeating the process of time shuffling, the
Additionally, auxiliary measurements have shown that the calibration factors
length of background data can be made to far exceed the search data. This method
used by each magnetometer to convert raw data into magnetic-field units
is used to generate background data with noise characteristics closely reproducing
experience change over time due to, for example, changes in the environmental
those of the search data
. A set of pseudo-magnetic-field pulses matching the
53
conditions. Upper limits on the errors in the calibration factor due to such drifts
expected amplitude and timing pattern produced by the passages of Earth through
over the course of Science Run 2 have been evaluated, as listed in Extended
the ALP domain walls are inserted into the background data to create the test data.
Data Table 1. Calibration errors result in magnetic-field measurement errors
The true-positive analysis studies the detection probability as a function of
proportional to magnetic field B
. The uncertainty resulting from the calibration
j
the thresholds. Multiple test datasets are created featuring domain-wall-signal
error is later used to determine the agreement with the domain-wall model, but not
patterns with random parameters by inserting Lorentzian-shaped pulses into the
in the magnitude-to-uncertainty ratio estimate resulting from the model, since the
background data of the different GNOME magnetometers. The domain-crossing
calibration error affects the signal and noise in the same way.
events have magnitudes of
 randomly selected between 0.1 and 10
 pT and
4
Second, at the velocity-scanning stage, data from the individual magnetometers
durations randomly selected between 0.01 and 10
 s. The distributions of the these
are time-shifted according to different relative velocities between Earth and the
randomized parameters are chosen to be flat on a logarithmic scale. Additionally,
ALP domain walls. To sample 97.5% of the velocity probability distribution, a scan
the signals are inserted at random times with random directions. To simulate the
of the speeds from 53.7 to 770 km s
 with directions covering the full 4π solid
–1
effects of calibration error, the pulse amplitudes inserted in each magnetometer
angle is chosen; therefore, the domain walls can take any orientation with respect
are weighted by a random factor whose range is given in Extended Data Table 1.
to the movement of Earth. Note that this distribution considers just the observable
The crossing velocity is also randomized within the range covered by the velocity
perpendicular component of the relative domain-wall velocity and neglects the
lattice. For each inserted domain-wall-crossing event, the P-value, normalized
orbital motion of the Earth around the Sun. For low relative velocities, both time
angular difference and magnitude-to-uncertainty ratio are computed.
between signals at different magnetometers and signal duration diverge. Therefore,
Extended Data Fig. 2a shows the detection probability as a function of the
the velocity range is determined by the chosen 97.5% coverage and the maximum
threshold on the lower limit of the P-value and the threshold on the upper limit
relative speed of the domain walls travelling at the Galactic escape speed.
of the normalized angular difference. We restrict the analysis in Extended Data
The corresponding time-shifted data along with their local standard deviation
Fig. 2a to events inserted with a magnitude-to-uncertainty ratio between 5 and
estimate are fetched from each magnetometer’s rolling-average full-rate data at the
10. This enables a reliable determination of the true-positive detection probability
rate of 0.1 samples per second. This reduces the amount of data to process, even
without major contamination by false-positive events, since the background
though keeping the full timing resolution.
event probability above ζ = 5 is below 0.01% in a 10 s sampling interval. Since the
The step size used in the speed scan is chosen so that a single step in speed
detection probability increases with the signal magnitude, we focus on the events
corresponds to time-shift differences of less than the down-sampled sampling
below ζ = 10. The detection probability is then the number of detected events
period. For each speed, a lattice of directions covering the full 4π solid angle is
divided by the number of inserted events. The black line marks the numerically
constructed. The angular difference between adjacent directions is informed by the
evaluated boundary of the area, guaranteeing at least 97.5% detection. All points
sampling rate and speed
 such that, as for the speed scan, a single step in direction
30
along this black line yield the desired detection probability; therefore, this
results in time-shift differences of less than the down-sampled sampling period.
particular choice is made to minimize the number of candidate events when
With the settings used, the velocity-scanning lattice consists of 1,661 points. This
applying the search algorithm to the background data. Here the values determined
number scales with the cube of the down-sampled sampling rate.
for the P-value threshold and directional-consistency threshold are 0.001 and 3.5,
After the time shift, the pulses produced by a domain-wall crossing
respectively (represented as the white dot in Extended Data Fig. 2a). Extended
simultaneously appear as if all the magnetometers were placed at the Earth’s centre.
Data Fig. 2b shows that the detection probability is greater than 97.5% for events
This process results in a time-shifted dataset for each lattice velocity on which
 | www.nature.com/naturephysics

---
featuring a magnitude-to-uncertainty ratio above 5 and guarantees ϵ ≥ 95%. This
σ
8
m
f
DW
results in an overall detection efficiency of ϵ ≥ 95% for the search algorithm,
L
(11)
≈
=
ρ
ρ
h
¯
considering both incomplete velocity lattice coverage and detection probability.
DW
DW
Since the noise has a non-zero probability of mimicking the signal pattern
which results in the average domain-wall encounter rate of
expected from an ALP domain-wall crossing well enough to pass the P-value and
directional-consistency tests, we perform a false-positive study on background data
(
)
−
r
v/L
m
f
(12)
¯
of length T
. The analysis algorithm is applied to T
 = 10.7 years of time-shuffled
=
∝
b
b
data to establish the rate of events solely expected from the background. Because
of the larger amount of background data analysed, lower rates and larger
We assume the typical relative domain-wall speed to be equal to the Galactic
magnitude-to-uncertainty ratios are accessible compared with the search data.
rotation speed of Earth.
Based on the false-positive study, the probability of finding one or more events in
The ALP parameter space is constrained by imposing r ≥ R
. The
90%
the search data above ζ is
54
experimental constraint on the coupling constant is written as follows
(
)
(Supplementary equation (13) in Supplementary Section II).
T
P
1 above ζ
exp
n
ζ
(5)
(≥
) =
−
−
[
+
(
)]
√
b
T
b
h
vρ
ϵ
¯
¯
DW
f
T
Δt,
(13)
′
≤
(
)
int
ξ
8m
log
0.1
(
)
where T = 23 days is the duration of Science Run 2 and n
(ζ) is the number of
b
candidate events found in the background data above ζ. The significance is
√
The signal duration can be written in terms of the mass of the hypothetical
−
then defined as
, where erf
 is the inverse error
S
2erf
P
–1
= −
[
−
(
−
)]
√
h
¯
ALP particle and the specific domain-wall-crossing speed,
. When
Δt
function. The significance is given in units of the Gaussian standard deviation that
=
vm
c
corresponds to a one-sided probability of P.
calculating the constraints on f
, we fix the domain-wall-crossing speed to the
int
After characterizing the background for Science Run 2, the search data are
typical relative speed from the standard halo model,
  = 300 km s
 (ref.
).
v
¯
−1
23
analysed. The results are represented as a solid green line in Fig. 2. For ζ > 6, only
In contrast to the signal duration, the pseudo-magnetic-field signal depends
a few events were found. The event with the largest magnitude-to-uncertainty
on all the parameters of the ALPs, mass, and ratio between the coupling and
ratio, ζ
, was measured at 12.6 followed by additional events at 6.2 and 5.6. From
4m
c
ξ
′
max
symmetry-breaking constants, namely,
. The data shown in Fig. 4 are
=
equation (5), the significance associated with finding one or more events produced
μ
ζ
obtained using equation (13) by taking ζ = 12.6. The shape of the constrained space
by the background featuring at least ζ
 is lower than one sigma. This null result
max
is given by the fact that T varies depending on the target m
 and ξ.
defines the sensitivity of the search and is used to set constraints on the parameter
space describing the ALP domain walls.
The observable rate of domain-wall crossings depends on how long GNOME
Data availability
was sensitive to different signal durations and magnitudes. For the evaluation of
Source data are provided with this paper. The datasets and analysis code used in
this effective time, the raw data of each magnetometer are divided into continuous
the current study are available from the corresponding authors upon reasonable
segments between one and two hours depending on the availability of data. The
request. Also, see the collaboration website https://budker.uni-mainz.de/gnome/
preprocessing steps are applied to each segment. Then, the data are binned by
where all the available data are displayed.
taking the average in 20 s intervals. To estimate the noise in each magnetometer,
the standard deviation in each binned segment is calculated to define the
Code availability
covariance matrix Σ
. The domain-wall magnitude, crossing with the worse-case
s
The code used in the current study is available from the corresponding authors
direction m, needed to produce ζ = 1 is calculated, as in ref.
, for each bin.
30
upon reasonable request.
√
(
)
−
′
−
T
Δt
D
Σ
D
(6)
(
) =
m
m
Δt
s
Δt
References
 50. Budker, D., Kimball, D., Yashchuk, V. & Zolotorev, M. Nonlinear magneto-
The matrix D
 contains the sensitivity axes of the magnetometers, factor σ
/g, and
Δt
optical rotation with frequency-modulated light. Phys. Rev. A 65, 055403 (2002).
effects of preprocessing as a function of signal duration (as described in ref.
).
30
 51. Gawlik, W. et al. Nonlinear magneto-optical rotation with amplitude
Such prepocessing effects rely on a Lorentzian-shaped signal and give rise to the
modulated light. Appl. Phys. Lett. 88, 131108 (2006).
characteristic shape shown in Fig. 3. The effective time T is defined as the amount
 52. Allred, J., Lyman, R., Kornack, T. & Romalis, M. V. High-sensitivity atomic
of time for which the network can measure a domain wall with duration Δt and
magnetometer unaffected by spin-exchange relaxation. Phys. Rev. Lett. 89,
′
magnitude
, producing ζ ≥ 1. Monte Carlo simulations analysing segments with
130801 (2002).
inserted domain-wall encounters on the raw data show good agreement with the
 53. Abbott, B. P. et al. GW150914: first results from the search for binary black
sensitivity estimation in equation (6).
hole coalescence with advanced LIGO. Phys. Rev. D 93, 122003 (2016).
Assuming that the domain-wall encounters follow Poisson statistics, a bound
 54. Usman, S. A. et al. The PyCBC search for gravitational waves from compact
on the observable rate of events above ζ
 with 90% confidence is set as
38
max
binary coalescence. Class. Quantum Grav. 33, 215004 (2016).
log
0.1
−
(
)
R
(7)
=
90
%
ϵ T
Δt,
′
(
)
Acknowledgements
We are grateful to C. Pankow, J. R. Smith, J. Read, M. Givon, R. Folman, W. Gawlik, K.
The domain-wall thickness is determined by the ALP mass, and is of the order
Grimm, G. Łukasiewicz, P. Fierlinger, V. Schultze, T. Sander-Thömmes and H. Müller for
of the ALP-reduced Compton wavelength ƛ
 (ref.
):
22
insightful discussions. This work was supported by the U.S. National Science Foundation
under grants PHY-1707875, PHY-1707803, PHY-1912465 and PHY-1806672; the Swiss
√
√
h
¯
Δ x
2 ƛ
(8)
National Science Foundation under grant no. 200021 172686; the German Research
≈
=
m
c
Foundation (DFG) under grant no. 439720477; the German Federal Ministry of
√
Education and Research (BMBF) within the Quantumtechnologien program (FKZ
The constant prefactor of
 is obtained by approximating the spatial profile
13N15064); the European Research Council under the European Union’s Horizon 2020
of the field-gradient magnitude as a Lorentzian and defining the thickness as the
research and innovation programme under grant agreement no. 695405; the Cluster
full-width at half-maximum (FWHM). For a given relative-velocity component
of Excellence PRISMA+; DFG Reinhart Koselleck Project; Simons Foundation; a
perpendicular to the domain wall v
, the signal duration is
⊥
Fundamental Physics Innovation Award from the Gordon and Betty Moore Foundation;
Heising-Simons Foundation; the National Science Centre of Poland within the OPUS
Δ x
−
Δt
m
(9)
=
∝
program (project no. 2015/19/B/ST2/02129); USTC startup funding; the National
v
⊥
Natural Science Foundation of China (grant nos. 62071012 and 61225003); the National
Hi-Tech Research and Development (863) Program of China and IBS-R017-D1-2021-a00
We assume that domain walls comprise the dominant component of dark
of the Republic of Korea. We acknowledge funding provided by the Institute of Physics
matter. Thus, with the energy density ρ
 ≈ 0.4 GeV cm
 in the Milky Way
–3
24
DW
Belgrade through a grant by the Ministry of Education, Science and Technological
the energy per unit area (surface tension) in a domain wall, σ
, determines the
DW
Development of the Republic of Serbia.
average separation between the domain walls, L. The surface tension σ
 is related
DW
to the symmetry-breaking scale
 as
9
Author contributions
8
σ
m
f
(10)
=
All the authors have contributed to the publication, being responsible for the construction
DW
h
¯
and operation of the different magnetometers, building the software infrastructure,
assuring the quality of the data being taken, and establishing phenomenological
The average domain-wall separation is then approximated by
motivation. The data-analysis procedure presented here was led by J.A.S. and H.M.-R.,

---
with collaboration from the other authors. D.F.J.K. coordinated collaboration between
Additional information
the different teams within GNOME. The manuscript was drafted by H.M.-R., J.A.S., A.
Extended data is available for this paper at https://doi.org/10.1038/s41567-021-01393-y.
Wickenbrock and D.F.J.K. It was subject to an internal collaboration-wide review process.
Supplementary information The online version contains supplementary material
All the authors reviewed and approved the final version of the manuscript.
available at https://doi.org/10.1038/s41567-021-01393-y.
Correspondence and requests for materials should be addressed to
Funding
Hector Masia-Roig or Joseph A. Smiga.
Open access funding provided by GSI Helmholtzzentrum für Schwerionenforschung
Peer review information Nature Physics thanks Timothy Chupp and
GmbH.
the other, anonymous, reviewer(s) for their contribution to the peer review
of this work.
Competing interests
The authors declare no competing interests.
Reprints and permissions information is available at www.nature.com/reprints.

---
Extended Data Table 1 |
 Characteristics of the magnetometers active during Science Run 2. The station name, location in longitude
50,51
26
52
and latitude, orientation of the sensitive axis, type of magnetometer (NMOR
, rf-driven
, or SERF
), and probed transition
are listed. The bandwidth indicates the measured -3 dB point of the magnetometers’ frequency response to oscillating magnetic
fields. The calibration error takes into account potential temporal variation of the magnetometers’ calibration over the course of
Science Run 2, and is estimated based on auxiliary measurements. The rightmost column lists the estimated ratio between the
σ
, which depends on the atomic species and
effective proton spin polarization and the Landé g-factor for the magnetometer,
/g
σ
the magnetometry scheme as described in Sec. II of the Supplementary Information. The
 value is used to relate the measured
/g
magnetic field to the signal expected from the interaction of an ALP field with proton spins. The indicated uncertainty describes the
29
range of values from different theoretical calculations

---
Extended Data Fig. 1 |
 The raw magnetometer data are
Summary of the GNOME performance during the four Science Runs from 2017 to 2020.
averaged for 20 s and their standard deviation is calculated over a minimum of one and a maximum of two hours segments depending on the availability
of continuous data segments. For each binned point, the combined network noise considering the worst case domain-wall crossing direction is evaluated
as defined in Ref.
. (a) One-day rolling average of the number of active sensors. (b) Multi-colored solid line represents the one-day rolling average of the
30
combined network noise and the multi-colored dashes show the noise of the individual sampled segments. The data are preprocessed with the same filters
used for the analysis. The number of magnetometers active is indicated by the color of the line and dashes.

---
Extended Data Fig. 2 |
 (a) shows the probability of detecting a domain-wall-crossing event with
Summary of the true-positive analysis results.
randomized parameters (as discussed in the text) as a function of p-value and directional-consistency thresholds. The inserted events have a
magnitude-to-uncertainty ratio between 5 and 10. The black line indicates the combination of parameters corresponding to a 97.5% detection
probability. The white dot indicates the particular thresholds chosen for the analysis. (b) Shows the mean detection probability reached for different
magnitude-to-uncertainty ratios for the chosen thresholds.