Acta Poloniae Pharmaceutica ñ Drug Research, Vol. 74 No. 4 pp. 1049ñ1055, 2017
ISSN 0001-6837
Polish Pharmaceutical Society
 ANALYSIS
THE USE OF THE DSC METHOD IN QUANTIFICATION OF ACTIVE PHARMACEUTICAL IIN- GREDIENTS IN COMMERCIALLY AVAILABLE ONE COMPONENT TABLETS
PRZEMYS£AW TALIK*, BARBARA ØUROMSKA-WITEK, URSZULA HUBICKA and
Department of Inorganic and Analytical Chemistry, Pharmaceutical Faculty, Medical College, Jagiellonian University, 9 Medyczna St., 30-688 KrakÛw, Poland
Abstract: Beside many known applications of the differential scanning calorimetry method in the study of solid phase substances, there is a possibility to use it in quantitative analysis. For this purpose, a relationship between the signal value of analyte (enthalpy change H) and its concentration in the matrix is used. This paper shows how the choice of a matrix (used excipients) and the method of its preparation (as a non-micronized or micronized mixture) affect the final result of such determinations. The problem has been shown by measuring different, commercially available tablets of paracetamol. The calculated results obtained from micronized, respectively, cellulose and starch, mixtures were ranging from 456.83 mg to 491.42 mg and 465.58 mg to
486.68 mg while for non-micronized, physical mixtures were distinctly different, and were ranging, respec- tively, from 433.27 mg to 455.12 mg and 449.04 to 473.36 mg. The DSC method was validated and as a refer- ence, a validated TLC method with densitometric detection was used.
Keywords: differential scanning calorimetry, DSC, calorimetry, paracetamol, acetaminophen
The DSC quantitative studies are usually deal- ing with purity (1, 2) or crystalline and amorphous content of raw materials (3, 4). The first application is using the Vanít Hoff equation that describes low- ering of the melting point of eutectic impurities. Such a solution can be useful, because there are impurities that donít have UV/Vis absorbance, what leads to absence of signal in LC/UV methodologies. The use of DSC technique, solely to determine active pharmaceutical ingredient (API) content in the matrix, is rare. During the literature search only 3 publications were found. Two of them were deal- ing with content of paracetamol (PAR) in pharma- ceutical formulations (5) and suppositories (6). The third described DSC application to acetylsalicylic acid (7). In all cases the authors used relationship between melting enthalpy (H) and concentration of active ingredient H = kA, where k is calorimetric constant, and A is the area under the DSC curve. The calibration curves were constructed from increasing weights of raw PAR (5), acetylsalicylic acid or PAR various concentrations in physical mix- tures with different excipients (7) or suppositories (6). The obtained analytical results were comparable or even better (6) than those, used for reference pur- poses (mainly UV spectrophotometry). The main
advantages of the method were that samples didnít need to exceed 2.5-4.0 mg and the procedure did not require an extraction process. Moreover, it is rapid, sensitive and reproducible. Finally, it was conclud- ed that the DSC could clearly be an alternative method for measuring the content of API in suppos- itories or tablets.
The physical and mechanical properties of tablets, and thus the bioavailability of the drug are a result of pharmaceutical manufacturing process. Correct pharmacological action depends not only on the equipment used, but also on the physical proper- ties of the APIs and excipients. Increasing preva- lence of poorly soluble APIs is the reason of using numerous strategies for enhancing their dissolution rate. Those methods may certainly modify the solid- state interactions between drug and excipients. Reducing the particle size, that causes a loss of the crystalline nature and increases surface area of the drug, could change their stability and/or lead to polymorphic transformation resulting in different behavior of the same drug (8-17).
This research was designed to show the inter- actions that are being able to modify the results of quantitative DSC measurements. Three commercial- ly available tablets with paracetamol, different in
* Corresponding author: e-mail: mftalik@cyf-kr.edu.pl
1049
JAN KRZEK

1050
PRZEMYS£AW TALIK et al.
Sample and model mixtures preparation
Twenty tablets of each medical product under the study were individually weighed and ground in an agate mortar and pestle into fine powder. The mean weights of Paracetamol Aflofarm, Codipar GlaxoSmithKline and Paracetamol Polfa £Ûdü tablets were 550.24 mg (90.87% of PAR), 597.10
mg (83.74% of PAR) and 789.04 mg (63.368% of PAR), respectively.
weight, type of excipients and composition, were determined by DSC method. For this purpose five calibration curves plotted from four different mix- tures containing micronized and non-micronized starch (Starch 1500) and cellulose (Vivapur 12) with an increasing amounts of PAR were used. The micronization process was applied to modify the crystalline nature of binary mixtures under study. Described phenomenon concerning PAR and micro- crystalline cellulose, both in physical and grinded mixtures, was previously reported (18). The fifth calibration curve was prepared with pure raw PAR. Appropriate calibration curves were further applied to calculate the final experimental contents of PAR (ODSC) in the tablets and were compared with those declared (D) by the manufacturer using equation A(%) = [(ODSC-D)/D]◊100.
Whereas a purity, melting heat (H), and tem-
Differential scanning calorimetry
The set of PAR mixtures with starch or micro- crystalline cellulose (1000 mg each) at concentra- tions of PAR from 30% to 90% (corresponding to 1.47-4.41 mg of PAR in the sample) were prepared separately, gently homogenized and divided. One part (500 mg) was ready for further experiments; the other was micronized in an agate mortar and pestle with some drops of methanol for 10 min.
The samples of about 4.9 mg, both of tablets and mixtures, were accurately weighed in aluminum pans and sealed.
perature for the onset
(Tonset)
of melting undergo
small variations when the sample mass is changed (19, 20) the research was carried out using compara- ble weights of samples (about 4.9 mg).
The DSC method was validated according to ICH QR1 guidelines (21) and compared with the results previously obtained from validated quantita- tive reference method of thin layer chromatography coupled with densitometric detection.
Thin layer chromatography
The tablet powder portions equivalent to 26 mg of PAR was accurately weighed and transferred into 50.0 mL volumetric flask. About 25.0 mL of ethanol-water (1 : 1 v/v) was added and the mixture was sonicated for 15 min. Then, the mixture was diluted to volume with the same solvent and mixed well to obtain sample stock solution of 0.52 mg/mL. For the determination of PAR in tablets, the stock solution was diluted to final con- centration 0.026 mg/mL. The standard solution of PAR at concentration of 0.026 mg/mL was also prepared.
EXPERIMENTAL
Materials
Paracetamol powder ñ pure polymorphic form
I with estimated melting temperature at
Tonset
=
169.4OC (Lot: 6135999 B163) was supplied by POL.NIL Warsaw, Poland. The microcrystalline cellulose Vivapur 12 was obtained from J. Rettenmaier & Sohne, Weissenborn Germany (Lot: 5601290308) and the corn starch Starch 1500 was from Colcorcon Ltd. UK (Lot: 500075).
Paracetamol is a low potency, high dose drug, so its concentration in tablets is usually far above 50%. The following tablets containing 500 mg of PAR per tablet were used: Codipar manufactured by GlaxoSmithKline, Poland (Lot: RG0159), com- posed of microcrystalline cellulose, starch, polyvinylpyrrolidone K-30, talc, magnesium stearate, anhydrous colloidal silica, sodium starch glycolate; Paracetamol manufactured by Aflofarm, Poland (Lot: 01AF0211), composed of starch, polyvinylpyrrolidone, crospovidone, stearic acid; paracetamol manufactured by Polfa-£Ûdü, Poland (Lot: 010911), composed of sorbitol (170 mg), pota- to starch, povidone, magnesium stearate. All drugs are commercially available.
Analysis of paracetamol
Differential scanning calorimetry
The DSC measurements were performed in nitrogen atmosphere with a flow rate of 50 mL/min using EXSTAR DSC 7020 apparatus (SII NanoTechnology Inc.) equipped with DSC7020 electric cooling unit. The calibration was done with indium and tin standards.
The sealed pans were equilibrated at 30OC for 15 min and thereafter the melting behavior was analyzed at heating rate of 10OC/min. The pure raw PAR was investigated in increasing sample weights 1, 2, 3, 4, 5 and 6 mg with the same procedure. All measurements were performed at least three times and averaged. The tablets were examined at least six times.
Thin layer chromatography and densitometry
Chromatography was performed on 10 cm ◊ 12 cm aluminum (cut from 20 ◊ 20 cm) TLC plates

1051
The use of the DSC method in quantification of active pharmaceutical ingredients...
coated with silica gel 60F254 (Merck, Germany) lay- ers.
Aliquots of 10 µL of standard and sample solu- tions were applied as bands 8 mm wide, 8 mm apart and 10 mm from the bottom and the edge of the plate by use of the Linomat V (CAMAG, Switzerland) sample applicator.
Linear ascending development with 10 mL of chloroformñtolueneñacetoneñethanolñdiethylamine (4 : 1 : 3 : 1 : 1, v/v/v/v/v) as mobile phase was per- formed in a previously saturated chromatographic chamber (18 ◊ 9 ◊ 18 cm in size, Sigma-Aldrich, USA). The optimum saturation time was found to be
10 min. The development distance was approxi- mately 115 mm. After development, the plates were dried at room temperature for 30 min. Densitometric scanning was performed with a CAMAG TLC Scanner 3 with winCATS 1.3.4 software in absorbance/reflectance mode at 235 nm. The slit dimensions were 6 ◊ 0.4 mm and the scanning speed was 20 mm/s. The obtained value of retardation fac- tor for PAR was found to be 0.61. For identification, absorption spectra within the range 200ñ400 nm were recorded.
The content of PAR in pharmaceutical prepa- rations was computed by comparing the peak areas for standard and tested solutions.
1500 (II) compared to the corresponding curves of non-micronized mixtures at the same drug content in the sample. We cut all the DSC curves up to 120OC to make them more transparent. The depression of melting points towards lower temperatures is typical for binary mixtures when the concentration of one component is decreasing. However, one can see the differences in the peaks surface areas. For the same content of PAR in the sample the non-micronized mixtures show higher values of enthalpy than their micronized analogues.
The obtained H enthalpies of all examined mixtures are presented in Table 1. The broadest dif- ferences are related to PAR/microcrystalline cellu- lose mixtures, and range from -22.05 mJ/mg to
104.37 mJ/mg. Smaller effects recur in PAR/starch mixtures, where the differences are in the range of
5.88 mJ/mg to 49.25 mJ/mg.
In order to plot appropriate calibration curves, the obtained H enthalpies of micronized as well as non-micronized mixtures as a function of the increasing weights of PAR in a constant sample weight (about 4.9 mg) were used. The calibration curve of increasing weights of pure raw PAR (not featured) was plotted for comparison purposes.
Validation of DSC method
Validation of the developed method proved that it meets the acceptance criteria in the scope of specificity, sensitivity, linearity, precision, and accuracy. The validation data were summarized in Table 2.
The developed method was specific to studied components. No new chemical individuals or incompatibilities were found (see Fig. 1), but only
RESULTS AND DISCUSSION
Evaluation of differences between
micronized
and non-micronized mixtures under study
Figure 1 shows the selected DSC curves of
model micronized PAR mixtures both with micro- crystalline cellulose Vivapur 12 (I) and starch Starch
Figure 1. Selected DSC curves of the different contents of PAR in (I) PAR/cellulose and (II) PAR/starch mixtures; continuous line: model micronized mixtures, dotted line: non-micronized mixtures; A, B, C ñ content of PAR in the sample

1052
PRZEMYS£AW TALIK et al.
small depressions of melting points towards lower temperatures which were explained above.
The linearity of calibration curves were studied on the working range of 1.47ñ4.41 mg for all mix- tures under study and 1-6 mg for pure raw PAR. The linear relationships coefficients between peak areas and concentrations were calculated as (r) = 0.9974 and (r2) ranging from 0.9948 to 0.9980. For calibra- tion curve plotted from increasing weights of pure raw PAR (r) and (r2) were both over 0.99. All obtained intercepts were not statistically significant.
Sensitivity of the method was high. The LODs and LOQs (calculated from the calibration curve slope (a) and the slope standard estimation error (Se), using formulas LOD = 3.3 ◊ Se/a and LOQ = 10
◊ Se/a) evaluated for micronized mixtures both of
cellulose and starch were 0.28 mg, 0.27 mg and 0.84 mg, 0.81 mg, respectively, while for physical mix- tures were 0.18 mg, 0.17 mg and 0.56 mg, 0.52 mg. The limits values calculated for raw PAR were 0.32 and 0.97 mg, respectively.
Table 1. Effects of mixture composition on the area of melting peak H (averaged from three determinations).
*H was recalculated to the content of PAR in the sample
Table 2. Validation of the DSC method.
Sa - standard deviation of slope; Sb - standard deviation of intercept
Validation parameters
Micronized mixtures
Non micronized mixtures

raw PAR
PAR/cellul.
PAR/starch
PAR/cellul.
PAR/starch
Specificity
specific
specific
specific
specific
specific
Slope (a ± Sa)
222.6 ± 7.2
190.7 ± 6.0
193.3 ± 4.2
181.3 ± 3.7
178.34 ± 4.11
Intercept (b ± Sb)
-175.8 ± 22.3
-70.0 ± 18.5
-28.7 ± 12.9
-9.52 ± 11.4
8.69 ± 16.02
r
0.9974
0.9976
0.9988
0.9990
0.9989
r2
0.9948
0.9951
0.9977
0.9980
0.9979
LOD [mg]
0.28
0.27
0.18
0.17
0.32
LOQ [mg]
0.84
0.81
0.56
0.52
0.97
Linearity [mg]
0.84 ñ 4.41
0.81 ñ 4.41
0.56 ñ 4.41
0.52 ñ 4.41
0.97 ñ 6.00
Precision (n=6)
%RSD
1.76
1.84
1.85
1.99
2.87
Recovery (n=6)
%RSD
1.86
1.90
1.94
1.95
2.16

Composition of the mixture

Content of PAR in the sample [mg]
H of PAR* [mJ/mg]
Differences between non micronized and micronized mixtures [mJ/mg]
Micronized mixtures
Non micronized mixtures

PAR/cellulose

1.47
156.31
260.68
104.37
1.96
276.36
343.65
67.29
2.45
356.48
436.92
80.44
2.94
472.36
537.04
64.68
3.43
579.67
649.41
69.74
3.92
676.20
736.96
60.76
4.41
833.49
811.44
22.05

PAR/starch

1.47
207.27
256.52
49.25
1.96
307.72
352.80
45.08
2.45
414.87
428.75
13.88
2.94
473.34
514.50
41.16
3.43
581.96
625.98
44.02
3.92
661.17
691.88
30.71
4.41
787.92
793.80
5.88

1053
The use of the DSC method in quantification of active pharmaceutical ingredients...
Table 3. PAR contents of the analgesics under study by means of DSC method based on calibration curves obtained from the different mix- tures of PAR/cellulose and PAR/starch or increasing weights of raw PAR (n = 6); D = 500 mg per tablet.
The method have a good precision, which was determined for one concentration level of 2.94 mg of PAR in the sample. The results were expressed as the relative standard deviation (%RSD). Estimated
%RSD values for micronized mixtures did not exceeded 1.84 while for non-micronized mixtures
1.99. The precision of pure raw PAR calibration curve was 2.87%.
Basing upon PAR contents (ODSC) obtained experimentally and reference TLC (OTLC) values the mean recovery (%R) were calculated using formula
%R = ODSC∑100% / OTLC. The %R values obtained both for micronized and non-micronized mixtures of PAR/cellulose and PAR/starch were excellent and ranged from 1.86 to 1.95. The recovery calculated for calibration curve of raw PAR (2.16) was slightly
tion between UV spectra acquired from the standard and the pharmaceutical preparations indicated that PAR spot was free of any interference that might be present in the analysis. Resolution of the peaks appearing on the chromatograms was 5.24. The chromatographic method with densitometry detec- tion has high sensitivity (LOD = 104 ng/band, LOQ
= 156 ng/band), good precision and intermediate precision (%RSD are 1.50 and 1.82, respectively). Recovery of tested substances was 98.95 %. Linearity range was 0.1040 µg per band to 0.8840 µg per band. The correlation coefficient (r) and deter- mination coefficient (r2) obtained for significance level 0.05 and n = 8 were close to 0.99 that proved a highly significant linear correlation. Residuals of the regression line were distributed at random around the zero line, without any trend.
The results of PAR determination in tablets by means of TLC are comparable to contents declared by manufacturer, regardless of their composition and manufacturing methods (Table 3).
higher than the one from non-micronized mixtures.
micronized
and
Validation of TLC method
To confirm analytical data obtained from DSC studies the PAR was also determined in the same drugs using thin layer chromatography (TLC). The developed, especially for this purpose, method was specific against studied components. Good correla-
Determination of PAR in tablets by DSC
The validated methods described above were applied to quantitative determination of PAR in the

Analgesic

PAR content
A(%)
[(ODSC-D)/D]x10

OTLC ± SD
[mg/tablet]

(ODSC) ± SD [mg/tablet]
Micronized mixtures
PAR/cellul.
PAR/starch
PAR/cellul.
PAR/starch
Paracetamol Aflofarm
469.46 ± 5.94
486.68 ± 6.95
-6.11
-2.66
482.80 ± 2.70
Codipar GlaxoSmithKline
456.83 ± 2.25
465.58 ± 2.62
-8.63
-6.88
493.80 ± 1.60
Paracetamol Polfa £Ûdü
491.42 ± 2.15
484.42 ± 2.51
-1.72
-3.12
503.80 ± 2.10

Non micronized mixtures

Paracetamol Aflofarm
455.12 ± 6.84
473.36 ± 7.30
-8.98
-5.33
482.80 ± 2.70
Codipar GlaxoSmithKline
433.27 ± 2.59
449.04 ± 2.76
-13.35
-10.20
493.80 ± 1.60
Paracetamol Polfa £Ûdü
443.55 ± 2.47
455.91 ± 2.64
-11.29
-8.82
503.80 ± 2.10

Pure raw PAR

Paracetamol Aflofarm
464.14 ± 7.01
-7.17
482.80 ± 2.70
Codipar GlaxoSmithKline
445.44 ± 9.33
-10.91
493.80 ± 1.60
Paracetamol Polfa £Ûdü
446.35 ± 15.48
-10.73
503.80 ± 2.10

1054
PRZEMYS£AW TALIK et al.
commercially available drugs. The PAR contents obtained experimentally ODSC compared to the value declared by the manufacturer D = 500 mg and the results calculated from the reference TLC method are reported in Table 3.
When analyzing Table 3, it can be seen that the differences between contents of PAR in tablets under study were significant and were results of used calibration curves. The A(%) values in the group of model micronized mixtures were evidently smaller (from -1.72% to -8.63%) than those calcu- lated for non-micronized mixtures (from -5.33% to
-13.35). The same behavior was found for PAR/starch both of micronized and non-micronized mixtures. The calculated PAR contents were gener- ally higher than those calculated from their cellulose counterparts and were ranging from -3.12 to -6.88 and -5.33 to -10.20, respectively. The only excep- tion were Polfa £Ûdü tablets where PAR content calculated for cellulose micronized mixtures was
-1.72 vs. -3.12 obtained for micronized starch mix- tures.
It may seem logical that the best results should be obtained when excipients used for the preparation of calibration curve are the same as in measured tablets. In fact, the PAR content measured for Paracetamol Aflofarm, where starch is the main excipient, is much closer to that declared by the manufacturer, when the PAR/starch micronized mixture is used (A(%) = -2.66). The same content but obtained for PAR/cellulose micronized mixture was almost doubled (A(%) = -6.11). Similar rela- tionships were obtained for non-micronized mix- tures. However, this does not happen in all cases. The main excipient forming the Codipar GlaxoSmithKline tablets is cellulose. The PAR con- tents calculated from PAR/starch calibration curves were clearly higher comparing to those obtained from PAR/cellulose both micronized and non-micronized mixtures: -6.88, -8.63 and -10.20,
-13.35, respectively.
The Paracetamol Polfa £Ûdü is an example where neither cellulose nor starch but sorbitol were chosen. Comparing the PAR content obtained from micronized and non-micronized mixtures one can find significant differences between them. In our opinion the reason is the presence of multiple hydroxyl groups coming from sorbitol and increased ability to form hydrogen bonds between components under micronization process.
The last part of the Table 3 incorporates the quantitative results calculated using a calibration curve plotted from the increasing weights of pure raw PAR (from 1 mg to 6 mg). The idea was to show
how the sample mass alter such measurements. In the course of the studies it was found that the mean value of H enthalpy of 1 mg sample was 189.5 mJ/mg, while for 6 mg sample (recalculated to 1 mg) 176.5 mJ/mg. In this case the A(%) values were in the range from -7.17 to -10.91.
CONCLUSIONS
Differential scanning calorimetry is the first line technique indispensable for industrial quality control laboratories and, next to many routine appli- cations, could be used in quantitative assays. However, there are several limitations concerning interactions between APIs and coexisting excipi- ents. In the course of the studies it was shown that composition of the mixtures, the way of their prepa- ration and the weights of samples alter the final results of such measurements. When using the DSC method, in 5 different ways (methodologies ñ cali- bration curves), 5 different contents of PAR for each pharmaceutical product were obtained. It was also shown that there is no apparent direction of the observed differences. The A(%) values, calculated using equation A(%) = [(ODSC-D)/D]◊100, obtained from micronized, respectively, cellulose and starch mixtures were ranging from -1.72 to -8.63 and -2.66 to -6.88 while for non-micronized mixtures were distinctly higher and were ranging, respectively, from -8.98 to -13.35 and -5.33 to -10.20. For this reason, using the DSC method in quantification of APIs in commercially available, one component tablets should be assessed individually and in each case requires appropriate empirical preliminary studies.
Acknowledgments
Authors would like to dedicate this article to Professor Jan Krzek, our always remembered advis- er, mentor and teacher.
REFERENCES
1.
Todeschini V., Oliveira P.R., Bernardi L.S., Pereira R.L., Campos C.E.M. et al.: J. Therm. Anal. Calorim. 115, 2295 (2014).
Kestens V., Roebben G., Linsinger T.: J. Therm. Anal. Calorim. 15, 269 (2010).
Bruni G., Berbenni V., Sartor F., Milanese C., Girella A. et al.: J. Therm. Anal. Calorim. 108, 235 (2012).
Lappalainen M., Karppinen M.: J. Therm. Anal. Calorim. 102, 171 (2010).
2.
3.
4.

1055
The use of the DSC method in quantification of active pharmaceutical ingredients...
5.
Campanella L., Magri A., Tomassetti M., Rossi V., Vecchio S.: Drug. Dev. Ind. Pharm. 33, 830 (2007).
Noordin M.I., Chung L.Y.: Drug. Dev. Ind. Pharm. 30, 925 (2004).
Campanella L., Micieli V., Tomassetti M., Vecchio S.: J. Therm. Anal. Calorim. 102, 249 (2010).
Bernardi L., Oliveira P., Murakami F., Silva M., Borgmann S., Cardoso S.: J. Therm. Anal. Calorim. 97, 729 (2009).
Salameh A.K., Taylor L.S.: J. Pharm. Sci. 95, 446 (2006).
Garg A., Singh S., Rao V.U., Bindu K., Balasubramaniam J.: Drug Dev. Ind. Pharm. 35, 455 (2009).
Zerrouk N., Mennini N., Maestrelli F., Chemtob C., Mura P.: Eur. J. Pharm. Biopharm. 57, 93 (2004).
Tian F., Sandler N., Aaltonen J., Lang C., Saville D. et al .: J. Pharm. Sci. 96, 584 (2007). Airaksinen S., Karjalainen M., Kivikero N., Westermarck S., Shevchenko A. et al.: AAPS PharmSciTech. 6, 311 (2005).
14.
Yam N., Li X., Jasti B.R.: Int. J. Pharm. 411, 86 (2011).
Monajjemzadeh F., Hassanzadeh D., Valizadeh H., Siahi-Shadbad M.R., Mojarrad J.S. et al.: Eur. J. Pharm. Biopharm. 73, 404 (2009).
Nokhodchi A., Bolourtchian N., Dinarvand R.:
J. Crystal Growth 274, 573 (2005).
Mazurek-Wπdo≥kowska E., Winnicka K., Czajkowska-Koúnik A., Czyøewska U., Miltyk W.: Acta Pol. Pharm. 70, 787 (2013).
Lin S.Y., Lee C.S.: J. Incl. Phenom. Macro. 7, 477 (1989).
Saunders M.: in Thermal Analysis of Pharma- ceuticals, Gabbott P. Ed., p. 289, Blackwell Publishing Ltd., Oxford 2008.
Ara˙jo A.A.S., Bezerra M.S., Storpirtis S., Matos J.R.: Braz. J. Pharm. Sci. 46, 37 (2010).
15.
6.
7.
16.
17.
8.
18.
9.
19.
10.
20.
11.
21.
ICHQ2(R1)
Validation
of
Analytical
Procedures: Text and Methodology, 2005.
12.
Received: 20. 07. 2016
13.