Acta Poloniae Pharmaceutica ñ Drug Research, Vol. 73 No. 5 pp. 1111ñ1121, 2016
ISSN 0001-6837
Polish Pharmaceutical Society
 ANALYSIS
QUANTIFICATION AND PHARMACOKINETICS OF 1-METHYLPYRIDINIUM AND 1,4-DIMETHYLPYRIDINIUM IN RATS BY LIQUID CHROMATOGRAPHY TANDEM MASS SPECTROMETRY.
TISSUE DISTRIBUTION OF 1,4-DIMETHYLPYRIDINIUM IN RATS
AGNIESZKA ZAKRZEWSKA1, MA£GORZATA SZAFARZ1,2, KAMIL KUå1,2, AGNIESZKA KIJ1,3, ANNA GONCIARZ1,2, and MARIA WALCZAK1,3*
1Jagiellonian Centre for Experimental Therapeutics (JCET), Jagiellonian University, BobrzyÒskiego 14, 30-348 KrakÛw, Poland
2Department of Pharmacokinetics and Physical Pharmacy, 3Department of Toxicology, Faculty of Pharmacy, Jagiellonian University Medical College, Medyczna 9, 30-688 KrakÛw, Poland
Abstract: A sensitive and specific liquid chromatography tandem mass spectrometry method for quantification of 1-methylpyridinium (1-MP) and 1,4-dimethylpyridinium (1,4-DMP) in rat plasma and tissues homogenates was developed. Chromatographic separation was performed on an Aquasil C18 analytical column with an iso- cratic elution of acetonitrile and water, both with an addition of formic acid (0.1%, v/v). Detection was achieved by triple quadrupole mass spectrometer TSQ Quantum Ultra equipped with a heated electrospray ionization source (HESI). The limit of quantification for both compounds was 0.05 µg/mL in plasma and 0.25 µg/g in stud- ied tissues. The method was applied to pharmacokinetics and bioavailability of both 1-MP and 1,4-DMP with tissue distribution of 1,4-DMP in rats. Pharmacokinetic studies of 1-MP and 1,4-DMP were carried out fol- lowing their intravenous or intragastric administration to male Wistar rats at the dose of 100 mg/kg. The ter- minal half-lives of 1-MP and 1,4-DMP after their intravenous administration were 55.3 and 70.8 min, respec- tively. The absolute bioavailability was 51 and 31% for 1-MP and 1,4-DMP, respectively.
Keywords: LC/MS/MS, method validation, derivatives of pyridinium compounds, pharmacokinetics
Trigonelline, a component of green coffee beans (about 1%) is a product of thermal decom- position, formed during the coffee roasting process. Evaluated compounds: 1-methylpyridini- um (1-MP) and 1,4-dimethylpyridinium (1,4- DMP) are the degradation products of trigonelline and for many years they have been a subject of increased interest because of theirs potential hepatoprotective, vasoprotective and antioxidant activity (1-5). Furthermore, some pyridinium salts are known from cytotoxic activity against tumor cells and this effect is probably related to their redox properties (6, 7).
To characterize properties of 1-MP and 1,4- DMP, the structure and surface activity of these compounds were investigated using surface- enhanced Raman spectroscopy (SERS) (8). Recently, liquid chromatographyñmass spectrome-
try method was developed to determine the concen- tration of 1,4-DMP in rat plasma (9), and this tech- nique was also used for food-derived bioactive pyridines quantification, among them 1-MP and their metabolites in human plasma and urine. The method was applied to monitor the plasma appear- ance and the urinary excretion, and to calculate the pharmacokinetic parameters of the studied com- pounds (10, 11). To our knowledge there is no described method for simultaneous determination of 1-MP and 1,4-DMP in complex biological samples, like e.g., tissue homogenates.
The aim of this study was to develop and vali- date a selective and sensitive bioanalytical LC/MS/MS method for simultaneous quantification of 1-MP and 1,4-DMP in rat plasma and tissue homogenates according to EMA requirements, and finally to assess the pharmacokinetics and bioavail-
* Corresponding author: e-mail: maria.walczak@jcet.eu: phone: +48 12 6645481; fax: +48 12 2974615
1111

1112
AGNIESZKA ZAKRZEWSKA et al.
ability of 1-MP and 1,4-DMP considering tissue dis- tribution of 1,4-DMP.
temperature was set at 10OC and the injection vol- ume was 10 L. The eluent from the HPLC before being directed into the heated electrospray ioniza- tion (HESI) probe was split in the proportion of 1 to 2 (1 part to the mass spectrometer and 2 parts to waste). The whole HPLC analysis lasted 10 min.
EXPERIMENTAL
Reagents
The 1-methylpyridinium (1-MP) chloride, 1,4- dimethylpyridinium (1,4-DMP) chloride and their stable isotope labeled internal standards: 1-d3- methylpyridinium 1-MP-d3) chloride and 1-d3- methyl-4-methylpyridinium (1,4-DMP-d3) chloride were provided by dr. J. Adamus from the Institute of Applied Radiation Chemistry, Technical University (Poland). HPLC grade acetonitrile was purchased from J.T. Baker (Germany) and formic acid from Fluka (Germany). Sodium phosphate dibasic, potas- sium dihydrogen phosphate and sodium chloride were purchased from Sigma-Aldrich (USA). Deionized water was obtained from Millipore sys- tem (Direct-Q 3UV, Millipore) and used in all aque- ous solutions.
Mass spectrometric conditions
Mass spectrometric detection was performed on TSQ Quantum Ultra triple quadrupole mass spec- trometer (Thermo Scientific, USA) equipped with a HESI II probe operating in the positive ion mode. Quantification was done using selected reaction monitoring (SRM) mode to monitor precursor  product ion transitions of m/z 94  79 for 1-MP, m/z 97  79 for 1-MP-d3, m/z 108  93 for 1,4- DMP and m/z 111  93 for 1,4-DMP-d3. Data acquisition and processing were accomplished using Xcalibur 2.1 software (Thermo Scientific, USA).
The ion source parameters for all analytes were as follows: ion spray voltage 4000 V, vaporizer temperature 250OC, sheath gas and auxiliary gas (nitrogen) pressure 30 and 10 arbitrary units, respec- tively, and capillary temperature 350OC. Argon pres- sure in the collision cell was 1.5 mTorr. Collision energy was set at 23 V for 1-MP, 22 V for 1-MP-d3 and 30 V for 1,4-DMP and 1,4-DMP-d3.
Samples
Plasma and tissues were obtained from adult eight-weeks old male Wistar rats (180-220 g) (Charles River Laboratory, Germany). Rats were injected intraperitoneally with thiopental (60 mg/kg) and blood was collected into heparinized vials after decapitation. The plasma samples were separated by centrifugation (900 ◊ g, 15 min) and stored at -20OC until used. The tissues: liver, lungs, heart, brain, small intestine and kidney were collected, rinsed with phosphate buffer saline solution (PBS, pH = 7.4) and stored at -80OC until used. A piece of thawed tissue was weighted (approximately 100 mg) and homogenized by an UltraTurraxÆ T10 basic homogenizer (IKA, Germany) in 500 µL of PBS solution (ratio 1 : 5, w/v). The tissue homogenates were prepared directly before the analysis.
Preparation of standard solutions
Stock solutions (1 mg/mL) of 1-MP chloride, 1,4-DMP chloride and its deutered analogs: 1-MP-d3 chloride and 1,4-DMP-d3 chloride were individually prepared in ultrapure water. The combined standard solution of 1-MP and 1,4-DMP was prepared by mixing and diluting the appropriate amounts from individual stock solutions. The final concentration of the working standard solutions was 50, 40, 35, 30,
25, 20, 10, 5, 1.5, 1 and 0.5 g/mL. Internal standard (IS) solution consisted of 1-MP-d3 and 1,4-DMP-d3 at a concentration of 25 g/mL. IS solution was pre- pared by mixing and diluting the appropriate
amounts from individual stock solutions. All stock and working solutions were stored at 4OC until used.
Liquid chromatography conditions
The liquid chromatography system UltiMate 3000 (Dionex, USA) consisted of a pump (DGP 3600RS), a column compartment (TCC 3000RS), an autosampler (WPS-3000TRS) and SRD-3600 sol- vent rack (degasser) was used. Chromatographic separation was carried out on an Aquasil C18 ana- lytical column (4.6 ◊ 150 mm, 5 µm, Thermo Scientific, USA) with the oven temperature set at 30OC. Acetonitrile (A) and water (B), both with a 0.1% (v/v) of formic acid addition were used as mobile phases. Separation of analytes and IS was performed under isocratic condition (A : B; 40 : 60, v/v) at a flow rate of 0.8 mL/min. The autosampler
Preparation of calibration and quality control samples
Calibration standards (CC) and quality control samples (QC) were prepared by spiking 10 µL of the appropriate working mixed solution of 1-MP and 1,4-DMP chlorides into 90 µL of blank tissue homogenate or plasma. The concentration of CC points were equivalent to 5, 4, 3, 2, 1, 0.5, 0.1 and
0.05 µg/mL in plasma, and 25, 20, 15, 10, 5, 2.5, 0.5,
0.25 µg/g tissue in tissue samples. Concentration of

1113
Quantification and pharmacokinetics of 1-methylpyridinium and 1,4-dimethylpyridinium...
QC samples were as follows: limit of quantification (LOQ) at 0.05 µg/mL, low QC (LQC) at 0.15
µg/mL, medium QC (MQC) at 2.5 ng/mL and high QC (HQC) at 3.5 ng/mL in plasma samples, and LOQ at 0.25 µg/g, LQC at 0.75 µg/g, MQC at 12.5
µg/g and HQC at 17.5 µg/g in tissue samples, for both analyzed compounds.
Within day precision and accuracy were exe- cuted by repeated analysis (n = 5) of the samples at different QC levels on the same day. Between days precision and accuracy were determined by repeated analysis on the following day. The concentration of each QC sample was determined using the calibra- tion curve prepared and analyzed on the same day.
Samples preparation
All analyzed samples were prepared by the way of deproteinization with acetonitrile (12). A 100 L aliquot of rat plasma or homogenized tissues was pipetted out into a polypropylene tube and spiked with 10 L of the working IS solution (25
g/mL). Then, the samples were briefly mixed and
200 L of acidified acetonitrile (0.1%, v/v) was added. The mixture was again shaken, next, the sam- ples were refrigerated at 4OC for 20 min, and after- wards centrifuged at 16600 ◊ g for 15 min at 10OC. The supernatant (100 L) was transferred into new tubes and evaporated to dryness at 37OC under a gentle stream of nitrogen gas in a TurboVap evapo- rator (Caliper Life Sciences, USA). The dry residue was reconstituted with 100 L of the acetonitrile/water (50/50, v/v) mixture, and an aliquot of 10 L was injected into the LC/MS/MS system.
Matrix effect and extraction recovery
The relative matrix effect was estimated according to Matuszewski (14, 15) by assessing the variability of standard line slopes expressed as a coefficient of variation, RSD (%). The precision val- ues of standard slope lines should not exceed 4% for the method to be considered reliable, and free from the relative matrix effect. For evaluation of the rela- tive matrix effect, five different sources of rat matri- ces were used.
Extraction recoveries of 1-MP and 1,4-DMP from plasma were determined at LQC and HQC. They were calculated by comparing the mean peak areas obtained for deproteinized QC samples with those of blank extracts with standards added at appropriate concentration which represented the 100% recovery value.
Stability studies
Long-term, short-term, freeze and thaw stabili- ty tests were performed for plasma samples. The samples for long-term and short-term stability tests were kept at -20OC for the period of 4 months, and at the room temperature for a period that exceeded the routine sample preparation time (about 5 h), respec- tively. Post preparation stability test was carried out for all analyzed matrices; samples were stored in autosampler at 10OC for 24 h. A stability study was evaluated using two concentration levels (LQC and HQC). All stability samples were quantified using fresh calibration curve and compared to the nominal concentration in the sample. Samples were consid- ered to be stable if 85-115% of the initial concentra- tion was found.
Method validation
Method validation was carried out on blank matrices: plasma and brain, liver, heart, kidney, lungs, and small intestine homogenates spiked with an appropriate amounts of 1-MP, 1,4-DMP and their IS following the criteria of bioanalytical method val- idation (13).
Selectivity/Specificity
The specificity of the method was evaluated by analyzing blank matrices from six different rats. Each blank sample was tested for interferences using the proposed clean up procedure and chro- matographic/mass spectrometric conditions.
Accuracy and precision
Precision was calculated in the terms of RSD (%) by analyzing QC samples at four concentration levels of 1-MP and 1,4-DMP (0.05, 0.15, 2.5 and 3.5
µg/mL in plasma, and 0.25, 0.75, 12.5, 17.5 µg/g in the tissues). Accuracy was evaluated as [mean found concentration / theoretical concentration] ◊ 100. The criteria for acceptability of the data included accura- cy within ± 15% deviation from the nominal values, and precision within 15% RSD except for LOQ, where it should not exceed ± 20%.
Pharmacokinetic study in rats
Using the new LC/HESI-MS/MS method, pilot pharmacokinetic studies of 1-MP and 1,4-DMP were carried out following their intravenous or intra- gastric administration to male eight-weeks old Wistar rats (180-200 g). Rats were kept under con- ditions of constant temperature (21-25OC), and rela- tive humidity of approximately 40-65% with a stan- dard light/dark cycles. Animals were housed in stainless steel cages with suspended wire-mesh floors (maximum of 5 rats per cage). They were fast-

1114
AGNIESZKA ZAKRZEWSKA et al.
ed overnight and then weighted. Rats had free access to water throughout the experimental period. Studied compounds: 1-MP and 1,4-DMP, dissolved in 0.9% sterile isotonic saline, at the dose of 100 mg/kg body weight were administered intravenous- ly or intragastrically. Rats were anesthetized via i.p.
administration of thiopental (60 mg/kg) and sacri- ficed at the following time intervals: 5, 30, 60, 120 and 240 min after 1-MP or 1,4-DMP intravenous administration, and 10, 30, 60, 120 and 240 min after intragastric dosing. Three rats were sampled at every time point. Blood samples were collected into
Figure 1. Fragmentation mass spectra of 1-MP (A) and 1,4-DMP (B), collision energy 30 V
Figure 2. Extracted ion chromatograms of 1-MP (A), 1-MP-d3 (B), 1,4-DMP (C) and 1,4-DMP-d3 (D) in rat plasma (LLOQ sample)

1115
Quantification and pharmacokinetics of 1-methylpyridinium and 1,4-dimethylpyridinium...
constant (z) was calculated by linear regression of time versus log concentration. Next, the area under the mean serum and tissue compound concentration versus time curve extrapolated to infinity (AUC0) was estimated using the log-linear trapezoidal rule (equation 1), where Cn is the concentration of last sampling of each compound.
microfuge tubes. Plasma and selected tissues (liver, lungs, heart, intestine, brain and kidneys) were stored at ñ20OC and ñ80OC until used, respectively.
Pharmacokinetic parameters were calculated by a non-compartmental approach from the average concentration values, using Phoenix WinNonlin software (Certara, USA). First order elimination rate
Table 1. Relative matrix effect for 1-MP and 1,4-DMP.
Matrix
Lots
1-MP
1,4-DMP
Slope
R2
SD [%]
Slope
R2
SD [%]

Plasma

1
2
3
4
5
0.000350
1.0000

3.5

0.000351
0.9999

2.6

0.000318
0.9973
0.000341
1.0000
0.000330
0.9998
0.000357
0.9995
0.000335
0.9971
0.000349
0.9998
0.000329
0.9992
0.000366
0.9990

Liver

1
2
3
4
5
0.000407
0.9911

4.1

0.000461
0.9993

2.2

0.000366
0.9981
0.000435
0.9989
0.000393
0.9999
0.000451
0.9997
0.000401
0.9941
0.000449
0.9997
0.000397
0.9967
0.000442
0.9979

Heart

1
2
3
4
5
0.000464
0.9977

3.4

0.000449
0.9990

4.0

0.000474
0.9997
0.000423
0.9979
0.000472
0.9998
0.000425
0.9988
0.000474
0.9980
0.000411
1.0000
0.000506
0.9991
0.000404
0.9978

Lungs

1
2
3
4
5
0.000605
0.9999

3.3

0.000481
0.9975

2.3

0.000656
0.9998
0.000507
0.9996
0.000620
0.9961
0.000497
0.9981
0.000647
0.9988
0.000505
0.9988
0.000639
0.9981
0.000511
0.9979

Kidney

1
2
3
4
5
0.000572
0.9959

2.1

0.000484
0.9985

2.1

0.000576
0.9996
0.000462
0.9999
0.000591
0.9994
0.000476
0.9985
0.000558
0.9993
0.000462
0.9998
0.000568
0.9997
0.000465
0.9996

Brain

1
2
3
4
5
0.000581
0.9971

3.7

0.000502
0.9993

3.7

0.000569
1.0000
0.000486
0.9989
0.000550
0.9984
0.000487
0.9994
0.000605
0.9966
0.000530
0.9967
0.000560
0.9996
0.000491
0.9992

Intestine

1
2
3
4
5
0.000285
0.9989

3.6

0.000285
0.9972

3.6

0.000288
1.0000
0.000288
0.9976
0.000306
0.9997
0.000306
0.9996
0.000278
0.9991
0.000278
0.9996
0.000284
0.9999
0.000284
0.9993

1116
AGNIESZKA ZAKRZEWSKA et al.
Table 2. Within day accuracy (% of nominal concentration) and precision (% RSD) for 1-MP and 1,4-DMP in plasma and rat tissues (n = 5).
a Mean concentration [µg/mL], b mean concentration [µg/g].
Figure 3. Plasma concentration-time profile of 1-MP after a single intravenous (●) or intragastric (■) administration to rats at the dose of 100 mg/kg

Matrix

QC
level

1-MP
1,4-DMP
Mean concentration
Accuracy [%]
Precision RSD [%]
Mean concentration
Accuracy [%]
Precision RSD [%]

Plasmaa

LLQC
0.053
106.6
7.9
0.050
100.2
1.4
LQC
0.140
93.2
4.6
0.140
93.1
3.1
MQC
2.539
101.6
3.2
2.434
97.4
3.8
HQC
3.365
96.1
8.4
3.423
97.8
5.0

Liverb

LLQC
0.238
95.0
12.9
0.254
101.4
3.4
LQC
0.678
90.3
3.6
0.668
89.0
0.6
MQC
11.347
90.8
6.3
11.637
93.1
1.2
HQC
16.497
94.3
4.7
16.658
95.2
6.0

Heartb

LLQC
0.225
89.8
3.8
0.260
104.0
6.9
LQC
0.739
98.6
8.8
0.730
97.3
4.4
MQC
12.667
101.3
3.9
12.699
101.6
1.8
HQC
17.715
101.2
2.4
17.496
100.0
1.8

Lungsb

LLQC
0.242
96.7
12.3
0.238
94.9
6.0
LQC
0.693
92.3
6.2
0.690
91.9
3.5
MQC
11.853
94.8
6.8
11.805
94.4
2.8
HQC
16.127
92.2
4.7
16.120
92.1
2.5

Kidneyb

LLQC
0.288
115.0
2.9
0.237
94.8
5.4
LQC
0.795
106.0
1.9
0.753
100.4
5.4
MQC
13.832
110.7
1.4
13.590
108.7
1.1
HQC
18.974
108.4
3.4
18.693
106.8
3.8

Brainb

LLQC
0.242
96.7
9.3
0.248
99.1
15.4
LQC
0.750
100.0
5.4
0.779
103.8
8.9
MQC
13.087
104.7
2.2
13.303
106.4
3.3
HQC
17.289
98.8
1.9
17.882
102.2
3.2

Intestineb

LLQC
0.245
97.8
5.8
0.206
82.3
0.2
LQC
0.679
90.6
2.4
0.700
93.3
5.7
MQC
12.181
97.4
4.2
13.249
106.0
4.9
HQC
16.419
93.8
3.1
17.943
102.5
7.8

1117
Quantification and pharmacokinetics of 1-methylpyridinium and 1,4-dimethylpyridinium...
Table 3. Accuracy (% of nominal concentration) and precision (%RSD) between days for 1-MP and 1,4-DMP in plasma and rat tissues.
a Mean concentration [µg/mL], b mean concentration [µg/g].
Figure 4. Plasma concentration-time profile of 1,4-DMP after a single intravenous (●) or intragastric (■) administration to rats at the dose of 100 mg/kg

Matrix

QC
level

1-MP
1,4-DMP
Mean concentration
Accuracy [%]
Precision RSD [%]
Mean concentration
Accuracy [%]
Precision RSD [%]

Plasmaa

LLQC
0.051
102.2
8.6
0.0499
99.7
5.0
LQC
0.148.
99.1
7.6
0.150
100.2
8.1
MQC
2.607
104.3
4.8
2.574
103.0
7.2
HQC
3.531
100.9
10.1
3.597
102.8
7.6

Liverb

LLQC
0.235
94.1
9.2
0.262
104.6
5.8
LQC
0.720
96.0
9.6
0.675
90.0
2.8
MQC
11.879
95.0
8.5
11.945
95.6
4.5
HQC
16.324
93.3
5.1
17.014
97.2
4.6

Heartb

LLQC
0.197
94.6
11.3
0.265
105.8
6.4
LQC
0.661
101.8
8.4
0.737
98.2
5.1
MQC
10.202
103.7
3.8
12.902
103.2
3.0
HQC
17.159
102.6
4.4
17.630
100.7
4.4

Lungsb

LLQC
0.252
100.5
14.4
0.249
99.4
6.2
LQC
0.733
97.7
6.9
0.738
98.3
9.2
MQC
12.442
99.5
7.3
12.799
102.4
8.8
HQC
16.986
97.1
6.6
17.292
98.8
7.9

Kidneyb

LLQC
51.147
102.3
13.58
0.245
97.8
7.5
LQC
157.860
105.2
6.21
0.780
104.0
5.8
MQC
2752.947
110.1
8.03
13.401
107.2
3.2
HQC
3654.619
104.4
4.95
18.297
104.6
3.5

Brainb

LLQC
0.248
99.3
12.5
0.236
94.3
10.2
LQC
0.751
100.1
4.9
0.745
99.3
7.9
MQC
13.043
104.3
3.2
12.945
103.6
4.5
HQC
17.704
101.2
5.3
17.897
102.3
4.9

Intestineb

LLQC
0.260
104.0
8.8
0.239
95.3
16.8
LQC
0.721
96.1
7.4
0.743
99.0
9.0
MQC
12.356
98.8
3.5
12.619
100.9
7.5
HQC
16.932
96.8
4.6
17.097
97.7
8.8

1118
AGNIESZKA ZAKRZEWSKA et al.
Table 4. Stability for 1-MP and 1,4-DMP in rat plasma.
Table 5. Post-preparative stability for 1-MP and 1,4-DMP.
a Mean concentration [µg/mL], b mean concentration [µg/g].
Figure 5. Tissue distribution of 1,4-DMP after a single intravenous administration of compound at the single dose of 100 mg/kg in rats

Matrix

QC
level

1-MP
1,4-DMP
Mean concentration
Accuracy [%]
Precision RSD [%]
Mean concentration
Accuracy [%]
Precision RSD [%]

Plasmaa
LQC
0.162
108.2
10.9
0.156
103.7
4.2
HQC
3.557
101.6
3.3
3.647
104.2
2.8

Liverb
LQC
0.913
122
6.2
0.658
87.7
4.1
HQC
16.664
95
4.7
15.629
89.3
3.6

Heartb
LQC
0.606
80.8
10.9
0.667
88.9
3.7
HQC
15.731
89.9
6.0
16.081
91.9
3.2

Lungsb
LQC
0.789
105.2
9.1
0.919
122.5
5.0
HQC
17.779
101.6
4.
19.362
110.6
3.4

Kidneyb
LQC
1.012
135
3.2
0.740
98.6
6.1
HQC
18.703
107
2.4
18.388
105.1
4.7

Brainb
LQC
0.793
105.7
3.9
0.727
96.9
9.0
HQC
17.161
98.1
2.7
18.147
103.7
4.9

Intestineb
LQC
0.768
102.4
5.7
0.963
128.4
9.3
HQC
17.618
100.7
3.2
18.629
106.4
8.1

QC
level
1-MP
1,4-DMP
Mean concentration (µg/mL)
Accuracy [%]
Precision RSD [%]
Mean concentration (µg/mL)
Accuracy [%]
Precision RSD [%]
Short-term stability test
LQC
0.1463
97.5
8.7
0.151
100.6
1.5
HQC
3.135
89.6
5.7
3.141
89.7
7.5
Freeze and thaw stability test
LQC
0.1589
105.9
4.2
0.1483
98.9
6.8
HQC
3.900
111.4
2.7
3.372
96.3
3.4
Long-term stability test
LQC
0.1528
101.9
4.3
0.130
86.7
8.6
HQC
3.383
96.6
1.1
3.200
91.4
1.6

1119
Quantification and pharmacokinetics of 1-methylpyridinium and 1,4-dimethylpyridinium...
Table 6. Pharmacokinetic parameters for 1,4-DMP and 1-MP after a single intravenous and intragastric administration at the dose of 100 mg/kg in rats.
Table 7. Pharmacokinetic parameters in rat tissues after a single intravenous administration of 1,4-DMP at the dose of 100 mg/kg.
n
AUC	=  ([c + c ]/2) ∑ (t ñ t ) + c /	(1)
AUCe.v.
F = ññññññññññññ
(6)
0
i	i+1
i+1	i	n z
i=1
AUCi.v.
RESULTS AND DISCUSSION
Area
under
the
first-moment	curve
(AUMC0) was estimated by calculation of the total area under the first-moment curve and extrapo- lated area using the equation 2, where tn is the time of last sampling.
Validation data
The newly developed bioanalytical method for the simultaneous analysis of 1-MP and 1,4-DMP in rat matrices (plasma and selected tissue samples) using LC/HESI-MS/MS technique was developed and validated in the first step of the study.
In order to construct the appropriate SRM method, the most abundant parent and fragmenta- tion ions of analyzed compounds and IS were cho- sen (Fig. 1). Representative chromatograms from rat plasma samples are shown in Figure 2. Retention times are around 1.7 and 1.8 min for 1-MP and 1,4- DMP, respectively. No significant interferences with other endogenous molecules in sample were observed.
The obtained limit of detection for both com- pounds was high and equaled 0.01 µg/mL and 0.05
µg/g in plasma and tissues, respectively. It provides the measurement of studied analogsí concentration
n
=  ((t ∑c + t ∑c )/2)∑
AUMC
0
i i	i+1 i+1
i=1
(ti+1 ñ ti) + (tn∑cn)z + cn/z2
(2)
Mean residence time (MRT) was calculated as:
MRT = AUMC0AUC0
Systemic clearance (Cl) was calculated as:
(3)
Cl = Div/AUC0
(4)
Volume of distribution at steady state (Vss) was calculated as:
Div ∑ AUMC0
Vss = ññññññññññññ2ñññ
(5)
(AUC0 )
where Div is an intravenous dose of studied compound, AUMC is the area under the first moment curve, and AUC is the area under the zero moment curve.
The absolute bioavailability (F) after the extravascular (e.v.) administration compared to the intravenous (i.v.) route was calculated as follows:

Tissue

Pharmacokinetic parameters
AUC 0
[µg∑min/g]
Cmax [µg/g]
tmax [min]
MRT
[min]
Liver
305.03
243.80
30
115
Kidney
488.70
584.45
5
70
Brain
4.87
3.42
5
244
Intestine
530.16
232.92
5
157
Lungs
210.67
115.22
5
143
Heart
551.47
162.80
120
292
Pharmacokinetics parameters
1,4-DMP
1-MP
Intravenous
Intragastric
Intravenous
Intragastric
AUC 0 [µg∑min/mL]
6.284
1.944
4.245
2.159
MRT [min]
44.34
140.28
38.81
110.58
t1/2 [min]
70.77
60.41
55.32
63.26
Cmax [µg/mL]
-
11.38
-
16.91
Vss [mL/kg]
706
-
914
-
Cl [mL/min/kg]
15.91
-
23.56
-
F [%]
-
31

51

1120
AGNIESZKA ZAKRZEWSKA et al.
in the biological samples from pharmacokinetic experiments. The obtained results, in all matrices, show good linearity over the entire concentration range 0.05-5 µg/mL for plasma and 0.25-25 µg/g for tissues. Calibration curves were generated using weighted (1/x) linear regression analysis. The extraction recoveries of 1-MP and 1,4-DMP in rat plasma were 87.8 ± 8.2% and 92.9 ± 9.8%, respec- tively. No relative matrix effect for studied com- pounds (Table 1) was observed for five different tested plasma lots, what can indicate, that developed method is reliable and can be used in routine labora- tory work.
Precision was evaluated as repeatability (with- in day precision) and reproducibility (between days precision). The accuracy and precision results for all matrices are shown in Table 2 (within day) and Table 3 (between days). The obtained results were within the acceptable limits established by EMA for bioanalytical methods (13) confirming that the method can be used for quantifying both 1-MP and 1,4-DMP compounds in the following rat tissues: liver, lungs, heart, brain, small intestine, kidneys and plasma.
The stability of analytes in rat plasma was investigated under a variety of storage and process conditions described in a previous section. Compounds showed to be stable during storage under various conditions (Table 4). Results of post- preparative stability (24 h) for all tested matrices are shown in Table 5. Moreover, results showed, that both 1-MP and 1,4-DMP were stable in all analyzed matrices, but not in liver and kidney. Since, prepared samples of liver and kidney for 1-MP, and in case of small intestine and lungs for 1,4-DMP should be analyzed within 24 h. The validated LC/HESI- MS/MS method was successfully used for quantifi- cation of 1-MP and 1,4-DMP in rat plasma follow- ing theirs intravenous or intragastric administration at a dose of 100 mg/kg. The concentration of 1,4- DMP in selected tissues were also determined with desired accuracy and precision.
the terminal half-life times for 1-MP equaled 55.3 min, and for 1,4-DMP equaled 70.8 min, after their intravenous administration. The volumes of distri- bution at the steady-state were in the range of 0.9 L/kg and 0.7 L/kg for 1-MP and 1,4-DMP, respec- tively, and might indicate theirs intracellular dispo- sition. The absolute bioavailability estimated based on the AUC0 calculated from time zero to infinity yielded the values of 51% for 1-MP and 31% for 1,4-DMP, and was rather low, with the peak con- centration occurring 60 min for 1-MP, and 120 min for 1,4-DMP after their intragastric administration.
1,4-DMP has significant tissue distribution which is in agreement with its high volume of distri- bution (0.7 L/kg). Analysis showed that the highest amount of 1,4-DMP was observed in heart, then in kidney and small intestine, and the lowest one was detected in brain (Fig. 5). Distribution was rapid and the maximal concentration occurred in the most of tissues at 5 min after administration with exception of liver (maximum at 30 min) and heart (maximum at 120 min) as seen in Table 7. These findings sug- gest that 1,4-DMP is mostly distributed in heart and, despite the fact that this compound is positively charged in physiological pH, it can penetrate blood- brain barrier, probably via a specific carrier system.
CONCLUSIONS
A rapid and simple LC/HESI-MS/MS method was developed and validated for quantification of 1- MP and 1,4-DMP in plasma and selected rat tissues. The assay showed wide linear dynamic range of 0.05ñ5 µg/mL for plasma, and 0.25ñ25 µg/g for tis- sues with acceptable within day and between days accuracy and precision. The method was successful- ly applied to assess the pharmacokinetic profiles of 1-MP and 1,4-DMP in rats after compounds intra- venous and intragastric administration. The absolute bioavailability in rats was estimated at 51% for 1- MP and 31% for 1,4-DMP, respectively. The distri- bution of 1,4-DMP in tissues was rapid with the maximal concentration occurred at 5 min after com- pound administration in kidney, intestine, lungs and brain.
Pharmacokinetic study in rats
Blood samples during experiments were col- lected in a regular time intervals. The mean concen- tration ñ time profiles of 1-MP and 1,4-DMP in plas- ma were plotted in Figures 3 and 4, respectively.
The results of the model independent pharma- cokinetic data analysis obtained following intra- venous or intragastric administration of 1-MP or 1,4-DMP in plasma are summarized in Table 6. Target analogs were eliminated rather slowly with
Acknowledgment
This work was supported by the European Union from the resources of the European Regional Development Fund under the Innovative Economy Programme (grant coordinated by JCET-UJ, No. POIG.01.01.02-00-069/09).

1121
Quantification and pharmacokinetics of 1-methylpyridinium and 1,4-dimethylpyridinium...
REFERENCES
9.
Szafarz M., Szymura-Oleksiak J., Zakrzewska A., Walczak M., Kus K., Gonciarz A.: Biomed. Chromatogr. 27, 73 (2013).
Lang R., Yagar E.F., Wahl A., Beusch A., Dunkel A. et al.: J. Agric. Food Chem. 61, 12123 (2013).
Lang R., Wahl A., Skurk T., Yagar E.F., Schmiech L. et al.: Anal. Chem. 82, 1486 (2010).
Polson C., Sarkar P., Incledon B., Raguvaran V., Grant R.: J. Chromatogr. B 785, 263 (2003). Guidance for Industry Analytical Procedures and Methods Validation for Drugs and Biologics. Center for Drug Evaluation and Research, Food and Drug Administration, Silver Spring, MD 20993 2014.
Matuszewski B.K., Constanzer M.L., Chavez- Eng C.M.: Anal. Chem. 75, 3019 (2003).
Matuszewski B.K.: J. Chromatogr. B 830, 293 (2006).
1.
Buscemi S., Verga S., Batsis J.A., Tranchina M.R., Belmonte S. et al.: Eur. J. Clin. Nutr. 63, 1200 (2009).
Natella F., Nardini M., Belelli F., Pignatelli P., Di Santo S. et al.: Br. J. Nutr. 100, 1276 (2008). Stadler R.H., Varga N., Hau J., Vera F.A., Welti D.H.: J. Agric. Food Chem. 50, 192 (2002).
Stadler R.H., Varga N., Milo C., Schilter B., Vera F.A., Welti D.H.: J. Agric. Food Chem.50, 1200 (2002).
Somoza V., Lindenmeier M., Wenzel E., Frank O., Erbersdobler H.F., Hofmann T.: J. Agric. Food Chem. 51, 6861 (2003).
Wieczorkowska M., Szajerski P., Michalski R., Adamus J., Marciniak A. et al.: Pharmacol. Rep. 59, 216 (2007).
Maruszewska A., Kostrzewa-Nowak D., Adamus J., CzupryÒska K., Maryniak D. et al.:
J. Pharm. Pharmacol. 60, 647(2008).
Marzec K.M., Jaworska A., Malek K., Kaczor A., Baranska M.: J. Raman Spectrosc. 44, 155 (2013).
10.
2.
11.
3.
4.
12.
13.
5.
6.
14.
7.
15.
8.
Received: 14. 09 2015.