  Original Article
Augmented reality and three-dimensional printing in percutaneous
interventions on pulmonary arteries
Jan Witowski1,2, Szymon Darocha3, Łukasz Kownacki4, Arkadiusz Pietrasik5, Radosław Pietura6, Marta
Banaszkiewicz3, Jakub Kamiński2, Andrzej Biederman7, Adam Torbicki3, Marcin Kurzyna3
12nd Department of General Surgery, Jagiellonian University Medical College, Kraków, Poland; 2MedApp S.A., Kraków, Poland; 3Department
of Pulmonary Circulation, Thromboembolic Diseases and Cardiology, European Health Center, Otwock, Poland; 4Department of Radiology, European Health Center, Otwock, Poland; 5Department and Faculty of Cardiology, Medical University of Warsaw, Warsaw, Poland; 6Department of Radiography, Medical University of Lublin, Poland; 7Department of Cardiac Surgery, Medicover Hospital, Warsaw, Poland
Correspondence to: Jan Witowski. 2nd Department of General Surgery, Jagiellonian University Medical College, Kopernika 21, Kraków, Poland.
Email: jwitos@gmail.com.
Background: Percutaneous pulmonary interventions require extensive and accurate navigation planning and guidance, especially in regard to the three-dimensional (3D) relationships between anatomical structures. In this study, we are demonstrating the feasibility of novel visualization techniques: 3D printing (3DP) and augmented reality (AR) in planning transcatheter pulmonary interventions.
Methods: Two patients were qualified for balloon pulmonary angioplasty (BPA) for treatment of chronic thromboembolic pulmonary hypertension (CTEPH) and stent implantation for pulmonary artery stenosis, respectively. Computed tomography images of both patients were processed with segmentation algorithms and subsequently submitted to 3D modelling software. Microsoft HoloLens® AR headsets with dedicated CarnaLife Holo® software were utilized to display surface and volume rendering of pulmonary vessels as holograms.
Results: Personalized life-sized models of the same structures were additionally 3D-printed for preoperative planning. Holograms were shown to physicians throughout the procedure and were used as a guidance and navigation tool. Operative team was able to manipulate the hologram and multiple users of the AR system could share the same image in real time. Clinicians expressed their satisfaction with the quality of imaging and potential clinical benefits.
Conclusions: This study reports the potential value of AR in pulmonary interventions, however, prospective trials need to be conducted to decide on whether novel 3D visualization techniques affect
perioperative treatment and outcomes.
Keywords: Percutaneous pulmonary interventions; three-dimensional printing (3DP); augmented reality (AR);
balloon pulmonary angioplasty (BPA); chronic thromboembolic pulmonary hypertension (CTEPH)
Submitted Sep 06, 2018. Accepted for publication Sep 13, 2018. doi: 10.21037/qims.2018.09.08
View this article at: http://dx.doi.org/10.21037/qims.2018.09.08
Introduction
with complex, three-dimensional (3D) anatomy that is difficult
to visualize precisely with planar angiography. Chronic thromboembolic pulmonary hypertension (CTEPH) is related to presence of multiple post-thrombotic lesions disseminated in different branches of pulmonary arteries. Promising results of balloon pulmonary angioplasty (BPA) were reported in
Percutaneous cardiovascular interventions on pulmonary
arteries are still associated with major technical challenges and require extensive planning and intraprocedural precise visualization methods. Pulmonary vascular tree is characterized
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Witowski et al. AR in pulmonary interventions
24
treatment of persistent or recurrent CTEPH (1,2). One of
the most important requirements for effective treatment of CTEPH with BPA is an accomplishment of effective dilatations in the largest possible number of segmental and subsegmental pulmonary arteries (3). Ogo et al. reported successful use of cone beam computed tomography in supporting BPA procedures with 3D image reconstructions (4). However, currently available tools have limited availability and there is still a need for novel techniques that would represent patient’s anatomy especially accurately in regards to 3D relationships between structures.
In recent years, several new approaches emerged to provide 3D visualization of medical data, including 3D printing (3DP), augmented reality (AR) or virtual reality (VR). 3DP and AR are considered especially useful since they can guide physicians during the procedures. However, literature is very limited and consists of only few pilot and feasibility studies. AR systems have been researched in many disciplines including urology (5), neurosurgery (6), while in cardiology AR was found feasible i.e., in revascularization of coronary chronic total occlusion (7) and transcatheter aortic valve implantation (8,9). 3DP is much more explored with a wide range of applications in cardiology field (10), including preclinical studies of printing pulmonary artery models (11). Having said that, no feasibility studies evaluating use of neither 3DP nor AR were performed in clinical setting with patients undergoing transcatheter pulmonary interventions. Thus, the aim of this study was to evaluate the usefulness of 3D printing and AR system in planning and guidance of transcatheter pulmonary interventions based on treatment of 2 cases.
Borg index) and desaturation from 93–90% (no oxygen
supplementation). Right heart catheterization (RHC) performed in accordance to current standards (12) after pulmonary endarterectomy confirmed severe pulmonary hypertension (mPAP: 46 mmHg) with normal cardiac index (CI: 3.08 L/min/m2), normal capillary pulmonary wedge pressure (PCWP: 9 mmHg) and increased pulmonary vascular resistance (PVR: 6.42 Wood units). The patient suffered from chronic kidney disease and his glomerular filtration rate (GFR) was decreased to 42 mL/min/1.73 m2. Angiography of both pulmonary arteries revealed residual clots in segmental and subsegmental branches.
The first BPA session was performed on eight segmental and subsegmental arteries in the right lobe. There were no complications during and after first procedure. According to poor renal function, the reduction of contrast medium was planned in the 2nd session. 3D-printed model of the patient’s left pulmonary artery was developed in order to better understand the anatomy of the lesions and check the feasibility of the procedure. During the second BPA session, an AR system was used as an additional tool. After the series of 6 BPA procedures, patient’s functional capacity improved to NYHA II class. Controlled RHC presented reduction of mPAP to 38 mmHg and PVR 4.38 Wood units. The improvement of renal function (eGFR >60 mL/min/1.73 m2) and decrease of NT-proBNP to 324 pg/mL was noted.
Case 2
A 67-year-old male with pulmonary precapillary
hypertension associated with idiopathic mediastinal fibrosis and proximal ring-like stenosis of pulmonary arteries resulting from abnormal connective tissue consolidation in mediastinum, with coronary artery disease, paroxysmal atrial fibrillation was admitted for interventional treatment. The patient was administered specific medical therapy with sildenafil without any significant clinical and hemodynamical improvement. He presented symptoms of NYHA functional class III on admission and reported deterioration in health related quality of life. The NT-proBNP plasma level concentration was normal. He covered the distance of 363 m in 6MWT with very severe dyspnea (8 points in Borg index) and without any significant desaturation (from 98% to 97%). RHC performed at rest confirmed mPAP increase to 29 mmHg, decreased CI to 2.38 L/min/m2, normal PCWP 14 mmHg and borderline PVR 3.01 Wood units. During the catheterization, a gradient of systolic PAP (from
Methods
Case 1
A 53-year-old male with persistent CTEPH despite
previous treatment with pulmonary endarterectomy, chronic kidney disease in stage 3a, chronic obstructive pulmonary disease, hypothyroidism, and splenectomy performed years ago was referred for BPA. He was administered specific medical therapy with riociguat at the dose 2.5 mg three times a day (TID). He presented symptoms of NYHA functional class III on admission. N-terminal prohormone of brain natriuretic peptide (NT- proBNP) plasma level concentration was increased to 818 pg/mL. In the 6 minutes walk test (6MWT) he covered the distance of 318 m with severe dyspnea (5 points in
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Quantitative Imaging in Medicine and Surgery, Vol 9, No 1 January 2019
25
53 to 38 mmHg) was noticed when crossing the ring-like
stenosis in pulmonary lobar artery by Swan-Ganz catheter.
During the first session, a selective angiography confirmed proximal stenosis of left artery of lower lobe. An assessment with pressure wire (Verrata, Philips Volcano) confirmed significant gradient across the narrowed artery (Pdist: 19 mmHg; Pprox: 28 mmHg; Pdist/Pprox: 0.67). Intravascular ultrasound (IVUS) showed significant reduction (over 50%, area of 23 mm2) of the lumen of pulmonary artery of left lower lobe. Self-expanding stent CID (CID S.p.A, Alvimedica Group, Istanbul, Turkey) 12/40 mm was implanted in the occluded vessel. After implantation, a significant improvement in functional pressure assessment (Pdist: 29 mmHg, Pprox: 30 mmHg; Pdist/
subsegmental branches feeding upper lobe, lingula/middle
lobe and lower lobe, respectively (Figure 1).
Results
3D printing and AR
3D objects require preparation specifically for 3D printing,
including making meshes watertight and ensuring that multipart printouts will fit each other. To achieve that, we used Boolean-based approach described elsewhere (14). Ultimaker 2+ (Ultimaker, Geldermalsen, Netherlands) 3D printer with polylactic acid (PLA) material and Form 2 (Formlabs, Somerville, MA, USA) with transparent resin, were used for printing all parts which were assembled together later (Figure 2).
3DP models were developed and delivered to the
surgical team prior to the procedure. Clinicians reported that there was no difference in terms of quality or utility of 3DP models depending on used material and fabrication method. Also, AR system was provided a few hours before planned operations. Developers of the AR system were on site dedicated to assisting physicians in case of any issues and they conducted a short introduction before going into the surgical room.
CarnaLife Holo® (MedApp, Kraków, Poland) software was used to visualize pulmonary arteries in holographic form, utilizing both volume and surface rendering (Figure 3). Operative team was able to manipulate the hologram (moving, zooming, rotating, cutting, changing transfer functions) with gestures and voice commands. Team performing the intervention had the AR headset on throughout the procedure and was able to refer to the hologram at any time. As reported, the hardware nor the method of visualization did not obstruct the vision. As for hardware, three Microsoft HoloLens® head-mounted displays were used. The AR system enables users to visualize medical datasets loaded directly from DICOM files or connected PACS system and utilized software implements the ability to share the same hologram between multiple users, so that all members of the operative team could discuss the image at the same time (Figure 4) (Online video: https://www.youtube.com/watch?v=CxYsZGB-CCw).
P	: 0,96) and increase in the area of the vessel to 72 mm2
prox
were confirmed in IVUS.
The second session was performed in the right lower lobe artery, where significant ring-like stenosis was confirmed in 3D rotational pulmonary angiography. AR visualization was used for navigation of stenotic lesion and crossing it by guidewire. Pressure wire confirmed significant gradient across the lesion (Pdist: 19 mmHg, Pprox: 28 mmHg; Pdist/Pprox: 0.67) and IVUS showed the >50% reduction in proximal right lower lobe pulmonary artery. Self-expanding stent EPIC 12/40 mm (Boston Scientific, Marlborough, MA, USA) was implanted and post-dilatation of Advance 35LP 12/18 mm (Cook Medical, Bloomington, IN, USA) balloon was performed. There were no complications during procedure and improvement of pressure gradient (Pdist: 25 mmHg, Pproxd 26 mmHg; Pdist/Pprox: 0.96) was confirmed. Control RHC performed after 2 invasive procedures with stent implantation confirmed decrease of mPAP to 25 mmHg.
Image acquisition and processing
All images were registered with Philips Brilliance Big Bore
CT (Koninklijke Philips Electronics NV, Eindhoven, Netherlands) scanner with 120 kVp protocol and 1.00 mm slice thickness. Studies saved in Digital Imaging and Communications in Medicine (DICOM) format were imported into 3D Slicer (version 4.8.1) for further processing (13). Built-in semi-automatic algorithms were used for initial segmentation which results were subsequently manually refined and exported into 3D meshes. In Blender 3D modelling software (open-source; Blender Foundation, Amsterdam, Netherlands) pulmonary arteries were divided into parts including segmental and
Discussion
We have conducted a feasibility study of 3D printing
and AR for pulmonary interventions in a clinical setting
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Witowski et al. AR in pulmonary interventions
26
 A
 C
 B
Figure 1 Image processing for surface rendering. (A) Raw CT scan; (B) CT with segmentation overlay mask (pink); (C) exported
segmentation result: pulmonary artery with segmental branches divided into differently colored parts. CT, computed tomography.
 A
 C
 B
Figure 2 3DP models fabricated with white polylactic acid (A), flexible resin (B) and multi-part polylactic acid model (C). 3DP, three-
dimensional printing.
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Quantitative Imaging in Medicine and Surgery, Vol 9, No 1 January 2019
27
 A
 B
Figure 3 First person view of holograms displayed throughout the procedures. (A) surface rendering of pulmonary artery with selected
branches highlighted in a different color (blue, red, green); (B) volume-rendering-based hologram of pulmonary artery and its branches.
assessment of location of pulmonary obstruction and stent
sizing (10). This is the first report of AR application in interventional treatment of non-congenital pulmonary artery branches stenosis caused by fibrotic lesions or thrombotic material. Potential role of AR and 3DP in improvement of BPA technique is related to better selection of target lesions, providing more complete revascularization, avoiding vessel injury caused by oversized balloons and decreasing the volume of contrast medium. In procedures requiring stent implantation, augmented 3D visualization is crucial in stent sizing and positioning to avoid unnecessary closure of side branches which are prominently developed in pulmonary circulation.
Our study has some limitations that have to be taken into consideration. Primarily, this is a feasibility study that can be treated as a proof of concept. Although opinions of all physicians engaged in the process were positive about its accuracy, usability and potential effectiveness in routine use, it is yet to be decided how the use of these technologies will affect perioperative parameters and outcomes. Prospective trials in the future will decide if novel 3D visualizations techniques are cost-effective.
There is also a debate when and where we should use 3DP instead of AR. In our study, operators had access to both technologies at all times and they felt it was more natural to use 3D printed models prior to the surgery for additional tactile experience and more straightforward manipulation, while during the procedure they almost exclusively used AR which allowed them to visualize structures with gestures and voice commands.
Thinking about further development of these visualization techniques, it seems that AR might offer more powerful toolset in several years if progress in hardware and other areas like artificial intelligence, advances simulations
Figure 4 Operative team during one of the procedures. The AR software used in these cases enables multiple users to share the
same image in real time. AR, augmented reality.
with two real patient cases. 3D models in physical and
holographic form were used during the process of preparing for surgery, and while performing the procedure. 3D-printed pulmonary artery was used primarily as a preoperative planning tool, while AR system primary use was for navigation and guidance. However, both were available for the whole process.
Head-mounted AR displays have been found to be safe and clinically useful in percutaneous procedures. Opolski et al. revealed that patients in group treated with AR assistance had lower contract exposure with no risks to procedural safety (7). Clinical cases published recently by Lodziński et al. (15) and Rymuza et al. (8) confirm accuracy of holograms for cardiovascular interventions. Regarding 3DP, there is strong evidence supporting its use in planning difficult transcatheter interventions. However, only a few describe specifically pulmonary procedures. El Sabbagh et al. showed that 3DP model was useful in preprocedural
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Witowski et al. AR in pulmonary interventions
28
continues. When AR surpasses the point of being able
to mimic tissues mechanical properties—which is major limitation of 3D printing—it will become able to simulate not only physical mechanisms like fluid simulation, but also perform whole mock procedures. Until then, 3DP seems a great addition when planning and measuring preoperatively, and is even more encouraging when used for education.
hypertension. A single-centre European experience.
Kardiol Pol 2017;75:645-54.
Kurzyna M, Darocha S, Koteja A, Pietura R, Torbicki
A. Balloon pulmonary angioplasty for chronic thromboembolic pulmonary hypertension. Postepy Kardiol Interwencyjnej 2015;11:1-4.
Ogo T, Fukuda T, Tsuji A, Fukui S, Ueda J, Sanda Y, Morita Y, Asano R, Konagai N, Yasuda S. Efficacy and safety of balloon pulmonary angioplasty for chronic thromboembolic pulmonary hypertension guided by cone- beam computed tomography and electrocardiogram- gated area detector computed tomography. Eur J Radiol 2017;89:270-6.
Wake N, Bjurlin MA, Rostami P, Chandarana H, Huang WC. Three-dimensional Printing and Augmented Reality: Enhanced Precision for Robotic Assisted Partial Nephrectomy. Urology 2018;116:227-8.
Guha D, Alotaibi NM, Nguyen N, Gupta S, McFaul C, Yang VXD. Augmented Reality in Neurosurgery: A
Review of Current Concepts and Emerging Applications. Can J Neurol Sci 2017;44:235-45.
Opolski MP, Debski A, Borucki BA, Staruch AD, Kepka C, Rokicki JK, Sieradzki B, Witkowski A. Feasibility and safety of augmented-reality glass for computed tomography-assisted percutaneous revascularization
of coronary chronic total occlusion: A single center prospective pilot study. J Cardiovasc Comput Tomogr 2017;11:489-96.
Rymuza B, Grodecki K, Kamiński J, Scisło P, Huczek Z. Holographic imaging during transcatheter aortic valve implantation procedure in bicuspid aortic valve stenosis. Kardiol Pol 2017;75:1056.
Currie ME, McLeod AJ, Moore JT, Chu MW, Patel R, Kiaii B, Peters TM. Augmented Reality System for Ultrasound Guidance of Transcatheter Aortic Valve Implantation.
Innovations (Phila) 2016;11:31-9; discussion 39.
El Sabbagh A, Eleid MF, Al-Hijji M, Anavekar NS, Holmes DR, Nkomo VT, Oderich GS, Cassivi SD, Said SM, Rihal CS, Matsumoto JM, Foley TA. The Various Applications of 3D Printing in Cardiovascular Diseases. Curr Cardiol Rep 2018;20:47.
Aldosari S, Squelch A, Sun Z. Patient-specific three- dimensional printed pulmonary artery model: A preliminary study. Digit Med 2017;3:170-7.
Kurzyna M, Araszkiewicz A, Błaszczak P, Grabka M, Hawranek M, Kopeć G, Mroczek E, Zembala M, Torbicki A, Ochała A. Summary of recommendations for the haemodynamic and angiographic assessment
3.
4.
Conclusions
This technical note suggests that in cases with changed and
difficult anatomy of pulmonary arteries, imaging with CT aided by 3D printed model and AR is helpful. The strategy with novel 3D visualization techniques has potential to reduce the dosage of contrast medium and minimize the risk of potential nephropathy.
5.
6.
Acknowledgements
None.
7.
Footnote
Conflicts of Interest: J Witowski and J Kamiński are employed by MedApp S.A., Marcin Kurzyna and Łukasz Kownacki are members of MedApp S.A. scientific advisory board.
Ethical Statement: All procedures performed in studies
involving human participants were in accordance with the ethical standards of the institutional and/or national research committee and with the 1964 Helsinki Declaration and its later amendments or comparable ethical standards. Informed consent was obtained from all individual participants included in the study.
8.
9.
References
10.
1.
Darocha S, Pietura R, Pietrasik A, Norwa J, Dobosiewicz A,
Piłka M, Florczyk M, Biederman A, Torbicki A, Kurzyna
M. Improvement in Quality of Life and Hemodynamics in Chronic Thromboembolic Pulmonary Hypertension Treated With Balloon Pulmonary Angioplasty. Circ J 2017;81:552-7.
Kurzyna M, Darocha S, Pietura R, Pietrasik A, Norwa J, Mańczak R, Wieteska M, Biederman A, Matsubara H, Torbicki A. Changing the strategy of balloon pulmonary angioplasty resulted in a reduced complication rate
in patients with chronic thromboembolic pulmonary
11.
2.
12.
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29

Quantitative Imaging in Medicine and Surgery, Vol 9, No 1 January 2019
29
Witowski JS, Pędziwiatr M, Major P, Budzyński A. Cost-effective, personalized, 3D-printed liver model for preoperative planning before laparoscopic liver hemihepatectomy for colorectal cancer metastases. Int J Comput Assist Radiol Surg 2017;12:2047-54.
Lodziński P, Balsam P, Peller M, Kamiński J, Opolski
G. First-in-man percutaneous pulmonary vein isolation enhanced by augmented reality system. Kardiol Pol 2018;76:475.
of the pulmonary circulation. Joint statement of the
Polish Cardiac Society’s Working Group on Pulmonary Circulation and Association of Cardiovascular Interventions. Kardiol Pol 2015;73:63-8.
Fedorov A, Beichel R, Kalphaty-Cramer J, Finet J, Fillion- Robbin JC, Pujol S, Bauer C, Jennings D, Fennessy F, Sonka M, Buatti J, Aylward S, Miller JV, Pieper S, Kikinis
R. 3D Slicer as an Image Computing Platform for the Quantitative Imaging Network. Magn Reson Imaging 2012;30:1323-41.
14.
13.
15.
© Quantitative Imaging in Medicine and Surgery. All rights reserved.
qims.amegroups.com
Quant Imaging Med Surg 2019;9(1):23-29
Cite this article as: Witowski J, Darocha S, Kownacki Ł, Pietrasik A, Pietura R, Banaszkiewicz M, Kamiński J, Biederman A, Torbicki A, Kurzyna M. Augmented reality and 3D printing in percutaneous interventions on pulmonary arteries. Quant Imaging Med Surg 2019;9(1):23-29. doi: 10.21037/ qims.2018.09.08