Acta Poloniae Pharmaceutica ñ Drug Research, Vol. 72 No. 3 pp. 527ñ538, 2015
ISSN 0001-6837
Polish Pharmaceutical Society
 PHARMACEUTICAL TECHNOLOGY
PHARMACOKINETICS OF DICLOFENAC SODIUM AND PAPAVERINE HYDROCHLORIDE AFTER ORAL ADMINISTRATION OF TABLETS TO RABBITS
REGINA KASPEREK1, £UKASZ ZIMMER1, WOJCIECH JAWIE—2 and EWA POLESZAK1
1Chair and Department of Applied Pharmacy, Medical University of Lublin, Chodüki St. 1, 20-093 Poland
2Department of Pharmacokinetics and Physical Pharmacy, Jagiellonian University of KrakÛw, Poland
Abstract: Non-compartmental pharmacokinetic analysis of diclofenac sodium (DIC) and papaverine hydrochloride (PAP) after oral administration of composed tablets to rabbits was developed. HPLC method for determination of DIC and PAP in rabbit plasma was developed and validated. Chromatographic separation of DIC, PAP and the IS was achieved on a Zorbax SB C18 5-µm column (150 mm ◊ 4.6 mm) using methanol- water (55 : 45, v/v) as mobile phase at a flow rate of 0.8 mL/min. Pharmacokinetic analysis showed that oral administration of a tablet composed of DIC and PAP do not change the pharmacokinetic parameters such as MRT, MAT, Cl and bioavailability of the active substances compared with single administration of DIC and PAP after single dose.
Keywords: pharmacokinetics, diclofenac sodium, papaverine hydrochloride, rabbits, HPLC
Diclofenac sodium is a nonsteroidal anti- inflammatory drug (NSAID) that it used for the treatment of rheumatic diseases, minor and medium pain, and post surgery analgesia in medicine. Patients who are given formulations of diclofenac or other NSAIDs as a therapeutic strategy often suffer from the gastrointestinal tract complications (1-3). In order to decrease the adverse effects or to increase the therapeutic analgesic effect, diclofenac was orally administered in composed tablets com- prising also misoprostol (4) and topically in a for- mulation comprising e.g., a spasmolytic agent - papaverine hydrochloride (5). In the literature can be found reports of a separate administration of diclofenac and papaverine for the relief of pain in patients with renal colic (6, 7). There are no reports of a formulation comprising diclofenac sodium and papaverine hydrochloride in a composed dosage form, therefore, we decided to prepare tablets con- sisting of DIC and PAP for oral administration for analgesic effect. Next, the tablets comprising the two drugs were patented (8).
In the literature, there are no reports regard- ing the relationship of pharmacokinetic parame- ters between DIC and PAP. Diclofenac is almost
completely absorbed after oral administration, it is subjected to first-pass metabolism so that about 50% of the drug reaches the systemic circulation in the unchanged form. More than 99% is bound to plasma proteins, primarily to albumin (3, 9, 10). Diclofenac exhibits a terminal half-life of 1- 2 h (3, 9). Metabolism of diclofenac is mediated by both glucuronidation and oxidative biotrans- formation (11). The oxidative metabolism of diclofenac is catalyzed by two enzymes of the cytochrome P450 family, namely CYP2C9 and CYP3A4 (12). Diclofenac is metabolized to 4í- hydroxydiclofenac and 5-hydroxydiclofenac, 3í- hydroxydiclofenac and 4í,5-dihydroxydiclofenac (13, 14). They are then excreted in the form of glucuronide and sulfate conjugates, mainly in the urine (about 60%) but also in the bile (about 35%) and less than 1% is excreted as unchanged diclofenac (3).
Papaverine is completely absorbed by the gas- trointestinal tract and metabolized principally by the liver. Papaverine in about 90% bound to plasma pro- teins. The biological half-life is reported to be between 1 and 2 h (3). The major route of biotrans- formation is O-demethylation to the corresponding
* Corresponding author: e-mail: regina.kasperek@umlub.pl; phone: 48 81 742 37 65, fax 48 81 742 38 08
527

528
REGINA KASPEREK et al.
EXPERIMENTAL
phenolic metabolites (15). Several phenolic metabo- lites have been identified: 4í-desmethylpapaverine (which predominantes in most cell systems), 6-
Reagents and chemicals
Diclofenac sodium (DIC) was produced by Caesar and Loretz, GmbH, Hilden, Germany, papaverine hydrochloride (PAP) was purchased from Galfarm PPH, Cefarm Lublin, Poland, and phenacetin (IS) from POCh Gliwice, Poland. Polyvinylpyrrolidone K 22 (PVP), mannitol (M) and potato starch (PS) were the products of Merck, Germany. Chloroform was obtained from POCh Gliwice, Poland. Methanol and water (HPLC grade) were purchased from Merck, Germany and other reagents were of analytical grade.
desmethylpapaverine,
7í-desmethylpapaverine,
4í,6-didesmethylpapaverine and 3í-desmethylpa- paverine (16-18). Papaverine is excreted in the urine, almost entirely as glucuronide-conjugated phenolic metabolites (3).
To test the pharmacokinetics and bioavailabil- ity of DIC and PAP given in a single formulation, it was necessary to develop a method for determi- nation of DIC and PAP in rabbit plasma. According to the literature, several HPLC methods using different clean-up procedures, including direct injection, protein precipitation (19-21), solid-phase extraction (SPE) (22), liquid-liquid extraction (LLE) (23-26) and column switching
(27) with UV (24-29), fluorimetric (20) or electro- chemical detection (30) HPTLC (31) and HPLC- MS/MS (32), GC-MS (33, 34) were applied to determine diclofenac in animal or human plasma. Papaverine hydrochloride in biological fluids was assayed using HPLC (35-37), GLC (38), and GC
(39) methods.
There are no data about pharmacokinetics of diclofenac sodium and papaverine hydrochloride after administration in composed formulation and there is no HPLC method for simultaneous determi- nation of diclofenac sodium and papaverine hydrochloride levels in plasma. Therefore, the aim of this study was to examine the pharmacokinetics of DIC and PAP after oral administration of com- posed tablets to rabbits and develop and validate the HPLC method.
Preparation of tablets
Composition and preparation of tablets (T) containing DIC and PAP were described in the patent (8). Tablets containing only one substance, DIC (T-DIC) or PAP only (T-PAP), were obtained in the same manner as described in this patent, but composition contained only one active substance.
One dose of tablets (T) consists of 50 mg DIC, 20 mg PAP and excipients such as 70 mg PVP, 70 mg M and 90 mg PS to obtain 300 mg of weight. One dose of tablets (T-DIC) consists of 50 mg DIC and excipients to obtain 280 mg of weight. One dose of tablets (T-PAP) consists of 20 mg PAP and excip- ients to obtain 250 mg of weight.
Tablets were obtained by direct compression of granules, which were previously prepared by wet granulation method. Granules were obtained by mixing and wetting of the powders with PVP solu- tion until a mass of suitable consistency was obtained. Then, the wet mass was granulated using a
Table 1. Physical properties of prepared tablets.

Test
Results
T
T-DIC
T-PAP
Weight (mg) mean SD
300.54 ± 2.45
281.32 ± 1.55
249.68 ± 1.87
Thickness (mm) SD
4.02 ± 0.02
3.85 ± 0.01
3.8 ± 0.02
Disintegration time (min) SD
7 ± 2.5
6 ± 1.5
5 ± 2.1
Hardness (kG/mm2), SD
0.105 ± 0.01
0.1 ± 0.01
0.105 ± 0.03
Friability (%)
0.09
0.22
0.16
Drug content (%) DIC, SD
(%) PAP, SD

99.08 ± 1.17
100.05 ± 1.76

100.04 ± 3.93

97.35 ± 1.23

529
Pharmacokinetics of diclofenac sodium and papaverine hydrochloride...
rotary granulator (Erweka, Germany) and a 1.6 mm mesh screen. Granules were dried in a hot air oven (Memmert INB-500) at 40OC for 1 h. The dried granules (moisture 3-5%) were sieved through a 1.6 mm mesh screen. The tablets were obtained from these granules in a press tableting machine (Erweka, Germany) with 9 mm concave punches.
diluted with methanol. Drug content of DIC and PAP were analyzed by HPLC method published in earlier report (40).
Chromatographic conditions
The chromatographic separation of DIC, PAP and the IS (phenacetin) was achieved with a Perkin Elmer 200 HPLC system consisting of the 200 series pump, the 200 series autosampler equipped with a 200 µL loop, the 200 series UV/VIS detector, the 200 series vaccum degasser and a Zorbax SB C18 5-µm column (150 ◊ 4.6 mm, Agilent, USA).
The mobile phase consisted of methanol and water (55 : 45, v/v), and the flow rate was 0.8 mL/min. The injection volume was 100 µL. The UV detection wavelengths at maximum absorbance of DIC and PAP at 280 nm and 238 nm, respectively, were chosen. The samples were injected twice because the Perkin Elmer 200 HPLC system enabled a detection for only one wavelength.
Physical properties of tablets
The tablets were tested as per standard proce- dure for weight variation (n = 20), thickness (n = 20), hardness (n = 6), friability (n = 20), disintegra- tion time (n = 6) and drug content (n = 10) (Table 1).
Weight uniformity test
For each formulation, twenty tablets were selected randomly and weighed together and their mean weight was calculated. Next, they were indi- vidually weighed using a weighing balance (Ohaus AV 513C, USA).
Calibration standards
Stock solutions of DIC (250 µg/mL) and PAP (100 µg/mL) were prepared in mobile phase solution (methanol-water, 55 : 45, v/v) and stored at 4OC wrapped in aluminum foil. The working solutions at concentrations of 0.5, 1.25, 2.5, 5, 12.5, 25 and 50
µg/mL of DIC and 0.5, 1, 2, 5, 10, 20, 40 and 60
µg/mL of PAP were prepared by serial dilution of DIC or PAP stock solutions in mobile phase. The IS working solution (20 µg/mL) was also prepared by dilution of the IS stock solution (100 µg/mL) with mobile phase.
The calibration standards were obtained by appropriate dilution of working solutions with mobile phase. The calibration standards were pre- pared on the same day at concentrations of 0.05, 0.125, 0.25, 0.5, 1.25, 2.5 and 5 µg/mL of DIC and
0.05, 0.1, 0.2, 0.5, 1, 2, 4 and 6 µg/mL of PAP, by
spiking 1 mL blank rabbit plasma with 100 µL of DIC or PAP working solutions and 100 µL of IS working solution.
Tablet dimensions
Tablet diameter and thickness were measured using a Vernier Caliper (Digital Caliper 0-150 mm, Comparator).
Hardness test
Hardness of tablet was determined by using an Erweka tablet hardness tester (Erweka, Germany).
Friability test
An Erweka friabilator (Erweka, Germany) was used for the test. Twenty tablets were weighed, sub- jected to attrition at 25 rpm for 4 min and reweighed afterwards. The percentage loss in weight equivalent to friability was calculated from the equation below: Friability (%) = (loss in weight/initial weight) ◊ 100.
Disintegration time
Disintegration time was measured by using an Erweka apparatus (Germany). Each of six tablets was put into a basket-rack in a vessel and was cov- ered with a disk. After the apparatus had been turned on, the disintegration time of the tablets was observed.
Sample and calibration standard preparation
Briefly, a 1 mL of blank rabbit plasma, spiked plasma (calibration standard sample) or pharmaco- kinetic study plasma sample was initially spiked with 100 µL of IS working solution and then 1.5 mL of 1 M hydrochloric acid was added. The mixture was shaken for the period of 10 min. To the obtained mixture, 3 mL of chloroform was added, shaken for 10 min and centrifuged at 3600 rpm for 10 min. The supernatant was separated and evaporated to dryness under nitrogen gas. The residue was reconstituted
Drug content analysis
Ten tablets from each series were selected at random, weighed together and the mean weight was determined. The tablets were crushed together and weighed exactly 300 mg (T), 280 mg (T-DIC) or 250 mg (T-PAP), when in powder form (n = 6), dis- solved in methanol in a 50 mL volumetric flask, fil- tered using the Whatman filter and appropriately

530
REGINA KASPEREK et al.
Accuracy and precision
In order to validate the intra-day accuracy and precision, the samples of DIC (0.05, 0,25, 1.25 and
5 µg/mL) and PAP (0.05, 0.2, 2, 6 µg/mL) were freshly prepared and analyzed on the same day (n = 5). To validate the inter-day accuracy and precision, the intra-day accuracy and precision assay was repeated for three consecutive days. Data are pre- sented in Table 2.
Accuracy was calculated by comparing the average concentration found to the known concen- tration, and was expressed in percentage as relative error. Precision was evaluated by calculating the RSD of measured concentrations at each level.
with 400 µL of mobile phase and 100 µL aliquot of resulting solution was injected into HPLC appara- tus. The samples setting into the vials were immedi- ately assayed. Having obtained a chromatogram at a wavelength of 280 nm, 100 µL of the aliquot was injected once again and assayed at a wavelength of 238 nm for the assay of DIC and PAP, respectively.
Selectivity
The selectivity of the method was tested by comparing the chromatograms of blank plasma con- trols from six rabbits with that of plasma spiked with DIC, PAP and IS.
Sensitivity
The calibration standard at the lowest concen- tration, yielding a precision with relative standard deviations (RSD) less than 20% and accuracy with- in 20% of the nominal concentration, was consid- ered to be the lower limit of quantification.
Recovery
The extraction recoveries of DIC and PAP from rabbit plasma at levels (0.05, 0.25, 1.25 and 5
µg/mL of DIC and 0.05, 0.2, 1, 4 µg/mL of PAP) were determined by comparing mean peak area of DIC/IS or PAP/IS samples to that of unextracted DIC or PAP standards in mobile phase at equivalent DIC or PAP level spiked with IS and expressed in percentage, respectively.
Calibration curve
Calibration standards at concentrations of 0.05, 0.125, 0.25, 0.5, 1.25, 2.5 and 5 µg/mL of DIC and
0.05, 0.1, 0.2, 0.5, 1, 2, 4 and 6 µg/mL of PAP (n =
2) were freshly prepared as described above and assayed on the same day. This assay was repeated for five consecutive days with freshly prepared cali- bration standards. The subsequent five calibration curves (y = ax + b), represented by the plots of the peak area of DIC to IS or PAP to IS (y) versus the concentration of the calibration standards (x), were generated and obtained by linear least-squares regression as the mathematical model.
Stability of samples
Short-term stability of plasma samples was examined by supplementing blank plasma with appropriate amounts of working solutions of DIC and PAP to obtain 0.05, 0.25, 1.25, 5.0 g/mL of
DIC and 0.05, 0.2, 2.0, 6.0 g/mL of PAP. Each sample was analyzed at room temperature for 48 h (every 4 h), including their residence time in an autosampler.
Table 2. Intra- and inter-day validation of the method (precision and accuracy) (n = 5).
Intra-day
Inter-day
Added concentration (µg/mL)
Found concentration (µg/mL)
Precision (% RSD)
Accuracy (relative error, %)
Found concentration (µg/mL)
Precision (% RSD)
Accuracy (relative error, %)
DIC
0.05
0.0477
7.6
4.6
0.0464
5.9
7.2
0.25
0.2395
3.3
4.2
0.2368
4.0
5.3
1.25
1.1588
4.4
7.3
1.1738
2.1
6.1
5
4.6752
4.5
6.5
4.8122
1.7
3.8
PAP
0.05
0.0474
8.7
5.2
0.0482
7.6
3.6
0.2
0.1954
3.4
2.3
0.1952
4.5
2.4
2
1.8463
2.3
7.7
1.8823
5.2
5.9
6
5.4871
7.0
8.5
5.6401
4.8
6.0

531
Pharmacokinetics of diclofenac sodium and papaverine hydrochloride...
The long-term freezer stability of DIC and PAP in rabbit plasma was assessed by analysis after 30 days of storage at -20OC. The concentration of the stability of the samples (0.05, 0.25, 1.25, 5.0 g/mL
for DIC and 0.05, 0.2, 2.0, 6.0 g/mL for PAP) was compared to the mean of back-calculated values for the standards at the appropriate concentration from the first day of the long term stability testing.
The long-term freeze-thaw stability of the active substances at concentrations 0.05, 0.25, 1.25,
5.0 g/mL for DIC and 0.05, 0.2, 2.0, 6.0 g/mL for PAP in plasma was analyzed in triplicate after 1, 2 and 30 days of storage at -20OC.
b.w.) and PAP (5 mg/kg b.w.). The tablets were administered via an orogastric tube with 100 mL of water. Blood samples were withdrawn from the ear vein at different time intervals: 0, 0.5, 1, 2, 3, and 4
h. These intervals were chosen because the biologi- cal half-time of DIC and PAP is 1-2 h (3). In humans, dogs and pigs the terminal elimination half- lives (t1/2‚) of diclofenac have been reported to range from 1.1 to 2.4 h (9, 41, 42). The blood was collect- ed into heparinized tubes. Plasma was separated and stored at -20OC till the analysis was carried out. All of the plasma samples were analyzed within a week after the separation.
After a lag period of 10 days, the animals were crossed over and the experiments were repeated. Finally, DIC and PAP were administered intra- venously and orally in single and composed prepa- rations six times (n = 6). The experiment was carried out at room temperature. All preparations were administered in the morning.
Pharmacokinetic study
Animals
The experiments were carried out on randomly selected male Berg rabbits weighing 2.5-3.0 kg, pur- chased from the licensed breeder (Lisowski, Parczew, Poland). The animals were kept in cages (one per cage) on a 12-hour day/night cycle with free access to food and water. Each experimental group consisted of 9-12 animals. The experimental protocol was approved by the Local Ethics Committee at the Medical University of Lublin (license number 36/2007). All procedures were per- formed in compliance with the requirements of European convention for the protection of vertebrate animals used for experimental and other scientific purposes (ETS123, 1991).
Calculations and statistics
The non-compartmental pharmacokinetic analysis of DIC and PAP concentrations in plasma versus time data were calculated using WinNonlin
1.1 software. The plasma concentration ñ time pro- files following a single i.v. or p.o. doses were not adequately fitted with a compartmental model.
Statistical analysis was carried out using SAS
9.1.3 (SAS Institute, Cary, NC, USA). The data obtained were subjected to statistical analysis using one-way ANOVA and Studentís t-test and a p value of < 0.05 was considered as statistically significant.
Administration and sampling
Before the experiment, the rabbits were fasted for the period of 12 h but water was available.
On the first day of the test, the rabbits were divid- ed into four groups and each group consisted of three animals. DIC and PAP used for intravenous adminis- tration were separately dissolved in sterile apyrogenic saline. The first group of animals was given a single intravenous injection of sterile apyrogenic physiologi- cal saline (as negative control), the second group was administered DIC at a dose of 12.5 mg/kg body weight (b.w.), the third group was injected with PAP at a dose of 5 mg/kg b.w. and the fourth group with DIC (12.5 mg/kg b.w.) and PAP (5 mg/kg b.w.). Intravenous administration was performed in the marginal ear vein of the rabbits at a volume of 0.5 mL/kg b.w. with ster- ile disposable syringes and needles.
The next day, other rabbits were divided into three groups and each group consisted of three ani- mals. The first group was orally administered a tablet with DIC (12.5 mg/kg b.w.), the second group was given a tablet with PAP (5 mg/kg b.w.) and the third group a tablet composed of DIC (12.5 mg/kg
RESULTS AND DISCUSSION
HPLC method development
Different mobile phases were used to deter- mine either DIC or PAP in biological fluids by HPLC (23-28, 34-36). There is no mobile phase for simultaneous determination of DIC and PAP in bio- logical matrices. In our previous study (40) on simultaneous determination of DIC and PAP in composed tablets, the HPLC method with a mobile phase (methanol-water, 60 : 40, v/v) was developed. Bearing those studies in mind, we tried to achieve a proportion of solvents with an optimized separation of the active substances. It was not easy because the solubility of DIC and PAP is different (3). Various proportions of methanol-water solvents in mobile phase for determination of DIC in human plasma by HPLC method can be found in the literature (30, 43). In our study, methanol-water (55 : 45, v/v) was selected as the mobile phase for determination of

532
REGINA KASPEREK et al.
A1
B1
A2
B2
C1
D1
C2
D2
Figure 1. Representative chromatograms of: (A1) DIC (4 µg/mL), PAP (2 µg/mL) and phenacetin (IS) (6 µg/mL) standards at 280 nm and (A2) at 238 nm; (B1) blank rabbit plasma at 280 nm; (B2) blank rabbit plasma at 238 nm; (C1) rabbit plasma sample at 0.5 h after oral administration of composed tablet comprising DIC and PAP and spiked with IS at 280 nm and (C2) at 238 nm; (D1) DIC for LLOQ; (D2) PAP for LLOQ

533
Pharmacokinetics of diclofenac sodium and papaverine hydrochloride...
DIC and PAP in rabbit plasma because of its very simple composition, and clear baseline separation of DIC, PAP and IS was obtained (Fig. 1).
A number of NSAIDs have been used as an internal standard for the analysis of DIC from the biological matrices (19, 21, 31). Several substances
were tested as IS. There were very poor baseline separations of ibuprofen, naproxen, ketoprofen or indomethacin from DIC under the experimental con- ditions used in the present study. However, using phenacetin, clear line separation was achieved. Phenacetin seemed to be the most appropriate drug
Table 3A. Stability of DIC in rabbit plasma samples.
Table 3B. Stability of PAP in rabbit plasma samples.

Short-term stability (48 h) in an autosampler
Concentration of PAP (g/mL)
0.05
0.2
2.0
6.0
Mean
0.053
0.2073
2.09
6.25
SD
0.001
0.0034
0.0321
0.0822
CV (%)
1.89
1.64
1.54
1.32

Long-term freezer stability (30 days)
Concentration of PAP (g/mL)
0.05
0.2
2.0
6.0
Mean
0.0512
0.2155
2.11
6.17
SD
0.0023
0.0098
0.0821
0.2492
CV (%)
4.49
4.55
3.89
4.04

Long-term freeze-thaw stability after three cycles (-20OC, 30 days)
Concentration of PAP (g/mL)
0.05
0.2
2.0
6.0
% of the initial conc. of PAP after 30 days
98.32
99.03
95.78
98.16
SD
2.5
1.98
2.08
2.41
CV (%)
0.03
0.02
0.02
0.02

Short-term stability (48 h) in an autosampler
Concentration of DIC (g/mL)
0.05
0.25
1.25
5.0
Mean
0.055
0.2402
1.37
5.31
SD
0.0013
0.0029
0.0351
0.0922
CV (%)
2.36
1.21
2.56
1.74

Long-term freezer stability (30 days)
Concentration of DIC (g/mL)
0.05
0.25
1.25
5
Mean
0.048
0.2576
1.29
5.15
SD
0.0019
0.0057
0.0521
0.2138
CV (%)
3.96
2.21
4.04
4.15

Long-term freeze-thaw stability after three cycles (-20OC, 30 days)
Concentration of DIC (g/mL)
0.05
0.25
1.25
5
% of the initial conc. of DIC after 30 days
97.43
98.32
97.12
98.89
SD
2.14
1.68
1.89
2.21
CV (%)
0.02
0.02
0.02
0.02

534
REGINA KASPEREK et al.
Table 4. Pharmacokinetic parameters of DIC and PAP in single or composed formulations administered intravenously or orally.
Pharmacokinetic parameters of DIC and PAP, administered intravenously and orally showed no statistically significant difference between single or composed formulations (p > 0.05).
in the present assay and was chosen because it is stable and does not endogenously exist in plasma. Moreover, it did not interfere with the rabbit plasma sample and it was well separated from DIC and PAP.
Liquid-liquid extraction method was used for sample preparation. When it comes to extracting DIC from plasma after the acidification of the sam- ple, hexane-isopropanol at different ratios (44, 45), acetonitrile (19, 46), and dichloromethane (30) were described in the literature. In our study, chloroform was used as solvent for extraction after acidification of plasma sample, because DIC and PAP are soluble in acidic medium and IS in chloroform. This solvent was adopted due to its high extraction efficiency and little interference.
The limit of detection (LOD) for DIC amount- ed to 0.015 µg/mL and for PAP to 0.02 µg/mL, based on a signal to noise ratio > 3.
Linearity of calibration curve
The method has a good linearity over the range of 0.05-5 µg/mL for DIC and 0.05-6 µg/mL for PAP. The mean regression equation from five replicate calibration curves was y = 0.1927 (± 0.0415) x + 0.0011 (± 0.00062) for DIC and y = 0.1449 (± 0.0267) x + 0.0033 (± 0.0017) for PAP. The square root of mean correlation coefficient (r2) was 0.9974 for DIC and 0.9986 for PAP.
Precision and accuracy
The intra- and inter-day precision and accuracy validation with samples of DIC and PAP are pre- sented in Table 2. In the range of 0.05-5 µg/mL DIC, the intra- and inter-day assay precision (RSD) varied from 3.3 % to 7.6% and from 1.7% to 5.9%, respec- tively. The intra- and inter-day accuracy (relative error) ranged from 4.2% to 6.5% and from 3.8% to 7.2%, respectively.
In the range of 0.05-6 µg/mL PAP, the intra- and inter-day assay precision (RSD) varied from 2.3% to 8.7% and from 4.5% to 7.6%, respectively. The intra- and inter-day accuracy (relative error) ranged from 2.3% to 8.5% and from 2.4% to 6.0%, respectively. The RSD of intra- and inter-day vari- ability was less than 10%, which is within the limit
HPLC method validation
Selectivity
No interference of endogenous and extraneous peaks with DIC, PAP and IS at their respective retention times at two wavelengths (RTDIC = 2.87 min, RTIS = 4.77 min and RTPAP = 13.15 min at 280 nm and RTPAP = 13.14 min, RTIS = 4.76 min, RTDIC
= 2.85 min at 238 nm) in blank rabbit plasma was
observed, as shown in Figure 1.
Sensitivity
The LLOQ of DIC and PAP in 1 mL rabbit plasma was observed to be 0.05 µg/mL.

Parameters

Intravenous
Oral
Single
Composed
Single
Composed
DIC
PAP
DIC
PAP
DIC
PAP
DIC
PAP
AUC0
(h∑mg/L) (mean n = 6, ± SD)

83.88 ± 18.78

21.46 ± 5.71

80.34 ± 12.54

22.24 ± 4.65

24.32 ± 5.57

4.12 ± 1.02

21.52 ± 4.36

3.77 ± 0.66

MRT (h)
(mean n = 6, ± SD)

1.30 ± 0.45

0.96 ± 0.33

1.32 ± 0.30

1.56 ± 0.38

2.68 ± 0.66

1.82 ± 0.19

2.16 ± 0.71

2.14 ± 0.30

CL (L/h)
(mean n = 6, ± SD)

0.49 ± 0.13

0.78 ± 0.23

0.49 ± 0.07

0.74 ± 0.21

0.51 ± 0.09

0.79 ± 0.18

0.49 ± 0.11

0.72 ± 0.20

MAT (h)
(mean n = 6, ± SD)

0.72 ± 0.20

0.86 ± 0.43

1.03 ± 0.83

0.76 ± 0.27

F
(mean n = 6, ± SD)

0.30 ± 0.07

0.21 ± 0.11

0.28 ± 0.08

0.18 ± 0.07

535
Pharmacokinetics of diclofenac sodium and papaverine hydrochloride...
A1
B1
A2
B2
C1
D1
C2
D2
Figure 2. Mean plasma concentration-time profile (n = 6) for DIC and PAP in rabbit plasma after an intravenous (i.v.) or oral (p.o.) administration of single (DIC, PAP) or composed (DIC*, PAP*) formulations

536
REGINA KASPEREK et al.
of acceptability (± 15%) (24). These results indicate that this method had good precision and accuracy.
sented in Table 4. More than 99% of diclofenac is bound to plasma proteins (3, 9) and papaverine is about 90% (3), therefore, we expected changes in the pharmacokinetic parameters of substances after their co-administration. As compared with the phar- macokinetic parameters, such as AUC0, MRT and CL of DIC or PAP administered intravenously and orally, after single dose there was no statistically significant difference between single or compound formulations (p > 0.05). The MAT of DIC and PAP administered as single or compound formulations were calculated to be over 1 h and these MAT val- ues presented no statistically significant difference between the formulations (p > 0.05). Similarly, after the oral administration of DIC to the rabbits, the mean MAT was equal to 1.24 h (47). Diclofenac penetrates to synovial fluid where concentrations may persist even when in plasma concentrations fall. Diclofenac is metabolized by cytochrome P450 by phase I hydroxylation and by phase II conjuga- tion with glucuronic acid and the amino acid taurine. Diclofenac is extensively metabolized in camels as well as in humans, goats and cattle, and this appears to be mediated by cytochrome P450 2C subfamily (48, 49).
Drug-protein binding has an influence on the distribution equilibrium of drugs. Only the free, non-protein bound fraction of drug can leave the cir- culatory system and diffuse into tissue. The equilib- rium between free drug can be maintained over a relatively long period of time because of the disso- ciation of the drug-protein complex. The transport function of plasma proteins is of importance for drugs of low solubility in water. Plasma protein binding is of significant influence on the distribution equilibrium if the drug is polar and therefore diffus- es slowly into tissue. If, in addition, such a substance has a high affinity for plasma proteins, displacement from its protein binding sites may result in a change of distribution equilibrium and an altered pharmaco- logic response (50).
The AUC0 values of DIC or PAP after intra- venous injection were higher than after oral admin- istration. It was shown that bioavailability of (F) DIC and PAP after oral administration was decreased to over 30% for DIC and 20% for PAP, but for some rabbits bioavailability amounted to over 43% for both DIC and PAP. When DIC is oral- ly administered, it is almost completely absorbed due to the fact that it is subject to first-pass metabo- lism. In this way about 50% of the drug reaches the systemic circulation in the unchanged form (3).
The metabolic tracts of both of the substances showed that it is possible that a simultaneous admin-
Recovery
The mean extraction recoveries of DIC were found to be 95.78% ± 2.98 of 0.05-5 µg/mL, PAP 93.09% ± 3.29 of 0.05-6 µg/mL and IS 95.93% ±
1.38 of 5-20 µg/mL, respectively. The recoveries were not dependent on the concentration and conse- quently resulted in good linearity of the calibration curves.
Evaluation of stability of samples
Stock solutions of DIC (250 µg/mL), PAP (100
µg/mL) and IS (100 µg/mL), and working solutions of DIC, PAP and IS were observed to be over 99% of the nominal concentrations after 5 days of storage at 4OC, compared with freshly prepared solutions. Similarly, working solutions of DIC, PAP and IS were over 99 % of the nominal concentrations after 20 days of storage at -20OC.
Short-term stability of active substances in plasma were investigated at room temperature for 48
h. After the storage, the coefficients of variation (CV, %) values varied from 1.21 to 2.56 for DIC solutions and from 1.32 to 1.89 for PAP concentra- tions.
Long-term freezer stability of plasma samples (after 30 days of storage at -20OC) CV values for analyzed DIC samples: 0.05, 0.25, 1.25, 5.0 g/mL
amounted to 3.96, 2.21, 4.04 and 4.15%, respective-
ly. PAP (CV) values amounted to 4.49, 4.55, 3.89
and 4.04% for concentrations: 0.05, 0.2, 2.0, 6.0
g/mL, respectively.
After storage in long-term freeze-thaw stability for three cycles (-20OC, 30 days) the drugs were regarded as stable if more than 90% was intact at the end of the study period. The amount of the initial concentration of DIC and PAP remaining after this time was: 97.43 ± 2.14%, 98.32 ± 1.68%, 97.12 ±
1.89%, 98.89 ± 2.21% for DIC concentrations of
0.05, 0.25, 1.25 and 5.0 g/mL, respectively, and
98.32 ± 2.5%, 99.03 ± 1.98%, 95.78 ± 2.08% and
98.16 ± 2.41% for PAP concentrations of 0.05, 0.2,
2.0 and 6.0 g/mL respectively.
The results from the stability tests (Tables 3 A and B) indicated that DIC and PAP were stable under the conditions studied.
Pharmacokinetic study
The mean plasma concentration-time profiles of DIC and PAP are shown in Figure 2. The phar- macokinetic parameters of DIC and PAP were cal- culated by non-compartmental analysis and are pre-

537
Pharmacokinetics of diclofenac sodium and papaverine hydrochloride...
istration of DIC and PAP has no influence on their pharmacokinetics.
In our study, oral administration of a tablet com- prising DIC and PAP did not change the main phar- macokinetic parameters of the active substances after single dose. Similarly, administration of diclofenac and misoprostol in one composed tablet did not change the pharmacokinetics of these two drugs (4).
10.
Fowler P.D., Shadforth M.F., Crook P.R., John V.A.: Eur. J. Clin. Pharmacol. 25, 389 (1983).
Tang W.: Curr. Drug Metab. 4, 319 (2003). Tang W., Stearns R.A., Bandiera S.M., Zhang Y., Raab C., Braun M.P., Dean D.C. et al.: Drug Metab. Dispos. 27, 365 (1999).
Leemann T., Transon C., Dayer P.: Life Sci. 52, 29 (1993).
Zweers-Zeilmaker W.M., Horbach G.J., Witkamp R.F.: J. Vet. Pharmacol. Ther. 21, 154 (1998).
Belpaire F.M., Bogaert M.G., Rossel M.T.: Xenobiotica 5, 413 (1975).
Belpaire F.M., Bogaert M.G.: Xenobiotica 5, 421 (1975).
Rosazza J.P., Kammer M., Youel L.: Xenobiotica 7, 133 (1977).
Wilen G., Ylitalo P.: J. Pharm. Pharmacol. 34, 264 (1982).
El-Sayed Y.M., Abdel-Hameed M.E., Suleiman M.S., Najib N.M.: J. Pharm. Pharmacol. 40, 727 (1988).
Moncrieff J.: J. Chromatogr. 577, 185 (1992). Rigato H.M., Moreno R.A., Orpinelli E.Z., Borges B.C., Sverdloff C.E., Pedrazzoli J. Jr., Borges N.C.: Int. J. Clin. Pharmacol. Ther. 47, 132 (2009). Millership J.S., Hare L.G., Farry M., Collier P.S., McElnay J.C., Shields M.D., Carson D.J.:
J. Pharm. Biomed. Anal. 25, 871 (2001). Roskar R., Kmetec V.: J. Chromatogr. B Ana- lyt. Technol. Biomed. Life Sci. 788, 57 (2003). Kaphalia L., Kaphalia B.S., Kumar S., Kanz M.F., Treinen-Moslen M.: J. Chromatogr. B Analyt. Technol. Biomed. Life Sci. 830, 231 (2006).
Nasir F., Iqbal Z., Khan A., Ahmad L., Shah Y., Khan A. Z., Khan J. A., Khan S.: J. Chromatogr. B Analyt. Technol. Biomed. Life Sci. 879, 3434 (2011).
Kumar S.V., Rudresha G., Gurav S., Zainuddin M., Dewang P., Kethiri R.R., Rajagopal S., Mullangi R.: Biomed. Chromatogr. 27, 203
(2013).
Lee H.S., Jeong C.K., Choi S.J., Kim S.B., Lee
M.H., Ko G.I., Sohn D.H.: J. Pharm. Biomed. Anal. 23, 775 (2000).
Davarani S.S., Pourahadi A., Nojavan S., Banitaba M.H., Nasiri-Aghdam M.: Anal. Chim. Acta 722, 55 (2012).
11.
12.
13.
14.
CONCLUSION
Tablets comprising DIC and PAP were prepared and all of tablets fulfilled pharmacopoeal require- ments such as average weight, hardness and assay of drug content. A HPLC-UV method with LLE extrac- tion was developed and validated for the quantitative determination of DIC and PAP in rabbit plasma. The LLOQ of the method was 0.05 µg/mL and the sensi- tivity was compared with previously reported HPLC- UV methods using LLE (21) and protein precipitation (19). The proposed method was successfully applied to determination of DIC and PAP, after injection and oral administration to rabbits, for use in pharmacoki- netic study. A non-compartmental pharmacokinetic analysis showed that oral administration of composed tablet comprising DIC and PAP did not change the main pharmacokinetic parameters such as MRT, MAT, CL and bioavailability of active substances compared with a single administration of DIC and PAP after single dose.
15.
16.
17.
18.
19.
20.
21.
22.
23.
24.
REFERENCES
1.
Davies N.M., Saleh
J.Y., Skjodt N.M.: J.
Pharm. Pharm. Sci. 3, 137 (2000).
Wallace J.L., Del Soldado P.: Fundam. Clin. Pharmacol. 17, 11 (2003).
Martindale: The Complete Drug Reference. 37th edn., The Pharmaceutical Press, London 2011.
Karim A., Smith M.: Scand. J. Rheumatol. Suppl. 96, 37 (1992).
Smith D.A.: US Patent No. 5. (1999).
Snir N., Moskovitz B., Nativ O., Margel D., Sandovski U., Sulkes J., Livne P. M., Lifshitz D.A.: J. Urol. 179, 1411 (2008).
Yencilek F., Aktas C., Goktas C., Yilmaz C., Yilmaz U., Sarica K.: Urology 72, 987 (2008). Kasperek R.: Polish Patent No. P 380847 (2010).
Willis J.V., Kendall M.J., Flinn R.M., Thornhill D.P., Welling P.G.: Eur. J. Clin. Pharmacol. 16, 405 (1979).
25.
2.
3.
26.
4.
5.
6.
27.
28.
7.
8.
29.
Yilmaz B., Asci A., Palabiyik S.S.: Chromatogr. Sci. 49, 422 (2011).
J.
9.
30.
Chmielewska A., Konieczna L., Plenis A., Bie- niecki M., Lamparczyk H.: Biomed. Chroma- togr. 20, 119 (2006).

538
REGINA KASPEREK et al.
31.
Lala L.G., D'Mello P.M., Naik S.R.: J. Pharm. Biomed. Anal. 29, 539 (2002).
Kim E., Ahn B., Noh K., Kang W., Gwak H.S.: J. Sep. Sci. 35, 2219 (2012).
Wasfi I.A., Hussain M.M., Elghazali M., Alkatheeri N.A., Abdel Hadi A.A.: Vet. J. 166, 277 (2003).
Yilmaz B.: Chromatographia 71, 549 (2010). Shaaya A.N., Kraus C., Bauman D.H., Ritschel W.A.: Methods Find. Exp. Clin. Pharmacol. 14, 373 (1992).
Wiczling P., Kaliszan R.: J. Chromatogr. A. 1217, 3375 (2010).
Shamsipur M., Fattahi N.J.: J. Chromatogr. B Analyt. Technol. Biomed. Life Sci. 879, 2978 (2011).
Kanto J., Iisalo E., Manell D., M‰ntyl‰ R.: Int.
J. Clin. Pharmacol. Biopharm. 17, 375 (1979). Paul B.D., Dreka C., Knigh E.S., Smith M.L.: Planta Med. 62, 544 (1996).
Kasperek R.: Acta Pol. Pharm. Drug Res. 65, 403 (2008).
Tsuchiya T., Terakawa M., Ishibashi K., Noguchi H., Kato R.: Arzneimittelforschung 30, 1650 (1980).
42.
Oberle R.L., Das H., Wong S.L., Chan K.K., Sawchuk R.J.: Pharm. Res. 11, 698 (1994).
Blagbrough I.S., Daykin M.M., Doherty M., Pattrick M., Shaw P.N.: J. Chromatogr. 578, 251 (1992).
Hinz B., Hug A. M., Fotopoulos G., Gold M.S.: Int. J. Clin. Pharmacol. Ther. 47, 643 (2009). Jantratid E., De Maio V., Ronda E., Mattavelli V., Vertzoni M., Dressman J.B.: Eur. J. Pharm. Sci. 37, 434 (2009).
Pathan A.R., Karwa M., Pamidiboina V., Deshattiwar J.J., Deshmukh N.J., Gaikwad P., Mali S.V. et al.: Inflammopharmacology 18, 157 (2010).
Said S.A., Sharaf A.A.: Arzneimittelforschung 31, 2089 (1981).
Sioufi A., Pommier F., Boschet F., Godbillon J., Lavoignat D., Salliere D.: Biopharm. Drug Dispos. 15, 441 (1994).
Riess V.W., Schmid K., Botta L., Kobayashi K., Moppert J., Schneider W., Sioufi A. et al.: Arzneimittelforschung 36, 1092 (1986).
Ritschel W.A., Kearns G.L.: Handbook of Basic Pharmacokinetics, 7th edn., American Pharma- cists Association, Washington 2009.
32.
43.
33.
44.
34.
35.
45.
46.
36.
37.
47.
38.
48.
39.
49.
40.
41.
50.
Received: 7. 09. 2014