# ORIGINAL PAPERS
Grażyna CEPUCH1
Agnieszka KRUSZECKA-KRÓWKA1
Ilona BIEDRA2
Agnieszka GNIADEK3
The assessment of the exposure of premature babies born with respiratory failure to noise and artificial light on the first day of hospitalization in the Neonatal Intensive Care Unit - preliminary report
Ocena narażenia noworodków urodzonych przedwcześnie z niewydolnością oddechową na hałas i sztuczne oświetlenie w pierv/szej dobie hospitalizacji w Oddziale Intensywnej Terapii Noworodka - doniesienie wstępne
'Department of Clinical Nursing, Faculty of Health Sciences, Jagiellonian University Medical College, Krakow, Poland
Head:
Dr hab. Maria Kózka, prof UJ
2The University Children's Hospital, Department of Pathology and Intensive Care of the Newborn, Krakow, Poland
Head:
Prof, dr hab. Przemko Kwinta
’Department of Nursing Management and Epidemiological Nursing, Faculty of Health Sciences, Jagiellonian University Medical College, Kraków, Poland
Head:
Dr hab. Agnieszka Gniadek
Additional key words:
premature baby
artificial light
noise
Dodatkowe słowa kluczowe:
noworodek urodzony przedwcześnie światło sztuczne
hałas
Funding sources
Paper developed using the university’s funds.
Conflicts of interest not declared
Received: 03. 02. 2019
Accepted: 27. 04. 2019
Introduction: Newborns born pre­maturely and hospitalized in the inten­sive care unit are exposed to harmful environmental factors, including artifi­cial light and noise.
Aim of the study: The evaluation of the exposure of premature babies born with respiratory failure to noise and artificial light on the first day of hospitalization.
Material and Method: The stu­dy group involved 9 neonates born prematurely with respiratory failure. It was conducted on the first day of hospitalization in the Neonatal Inten­sive Care Unit (NICU). The research method was based on the standardi­zed observation of newborns placed in a close incubator not exposed to artificial light and noise.
Results: The exposure time to li­ght in close incubators ranged from 225 minutes to 790 minutes per day and was longer during the day shift. The results of the sound level measu­rements exceeding 76 dB were recor­ded both during the day and the night shift. Newborns ventilated using the nCPAP technique were exposed to hi­gher sound levels than neonates ven­tilated with a ventilator.
Conclusions: Newborns hospita­lized in the Neonatal Intensive Care Unit are excessively exposed to artifi­cial light and sound, the level of which exceeds permissible standards.
Wstęp:	Noworodki urodzone
przedwcześnie, hospitalizowane w od­dziale intensywnej terapii, narażone są na działanie szkodliwych czynni­ków środowiskowych, w tym światła sztucznego i hałasu.
Cel badania: Ocena ekspozycji na hałas i światło sztuczne w pierw­szej dobie hospitalizacji noworodków przedwcześnie urodzonych z niewy­dolnością oddechową.
Materiał i Metodyka: Badaną grupę stanowiło 9 noworodków urodzonych przedwcześnie, z niewydolnością od­dechową, będących w pierwszej dobie hospitalizacji w Oddziale Intensywnej Terapii Noworodka (NICU). Metodę ba­dawczą stanowiła obserwacja standa­ryzowana noworodka w inkubatorze zamkniętym pod kątem ekspozycji na światło sztuczne i hałas.
Wyniki: Czas ekspozycji nowo­rodków umieszczonych w inkubato­rach zamkniętych na światło sztuczne wyniósł w ciągu doby od 225 min do 790 min i był dłuższy w czasie dyżuru dziennego. Zarówno w ciągu dyżu­ru dziennego jak i nocnego zareje­strowano wyniki pomiarów poziomu dźwięku przekraczające 76 dB. Nowo­rodki wentylowane techniką nCPAP narażone były na wyższe wartości po­ziomu dźwięku niż noworodki wenty­lowane za pomocą respiratora.
Wnioski: Noworodki hospitalizo­wane w Oddziale Intensywnej Terapii narażone są na nadmierną ekspo­zycję na oświetlenie sztuczne oraz dźwięk, którego poziom przekracza dopuszczalne normy.
Address for correspondence:
Grażyna Cepuch
Department of Clinical Nursing, Faculty of Health Sciences, 30-501 Krakow tel: 600 132 585, fax 12 4294872 e-mail: grazyna. cepuch@uj. edu. pl
Introduction
The dynamic development of perina­tal care and diagnostic and treatment techniques, which has been observed in
intensive neonatal care, led to a signifi­cant increase in the survival rate of pre­maturely born infants, including those that are extremely immature [1], In re-
Przegląd Lekarski 2019 / 76 / 4
163

cent years the percentage of premature births in Poland has remained at a simi­lar level of around 6-7% [2]. Despite the progress in neonatology, prematurity is still the main cause of neonatal mortality and severe complications in this period [2-4]. Prematurity is characterized by in­complete adaptation of the child to the extrauterine life as a result of the struc­tural and functional immaturity of many organs and systems; however, it is the degree of lung immaturity and respira­tory failure complications that determine the further functioning and development of the child [1, 3, 4],
A prevention of possible complica­tions is a challenge to professionals dealing with care for a premature baby. In this context, the need to provide the patient with a safe hospital environment, with the limited number of traumatic fac­tors that burden the immature organism, is increasingly indicated. The diagnostic- -therapeutic process and care provided in neonatal intensive care units are asso­ciated with the exposure to harmful envi­ronmental factors, such as noise and ar­tificial light, as well as pain and traumatic touch. They disrupt the process of ada­ptation of newborns and may have a ne­gative impact on the further development of the central nervous system, sensory organs and the emotional and psycholo­gical sphere of the child [1, 5-7]. The high intensity of light reduces the frequency with which immature newborns open their eyes and this can lead to the impaired vi­sion development. The excessive lighting combined with the high concentrations of oxygen in neonatal ventilation may con­tribute to the development of retinopathy of prematurity [6, 7].
On the other hand, noise is responsi­ble for many negative effects in the bio­logical and behavioural areas. It impairs the functioning of the circulatory, respi­ratory, hormonal, nervous and digestive system, as well as limits the efficiency of the immune system [4, 6]. A disturbance of sleep, which plays a very important role in the further development of the newbor­n’s brain, is an important negative effect of noise on newborns [7, 8]. Sounds of the high intensity make it difficult for newborns to fall asleep, they cause frequent awake­ning, and prevent the transition to a phase of quiet sleep. The excessive exposure to noise hinders the emotional and social development of the child and is one of the main factors responsible for hearing damage. Congenital or acquired hearing loss correlates with the impairment of spe­ech development. This may be a cause of the worse school performance, difficulties in interpersonal contacts and emotional disorders in the future [7, 8], The acoustic conditions are influenced by the activity of the medical team and visitors, the medi­cal equipment and the general structure of the ward [4-6],
Understanding the needs of newborns born prematurely and realizing the extent of environmental hazards in neonatal units as well as implementing measures
to limit the traumatic impact of these fac­tors on newborns seem to be the priorities of dynamically developing neonatal care. This will allow for minimizing the consequ­ences of prematurity and for reducing the generation of social costs and care-rela­ted expenses.
## Study objective
The aim of the study was to evaluate the exposure of prematurely born infants with respiratory failure to noise and artificial light on the first day of hospitalization in the Neonatal Intensive Care Unit.
## Material and Method
The research was carried out at the Neonatal Pathology and Intensive Care Department of the University Children's Hospital in Krakow (Poland) in the period from November 2016 to March 2017. The study was conducted with the observance of the principles of anonymity and in accor­dance with the code of medical ethics and the Declaration of Helsinki. It was appro­ved by the Bioethics Committee of the Ja­giellonian University Medical College (No. 122. 6120. 278. 2016 of 27. 10. 2016), the management of the University Children’s Hospital and the parents of newborns parti­cipating in the study.
The research involved 9 premature newborns born between 29 0/7 and 31 6/7 weeks of gestation (29 weeks of gestation - 6 patients; 30 weeks of gestation - 2 pa­tients; 31 weeks of gestation - 1 patient), including 5 male and 4 female neonates; it was conducted on the first or the se­cond day of life. The birth weight of the study group ranged from 940g to 1700g. All premature infants were diagnosed with prematurity and respiratory failure in the course of respiratory distress syndrome, without severe neurological disorders, congenital malformations and other co­morbidities. In the study group of 9 new­borns, 5 were ventilated mechanically with a ventilator, 4 were subjected to non-inva- sive ventilation using nasal CPAP (Conti­nuous Positive Airway Pressure) - nCPAP with the Infant Flow device. All newborns participating in the study stayed in a close incubator.
The research method was based on the standardized neonatal observation for the exposure to traumatic factors using the es­timation method. The measurements inclu­ded the Equivalent Continuous Sound Level and time of exposure to artificial light during twelve-hour nursing shifts: day (7 a. m. - 7 p. m. ) and night (7 p. m. - 7 a. m. ). The me­dical records analysis was also applied. The research tools were as follows: original questionnaire, sound meters (2), sound me­ter calibrator, clock and medical records.
The original questionnaire contained sociodemographic and clinical data as well as the information necessary to perform the assessment of the exposure to artificial light and noise.
The evaluation of the neonatal expo­sure to artificial light included the frequ­ency and time of exposure to spotlight (without measuring its intensity) and cen­
tral lighting of the patients’ room during the day and night shift, during diagnostic, care and therapeutic activities. At night the incubators were covered with shields pro­tecting from the light. The exposure of the room to central lighting was associated with the necessity to carry out activities in the newborn which required the removal of the shields from the incubator. The stu­dy was conducted in autumn and winter, and this had an influence on the time of neonatal exposure to artificial light.
The measurement of the Equivalent Continuous Sound Level was taken inside the incubator during the most arduous ho­urs of the medical team's activity related to the organization of the work in the ward at 4 a. m., 8 a. m., 12 p. m., 4 p. m., 8 p. m. and 12 a. m. The measurement time was 30 minutes. In addition, the assessment included the mean Equivalent Continuous Sound Level in the centre of the neonatal room during the day and the night shift. A response of the newborn to sound sti­muli (waking/sleeping/crying) was also evaluated. During the measurements, the door and windows in the room were clo­sed; a person taking measurements and a nurse looking after the newborn were the only persons present in the room. Four newborns were hospitalized in the room at the same time, but each time only one of them met the study inclusion crite­ria. The sound meter, which was designed to measure the sound level in the envi­ronment of newborns, was placed inside a close incubator (> 1 m from the walls, >
5 m from the windows and > 0. 5 m from an operator, a membrane was directed to­wards the ceiling), and the sound meter, which was designed to measure the sound level in the room, was placed in the centre of the room (1. 2 m from the floor, > 1 m from the walls, > 1. 5 m from the windows and > 0. 5 m from an operator, a membra­ne was directed towards the ceiling). The equipment of the room complied with the standards of the neonatal pathology and intensive care unit patients' room. The measurements were taken in the so-cal­led steady state, i. e. without taking into account the operation of the devices in the alarm mode. Before and after measu­rement sessions, the meter was calibrated using the Class I acoustic calibrator.
Results
Neonatal exposure to artificial light
During the first day of stay at the Neo­natal Pathology and Intensive Care De­partment, the number of exposures to the light emitted by the reflector placed above the incubator was between 3 and 8. Most of the exposures were during the night shift (Min 3, Max 5).
The exposure time of individual new­borns to the light emitted by the reflector on the first day of hospitalization was from 20 to 115 minutes and in 6 newborns it was longer during the day shift (Min 0 min, Max 75 min) than at night (Min 20 min, Max 60 min).
The exposure time of the newborns to the central light of the room during the
164
G. Cepuch et. al.

first day of hospitalization ranged from 135 to 720 minutes. Newborns were more fre­quently exposed to the central light of the room during the day shift (Min 125 min, Max 435 min) than at night (Min 10 min, Max 300 min).
Detailed data on the number of expo­sures to the light emitted by the reflector and the time of exposure to artificial light during the first day of hospitalization at the Neonatal Pathology and Intensive Care Department is presented in table I.
The exposure time of newborns to arti­ficial light, both emitted by the reflector and the central room lighting, ranged from 225 minutes to 790 minutes a day and in each case it was longer during the day shift (Min 185 min, Max 470 min) than at night (Min 40 min, Max 320 min).
Neonatal exposure to noise
The results of the sound level measu­rements taken on the first day of hospita- ization of the newborns at the Neonatal Dathology and Intensive Care Department st 4 a. m., 8 a. m., 12 p. m., 4 p. m., 8 p. m.
and 12 a. m. showed that the highest Equ­ivalent Continuous Sound Level (Leq) inside the incubator was recorded at 12 p. m. and amounted to 79. 1 dB, while the lowest value of 42. 4 dB was noted at 4 a. m. The sound level inside the incubator exceeding 76 dB was recorded both du­ring the day and at night. The mean Equ­ivalent Continuous Sound Level inside in­cubators at particular measurement hours is shown in table II.
The mean Equivalent Continuous Sound Level in the centre of the room was between 54. 1-58. 4 dB during the day shift and 52. 3-56. 4 dB during the night shift.
The mean Equivalent Continuous So­und Level measured inside incubators of newborns born prematurely and ventila­ted mechanically using a ventilator ranged from 42. 4 dB to 67. 5 dB. The mean Equiva­lent Continuous Sound Level inside neo­natal incubators with neonates ventilated using the non-invasive nCPAP technique and the Infant Flow device was from 57. 1 to 79. 1 dB.
At the time of measurement, no new­born cried; sleep was their most common reaction to noise, regardless of the tre­atment method (mechanical ventilation, nCPAP).
## Discussion
In the era of the dynamic neonatology development, successful care depends not only on the prevention of extreme systems and organs immaturity complications, but also on the reduction of the exposure to traumatic factors, such as artificial light and noise. The Neonatal Pathology and Inten­sive Care Department is also the source of many harmful and stressful environmental factors that burden the immature organism [1, 6-11], In this context, the need to provi­de the patient with a safe hospital environ­ment is increasingly indicated.
Our study, which was conducted on the first day of hospitalization, showed that the number of neonatal exposures to the light emitted by the reflector placed above the incubator ranged from 3 to 8. The to­tal exposure time to artificial light emitted
Table I
The exposure of newborns to artificial light on the first day of hospitalization. Narażenie noworodków na sztuczne światło w pierwszym dniu hospitalizacji.
Ordinal number of newborns	Fetal age (hbd)	Birth weight / (g)	Number of exposures to the light emitted by the reflector on the first day of hospitalization (n)		Time of exposure to the light emitted by the reflector on the first day of hospitalization (min)		Time of exposure to the central room lighting on the first day of hospitalization (min)		Total time of exposure to artificial lighting (emitted by the reflector + central lighting) on the first day of hospitalization (min)
			Day shift	Night shift	Dayshift	Nightshift	Day shift	Night shift	Day shift	Night shift
1	30	1700	2	5	25	55	210	260	235	315
2	31	1200	2	4	50	30	135	10	185	40
3	28	940	3	3	60	30	125	10	185	40
4	30	1300	0	3	0	20	435	180	435	200
5	29	900	2	4	55	60	210	185	265	245
6	28	965	2	4	45	30	395	145	440	175
7	29	1340	3	3	75	25	180	90	255	115
8	28	1150	3	5	55	32	150	10	205	42
9	29	1200	3	2	50	20	420	300	470	320

Table II
The exposure of newborns to noise on the first day of hospitalization. Narażenie noworodków na hałas w pierwszym dniu hospitalizacji.
Ordinal number of newborns	Type of ventilation	Leq (dB) / 4. 00 a. m.	Leq (dB) / 8. 00 a. m.	Leq (dB) / 12. 00 p. m.	Leq (dB) / 4. 00 p. m.	Leq (dB) / 8. 00 p. m.	Leq (dB) / 12 a. m.
1	CPAP	62. 7	64. 1	58. 4	57. 8	68. 3	61. 7
2	CPAP	60. 1	63. 6	63. 6	64. 9	59. 3	62. 1
3	CPAP	57. 1	59. 4	79. 1	57. 6	58. 4	57. 8
4	CPAP	53. 1	64. 2	62. 4	53. 9	49. 5	52. 4
5	ventilator	45. 7	46. 9	61. 3	59. 3	51. 2	46. 2
6	ventilator	54. 4	55. 4	56. 2	54. 5	54. 7	54. 1
7	ventilator	47. 5	52. 3	49. 3	47	49. 3	47. 7
8	ventilator	42. 4	44. 8	46. 1	46. 6	43. 2	42. 7
9	ventilator	67. 4	47. 5	49. 2	44. 3	45. 9	67. 5

Przegląd Lekarski 2019/76/4
165

by the reflector and to the central light was from 225 to 790 minutes. The highest num­ber of the exposures was recorded during the night shift. Similar results were obta­ined in the studies conducted in patients with congenital heart diseases Cepuch et al. [6], although the exposure time to artifi­cial light in this group was shorter. Perhaps the difference in the outcomes is related to the time of the year when the research was carried out. Our study was conducted in autumn and winter when the exposure to the sunlight is short. Unfortunately, the pilot research did not take into account the intensity of artificial light used during the shift. Therefore, the study requires a bro­ader analysis to be conducted in this area, so that it can be compared to the reports obtained by other authors [12-15].
According to the recommendation of the American Academy of Paediatrics (AAP) Lockwood et al [9], the neonatal in­tensive care unit should use the mean light intensity of 100-150 lx in regular day-to- -night lighting cycles (8 hours a day with night time reduction). Authors of numerous works emphasize the importance of cyclic lighting for the proper formation of the cir­cadian rhythm in newborns Rea & Figueiro [12]; Guyer et al. [13)]; Szczepański & Kamianowska [14]; Lasky & Williams [15] and present the results of artificial lighting intensity measurements taken in neonatal intensive care units.
In our study, the sound level inside the incubator was also evaluated. Noise is considered to be one of the most important destabilizers of the health in prematurely born infants [7-8, 16-23].
According to Almadhoob & Ohlsson [8], the sound levels in neonatal intensive care units can range from 7 dB to 120 dB. Noise is mainly emitted by medical devices Szczepański et al. [20]; Duran et al. [21]; Shimizu & Hiroya [24]; Parra & Suremain [25]; Pinheiro et al. [26] and the activity of the medical team Pinheiro et al. [26] and American Academy of Pediatrics [27] it de­pends on the day of the week, time of the day and place where newborns are placed (close/open incubator, isolation/general room) [22-23],
Our original study analysed the mean Equivalent Continuous Sound Level de­pending on the type of equipment used to support or replace the breath of the new­born. The mean Leq in the surrounding of newborns, who were ventilated mechani­cally using a ventilator inside the incubator, ranged from 44. 2 dB to 67. 5 dB. The value of the mean Leq was higher in the surroun­ding of neonates ventilated using the non- -invasive n-CPAP technique with the Infant Flow device. These results indicate that the operation of the Infant Flow device gene­rates a higher sound level than does the ventilator. The results received by Pinheiro et al. [26] were similar to the Leq outcomes obtained in our study inside a close incuba­tor (from 45. 4 dB to 79. 1 dB); however, the authors found a higher sound level in the room than in the immediate surrounding of newborns (52. 6 dB to 80. 4 dB), and this was not confirmed by our study (56 dB - 58
dB). Shimizu et al. [24] also showed that the Leq inside a close incubator was lower (49. 3 ±1. 7 dB) than outside the incubator (54. 2 ±1. 3 dB). On the other hand, accor­ding to Parra et al. [25] the Leq inside the incubator was significantly higher than in the room (+8 dB).
It should be borne in mind that incuba­tors generating high-intensity sounds may pose a threat to the hearing of neonates. In addition, sound waves reflected from the walls and dome of the incubator return to the hearing organ of the newborn with even greater intensity [26].
The measurements of the sound level revealed that, regardless of the ventilation method, prematurely born newborns par­ticipating in our study usually slept, even during an incidental single increase of the sound level. Vigilance was a less frequ­ently observed reaction to changes in the sound level. During the measurements, no newborn responded with crying. It can not be ruled out that the lack of crying in re­sponse to stimuli, which exceeded accep­table sound levels, may have resulted from the children’s immaturity or the exhaustion of their bodies with other traumatic stimuli, e. g. pain or touch.
The American Academy of Paediatrics (AAP) recommends that the sound level in the hospital is less than 45 dB, and insi­de the incubator it does not exceed 58 dB (American Academy of Pediatrics [27], On the other hand, the World Health Organiza­tion (WHO) allows for the sound levels in the hospital environment at 45 dB during the day and at 30 dB at night [28]. The PN- -87/B-02151/02 standard sets the accepta­ble Equivalent Continuous Sound Level in intensive care unit patients' rooms (coming from all sources) at 30 dB, both during the day and at night [29].
The analysis of the literature and our results indicate that the sound level norms recommended for neonatal intensive care units were significantly exceeded. An intro­duction of training programs dedicated to medical teams may contribute to a change of the attitudes and behaviours related to occupational health and safety as well as to the medical care for immature newborns [30-33].
## Clinical implication
Sensitizing neonatal medical teams to the actions that need to be undertaken to reduce noise generation and excessive exposure to artificial light, also in the group of patients staying in close incubators. The application of the results in creating a safe environment for the treatment of newborns in intensive care units. This will minimize the consequences of prematurity and redu­ce social and medical costs of care.
Study limitations: a single-centre stu­dy, conducted in a small group of patients, the omission of the sound intensity gene­rated by safety signals from the equipment monitoring the patients' condition, the lack of light intensity assessment and the eva­luation of the factors mentioned above in the group of patients staying outside the incubator.
## Conclusions
1. Newborns hospitalized in the Intensive Care Unit are excessively exposed to artificial light, especially during the day shift.
2. The sound levels permissible inside the incubator are exceeded throughout the day and night.
3. Newborns ventilated using the nCPAP technique are exposed to higher sound levels than neonates ventilated with a ventilator.
References:
1. Sharma A, Ford S, Calvert J: Adaptation for life: a review of neonatal psychology. Anaesth Intensive Care Med. 2011; 12: 85-90.
2. Central Statistical Office Committee The Demo­graphic Yearbook. Warszawa, 2016.
3. Reuter S, Moser C, Baack M: Respiratory distress in the newborn. Pediatr Rev. 2014; 35: 417-429.
4. Saboute M, Kashaki M, Bordbar A, Khalessi N, Farahani Z: The incidence of respiratory distress syndrome among preterm infants admitted to Neo­natal Intensive Care Unit: a retrospective study. Open J Pediatr. 2015; 5: 285-289.
5. Rodriguez RG, Pattini AE: Neonatal intensive care unit lighting: update and recommendations. Arch Argent Pediatr. 2016; 114: 361-367.
6. Cepuch G, Gniadek A, Bytowska N: The assess­ment of neonate's exposure to traumatic factors in the cardiac ward within the first 24 hours of hospi­talization. Environ Med. 2016; 19: 17-24.
7. Santos J, Pearce SE, Stroustrup A: Impact of hospital environmental exposure on neurodevel- opmental outcomes of preterm infants. Curr Opin Pediatr. 2015; 27: 254-260.
8. Almadhoob A, Ohlsson A: Sound reduction man­agement in the neonatal intensiva care unit for preterm or very low birth weights infants. Cochrane Database. Syst Rev. 2015; 1: CD010333.
9. Lockwood ChJ, Lemons JA: American Acad­emy of Pediatrics, American College of Obstetri­cians and Gynecologists, March of Dimes Birth Defects Foundation: Guidelines for perinatal care / American Academy of Pediatrics [and] the American College of Obstetricians and Gynecolo­gists. 6lb edition. Elk Grove Village, IL: American Academy of Pediatrics; Washington, DC: Ameri­can College of Obstetricians and Gynecologists. 2007.
10. Tomasik T, Godek J, Kwinta P, Kusak B, Pie­trzyk JJ: Czy kilkuetapowe badanie słuchu u no­worodków leczonych w oddziale intensywnej tera­pii jest uzasadnione? Przeg Lek. 2011; 68: 47-53.
11. Leśniak A, Klimek M, Kubatko-Zielińska A, Ko­bylarz J, Nitecka M. et al: Ocular outcomes in 4-year old prematurely born children. Przeg Lek. 2017; 74: 1-7.
12. Rea MS, Figueiro MG: The NICU lighted environ­ment. Newborn Infant Nurs Rev. 2016; 16: 195- 202.
13. Guyer C, Hubert R, Fontijn J, Bucher HU, Nico­lai H. et al: Cycled light exposure reduces fuss­ing and crying in very preterm infants. Pediatrics. 2012; 130: 145-151.
14. Szczepański M, Kamianowska M: The illumina­tion intensity in the neonatal intensive care unit. Arch Perinat Med. 2008; 14: 47-50.
15. Lasky RE, Williams AL: Noise and light expo­sures for extremely low birth weight newborns dur­ing their stay in the Neonatal Intensive Care Unit. Pediatrics. 2009; 123: 540-546.
16. Shoemark H, Harcourt E, Arnup SJ, Hunt RW: Characterizing the ambient sound environment for infants in intensive care wards. J Paediatr Child Health 2016; 52: 436-340.
166
G. Cepuch et. al.

1. Krueger C, Schue S, Parker L: Neonatal inten­sive care unit sound levels before and after struc­tural reconstruction. MCN Am J Matern Child Nurs. 2007; 32: 358-362.
2. Joshi G, Tada N: Analysis of noise level in neona­tal intensive care unit and post natal ward of a ter­tiary care hospital in an urban city. Int J Contemp Pediatr. 2016; 3: 1358-1361.
3. Matook SA, Sullivan NIC, Salisbury A, Miller RJ, Lester BM: Variations of NICU sound by lo­cation and time of day. Neonatal Netw. 2010; 29: 87-95.
4. Szczepański M, Kamianowska M, Janowicz J, Grabowska M: Minimisalion of care and therapy of preterm newborns. In: Pilewska-Kozak AB, editor. [Premature Baby Care]. Warszawa, 2009; 180-185.
5. Duran R, Ciftdemir NA, Ozbek UV, Berberoglu U, Duranku; F. et. al: The effects of noise reduc­tion by earmuffs on the physiologic and behawioral responses in very low birth weight preterm infants. Int J Pediatr Otorhinolaryngol. 2012; 76: 1490- 1493.
6. D’Souza SRB, Lewis LE, Kumar V, Kamath A, Nayak BS. et al: Noise in neonatal intensive care
units: effects on hospitalized preterm infants. Mani- palJNurs Health Sci. 2015; 1: 57-62.
1. Livera MD, Priya B, Ramesh A, Suman Rao PN, Srilakshmi V. et al: Spectral analysis of noise in the neonatal intensive care unit. Indian J Pediatr. 2008; 75: 217-222.
2. Shimizu A, Hiroya M: Sound environments sur­rounding preterm infants within an occupied closed incubator. J Pediatr Nurs. 2016; 31: 149-154.
3. Parra J, de Suremain A, Berne Audeoud F, Ego A, Debillon T: Sound levels in a neonatal intensive care unit significantly exceeded recommendations, especially inside incubators. Acta Paediatr. 2017; 106: 1909-1914.
4. Pinheiro EM, Guinsburg R, Nabuco MA, Kake- hashi TY: Noise at the neonatal intensive care unit and inside the incubator. Rev LatAm Enfermagem. 2011; 19: 1214-1221.
5. American Academy of Pediatrics: Noise: a hazard for the fetus and newborn. Pediatrics 1997; 100: 724-727.
6. Berglund B, Lindvall T; Schwela DH: World Health Organization. Guidelines for community noise. Technical Report. Geneva. 1999. Avilable
from: h ttp: //www. who. in t/iri s/h an die/10665/66217 (access 2018. 01. 10).
1. PN-B-02151-2: 2018-01P - [Building acoustics - Protection against noise in buildings - part 2: Re­quirements regarding the permissible sound level in rooms. Polish Committee for Standardization], Available from: https: //czytelnia. pkn. pl/#/reading- -room/PN-B-02151-2: 2018-01P/-/PN-B-02151- 2_2018-01 P. pdf/9 (access 2018. 10. 15).
2. Carvalhais C, Santos J, da Silva MV, Xavier A: Is there sufficient training of health care staff on noise reduction in Neonatal Intensive Care Units? A pi­lot study from neonoise project. J Toxicol Environ Health. 2015; 78: 897-903.
3. Brown G: NICU noise and the preterm infant. Neo­natal Netw. 2009; 28: 165-173.
4. Pickier RH, McGrath JM, Reyna BA, McCain N, Lewis M. et al: A model of neurodevelopmental risk and protection for preterm infants. J Perinal Neonatal Nurs. 2010; 24: 356-365.
5. Chawla S, Barach P, Dwaihy M, Kamat D, Shankaran S. et al: A targeted noise reduction observational study for reducing noise in a neona­tal intensive unit. J Perinatal. 2017; 37: 1060-1064.
Przegląd Lekarski 2019 / 76 / 4
167