Kardiologia Polska 2015; 73, 1: 7–16; DOI: 10.5603/KP.a2014.0148
ISSN 0022–9032
ARTYKUŁ ORYGINALNY / ORIGINAL ARTICLE
Effectiveness of atrial versus atrioventricular
pacing for sick sinus syndrome during
long-term follow-up
Marcin Kuniewicz
, Anna Rydlewska
, Grzegorz Karkowski
, Maria Lelakowska-Pieła
, Jacek Majewski
,
1, 2
1
1
3
1
Jacek Lelakowski
1
Department of Electrocardiology, Institute of Cardiology, Jagiellonian University, John Paul II Specialist Hospital, Krakow, Poland
1
Chair and Department of Anatomy, Jagiellonian University Medical College, Krakow, Poland
2
John Paul II Specialist Hospital, Krakow, Poland
3
A b s t r a c t
Background: According to the current guidelines, atrioventricular (DDD) pacing is superior to atrial pacing (AAI) in the treat-
ment of sick sinus syndrome (SSS).
Aim: To compare outcomes of AAI and DDD pacing in patients with SSS during long-term follow-up.
Methods: We studied 809 patients, including 86 patients in the AAI group (57 women, mean age 65 ± 15 years) and 723 pa-
tients in the DDD group (406 women, mean age 71.5 ± 10 years). Evaluation of outcomes of AAI and DDD pacing in SSS
was based on the analysis of medical records of patients who underwent pacemaker implantation.
Results: Average duration of follow-up was 52 ± 25 months. In the AAI group, 63 of 86 patients remained without inter
-
vention. In the DDD group, 661 of 723 patients did not require surgical intervention. Overall, 105 patients died, including
13 in the AAI group and 92 in the DDD group (p = 0.4516). In the AAI group, a high degree atrioventricular block occurred
on average after 46.3 ± 8.8 months and its incidence was estimated at 0.85% per year. Atrial fibrillation (AF) developed in
8 patients in the AAI group and 81 patients in the DDD group (p = 0.23). Among aetiological factors of an increased risk of
developing AF, only the presence of tachycardia-bradycardia syndrome (hazard ratio [HR] 11.31) and the absence of antiar
rhythmic therapy (HR 4.23) significantly increased the risk of AF. Urgent reoperation was needed in 23 patients in the AAI
group and 62 patients in the DDD group (p < 0.01). Log-rank test analysis showed a significant effect of the development
of AF on the risk of reoperation in this group (p = 0.0420). Lead-related complications were noted in 6 patients in the AAI
group and 49 patients in the DDD group (p = 0.94). After 45 months, the risk of reoperation in the AAI group increased
significantly due to a need for ventricular lead implantation.
Conclusions: 1. Atrial stimulation is safe in SSS but it may be associated with an increased risk of ventricular lead implantation
if atrioventricular block or persistent AF with slow ventricular rate develops. 2. DDD and AAI groups did not differ significantly
in terms of survival, development of persistent AF, and lead-related complications. 3. Tachycardia-bradycardia syndrome and
the lack of antiarrhythmic treatment with beta-blocker and amiodarone increased the risk of persistent AF during long-term
follow-up. 4. A higher rate of reoperations in patients with AAI systems, related mainly to development of persistent AF, es
pecially after the fourth year of follow-up, may justify DDD system implantation in SSS.
Key words: AAI pacing, DDD pacing, sick sinus syndrome
Kardiol Pol 2015; 73, 1: 7–16
INTRODUCTION
is too low for current physiologic needs, leading to symptoms
and/or arrhythmia. Symptomatic treatment includes pacing
Sick sinus syndrome (SSS) is defined as a constellation of dis-
and/or drug therapy. According to the current guidelines, dual
turbances leading to inappropriate sinus rhythm rate which
Address for correspondence:
Prof. Jacek Lelakowski, MD, PhD, Department of Electrocardiology, Institute of Cardiology, Jagiellonian University, John Paul II Specialist Hospital, ul. Prądnicka 80,
31–302 Kraków, Poland, tel: +48 12 614 22 77, fax: +48 12 633 23 99, e-mail: jlelakow@szpitaljp2.krakow.pl
Received: 02.11.2013
Accepted: 10.06.2014
Available as AoP: 04.07.2014
Copyright © Polskie Towarzystwo Kardiologiczne
www.kardiologiapolska.pl

---
Marcin Kuniewicz et al.
METHODS
chamber pacing (DDD) with preserved native atrioventricular
(AV) conduction to reduce the risk of atrial fibrillation (AF) and
We retrospectively analysed 3,140 patients with an implanted
stroke, avoid pacing syndrome, and improve quality of life is
pacemaker (PM) who were under care of our centre (all im
preferred during invasive treatment of SSS (class I A recom
plantations performed during the follow-up period).
mendation), and atrial pacing (AAI) is second-line treatment
The study group included patients following PM implan
(class I B recommendation) [1].
tation due to SSS as documented by 12-lead electrocardio-
AAI pacing does not protect from AV block and slow
graphy (ECG) and/or 24-h Holter ECG monitoring and/or
ventricular rate in AF, and thus patients are at risk of the same
treadmill exercise test.
symptoms as in SSS.
We excluded patients with paroxysmal second/third
Outcomes of AAI and DDD pacing were already com
degree AV block, all forms of intraventricular conduction ab
pared in the literature but recent reports yielded inconsistent
normalities (including left and right bundle branch block) with
results. While Korean and Japanese registries, reported by Kim
QRS duration > 120 ms, iatrogenic bradycardia, permanent
et al. [2] in 2010 and Masumoto et al. [3] in 2004, respectively,
AF and carotid sinus hypersensitivity before the procedure,
≤
indicated that AAI pacing is the safest form of therapy in SSS,
low Wenckebach point
 100 bpm, vascular anomalies, ar
Nielsen et al. [4] in a 2011 report from the Danish DANPACE
rhythmias during the procedure, previous cardiac surgery, less
registry preferred DDD pacing as associated with lower rates
than 3 follow-up visits, and incomplete pre- or postprocedural
of complications and reoperations (in line with the current
medical records. Patient groups selected using the above men
2013 guidelines) [1].
tioned exclusion criteria are shown in Figure 1. Overall, we
Thus, although DDD pacing in SSS in recommended in
analysed 809 patients with AAI and DDD pacing and reliable
the current guidelines, comparisons of DDD and AAI pac
source data including complete medical records.
ing in SSS continue to be warranted in light of the reported
Evaluation of outcomes of AAI and DDD pacing in SSS
contradictory results.
was based on the analysis of medical records of patients who
The aim of this study was to compare outcomes of AAI and
underwent PM implantation, including records from at least
DDD pacing in patients with SSS during long-term follow-up.
3 follow-up visits.
Figure 1. Patient selection flowchart; AF — atrial fibrillation; AV — atrioventricular; PM — pacemaker; SSS — sick sinus syndrome
8

---
Pacing for sick sinus syndrome: long-term follow-up
For the purpose of this analysis, we used data from:
events including reoperation, death, and occurrence of
— Preprocedural patient selection sheets;
permanent AF. Cumulative survival function was interpreted
— Device implantation protocols from the pacemaker
graphically using the Kaplan-Meier curve. We used a log-rank
IMPULS BIS database run by the Institute of Medical
test to verify the null hypothesis of no significant difference in
Technology and Equipment (ITAM) in Zabrze, Poland;
survival between the groups. Then, we used a Cox model to
— ECGs recorded during the follow-up period;
analyse potential factors that might affect occurrence of AF.
,
, odds ratio (OR) and hazard ratio (HR)
— Outpatient records from the electronic patient database;
We calculated
b
b
0
values, and their corresponding 95% confidence intervals.
— Radiographs and their reports from the digital X-ray Ne
trad KSS JP2 database;
Results were considered significant when p was less than
— Information about patient deaths from the PESEL data
the significance level of
 = 0.05.
a
base of the Ministry of Interior and Administration.
Statistical analysis was performed using the Statistica
For patients included into the analysis, we recorded the
10 PL software (StatSoft Poland).
following data:
RESULTS
— Personal data — gender, age, date of death;
The study group of 809 patients with an implanted PM
— Date of implantation/reoperation;
(463 women, 346 men, mean age 70 ± 11 years, range 19–
— Types of pacing complications, their timing, and solutions;
–95 years) was selected from 1,355 patients with SSS remain-
— History of AF events and other arrhythmia episodes based
ing under the care of our centre, as show in Figure 1. The AAI
on ECGs and PM mode at subsequent follow-up visits
pacing group included 86 patients (57 women, 29 men, mean
(but not based on the mode switch function);
age 65 ± 15 years range 19–81 years), and the DDD pacing
— Concomitant diseases: hypertension, ischaemic heart
group included 723 patients (406 women, 317 men, mean
disease, heart failure, diabetes, thyroid disease;
age 71.5 ± 10 years, range 23–95 years). Minimal duration of
— Cardiovascular events;
follow-up was 11 months (with at least 3 follow-up visits during
— Cerebrovascular events;
this period), maximum duration of follow-up was 101 months,
— Information regarding anticoagulants (acenocoumarol,
and mean duration of follow-up was 52 ± 25 months (AAI
warfarin, heparin), antiplatelet drugs (aspirin, clopi
dogrel), and antiarrhythmic drugs (ajmaline, propafenone,
group: 65 ± 27 months; DDD group: 50 ± 24 months). Patient
characteristics are shown in Table 1.
mexiletine, sotalol, amiodarone, dronedarone, diltiazem,
During mean 4.3 ± 2.1 years of follow-up, more than
verapamil, beta-blockers) used after implantation.
89.5% of 809 de novo implanted PMs functioned without
Primary study endpoints included reoperation, death,
complications or a need for urgent reoperation. No surgical
occurrence of persistent AF, and occurrence of a second or
intervention was required in 63 (73%) of 86 implanted PMs in
third degree AV block.
the AAI group and in 661 (91%) of 723 PMs in the DDD group.
The diagnosis of permanent AF was made during sub
sequent follow-up visits when patient rhythm and timing of
Overall, 105 (13%) patients died, including 13 (15.1%) in
mode switch function activation (pacing mode switch from
the AAI group and 92 (12.7%) in the DDD group (p = 0.4516).
DDD to VVI or DDI) were evaluated.
Mortality in the two groups is shown in Figure 2. The mean
First follow-up visits were at 1–2 months after the pro
annual mortality was 2.79% in the AAI group and 3.05% in
cedure, followed by 3–6 months after the procedure and
the DDD group (p = 0.53).
6–12 months thereafter. Pacing mode, pacing electrical
In the AAI group (n = 86), AV block occurred in 4 pa
tients at mean 46.3 ± 8.8 months after PM implantation.
parameters (native impulse, pacing threshold, and imped
The risk of AV block was 0.86% per year and was apparent
ance), and capacity and internal resistance of the battery were
in all age groups, as the youngest patient with AV block was
evaluated by telemetry.
27 years old, and the oldest was 78 years old (mean age
Twelve-lead ECGs at rest and after application of a magnet
55.5 ± 17.3 years). In all these patients, a ventricular lead was
were performed in all patients.
added. Follow-up evaluations did not include AV conduction
The study was approved by a local bioethics committee
in patients with DDD systems. Permanent AF developed in
(59/KBL/OIL/2012).
8 (9.3%) patients in the AAI group and in 81 (11.2%) patients
Statistical analysis
in the DDD group (p = 0.2259), as shown in Figure 3.
Quantitative and qualitative data were evaluated using descrip-
Overall, the mean time from PM implantation to devel
tive statistics (range, mean, standard deviation, percentage
opment of permanent AF was 31.5 ± 22 months (AAI group
distribution,
 test or exact Fisher test, Student t test for inde-
41 ± 33 months, DDD group 31 ± 21 months). Patients with
2
c
pendent samples or Mann-Whitney U test, logistic regression).
tachycardia-bradycardia syndrome developed permanent AF
Due to non-normal distribution of quantitative data,
at 29.6 ± 20 months, and de novo development of permanent
we used
 and log-rank tests to evaluate the risk of adverse
AF occurred at 41 ± 29 months (p < 0.01). Annual incidence
2
c
9

---
Marcin Kuniewicz et al.
Table 1. Characteristics of the study patients
Patient characteristics
AAI (n = 86)
P
DDD (n = 723)
Overall (n = 809)
Women
57 (66.30%)
0.072
406 (56.15%)
463 (57.23%)
Age
65 ± 15.00
< 0.01
71 ± 10.1
70 ± 11
Tachycardia-bradycardia syndrome
17 (19.77%)
< 0.01
374 (51.73%)
391 (48.33%)
Arterial hypertension
61 (70.93%)
618 (85.48%)
679 (83.93%)
< 0.01
Ischaemic heart disease
44 (51.16%)
449 (62.10%)
493 (60.94%)
0.049
Diabetes
12 (13.95%)
0.42
126 (17.43%)
138 (17.06%)
Transient ischaemic attack
1 (1.16%)
0.86
10 (1.38%)
11 (1.36%)
Stroke
1 (1.16%)
0.72
12 (1.66%)
13 (1.61%)
Heart failure
9 (10.47%)
0.22
111 (15.35%)
120 (14.83%)
2 (2.33%)
59 (8.16%)
61 (7.54%)
0.05
Supraventricular ectopic beats
Ventricular ectopic beats
4 (4.65%)
127 (17.56%)
131 (16.19%)
< 0.01
Myocardial infarction
9 (10.47%)
0.39
100 (13.83%)
109 (13.47%)
Thyroid disease (hyper-/hypothyroidism)
11 (12.79%)
0.72
83 (11.48%)
94 (11.62%)
Drug-induced bradycardia
0 (0.00%)
0.11
21 (2.90%)
21 (2.90%)
Syncope
39 (45.35%)
417 (57.68%)
456 (56.36%)
0.03
MAS attack
20 (23.26%)
0.17
125 (17.29%)
145 (17.92%)
ASA
53 (61.63%)
0.08
373 (51.59%)
426 (52.66%)
Clopidogrel
0 (0.00%)
0.55
3 (0.41%)
3 (0.37%)
ASA + clopidogrel
1 (1.16%)
0.75
6 (0.83%)
7 (0.86%)
Acenocoumarol
7 (8.14%)
185 (25.59%)
192 (23.73%)
< 0.01
LMWH
2 (2.33%)
0.36
32 (4.43%)
34 (4.20%)
Beta-blocker
35 (40.69%)
470 (65.00%)
505 (62.42%)
0.03
Antiarrhythmic drugs (class I, III, IV)
14 (16.27%)
< 0.01
320 (44.26%)
334 (41.28%)
Other antiarrhythmic drugs
10 (11.62%)
< 0.01
301 (41.63%)
311 (38.44%)
ASA — acetylsalicylic acid; LMWH — low molecular weight heparin; MAS — Morgagni-Adams-Stokes
Figure 2. Survival after pacemaker implantation (DDD/AAI)
Figure 3. Survival free from atrial fibrillation in both study
groups (AAI/DDD)
10

---
Pacing for sick sinus syndrome: long-term follow-up
Figure 4. Predictors of atrial fibrillation — hazard ratios with 95% confidence intervals (CI) and p values; ACS — acute coronary
syndrome; IHD — ischaemic heart disease; SVEB/SVT — supraventricular ectopic beats/supraventricular tachycardia;
TB/PAF — tachycardia-bradycardia syndrome/paroxysmal atrial fibrillation
Table 2. Cox model results for tachycardia-bradycardia syndrome
Table 3. Cox model results for lack of antiarrhythmic treatment
as a predictor of atrial fibrillation after pacemaker implantation
as a predictor of atrial fibrillation after pacemaker implantation
Beta
2.4258
Beta
1.472
Standard error
0.3958
Standard error
0.5129
Beta lower 95% confidence limit
1.6499
Beta lower 95% confidence limit
2.477
Beta upper 95% confidence limit
3.2016
Beta upper 95% confidence limit
0.466
T
6.1282
T
2.869
Wald statistic
37.5546
Wald statistic
8.2368
P
0.00
P
0.00
Hazard ratio (HR)
11.3110
Hazard ratio (HR)
4.2345
HR lower 95% confidence limit
5.2067
HR lower 95% confidence limit
2.2334
HR upper 95% confidence limit
24.5719
HR upper 95% confidence limit
6.4325
of AF was 1.72% in the AAI group and 2.7% in the DDD
forded by a combination of a long-acting beta-blocker and
group. Patients in the DDD group with right ventricular apex
amiodarone (p < 0.01) which significantly prolonged the time
(RVA) lead developed permanent AF at a rate of 3.33% per
from PM implantation to development of AF. Other upstream
year vs. 2.5% per year in those with right ventricular outflow
treatment was not analysed.
tract (RVOT) lead (p = 0.317). Unfortunately, due to a retro
Among eatiological factors of an increased risk of devel
spective nature of our study we were unable to evaluate the
oping permanent AF (age, gender, tachycardia-bradycardia
percentage of ventricular pacing in the DDD group.
syndrome, supraventricular extrasystoles, lack of antiar
When we evaluated the presence of a first degree AV
rhythmic treatment, thyroid disease, ischaemic heart disease,
block, which was not an exclusion criterion for the DDD group
hypertensive heart disease, heart failure, first degree AV block),
(n = 723), a Cox proportional hazard model indicated that
only the presence of tachycardia-bradycardia syndrome (HR
the development of a first degree AV block had no significant
11.31) and the absence of antiarrhythmic therapy (HR 4.23)
effect (p = 0.3016) on the time to AF occurrence.
was shown to significantly increase the risk of AF. Predictors of
Antiarrhythmic drug therapy is a factor protecting from
an increased risk of AF development are shown in Figure 4 and
the development of permanent AF. In monotherapy, best
in Tables 2 and 3.
outcomes were noted for bisoprolol (p < 0.01) but the best
In the AAI group, reoperation was performed in 23 (26.7%)
protection from the development of permanent AF was af
patients compared to 62 (8.57%) patients in the DDD group
11

---
Marcin Kuniewicz et al.
Figure 5. Survival free from reoperation in both study groups
Figure 6. Survival free from reoperation and development of
(AAI/DDD)
permanent atrial fibrillation (AF) in the AAI group
DISCUSSION
(p < 0.01). Time to reoperation differed significantly differed
significantly between the DDD and AAI groups (p = 0.0338,
Many reports have been published in the literature regarding
log-rank test). In the DDD group, the likelihood of survival
the effectiveness of pacing therapy in SSS, rates and types of
without reoperation remained constant, while it decreased
complications, and mortality after PM implantation. These
with time in the AAI group. This was particularly seen after
were often multicentre analyses leading to new management
45 months, when the risk of reoperation in the AAI group rose
algorithms and new guidelines, and sometimes only summa
sharply due to the need of ventricular lead insertion. The likeli
ries of alternative approaches to pacing in SSS [2–8]. Until
hood of survival free from reoperation is shown in Figure 5.
now, no other study summarised such a long-term patient
Surgical change of the mode of pacing from AAI to VVI
follow-up, mean 4.3 years (with the longest follow-up duration
due to permanent AF was performed in 13 (15%) patients,
of 8 years), in the invasive treatment of SSS, comparing the
and from DDD to VVI in 1 (0.14%) patient (p < 0.01). The
effectiveness of AAI and DDD pacing. We were also motivated
mean time from PM implantation to surgical change in the
to perform this comparison due to the fact that atrial pacing
mode of pacing was 46.7 ± 25.2 months. In the remaining
systems are currently implanted in a small minority of patients
47 cases when mode of pacing had to be switched from DDD
with SSS and are not considered treatment of choice. Thus,
to VVI(R), this was performed using a remote programming
we wanted to reevaluate the usefulness of AAI pacing in SSS
device and reoperation was not necessary.
based on our own experience.
In the AAI group, the need to insert a ventricular lead
Since 1997, after the era of comparisons of single cham
due to development of AF leading to clinical symptoms of
ber atrial (AAI) vs. single chamber ventricular (VVI) pacing,
bradycardia (pauses > 3 s, minimal heart rate < 30 bpm,
AAI pacing became to be compared in the literature with dual
dizziness) occurred at a rate of 1.72% per year. Log-rank test
chamber pacing (DDD) which started to be more commonly
analysis showed a significant effect of the development of
used. Initial comparative studies showed superiority of AAI
AF on the risk of reoperation in this group (p = 0.0420). The
pacing as a more physiologic approach preserving native AV
likelihood of survival free from reoperation and development
conduction [5, 6] in patients with SSS. This was confirmed in
of permanent AF in the AAI group is shown in Figure 6.
the studies by Moríñigo et al. [7], Masumoto et al. [3], Tripp
Lead-related complications (lead displacement, lead
et al. [8], and Kim et al. [2], until results of the Danish DAN
damage, exit block) were noted in 6 (6.9%) patients in the AAI
PACE registry were reported in 2011 [4], overturning previous
group and in 49 (6.7%) patients in the DDD group (p = 0.94).
beliefs about superiority of AAI pacing. The latter was shown
Overall, complications were more frequent in the AAI group
not to protect from bradycardia due to AV block or AF with
than in the DDD group (26.7% vs. 8.57%, p < 0.01), as
slow ventricular rate, putting patients at an increased risk of
shown in Table 4.
reoperation.
12

---
Pacing for sick sinus syndrome: long-term follow-up
Table 4. Summary of complications of cardiac electrotherapy and the need for reoperation
Complications
AAI
DDD
P
Overall
Not requiring
reoperation
Lead displacement
3 (3.49%)
23 (3.18%)
0.88
26 (3.21%)
0
Lead damage
1 (1.16%)
6 (0.83%)
0.75
7 (0.87%)
1
Exit block
2(2.33%)
14 (1.94%)
0.80
16 (1.98%)
3
Change of pacing mode
13 (15.12%)
1 (0.14%)
14 (1.73%)
0
< 0.01
Inappropriate pacemaker function
0 (0%)
2 (0.28%)
0.62
2 (0.25%)
0
Pneumothorax
1 (1.16%)
3 (0.41%)
0.35
4 (0.49%)
0
Pocket hematoma
2 (2.33%)
2 (0.28%)
4 (0.49%)
0
0.01
Muscle stimulation
0 (0%)
3 (0.41%)
0.55
3 (0.37%)
1
Pocket mechanical trauma
1 (1.16%)
2 (0.28%)
0.20
3 (0.37%)
0
Myocardial perforation
0 (0%)
3 (0.41%)
0.55
3 (0.37%)
0
Venous occlusion
0 (0%)
2 (0.28%)
0.62
2 (0.25%)
1
Pocket infection
0 (0%)
1 (0.14%)
0.73
1 (0.12%)
0
Overall
23 (26.7%)
62 (8.57%)
85 (10.5%)
6
< 0.01
Despite many multicentre trials published during the
al. [7] in 177 patients (with AF developing in 7.4% patients in
last 15 years, many questions remain unanswered. It is still
the AAI group and 23% patients in the DDD group), through
not clear what the long-term clinical effectiveness of DDD
the studies by Masumoto et al. [3] (AF in 4.2% patients in
and AAI pacing is in the Polish population of patients with
the AAI group and 8% patients in the DDD group) and Tripp
SSS. Specifically, it is not known whether complication rates,
et al. [8] (AF in 2.8% patients in the AAI group and 15.2%
mortality and the development of AF are similar in patients
patients in the DDD group), until the DANPACE study in
treated with these two pacing modes.
2011 showed for the first time that the proportion of patients
developing AF was higher in the AAI group than in the DDD
Atrioventricular block
group (28.4% vs. 23%, respectively). In the latter study, more
The development of a high-degree AV block must be consid-
frequent occurrence of AF in the AAI group was thought to be
ered when comparing advantages and disadvantages of AAI
due to a prolonged AV conduction time with pacing from the
and DDD pacing in patients with SSS. In our study, 4 patients
right atrial appendage. In this scenario, ventricular preload is
in the AAI group required implantation of an additional ven
reduced, increasing diastolic backward flow through the mitral
tricular lead due to development of a symptomatic second
valve and thus leading to an increased risk of AF. It was shown
degree AV block. The rata of the latter was calculated at
that the rate of AF increases when the PR interval is > 180 ms
0.85% per year and is comparable to the rates reported in
[13]. In our study population, overall rate of permanent AF
the literature [9, 10]. Of note, none of our patients developed
was 11% (9.3% in the AAI group and 11.2% in the DDD
significant bradycardia that would require urgent surgical
group), with no significant difference between the two groups
intervention. Timing of conversion from AAI to DDD pacing
by log-rank test. The mean time to the development of AF
is still a matter of debate. Rosenqvist et al. [11] highlighted
was 31.5 ± 22 months and was notably shorter in patients
that asymptomatic episodes of a high-degree AV block may
with tachycardia-bradycardia syndrome (29.6 ± 20 months)
reflect changes in the autonomic nervous system and not de
than in patients developing AF de novo (41 ± 29 months).
generative changes in the AV node itself, as evidenced by an
In addition, tachycardia-bradycardia syndrome was shown
intermittent nature of the block, occurring mostly during the
to be a significant predictor of the development of AF. In our
night. In addition, the most common cause of AV conduction
study, we did not consider the rate of ventricular pacing due
disturbances is drug therapy and not degenerative changes in
to a retrospective nature of this analysis. To evaluate the rate
the cardiac conduction system [12].
of AF in the AAI group, our results may be compared with
the results of a 5.4-year follow-up of patients with AAI pacing
Atrial fibrillation
systems reported by Moriñigo et al. [7]. The latter study was
Atrial fibrillation is one of long-term complications of sinus
performed in a similar patient population in regard to the
node dysfunction. Historically, in regard to the development of
mean age, gender, and concomitant diseases. The rate of AF
AF, comparisons of AAI and DDD pacing were always favour
was 10%, and thus it was comparable to the rate reported in
ing the former, starting from the 2003 study by Moriñigo et
the present study.
13

---
Marcin Kuniewicz et al.
Is the development of AF an absolute indication for im-
may be attributed to the selection of patients. In the study
plantation of an additional lead in AAI systems? The study by
by Majewski et al. [19], evaluating durability of DDD pacing,
Masumoto et al. [3] showed that even in patients with AAI
3 factors were shown to significantly affect AF development,
systems who developed chronic AF, it was not necessary to
including SSS, tachycardia-bradycardia syndrome and age.
implant an additional ventricular lead to treat bradycardia.
Of note, however, the mean patient age in that analysis was
Andersen et al. [14] also arrived at similar conclusions. In our
more than 5 years lower that in the present study.
study group, AF with symptomatic bradycardia was one of the
Selected lead-related complications
major causes of reoperation in the AAI group and change of
Damage of an intracardiac lead is one of the most important
the pacing mode in the DDD group. Perhaps our approach
complications during long-term follow-up after PM implan
was too cautious as none of the studied patients developed
tation. The relative risk of lead damage and failure to pace
full-blown syncope despite significant bradycardia. Practice
with DDD systems is estimated to be increased 2.045 times
indicates that decisions to implant a PM in permanent AF are
compared to AAI pacing, due to a twice higher number of
very often arbitrary and this treatment may be overused. As
implanted pacing leads. Hauser et al. [20] noted a 6% rate
reoperation is performed in about 15% of patients with an AAI
of ventricular lead damage during 5 years of dual chamber
system, these decisions have a significant effect on the results
pacing. Helguera et al. [21] concluded that in older patients
of clinical observations. On the other hand, these decisions
(> 65 years), atrial leads were characterised by a much lower
reflect everyday clinical practice.
rate of verified malfunctions. The number of indwelling leads
Selected factors predisposing
is also important. Each reoperation is associated with an ap
to the development of AF
proximately 2% risk of infection, and the latter is an indica-
In a Cox model, among potential factors affecting develop-
tion for complete pacing system removal [22]. In our study
ment of permanent AF (ventricular lead location, presence
population, lead-related complications were among the most
of tachycardia-bradycardia syndrome, first degree AV block,
common causes for reoperation but unlike other authors, we
concomitant thyroid disease, supraventricular extrasystoles,
did not find a difference in their rate depending on pacing
ischaemic heart disease, hypertensive heart disease, heart
mode (7% in the AAI group vs. 6% in the DDD group). This
failure, lack of antiarrhythmic treatment), only the presence of
observation is in favour of DDD pacing and does not support
tachycardia-bradycardia syndrome and lack of antiarrhythmic
the conclusion that DDD pacing is associated with a twice
treatment after PM implantation were shown to be significant
higher rate of lead-related complications, as these are mostly
predictors of AF. The best combination of antiarrhythmic
related to atrial leads (88.46% of all lead-related complica
tions). Obviously, we are aware that the number of implanted
drugs offering protection from AF was that of a beta-blocker
AAI systems (n = 86) was relatively small. The rate of other
and amiodarone.
complication is comparable to that reported in other centres,
The above mentioned tachycardia-bradycardia syn
drome, i.e. paroxysmal AF preceded by sinus bradycardia,
ranging from 10.1% [23] to 12.4% [24].
was the most significant factor affecting the development of
Limitations of the study
permanent AF, more important that the lack of AV synchrony
Our study was a nonrandomised, retrospective, single-centre
in a third degree AV block [15].
observation that included a relatively low number of patients
In our study, we were unable to confirm an effect of
with atrial pacing. The results might have also been affected by
a first degree AV block (PR interval 200 ms) on the rate of
the inclusion/exclusion criteria used in our study, specifically
AF. In contrast, the DANPACE study showed that the PR
≥
the need for complete procedural and long-term follow-up
interval
 180 ms predisposed to the development of AF
records for a patient to be included in the analysis.
[13]. Thus, DDD pacing protects patients from the devel
opment of AF. In our earlier observations, we showed that
Summary
abrupt prolongation of the PR interval occurred at the age
During mean 4.3 years of follow-up of 809 patients with
of 61–70 years, mostly in those patients in whom the mean
a de novo implanted PM, more than 89.5% of these devices
preimplantation PR interval was 196 ms [16]. Those patients
functioned without complications or the need for reopera
were at an increased risk of AF development and reoperation.
tion. We did not show significant differences between the
In the current analysis, likely due to a low number of patients
DDD and AAI groups in terms of survival, development of
in the AAI group (n = 86), we were unable to confirm the
persistent AF, and lead-related complications although the
results of DANPACE study. Similarly, ventricular lead loca
two groups differed in age (by about 6 years) and the severity
tion (RVOT vs. RVA, p = 0.317) and age (p = 0.078) had
of concomitant conditions. Specifically, patients in the DDD
no significant effect on the development of AF, although the
group were older and more often had tachycardia-bradycardia
mean age of patients with AF was more than 2 years higher
syndrome, ventricular ectopy, paroxysmal supraventricular
compared to patients without AF [17, 18]. In our opinion, this
14

---
Pacing for sick sinus syndrome: long-term follow-up
arrhythmias, heart failure, ischaemic heart disease, diabetes,
8.
Tripp IG, Armstrong GP, Stewart JT et al. Atrial pacing should
be used more frequently in sinus node disease. Pacing Clin
and arterial hypertension. Beyond 4 years of use, the AAI
Electrophysiol, 2005; 28: 291–294.
system becomes unstable (with a significant increase in the
9.
Irwin M, Cabrol B, Zenaratne M et al. Long-term survival of cho
reoperation rate) and thus the proportion of AAI systems
sen atrial-based pacing modalities. Pacing Clin Electrophysiol,
without the need for intervention is smaller (73%) compared
1996; 19: 1796–1798.
10.
Kristensen L, Nielsen JC, Pedersen AK et al. AV block and changes
to DDD systems (91%).
in pacing mode during long-term of 399 consecutive patients
In summary, our observations favour DDD and not AAI
with sick sinus syndrome treated with an AAI/AAIR pacemaker.
pacing in the treatment of SSS. These findings are in agree
Pacing Clin Electrophysiol, 2001; 24: 358–365.
ment with the current 2013 recommendations on the choice
11.
Rosenquist M, Obel IWP. Atrial pacing and the risk for AV block:
is there a time for change in attitude? Pacing Clin Electrophysiol,
of pacing mode in patients with dysfunction of sinus node
1989; 12: 97–101.
automaticity [1].
12.
Bohm A, Printer A, Szeklely A et al. Clinical observations with
long-term atrial pacing. Pacing Clin Electrophysiol, 1998; 21:
CONCLUSIONS
246–249.
13.
Nielsen JC, Thomsen PE, Højberg S et al. DANPACE investiga-
1.
Atrial stimulation is safe in SSS but associated with an
tors. Atrial fibrillation in patients with sick sinus syndrome:
increased risk of ventricular lead implantation due to
the association with PQ-interval and percentage of ventricular
development of AV block or persistent AF with AV con
pacing. Europace, 2012; 14: 682–689.
duction disturbances.
14.
Andersen HR, Nielsen JC, Thomsen PE et al. Long-term
follow-up of patients from a randomized trial of atrial versus
2.
DDD and AAI groups did not differ significantly in terms
ventricular pacing for sick-sinus syndrome. Lancet, 1997; 350:
of survival, development of persistent AF, and lead-relat
1210–1216.
ed complications.
15.
Matusik P, Woźnica N, Lelakowski J. Migotanie przedsionków
3.
Tachycardia-bradycardia syndrome and the lack of antiar
przed implantacją rozrusznika serca (VVI i DDD) i po zabiegu
u chorych z całkowitym blokiem przedsionkowo-komorowym.
rhythmic treatment were associated with an increased risk
Pol Merk Lek, 2010; 167: 345–347.
of persistent AF during long-term follow-up.
16.
Szczechowicz M, Wilczek U, Lelakowski J. Ryzyko wystąpienia
4.
Due to a higher rate of reoperations in patients with AAI
bloku przedsionkowo-komorowego pierwszego stopnia w czasie
systems, related mainly to development of persistent AF,
stymulacji przedsionkowej w zespole chorego węzła zatokowego.
Przegl Lek, 2010; 67: 157–160.
especially after the fourth year of follow-up, DDD system
17.
Hong-Xiang Z, Jun Q, Fa-Qin H, et al. Comparison of right ven-
implantation in SSS may be of more benefit.
tricular apex and right ventricular outflow tract septum pacing
in the elderly with normal left ventricular ejection fraction:
Conflict of interest: none declared
long-term follow-up. Kardiol Pol, 2012; 70: 1130–1139.
References
18.
Lewicka-Nowak E, Dąbrowska-Kugacka A, Tybura S et al. Right
1.
Brignole M, Auricchio A, Baron-Esquivias G et al. 2013 ESC
ventricular apex versus right ventricular outflow tract pacing:
Guidelines on cardiac pacing and cardiac resynchronization
prospective, randomised, long-term clinical and echocardio-
therapy. Eur Heart J, doi:10.1093/eurheartj/eht150.
graphic evaluation. Kardiol Pol, 2006; 64: 1082–1091.
2.
Kim WH, Joung B, Shim J et al. Long-term outcome of sin-
19.
Majewski J, Lelakowski J, Haberka K et al. Trwałość stymulacji
gle-chamber atrial pacing compared with dual-chamber pacing in
dwujamowej w długotrwałej obserwacji. Folia Cardiol, 2002;
patients with sinus-node dysfunction and intact atrioventricular
9: 567–572.
node conduction. Yonsei Med J, 2010; 51: 832–837.
20.
Hauser RG, Kallinen L, Almquist A et al. Comparative clini-
3.
Masumoto H, Ueda Y, Kato R et al. Long-term clinical perfor-
cal performance of atrial and ventricular leads in DDD pacing
mance of AAI pacing in patients with sick sinus syndrome: a com-
systems. Pacing Clin Electrophysiol, 1991; 14: 702 (abstract).
parison with dual-chamber pacing, Europace, 2004; 6: 444–450.
21.
Helguera ME, Maloney JD, Pinsky SL et al. Long-term perfor-
4.
Nielsen JC, Thomsen PE, Højberg S et al. DANPACE investiga-
mance of endocardial pacing leads. Pacing Clin Electrophysiol,
tors. A comparison of single-lead atrial pacing with dual-chamber
1994; 17: 56–64.
pacing in sick sinus syndrome. Eur Heart J, 2011; 32: 686–696.
22.
Nery PB, Fernandes R, Nair GM et al. Device-related infection
5.
Vardas P, Simantirakis E, Parthenakis F et al. AAIR versus DDDR
among patients with pacemakers and implantable defibrillators:
pacing in patients with impaired sinus node chronotropy: an echocar-
Incidence, risk factors, and consequences. J Cardiovasc Electro-
diographic and cardiopulmonary study. Europace, 2004; 6: 444–450.
physiol, 2010; 21: 786–790.
6.
Schwaab B, Kindermann M, Schatzer-Klotz D et al. AAIR versus
23.
van Eck JWM, van Hemel NM, Zuithof P et al. Incidence and
DDDR pacing in the bradycardia tachycardia syndrome: a pro-
predictors of in-hospital events after first implantation of pace-
spective, randomized, double-blind, crossover trial. Pacing Clin
makers. Europace, 2007; 9: 884–889.
Electrophysiol, 2001; 24: 1585–1595.
24.
Udo EO, Zuithoff NP, van Hemel NM et al. Incidence and
7.
Moríñigo JL, Arribas A, Ledesma C et al. Clinical safety and ef-
predictors of short- and long term complications in pacemaker
ficacy of single-chamber atrial pacing in sick sinus syndrome:
therapy: the FOLLOWPACE study. Heart Rhythm, 2012; 9:
long-term follow-up. Rev Esp Cardiol, 2002; 55: 1267–1272.
728–735.
15

---
Efektywność stymulacji przedsionkowej lub
przedsionkowo-komorowej w zespole chorego
węzła zatokowego w obserwacji odległej
Marcin Kuniewicz
, Anna Rydlewska
, Grzegorz Karkowski
, Maria Lelakowska-Pieła
, Jacek Majewski
,
1, 2
1
1
3
1
Jacek Lelakowski
1
Klinika Elektrokardiologii, Instytut Kardiologii, Uniwersytet Jagielloński, Krakowski Szpital Specjalistyczny im. Jana Pawła II, Kraków
1
Katedra i Zakład Anatomii, Collegium Medicum, Uniwersytet Jagielloński, Kraków
2
Krakowski Szpital Specjalistyczny im. Jana Pawła II, Kraków
3
S t r e s z c z e n i e
Wstęp: Zespół chorego węzła zatokowego (SSS) to zespół zaburzeń powodujących nieprawidłową częstotliwość rytmu zatokowego,
zbyt wolną do bieżących potrzeb fizjologicznych, co prowadzi do wystąpienia objawów klinicznych lub arytmii. Zgodnie z najnow
szymi wytycznymi w leczeniu SSS bez zaburzeń przewodzenia przedsionkowo-komorowego (AV), preferuje się stymulację AV (DDD)
względem stymulacji przedsionkowej (AAI).
Cel: Celem pracy było porównanie wyników leczenia chorych z wdrożoną stymulacją AAI lub DDD z powodu SSS w obserwacji odległej.
Metody: Łącznie grupa badana liczyła 809 osób (463 kobiety, 346 mężczyzn, wiek: 19–95 lat, średnio: 70 ± 11 lat). Grupa AAI
obejmowała 86 chorych (57 kobiet, 29 mężczyzn, wiek: 19–81 lat, średnio: 65 ± 15 lat) a grupa DDD 723 pacjentów (406 kobiet,
317 mężczyzn, wiek: 23–95 lat, średnio: 71,5 ± 10 lat). Badanie skuteczności stymulacji AAI i DDD w SSS odbyło się na podstawie
analizy dokumentacji medycznej chorych poddanych implantacji stymulatora i dokumentacji z co najmniej 3 wizyt kontrolnych.
Pierwszorzędowymi punktami końcowymi obserwacji były: reoperacja, zgon, migotanie przedsionków (AF), blok AV.
Wyniki: Średni czas obserwacji wynosił 52 ± 25 miesięcy (AAI: 65 ± 27; DDD: 50 ± 24). W grupie AAI na 86 wszczepionych
rozruszników 63 (73%) pozostało bez interwencji. W grupie DDD na 723 wszczepionych rozruszników 661 (91%) urządzeń nie
wymagało interwencji chirurgicznej. W obu grupach badanych zmarło łącznie 105 osób (13%) — 13 z grupy AAI (15,1%) i 92 (12,7%)
z grupy DDD (p = 0,4516). Blok AV w grupie badanej występował średnio po 46,3 ± 8,8 miesiącu po wszczepieniu stymulatora AAI.
Rozwój utrwalonego AF zanotowano u 8 (9,3%) chorych z grupy AAI i u 81 (11,2%) osób z grupy DDD (p = 0,23). Wykazano, że
wystąpieniu AF sprzyjają: obecność zespołu tachykardia–bradykardia (HR = 11,31) i brak skojarzonego leczenia antyarytmicznego
(beta-adrenolitykiem i amiodaronem) (HR = 4,23). Reoperacja dotyczyła 23 (26,7%) osób z grupy AAI i 62 (8,57%) pacjentów z grupy
DDD (p < 0,01). Operacyjną zmianę trybu stymulacji z AAI na VVI z powodu utrwalonego AF wykonano u 13 (15%) osób, a z DDD
na VVI u 1 (0,14%) chorego (p < 0,01). W pozostałych 47 przypadkach rozwoju AF w grupie DDD tryb zmieniano za pomocą pro
gramatora. Ryzyko konieczności doszczepienia elektrody komorowej z powodu AF kształtowało się na poziomie 1,72%/rok w grupie
badanej AAI. Analiza testu log-rank wykazała istotność wypływu rozwoju AF na reoperację w tej grupie chorych (p = 0,0420). Po
wikłania związane z elektrodami zarejestrowano w grupie AAI u 6 (6,9%) osób, a w grupie DDD u 49 (6,7%) pacjentów (p = 0,94).
Czasy do reoperacji różnią się istotnie wśród osób, które mają wszczepiony rozrusznik typu DDD, a tymi, którym implantowano
urządzenie typu AAI (p = 0,0338; test log-rank). Po 45 miesiącach ryzyko wystąpienia reoperacji w grupie AAI gwałtownie wzrasta
i jest spowodowane koniecznością doszczepienia elektrody komorowej.
Wnioski: 1. Stymulacja przedsionkowa jest bezpieczna w SSS, jednak wiąże się z podwyższonym ryzykiem konieczności doszcze
pienia elektrody komorowej z powodu bloku AV lub rozwoju utrwalonego AF z zaburzeniami przewodzenia AV. 2. Między grupami
DDD i AAI nie wykazano statystycznie istotnych różnic dotyczących czasu przeżycia, rozwoju utrwalonego AF, powikłań związanych
z elektrodami. 3. Obecność zespołu tachykardia–bradykardia i brak leczenia antyarytmicznego wiążą się z ryzykiem rozwoju utrwa
lonego AF w obserwacji odległej. 4. Ze względu na większy odsetek reoperacji u chorych ze stymulacją AAI, wynikających głównie
z rozwoju utrwalonego AF z bradykardią, zwłaszcza po 4. roku obserwacji, stosowanie układów DDD w SSS może być korzystniejsze.
Słowa kluczowe: stymulacja AAI, DDD, chory węzeł zatokowy
Kardiol Pol 2015; 73, 1: 7–16
Adres do korespondencji:
prof. dr hab. n. med. Jacek Lelakowski, Klinika Elektrokardiologii, Instytut Kardiologii, Uniwersytet Jagielloński, Krakowski Szpital Specjalistyczny im. Jana Pawła II,
ul. Prądnicka 80, 31–302 Kraków, tel: +48 12 614 22 77, faks: +48 12 633 23 99, e-mail: jlelakow@szpitaljp2.krakow.pl
Praca wpłynęła: 02.11.2013 r.
Zaakceptowana do druku: 10.06.2014 r.
Data publikacji AoP: 04.07.2014 r.
16