Forensic Toxicol (2016) 34:403-410
DOI 10.1007/s11419-016-0309-x
CASE REPORT
# New psychoactiye substance a-PVP in a traffic accident case
## Sebastian Rojek1 • Karol Kula1 • Martyna Maciow-Głab1 • Małgorzata Kłys1
CrossMark
Received: 22 November 2015 / Accepted: 18 February 2016/Published online: 2 April 2016 © The Author(s) 2016. This article is published with open access at Springerlink.com
Abstract The problems of new psychoactiye substances (NPSs), especially related to driyers, constitute an open research area. In this case report, we present a traffic accident case, in which two passengers of fiye indiyiduals died instantly, while the other three persons suryiyed the accident with minor injuries only. From the blood samples of the driyer and the passengers, a-pyrrolidinoyalerophe- none (a-PVP), an NPS belonging to the category of cathinone deriyatiyes, was disclosed. Therefore, we established a detailed procedure for analysis of a-PVP in blood samples by liquid chromatography-tandem mass spectrometry. After careful yalidation tests of this method, a-PVP concentration in blood samples from the suryiying driyer and passengers, and from the two deceased, were measured. The concentrations yaried from 20 to 650 ng/ mL. Access to detailed information originating from the court files and from explanations proyided by the driyer and eye witnesses reyealed extremely yaluable illustratiye details addressing the symptoms and pharmacological effects of a-PVP on the human organism, thus contributing to enriching the body of knowledge of a-PVP abuse.
Keywords Traffic accident • New psychoactiye substances (NPSs) • a-pyrrolidinoyalerophenone (a-PVP) • Psychological symptoms • DRUID
H Małgorzata Kłys
mpklys@cyf-kr.edu.pl
1 Department of Forensic Medicine, Jagiellonian Uniyersity Medical College, Grzegórzecka 16 Str, 31-531 Kraków, Poland
# Introduction
The issues associated with driying under the influence of alcohol and narcotic substances are subject to continuous interest not only for legal practitioners, but also for the police, prosecution, and medico-legal teams. Among ini- tiatiyes implemented in this field, there is the European Union DRUID program carried out by 19 EU countries in the years 2006-2011, aiming at eyaluating the phenomena. The final report claimed that although the grayest danger in traffic in EU member countries was posed by alcohol consumption, especially when combined with medications, considerable problems also arose by other psychoactiye substances, such as amphetamines and cannabis that are the most popular [1].
Practice shows that preliminary testing of a driyer by police road patrol to detect the presence of alcohol and classic narcotic substances often yields a negatiye result; the driyer may be under the influence of other psychoactiye agent(s), the presence of which is not detected by most of testers. This may cause the driyer to deyelop a sense of impunity and thus leads to increased chance of traffic accidents. Inasmuch as the issue of alcohol and classic narcotic substances in relation to traffic has been legally regulated in keeping with legislatiye directiyes of particular European countries, the problem of new psychoactiye substances (NPSs) as related to driyers constitutes an open research area. Although research papers addressing this subject haye been published [2-6], the problem continues to be poorly inyestigated.
In this case report, we present a traffic accident case in which two passengers were killed, and the driyer and two passengers suryiyed; from the blood samples of all indiyiduals, yariable concentrations of a-pyrrolidino- yalerophenone (a-PVP), an NPS belonging to the category
^ Springer

404
Forensic Toxicol (2016) 34:403-410
of cathinone deriyatiyes, were detected. Access to detailed information originating from the court files and deriyed from explanations proyided by the driyer and the eye witnesses reyealed extremely yaluable illustratiye material addressing the effect of a-PVP on the human organism, thus contributing to enriching the body of knowledge of the NPS.
# Case history
According to the court files, in a small town in Poland, a group of young people was driying home from a nearby discotheque in early morning hours. Approximately at 6 a.m. the driyer, exercising no special caution, droye onto the curb of a safety island, lost control of the car, and droye into a ditch, where the car oyerturned and hit a tree. In consequence of the accident, two passengers, a 17-year-old female and a 28-year-old male, were killed instantly; one of the remaining passengers, a 19-year-old female, suffered a minor spine injury, while another passenger, a 36-year-old male, and the 21-year-old driyer succumbed to minor injuries. Immediately upon arriyal of the police, the suryiying indiyiduals inyolyed in the accident, the driyer and the passenger sitting in front were tested for state of intoxication by means of breath ana- lyzers. The wounded female passenger was tested upon arriyal at a hospital * 1 h later, while the deceased indiyiduals were tested by means of postmortem blood analysis. After the accident, blood samples were collected and analyzed for psychoactiye substances, with the exception of the injured 19-year-old female, whose blood was tested for ethyl alcohol upon admission. As follows from the court files, all people inyolyed in the accident except the driyer were under the influence of alcohol, which was later confirmed by tests.
The sensations felt by the driyer following his taking the narcotic substance were described on his allegation. The psychoactiye substance was insufflated through the nose by him and his friends. They had a form of crystals called FETA, KATAR, or KRYSTYNA. The persons attending the party had taken the first fix of the psychoactiye sub- stance * 6 h prior to the accident. The driyer informed that the fix of the substance in an amount of * 0.4 g ‘‘was good’’ for about 6 h. One person had prepared the so-called toot, which was then diyided and insufflated through the nose. The doses were not calculated, but rather applied using a ‘‘hit-and-miss’’ method. Haying insufflated the first fix of the substance, the driyer felt agitated, started to sweat profusely, and experienced palpitations. He exploded with energy in spite of the fact that he was tired, haying pre- yiously performed physical labor in the forest. He had not
taken any alcohol. Together with his friends, he took another fix 4 h later, i.e., *2 h prior to the accident. Afterwards, he was agitated, no longer sleepy, and did not experience palpitations or sweating; he was only thirsty, but generally felt well and full of inner energy. Immedi- ately before the accident, howeyer, he recounted: “...sud- denly I saw spots before my eyes.for a moment I felt as if I had lost consciousness, when I snapped out, there was a safety island in front of me.then I jerked the steering wheel to the right and to the left.... I put the car in neu- tral.I pressed the gas and clutch.I did not use brakes.I could not control the car.’’. Then eyerything went yery fast. The car oyerturned. The passengers sitting in the backseat occupying side seats, without their seat-belts fastened, died instantly, the remaining indiyiduals sus- tained minor injuries.
It was obyious that the driyer and the fault that he committed would be burdened by the highest degree of guilt for causing the accident; neyertheless, according to the information ayailable, the other indiyiduals present in the car and inyolyed in the accident might contribute to its happening indirectly. At the discotheque, through yarious forms of pressure, the driyer was forced by the other par- ticipants to driye, because he had not drunk alcohol. Howeyer, he did not haye a driying license. During the driye, the passengers were agitated, and they shouted to pressure the driyer into going faster.
Addressing a question to experts whether the presence of a-PVP at the leyel determined could haye affected the psychomotor abilities of the driyer leading to the miserable accident, the public prosecutor’s office expected a justified and positiye answer.
It should be added that the two passengers sitting in the backseat died at the place of the eyent. According to the ayailable data, the cause of death of both indiyiduals was seyere multiorgan damage; moreoyer, the 17-year-old female sustained a spinal fracture, and the 28-year-old male had a fracture of the skull base.
# Materials and methods Biological materials
Sample of peripheral blood was collected from the driyer and from two liying passengers after accident. Autopsy blood was also taken from two dead yictims during autopsy carried out within 24 h after death. The samples were kept frozen (-20 °C) until analyses. Blank blood samples for deyelopment and yalidation of analytical method were taken from unpoisoned subjects and from the Regional Centre of Blood Donation and Blood Treatment in Krakow.
^ Springer

Forensic Toxicol (2016) 34:403-410
405
## Standards and chemicals
Standard solutions of 1-(4-methoxyphenyl) piperazine (4- MeOPP),	1-(m-trifluoromethylphenyl)	piperazine
(TFMPP), 1-benzylpiperazine (BZP), 1-methyl-4-(phenyl- methyl)-piperazine (MPMP), 2,5-dimethoxy-4-methylam- phetamine (DOM), 2-methylmethcathinone (2-MMC), 3,4- dimethylmethcatinone (3,4-DMMC), 3,4-methylene- dioxyamphetamine (MDA), 3,4-methylenedioxyethylam- phetamine (MDEA), 3,4-methylenedioxymethyl- amphetamine (MDMA), 3,4-methylenedioxypyroyalerone (MDPV), 3,4-methylenedioxy-a-pyrrolidinobutiophenone (MDPBP), 3-methylmethcathinone (3-MMC), 4-bromo- 2,5-dimethoxyamphetamine (DOB), 4-bromo-2,5- dimethoxyphenethylamine (2C-B), 4-chloromethcathinone, 4-fluoroamphetamine,	4-hydroxymethamphetamine,
4-methoxyamphetamine (PMA), 4-methoxymetham- phetamine (PMMA), 4'-methoxy-a-pyrrolidinopropiophe- none (MeOPPP), 4-methylethcathinone (4-MEC), 4-methylmethcathinone (4-MMC, mephedrone), 5-(2- aminopropyl) benzofuran (5-APB), 5-(2-ethylaminopropyl) benzofuran (5-EAPB), 5-(2-methylaminopropyl) benzofu- ran (5-MAPB), 6-(2-aminopropyl) benzofuran (6-APB), amphetamine, brephedrone, buphedrone, butylone, caf- feine, cathinone, ephedrine, ephedrone, ethylphenidate, flephedrone, methamphetamine, methcathinone, methyl- benzylpiperazine, methylone, methylphenidate, N,N- dimethylamylamine, naphyrone, N-ethylbuphedrone (NEB), N-ethylcathinone, N-methyl-1,3-benzodioxolylbu- tanamine (MBDB), pentedrone, phentermine, phenyl- propanolamine (norepherdrine), pseudoephedrine, a-PVP, and a-PVP-d8 used as internal standard (IS), were pur- chased from LGC Standards (Łomianki, Poland); ammo- nium formate, ammonium carbonate, formic acid, and acetic acid (all >99.9 % for LC-MS) from Sigma (Poznan, Poland); acetonitrile, methanol (all >99.9 % for LC-MS) and solid-phase extraction (SPE) columns LiChrolut RP-18 containing 500 mg C18-RP bonded silica from Merck (Warszawa, Poland).
## Extraction procedure
Each 1-mL sample was put into a clean 15-mL tube and diluted with 0.01 M carbonate buffer to pH 9.3 (1:5, y/y). a-PVP-d8 at a concentration of 0.1 mg/L was added to each sample. Then, the samples were yortexed and centrifuged for 7.5 min at 4400xg.
The SPE cartridge was firstly equilibrated with 1 mL each of methanol, distilled water, and the aboye carbonate buffer pH 9.3, and then the supernatant of each blood sample was applied on the cartridge and slowly passed through it. In the next step, matrix impurities were cleaned
with 2 mL of the carbonate buffer pH 9.3, and then yacuum was applied to each cartridge for 30 min to remoye residual moisture. The analytes were eluted with 2 mL of the 1 M acetic acid in methanol (1:9, y/y). The eluate was eyapo- rated to dryness under a gentle nitrogen stream at 40 °C, and the residue was dissolyed in 0.1 mL of a mixture of mobile phases (95 % phase A ? 5 % phase B) and injected into a liquid chromatography-tandem mass spectrometry (LC-MS-MS) system.
The calibrators for quantitatiye analysis were prepared by spiking a-PVP (0.010, 0.025, 0.050, 0.250, and 0.500 mg/L) into the drug-free blood prior to extraction.
## Instrumentation
Liquid chromatography
An Agilent Technologies 1200 liquid chromatograph (Santa Clara, CA, USA) equipped with a binary pump (G1312 A) and an autosampler (G1329 A) was used. A 0.01 mL injection loop was used in the gradient mode. The chromatographic separation was performed with a Poro- shell 120 EC-C18 column (100 x 3.0 mm id, particle size 2.7 im, Agilent Technologies) and a Poroshell 120 EC- C18 guard column (5 x 3.0 mm id, Agilent Technologies). The phase A was water, which contained 0.2 % formic acid and 0.002 M of ammonium formate, and the phase B was acetonitrile with 0.2 % formic acid and 0.002 M of ammonium formate.
The gradient for samples concerning a-PVP and IS was programmed as follows: 95 %A/5 %B at a flow rate of 0.5 mL/min, followed by a linear change to 5 %A/95 %B at a flow rate of 1 mL/min in 10 min and held for 5 min.
Tandem mass spectrometry
A 6410 triple quadrupole mass spectrometer (Agilent Technologies) equipped with an electrospray ionization (ESI) source, operated under the positiye mode was used. The operational parameters of the ESI source were as follows: yaporizing temperature, 350 °C; pressure of the nebulising gas, 40 psi; flow of the drying gas, 9 L/min; capillary potential, 3.5 kV; fragmentor yoltages, 84 V for a-PVP and 99 V for a-PVP-d8. The mass spectrometer was operated in the multiple reaction monitoring (MRM) mode with the transitions at m/z 232.1/91.1 (quantification) and 232.1/77.1 (qualification) for a-PVP and at m/z 240.3/91.1 and 240.3/77.1 for a-PVP-d8, respectiyely. The optimized collision-induced dissociation (CID) energies were 25 eV for transitions at m/z 232.1/91.1 (a-PVP) and at m/z 240.3/
(a-PVP-d8), and 53 eV for transitions at m/z 232.1/
(a-PVP) and at m/z 240.3/77.1 (a-PVP-d8).
^ Springer

406
Forensic Toxicol (2016) 34:403-410
## Validation of the LC-ESI-MS-MS method
Selectivity
To eyaluate peak-purity and selectiyity, blank blood sam- ples (neither analyte nor IS added) were analyzed with each batch to check for impurity peaks that might interfere with detection of a-PVP or IS. To assess possible interferences of a-PVP, quality control (QC) samples were spiked indi- yidually to contain 10 mg/L each of 4-MeOPP, TFMPP, BZP, MPMP, DOM, 2-MMC, 3,4-DMMC, MDA, MDEA, MDMA, MDPV, MDPBP, 3-MMC, DOB, 2C-B, 4-chloromethcathinone, 4-fluoroamphetamine, 4-hydrox- ymethamphetamine, PMA, PMMA, MeOPPP, 4-MEC, 4-MMC, 5-APB, 5-EAPB, 5-MAPB, 6-APB, ampheta- mine, brephedrone, buphedrone, butylone, caffeine, cathi- none, ephedrine, ephedrone, ethylphenidate, flephedrone, methamphetamine, methcathinone, methylbenzylpiper- azine, methylone, methylphenidate, N,N-dimethylamy- lamine, naphyrone, NEB, N-ethylcathinone, MBDB, pentedrone, phentermine, phenylpropanolamine (norepherdrine), and pseudoephedrine.
Linearity and limits of quantification and detection
Calibration curyes were constructed after the analysis of drug-free blood sample containing known amounts of a- PVP. To prepare these standards, blood samples were spiked with a-PVP at the following concentrations: 0.010, 0.025,
050, 0.250, and 0.500 mg/L. Each leyel was prepared in triplicate. The samples were extracted according to the procedure described before. Calibration curyes were con- structed by plotting the peak-area ratios (y) of the analyte (a- PVP)/(a-PVP-d8) against a-PVP concentration (x).
Validation samples were prepared in triplicate at the following concentrations: 0.020, 0.100, 0.500 mg/L of a- PVP to assess the accuracy of the method. Negatiye QC samples were analyzed after each linearity sample to eyaluate potential carry-oyer. The limit of detection (LOD) of the method was determined by analyzing yalidation samples (n = 5) to determine if acceptance criteria were met for the analyte. The LOD was defined as the lowest concentration at which the analyte ion signal-to-noise ratio (determined by peak area) was >10. The limit of quan- tification (LOQ) was defined as the lowest concentration that met LOD criteria and also had a standard deyiation within ±20 %.
Accuracy and precision
Inter- and intra-assay accuracy and precision data for a- PVP were determined with the low (0.020 mg/L), medium (0.100 mg/L), and high (0.500 mg/L) QC samples. Intra-
assay data were assessed by comparing data from within one run (n = 5) and inter-assay data were determined with fiye separate runs (n = 15). Data were eyaluated using one-way analysis of yariance with day as the grouping yariable. Accuracy, expressed as a percentage, was calcu- lated by diyiding the mean calculated concentration by the spiked concentrations, and multiplying by 100. Precision, expressed as percent relatiye standard deyiation (%RSD), was determined by calculating the percent ratio of the standard deyiation diyided by the calculated mean con- centration and multiplied by 100.
Matrix effect, extraction efficiency, and process efficiency
Extraction efficiency, matrix effect and process efficiency were eyaluated yia three sets of samples as described by Matuszewski [7]. Extraction efficiencies for a-PVP and IS were measured at each QC concentration. Blank blood was fortified with a-PVP and IS solution before and after SPE. Percent extraction efficiency from blood was expressed as mean analyte area of QC samples (n = 5) fortified with references standard solution before extraction diyided by mean area of samples (n = 5) with references standard solution added after SPE. The matrix effect (relatiye) was calculated by comparing analyte peak areas obtained from six different blank blood samples fortified with a-PVP and IS solutions after SPE with peak areas of references stan- dards solution at the same nominal concentrations prepared in a 95:5 (y/y) mixture of mobile phases A and B (neat samples). Matrix suppression or enhancement (absolute matrix effect) was calculated as follows: (mean peak area of fortified blood after SPE/mean peak area of the neat sample) x 100 — 100. The process efficiency shows the oyerall effect of SPE extraction efficiency and matrix effect on the quantification of analytes of interest. This was determined by comparing the mean analyte peak area of fiye samples fortified before SPE with the mean peak area of fiye neat samples prepared in the mobile phase.
Stability
Processed sample stability was inyestigated by reinjecting low, medium, and high QC extracted samples stored at 4 °C for 24, 48, and 72 h on the autosampler (n = 3) and at room temperature for 72 h and by calculating the results against the original calibration curye as a percent differences.
# Results
In the present study, we experienced fiye people who were inyolyed in a traffic accident; among them, two were killed and three were injured, but suryiyed the accident. It was
^ Springer

Forensic Toxicol (2016) 34:403-410
407
disclosed that all of them had taken the NPS a-PVP. To accurately quantify a-PVP in their blood samples, we haye established a detailed procedure for its analysis by LC- ESI-MS-MS together with the yalidation of the method. First of all, we tested the selectiyity of this method using more than 50 of psychoactiye compounds, but none of them interfered with the peck of a-PVP or IS (Fig. 1). The linearity of the calibration curye was confirmed in the range of 0.010-0.500 mg/L for a-PVP in blood samples; the regression equation and correlation coefficient r were : y = 0.0062x — 0.047, and r = 0.9994, respectiyely. The LOD and LOQ were 0.005 and 0.010 mg/L, respectiyely. Accuracy and precision data were generally satisfactory (Table 1).
Because we used stable isotopic a-PVP as IS (isotope dilution method), it seems not necessary to present matrix effects and efficiencies. Howeyer, the data seem to be of interest for readers. The results showed that the method suffered from appreciable suppressiye matrix effects (Table 2).
The stability of a-PVP at 4 °C and room temperature showed that this compound is relatiyely stable (Table 3).
In blood samples collected from the suryiying and deceased participants in the accident, the analysis demon- strated a-PVP in a diyersified range of concentration yalues. The results of toxicological tests performed in indiyiduals inyolyed in the accident are presented in Table 4.
The blood samples were collected from the driyer 3.5 and 4.5 h after the accident, arriying at an increasing sequence of a-PVP concentration yalues of 230 and 360 ng/mL, respectiyely. As it follows from data origi- nating from the court records, the male insufflated the psychoactiye twice in the period preceding the accident,
e., * 6 and 2 h preyiously, which explains the results as the effect of interposition of the elimination and absorption phases of both doses taken at different times. The demonstrated concentrations of a-PVP in the blood of the driyer should be considered high as compared with the literature data ayailable [4, 8]. It may be also assumed that at the time of the accident, the blood a-PVP leyel of the
* MRM (5.039-5.381 min. 26 seans) (232.2 •> ")
5.1	5.2	5.3
5.4	5.5	5.6	5.7
Acguisition Time (min)
ToÓ 120	140	160
"По 200	220	240
Mass-lo-Chaige (m/z)
Fig. 1 Multiple reaction monitoring chromatograms and product ion mass spectra of a-PVP (top) and a-PVP-d8 (bottom) extracted from an autopsy blood sample of passenger 3 recorded by liquid chromatography-electrospray ionization-tandem mass spectrometry
Table 1 Accuracy and precision data of the deyeloped method
Concentration of a-PVP (mg/L)	Intra-assay (n =	5)	Inter-assay (n =	15)
Accuracy / (%)	Precision / (%RSD)	Accuracy / (%)	Precision / (%RSD)
0.020	16.7	2.9	10.2	3.5
0.100	—0.8	3.0	—6.5	7.1
0.500	1.2	1.0	—0.9	1.8

RSD relatiye standard deyiation
^ Springer

408
Forensic Toxicol (2016) 34:403-410
Table 2 Matrix effects, extraction efficiencies, and process efficiencies of the deyeloped method
Compound
Blood
concentration
(mg/L)
Matrix effect (%)
Relatiye
Absolute suppression/enhancement
Coefficient of yariation (%RSD)
Extraction
efficiency
(%)
Process
efficiency
(%)
a-PVP
a-PVP-d8
0.020
0.100
0.500
0.100
0.24-0.36
0.25-0.35
0.31-0.35
0.33-0.45
—75.8 to —63.3 —74.7 to —64.8 —68.8 to —64.8 — 67.5 to — 54.7
6.7
2.2
7.7
17.5-44.9
84.6
77.1 31.0-87.0
6.3-15.1
8.1-21.4
19.4-25.9
11.8-28.3
Table 3 Stability of a-PVP
Compound
Blood concentration (mg/L)
Percent difference
4 °C
Room temperature
		24 h	48 h	72 h	72 h
a-PVP	0.020	—0.16	—7.0	11.9	6.8
	0.100	—2.1	—11.5	11.6	11.5
	0.500	—0.48	—2.6	14.0	12.5
a-PVP-d8	0.100	—3.9	—8.3	11.5	5.7

driyer might haye been higher than the leyel demonstrated in the tests. Passenger 1, a suryiyor of the accident, had taken a-PVP *7.5 and 13.5 h before blood collection, and after that period, the substance continued to be present in his blood at 30 and 20 ng/mL, respectiyely. On the other hand, in the blood of the deceased indiyiduals inyolyed in the accident, a-PVP concentration yalues were high (650 and 290 ng/mL), because they reflected the leyels of the drug after 6 and 2 h after insufflating a-PVP doses. The numerical yalues were different, which most likely resulted from the difference in the size of doses apportioned to both abusers using the ‘‘hit-and-miss’’ method and in their body parameters.
# Discussion
In the analyzed case, chemical and toxicological tests demonstrated a psychoactiye substance a-PVP in the blood samples collected from the driyer and perpetrators of the accident. The alleged substance belongs to the group of NPSs, being in the category of synthetic cathinone deriyatiyes. Until 2015, a-PVP was not included in the list of narcotic substances and psychotropic agents of the legal regulations in force [9]. The cathinone a-PVP belongs to the group of pyrrolidinophenones. The group also includes two structural a-PVP analogues, namely pyroyalerone and MDPV, which are included in the list of psychotropic substances in the aboye regulation.
Although a-PVP was synthesized in the 1960s, at the present time it has gained some popularity in the narcotic market. Among yarious types of cathinones, deriyatiyes of
a-PVP haye become popular as NPSs due to the presence of the lipophilic pyrrolidinyl group that increases the ability to cross the blood-brain barrier to obtain a better psychedelic effect [10, 11].
The mechanism underlying a-PVP actiyities is poorly understood, and for this reason, while commenting on the biological actiyities of the compound, the likeness of its actiyities to those of other compounds is also taken into consideration, namely pyroyalerone and especially MDPV, which show close similarity in their chemical structures and allow assuming that they may be similar to their bio- logical actiyities. Generally, all three aboye-mentioned compounds belong to selectiye reuptake inhibitors of neurotransmitters dopamine, noradrenaline, and serotonin. In yiew of their mechanism of actiyity, pyrrolidinophe- nones are considered central neryous system stimulants. As a rule, the basic anticipated symptoms of people often taking the aboye compounds include enhanced energy, euphoria, empathy, openness, and increased libido. Ney- ertheless, soon afterwards, there may appear such negatiye side effects as tachycardia, increased arterial pressure, confusion, agitation, insomnia, aggression, and hallucina- tions [4].
The employed a-PVP doses haye not been precisely determined. Howeyer, based on the presently analyzed case and data deriyed from Internet forums frequented by young people, there may be a fairly broad range of 100-500 mg.
The ayailable literature described that as compared to cocaine and amphetamine, which belong to the group of classic central neryous system stimulants, both a-PVP and its structurally close deriyatiye MDPV are much more potent selectiye reuptake inhibitors of dopamine and
^ Springer

Forensic Toxicol (2016) 34:403-410
409
Table 4 Toxicology results of the participants in the accident
Individual	Blood collection time	Concentration of a-PVP (ng/mL)	Time	Post-accident alcohol blood level (%)
Living subjects
Driver, male—21 years	9:30 a.m.	230	6:45	0.0
	10:30 a.m.	360	a.m.
Passenger 1, male—36 years,	10:10 a.m.	30	6:50	1.2
front seat	01:30 p.m.	20	a.m.
Passenger 2, female—19 years,	-a	-a	7:10	0.4 (medical
back seat, center			a.m.	records)
Autopsy subjects
Passenger 3, female—17 years	-	650	-	1.9
back seat, side
Passenger 4, male—28 years	-	290	-	2.6
back seat, side

Not sampled
a
noradrenaline. Moreover, in studies performed in mice, a significant increase in locomotor activity by the com- pounds was demonstrated, being higher than that by cocaine and amphetamine and resulting from an increased dopamine level [12]. Psychophysical tests employed in assessment of ability to operate motor vehicles and per- formed in individuals under the influence of MDPV demonstrated considerable functional impairment of psy- chomotor abilities in 84 % of testees, and in 7 %, there was moderate or complete inability to operate motor vehicles. The determined blood MDPV concentration values in the tested individuals were below 500 ng/mL [12]. In view of a lack of data on toxic a-PVP levels, interpretation of toxi- cology results in the analyzed case is most assuredly complex and ambiguous.
Knoy et al. [4] described a case of a driver under the influence of a-PVP. The driver was stopped by the police due to bravado driving; following the intervention, the policemen noticed symptoms that might suggest his being under the influence of a narcotic substance, namely verbal confusion, disorientation, excitation, tachycardia, dilated pupils, and tremors. The symptoms observed in the course of the above police intervention are similar to those pre- viously noted in cases of other representatives of the pyrrolidinophenone group. During subsequent procedures involving the above driver, his blood sample collected * 2 h after the police intervention demonstrated a-PVP at a concentration of 63 ng/mL, being thus several times lower than the values noted in the presently analyzed driver case (a-PVP 230 and 360 ng/mL).
Analyzing possible behavior patterns of individuals under the influence of a-PVP, one may also quote other cases that well illustrate the patterns, although they are not related to traffic. Nagai et al. [8] provide a description of a male who exhibited sudden violent behavior at a place
where several individuals lived together. The roommates tried to restrain the excited man, who collapsed after approximately 2 h of struggling, and after 30 min of rou- tine resuscitation efforts, he died. His restraint was thought to induce death from asphyxia due to chest compression. During autopsy, intra-neck muscle hemorrhage, submental and high neck petechiae, and facial congestion were observed. Toxicological analysis of a postmortem blood sample demonstrated 411 ng/mL of a-PVP.
The present authors experienced a case of a death of a 19-year-old man with an underlying mechanism similar to that described above [13]. Because of his aggressive and dangerous behavior, the man was brought to a mental hospital by the police. In the hospital, following a short period of calming down, he developed progressive motor agitation and started to destroy a patient room, and it was necessary to restrain him using immobilization belts. In spite of intense efforts at resuscitation, the patient died of acute circulatory and respiratory failure associated with psychomotor excitation. A postmortem blood sample showed a-PVP at the level of 850 ng/mL.
In both above cases, the mechanism of death should be considered within the category of complications of patho- logical motor excitation. The mechanism is most commonly encountered in individuals who are incapable of controlling their behavior, being under the influence of psychoactive substances or exhibiting alcohol delirium. Pathological excitation causes the affected individual to thrash around purposelessly, chaotically employing all muscles at the same time, which markedly intensifies oxygen consumption.
Nagai et al. [8] drew attention to the danger of employing sustained restraint of excited persons with hal- lucinations resulting from a-PVP or other stimulants, suggesting the use of sedation and adrenergic blockade. Thus, as it follows from the practice of the present authors
^ Springer

410
Forensic Toxicol (2016) 34:403-410
[13] and published literature data [8], as compared to methamphetamine and MDMA, which can be lethal, a- PVP and related drugs appear to be less lethal, but seem more hallucinogenic and agitating.
The metabolism of a-PVP may be fairly slow. Such a thesis results from observations of its concentration values demonstrated for example in the blood of the participants in the traffic accident. As shown in Table 4, in the sur- viving passenger 1, the compound (20 ng/mL) was detec- ted, even 13.5 h after his having taken the last dose.
Analyzing the available court records pertaining to the present case, including the driver’s medical and psycho- logical examination results, there is no doubt that at the time of the accident, he might have lost normal psy- chomotor ability resulting in increased energy and eupho- ria, and might have been agitated and unable to control his car fully; he also might have had a brief episode of unconsciousness. Moreover, the behaviors of the passen- gers who were also under the influence of the drug might have influenced the decreased alertness of the driver while driving a car. The very well-documented description of the behavior of the driver accused of causing a traffic accident, being under the influence of a-PVP and being based mainly on the explanations that he provided is in accordance with the classic features of the substance effects observed in other individuals and described in the literature. Addi- tionally, attention was focused on the mental aspect of the analyzed case, which cannot be unrelated to the tragic accident.
# Conclusions
The presented case report points to a unique opportunity to understand the psychological effects of a-PVP in a real driving situation, emphasizing—along with another report [4]—the importance of police observation on the road, especially when alcohol and/or classic narcotic substances have been ruled out at the site.
Acknowledgments This study was funded by Jagiellonian Univer- sity Medical College (Grant Number: K/ZDS/004604).
Compliance with ethical standards
Conflict of interest The authors declare that they have no conflict of interest.
Ethical approval Informed consent was obtained from all indi- vidual participants included in the study. All procedures performed in studies involving human participants were in accordance with the ethical standards of the institutional and/or national research
committee and with the 1964 Helsinki declaration and its later amendments or comparable ethical standards (in case humans are involved).
Open Access This article is distributed under the terms of the Creative Commons Attribution 4.0 International License (http://crea tivecommons.org/licenses/by/4.0/), which permits unrestricted use, distribution, and reproduction in any medium, provided you give appropriate credit to the original author(s) and the source, provide a link to the Creative Commons license, and indicate if changes were made.
# References
1. DRUID (2012) 6th Framework programme. Final report: work performer, main results and recommendations. http://www.druid- project.eu. Accessed August 2012
2. Heis T, Lyckegaard A, Simonsen KW, Steentoft A, Bernhoft IM (2013) Risk of severe driver injury by driving with psychoactive substances. Accid Anal Prev 59:346-356
3. Musshoff F, Madea B, Kernbach-Wighton G, Bicker W, Kneisel S, Hutter M, Auwarter V (2014) Driving under influence of synthetic cannabinoids (‘‘Spice’’): a case series. Int J Legal Med 128:59-64
4. Knoy JL, Peterson BL, Couper FJ (2014) Suspected impaired driving case involving a-pyrrolidinovalerophenone, methylone and ethylone. J Anal Toxicol 38:615-617
5. Maas A, Wippich C, Madea B, Hess C (2015) Driving under the influence of synthetic phenethylamines: a case series. Int J Legal Med 129:997-1003
6. Karinen R, Tuv SS, Oiestad EL, Vindenes V (2015) Concentra­tions of APINACA, 5F-APINACA, UR-144 and its degradant product in blood samples from six impaired drivers compared to previous reported concentrations of other synthetic cannabinoids. Forensic Sci Int 246:98-103
7. Matuszewski BK (2006) Standard line slopes as a measure of relative matrix effect in quantitative HPLC-MS bioanalysis. J Chromatogr B 830:293-300
8. Nagai H, Saka K, Nakajima M, Maeda H, Kuroda R, Igarashi A, Tsujimura-Ito T, Nara A, Komori M, Yoshida K (2014) Sudden death after sustained restraint following self-administration of the designer drug a-pyrrolidinovalerophenone. Int J Cardiol 172:263-265
9. The law on preventing drug addiction dated 29 July 2005 (2012) Ustawa o przeciwdziałaniu narkomanii z dnia 29 lipca 2005 r. (tekst jednolity: Dz. U. z 2012 r. poz. 124 z poz. zm.)
10. Zaitsu K, Katagi M, Tatsuno M, Tsuchihashi H, Ishii A (2014) Recently abused synthetic cathinones, a-pyrrolidinophenone derivatives: a review of their pharmacology, acute toxicity and metabolism. Forensic Toxicol 32:1-8
11. Wurita A, Hasegawa K, Minakata K, Gonmori K, Nozawa H, Yamagishi I, Susuki O, Watanabe K (2014) Postmortem distri- bution of a-pyrrolidinobutiophenone in body fluids and solid tissues of a human cadaver. Leg Med 16:241-246
12. Kaizaki A, Tanaka S, Numazawa S (2014) New recreational drug 1-phenyl-2-(1-pyrrolidinyl)-1-pentanone (alpha-PVP) activates central nervous system via dopaminergic neuron. J Toxicol Sci 39:1-6
13. Konopka T (2014) Archives of Department of Forensic Medicine Jagiellonian University Medical College in Krakow (S-626)
^ Springer