  EXPERIMENTAL STUDY
Evaluation of tourniquet application in a simulated
tactical environment
Tomasz Sanak, MSc, PhD,
 Robert Brzozowski, PhD,
 Marek Dabrowski, MPH,
 Magdalena Kozak, M.D.,
1
2
3
Agata Dabrowska, MSc, MPH,
 Maciej Sip, MSc, MPH,
 Katarzyna Naylor, MSC, MPH,
 Kamil Torres, M.D., PhD
4
4
Department of Disaster Medicine and Emergency, Faculty of Anesthesiology and Intensive Therapy, Collegium Medicum,
Jagiellonian University, Krakow-Poland
Department of Battlefield Medicine, Military Institute of Medicine In Warsav-Poland
Department of Disaster and Emergency Medicine, Poznan University of Medical Science, Poznan-Poland
Department of Didactics and Medical Simulation, Chair of Human Anatomy, Medical University of Lublin-Poland
4
ABSTRACT
BACKGROUND: Application of a tourniquet in a tactical environment is implemented in two ways: the so-called self-aid, which
is the application of a tourniquet by the injured, and the so-called buddy aid, which is the application of a tourniquet by the person
provide aid. This study aimed to test the quality of tourniquet use in a simulated situation, close quarter battle.
METHODS: The study involved 24 injured operators and 72 operators in the whole simulation, implying 12 sections of six individuals.
To validate the application of tourniquets, the recommendations of the Committee of Tactical Combat Care of the Injured were used,
and ultrasound with Doppler function was employed to assess the hemodynamic effect of applying tourniquets.
RESULTS: Native flow was observed in 15 operators; in three people, a trace flow was noticed, whereas in six people, a full flow was
observed. No significant difference was found between the qualities of tourniquet application by the operators themselves compared
with those of tourniquet application by another person. The median distance of tourniquet application from the armpit was 9.5 cm
for self-aid and buddy aid. In 16 participants the outer arrangement of tourniquets was observed, and in only eight participants tourni-
quets were correctly located on the internal part of the arm. In 18 participants, tourniquets were not correctly prepared for use in
the tactical environment, whereas in only six participants, they were correctly prepared. Most operators with a negative ultrasound
flow revealed negative distal observed pulse (DOP). Positive DOP occurred in the majority of operators with full ultrasound flow.
CONCLUSION: The application of tourniquets poses a challenge even in case of specialized units; therefore, there is a need to
provide regular training for implementing that procedure.
Keywords: Care under fire; hemorrhage; tactical field care; tourniquet.
In Phase I or the so-called care under fire (CUF), the priority
INTRODUCTION
is to take the fire initiative and execution of tactical and op-
Tourniquets may be used in the tactical environment during
erational objectives. In this phase, known as the death zone,
one of three phases.
it is practically impossible to apply advanced emergency pro-
cedures, and stopping bleeding is limited to tourniquet appli-
The time and quality of provided assessments influence life or
cation by the victim, known as the so-called self-aid, or by the
operator who is in the vicinity, known as the so-called buddy
death dilemma and decide on the success of the conducted
aid (if it is possible depending on the tactical situation). It
mission and its effectiveness.
[1]
Cite this article as: Sanak T, Brzozowski R, Dabrowski M, Kozak M, Dabrowska A, Sip M, et al. Evaluation of tourniquet application in a simulated
Tactical environment. Ulus Travma Acil Cerrahi Derg 2018;24:9-15
Address for correspondence:
Katarzyna Naylor, M.D.
Al. Racławickie 1 Lublin - Poland.
Tel: 0048509716631 E-mail: katarzyna.naylor@hotmail.com
Ulus Travma Acil Cerrahi Derg 2018;24(1):9–15 DOI: 10.5505/tjtes.2017.84899 Submitted: 15.03.2017 Accepted: 17.04.2017
Copyright 2018 Turkish Association of Trauma and Emergency Surgery
9
Ulus Travma Acil Cerrahi Derg, January 2018, Vol. 24, No. 1

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
should be noted that 60% of deaths on the battlefield is asso-
left and right hands of the operator to make “self-application”
ciated with massive hemorrhage from the limbs in this phase.
possible. Tourniquets should also be placed on each of the
Phase II or the so-called tactical field care is defined as the
inner part of the leg.
[5]
seemingly safe zone. The trauma examination undertaken
Hemostatic Effect
according to the MARCHE (M-massive bleeding, A-airway,
R- respiratory management, C-circulation, H-hypothermia,
The use of tourniquets in each phase of assistance in the tacti-
E-everything else) scheme provides the possibility of changing
cal environment should be associated with stopping bleeding.
tourniquets to hemostatic dressings. However, if the exami-
Tourniquets should be applied as high as possible on the limb
nation leads to the identification of an active bleeding source,
in the CUF zone. Obtaining the hemostatic effect is associ-
it should be stopped in the first place with tourniquets.
ated with the closure of the artery light through the external
compressive force of tourniquets. The operators, as a result
In Phase III or the so-called tactical evacuation, the priority
of the learning process, should use tourniquets in such a way
is to transport injured people to a field hospital with surgical
that the compression force stops the bleeding and eliminates
protection as soon as possible.
[1]
pulse in the distal parts of the leg (upper limb, radial artery;
lower limb, popliteal artery).
[4,5]
Any use of tourniquets when not subjected to CUF is dic-
tated by the inability to control bleeding by other means
The research reviews the value and need of training for ac-
(bandages, gaze, etc.).
[2]
quiring/sustaining skills in tourniquet application among mili-
tary professionals.
Types of Tourniquets
MATERIALS AND METHODS
Combat Application Tourniquet (CAT)
CAT is a part of the individual medical package of each soldier
This study was based on the data gathered during the VI All-
who is involved in Polish Military Contingents. CAT comprises
Polish Competition in Tactical Medicine “Paramedic 2013.”
the Velcro tape having a width of 4 cm, inside which there is
The competition participants were assessed using a ques-
another tape constituting the “stringer mechanism.” At the
tionnaire that comprised 10 questions concerning knowl-
distal end, there is a double buckle through which the pare
edge and assessment of providing immediate assistance in
needs to be threaded, two holes in each situation of buddy
combat emergency situations, bleeding, and airway patency.
aid type (assistance provided by other people) and one hole
The questionnaire was based on the literature in the field,
in the situation when the victim assists itself. Application of
collecting data on the tourniquet application and methods
tourniquets in the tactical environment is not easy, particu-
of airway management. The five enclosed questions regard-
larly when the operator is required to obey the discipline of
ing bleeding managements included issues concerning self-aid
light or sound. As a result of the training course according to
and buddy aid. The questions were related to the type of aid,
the program Tactical Combat Casualty Care, each operator
limb chosen to provide aid, and technical aspects of applying
should acquire the so-called muscle memory to quickly apply
the tourniquet such as the positioning of the tourniquet and
the tourniquet as soon as bleeding appears. Muscle memory
distance between the wound and tourniquet. Database and
refers to the automaticity of the action that is implemented,
statistical calculations were performed using the computer
devoid of any hesitation. CAT, available in both the right and
software Statistica version 10 (StatSoft Poland, Tibco Statis-
left hands of the operator, should be placed on a tactical vest.
tica Inc.). Quantitative parameters were presented as means,
Proper preparation for action means threading the Velcro tape
median values, and standard deviations; qualitative parame-
through one hole, so that it is ready for the so-called self-aid.
ters were presented as numbers and percentages. Normality
of distribution of a quantitative variable was assessed using
Application of tourniquet. Tourniquets should always be ap-
Shapiro–Wilk test. Regarding qualitative variables, Pearson’s
plied in the way that the rod and strap are placed on the
chi-square test was performed to compare the proportion
inside part of the leg. Such actions are crucial during the evac-
of indicators used for one population, and chi-square test of
uation process because they protect against possible undoing
maximum likelihood and Fisher’s exact test were performed
of tourniquets.
[3,4]
to compare the association of the two populations. To assess
Special Operations Forces Tactical Tourniquet-Wide
the association between ultrasound flow and DOP, the chi-
(SOFTT-W)
square independence test of maximum likelihood was used.
α
SOFTT-W is currently the second most common tourniquet
The significance level for all tests was set at
 values of 0.05.
among individual equipment of the operators. The advantage
of this tourniquet is its durable material. The tourniquet and
The survey that assessed the effectiveness of tourniquets was
buckle in “stringer mechanism” are made of steel, which al-
conducted in the practice station called “tourniquets” during
low generating high-force pressure on blood vessels. As in
the VI All-Polish Competition Tactical Medicine Paramedic
the case of CAT, SOFTT-W must be located within both the
2013” and was filled out by the judging panel.
10

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
the operators used a fixed light source at the entrance. After
Except for the subjective assessment of professionals judges
entering the section of the building fire, contact was initi-
of the event, employees of Warsaw Military Institute, and
ated, which resulted in two operators being injured in the
Medical University of Poznań concerning the tourniquet
upper limb at the elbow height. The first of the operators
placement; the blood flow in vessels of distal extremities was
was still under fire and he applied the tourniquet by himself.
measured using ultrasonography (USG; NanoMaxx Portable
The other tourniquet was placed after the enemy was neu-
Ultrasound Machine SonoSite). For vascular imaging, a probe
tralized by his colleagues. In this scenario, only one officer,
and the Power Doppler function were employed. After as-
a representative of the Ministry of Justice used its knees to
sembling the tourniquet (upper/lower extremity), Doppler
pre-stop the source of bleeding.
echocardiography was used to examine the absence of blood
flow in the arteries in the distal parts of the limbs. Full flow
Testing the Quality of Tourniquet Application in
or microflow was a proof of incorrect tourniquet application.
CUF
The lack of blood flow was a proof of correct tourniquet
application (Fig. 1 and Fig. 2).
The study involved 24 operators who applied tourniquets and
72 in total participating in the tactical events (Table 1). Twelve
Scenario of the Simulation Task
operators implemented the so-called self-aid, wherein they
applied a tourniquet themselves, and the remaining 12 opera-
The task aimed to investigate the tactical environment and
tors had the tourniquet placed by other rescuer (buddy aid).
interior of the building by six operator teams. The tactical
situations required from operators to move in the so-called
USG
car (a short distance one behind the other) around the build-
In 15 operators, negative ultrasound flow was observed, and
ing. The interior of the rooms was heavily obscured; thus,
Table 1.
Sociodemographic data of the investigated group
and the tactical experienced before the study
Investigated group of participants
(n=72)
Age
a) 20–25 years
a) 4
b) 26–30 years
b) 36
c) 31–35 years
c) 18
d) >36 years
d) 14
Years of service
a) 0–4 years
a) 21
b) 5–9 years
b) 22
c) 10–14 years
c) 24
d) >14 years
d) 5
Figure 1. Radial artery with a lack of blood flow using Doppler
echocardiography.
When was your last participation
in TCCC course?
a) 1 year ago
a) 20
b) 2 years ago
b) 15
c) 3 years ago
c) 9
d) >4 years ago
d) 20
e) Never
e) 8
Have you ever experienced delivering
first aid in tactical conditions?
a) Yes, during the implementation
a) 16
of the tactical order
b) Yes, but in situation not connected
b) 0
to implementing an order
c) I have but in a non-tactical condition
c) 27
d) I have never experienced delivering first aid
d) 29
Figure 2. Radial artery with micro blood flow using Doppler echo-
cardiography.
11

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
Only two operators presented with a proper distance of the
Table 2.
Data for ultrasound flow
tourniquet from the armpit (<5 cm). In 14 operators, the
distance of the tourniquet from the armpit ranged from 5 to
USG
All
Self-aid
Buddy aid
10 cm. In eight operators, the distance was >10 cm.
Negative
15
8
7
Tourniquet
Trace
In 16 operators, the tourniquet was externally applied, and
Full flow
6
4
only in eight operators, the tourniquet was internally applied.
Total
24
12
12
The differences in proportion are not statistically significant
USG: Ultrasonography.
(chi-square, 2.67; df, 1; p=0.102471).
Tourniquets were internally applied by more operators using
in three people, trace ultrasound flow was observed. Only
buddy aid (six people) than those using self-aid (two people).
six operators revealed full ultrasound flow (Table 2). The dif-
However, tourniquets were externally applied by more oper-
ferences in proportion are statistically significant (chi-square,
ators using self-aid” (10 people) than those using buddy aid
9.75; df, 1; p=0.007).
(six people). Comparison of tourniquet placement when the
type of assistance provided was taken into account, showed
There were more operators providing buddy aid (four peo-
no statistically significant difference between self-aid and
ple) than the operators employing self-aid (two people)
buddy aid (Fisher’s exact test; p=0.19303).
whose ultrasound showed full blood flow. There were more
buddy aid operators with negative ultrasound flow and trace
Preparation of Tourniquets
ultrasound flow than self-aid operators (by one person)
In 18 operators, tourniquets were incorrectly prepared (neg-
(Table 1). Comparison of ultrasound flow relative to the type
ative) (Fig. 4). There was determined a statistical relationship
of assistance provided showed no statistically significant dif-
between the correctly and incorrectly prepared tourniquets
ference between self-aid and buddy aid in ultrasound flows
(chi-square, 6; df, 1; p=0.014306).
(chi-square, 1.09; df, 2; p=0.58).
Tourniquets were correctly prepared (positive) by more op-
Negative Doppler flow [distal observed pulse (DOP)] was
erators using buddy aid (four persons) than those using self-
observed in 18 operators, and positive DOP was observed
only in six operators. The differences in proportion are sta-
tistically significant (chi-square, 6; df, 1; p=0.01).
11
10
The number of self-aid and buddy aid operators in whom
9
DOP was negative (nine persons) and positive (three per-
8
sons) was the same (Table 3). There was no statistical signifi-
7
cance in case of DOP comparison and the type of assistance
6
provided: participant implementing self-aid or buddy aid
5
(Fisher’s exact test; p=1.0).
4
Distance of the Tourniquet From the Armpit
For all operators, the average distance of the tourniquet from
the armpit was 9.7±3.6 cm (self-aid operators, 10.3±3.6 cm;
0
buddy aid operators, 9.2±3.7 cm). The minimum distance of
0.0
2.5
5.0
7.5
10.0
12.5
15.0
17.5
the tourniquet from the armpit was 2 cm and maximum was
Distance from the armpit (cm)
17 cm. The median value indicates that in approximately half
Figure 3. Histogram of tourniquet distance from the armpit for all
of the operators’ distance of the tourniquet from the armpit
operators.
was <9.5 cm and that in others it was >9.5 cm. The lower
quartile indicates that 25% operators showed that the dis-
15
Preparation of tourniquet
Self aid
tance of the tourniquet from the armpit was <7.5 cm, and
Body aid
the upper quartile indicated that in 25% of the operators, the
10
distance was >12 cm (Fig. 3).
5
For all operators, the distance of the tourniquet from the
0
Negative
Positive
armpit had a normal distribution (W=0.97245; p=0.72753).
Most operators (10 persons) presented with the distance of
Figure 4. Preparation of the tourniquet and the type of assistance
the tourniquet from the armpit ranging from 7.5 to 10 cm.
provided.
12
Number
Number

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
-aid (two persons). Tourniquets were incorrectly prepared
Table 3.
DOP and type of assistance provided
(negative) by more operators using self-aid (10 persons)
DOP
All
Self-aid
Buddy aid
than those using buddy aid (eight persons). Comparison of
tourniquet preparation in the terms of assistance provided
Negative
18
9
9
showed no statistically significant difference between self-aid
Position
6
and buddy aid (Fisher’s exact test; p=0.64041).
Total
24
12
12
Forces
DOP: Distal observed pulse.
Most operators were from Ministry of Internal Affairs (MIA;
19 people). Two operators were from Ministry of Justice (MJ),
two from the Shooter Group, and one from Ministry of Na-
Table 4.
Representatives of given forces
tional Defence (MND; Table 4). The differences in proportion
Forces
All
Self-aid
Buddy aid
are statistically significant (chi-square, 37.67; df, 3; p=0.00).
Ministry of Internal Affairs
19
9
10
More MIA operators used buddy aid (10 persons) than those
Ministry of Justice
using self-aid (nine people). No MND operator used buddy
Ministry of National Defence
0
aid. The same number (1 each) of MJ and Shooter Group
Shooter
operators used self-aid and buddy aid. Comparison of forces
in the terms of the type of assistance provided showed no
Total
24
12
12
statistically significant difference between self-aid and buddy
aid (chi-square, 1.43; df, 3; p=0.69).
Table 5.
Two-way table
Tourniquet Type
Most operators (19 participants) chose CAT, whereas three
USG
Distal observed pulse
Line in total
other operators used SOFTT-W. One operator used CAT
Negative
Position
and then approximately 3 cm above that type of a tourni-
quet applied onother one, SOFTT-W. One operator used
Negative
14
15
an improvised tourniquet. The differences in types of used
Trace
0
tourniquets are statistically significant (chi-square, 38; df, 3;
Full flow
5
6
p=0.00).
Total
18
6
24
More operators used CAT for self-aid (10 people) than those
USG: Ultrasonography.
who used CAT for buddy aid (nine people). In addition, more
operators used SOFTT-W for self-aid (two persons) than
ities conducted on the battlefield, owing to their nature,
those who used SOFTT-W for buddy aid (one person). None
are associated with life-threatening injuries such as hemor-
of the operators providing self-aid decided to place an im-
rhages. To improve the techniques of providing assistance
provised tourniquet or firstly used CAT tourniquet and then
and to minimize situations that may pose a direct threat to
SOFTT-W tourniquet. Comparison of the type of tourniquet
to that of assistance provided showed no statistically signif-
life, military and medical personnel constantly analyzes previ-
icant difference between self-aid and buddy aid (chi-square,
ously recorded accidents and incidents in the field of combat
3.17; df, 3; p=0.36687).
medicine. Corresponding analysis was performed in the study
conducted by members of the medical corps of Israel De-
Dependence Between USG and DOP Flow
fense Forces during years 2002–2009. There were more than
4.5 thousand soldiers, of which approximately 850 were fatal.
There was a statistically significant association between USG
Soldiers living in a war zone are exposed to several types of
and DOP flows (chi-square, 14.24; df, 2; p=0.00081).
injuries, majority of which are accompanied by major bleed-
ing.
  Many publications have emphasized that hemorrhage
Most operators with negative ultrasound flow had negative
[6]
DOP. Most operators with full ultrasound flow had positive
remains the leading cause of death on the battlefield.
 The
[7,8]
DOP (Table 5).
Committee of Tactical Combat Care of the Injured indicated
hemorrhages to be a cause of approximately 60% of so-called
DISCUSSION
avoidable deaths. Therefore, it is important to train medi-
cal and military personnel in the field of rapid response and
This study clearly proved that tourniquet application was a
the provision of necessary assistance to victims exposed to
demanding procedure, requiring constant training. Tourni-
blood loss.
 In addition, our study proves the difficulty of
[6,8]
quet application is an important ability to possess as activ-
13

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
tourniquet application even by experienced combat partic-
decided to apply tourniquets for 27 victims in a form of im-
ipants. Although the military is constantly developing new
provised bands.
[20,22,23]
uniforms for their soldiers to ensure the greatest possible
Conclusions
body protection, protection cannot be provided for hands
or feet without depleting effectiveness and mobility, leaving
•
There is no noticeable difference in the effectiveness of
those areas highly vulnerable to any damage.
 This a reason
self-applied tourniquets and that of tourniquets applied
for the need of an extensive and regular training to perfect
with the help of another person; therefore, people know-
the ability of tourniquet application among soldiers because
ing the application technique are able to correctly use
each of them is equipped with a tactical stasis in case of this
tourniquets in both situations.
type of injury. Moreover, the effectiveness and circumstances
•
Doppler outcomes revealed incorrect results in terms of
of the use of tourniquets often depends on the application ef-
technically appropriately fitted tourniquets. Therefore,
ficiency.
 Walters et al.
 confirmed the equal effective-
[7,8,10,11]
[12]
there is a need for involving that tourniquet application
ness of CAT, Emergency & Military Tourniquet, and SOFTT by
technique in future training.
using Doppler auscultation at the popliteal artery. However,
•
There is a need to ensure regular training in case of tourni-
except for the equipment effectiveness, a rescuer skills are a
quet use to maintain the correct application procedure,
valid factor. Therefore, repeated training regarding its usage
particularly for units that have tourniquets at their disposal.
is important. That is the reason behind the need of designing
training concerning tourniquets application. In our study, tac-
Conflict of interest: None declared.
tical stasis bands were used by most security services in the
world. Thus, the tourniquets are often the subject of testing
REFERENCES
and analysis. The conducted experiments with various types
of tourniquets demonstrated the advantages of CAT over
1.
Savage E, Forestier C, Withers N, Tien H, Pannell D. Tactical combat
other tourniquets, with the main advantages highlighted by
casualty care in the Canadian Forces: lessons learned from the Afghan
war. Can J Surg 2011;54:S118–23.
[CrossRef ]
the users being its high efficiency and the application speed.
2.
Walters TJ, Mabry RL. Issues related to the use of tourniquets on the
 To determine the factors that influence the effectiveness
[4,13]
battlefield. Mil Med 2005;170:770–5.
[CrossRef ]
of stasis, both CAT and other tourniquets, were evaluated
3.
Wall PL, Sahr SM, Buising CM. Different width and tightening sys-
in terms of pulse disappearance and diminished blood flow
tem: Emergency tourniquets on distal limb segments. J Spec Oper Med
using Doppler ultrasound function,
 similar to our study.
[2,8,14]
2015;15:28–38.
For these tests, researchers from Ankara involved 145 peo-
4.
Lyles WE 3rd, Kragh JF Jr, Aden JK 3rd, Dubick MA. Testing tourniquet
ple who applied the band under ultrasound control. CAT
use in a Manikin Model: Two improvised techniques. J Spec Oper Med
proved to be the most efficient among all hemorrhage con-
2015;15:21–6.
trolling techniques.
 Walters et al. tested the effectiveness
5.
Davinson JP, Kragh JF Jr, Aden JK 3rd, DeLorenzo RA, Dubick MA.
[4]
Laboratory testing of emergency tourniquets exposed to prolonged heat.
of seventh self-applied types of bands. They summarized that
J Spec Oper Med 2015;15:34–8.
three of seven examined tourniquets completely inhibited the
6.
Katzenell U, Ash N, Tapia AL, Campino GA, Glassberg E. Analysis
blood flow, and other generally available bands should not
of the causes of death of casualties in field military setting. Mil Med
be used, even if there is a chance that it may cause more
2012;177:1065–8.
[CrossRef ]
damages. Among the winning stasis were the ones used in
7.
Taylor DM, Vater GM, Parker PJ. An evaluation of two tourniquet sys-
our study; CAT and SOFTT.
 Appropriate location plays an
[15]
tems for the control of prehospital lower limb hemorrhage. J Trauma
essential role. Uniforms equipped with special pockets for
2011;71:591–5.
[CrossRef ]
quick and uncomplicated access to the stasis significantly re-
8.
Kragh JF Jr, Walters TJ, Baer DG, Fox CJ, Wade CE, Salinas J, et al. Prac-
tical use of emergency tourniquets to stop bleeding in major limb trauma.
duces the time required for self-use.
 The tourniquet was
[16,17]
J Trauma 2008;64:S38–49.
[CrossRef ]
used only after other methods of bleeding control failed. It
9.
Taylor DM, Coleman M, Parker PJ. The evaluation of an abdominal aor-
presented tourniquet application when providing assistance
tic tourniquet for the control of pelvic and lower limb hemorrhage. Mil
to a soldier in the danger zone even when under fire.
 The
[11,13]
Med 2013;178:1196–201.
[CrossRef ]
use of a personal first aid kit also increases the effectiveness
10.
Doyle GS, Taillac PP. Tourniquets: a review of current use with proposals
of established tourniquets.
 There is no doubt that despite
[18]
for expanded prehospital use. Prehosp Emerg Care 2008;12:241–56.
disadvantages of tourniquet use, tourniquets greatly increase
11.
Lee C, Porter KM, Hodgetts TJ. Tourniquet use in the civilian prehospi-
the chances of survival of victims.
[10,17,18,19]
tal setting. Emerg Med J 2007;24:584–7.
[CrossRef ]
12.
Walters TJ, Wenke JC, Kauvar DS, McManus JG, Holcomb JB, Baer
DG. Effectiveness of self-applied tourniquets in human volunteers. Pre-
The use of tourniquets is not exclusively reserved for mil-
hosp Emerg Care 2005;9:416–22.
[CrossRef ]
itary institutions. Because of the easy and quick access to
13.
Schreckengaust R, Littlejohn L, Zarow GJ. Effects of training and sim-
specialist care, in case of massive hemorrhage in case of civil
ulated combat stress on leg tourniquet application accuracy, time, and
casualties, assistance is provided in stages, the last of which
effectiveness. Mil Med 2014;179:114–20.
[CrossRef ]
is the tourniquet application.
  During the bombing at-
[20,21]
14.
Ünlü A, Petrone P, Guvenc I, Kaymak S, Arslan G, Kaya E, et al. Com-
tack in Boston, two explosives filled with bearing balls were
bat application tourniquet (CAT) eradicates popliteal pulses effectively
detonated, killing three people and injuring 264. Eservices
by correcting the windlass turn degrees: a trial on 145 participants. Eur J
14

---
Sanak et al. Evaluation of tourniquet application in a simulated tactical environment
Guo JY, Liu Y, Ma YL, Pi HY, Wang JR. Evaluation of emergency tourni-
Trauma Emerg Surg 2015 Oct 26. [Epub ahead of print].
19.
quets for prehospital use in China. Chin J Traumatol 2011;14:151–5.
15.
Walters TJ, Wenke JC, Kauvar DS, McManus JG, Holcomb JB, Baer
Kue RC, Temin ES, Weiner SG, Gates J, Coleman MH, Fisher J, et al.
20.
DG. Effectiveness of self-applied tourniquets in human volunteers. Pre-
Tourniquet Use in a Civilian Emergency Medical Services Setting: A De-
hosp Emerg Care 2005;9:416–22.
[CrossRef ]
scriptive Analysis of the Boston EMS Experience. Prehosp Emerg Care
16.
Higgs AR, Maughon MJ, Ruland RT, Reade MC. Effect of uniform de-
2015;19:399–404.
[CrossRef ]
sign on the speed of combat tourniquet application: A simulation study.
Inaba K, Siboni S, Resnick S, Zhu J, Wong MD, Haltmeier T, et al.
21.
Mil Med 2016;181:753–5.
[CrossRef ]
Tourniquet use for civilian extremity trauma. J Trauma Acute Care Surg
17.
Kragh JF Jr, Littrel ML, Jones JA, Walters TJ, Baer DG, Wade CE, et
2015;79:232–7.
[CrossRef ]
al. Battle casualty survival with emergency tourniquet use to stop limb
King DR, Larentzakis A, Ramly EP; Boston Trauma Collaborative.
22.
bleeding. J Emerg Med 2011;41:590–7.
[CrossRef ]
Tourniquet use at the Boston Marathon bombing: Lost in translation. J
18.
Weppner J, Lang M, Sunday R, Debiasse N. Efficacy of tourniquets ex-
Trauma Acute Care Surg 2015;78:594–9.
[CrossRef ]
posed to the afghanistan combat environment stored in individual first
Niven M, Castle N. Use of tourniquets in combat and civilian trauma
23.
aid kits versus on the exterior of plate carriers. Mil Med 2013;178:334–
situations. Emerg Nurse 2010;18:32–6.
[CrossRef ]
7.
  DENEYSEL ÇALIŞMA - ÖZET
OLGU SUNUMU
Bir simülasyon taktik ortamında turnike uygulamasının değerlendirilmesi
Tomasz Sanak,
 Robert Brzozowski,
 Marek Dabrowski,
 Magdalena Kozak,
Agata Dabrowska,
 Maciej Sip,
 Katarzyna Naylor,
 Kamil Torres
4
4
Jagiellonian Üniversitesi Tıp Koleji Anesteziyoloji ve Yoğun Bakım Tedavisi Fakültesi, Afet ve Acil Tıp Enstitüsü, Krakov-Polonya
Sahra Tıbbı Anabilim Dalı, Askeri Tıp Enstitüsü, Varşova-Polonya
Afet ve Acil Tıp Anabilim Dalı, Poznan Tıp Bilimleri Üniversitesi, Poznan-Polonya
Lublin Tıp Üniversitesi, Eğitbilim ve Medikal Simülasyon Anabilim Dalı, İnsan Anatomisi Kürsüsü, Krakov-Polonya
4
AMAÇ: Taktiksel ortamda turnike uygulaması iki şekilde yürütülmüştür: “kendi kendine yardım” denilen yaralının kendisine turnike uygulaması ve
“arkadaş yardımı” denilen bir yardımcının turnike uygulaması. Bu çalışmanın amacı bir yakın harp simülasyon ortamında turnike kullanımının kalitesini
test etmekti.
GEREÇ VE YÖNTEM: Çalışmaya 24 “yaralı” ve tüm simülasyon çalışmasında 72 uygulayıcı, altışarlı 12 bölüm şeklinde katıldı. Turnike uygulamalarını
valide etmek için Yaralıların Taktiksel Savaş Ortamında Tedavisi Komitesi’nin önerilerinden yararlanılmış turnike uygulamasının hemodinamik etkisini
değerlendirmek için Doppler ultrason kullanıldı.
BULGULAR: Sonuçlar 15 uygulayıcıda kan akımı durdurulmuş, üç hastada çok az kan akım ve altı kişide kısıtlamasız kan akımı olduğunu göstermiştir.
Kişilerin kendine veya başka biri tarafından uygulanan turnike prosedürlerinin kaliteleri arasında herhangi bir anlamlı farklılık yoktu. Turnike ile koltuk
altı arasındaki ortalama mesafe kendi kendine veya başkasının uyguladığı turnikelerde 9.5 cm idi. On altı olguda turnikenin kol dışından bağlandığı,
yalnızca sekiz olguda doğru biçimde kol içinden bağlandığı gözlenmiştir. On sekiz olguda taktiksel ortamda turnike doğru yerleştirilmemiş, yalnızca
altı olguda doğru yerleştirilmiştir. Ultrasonda negatif akım görülen uygulayıcıların çoğunda DOP de negatifti. Ultrasonda tam kesintisiz akımın görül-
düğü uygulayıcıların çoğunda pozitif DOP saptanmıştır.
TARTIŞMA: Turnikelerin uygulanması uzmanlaşmış birimlerde bile zorluk yarattığından bu işlemin uygulanmasına yönelik düzenli eğitim verilmesi
gerekir.
Anahtar sözcükler: Ateş altında tıbbi bakım; kanama; taktiksel alan tedavisi; turnike.
Ulus Travma Acil Cerrahi Derg 2018;24(1):9–15 doi: 10.5505/tjtes.2017.84899
15