Kardiologia Polska 2018; 76, 7: 1110–1112; DOI: 10.5603/KP.2018.0135
SHORT COMMUNICATION
Effective strategy of rescue treatment for
acute pump thrombosis after left ventricular
assist device implantation in patients
with high risk of bleeding complications
Karol Wierzbicki, Izabela Górkiewicz-Kot, Anna Kędziora, Maciej Stąpór, Dorota Sobczyk,
Hubert Hymczak, Irena Milaniak, Michał Kaleta, Jacek Piątek, Bogusław Kapelak
Department of Cardiovascular Surgery and Transplantology, John Paul II Hospital, Jagiellonian University Medical College, Krakow, Poland
INTRODUCTION
Our Institution has experience with over 30 implants
since October 2015 with both Heartmate III (Thoratec Cor-
Current indications for left ventricular assist device (LVAD)
poration, Pleasanton, CA, USA) and HeartWare (Medtronic,
implantation include either chronic or acute heart failure (HF)
Framingham, MA, USA) LVADs. In the study we present an
in patients who cannot be stabilised with medical therapy and
innovative algorithm of rescue treatment for acute PT in pa-
in whom the maintenance of sufficient end-organ perfusion
tients with high risk of bleeding complications.
is impossible. Based on international data, LVADs are now
being used for months to years in patients who either face
METHODS
a long-term wait on the transplant list or who are not eligible
The study is a retrospective analysis of medical records of three
for transplantation as a destination therapy [1]. Furthermore,
consecutive patients who underwent LVAD implantation in
by 2015, device implantation strategy has become a destina-
the Department of Cardiovascular Surgery and Transplantol-
tion therapy in nearly 50% of implants [2].
ogy, John Paul II Hospital, Krakow (Table 1). Following the
Nevertheless, several challenges remain to be overcome
implantation protocol, in all of the cases antithrombotic man-
before LVADs will be considered as the therapy of choice for all
agement within early postoperative days was obtained with
patients with advanced HF, because one-year survival free of
intravenously administered UFH guided by activated partial
any major adverse events remains at only 30% [3, 4]. Although
thromboplastin time (up to 50 s within the first 48 h and 75 s
thrombotic events are not the most frequent complication,
in later postoperative days). After chest tube removal, warfarin
they can contribute significantly to patient mortality [5–7].
was introduced with a target international normalised ratio
Suspected pump thrombosis (PT) is an event in which
(INR) of 3.0 to 3.5. On postoperative day 1 lavage function
clinical or mechanical circulatory support device parameters
was enabled, following the manufacturer’s recommendation,
suggest thrombus in the blood contacting components of the
to diminish the risk of a potential thrombotic event.
pump, cannulae, or grafts. Signs and symptoms should include
at least two of the three following criteria: haemolysis, wors-
RESULTS AND DISCUSSION
ening HF, and abnormal pump parameters (elevated pump
All patients received IV UFH bolus as soon as the PT diagnosis
powers > 10 W or 2 W higher than baseline) [8].
was established; however, no response to the treatment was
Available methods of treatment involve one or more of
observed. On the contrary, constant increase in LVAD power
the following interventions: treatment with intravenous anti-
consumption was noted. All patients were considered to be
coagulation (e.g. unfractionated heparin [UFH]), intravenous
at high risk of bleeding complications, with contraindications
thrombolytics (e.g. tissue plasminogen activator [tPA]), or
to standard thrombolytic approach. Moreover, our Institution
intravenous antiplatelet therapy (e.g. eptifibatide, tirofiban);
does not have experience with emergent pump exchange.
pump replacement; pump explantation or urgent transplanta-
Facing the need for a rescue strategy, we elaborated an in-
tion (United Network for Organ Sharing [UNOS] status 1A) [8].
Address for correspondence:
Anna Kędziora, MD, Department of Cardiovascular Surgery and Transplantology, John Paul II Hospital, ul. Prądnicka 80, 31–202 Kraków, Poland,
e-mail: anna.kedziora.mail@gmail.com
Received: 23.04.2018
Accepted: 23.05.2018
Kardiologia Polska Copyright © Polish Cardiac Society 2018
www.kardiologiapolska.pl

---
Rescue treatment for LVAD thrombosis
Table 1. Patients’ characteristics
Variable
Patient P.M.
Patient G.P.
Patient K.M.
Age [years]
45
51
54
Sex
Male
Male
Male
CAD
Yes
Yes
No
Atrial fibrillation
Persistent
Paroxysmal
Paroxysmal
ICD
Yes
Yes
Yes
Cardiomyopathy
Dilated
Dilated
Dilated
LVAD
HVAD
HVAD
HVAD
Time to PT [months]
4.5
13
20
Antithrombotic treatment on admission
Warfarin*
LMWH
LMWH
Antiplatelet treatment on admission
ASA
ASA
ASA
Primary reason for not taking VKA
–
Severe GI bleeding, unstable INR
Severe GI
due to alcohol abuse
bleeding
Time from onset of LMWH treatment to PT [months]
–**
6
10.5
LVAD power consumption at the onset of IV tPA treatment [W]
21
14
6:61
Maximum observed LDH level before onset of IV tPA treatment [U/L]
11,592
9654
1753
*Patient received antibiotics (rifampicin orally) due to a drive-line infection, bridged with LMWH but continued taking warfarin against prescribed
treatment
**According to the patient warfarin was taken instead of LMWH for few days, probably 5
ASA — acetylsalicylic acid; CAD — coronary artery disease; GI — gastrointestinal; HVAD — HeartWare ventricular assist device; ICD — implantable
cardioverter-defibrillator; INR — international normalised ratio; LDH — lactate dehydrogenase; LMWH — low-molecular-weight heparin;
LVAD — left ventricular assist device; PT — pump thrombosis; tPA — tissue plasminogen activator; VKA — vitamin K antagonists
novative algorithm of thrombolytic treatment guided by the
Despite steady improvement in survival since the im-
LVAD power consumption and flow curves.
plementation of the new-era continuous-flow pumps, the
The UFH drip was discontinued and instant thrombolytic
prevalence of PT with the HeartMate II and HeartWare
treatment was started. Thrombolysis was achieved with in-
LVADs is reported with a rate of 0.08 per patient/year [7, 9].
travenous recombinant tPA, Actylise
 (Boehringer Ingelheim,
Although the aetiology and contribution of platelet- and
®
Ingelheim am Rhein, Germany) drip (50 mg/50 mL; starting
thrombin-dependent pathways for thrombus formation in
flow 30 mL/h), which resulted in quick but stepwise drop in
LVAD patients remain unclear [6], in the presented analysis all
LVAD power consumption. The therapy was maintained until
patients experienced a thrombotic event due to unsatisfactory
initial LVAD parameters were achieved, which was dynami-
outcomes of antithrombotic management. In two cases (G.P.,
cally observed and analysed on the power consumption and
K.M.), warfarin was discontinued and patients were bridged
flow curves. The drip flow was reduced gradually every 10 to
with therapeutic dose of subcutaneous low-molecular-weight
15 min, until complete withdrawal.
heparin (LMWH) due to alcohol abuse undiagnosed prior to
In two patients PT reoccurred within the same hospi-
implantation. In both individuals with pathological INR reach-
talisation, and thrombolytic treatment was implemented
ing up to 11.0, severe and recurrent haemoglobin drops due
successfully once and twice again following the same protocol
to gastrointestinal bleedings were observed during warfarin
(patients G.P. and P.M., respectively).
administration. The third patient (P.M.) received antibiotics
Currently, within a median follow-up of nine months since
(rifampicin orally) due to a drive-line infection. The patient
the thrombotic event (P.M. — 14 months, G.P. — nine months,
was bridged with LMWH due to a potential drug interaction;
K.M. — four months) all patients remain well, presenting New
however, he continued taking warfarin orally despite pre-
York Heart Association class I. After the PT event psychological
scribed treatment for about five days and did not take LMWH.
consultation and further education were applied, and warfarin
The optimal strategy of treatment for various groups of
was implemented again as the anticoagulation therapy of choice,
patients experiencing PT remains unresolved. Based on the
with good compliance. Patients are routinely monitored, and
literature, strong conclusions should be drawn with caution,
regular control of log-files and lactate dehydrogenase levels
because the data are limited mostly to case reports, case
confirms proper LVAD functioning with no thrombotic events.
series, or small, single-institution cohorts with a great variety
1111

---
Karol Wierzbicki et al.
of treatment strategies, drug choices, and delivery methods
Lung Transplant. 2015; 34(12): 1495–1504, doi: 10.1016/j.
healun.2015.10.003, indexed in Pubmed: 26520247.
[5, 6, 9–11].
5.
Kirklin JK, Naftel DC, Kormos RL, et al. Interagency Registry for
This proposed innovative algorithm of thrombolytic
Mechanically Assisted Circulatory Support (INTERMACS) analy-
treatment guided by the power consumption and flow curves
sis of pump thrombosis in the HeartMate II left ventricular assist
device. J Heart Lung Transplant. 2014; 33(1): 12–22, doi: 10.1016/j.
was elaborated while facing dramatic LVAD dysfunction and
healun.2013.11.001, indexed in Pubmed: 24418730.
emergent need of rescue strategy in patients with high risk of
6.
Shah P, Tantry US, Bliden KP, et al. Bleeding and thrombo-
bleeding complications. tPA was chosen as the safest avail-
sis associated with ventricular assist device therapy. J Heart
able thrombolytic agent [12] and due to the algorithm, it was
Lung Transplant. 2017; 36(11): 1164–1173, doi: 10.1016/j.
healun.2017.05.008, indexed in Pubmed: 28579115.
administered in the smallest effective dose.
7.
Starling RC, Moazami N, Silvestry SC, et al. Unexpected abrupt
The use of the log-system to predict the success of tPA
increase in left ventricular assist device thrombosis. N Engl J Med.
treatment was first described in 2015 [10, 13]. Neverthe-
2014; 370(1): 33–40, doi: 10.1056/NEJMoa1313385, indexed in
less, our report is the first to describe the usefulness of the
Pubmed: 24283197.
8.
Maltais S, Kilic A, Nathan S, et al. PREVENT Study Investiga-
real-time power and flow characteristic analysis to guide
tors. PREVENtion of HeartMate II Pump Thrombosis Through
the thrombolytic therapy in patients with PT, which allows
Clinical Management: The PREVENT multi-center study.
patient-tailored dosing because it is based on constant moni-
J Heart Lung Transplant. 2017; 36(1): 1–12, doi: 10.1016/j.
healun.2016.10.001, indexed in Pubmed: 27865732.
toring of effectiveness.
9.
Mehra MR, Stewart GC, Uber PA. The vexing problem of throm-
bosis in long-term mechanical circulatory support. J Heart Lung
Conflict of interest: none declared
Transplant. 2014; 33(1): 1–11, doi: 10.1016/j.healun.2013.12.002,
indexed in Pubmed: 24418729.
References
10.
Najjar SS, Slaughter MS, Pagani FD, et al. An analysis of pump
1.
Ponikowski P, Voors AA, Anker SD, et al. 2016 ESC Guidelines
thrombus events in patients in the HeartWare ADVANCE
for the diagnosis and treatment of acute and chronic heart failure:
bridge to transplant and continued access protocol trial.
The Task Force for the diagnosis and treatment of acute and
J Heart Lung Transplant. 2014; 33(1): 23–34, doi: 10.1016/j.
chronic heart failure of the European Society of Cardiology (ESC)
healun.2013.12.001, indexed in Pubmed: 24418731.
Developed with the special contribution of the Heart Failure As-
11.
Tchantchaleishvili V, Luc JG, Phan K, et al. Management and
sociation (HFA) of the ESC. Eur Heart J. 2016; 37(27): 2129–2200,
Outcomes of LVAD Thrombosis: A Systematic Review and
doi: 10.1093/eurheartj/ehw128, indexed in Pubmed: 27206819.
Meta-Analysis. J Heart Lung Transplantation. 2017; 36(4):
2.
Kirklin JK, Pagani FD, Kormos RL, et al. Eighth annual
S109–S110, doi: 10.1016/j.healun.2017.01.281.
INTERMACS report: Special focus on framing the impact
12.
Dang G, Epperla N, Muppidi V, et al. Medical management of
of adverse events. J Heart Lung Transplant. 2017; 36(10):
pump-related thrombosis in patients with continuous-flow left
1080–1086, doi: 10.1016/j.healun.2017.07.005, indexed in
ventricular assist devices: a systematic review and meta-analysis.
Pubmed: 28942782.
ASAIO J. 2017; 63(4): 373–385, doi: 10.1097/MAT.0000000000000497,
3.
Pinney SP, Anyanwu AC, Lala A, et al. Left ventricular assist
indexed in Pubmed: 27984314.
devices for lifelong support. J Am Coll Cardiol. 2017; 69(23):
13.
Jorde UP, Aaronson KD, Najjar SS, et al. Identification and
2845–2861, doi: 10.1016/j.jacc.2017.04.031, indexed in Pub-
Management of Pump Thrombus in the HeartWare Left Ven-
med: 28595702.
tricular Assist Device System: A Novel Approach Using Log File
4.
Kirklin JK, Naftel DC, Pagani FD, et al. Seventh INTER-
Analysis. JACC Heart Fail. 2015; 3(11): 849–856, doi: 10.1016/j.
jchf.2015.06.015, indexed in Pubmed: 26454842.
MACS annual report: 15,000 patients and counting. J Heart
Cite this article as: Wierzbicki K, Górkiewicz-Kot I, Kędziora A, et al. Effective strategy of rescue treatment for acute pump thrombosis
after left ventricular assist device implantation in patients with high risk of bleeding complications. Kardiol Pol. 2018; 76(7): 1110–1112,
doi: 10.5603/KP.2018.0135.
1112