Acta Poloniae Pharmaceutica ñ Drug Research, Vol. 77 No. 6 pp. 833ñ840, 2020	ISSN 2353-5288 DOI: 10.32383/appdr/130451	Polish Pharmaceutical Society
Received 17 September 2020, Received in revised form 10 October 2020, Accepted 13 November 2020.

 ANALYSIS

## DETERMINATION OF CANDESARTAN, HYDROCHLOROTHIAZIDE AND ROSUVASTATIN AS ACTIVE INGREDIENTS OF A POLYTABLET BY
A CHROMATOGRAPHIC-DENSITOMETRIC METHOD
MARIUSZ STOLARCZYK*, ANNA MAŚLANKA, ANNA APOLA, ANNA KWIECIEŃ and URSZULA HUBICKA

Department of Inorganic and Analytical Chemistry Jagiellonian University Medical College, Faculty of Pharmacy 9 Medyczna St., 30-688 Krakow, Poland

Abstracts: The TLC method with densitometric detection was used to identify and determine the content of candesartan (CAN), hydrochlorothiazide (HCT), and rosuvastatin (ROS) as active ingredients of a potential FDC (fixed-dose combination) preparations. TLC F254 plates were used as a stationary phase and a mobile phase was composed of: hexane ñ ethyl acetate ñ methanol ñ water ñ 99.5% acetic acid (8.4 : 8 : 3 : 0.4 : 0.2 V/V). The obtained chromatograms are characterized by a good separation of the tested substances, enabling the assessment of results in both qualitative and quantitative aspects. The process of method validation has shown that the method is specific for the analyte and is characterized by high sensitivity. The linearity was determined in a wide range, from 0.048 to 1.824 mg/spot for CAN, from 0.058 to 1.102 mg/spot for HCT and from 0.032 to 1.216 mg /spot for ROS and determination coefficient (R2) was between 0.9985-0.9990 depending on the substance being determined. The recovery ranged from 96.8% to 101.12%. The precision of the method was satisfactory, RSD values were in the range from 0.43% to 2.12%.

Keywords: FDC, TLC, candesartan, hydrochlorothiazide, rosuvastatin, determination

Acronyms/abbreviations: ñ CAN ñ candesartan, HCT ñ hydrochlorothiazide, ROS ñ rosuvastatin, TLC ñ Thin- layer chromatography, FDC ñ fixed-dose combination, ICH ñ International Conference on Harmonisation

The growing presence of cardiovascular dis- eases coexisting with other diseases in the popula- tion, and the increasing number of deaths associated with it causes that so-called fixed-dose combination (FDC) preparations are being developed to be used in polytherapy.
In recent years, a number of studies have been conducted to assess the effectiveness of this type of combination in therapy and to prevent incidents associated with cardiovascular diseases. Many stud- ies of this type also included studies aiming at the evaluation of the effectiveness of the concomitant use of rosuvastatin, candesartan, and hydrochloroth- iazide in patients with specific cardiovascular disor- ders (1). The chemical structures of the tested sub- stances are shown in Figure 1.
Candesartan (CAN) ñ 2-Ethoxy-1-{[2í-(1H- tetrazol-5-yl)-4-biphenylyl]methyl}-1H-benzimida- zole-7-carboxylic acid (Fig. 1A) is a selective AT1
receptor antagonist for angiotensin II. Blocking these receptors leads to a lowering of blood pres- sure, which is why these drugs are used to treat hypertension.
Rosuvastatin (ROS) ñ (3R,5S,6E)-7-{4-(4- Fluorophenyl)-6-isopropyl-2-[methyl (methylsul- fonyl)amino]-5-pyrimidinyl}-3,5-dihydroxy-6-hep- tenoic acid (Fig. 1B) belongs to the group of drugs blocking the enzyme 3-hydroxy-3-methylglutaryl coenzyme A reductase (HMG-CoA reductase), which is crucial for cholesterol synthesis. As a result, both LDL and total cholesterol are lowered. In addition to lowering cholesterol, statins have pleiotropic effects such as regulation of nitric oxide synthesis leading to vasodilatation and show an antioxidant effect.
Hydrochlorothiazide (HCT) ñ 6-chloro-1,1- dioxo-3,4-dihydro-2H-1,2,4-benzothiadiazine-7- sulfonamide (Fig. 1C) is a drug with diuretic and

* Corresponding author: e-mail: mariusz.stolarczyk@uj.edu.pl

### 833

hypotensive effect from the thiazide group. It works by inhibiting the reverse transport of sodium ions. In this way, it increases the excretion of sodium and water from the body. Its special significance results from the long duration of action and is used in the long-term treatment of hypertonia and chronic heart failure. In addition, hydrochlorothiazide has been used in the treatment of acute and chronic edema.
A number of methods have been described in the literature that can be used to quantify the com- pounds mentioned. The most commonly used meth- ods are separation methods. The results of simulta- neous determination of CAN and HCT using the HPLC method are presented, among others, in papers (2-5), by TLC method in papers (6-8).
In addition to separation methods, a spec- trophotometric method using curves derived from absorption spectra was successfully used to deter- mine active substances in two-component mixtures (10-12). ROS was also determined using separation methods such as HPLC (13-15), TLC (16, 17), spec-
trophotometric method (18, 19), and electroanalyti- cal methods(20-24).
The results of studies aiming at the evaluation of the effectiveness of simultaneous use of the above-mentioned drugs indicate a beneficial effect of polytherapy (rosuvastatin 10 mg daily, candesar- tan 16 mg daily, and hydrochlorothiazide 12.5 mg daily), which is associated with a significantly lower rate of cardiovascular events than in the placebo group (25). Possible interactions between rosuvas- tatin and candesartan and their tolerance by patients were also investigated. The results confirmed that the pharmacokinetic properties met the criteria for bioequivalence. It was found that the FDC prepara- tions were safe, well-tolerated and no significant
differences in the assessment of treatment safety were observed (26). Therefore, the authors decided to develop a method for the simultaneous determi- nation of candesartan, hydrochlorothiazide, and rosuvastatin as active ingredients of a potential FDC (fixed-dose combination) preparations using thin- layer chromatography with densitometric detection.

#### EXPERIMENTAL

Instruments and materials
TLC system consists of Camag Linomat autosampler (Sonnenmattstrasse 11, CH-4132 Muttenz, Switzerland), Camag microsyringe (100
µL), and Camag TLC scanner 35/N/30319 with winCATS software. A short wavelength UV lamp emitting at 254 nm and 366 nm was also used (Desaga, Wiesloch, Germany). Aluminum-backed TLC silica gel 60 F254 plates (20  20 cm) with 0.25 mm thickness were obtained from E. Merck, Darmstadt, Germany.

#### Chemicals
Reference standards: candesartan (CAN) ñ 2-ethoxy-1-({4-[2-(2H-1,2,3,4-tetrazol-5-yl)phen- yl]phenyl}methyl)-1H-1,3-benzodiazole-7-car- boxylic acid, CAS Number: 145040-37-5, hydrochlorothiazide (HCT) ñ 6-chloro-1,1-dioxo- 3,4-dihydro-2H-1,2,4-benzothiadiazine-7-sulfon- amide, CAS Number: 58-93-5, rosuvastatin (ROS) ñ (3R,5S,6E)-7-[4-(4-Fluorophenyl)-2-(N-methyl- methanesulfonamido)-6-(propan-2-yl)pyrimidin-5- yl]-3,5 dihydroxyhept-6-enoic acid, CAS Number: 147098-20-2, were supplied by Sigma-Aldrich (Germany). Hexane, ethyl acetate, methanol, 95.5% acetic acid were purchased from Merck (Germany).

Figure 1. Chemical structure of candesartan (A), rosuvastatin (B), and hydrochlorothiazide(C).

All reagents and solvents used were of analytical reagent grade.

#### Pharmaceutical preparations
Two pharmaceutical preparations were used for the determinations: Carzap®HCT 16 mg + 12.5 mg manufactured by Zentiva, Prague, Czech Republic, series No. 1608A045, one tablet con- tains 16 mg of candesartan cilexetil and 12.5 mg hydrochlorothiazide; Suvardio 10 mg manufac- tured by Sandoz GmbH, Kundl, Austria, series No. GB1246 one tablet contains 10 mg of rosuvastatin calcium.

#### Standard solutions
The standard solutions were prepared by weighing the appropriate mass of the standard sub- stance on an analytical balance, transferring it quan- titatively into a 10 mL volumetric flask, and making it up to the given volume with methanol. By follow- ing this procedure for all tested substances, clear solutions were obtained at the following concentra- tions: CAN: 0.960 mg/mL and 0.048 mg/mL, HCT: 0.760 mg/mL and 0.058 mg/mL, ROS: 0.640 mg/mL and 0.032 mg/mL.

#### Model mixture
10 tablets of CarzapHCT and 10 tablets of Suvardio were powdered. From the powdered tablet mass, sample weights corresponding to the average tablet weight of the tested preparations were made and mixed. The model mixture was extracted with 5 mL of methanol by placing the extract in an ultra- sonic bath for 15 min. The solution was filtered through EMD Millipore Syringe Filters 0.45 µm. The mixture was diluted four times before the deter- mination. The prepared solution containing CAN: 41.6%, HCT: 32.5%, ROS: 26.0% corresponded in terms of composition and content to the mixture used in polytherapy in clinical studies conducted and described by Yusuf et al (25).

#### Mobile phase:
Hexane ñ ethyl acetate ñ methanol ñ water ñ 95.5% acetic acid (8.4 : 8 : 3 : 0.4 : 0.2 V/V)

#### Chromatographic conditions
In order to determine the separation conditions of analyzed components, 2 µl of appropriate stan- dard solutions of CAN at a concentration of 0.960 mg/mL, HCT at a concentration of 0.760 mg/mL, ROS at a concentration of 0.640 mg/mL, and the model mixture solution were applied in the form of 8 mm bands to the chromatographic plates measur-
ing 10  10 cm with silica gel G F254. Chromato- grams were developed using a mobile phase com- posed of: hexane ñ ethyl acetate ñ methanol ñ water ñ 95.5% acetic acid (8.4 : 8 : 3 : 0.4 : 0.2 V/V). The chromatogram was developed to a height of 95 mm in a chromatographic chamber saturated with the mobile phase for 15 min. After development, the chromatograms were dried at room temperature and subjected to visual analysis illuminating the chro- matographic plate with monochromatic light at a wavelength of l = 254 nm, and then the densitomet- ric measurements were also performed.

#### METHOD VALIDATION

The method was validated according to the ICH recommendations (27) and Polish Pharmaco- poeia, XIth edition (28).

#### Specificity
Specificity was checked by comparing the retention factor (RF) for the peaks of the standard solutions and model mixture. The resolution of the registered peaks was calculated (a ñ separation fac- tor, Rs ñ resolution factor).

#### Accuracy
The accuracy of the method was determined by providing the percentage of recovery (% R) of the tested components. For this purpose, standard sub- stances in amounts from 80% to 120% of the deter- mined content were added to the model mixture. The analysis was carried out before and after the addition of standard substances. The recovery percentage was calculated according to the formula: R = A/B  100%, where: A ñ the determined amount of tested sub- stance, B ñ the known amount of tested substance. Five repetitions were performed for each level.

#### Precision
Compliance of the determination results was checked on standard solutions prepared by dissolv- ing the ingredients in methanol, taking into account the proportions in which they most often occur in polytherapy. Five determinations were carried out at three concentration levels: 50%, 100%, and 150% of the determined content.

#### Linearity
Linearity was defined as the relationship between peak areas (p) and concentration (µg/spot), using solutions at the following concentrations: CAN 0.048 mg/spot, HCT 0.058 mg/spot, ROS
0.032 mg/spot. Two measurements were made for

each component for concentrations respectively: 0.048, 0.240, 0.432, 0.672, 0.864, 1.056, 1.248,
1.440, 1.632, 1.824 mg/spot for CAN, from 0.058,
0.174, 0.290, 0.406, 0522, 0.638, 0.754, 0.870,
0.986, 1.000, 1.102 mg/spot for HCT and from
0.032, 0.160, 0.288, 0.448, 0.576, 0.704, 0.832,
0.960, 1.088, 1.216 mg/spot for ROS.
#### Limit of detection (LOD) and limit of quantifica- tion (LOQ)
The limit of detection and quantification was determined from the linearity in the concentration ranges: from 0.048 to 0.0864 mg/spot for CAN, from 0.058 to 0.522 mg/spot for HCT and from 0.032 to 0.832 mg/spot for ROS. The following formulas

Figure 2. Spectra of CAN, HCT, and ROS recorded directly from a chromatogram.

Figure 3. Two-dimentional TLC densitogram of CAN (c = 3.2 mg/mL), HCT (c = 2.5 mg/mL) and ROS (c = 2.0 mg/mL).

were used in the calculations: LOD = 3.3  Sy/A, LOQ = 10  Sy/A, in which: Sy ñ standard error of the estimate, a ñ the slope of the straight line.

#### Robustness
The robustness of the method was verified by analyzing the influence of slight changes in the sys- tem on the obtained results. The following parame- ters were changed: chromatographic chamber satura- tion time ± 10 min, the volume of the mobile phase
± 5%, type of the stationary phase (HPTLC 60F254), type of the chromatographic chamber used. None of these changes influenced the obtained results, which may prove that the method is resistant.
#### Determination of components in the model mix- ture
The usefulness of the method was assessed by determining the content of tested substances in mix- tures resulting from the appropriate solutions pre- pared from pharmaceutical preparations. 2 µL of standard solutions and the model mixture were applied to TLC plates. Developed and dried chro- matograms were subjected to densitometric meas- urements at the previously given wavelengths. Identification of the determined components was made by comparing the values of RF coefficients and absorption spectra for the tested model mixtures and standard solutions. To calculate the content of active

Table 1. Validation of the developed method with the statistical evaluation.

	CAN	HCT		ROS
RF	~ 0.66	~ 0.41		~ 0.53
Linearity range (µg/spot)	0.048 - 1.824	0.058 - 1.102		0.032 - 1.216
LOD (µg/spot)	0.056	0.043		0.049
a	5828.7	6992.3		5051.0
Sy	98.6	91.3		75.8
LOQ (µg/spot) Precision 50% [mg/mL] / ñ / X / SD RSD	0.169	0.130		0.150
	0.558	0.254		0.316
	0.0094	0.0050		0.0048
	1.7	1.9		1.6
Precision 100% (mg/mL) / ñ / X / SD RSD	0.971	0.495		0.612
	0.0088	0.0105		0.0058
	0.9	2.1		0.9
Precision 150% (mg/mL) / ñ / X / SD RSD	1.584	0.757		0.913
	0.0270	0.0033		0.0067
	1.7	0.4		0.7
Recovery 80% (%) / ñ / X / SD RSD	96.80	98.08		100.79
	0.367	1.226		0.808
	0.4	1.2		0.8
Recovery 100% (%) / ñ / X / SD RSD	100.75	101.12		97.88
	1.280	1.798		0.559
	1.3	1.8		0.6
Recovery 120% (%) / ñ / X / SD RSD	98.44	97.54		98.94
	0.723	0.747		0.706
	0.7	0.8		0.7
Rs	HCT : ROS 1.80		ROS : CAN 2.50
	HCT : ROS 1.62		ROS : CAN 1.82

RF - retention factor, - mean value, SD - standard deviation, RSD - relative standard deviation, Rs - resolution factor, - separation factor.

substances in the model mixture, the peak areas reg- istered for the tested solutions and the corresponding standard solutions were compared.
Bartlett test (p)	1.768 (0.184)*	1.168 (0.682)*	0.126* (0.723)
Lagrange's test / (p)	0.473 (0.508)*	0.818 (0.366)*	-
Durbin- Watson test	1.366*	1.242*	1.561*
Shapiro-Wilk test / (p)	0.907* (0.056)	0.921* (0.370)	0.978* (0.908)
Mandel's test (p)	136.53 / (0.000)	21.11 / (0.002)	33.07 / (0.000)
R2	0.9987*	0.9990*	0.9985*
Quadratic equation (p)	P = -934.0 m2 + 6612.4 m + 292.7 / (0.000) (0.000) (0.000)	P = -1168.2 m2 + 7464.1 m + 266.7 / (0.002) (0.000) (0.001)	P = -736.8 m2 + 5638.3 m + 85.7 / (0.000) (0.000) (0.690)
Linear equation (p)	P = 4869.1 m + 803.4 / (0.000) (0.000)	P = 6109.0 m + 530.0 / (0.000) (0.000)	P = 4721.4 m + 264.8 / (0.000) (0.000)
Substances	CAN	HCT	ROS

#### RESULTS AND DISCUSSION

The development of the concept of polytablets and research on their application in the therapy and prevention of diseases related to the cardiovascular system, along with the development of technologi- cal methods to obtain an effective and safe form of the drug, leads to the need to search for new, simple, cheap, and effective methods of analysis of multi- component drugs.
In accordance with the assumption adopted for the purpose of the work, a new chromatographic and densitometric procedure was developed, allowing for the simultaneous identification and quantifica- tion of active substances in a potential ternary poly- tablet composed of CAN, HCT, and ROS. After analyzing the absorption spectra of the tested drugs registered directly from the chromatograms in the range from 200 to 400 nm (Fig. 2), it was found that due to the overlap of absorption maxima for indi- vidual components, it is difficult to use the spec- trophotometric method to determine these sub- stances in a mixture (12). These interferences mean that the determination of the analytical wavelength for individual components in their mixture does not guarantee satisfactory quantitative results using spectrophotometric or spectrofluorimetric methods. The selection of a suitable mobile phase was preceded by a literature review and was based on a series of tests that took into account the different qualitative and quantitative composition of solvents. The suitability of the chloroform: methanol: 95.5% acetic acid mixture (9 : 2 : 0.1 V/V) was checked. The use of this phase gave poor resolution and an asymmetrical peak of CAN. In the chloroform: ethyl acetate: 95.5% acetic acid : water (4 : 4 : 4 : 1 V/V) mixture, proper separation of HCT and ROS peaks was not achieved, RF values were very close to each other, which did not guarantee adequate accuracy and precision of determinations. Only the use of a mixture composed of hexane : ethyl acetate : methanol : water : 95.5% acetic acid (8.4 : 8 : 3 : 0.4
Table 2. Linear and quadratic equation of tested substances.
* - for quadratic equation, P - peak surface area; m - mass ( g spot-1); R2 - coefficient of determination; (p) - p significance.
: 0.2 V/V) and the use of TLC plates coated with sil- ica gel 60 with the fluorescent agent F254 allowed to obtain well-shaped, separated and symmetrical peaks for all tested substances. Only peaks from the analyzed components appear on the recorded densi- tograms. RF values were comparable and were respectively 0.66 ± 0.013 for CAN, 0.41 ± 0.009 for HCT, and 0.53 ± 0.015 for ROS, which gives the

Table 3. Determination results of active substances in a studied model mixture (n = 5).

Model mixture	CAN / (mg/mL)	HCT / (mg/mL)	ROS / (mg/mL)
Determined content	ñ / X= 0.808 / SD = 0.0161 / RSD = 2.0%	ñ / X= 0.625 / SD = 0.0040 / RSD = 0.6%	ñ / X= 0.517 / SD = 0.0067 / RSD = 1.3%
Stated content	0.800	0.625	0.500

X- mean value, SD - standard deviation, RSD - relative standard deviation.
ñ

basis for using the developed procedure in the quan- titative analysis. It can therefore be assumed that the method is specific for analyte components, which allows obtaining reliable results (Fig. 3).
The developed method has been fully validated in accordance with the guidelines of the International Conference on Harmonization. In the validation process, linearity, accuracy, precision, the limit of detection LOD, and limit of quantification LOQ were determined. The method is characterized by a high sensitivity; LOD was 0.056 mg/spot for CAN, 0.043 mg/spot for HCT and 0.049 mg/spot for ROS; LOQ was: 0.169 mg/spot, 0.130 mg/spot and
0.150 mg/spot, respectively. Recovery of the deter- mined components was in the range from 96.80% to 101.75%. The results of the determination of indi- vidual components are characterized by high preci- sion, RSD was in a narrow range from 0.43% to 2.12%. The determined validation parameters are presented in Table 1.
The linearity of the method was checked in a wide concentration range: from 0.048 to 1.824 mg/spot for CAN, from 0.058 to 1.102 mg/spot for HCT and from 0.032 to 1.216 mg/ spot for ROS.
The efficiency of the estimation of calibration models was checked by conducting appropriate sta- tistical tests. Based on Mandelís test results (p <
0.05 for all tested substances) a quadratic fit was selected. The normal distribution of residuals was confirmed in all cases by the Shapiro-Wilk test. The Durbin-Watson test results indicate no significant autocorrelation of random components only in the case of ROS. The Lagrange test was performed for HCT and CAN, which showed no significant auto- correlation. The Bartlett test confirmed the homo- geneity of the variance of random components in the proposed models (p > 0.05). The results of statistical tests and equations are presented in Table 2.
The proposed method was successfully used for the analysis of CarzapHCT and Suvardio tablet extract solution ñ model mixture (Table 3). The chromatograms obtained during the analysis, on

which no additional peaks from the auxiliary com- ponents of the tested drug form were observed and recovery values indicate that the excipients have no effect on the determination results. This allows us to state that with minimal effort and the elimination of complicated activities related to the appropriate sample preparation, results with a satisfactory level of precision and accuracy have been achieved.

#### CONCLUSIONS

This study presents a new method for the simultaneous determination of candesartan, hydrochlorothiazide, and rosuvastatin in a model mixture of a potential ternary pharmaceutical prepa- ration using TLC ñ densitometric method. The developed procedure has been validated in accor- dance with the ICH requirements for chromato- graphic methods. The TLC method is fast and requires no complicated pre-treatment or tedious extraction procedure, and the obtained results are characterized by high accuracy and precision. The choice of the components of the model mixture was not accidental because in hypertension polytherapy you can find more and more often research on the effectiveness of using various combinations of sub- stances from the group of angiotensin II receptor blockers, diuretics, and HMG-CoA reductase block- ers. Due to such a direction in therapy, the pharma- ceutical industry is introducing new complex prepa- rations to the market, which in clinical trials gave satisfactory results and underwent the registration procedure. However, the goal of analysts is to devel- op new, simple, cheap, and easily available methods that could be used for routine analysis of tested drugs in quality control laboratories.

#### Conflicts of interest

The authors have declared no conflicts of inter-
est.

#### REFERENCES

1. http://www.clinicaltrials.gov/ show/ NCT0046 8923 (accessed on 3. 10. 2019).
2. Moisei A., Totan M., Gligor F.G., Craciun I., Todoran N., et al.: Farmacia 64, 612 (2016).
3. Balamuralikrishna K., Syamasundar B.: Pharma. Chem. 2, 231 (2010).
4. Harikrishnan N., Vijaya Vara Prasad M., Mohamied A.S., Prabahar K.K.: Int. J. Pharm. Sci. Res. 7, 75 (2016).
5. Erk N.: J. Liq. Chromatogr. Related Technol. 26, 2581 (2003).
6. Youssef R.M., Maher H.M., Hassan E.M., El- Kimary E.I., Barary M.A.: Int. J. Appl. Chem. 6, 233 (2010).
7. Stolarczyk M., Maúlanka A., Krzek J.: J. Liq. Chromatogr. Related Technol. 31, 1892 (2008).
8. Mehta B.H., Morge S.B.: J. Planar. Chroma- togr. Mod. TLC 21, 173 (2008).
9. Kull M.E.A., Naguib I.A.: Curr. Pharm. Anal. 13, 188 (2017).
10. Routhu K.C., Annapurna M.M.: IJPT. 8, 17528 (2016).
11. Erk N.: Pharmazie 58, 796 (2003).
1. Belal T.S., Daabees H.G., Abdel-Khalek M.M., Mahrous M.S., Khamis M.M.: J. Pharm. Anal 3, 118 (2013).
2. Ali H., Zafar F., Shah S.N., Mallick N., Naveed S., et al.: Lat. Am. J. Pharm. 35, 1710 (2016).
3. Chen D., Lin Z., Wang Q., Su K., Mo J., et al.: Lat. Am. J. Pharm. 35, 2314 (2016).
4. Swathi S., Kumar H.T., Rao P.K., Rao S.Y.: Int.
  1. Pharm. Pharm. Sci. 7, 209 (2015).
5. Purkar A.J., Balap A.R., Sathiyanarayanan L., Mahadik K.R.: Int. J. Pharm. Pharm. Sci. 6, 704 (2014)
6. Ramadan A.A., Al-Akra H., Maktabi M.: Int. J. Pharm. Pharm. Sci. 6, 180 (2014).
7. Ramadan A.A., Mandil H., Alshelhawi N.: Int.
  1. Pharm. Pharm. Sci. 6, 579 (2014).
8. Gupta A., Mishra P., Shah K.: E- J. Chem. 6, 89 (2009).
9. Ramadan A.A., Mandil H., Ghazal N.: Int. J. Pharm. Pharm. Sci. 7, 389 (2015).
10. Ramadan A.A., Mandil H., Ghazal N.: Int. J. Pharm. Pharm. Sci. 7, 300 (2015).
11. Silva T.A., Zanin H., Vicentini F.C., Corat E.J., Fatibello-Filho O.: Sensor. Acutat. B-Chem. 218, 51 (2015).
12. Silva T.A., Pereira G.F., Fatibello-Filho O., Eguiluz K.I.B., Salazar-Banda G.R.: Diam. Relat. Mater. 58, 103 (2015).
13. Karadas-Bakirhan N., Gumustas M., Uslu B., Ozkan S.A.: Ionics 22, 277 (2016).
14. Yusuf S., Phil D., Lonn E., Pais P., Bosch J., et. al.: N. Engl. J. Med. 374, 2032 (2016).
15. Park D.B., Jang K., Lee J.W., Park C.W., Lee B.H., et. al.: Int. J. Clin. Pharmacol. Ther. 55, 286 (2017).
16. http://www.ich.org/fileadmin/Public_Web_ Site/ICH_Products/Guidelines/Quality/Q2_R1/ Step4/Q2_R1 Guideline.pdf; (accessed on 20. 10. 2019).
17. Polish Pharmacopoeia, XIth edition, The Office for Registration of Medicinal Products, Medical Devices and Biocidal Products, Warszawa 2018.

© 2020 by Polish Pharmaceutical Society. This is an access article under the CC BY NC license
(http://creativecommons.org/licenses/by-nc/4.0/).