Anal Bioanal Chem (2017) 409:3633–3643 DOI 10.1007/s00216-017-0305-y
Enhancing effectiveness of capillary electrophoresis
as an analytical tool in the supramolecular acidity modification
Paweł Mateusz Nowak1 & Michał Woźniakiewicz1 & Magdalena Janus 1 &
Paweł Kościelniak1
Received: 25 January 2017 / Revised: 1 March 2017 / Accepted: 8 March 2017 / Published online: 24 March 2017
# The Author(s) 2017. This article is published with open access at Springerlink.com
Abstract A strategic modification of acidity (pKa values) by the non-covalent host-guest interactions is one of the most promising concepts in current supramolecular chemistry. This work is aimed at enhancing the effectiveness of capillary electrophoresis (CE) in determination of pKa shifts caused by such interactions and their thermal dependencies crucial in a deep thermodynamic description. We show how to (i) mini- mize the systematic errors related to Joule heating, (ii) mini- mize the influence of a voltage ramp time, (iii) speed up pKa shift identification and estimation, (iv) interpret thermal ef- fects related to two overlapped dynamic equilibria, and (v) determine pKa shifts by an alternative spectrophotometric method (CE-DAD). The proposed solutions were implement- ed to examine the supramolecular pKa shifts of several cou- marin derivatives, caused by a variety of structurally different cyclodextrins. It was revealed that a specific host substitution pattern determines the magnitude of apparent pKa shifts. Accordingly, heptakis(2,6-di-O-methyl)-β-cyclodextrin in- duces the much stronger shifts than both non-methylated-β- cyclodextrin and heptakis(2,3,6-tri-O-methyl)-β-cyclodextrin applied at the same concentration. We also show that insofar as the complexation of 4-hydroxycoumarin and its derivative (coumatetralyl) are similarly exothermic, the thermal effects accompanying the deprotonation process are remarkably
different for both molecules. The pKa shift induced by com- plexation with calixarene was also for the first time deter- mined by a CE method. These observations throw a new light on the background of acidity modification and confirm the applicability of CE as an analytical tool.
Keywords Capillary electrophoresis . Capillary coating . Cyclodextrins . Host-guest complexes . Joule heating . pKa shift
Introduction
Acidity, usually expressed by a logarithmic equivalent of acid dissociation constant—pKa, is one of the basic physicochem- ical properties of the ionizable molecules [1]. It determines their solubility in aqueous environment, lipophilicity and membrane permeability, ability to ionic and hydrophobic in- teractions, activity and functionality in biological systems (in- cluding endo- and exo-genic compounds), and particular be- haviors in analytical systems, e.g., retention on column in chromatography or migration time in electrophoresis. The idea to modify pKa using the non-covalent interactions, known as a supramolecular acidity (pKa) tuning, is a potential way to enhance bioavailability and therapeutic activity of drugs [1–3], to modulate physicochemical properties of dyes [4, 5], to create sophisticated catalysis systems [6], and to develop more efficient analytical methods [7]. The recent studies showed that the supramolecular host-guest interactions involving the macrocyclic hosts, like cyclodextrins (CDs), calixarenes, and cucurbiturils, may induce pKa shifts in both directions and of a diverse magnitude, reaching +1.5 pH unit for CDs, +2.4 for calixarenes, and even above +5 units for cucurbiturils [1, 7, 8]. However, our current knowledge on these effects is still scarce and limited, and our ability to
Electronic supplementary material The online version of this article (doi:10.1007/s00216-017-0305-y) contains supplementary material, which is available to authorized users.
* Paweł Mateusz Nowak nowakp@chemia.uj.edu.pl
1
Faculty of Chemistry, Department of Analytical Chemistry, Jagiellonian University in Kraków, Ingardena 3,
30-060 Kraków, Poland
RESEARCH PAPER

3634
Nowak P.M. et al.
predict the magnitude of pKa shifts is weak. Hence, one of the most promising directions of research in this field is the anal- ysis of novel pKa modification systems and thermodynamic investigations focusing on the basic molecular forces governing pKa shifts, expressed quantitatively by the enthalpic and entropic factors [8–10].
Capillary electrophoresis (CE) is a powerful separation technique characterized by a huge resolving power, high au- tomation degree, and, most importantly, very low consump- tion of sample materials and buffers, in the order of micro- and even nano-liters. Among various analytical and bioanalytical applications, CE is broadly utilized in determination of pKa values [11–14]. It is done by plotting the relation between electrophoretic mobility, dependent on ionization degree, and pH, and finding pKa as an inflection point of the obtained sigmoidal curve. Electrophoretic mobility can be calculated as follows:
(

 L	L	1
  1
tot eff
∙	−
Fig. 1 Schematic illustration of a the profile of actual temperature along capillary, with an indication of the average temperatures for two injection modes (long-end and short-end): Tlong-end and Tshort-end, respectively, and nominal temperature set up in a software—Tnominal and b the ramping effect, with an indication of the average and nominal electric field strength, Eaverage and Enominal, respectively
μ
ð1Þ
¼
ep
U nom	ttot
teof
where μep is the electrophoretic mobility, Ltot and Leff are the total and effective capillary lengths (m), Unom is the nominal
(programmed) separation voltage (kV), t
is the total
tot
(observed) migration time of the analyte (min), and teof is the
(ii)
Systematic errors caused by a ramping effect, i.e., a grad- ual increase of voltage at the beginning of separation, lasting around 0.1–0.2 min, which causes a deviation of the average electric field strength from its nominal value used in Eq. 1 (see Fig. 1b).
Relatively long analysis time, taking into account the fact that to determine one pKa value using a classical method electrophoretic mobility should be determined in at least 5–6 buffers of different pH, whereas a single CE run lasts typically between 5 and 30 min (including capillary rinsing and condi- tioning) and each one should be done at least in triplicate to minimize random errors.
Difficulty to reach a total complexation degree in host-guest systems, as a result the pKa values mea- sured at a given host concentration are only apparent ones, i.e., they do not characterize a host-guest com- plex but a mixed population of the complexed and
time measured for the neutral marker of electroosmotic flow (EOF).
For a monoprotic acid, pKa can be obtained from the fol- lowing equation:

l
10−pKa
(iii)
∙μA−
μep ¼
ð2Þ
10−pKa þ 10−pH
where μ − is the electrophoretic mobility of the anion created
A
upon deprotonation and pKa is a fitting parameter (pH at the inflection point).
In consequence, CE characterized by a prominent cost- effectiveness seems also to be a valuable analytical tool for examination of the supramolecular pKa modification systems, often involving expensive macrocyclic molecules used as the pKa shift inducers. In addition, due to the ability of modern CE instruments to control temperature in a broad range, normally between 15 and 60 °C, CE may be useful in examination of thermal dependency of pKa values and in determination of the standard dissociation enthalpy (ΔH°) and entropy (ΔS°). Nonetheless, apart from advantages, utilization of CE for those purposes is not free from potential limitations. The im- portant issues are as follows:
(iv)
free molecules, and
thus
they
depend
on
two
equi-
libria: deprotonation and complexation. The knowl- edge on the apparent pKa shifts is however still de- sirable because the total complexation degree is rarely met in real experiments using aqueous solu- tions of hosts, and the apparent pKa values charac- terize a true behavior of molecules, e.g., in the CD- separation systems. Nonetheless, in such a case, thermodynamic interpretations are hampered.
Problematic use of the ionized hosts, e.g., sulphated CDs and calixarenes, introducing additional charge that
(i) Systematic errors attributed to the uncontrolled rise of temperature inside capillary caused by Joule heating gen- eration and insufficient cooling [15, 16], especially in the inlet/outlet capillary sections devoid of an active cooling (see Fig. 1a).
(v)

Enhancing effectiveness of capillary electrophoresis
3635
affects electrophoretic mobility and intrudes in the rela- tion between ionization of guest and pH.
role of host substitution and a strict correlation between the thermal effects accompanying deprotonation and the structure of guests.
The aim of this work was to tackle these general issues and to enhance effectiveness of CE as an analytical method for determination of pKa values and their shifts in the supramo- lecular host-guest systems. We show that minimization of the aforementioned problems is possible via (i) utilization of a proper correction strategy basing on the estimation of an ac- tual temperature inside capillary, (ii) concurrent correction of the ramping effect by a simple recalculation, (iii) utilization of a two-values method (TVM) restricted only to two electropho- retic mobility values needed to detect and estimate pKa shift,
(iv) specific data handling/analysis that provides an indepen- dent insight into two equilibria, and (v) measurement of ab- sorption spectra instead of mobilities in the case of ionizable hosts. Furthermore, we examined pKa shifts of several couma- rin derivatives: 4 -hydroxycoumarin (4-HC), 4 ,7- dihydroxycoumarin (4,7-dHC), coumatetralyl (CT), and coumafuryl (CF), caused by a variety of neutral CDs: α-CD, β-CD, 2-hydroxypropyl-α-CD, 2-hydroxypropyl-β-CD, 2- hydroxypropyl-γ-CD, 2-hydroxyethyl-β-CD, methyl-β-CD (Me-β-CD), heptakis(2,6-di-O-methyl)-β-cyclodextrin (DM-β-CD), and heptakis(2,3,6-tri-O-methyl)-β-cyclodex- trin (TM-β-CD), in some cases providing an insight into the enthalpic and entropic contributions. We also estimated pKa shift of 4-HC caused by 4-sulfo-calix[4]arene, using an alter- native CE-DAD method. The corresponding structures are shown in Fig. 2. The obtained outcomes demonstrate a key
Materials and methods
Four coumarin derivatives—4-HC, 4,7-dHC, CT, and CF—used as the analytes (guests), and ten macrocyclic hosts— α-CD, β-CD, 2-hydroxypropyl- α-CD, 2- hydroxypropyl- β-CD, 2-hydroxypropyl-γ-CD, 2- hydroxyethyl-β-CD, Me-β-CD, DM-β-CD, TM-β-CD, and 4-sulfo-calix[4]arene—were supplied by Sigma- Aldrich (St. Louis, MO, USA). Dimethyl sulfoxide (DMSO) was used as the EOF marker (Sigma-Aldrich).
The experiments were performed with a P/ACE MDQ Capillary Electrophoresis (CE) System (Beckman Coulter, Brea, CA, USA) equipped with a diode array detector. A polyamine-coated eCAP™ capillary was used (Beckman Coulter); it was of 60 cm total length, 50 cm effective length, and 50 μm internal diameter. The UV-vis absorp- tion spectra were collected between 200 and 600 nm. Two hundred nanometers was the analytical wavelength for measuring electrophoretic mobility. The sample trays and capillaries were conditioned at various temperatures, between 15 and 55 °C. All aqueous solutions were pre- pared using a deionized water (MilliQ, Merck-Millipore Billerica, MA, USA), filtered through a 0.45-μm regener- ated cellulose membrane and then degassed by sonication and centrifugation. The rinsing of capillaries between the
Fig. 2 The structures of guest and host molecules used in the experiment. ASD average substitution degree

3636
Nowak P.M. et al.
runs was done by applying a pressure of 137.9 kPa (20 psi). The capillary, between the runs, was rinsed with
0.1 M amine regenerator solution™ (Beckman Coulter) for 2 min and with the background electrolyte (BGE) for 4 min. Prior the first use of the capillary on a working day a rinse with deionized water for 5 min, 0.1 M amine regenerator solution™ for 10 min, and BGE for 10 min was applied. For a fresh capillary conditioning, the same rinsing sequence was used but the duration of each step was doubled.
All BGE solutions were of a 50-mM ionic strength, except with BGEs containing 4-sulfo-calix[4]arene where it was in- creased to 92.5 mM. The final concentration of each CD in BGE was 10 mM and 4-sulfo-calix[4]arene 5 mM. The exact composition and pH values are presented in the Electronic Supplementary Material (ESM). Sample injection was done hydrodynamically, applying the forward pressure of 3.45 kPa (0.5 psi) for 5 s. 4-HC and CT were used in a final concentra- tion of 100 μg/mL, 4,7-dHC and CF 33 μg/mL, and DMSO 0.2% (v/v), all dissolved in BGE. Electrophoretic analysis was performed with a separation voltage of 30 kV, using a reverse polarity (cathode at inlet), and a 0.17-min voltage ramp time. All measurements were done in triplicate. The methodology of an actual temperature estimation by a simplified universal method for electrolyte temperature determination (SUMET)
[17] and the Van’t Hoff model used to determine the enthalpic and entropic factors are described in ESM.
Fig. 3 Electropherograms obtained for the sample containing the totally ionized analytes: 4-HC (a), 4,7-dHC (b), CF (c), CT (d), and EOF marker (DMSO), in BGE containing 10 mM DM-β-CD or TM-β-CD (pH 8.0, temperature 25 °C). The similar position of the EOF peaks indicates similar values of electroosmotic mobility, whereas the significant shifts noted for the analytes indicate different electrophoretic mobility values stemming from a different complexation degree (affinity) for two structurally similar CDs
mobility values [18]. For a monoprotic acid, we can write the following:
μ −−μ
A	ep
pK ¼ pH þ log
ð3Þ
a
μep
where μep is the electrophoretic mobility of the partially ion- ized form reached at a given pH, and μA− is the electropho- retic mobility of anion (totally ionized form).
This alternative approach, denoted as a two-values method (TVM), requires the application of only two buffers, ensuring the partial and total ionization, respectively. TVM was proven to give consistent results with the classical method with the mean deviation of pKa much below 0.20 pH unit, providing 2– 3 times better time- and cost-effectiveness [18]. In this work, TVM was for the first time applied to detect and estimate the supramolecular pKa shifts. The outcomes obtained at the tem- perature of 25 °C for four analytes (guests) and nine hosts are presented in Table 1.
The observed pKa shifts are diverse, reach up to +1.04 pH unit, and strongly depend on the structure of host. It was more deeply discussed in the next section (BThermodynamic anal-
ysis^). To check reliability of these results, the pKa shifts of 4-
HC and CT in two systems—DM-β-CD and TM-β-CD— were also determined using the classical approach based on a nonlinear function fitting (see Table 1). For these two CDs, a discernible difference in the magnitude of pKa shifts was re- vealed by TVM. The obtained reference shifts are slightly higher, averagely by 0.13 pH unit. Nevertheless, an overall magnitude remains similar and the noticeable difference be- tween both CDs is also maintained. It proves that TVM may
Results and discussion
A preliminary capillary test
At the beginning, the eCAP™ amine capillary was tested in terms of repeatability estimated for electrophoretic mobilities, a crucial issue in minimization of the random uncertainty of pKa values. This capillary occurred to provide very stable conditions, what was evidenced by the very low RSD (%) values, mostly much below 1.0%. It was shown and discussed in the ESM. In addition, the generation of a reverse EOF, i.e., in the opposite direction than in the bare silica capillary, allowed one to detect all analytes prior to the EOF marker making the whole analysis much faster (see electropherogram in Fig. 3).
Two-values method for faster pKa shift identification/estimation
It was recently postulated by our group that a routine method used for pKa determination, basing on the multiple measure- ments of electrophoretic mobility in a broad pH range and fitting the sigmoidal-shape function (Eq. 2), can be replaced by a much faster method using only two electrophoretic

Enhancing effectiveness of capillary electrophoresis
3637
Table 1 The values of pKa and the respective pKa shifts obtained with the TVM-based and the classical approaches
System
pKa value
pKa shift
4-HC
4,7-diHC
CT
CF
4-HC
4,7-diHC
CT
CF
referencea
α-CD β-CD
2HP-α-CD
2HP-β-CD
2HP-γ-CD
2HE-β-CD Me-β-CD DM-β-CD TM-β-CD DM-β-CD TM-β-CD
4.13
4.15
4.70
4.10
4.68
4.37
4.62
4.80
5.08
4.54
5.19b
4.61b
4.38
4.36
4.52
4.36
4.74
4.64
4.67
4.80
5.00
4.43
–
–
4.25
4.10
4.82
4.14
5.00
4.66
4.88
4.97
5.03
4.29
5.18b
4.47b
4.16
3.74
4.18
3.75
4.81
4.44
4.60
4.67
5.20
4.76
–
–
–
+0.02
+0.57
−0.03
+0.55
+0.24
+0.49
+0.67
+0.95
+0.41
+1.12b
+0.54b
–
−0.02
+0.13
−0.03
+0.36
+0.26
+0.29
+0.41
+0.62
+0.05
–
–
–
−0.15
+0.57
−0.11
+0.76
+0.41
+0.63
+0.72
+0.78
+0.04
+0.86b
+0.15b
–
−0.43
+0.02
−0.41
+0.65
+0.27
+0.43
+0.51
+1.04
+0.60
–
–
The mobility of the partially ionized forms (TVM) were measured at pH close to 4.6. The standard error (SD) obtained for TVM was below 0.15 pH unit in each case
a A host-free system
b The values obtained with the classical method (nonlinear function fitting)
be useful in a fast screening/detection of pKa shifts in the supramolecular systems and that it enables their estimation with some margin of error. Due to a simplified nature, the use of an Bestimation^ term seems better in regard to TVM
than Bdetermination.^ It is also worth emphasizing that the
concurrent use of the amine capillary and TVM seems to be beneficial and advisable, since both reduce pKa estimation time and the amine capillary may also provide a stable EOF [18, 19]. It gives the opportunity to examine many novel pKa modification systems and to minimize the related costs and analysis time.
determination basing on a nonlinear function fitting, to en- hance its accurateness and reliability. DCS comprises several steps:
Firstly, the ramping effect is corrected using the following equations:
(

t −
5t
0:
tot	ramp
ttot
U	¼ U
ð4Þ
av	nom
where Uav is the average (ramping-corrected) separation volt- age, ttot is the total migration time of the analyte, and tramp is the voltage ramp time set up in a software, normally between
0.1 and 0.2 min. This equation follows from the profile of electric field shown in Fig. 1b.
It is to be noted that Uav is normally different for the analyte and EOF marker because they differ in migration time, and thus the impact of voltage ramp time is not the same for both compounds. To respect this fact, electrophoretic mobility should be calculated as follows:
Double correction strategy for minimization of the systematic errors
An accurate measurement of electrophoretic mobility is of a great importance for reliable pKa determination. However, as it was mentioned before, it is a routine practice that two im- portant effects able to introduce systematic errors to mobility value are not taken into consideration: the voltage ramping effect and the rise of temperature due to the Joule heating (Fig. 1). To the best of our knowledge, the influence of these effects on the accuracy of pKa determination has never been examined. Herein, we propose an original approach, a univer- sal double correction strategy (DCS) which allows one to estimate this impact and to minimize the inaccuracy of pKa values and the other important thermodynamic parameters, standard dissociation enthalpy (ΔH°), and entropy (ΔS°), de- pendent on a thermal dependency of pKa values. We imple- mented DCS in the classical methodology of pKa
−μ
μ
¼ μ
ð5Þ
ð6Þ
epðrampÞ	appðrampÞ	eofðrampÞ
(

(

 L L	t
  L
L	t
tot eff
tot
tot eff
eof
−
μ
¼
epðrampÞ
U nom ttot ttot−0:5tramp
U nom teof teof −0:5tramp
and after simplification,
 Ltot Leff	−	Ltot Leff
μ
epðrampÞ ¼ U nom (ttot−0:5tramp) U nom (teof −0:5tramp)
ð7Þ
where μep(ramp) is the ramping-corrected electrophoretic mo- bility, μapp(ramp) is the ramping-corrected apparent (observed)
mobility, and
μe of( ram p)
is the ramping-corrected

3638
Nowak P.M. et al.
electroosmotic mobility (compare with Eq. 1). The impact of ramping effect, i.e., the corresponding error of pKa value, can be estimated by comparing pKa values obtained using two different methods for electrophoretic mobility determination, based on Eqs. 1 and 7, respectively.
The second step is the correction of pKa values in regard to temperature rise. Temperature elevation entails two major ef- fects: drop in viscosity and, for some molecules, temperature- dependent change of the ionization degree (pKa), both affect- ing electrophoretic mobility values. It is also noticeable that, in theory, the buffers used in pKa determination should be of the same ionic strength and exhibit different pH; therefore, they are normally prepared using the varied acids and bases. Thus, they differ to some extent in conductivity and, in con- sequence, in the values of current measured upon application of voltage. Therefore, temperature rise is never the same at all
an extension of the correction approach proposed by us re- cently for correcting electrophoretic mobilities [20].
The estimation of an actual temperature is possible via a simplified universal method for electrolyte temperature deter- mination (SUMET), reported by Krylov [17]. SUMET en- ables estimation of temperature rise separately for the non- cooled and cooled capillary parts, using only the values of current measured during CE run and some tabulated parame- ters, determined for the given capillary dimensions. It was assumed by us that the amine and bare capillaries of the same length and internal diameter are characterized by the same heat transport efficiency. The detailed description can be found in the ESM. We suggest herein to use SUMET for both capillary sections and to assess an actual temperature (to which calculated mobility refers) as a weighted average as described by Eq. 8.
pH values and the procedure used to determine pK is intrin-
(

(

a
 L
 L
−L
sically biased by a double error (rise in temperature and in- equality of this rise at various pH values).
We propose that this problem may be tackled by the esti- mation of an actual temperature reached in the given buffer (Tactual) at various temperatures of coolant and by the subse- quent plotting of the obtained electrophoretic mobilities ver- sus Tactual. Then, after function fitting, by inter- or extrapola- tion, we can read electrophoretic mobility values correspond- ing to the chosen temperatures of interest, the same for all buffering systems (see Fig. 4). It allows one to determine a correct pKa value, unbiased by Joule heating. This strategy is
inlet
Leff
eff
inlet
T actual ¼ T inlet
þ T core
ð8Þ
Leff
Tinlet
where
is the local temperature in the inlet non-
thermostated capillary section obtained from SUMET, Tcore is the local temperature in the core thermostated capillary sec- tion obtained from SUMET, and Linlet is the length of inlet section (4.0 cm in the present study). In this approach, the
weights are defined by the respective lengths of the particular capillary sections; however, this is an arbitrary choice and the other weights could also be used, e.g., time-related ones, though their calculation would more complicated.
The obtained values of actual temperature are presented in the ESM. In Table 2, we present the non-corrected, ramping- corrected, and totally corrected pKa values obtained for 4-HC and CT, together with the corresponding enthalpic (ΔH°) and entropic (ΔS°) terms obtained from the Van’t Hoff model (see the ESM for more details).
It turns out that both correction steps bring about the relatively small changes in the pKa values, maximally
0.08 pH unit. It is noteworthy that the correction of the ramping effect always decreases pKa values, whereas the correction of the temperature rise increases them and causes some compensatory effect. On that account, the to- tal differences between the non-corrected and totally corrected values are even smaller, typically 0.02–0.05 pH unit. Despite the observed differences are small and com- parable to the standard errors, the trends seen upon the first and second correction steps are clear, regular, and cannot be explained simply by a random variation. Taking into consideration the recent study that has revealed a signifi- cant influence of the Joule heating and ramping effects on the accuracy of electrophoretic mobilities [20], the resulting inaccuracy of the pKa values studied in this work appears to be more tolerable. Most likely, this is due to the fact that the relative mobility error is similar at various pH
Fig. 4 Illustration of a temperature increase-related correction of electrophoretic mobilities; the procedure is as follows: (1) electrophoretic mobilities (corrected previously in regard to the ramping effect) are measured at various coolant temperatures, and at various pH values; (2) the actual (real, effective) temperature values are estimated; (3) the obtained mobilities are plotted versus the actual temperature and fitted with a proper model (in this case by the second-degree polynomial functions); (4) electrophoretic mobility values corresponding to the given temperature of interest (in this case, 25, 35, 45 and 55 °C) are read from the model functions (see the arrows on the graph), and then they are used to calculate pKa values. Presentation of data is restricted to 3 pH values and 4 temperatures of interest for a better clearness

Enhancing effectiveness of capillary electrophoresis
3639
Table 2 Comparison of the non- corrected, ramping-corrected, and fully corrected values of acid dissociation constant (pKa), standard dissociation enthalpy (ΔH°), and standard dissociation entropy (ΔS°) obtained for the two analytes (4-HC and CT) in the two host-guest systems
(10 mM DM-β-CD and TM-β- CD)
Temperature (°C)
Non-corrected
Ramping corrected
Fully corrected
4-HC + DM-β-CD
15
25
35
45
55
ΔH° (kJ mol−1)
ΔS°(J mol−1 K−1)
CT + DM-β-CD 15
25
35
45
55
ΔH° (kJ mol−1)
ΔS°(J mol−1 K−1)
4-HC + TM-β-CD
15
25
35
45
55
ΔH° (kJ mol−1)
ΔS°(J mol−1 K−1)
CT + TM-β-CD 15
25
35
45
55
ΔH° (kJ mol−1)
ΔS°(J mol−1 K−1)
5.33 (0.03)
5.19 (0.03)
5.08 (0.04)
4.97 (0.03)
4.84 (0.04)
21.7 (0.6)
−3.2 (0.2)
5.31 (0.03)
5.17 (0.03)
5.05 (0.04)
4.94 (0.04)
4.80 (0.04)
22.6 (0.7)
−2.8 (0.3)
5.33 (0.02)
5.23 (0.02)
5.12 (0.04)
5.00 (0.03)
4.88 (0.04)
20.4 (0.9)
−3.8 (0.4)
5.21 (0.02)
5.18 (0.03)
5.14 (0.03)
5.08 (0.03)
5.02 (0.04)
8.6 (0.9)
−8.4 (0.4)
5.19 (0.03)
5.15 (0.03)
5.11 (0.03)
5.04 (0.04)
4.97 (0.04)
9.9 (1.0)
−7.9 (0.4)
5.21 (0.02)
5.18 (0.03)
5.15 (0.03)
5.08 (0.03)
5.01 (0.04)
9.0 (1.3)
−8.3 (0.5)
4.73 (0.02)
4.61 (0.03)
4.51 (0.03)
4.44 (0.04)
4.38 (0.04)
15.8 (1.0)
−4.3 (0.4)
4.71 (0.02)
4.59 (0.03)
4.48 (0.03)
4.39 (0.05)
4.32 (0.04)
17.8 (0.7)
−3.4 (0.3)
4.77 (0.02)
4.64 (0.03)
4.54 (0.03)
4.46 (0.04)
4.38 (0.03)
17.4 (0.7)
−3.7 (0.3)
4.48 (0.03)
4.47 (0.03)
4.46 (0.03)
4.45 (0.04)
4.43 (0.04)
2.2 (0.3)
−9.4 (0.1)
4.45 (0.03)
4.44 (0.03)
4.43 (0.03)
4.40 (0.04)
4.37 (0.05)
3.6 (0.6)
−8.8 (0.3)
4.48 (0.03)
4.47 (0.02)
4.45 (0.03)
4.44 (0.03)
4.42 (0.02)
2.7 (0.2)
−9.2 (0.1)
The values in brackets are the standard errors estimated during the function fitting step
factors because in this case pKa values are, by definition, de- termined at various temperatures, and the expected errors are larger. It is also worth highlighting that the errors could be more significant in other experimental setups, e.g., for the shorter capillaries, larger internal capillary diameters, and higher ionic and electric field strengths. DCS seems very use- ful for examination of these effects.
values, and the position of inflection point in relation to pH scale is weakly affected.
On the other hand, the differences noted for the enthalpic and entropic factors are more considerable, in some cases, over 10%, but still the ramping- and temperature rise-related effects compensate for each other. The final differences in the enthalpic and entropic terms are also comparable to the stan- dard errors, estimated for the Van’t Hoff model. These results imply that, for a routine determination of pKa values under the
Bmild^ conditions, correction of these effects may be unnec- essary due to a need for conducting additional measurements. DCS requires at least two mobility measurements at two dis-
tinct temperatures, and thus, it is at least twice as time- consuming as the standard approach. It seems however rec- ommended for determination of the enthalpic and entropic
Thermal effects in the overlapped equilibria
The pKa values determined at various temperatures and the resulting enthalpic and entropic factors were compared be- tween the reference host-free and two CD-containing systems (see Table 3). It turned out that the dissociation enthalpy and entropy change drastically upon the addition of both CDs,

3640
Nowak P.M. et al.
Table 3 The values of acid dissociation constant (pKa), standard dissociation enthalpy (ΔH°), and standard dissociation entropy (ΔS°) determined without CD addition (host-free reference system) and in the presence of 10 mM DM-β-CD and TM-β-CD, with the respective differences (shifts)
Temp. (°C)
Host free
DM-β-CD
TM-β-CD
pKa
pKa
pKa
Shift
Shift
4-HC
15
25
35
45
55
ΔH° (kJ mol−1)
ΔS°(J mol−1 K−1)
CT
15
25
35
45
55
ΔH° (kJ mol−1)
ΔS° (J mol−1 K−1)
4.11 (0.03)
4.07 (0.02)
4.03 (0.04)
3.99 (0.03)
3.95 (0.04)
7.4 (0.2)
−6.4 (0.1)
5.33 (0.02)
5.23 (0.02)
5.12 (0.04)
5.00 (0.03)
4.88 (0.04)
20.4 (0.9)
−3.8 (0.4)
+1.22
+1.12
+1.05
+0.98
+0.89
+13.0
+2.6
4.77 (0.02)
4.64 (0.03)
4.54 (0.03)
4.46 (0.04)
4.38 (0.03)
17.4 (0.7)
−3.7 (0.3)
+0.62
+0.54
+0.48
+0.45
+0.43
+10.0
+2.7
4.46 (0.03)
4.32 (0.03)
4.20 (0.02)
4.09 (0.03)
3.98 (0.03)
21.6 (0.1)
−1.2 (0.1)
5.21 (0.02)
5.18 (0.03)
5.15 (0.03)
5.08 (0.03)
5.01 (0.04)
9.0 (1.3)
−8.3 (0.5)
+0.75
+0.86
+0.94
+0.99
+1.04
−12.6
−7.1
4.48 (0.03)
4.47 (0.02)
4.45 (0.03)
4.44 (0.03)
4.42 (0.02)
2.7 (0.2)
−9.2 (0.1)
+0.02
+0.15
+0.26
+0.36
+0.45
−18.9
−7.9
The values were determined using DCS (see the text for details). The values in brackets are the standard errors estimated during the function fitting step
although the direction of this change is opposite for 4-HC and CT. For this reason, the magnitude of pKa shifts drop with temperature for 4-HC and grow for CT. It is the sign that some thermodynamic effects accompanying interaction with CDs are different for these molecules. However, the observed pKa values are only apparent ones because complexation degree is lower than 100%, and they cannot be assigned to the complex but only to a mixed population of the complexed and free analyte forms. On that account, the differences observed for 4-HC and CT may originate from two dynamic equilibria: protonation/deprotonation and complexation/dissociation of complex. A clear-cut interpretation of these results is difficult. The independent analysis of these two overlapped equilibria is nevertheless still possible for the neutral (non-ionizable) hosts without any additional experiments, although it has never been demonstrated so far. For this purpose, the plots of elec- trophoretic mobilities as a function of temperature are neces- sary, obtained for the EOF marker, totally ionized analyte, and partially ionized analyte. It is shown in Fig. 5.
To facilitate analysis, mobilities are calculated as the rela- tive values, using the lowest temperature as a reference value, i.e., all values equal to 1.0 at 15 °C. The change of electroos- motic mobility with temperature stems mainly from a drop in viscosity. The mobility of the totally ionized form depends both on viscosity and complexation degree. The higher is complexation degree, the larger is hydrodynamic resistance during electromigration and lower mobility. As it is seen from Fig. 5, the relative mobility of the totally ionized analyte rises stronger than the relative mobility of the EOF marker; it is
because temperature rise decreases complexation degree. In other words, complexation is exothermic and thereby the op- posite process (complex dissociation) is enhanced by temper- ature elevation. This effect is very similar in each case, both for 4-HC and CT. The mobility of the partially ionized form, in turn, depends on viscosity, complexation degree, and ioni- zation degree related to the pKa value. In the case of 4-HC, it rises yet stronger than for the totally ionized form. This pro- vides a proof that deprotonation, which entails molecule ion- ization and increase in mobility, is endothermic and thus fa- cilitated upon temperature elevation. By contrast, for CT the relative mobilities of the totally and partially ionized forms change to a similar extent, what suggests that the ionization degree is rather constant and barely dependent on temperature. It shows that the differences in thermal dependency of pKa shifts observed for 4-HC and CT are determined by the deprotonation-related interactions and weakly influenced by the complexation/dissociation equilibrium. Further discussion
of these observations can be found in the next part of this manuscript (BThermodynamic analysis^).
Spectrophotometric CE-DAD method
Determination of pKa shifts induced by the ionized host mol- ecules, basing on measurement of electrophoretic mobility variation as a function of pH, is not straightforward. It is due to the fact that ionizations of the guest and the host influence each other, and a much more sophisticated model is required to estimate pKa from a mobility-pH plot. The aim of this part

Enhancing effectiveness of capillary electrophoresis
3641
Fig. 5 The plots of relative mobilities (divided by mobility at 15 °C): electroosmotic (EOF), electrophoretic obtained for the totally ionized form (pH 8.0) and for the partially ionized form
(pH 4.6), versus nominal temperature of coolant
was to show that, if the spectral properties of the analyte change upon ionization, the measurement of absorption at two properly selected wavelengths may be replace measure- ment of electrophoretic mobility. Accordingly, the β parame- ter is calculated as a function of pH.
It was established that upon the addition of 4-sulfo- calix[4]arene, the apparent pKa value increases from 4.07 to
     A1
β ¼
ð9Þ
A1 þ A2
where A1 and A2 are the absorbance values measured at two different wavelength, in this case at 270 and 300 nm, respectively.
Such defined β changes with pH analogously to electro- phoretic mobility and may be described by the same type of nonlinear function (Boltzmann sigmoid), with the pKa value indicated by location of the inflection point. In addition, the values of concentration and molecular absorption coefficient are not needed, and this simplifies analysis. This CE-DAD was proposed by us in our recent work and used in determi- nation of pKa in the host-free system [12]. Herein, it was used to determine pKa value of 4-HC in the presence of 5 mM 4- sulfo-calix[4]arene; it is illustrated in Fig. 6.
Fig. 6 Illustration of the CE-DAD method used for determination of pKa value of 4-HC in the presence of 4-sulfo-calix[4]arene; the inset graphics show the UV-vis spectra of the acidic (protonated) and basic (deprotonated) analyte forms; 270 and 300 nm are the wavelengths selected to determine variation of β value (see Eq. 9)

3642
Nowak P.M. et al.
and 17 kJ mol−1, respectively) may result from a specific host- guest interaction involving the protonated form of guest, bro- ken upon deprotonation analogously as the O–H interaction.
In the case of CT characterized by an opposite change of ΔH° after the addition of host, in contrast to 4-HC, some host-guest interaction could involve the deprotonated form of the guest and thus reduce an overall rise of heat capacity during depro- tonation. One may also hypothesize that the additional aro- matic ring in the structure of CT, absent in the structure of 4- HC (see Fig. 2), plays a key role in this effect. This outcome confirms that the thermodynamics of pKa modification, in- cluding the changes of the enthalpic/entropic factors governing acid dissociation, may differ pronouncedly for the parent compound and its derivative.
4.37, what gives a positive shift in the order of +0.30 pH unit. This is the first pKa shift observed for calixarene applied as a host with the use of CE-based methodology. Further studies embracing other molecules are planned for the future.
Thermodynamic analysis
The values of pKa shifts presented in Table 1 are positive for all CDs except with α-CD and 2HP-α-CD. However, the
considerable negative shifts are observed only for CF, and they exceed −0.4 pH unit. In this particular case, complexation with the deprotonated (ionized) form is preferred over the
protonated form. In all remaining cases, CDs exhibit stronger affinity for the protonated form of analytes which thereby is stabilized, and it is seen as the rise of pKa upon the addition of host. A similar effect was observed in the past for other analytes [1], including different coumarin derivatives [7, 8]. It can be explained by the interactions between the hydropho- bic guest molecule and the non-polar interior of CD’s cavity, which are stronger for the non-ionized and more hydrophobic form of guest.
The magnitude of pKa shifts differ to some degree for four analytes (guests); however, the larger differences are noted for various CDs used as host (Table 1). The shift depends on cavity size, type of host substituent and even on substitution degree. The most interesting effect is observed for CDs char- acterized by the gradually increasing methylation degree. The pKa shifts grow in the order: β-CD < Me-β-CD < DM-β-CD and drop significantly after addition of the third methyl group to the glucose unit—for TM-β-CD (for comparing the struc- tures, see Fig. 2). It shows that there is a specific correlation between the structure of host, including its substitution pattern and the possible range of pKa modification attainable on a given concentration level. The question however remains, what are the total pKa shifts, i.e., the values measured in regard to the total complexation degree? It is possible that the differ- ent methylation level imposes significantly different complex- ation degree, and the total pKa shifts of host-guest complexes are actually similar. The differences in electrophoretic mobil- ity between the media containing DM-β-CD and TM-β-CD, seen in Fig. 3, support this concept. To answer this question, the further affinity studies are necessary, and they are beyond the scope of this work but they are planned for the near future as a natural continuation of this research path.
As it was mentioned before, the differences in the behavior of 4-HC and CT upon temperature increase follow most likely from the interactions specific for the deprotonation process. In general, the positive sign of ΔH° observed for the deproton- ation (acid dissociation) equilibrium may be ascribed to break- ing the chemical bonding with proton entailing the rise of the system heat capacity; in this case, the O–H interaction [5, 10]. Thus, the significant gain of ΔH° observed for 4-HC upon the addition of DM-β-CD and TM-β-CD (from around 7 to 20
Conclusions
We showed how to enhance the analytical potential of CE as a tool for the cost- and time-effective screening/identification and accurate determination of the supramolecular pKa shifts. The eCAP™ amine capillary ensures a repeatable determina- tion of electrophoretic mobility values (RSD < 1.0%). The systematic errors caused by the voltage ramping and Joule heating effects can be examined and prevented by the double correction strategy (DCS). Both effects may compensate to some extent making the total pKa error generally acceptable, below 0.05 pH unit. The use of DCS seems however advisable in other experimental setups, when the measured currents and the resulting temperature rise are high, and for a deep thermo- dynamic analysis comprising determination of dissociation enthalpy and entropy. The two-values method (TVM) requires measurement of only two electrophoretic mobility values to estimate pKa, it is a useful tool for a fast screening/ identification and rough estimation of the supramolecular pKa shifts. Plotting of the relative mobilities obtained for the EOF marker, totally ionized form, and partially ionized form against temperature allows one to compare thermal effects related to two distinct equilibria: deprotonation and complex- ation. The spectrophotometric CE-DAD method can be used in determination of pKa shifts caused by the ionized host mol- ecules, like sulfo-calixarenes. The magnitude of the apparent pKa shifts and the corresponding thermal effects, like the change of the system heat capacity, may differ significantly for the structurally-related molecules. Providing an optimal host substitution pattern, in this case a double methylation of the glucose unit, was crucial for obtaining the maximal pKa shift at a given concentration of host. Apart from the physico- chemical studies, the methods and tips presented in this work may be very useful in development of advanced analytical methods using pKa shifts to enhance resolution in the CE- based separations.

Enhancing effectiveness of capillary electrophoresis
3643
Nowak PM, Woźniakiewicz W, Mitoraj MP, Garnysz M, Kościelniak P. Modulation of pKa by cyclodextrins; subtle struc- tural changes induce spectacularly different behaviors. RSC Adv. 2015b;5:77545–52.
Barooah N, Mohanty J, Pal H, Bhasikuttan AC. Stimulus- responsive supramolecular pKa tuning of cucurbit[7]uril encapsu- lated coumarin 6 dye. J Phys Chem B. 2012;116:3683–9.
Nowak PM, Woźniakiewicz M, Mitoraj MP, Sagan F, Kościelniak
P. Enthalpy–entropy relations in the acid–base equilibrium of war- farin and 10-hydroxywarfarin; joint experimental and theoretical studies. RSC Adv. 2015c;5:74562–9.
Nowak P, Woźniakiewicz M, Kościelniak P. Application of capil- lary electrophoresis in determination of acid dissociation constant values. J Chromatogr A. 2015d;1377:1–12.
Nowak P, Olechowska P, Mitoraj M, Woźniakiewicz M, Kościelniak P. Determination of acid dissociation constants of war- farin and hydroxywarfarins by capillary electrophoresis. J Pharm Biomed Anal. 2015e;112:89–97.
Geffertová D, Ali ST, Šolínová V, Krečmerová M, Holý A, Havlas Z, Kašička V. Investigation of the acid-base and electromigration properties of 5-azacytosine derivatives using capillary electropho- resis and density functional theory calculations. J Chromatogr A. 2017;1479:185–93.
Cabot JM, Fuguet E, Rosés M, Smejkal P, Breadmore MC. Novel instrument for automated pKa determination by internal standard capillary electrophoresis. Anal Chem. 2015;87:6165–72.
Evenhuis CJ, Hruska V, Guijt RM, Macka M, Gaš B, Marriott PJ, Haddad PR. Reliable electrophoretic mobilities free from Joule heating effects using CE. Electrophoresis. 2007;28:3759–66.
Musheev MU, Filiptsev Y, Krylov SN. Temperature difference be- tween the cooled and the Noncooled parts of an electrolyte in cap- illary electrophoresis. Anal Chem. 2010;82:8692–5.
Evenhuis CJ, Musheev MU, Krylov SN. Universal method for determining electrolyte temperatures in capillary electrophoresis. Anal Chem. 2011;83:1808–14.
Nowak PM, Woźniakiewicz M, Piwowarska M, Kościelniak P. Determination of acid dissociation constant of 20 coumarin deriv- atives by capillary electrophoresis using the amine capillary and two different methodologies. J Chromatogr A. 2016;1446:149–57. Nowak PM, Woźniakiewicz M, Michalik M, Fiedor L, Kościelniak
P. Capillary coating as an important factor in optimization of the off- line and on-line MEKC assays of the highly hydrophobic enzyme chlorophyllase. Anal Bioanal Chem. 2017a;409:1493–501. Nowak PM, Woźniakiewicz M, Kościelniak P. Seven approaches to elimination of the inherent systematic errors in determination of electrophoretic mobility by capillary electrophoresis. Anal Chem. 2017b; doi:10.1021/acs.analchem.6b05036.
Acknowledgements Paweł Nowak acknowledges the financial support from the National Science Centre, Poland (Preludium, 2016-2019, grant no. 2015/17/N/ST4/03792. The study was carried out with equipment purchased thanks to the European Regional Development Fund within framework of the Polish Innovation Economy Operational Program (con- tract no. POIG.0 2.01.00-12-0 23/08).
8.
9.
10.
Compliance with ethical standards
Conflict of interest
interests.
The authors declare that they have no competing
11.
Open Access This article is distributed under the terms of the Creative Commons Attribution 4 .0 International License (http:// creativecommons.org/licenses/by/4.0/), which permits unrestricted use, distribution, and reproduction in any medium, provided you give appropriate credit to the original author(s) and the source, provide a link to the Creative Commons license, and indicate if changes were made.
12.
13.
References
14.
1.
Ghosh I, Nau WM. The strategic use of supramolecular pKa shifts to enhance the bioavailability of drugs. Adv Drug Deliver Rev. 2012;64:764–83.
Bhasikuttan AC, Pal H, Mohanty J. Cucurbit[n]uril based supramo- lecular assemblies: tunable physico-chemical properties and their prospects. Chem Commun. 2011;47:9959–71.
Saleh N, Koner AL, Nau WM. Activation and stabilization of drugs by supramolecular pKa shifts: drug-delivery applications tailored for cucurbiturils. Angew Chem Int Ed. 2008;47:5398–401.
Shaikh M, Swamy YM, Pal H. Supramolecular host–guest interac- tion of acridine dye with cyclodextrin macrocycles: photophysical, pKa shift and quenching study. J Photoch Photobio A. 2013;258: 41–50.
Biedermann F, Nau WM, Schneider HJ. The hydrophobic effect revisited—studies with supramolecular complexes imply high- energy water as a noncovalent driving force. Angew Chem Int Ed. 2014;53:11158–71.
Pluth MD, Bergman RG, Raymond KN. Acid catalysis in basic solution: a supramolecular host promotes orthoformate hydrolysis. Science. 2007;316:85–8.
Nowak P, Garnysz M, Mitoraj MP, Sagan F, Woźniakiewicz M, Kościelniak P. Analytical aspects of achiral and cyclodextrin- mediated capillary electrophoresis of warfarin and its two main derivatives assisted by theoretical modeling. J Chromatogr A. 2015a;1377:106–13.
2.
15.
3.
16.
4.
17.
18.
5.
19.
6.
7.
20.