universe
Article
Open Charm Measurements at CERN SPS Energies with the New Vertex Detector of the NA61/SHINE
†
Experiment: Status and Plans
Anastasia Merzlaya 1,2,*	and on behalf of the NA61/SHINE Collaboration
1
Faculty of Physics, Astronomy and Applied Computer Science, Jagiellonian University,
31-007 Krakow, Poland
Faculty of Physics, Saint Petersburg State University, 199034 Saint Petersburg, Russia Correspondence: anastasia.merzlaya@cern.ch
This paper is based on the talk at the 7th International Conference on New Frontiers in Physics (ICNFP 2018), Crete, Greece, 4–12 July 2018.
2
*
†
check for
updates
Received: 30 November 2018; Accepted: 26 December 2018; Published: 4 January 2019
Abstract: The study of open charm meson production provides an efficient tool for detailed investigations
of the properties of hot and dense matter formed in nucleus-nucleus collisions. The interpretation of the existing data from the CERN Super Proton Synchrotron (SPS) suffers from a lack of knowledge about the total charm production rate. To overcome this limitation, the heavy-ion program of the NA61/SHINE experiment at the CERN SPS has been upgraded to allow for precise measurements of particles with a short lifetime. A new vertex detector (Small Acceptance version of the Vertex Detector (SAVD)) was constructed to meet the challenges of open charm measurements in nucleus-nucleus collisions. The first exploratory data taking of Pb + Pb collisions at 150A GeV/c with the SAVD was performed in 2016, and a D0 signal was extracted in its D0 → π+ + K− decay channel. This was the first, direct observation of open charm in nucleus-nucleus collisions at the SPS energies. Furthermore, the future plans of open charm measurements in the NA61/SHINE experiment related
to the upgraded version of the Vertex Detector are discussed.
Keywords: open charm; vertex detector; the NA61/SHINE experiment
1. Introduction
One of the important issues related to relativistic heavy-ion collisions is the mechanism of charm production. Several models were developed to describe charm production. Some of them are based on the dynamical approach and some on the statistical approach. The estimates from these approaches for the average number of produced c and c¯ pairs ((cc¯)) for central Pb + Pb collisions at 158A GeV/c differ by up to a factor of 50 [1,2]. Therefore, obtaining precise data on (cc¯) will allow discriminating between theoretical models and learning about the charm quark and hadron production mechanism. A good estimate of (cc¯) can be obtained by measuring production yields of D0, D+, and their antiparticles because these mesons carry about 85% of the total produced charm (this value is predicted by the Parton Hadron String Dynamics (PHSD) model [3]).
The study of open charm meson production is a sensitive tool for detailed investigations of the properties of hot and dense matter formed in nucleus-nucleus collisions at relativistic energies [4–6]. In particular, charm mesons are of special interest in the context of the phase-transition between confined hadronic matter and the Quark-Gluon Plasma (QGP).
The cc¯ pairs produced in the collisions are converted into open charm mesons and charmonia (J/ψ mesons and their excited states). The production of charm is expected to be different in confined and deconfined matter. This is caused by different properties of charm carriers in these phases. In confined
Universe 2019, 5, 14; doi:10.3390/universe5010014
www.mdpi.com/journal/universe

Universe 2019, 5, 14
2 of 12
matter, the lightest charm carriers are D mesons, whereas in deconfined matter, the lightest carriers are charm quarks. Production of a DD¯ pair (2mD = 3.7 GeV) requires an energy about 1 GeV higher than the production of a the cc¯ pair (2mc = 2.6 GeV). The effective number of degrees of freedom of
charm hadrons and charm quarks is similar [7]. Thus, more abundant charm production is expected in deconfined than in confined matter. Consequently, in analogy to strangeness [2,8], a change of the collision energy dependence of the (cc¯) yield may be a signal of the onset of deconfinement.
(J/ψ)
The probability of a cc¯ pair hadronizing into a J/ψ meson is defined as P(cc¯ → J/ψ) ≡
≡
(cc¯)
σJ /ψ
. To be able to determine this probability, one needs data on both J/ψ and cc¯ yields in the full phase
σcc¯
space. This can be done only by studying the charmonium yield relative to the yield of open charm
mesons [5].
As has been pointed out by Satz [5], only precise measurement of both the open and hidden charm can provide information on the influence of the final state interaction on charmonia yields in a model independent way.
Up to now, direct measurements of open charm have not been possible at the Super Proton Synchrotron (SPS) energies. The NA38/NA50 and NA60 experiments at the European Organization for Nuclear Research (CERN) provided measurements of J/ψ production at the top SPS energy in the di-muon decay channel [9,10]. In Figure 1 the production of J/ψ in In + In and Pb + Pb collisions is shown as a function of the number of participating nucleons relative to the perturbative Quantum Chromodynamics (pQCD) predictions (assuming normal nuclear absorption in the medium). For a lower number of participants, the yields are consistent with the theoretical estimations. However, at Npart > 200, the result shows a significant drop, which is known as anomalous J/ψ suppression. This suppression was an important argument for the CERN announcement of the discovery of a new state of matter [11]. Within the Matsui–Satz model [4], the suppression is assumed to be caused by the formation of the QGP. However, due to initial state effects in nucleus-nucleus reactions, like shadowing, parton energy loss, etc. [12], the overall scaled number of the cc¯ pairs produced in nuclear collisions may be reduced. Hence, the effect of the medium on J/ψ survival can only be determined by studying the charmonium yield relative to the total charm yield, which can be determined by measuring the yields of open charm mesons [5].
Thus, systematic measurements of open charm production are urgently needed for the interpretation of the existing results on J/ψ suppression. Such measurements would allow disentangling initial and final state effects, revealing the properties of hidden and open charm transport through the dense medium created in nucleus-nucleus collisions.
Figure 2 shows present and future facilities and their region of coverage in the phase diagram of strongly-interacting matter. However, not all of them perform/plan measurements of charm hadrons in nucleus-nucleus collisions:
•
The Large Hadron Collider (LHC) and the Relativistic Heavy Ion Collider (RHIC) at high energies (√sNN ,2 200 GeV): measurements of charm particles are performed in an acceptance limited
to mid-rapidity; this limitation is due to the collider kinematics and related to the detector geometry [13–16]. At very high energy collisions, the multiplicities of cc¯ pairs are high, which may lead to the secondary formation of J/ψ mesons, complicating the study of the in-medium effect on J/ψ meson production;
The RHIC Beam Energy Scan (BES) collider program (√sNN = 7.7 − 39 GeV): measurement is
not considered in the current program; this may likely be due to difficulties related to collider geometry and kinematics, as well as the low charm production cross-section [17,18];
The RHIC BES fixed-target program (√sNN = 3 − 7.7 GeV): not considered in the current
program [19];
The Nuclotron-based Ion Collider fAcility (NICA) (√sNN < 11 GeV): measurements during
Stage 2 (after 2023) are considered [20];
The Japan Proton Accelerator Research Complex Heavy-Ion project (J-PARC-HI) (√sNN � 6 GeV):
under consideration; might be possible after 2025 [21];
•
•
•
•

Universe 2019, 5, 14
3 of 12
•
The Facility for Antiproton and Ion Research (FAIR) Schwer-Ionen-Synchrotron (SIS-100) (√sNN � 5 GeV): measurements of charm hadrons are not possible due to the very low cross-section at SIS-100, systematic charm measurements are planned with SIS-300 (√sNN � 7 GeV), which is part
of the FAIR project; however, no time estimation is available [22].
The conclusion is that only NA61/SHINE will be able to measure open charm production in heavy
ion collisions in full phase space in the near future. The corresponding potential measurements at higher (LHC, RHIC) and lower (FAIR, J-PARC) energies are necessary to complement the NA61/SHINE results and establish by collisions the energy dependence of charm production.
Figure 1. J/ψ suppression pattern measured in In + In (red dots) and Pb + Pb (blue triangles) collisions
as a function of the number of participants at the top Super Proton Synchrotron (SPS) energy [9,10]. The boxes around the In + In points represent correlated systematic errors. The shaded box on the right shows the uncertainty in the absolute normalization of the J/ψ yields for the In + In interactions.
Figure 2. Regions in the phase diagram of strongly-interacting matter explored by present (red) and
future (green) heavy ion facilities. RHIC, Relativistic Heavy Ion Collider; NICA, Nuclotron-based Ion Collider fAcility; J-PARC, Japan Proton Accelerator Research Complex Heavy-Ion project; FAIR, Facility for Antiproton and Ion Research.

Universe 2019, 5, 14
4 of 12
2. NA61/SHINE Experiment for Open Charm Measurements
2.1. NA61/SHINE Facility
The SPS Heavy Ion and Neutrino Experiment (NA61/SHINE) [23] at CERN was designed for studies of the properties of the onset of deconfinement and the search for the critical point of strongly-interacting matter. These goals are being pursued by investigating p + p, p + A, and A + A collisions at different beam momenta from 13A–158A GeV/c for ions and up to 400 GeV/c for protons. It is a fixed target experiment, which is better suited than a typical collider experiment for the detection of strange and multi-strange particles, as well as heavy flavors, like charmed particles. The layout of the experimental setup is shown in Figure 3.
Figure 3. Layout of the NA61/SHINE experimental setup (top view, not to scale). VTPC, Vertex Time
Projection Chamber; MTPC, Main TPC; PSD, Projectile Spectator Detector; BPD, Beam Position Detector.
The main component of the facility is the large acceptance hadron spectrometer, which was
inherited from the NA49 experiment [24]. The setup includes the Beam Position Detectors (BPD), Cherenkov counters, and the scintillator detectors located upstream of the target. They provide information on the timing, charge, and position of beam particles. Charged particle tracking is provided by two Vertex Time Projection Chambers (VTPC-1 and VTPC-2), which are located inside magnets, the gap TPC, and two Main TPCs (MTPC-L on the left side of the beam line and MTPC-R on the right side). These TPCs provide acceptance in the full forward hemisphere, down to pT = 0. The TPCs allow for momentum and charge reconstruction, as well as measurement of mean energy loss per unit path length, which is used for particle identification. The Time-of-Fight (ToF) walls, which are used to improve particle identification, are located behind the main TPCs. The Projectile Spectator Detector (PSD) measures the energy of projectile spectators and delivers information on collision centrality.
Vertex Detector in NA61/SHINE
For open charm measurements in nucleus-nucleus collisions, NA61/SHINE was upgraded with the new Small Acceptance version of the Vertex Detector (SAVD).
As was already mentioned, open charm mesons are difficult to measure because of their low yields and short lifetime. These mesons can in principle be detected in their decay channels into pions and kaons. However, in heavy ion collisions, πs and Ks are produced in large numbers by other sources, giving a huge background in the invariant mass distributions (see Figure 4). To distinguish the daughter particles of D0 mesons from hadrons produced at the primary nucleus-nucleus interaction point,

Universe 2019, 5, 14
5 of 12
one aims to select only hadron pairs generated in a secondary decay vertex. Vertex reconstruction is
done by extrapolating the trajectories back to the target and identifying intersection points. The primary vertex will typically appear as the intersection point of multiple tracks, while the tracks originating from weak decays will intersect at a well-defined displaced point (secondary vertex).
Figure 4. Schematics of the reconstruction strategy of the D0 → π+ + K− decay channel with the help
of the vertex detector.
The vertex detector was designed to perform high efficiency tracking and high resolution primary
and secondary vertex reconstruction. The detector concept was developed in simulations [25–27], and it only partially covers the total geometrical acceptance of NA61/SHINE. The simulations performed using the A Multi-Phase Transport Model (AMPT) event generator [28] as input show that about 5% of all D0 + D0 in the π and K decay channel can be registered by the SAVD and pass background suppression and quality cuts (see the details below).
The SAVD is positioned between the target and the VTPC1 (see Figure 3). It consists of two spectrometer arms (called Jura and Saleve according to the standard NA61/SHINE convention: the Jura arm is located on the Jura Mountains side of the experiment, whereas the Saleve arm is located on the Saleve Mountains side), each composed of four detector planes (stations) of coordinate-sensitive detectors located at a 5, 10, 15, and 20 cm distance from the target. Each arm hosts in total eight sensors (see Figure 5).
High position resolution silicon Minimum Ionizing MOnolithic Active pixel sensors (MIMOSA-26) [29] based on the complementary metal-oxide-semiconductor (CMOS) technology were chosen as the basic detection element of the SAVD stations. The pixel pitch is 18.4 µm in each direction, which leads to a high spatial resolution of 3.5 µm. The 1.06 × 2.13 cm2 sensitive area of a single MIMOSA-26 sensor is covered by 1156 columns made of 576 pixels (=663.5k pixels/chip). The sensors have a very low material budget (50 µm thickness), which minimizes the multiple scattering effect in the detection planes. All columns of the sensor are read out in parallel in the rolling shutter mode, and the readout time resolution is 115.2 µs, which is sufficient for data taking at collision rates <1 kHz.
The MIMOSA-26 sensors are mounted on extra light-weight vertical carbon fiber ladders, developed for the upgrade of the Inner Tracking System (ITS) at the A Large Ion Collider Experiment (ALICE) [30]. The ladders are held by C-shaped support frames as illustrated in Figure 3. The ladders have integrated pipes for water cooling. Further, the SAVD and the target were placed in a helium

Universe 2019, 5, 14
6 of 12
enclosure (aquarium). The helium helps to minimize the multiple scattering of beam ions and
produced particles.
Figure 5. Photograph of the Small Acceptance version of the Vertex Detector (SAVD) before closing the
detector with the front and exit windows. The detector elements are indicated.
Because the detector is located close to the edge of the VTPC-1 magnet, the magnetic field in the
SAVD volume is small and inhomogeneous (0.13–0.25 T)
The sensors are connected to front-end boards that provide sensor biasing. The front-end boards are connected to the data processing Trigger Readout Board (TRB) [31] developed for the updated Micro Vertex Detector (MVD) at the Compressed Baryonic Matter experiment (CBM) [32], which are responsible for the fast and slow control of the sensors. The TRB board has a gigabit-Ethernet interface for data readout.
The MIMOSA-26 sensors are connected to the front-end electronics through 20 cm-long flex print cables. This makes it possible to place the front-end boards outside the VTPC acceptance to reduce the material budget seen by them. Since the MIMOSA-26 sensors do not have internal filters, this made them more susceptible to pick-up noise injected by the long cables. However, adding external capacitor filters reduced the problem.
3. Open Charm Measurements with the SAVD
3.1. Data Reconstruction in the Vertex Detector
The track finding algorithm is based on a combinatorial method (for pre-tracking) and the Hough transform algorithm (details are discussed in [33]). From the tracking results, it was found that the SAVD spatial resolution is less then 5 µm, as expected.
Primary vertex reconstruction was done by extrapolating the trajectories back to the target and identifying intersection points. The primary vertex will typically appear as the intersection point of multiple tracks, while the tracks originating from secondary decays will intersect at a well-defined displaced point (secondary vertex). A spatial primary vertex resolution of σx,y,z = 5, 1.5, 30 µm has

Universe 2019, 5, 14
7 of 12
been achieved for test Pb + Pb data taken in 2016. For the Xe + La data, the resolution was found to be
σx,y,z = 1.3, 1.0, 15 µm. The significant improvement compared to the pilot measurement was due to better setting of the sensor thresholds, resulting in increased pixel efficiency.
The track matching between VD and TPC was done using the following algorithm: at first, tracks were refitted to the VD primary vertex (for primary tracks) or VD clusters from a given station (for secondary tracks) and then interpolated to other VD stations, and the matching clusters were collected. Finally, the whole track was refitted using the Kalman filter algorithm.
3.2. Reconstruction of the D0 + D0 Signal
The SAVD tracks matched to TPC tracks were used to search for the D0 + D0 signal. In the current analysis, PID information was not used. Each SAVD track was paired with another SAVD track and was assumed to be either a kaon or pion. Thus, each pair contributed twice in the combinatorial invariant mass distribution. The combinatorial background was several orders of magnitude higher than the D0 + D0 signal due to the low yield of charm particles. In order to reduce the large background, four cuts were applied. The cut values were chosen to maximize the Signal to Noise Ratio (SNR) of the reconstructed D0 + D0 peak and were determined from simulations [26,27]. These cuts were:
•
•
•
•
track transverse momentum pT > 0.34 GeV/c; track impact parameter d > 34 µm;
longitudinal distance between the D0 decay candidate and the interaction point Vz > 475 µm; impact parameter D of the back-extrapolated D0 candidate momentum vector D < 21 µm.
Note that the last three cuts were based on information delivered by the SAVD.
4. Open Charm Measurements with the SAVD
The SAVD was installed as part of the NA61/SHINE facility and used in 2016 during a Pb + Pb test run at a 150A GeV/c beam momentum. An exploratory set of data was collected and analyzed [34]. The main goal of the test was to demonstrate precise tracking in the large track multiplicity environment, the ability of precise vertex reconstruction and the ability to extract the physics result. The obtained primary vertex resolution was σx = 5 µm, σy = 1.5 µm and σz = 30 µm (the difference between σx and σy was caused by the presence of a vertical component of the magnetic field in the SAVD volume).
Figure 6 shows the invariant mass distribution of unlike charge daughter candidates with the applied cuts. One observes a peak emerging at 1.82 GeV/c2, which is considered as an indication of D0 + D0 production. The mean value of the peak is shifted relative to the Particle Data Group (PDG) mass value 1.86 GeV/c2 due to the poorly calibrated TPC data. The invariant mass distribution was fitted (red line) using an exponential function to describe the background and a Gaussian to describe the D0 + D0 signal contribution. The indicated errors are statistical only. From the fit, one finds the width of the peak to be 14.6 ± 3.5 MeV (which is consistent with the value obtained in simulations including instrumental effects) and the total yield to amount to 62 ± 19 with a ±3σ integrated SNR of 3.3.
The successful performance of the SAVD in 2016 led to the decision to use the device during the Xe + La data taking in 2017. A large statistics dataset was taken for Xe + La interactions at beam momenta of 150A, 75A, and 40A GeV/c. During these measurements, the thresholds of the SAVD sensors were tuned to obtain high hit detection efficiency. This led to significant improvement of vertex resolution precision: σx = 1.3 µm, σy = 1.0 µm, and σz = 15 µm. These data are currently under analysis and are expected to lead to physics results in the coming months.

Universe 2019, 5, 14
8 of 12
Figure 6. Invariant mass distribution of unlike charge sign π, K decay track candidates for Pb + Pb
collisions at 150A GeV/c.
5. Proposed Open Charm Measurements after CERN Long Shutdown 2
Looking forward, the NA61/SHINE experiment will be upgraded during the CERN long shutdown from 2019–2020 to increase the data taking rate from 80 Hz to 1 kHz [1]. The upgraded VD will be based on the Monolithic Active Pixel sensors (ALPIDE) developed for the ALICE ITS [35] and will have larger acceptance for each station. The proposed program will allow performing systematic
studies of D0, D0, D+, and D− production. This study will provide the total cc¯ yield in central Pb + Pb collisions needed to investigate the mechanism of charm production in this reaction. Moreover, the data will allow establishing the centrality dependence of (cc¯) in Pb + Pb collisions at 150A GeV/c and thus address the question of how the formation of QGP impacts J/ψ production.
The simulations performed using A Multi-Phase Transport Model (AMPT) event generator as input show that about 13% (three-times better than for the SAVD) of all D0 + D0 in the π,K decay channel can be registered by the upgraded vertex detector and pass background suppression and quality cuts (see Figure 7) and about 9% of all D+ + D− in the 2π,K decay channel (see Figure 8). The total uncertainty of (D0) and (D0) is expected to be about 10% and is dominated by systematic uncertainty.
The data taking plan related to the open charm measurements in 2021–2023 is shown in Table 1. The estimates for open charm yields were made assuming that the mean multiplicity of charm hadrons is proportional to the number of collisions and using yields calculated for central Pb + Pb collisions within the Hadron String Dynamics (HSD) model [36]. In total, 500M minimum bias Pb + Pb events are expected to be collected at top SPS energy. Table 2 lists the expected number of charm mesons
in centrality selected Pb + Pb collisions at 150A GeV/c. From this, it is expected that 76k D0 and D0 will be collected, of which 31k will be from the most central collisions. Additionally, 46k D+ and D− will be collected, of which 19k will be from the most central interactions. These data together with the result for central Pb + Pb collisions at 150A GeV/c will start a long-term effort to establish the collision energy dependence of (cc¯) and address the question of how the onset of deconfinement impacts charm production.

Universe 2019, 5, 14
9 of 12
Figure 7. A Multi-Phase Transport Model (AMPT) simulation of transverse momentum and rapidity
distributions of D0 + D0 mesons produced in central Pb + Pb collisions at 150A GeV/c corresponding to 500M recorded events. Left: all produced D0 + D0 mesons. Right: D0 + D0 mesons in the π, K decay channel and both decay products registered by the upgraded VD and the TPCs and passing background suppression and quality cuts.
Figure 8. AMPT model simulation of transverse momentum and rapidity distributions of D+ + D−
mesons produced in central Pb + Pb collisions at 150A GeV/c corresponding to 500M recorded events. Left: all produced D+ + D− mesons. Right: D+ + D− mesons in the 2π, K decay channel and all decay products registered by the upgraded VD and the TPCs and passing background suppression and quality cuts.
Table 1. The NA61/SHINE data taking plan for the open charm measurements.
D0 + D0
D+ + D−
Year
Reaction
Events
2021
2022
2023
Pb + Pb 150A GeV/c
Pb + Pb 150A GeV/c Pb + Pb 40A GeV/c
250M
250M
250M
38k
38k 3.6k
23k
23k 2.1k

Universe 2019, 5, 14
10 of 12
Table 2. Expected number of charm mesons in different centrality (0–10%, 10–20%, 20–30%, 30–60%,
60–90%, and 0–90%) selected Pb + Pb collisions at 150A GeV/c assuming 500M minimum bias events recorded in 2022 and 2023; see the text for detail. The mean number of wounded nucleons (W) calculated within the wounded nucleon model is also given, as well as the mean number of binary collisions (NCOLL).
0–10%
10–20%
20–30%
30–60%
60–90%
0–90%
D0 + D0 D+ + D−
31k
19k 327
20k
12k 223
11k
7k 159
13k
8k 69
1.3k
0.8k
11
76k
46k 105
(W)
   (NCO L L )	769	443	292	102	10	203
6. Summary
The SAVD was installed in the NA61/SHINE experiment in 2016 to allow open charm measurements. From the first exploratory data set of Pb + Pb collisions at 150A GeV/c a D0 signal was extracted in it’s D0 → π+ + K− decay channel. This was the first, direct observation of open charm in nucleus-nucleus collisions at the SPS energies.
In 2017, a large statistic data set has been taken for Xe + La with SAVD at the beam momenta of 150A, 75A and 40A GeV/c; and also in 2018 data taking of Pb + Pb collisions at 150A GeV/c has been performed. This data is now being analysed.
Looking forward, an upgraded version of the Vertex Detector with larger acceptance is being planned. This will allow for starting the detailed research programme of the open charm measurements at SPS energies. Only NA61/SHINE is able to measure open charm production in heavy ion collisions in full phase space and in the beginning of the next decade. These NA61/SHINE results would complement open charm measurements at higher (LHC, RHIC) and lower (FAIR, JPARC) energies.
Funding: The work was supported by the Polish National Center for Science Grant 2014/15/B/ST2/02537, the Polish Ministry of Science and Higher Education DSC Grant 7150/E-338/M/2018, No. K/DSC/004993, and the Russian Science Foundation research Grant 16-12-10176.
Conflicts of Interest: The authors declare no conflict of interest.
References
1.
Aduszkiewicz, A.; NA61/SHINE Collaboration.	Study of Hadron-Nucleus and Nucleus-Nucleus
Collisions at the CERN SPS: Early Post-LS2 Measurements and Future Plans. CERN-SPSC-2018-008/ SPSC-P-330-ADD-10. Available online: http://cds.cern.ch/record/2309890 (accessed on 30 November 2018). Gazdzicki, M.; Gorenstein, M.I. On the early stage of nucleus-nucleus collisions. Acta Phys. Pol. B 1999, 30, 2705.
Cassing, W.; Bratkovskaya, E.L. Parton-Hadron-String Dynamics: An off-shell transport approach for relativistic energies. Nucl. Phys. A 2009, 831, 215–242. [CrossRef]
Matsui, T.; Satz, H. J/ψ Suppression by Quark-Gluon Plasma Formation. Phys. Lett. B 1986, 178, 416. [CrossRef]
Satz, H. Calibrating the In-Medium Behavior of Quarkonia. Adv. High Energy Phys. 2013, 2013, 242918. [CrossRef]
Muller, B. Investigation of Hot QCD Matter: Theoretical Aspects. Phys. Scr. 2013, 158, 014004. [CrossRef] Poberezhnyuk, R.V.; Gazdzicki, M.; Gorenstein, M.I. Open charm production in central Pb+Pb collisions at the CERN SPS: Statistical model estimates. Acta Phys. Pol. B 2017, 48, 1461. [CrossRef]
Rafelski, J.; Muller, B. Strangeness Production in the Quark—Gluon Plasma. Phys. Rev. Lett. 1982, 48, 1066. [CrossRef]
Abreu, M.C.; NA50 Collaboration. Results on open charm from NA50. J. Phys. G Part. Phys. 2001, 27, 677. [CrossRef]
Scomparin, E.; NA60 Collaboration. J/psi production in p-A collisions at 158-GeV and 400-GeV: Recent results from the NA60 experiment. Nucl. Phys. A 2009, 830, 239c–242c. [CrossRef]
2.
3.
4.
5.
6.
7.
8.
9.
10.

Universe 2019, 5, 14
11 of 12
11.
Heinz, U.W.; Jacob, M. Evidence for a New State of Matter: An Assessment of the Results from the CERN Lead
Beam Program. Available online: https://arxiv.org/abs/nucl-th/0002042 (accessed on 30 November 2018). Petridis, A.N. Initial and final state effects in the charmonium suppression in hadron nucleus and nucleus nucleus collisions. Phys. Rev. C 1996, 54, 848. [CrossRef]
Meninno, E.; ALICE Collaboration. Open-charm production measurements in pp, 1 p-Pb and Pb-Pb collisions with ALICE at the LHC. EPJ Web Conf. 2017, 137, 06018. [CrossRef]
Hou, G.W.S.; ATLAS, CMS Collaboration. Open charm production and spectroscopy at ATLAS and CMS.
Proc. Sci. 2016, 2016, 088. [CrossRef]
Simko, M.; STAR Collaboration. Measurements of open charm hadrons at the STAR experiment. Phys. Conf. Ser.
2017, 832, 012028. [CrossRef]
Nagashima, K.; PHENIX Collaboration. PHENIX measurements of single electrons from charm and bottom decays at midrapidity in Au+Au collisions. Nucl. Phys. A Ser. 2017, 967, 644–647. [CrossRef]
Odyniec, G.J. The RHIC Beam Energy Scan program in STAR and what’s next ... Phys. Conf. Ser. 2013, 455, 012037. [CrossRef]
Yang, C.; STAR Collaboration. The STAR beam energy scan phase II physics and upgrades. Nucl. Phys. A Ser.
2017, 967, 800. [CrossRef]
Meehan, K.C.; STAR Collaboration. Fixed Target Collisions at STAR. Nucl. Phys. A Ser. 2016, 956, 878. [CrossRef]
Kekelidze, V.; Kovalenko, A.; Lednicky, R.; Matveev, V.; Meshkov, I.; Sorin, A.; Trubnikov, G. Feasibility study of heavy-ion collision physics at NICA JINR. Nucl. Phys. A Ser. 2017, 967, 884. [CrossRef]
Sako, H.; J-PARC Heavy-Ion Collaboration. Studies of high density baryon matter with high intensity heavy-ion beams at J-PARC. Nucl. Phys. A Ser. 2016, 956, 850. [CrossRef]
Friman, B.; Hohne, C.; Knoll, J.; Leupold, S.; Randrup, J.; Rapp, R.; Senger, P. The CBM physics book: Compressed baryonic matter in laboratory experiments. Lect. Notes Phys. Ser. 2011, 814, 1. [CrossRef] Abgrall, N.; NA61 Collaboration. NA61/SHINE facility at the CERN SPS: Beams and detector system.
J. Instrum. 2014, 9, P06005. [CrossRef]
Afanasev, S.; NA49 Collaboration. The NA49 large acceptance hadron detector. Nucl. Instrum. Methods Phys. Res. Sect. A 1999, 430, 210–244. [CrossRef]
12.
13.
14.
15.
16.
17.
18.
19.
20.
21.
22.
23.
24.
25.
Aduszkiewicz, A.; NA61/SHINE Collaboration.
Beam Momentum Scan with Pb+Pb Collisions
CERN-SPSC-2015-038/SPSC-P-330-ADD-8.
(accessed on 30 November 2018).
Available online:
http://cds.cern.ch/record/2059811
26.
Ali, Y.; Staszel, P.; Marcinek, A.; Brzychczyk, J.; Planeta, R. Feasibility Studies of Open Charm Measurements
with the NA61/SHINE Experiment at CERN-SPS. Acta Phys. Pol. B 2013, 44, 2019–2034. [CrossRef]
Ali, Y.; NA49 Collaboration. NA61/SHINE experiment upgrade with vertex detector for open charm measurements. J. Phys. Conf. Ser. 2014, 509, 012083. [CrossRef]
Lin, Z.-W.; Ko, C.M.; Li, B.A.; Zhang, B.; Pal, S. A Multi-phase transport model for relativistic heavy ion collisions. Phys. Rev. C 2005, 72, 064901. [CrossRef]
Deveaux, M.; Baudot, J.; Chon-Sen, N.; Claus, G.; Colledani, C.; De Masi, R.; Doering, D.; Dorokhov, A.; Doziere, G; Dulinski, W.; et al. Radiation tolerance of a column parallel CMOS sensor with high resistivity epitaxial layer. J. Instrum. 2011, 6, C02004. [CrossRef]
Abelev, B.; ALICE Collaboration. Technical Design Report for the Upgrade of the ALICE Inner Tracking System. J. Phys. G 2014, 4, 087002. [CrossRef]
Michel, J.; Bohmer, M.; Frohlich, I.; Korcyl, G.; Maier, L.; Palka, M.; Stroth, M.; Traxler, M.; Yurevich, S. The HADES DAQ system: Trigger and readout board network. IEEE Trans. Nucl. Sci. 2011, 58, 1745. [CrossRef]
Klaus, P.; Wiebusch, M.; Amar-Youcef, S.; Deveaux, M.; Koziel, M.; Michel, J.; Milanovic, B.; Muntz, C.; Tischler, T.; Stroth, J. Prototyping the read-out chain of the CBM Microvertex Detector. J. Instrum. 2016, 11, C03046. [CrossRef]
Merzlaya, A.; NA61 Collaboration. Track reconstruction in the inhomogeneous magnetic field for Vertex Detector of NA61/SHINE experiment at CERN SPS. J. Phys. Conf. Ser. 2017, 798, 012072. [CrossRef] Merzlaya, A.; NA61 Collaboration. Open Charm Measurements at CERN SPS Energies with the New Vertex Detector of the NA61/SHINE Experiment. Knowl. Energy Phys. 2018, 3, 154. [CrossRef]
27.
28.
29.
30.
31.
32.
33.
34.

Universe 2019, 5, 14
12 of 12
Aglieri, G.; ALICE Collaboration. Monolithic active pixel sensor development for the upgrade of the ALICE
inner tracking system. J. Instrum. 2013, 8, C12041. [CrossRef]
Linnyk, O.; Bratkovskaya, E.L.; Cassing, W. Open and hidden charm in proton-nucleus and heavy-ion collisions. Int. J. Mod. Phys. E 2008, 17, 1367. [CrossRef]
© 2019 by the authors. Licensee MDPI, Basel, Switzerland. This article is an open access
article distributed under the terms and conditions of the Creative Commons Attribution (CC BY) license (http://creativecommons.org/licenses/by/4.0/).