J Fluoresc (2013) 23:1207–1215 DOI 10.1007/s10895-013-1251-5
Applications of Fluorescent Sensor Based on 1H-pyrazolo [3,4-b]quinoline in Analytical Chemistry
Marek Mac&Tomasz Uchacz&Andrzej Danel&
Hanna Musiolik
Received: 27 March 2013 / Accepted: 17 June 2013 / Published online: 30 June 2013
#TheAuthor(s)2013.ThisarticleispublishedwithopenaccessatSpringerlink.com
AbstractFluorescentdye2-[(2-Hydroxyethyl)-(1,3-diphenyl-1H-pyrazolo[3,4-b]quinolin-6-ylmethyl)-amino]ethanol(LL1) wasexaminedfor itsefficiencyinthedetectionofsmallinor- ganic cations (lithium, sodium, barium, calcium, magnesium,cadmium, lead and zinc). The dye was synthesized in thelaboratoryandinvestigatedbymeansofboth, steady-stateandtime-resolvedfluorescencetechniques.Thiscompoundactsasafluorescent sensor suitablefordetectionofsmall inorganiccat-ions(lithium, sodium, barium, calcium, magnesium, cadmium,lead andzinc)instrongly polar solvent (acetonitrile).Anelec-tron transfer fromtheelectro-donativepart (receptor)ofthemoleculetotheacceptorpart(fluorophore)isthoughtto bethemainmechanismthatunderlies functionalityofthecompoundasasensor.Thisprocesscanberetardeduponcomplexationofthereceptor moietybyinorganic cations.Relatively high sen- sitivitybutpoorselectivityoftheaminoalcoholthatcontains indicator towards the two-valued cations was observed.However,uponadditionofsomeamountsofwatertheselec- tivity of this sensor has been enhanced (especially towards leadcation).Thepreliminaryresultsinanalyticalapplication of the sensor arediscussed.
Introduction
Measurements of the cation concentration are of consider-ableinterestand thesubjectofvariousinvestigationsconducted by chemists, biologists, clinical biochemists and environmentalists.Someofthecationsplayacrucialrolein biological processes (Na+, K+, Ca2+, Mg2+, Zn2+). In medi- cine some diagnostics are based on the detection of certain cations and monitoring their concentration in blood and urine. In psychiatry the control of the lithium concentration is important for patients who are under the treatmentfor
manic depression. Some cations are toxic (Pb2+,
Cd2+,
Hg2+) and early detection of their presence in organism is
of uttermost importance.
Among other sensors thefluorescent molecularsensors(knownalsoasindicators)areofconsiderableinterestforthedetection of small amounts of cations such as H+,Li+,Na+,K+, Ca2+, Mg2+, Zn2+, Pb2+, Al3+,Cd2+, etc. These arethemolecular compounds that fluorescence emissioncanbestrongly affected by the presence ofinorganiccations.Their high detection sensitivity permits theinvestigationofnon-fluorescent cations with the concentrationsdownto10−6M [1,2]. Nevertheless, searches fornewfluorescencematerialscapableofextendedsensitivityarestillunderway.The principles underlying functionalityoffluorescencesensorsarepresentedinseveralpublicationsincludingmonographs and original papers [3,4].Beneath, onlythebasic information necessary to understand theperformance
of the sensors is briefly reviewed.
AgeneralprincipleofoperationofmanyPETfluorescent indicators is based on significant enhancement of fluores- cence emission upon addition of cations into fluorescingmedium. Molecule-cation complexes of variousstoichiometry
Keywords Fluorescent molecular probes.Photoinduced electron transfer.Time resolved fluorescence.
Pyrazolo[3,4-b]quinoline
M.Mac:T.Uchacz(*):H.Musiolik
Faculty of Chemistry, Jagiellonian University,
Ingardena 3, 30-060 Krakow, Polande-mail:tomaszuchacz55@gmail.com
T. Uchacz:A. Danel
DepartmentofChemistry,UniversityofAgriculture, Balicka 122, 31-149 Kraków,Poland
ORIGINAL PAPER

1208
J Fluoresc (2013) 23:1207–1215
canbeformedinthisprocess.Theirhighstabilityinboth,the ground and excited states is desired to permit fluorescence emission followed the electronic excitation of the complex (see Scheme1).Tounderstand fluorescence emission en- hancement a detailed mechanism of the process has to be understood.Forthepurposeofcurrentinvestigationwerecall themechanismdeterminedforthemolecularsensorsbasedon pyrazoloquinolineskeleton.Themechanismunderlyingfunc- tionalityofmolecularsensorsthatareconstructedonthebasis ofpyrazoloquinolineskeletonwasdiscussedintheprevious papers[5,6].Itinvolvesanelectrontransferprocess,i.e.after excitation,thepyrazoloquinolinederivativeacceptsoneelec- tron from the lone pair located at the nitrogen atom of the donorreceptormoiety,beingsimultaneouslyacationreceptor subunit.Itwasfoundthatpreviouslyconstructedfluorescent cationindicatorsaremoresensitivetothepresenceofbivalent cationssuchasMg2+,Ca2+,Zn2+thantomonovalentcations such as Li+and Na+.Additionally,the binding constants estimatedfromtheconcentrationprofilesofthefluorescence changesarerelatedtothechargedensityofthecations,sothatlargerwasthecationchargedensity,greaterwasthecomplex- formation equilibriumconstant.
Wechose1,3-diphenyl-1H-pyrazolo[3,4-b]quinolineasafluorophore becauseofits goodemissive properties.Thefluo-rescencequantumyieldsandlifetimesarerelativelyindependentonsolvent polarityandreach valuesup to 88%and25ns,respectively[7]. This factresultsineffectivephotoinducedelectron transfer quenchinginpyrazoloquinolinecompoundswithelectronically decoupled amino-recognition groupandinconsequence easily detectable ON-OFFgreenfluorescence.Anotherreasonforselectingthepyrazoloquinolineisarelativelysimple synthesis.1,3-diphenyl-1H-pyrazolo[3,4-b]quinolineisreceivedinreactionbetweencommerciallyavailablesubstrates.Inviewoftheabove,itisnotsurprisingthatpyrazoloquinolinesareextensively exploitedforalongtimeasaluminescentmaterialsforfabricationoforganiclightemittingdiodes(OLED)[8],asdopantsinPVKmatrices[9]andpolymers[10].Thepaperinvestigatesphotophysicalpropertiesoftheche-lating sensor2-[(2-Hydroxyethyl)-(1,3-diphenyl-1H-pyrazolo
[3,4-b]quinolin-6-ylmethyl)-amino]ethanol (LL1) and the complexes formed between the sensor and several cations such as Li+, Na+, Ba2+, Ca2+, Mg2+, Cd2+, Pb2+, Zn2+, Ag+in acetonitrile and acetonitrile-water mixtures as well.Toelucidate the potential of LL1 for sensitive and selective detectionofcationsweperformsimplefluorimetrictitrations.Additionally,we examine also a possible application of the dye(LL1)asanindicatorinfluorimetricdeterminationofZn and Pb bivalent cations by chloride anion titration in acetonitrile.
Experimental
Synthesisof2-[(2-Hydroxyethyl)-(1,3-Diphenyl-1H-Pyrazolo[3,4-b]Quinolin-6-Ylmethyl)-Amino]Ethanol (LL1)
ThesynthesisreactionstepsofLL1aredepictedinScheme2. 6-methyl-1,3-diphenyl-1H-pyrazolo[3,4-b]quinoline 1 was obtainedfromtherespectivepyrazoleandanilineprecursors[11].The resulting compound 2 was brominated with NBS (N-bromosuccinimide)inthepresenceofcatalyticamountof AIBN (2,2′-azoisobutyronitrile). The nucleophilic substitu- tion of the bromomethyl group with diethanolamine in ace- tonitrile gave the compound LL1. A more detailed descrip- tion of the synthesis of this sensor was given in previous publication[12].
Apparatus and MeasuringProcedures
The solvents: dibutyl ether (DBE), butyl chloride (BuCl), tetrahydrofuran (THF), acetone (ACE), acetonitrile (ACN), anddimethylformamide(DMF)wereofspectroscopicgrade andwereusedasreceived(allfromAldrich).Allthesolvents used in this study did not show any traces of fluorescence. For fluorescence quantum yield and fluorescence lifetime measurements the solutions of the dye were degassed using multiple freeze-pump-thaw cycles. The sample concentra- tionofthedyes(LL1andfluorophore)forspectroscopic
Scheme 1 Principle underlying metalionsensingbyfluorescent PET (photoinduced electron transfer)indicators
recognition	cation
group
fluorophore

J Fluoresc (2013) 23:1207–1215
1209
Scheme 2 a 180–190 °C; b NBS/AIBN/CCl4, c diethanol- amine/K2CO3
OHC
Ph
Ph
Me
a
Me
+
N
N
Cl
N
Ph
NH2
N
Ph
N
1
b
HO
Ph
Ph
c

N
Br
N
N
N
Ph
N
Ph
N
N
OH
LL1
2
Ph
N
N
Ph
N
fluorophore
measurementswasca.4×10−5M(thiscorrespondstoabsor-banceofca. 0.2attheexcitation wavelengthusedfor thefluo-rescence investigations). Lithium, sodium, barium,magnesium,calcium (tetrahydrate) lead(x-hydrate),cadmium,zinc(hexahydrate) perchlorate,and zincchloride, tetrabuty-lammonium chloride (TBACl) (Aldrich)were usedasreceived.In anindependent measurementitwasfound thatasmalladdi-tionofdeionisedwater could notinfluence significantly thefluorescenceofthe dyealoneinacetonitrile solution.Thefluo-rescence titration experiments were not proceeded by thedegassingprocedure.
ThefluorescencemeasurementsofthetitrationbetweenLL1-Pb2+complexandtetrabutylammonium chloride(TBACl)were carriedoutonultracentrifuged samples.Theothersfluorimetrictitrationswereperformedinsitu.
The absorption spectra were recorded using a ShimadzuUV-2101PCspectrometerandtheemissionspectra(withthe
correctionforspectralsensitivity)weremeasuredbymeansof Hitachi F7000fluorometer.For time-resolved fluorescence measurements(time-correlatedsinglephotoncountingtech- nique) a picosecond diode laser(λ=400nm, 70 ps pulse duration) (IBH-UK) was used as the excitation source. For steady-statefluorescencemeasurementsa365or380nmline was used. The fluorescence quantum yield measurements were carried out with quinine sulphate in water (Φfl=0.51) [13] as anactinometer.
Joe-Jones Method
The equilibrium constants (K1) for complexation of the li- gand by alkali cations are calculated by fitting Eq. 1 to the relative fluorescence intensities in the presence of different concentration (cM) of the employed alkaline metal perchlo- rates [14],

l
qﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃﬃ
∞Þ
−
Φ
Φð
0Þ
ð
2
þcþ1=K−ðcþc
þ1=KÞ−4c
ΦðcÞ ¼ Φ
ð0Þþ
c
c
ð1Þ
M
L	M
1	L	M
1	LM
2cL
whereΦ(0),Φ(∞)andΦ(cM)isthefluorescenceintensityof thedyealone,withalargeconcentrationofthesaltandwith
thecMconcentrationofthesalt,respectively,cLindicatesthe analytical concentration of theligand.

1210
J Fluoresc (2013) 23:1207–1215
For 2:1 complexation the binding constantK2is defined by Eq. 2 [1]:
Job’s Method

Stoichiometry of the fluorescent complexes can be established by measuring the fluorescence of the mixtures of fluorophore (sensor) (L) and metal cations (M) provided thatthesumoftheconcentrationofthesensorandthecation is constant, i.e.cL+cM=C.This method is called Job’s method or method of continuous variations[1].
Let us assume the following equilibrium:
MLþ
2
K¼
ð2Þ
2
2	þ
½L]½M]
The Eq. 1 converts into more complex one for 2:1 com- plexation scheme [3,4]:
2x
Φ−Φ Þ
0þcLð
ΦðcÞ ¼ Φ
ð3Þ
∞	0
M
nþ	nþ
lLþmM	⇔LlMm
We measure the fluorescence of the mixtures at different values of the parameter x, defined as
wherexdenotestheconcentrationofthecomplexML2+.This quantity can be obtained numerically by solving the third degreepolynomial:
ax3þbx2þcxþd¼0
with the following parameters:
cM
x¼c
ð4Þ
þc
M	L
The position of the maximum of fluorescence on x is related to l/m.
If we assume the 1:1 stoichiometry of a complex the dependenceoftheintegratedfluorescenceonxhasafollow- ingform:
¼−4K2
ab c d
¼4Kðc
þcÞ
2L	M

)
ð3bÞ
¼−K2cL2þ4K2cLcMþ1
2
¼K2cLcM
0
#1.21C

.

"(

Φ	Φ−1Φ
2
∞
B
1
1
0
0
ΦðxÞ−Φ0ð1−xÞ¼
B
1þ	C−	1þK	−4xð1−xÞ
CA
ð4aÞ
@
2
K
C
1
1
The meaning of the parameters which appeared in Eq.4a hasbeenexplainedintheprevioussection,exceptofΦ0(1−x)definedasthefluorescenceintensitymeasuredintheabsence of cation at every concentration of thesensor.
ThevaluesofthebindingconstantsK1andK2wereobtainedfromthefluorescenceintensitiesusinganonlinearleast-squarefitting routine codedinFORTRAN.
donating macrocyclic recognitionunitontheenergeticsoftheoptical transitions withinthefluorophore.Forinstance,themaximaoftheabsorptionandfluorescence bandsofLL1inacetonitrilewerefoundat397nmand 481 nm,whilst thoseofthefluorophorearecentredat395nm476nm(seeFig.1).Itcan
2.5
1.2
1.0
2.0
0.8
Results and Discussion
0.6
1.5
0.4
UV–vis Absorption and FluorescenceEmission SpectroscopyStudies
0.2
1.0
0.0
450
500	550
[nm]
600
650
Theabsorption spectrumofLL1inacetonitrile consistsoftwo separate bands located between250 and 325nmandabove350 nm,respectively(Fig.1). Thefirstoneisastructuredbandwithamaximumat260nm(ε=57400dm3mol−1cm−1) whilethesecondoneisaGaussian-likebandhavingmaximumat397nm(molar absorption coefficientε=7400dm3mol−1cm−1).Asimple comparisonoftheabsorption spectraofLL1 andtheparent molecule 1,3-diphenyl-1H-pyrazolo[3,4-b]quinoline(fluorophoreofLL1)revealsanegligible effectoftheelectron-
0.5
0.0
250
300
350
/nm
400
450
Fig. 1Room absorptionandfluorescence (inset) spectraof1,3-diphenyl- 1H-pyrazolo[3,4-b]quinoline (solid),LL1(dash), LL1+Mg(ClO4)2(dashdotdot)inacetonitrile.TheconcentrationofMg(ClO4)2isequalto4.104M
Absorbance /a.u.
Normalizedfluorescence

J Fluoresc (2013) 23:1207–1215
1211
Table1 The maximum of the first absorption (λabs) band and fluorescence (λfl) band, fluores- cence quantum yields (Φfl) and lifetimes(τfl)forLL1fluorescent sensor as a function of dielectric permittivity of the solvent (εs).a denotes the magnitude of the long-life component of the bi- exponential fluorescence decay function
Solvent
λabs[nm]
λfl[nm]
Φfl
τfl[ns]
εs
DBE
BuClTHF ACE
403
402
401
398
456
464
472
478
0.61
0.59
0.34
0.051
19.09
17.96
19.89
0.63
20.29(a)
0.76
22.01(a)
0.52
19.25(a)
3.08
7.37
7.52
21.01
ACN
397
481
0.040
36.63
DMF
400
482
0.049
38.25
alsobeinferred thattheabsorption spectraofLL1 arerather insensitivetothesolventpolarity.
Polarityofthesolventsstronglyinfluencesthefluorescence lifetimesandquantumyieldsofLL1,likewisethepreviouslyinvestigated other dyes containing pyrazoloquinoline skeleton[3,4].Suchdependencesoftheabovementionedfluorescence
the results described in this paper are related to the acetoni- trile solutions.
Upon addition of cations to the acetonitrile solution of LL1, the absorption spectrum does not change significantly (Fig.1).ThestructuredbandintheUVregion(250–325nm) turns now into a relatively broadband.
However,theadditionofcationschangesthefluorescenceproperties considerably (Fig.2.). The locations ofthebandmaximuminthefluorescencespectraofsolutionscontainingandnotcontaininginorganiccationsareonlyslightlydiffer-ent (shifted bathochromically in the presence ofthecationsbyca.10nm,seeinsetinFig.1)butuponadditionofthecationstheintensityofthefluorescencerisesdramatically(Fig.2). For example, in the presence of 10equivalentofMg2+,themixtureshowsanintensegreenfluorescenceanda10-foldenhancementinthefluorescenceintensityat490nm.Similar behaviour has been observed intheexperimentswhenothercationswereadded.Theexamplesofthetitration
curves are presented in Fig.3.
It can be noticed that the bivalent cations have stronger influenceonthefluorescencethanthemonovalentones.The valuesofthebindingconstantsthatwerecalculatedfromthe saltconcentrationdependenciesoftheintegratedfluorescence
quantities on the dielectric permittivity parameter (εs) tabulated in Table1.
are
Thereduced quantumyieldofLL1inacetonitrile(Φfl= 0.04) as compared to the fluorophore part(Φfl=0.75- determinedexperimentally)andsimultaneousdecreaseofΦflandτflwithincreasingsolventpolaritysuggesttheexistence ofquenchingviaanelectron-transferprocessfromtheelectron- ically decoupled nitrogen atom, locatedatdiethanolamine, tothefluorophore.
The fluorescence decays are monoexponential in nonpo- lar and medium polar solvents. However, in highly polar solvents the decays are clearly biexponential which may indicate the existence of two different ground-state con- formers, related to the endo/exo isomerism [15]. Thediffer- encesinpositionanddirectionofthelonepairatthenitrogen atom and its degree of pyramidalization can be responsible for various electron transfer quenchingactivities.
Asmallbathochromicshiftofthefluorescencemaximum of LL1, observed during the solvatochromic studies, points to a partial charge-transfer character of the transitionwithin the pyrazoloquinolinefragment.
8000
0.01 M
6000
2+
Mg
Stability of the Fluorescent Complex (LL1Men+) in Acetonitrile
4000
LL1+Mg2+LL1
0.0 M
2000
Because of the large reduction of the fluorescence lifetime and quantum yields reduction, there is an opportunity to applythemoleculeLL1asaPETfluorescentprobeinhighlypolar solvents (dielectric permittivity largerthan7).Acetonitrile was chosen as a solvent for all measurements conducted in this investigation owing to its high dielectric constant, lack of hydrogen bond formation and good solu- bilityoftheinorganicsaltsusedintheexperiments.Thus,all
0
450
500
550
/nm
600
650
700
Fig. 2 Fluorescnce spectra of LL1 in acetonitrile in the absence and presenceofmagnesiumperchlorate(concentrationofthesaltspansthe region of 0–0.01M)
Fluorescenceintensity/a.u.

1212
J Fluoresc (2013) 23:1207–1215
a
cations such as Mg2+, Zn2+, Cd2+and Pb2+.Moreover,the equilibriumconstantsisfoundingoodagreementwithcharge density of the cation by taking into account the complexes with alkaline and transition metalsseparately.For practical applications, the detection limit for this sensor evaluatedby fluorescencetitrationwasestimatedat4×10−7M,andis100 times lower than that of the ligandconcentration.
70
60
50
40
30
20
10
5.0x10-3
1.0x10-2
1.5x10-2
2.0x10-2
0.0
salt concentration/M
Stability of the Fluorescent Complex (LL1Men+) in Acetonitrile-Water Mixtures
b
400
350
300
250
200
150
100
50
0
The selectivity of the LL1 can be improved by performing fluorimetricmeasurementsinacetonitrile-watermixtures.By addingsmallamountsofwatertotheacetonitrilesolutionof thecomplexLL1withmagnesiumcationcanquenchfluores- cenceofthecomplexalmostcompletely(Fig.4).Thefluores- cenceofthemagnesiumcomplexwasimmediatelyquenched in the mixture containing 0.1 molar fraction of water (B), while the complexes with other bivalent cations are almost unaffectedandthefluorescenceintensitystaysthesameasin pureacetonitrile(A).However,asystematicincreaseofwater concentrationquenchesfluorescenceofothercomplexesex- ceptofthePb2+-LL1complex(C).Thisisprobablytheresult of different ability of the cations tohydrate.
Hence, a simple addition of water to the mixture of the cationscanchangetheselectivityofthedyemakingitmore prone to form complex only with Pb2+cation.
0.0
0.2
0.4
0.6
0.8
1.0
[Ba2+]/[Ba2++LL1]
Fig.3aDependenceoftheintegratedfluorescenceintensityofLL1as a function of magnesium, barium and silver perchlorate concentration inacetonitrile.ThesolidlinerepresentthevaluescalculatedfromEq.3 with the association constantK2=7.9×108M−2. b Job’s plot of Ba2+versus ([LL1]+[Ba2+] =80μM) at 490 nm emission wavelength and presentation of the fitted function (4a) to experimentaldata
intensities,arecollectedinTable2.ThestoichiometryofthecomplexeshavebeenestablishedbytheanalysisoftheJob’splotsobtainedfromthefluorimetrictitrationofthemixturesoftheacetonitrile solutionsof the dye(LL1)and thatofperchlo-rates (Fig.3b).Ithas beenfound thatinthe case ofMgorZncationthe2:1complexesareformedinthegroundstate.FortheothercationstheLL1formscomplexeswith1:1stoichiometry.
OneimportantconclusionemergesfromthedatacollectedinTable2:thecompoundLL1inacetonitrileexhibitsagreat
Application of LL1 to the Fluorimetric Titration ofCations
The fluorimetric titration of LL1-Pb2+complex by tetra- butylammonium chloride (TBACl) was performed inaceto- nitrile.AdditionofTBACltothesolutionofPb(ClO4)2causes aprecipitationofPbCl2witharesiduethatishardlysolublein
sensitivity but poor selectivity
to the presence of bivalent
Table 2 Binding constants i.e. equilibrium constants for the re- action between different inor- ganic cations and the compound LL1 in ACN determined from fluorimetric titrations.(a) Obtained from the Job’s method
K1(LL1M+n)/M−1orK2(LL12M+n)/M−2
Cation(X)
Radius (Å) [16]
Charge density of cation [17]
Li+
Na+Ca2+
0.59
1.02
1.0
1.47
1.03
2.02
K1=12.7K1=2.8K1=1.2× 104
K=1.6× 104(a)
1
Ba2+
K1=1.7× 103K1=1.6× 103(a)K2=2.7× 109K2=1.4× 1010K1=3.3× 105K1=4.2× 105(a)K1=1.5× 105K1=2.1× 105(a)K1=84.1
1.33
1.49
Mg2+Zn2+Cd2+
0.66
0.74
0.97
3.03
2.7
2.06
Pb2+
1.2
1.67
Ag+
1.29
0.78
(x)-(1-x)
Fluorescence intensity/a.u.

K	=1.6x103/M-1LL1+Ba

Mg(ClO)
4 2
Ba(ClO)
4 2

AgClO
4

J Fluoresc (2013) 23:1207–1215
1213
8000
andfurther
7000
−
2−
PbCl2þ2Cl⇔PbCl4
6000
Due to the progressive reaction, the concentration of the fluorescentcomplexLL1-Pb2+decreaseswhichresultsinthe reductionoffluorescenceintensity.Hence,theconcentration of the lead cations may be calculated from the equivalence point, that can be determined by analysis of the firstderiva- tive of titration curve (Fig.5-inset)
Another example of the fluorimetric titration is the reac- tionofzincperchlorate(Zn(ClO4)2)withTBAClinacetoni- trile.Inthissystemaprecipitationofthezincchloride,thatis solubleinacetonitrile,isnotobservedbuttheproductreacts with an excess of chloride anions to form an anioncomplex (ZnCl4)2-[19].Again,thisaniondoesnotformafluorescent complexwiththeLL1dye.Thefluorimetrictitrationprofile is displayed in Fig.6.
In this case, the titration curve illustrating the reaction between Zn(LL1)22+and chlorides is more complex. Up to the equivalence point chloride anions reacts only with free zinc cations non-bonded to the LL1 dye (being in excess). Thus the fluorescence intensity remains nearly constant. At the equivalence point it is very likely that the following reaction occurs:
5000
4000
3000
2000
1000
0
-0.1	0.0	0.1	0.2
0.3	0.4	0.5	0.6	0.7	0.8
Molar fraction of water
Fig. 4 Dependence of the integrated fluorescence of the complex
LL1Me2+on concentration of water in ACN-H O mixtures
2
acetonitrile.FurtheradditionofCl-anionsdissolvesthepre- cipitateduetoformationoftheanioncomplexPb(Cl4)2-[18]. Thetitrationprocesscanbemonitoredbyfluorescencetech- niques in the presence of nonfluorescent LL1 dye (Fig.5). BothPbCl2andPb(Cl4)2-cannotformafluorescentcomplex withLL1.
AsshowninFig.5,uptotheequivalencepointthechloride anionsconsumemostlytheleadcationsthatarenon-bonded to the sensor (being in an excess), thus the fluorescence intensityremainsnearlyconstant.Inthevicinityoftheequiv- alencepoint,thefluorescentcomplexreactswiththeexcessof the chloride anions asfollows:
−
2
þ
ZnðLL1Þ	þ2Cl⇔ZnLL1ClþLL1
2
2
and the fluorescence intensity is reduced up to c.a. 50 % of theinitiallevel.Thisassumptionwasprovenintheindepen- dent titration of LL1 by ZnCl2. It was found out that ZnCl2can be effectively bound to a chelate (K1is equal 2.28x104
PbLL12þþ2Cl−⇔PbClþ2LL1
2
6000
7x103
5000
6x103
4000
5x103
3000
4x103
2000
3x103
2x103
1000
1x103
0
-0.02
0.00	0.02	0.04	0.06
0.08	0.10	0.12	0.14
0.00	0.05	0.10	0.15	0.20	0.25	0.30	0.35
V	/ml
TBACl
VTBACl/ml
Fig. 5 Dependence of the integrated fluorescence of the mixture of LL1(4×10−5M)andPb(ClO4)2(1×10−3M)onthevolumeoftheadded TBACl(concentration2×10−2M).InitialvolumeofthemixtureofLL1 and Pb(ClO4)2is 1 ml. Inset: the first derivative of the titration curve with a minimum (equivalence point) c.a. 0.09 ml ofTBACl
Fig. 6 Dependence of the integrated fluorescence of the mixture of LL1(4×10−5M)andZn(ClO4)2(1×10−3M)onthevolumeoftheadded TBACl(concentration2×10−2M).InitialvolumeofthemixtureofLL1 and Zn(ClO4)2is 1 ml. Inset: the first derivative of the titration curve with a minimum (equivalence point) c.a. 0.11 ml ofTBACl
Fluorescenceintensity/a.u.
Integratedfluorescence
dI /dV
fl TBACl
Fluorescence intensity /a.u.
dIfl/dVTBACl

0,0

-5,0x104

-1,0x105

-1,5x105
0,00 0,05 0,10 0,15 0,20 0,25
V	/ml
TBACl

0

-1x105

-2x105

-3x105

-4x105

-5x105
-0,02 0,00 0,02 0,04 0,06 0,08 0,10 0,12 0,14
V /ml
TBACl
AB
C
Pb2+
Zn2+
Cd2+
Mg2+
no

1214
J Fluoresc (2013) 23:1207–1215
Scheme 3 Reactions that occur during the titration of
PET
Zn(LL1)2+complex by TBACl
H
O
2
H
O
N
N
N
N
Zn2+
N
N
N
N
O
H
O
H
PET
+
TBACl
PET
H
O
Cl
N
Zn
N
N
Cl
N
O
H
+
TBACl
PET
H
O
N
+
Zn(Cl
)2-
N
4
N
N
O
H
M−1) and likewise in the first equivalence point (Fig.6), the intensity of the fluorescence (at the high ZnCl2concentra- tion)isalmosttwicelowerthanthemaximalintensityofthe
4,0x103
3,5x103
3,0x103
2,5x103
2,0x103
1,5x103
1,0x103
5,0x102
0,0
Zn(LL1)2+complex (both experiments were performed at
2
the same concentration of the dye).
Furtheradditionofchlorideanionsleadstotheformation of an anion complex (ZnCl4)2−and weakly fluorescent LL1 dye. The process has been depicted in scheme3.
Again, this hypothesis was confirmed by the reaction of ZnCl2with TBACl in the presence of LL1 dye (Fig.7)
The present investigation show analytical capabilities of applied fluorescence technique. It can be used for instance formonitoringofasimpleexchangereactionwhereproduct could be traced by the fluorimetric method. Moreover, the fluorimetrictitrationexperimentshowsalsothatthebinding ofZn2+orPb2+totheinvestigatedsensorisreversibleinthe presence of Cl-anions, which is of particular importance if the sensor will be widely employed in the detection of specificanalysis.
0,0
0,2
0,4	0,6
VTBACl/ml
0,8
1,0
1,2
Fig. 7 Dependence of the integrated fluorescence of the mixture of LL1(4×10−5M)and ZnCl2(8×10−5M)on the volume of the added TBACl(concentration5×10−4M).InitialvolumeofthemixtureofLL1 and ZnCl2is 2 ml
Fluorescence intensity /a.u.

J Fluoresc (2013) 23:1207–1215
1215
1. MacM, UchaczT,WróbelT,Danel A, Kulig E (2010) New fluorescent sensors based on 1H-pyrazolo[3,4-b]quinoline skele-ton. J Fluoresc20:525–532
2. MacM,UchaczT,DanelA,DanelK,KolekP,KuligE(2011)New fluorescent sensors based on 1H-pyrazolo[3,4-b]quinoline skele-ton. Part II. J Fluoresc21:375–383
3. Mac M, UchaczT,Andrzejak M, Danel A, Szlachcic P(2007)Photophysicalpropertiesofsomedonor-acceptor1H-pyrazolo[3,4-b]quinolines: Radiative versus non-radiative electron transferpro-cesses. JPhotochemPhotobiol A187:78–86
4. Pan J-H, ChouY-M,Chiu H-L,WangB-C (2005) Theoretical investigation of pyrazolo[3,4-b]quinoline derivatives as emittingmaterials. Tamkang J Sci Eng8:175–183
5. He Z, MilburnGHW,Danel A, Puchała A, TomasikP,RasałaD (1997) Blue electroluminescence of novel pyrazoloquinoline and bispyrazolopyridinederivativesindopedpolymermatrices.JMaterChem7:2323–2325
6. Danel A, He Z, MilburnGHW,Tomasik P (1999) Synthesis and characterizationofnovelphotoactivepolymerpoly(vinylalcohol)-graft-poly(vinyl naphthalene). J Mater Chem9:339–342
7. TomasikP,TomasikD,AbramovitchR(1983)Friedlanderconden- sation of 1H-Pyrazolin-5-ones with o-Aminobenzaldehydes. Syn-thesisof1H-Pyrazolo[3,4-b]quinolines.JHeterChem20:1539–43
8. RurackK,DanelA,RotkiewiczK,GrabkaD,SpielesM,RettigW (2002) 1,3-Diphenyl-1H-pyrazolo[3,4b]quinoline: a versatile fluorophore for the design of brightly emissive molecularsensors.Org Lett4:4647–4650
9. VelapoldiRA (1972), Natl. But. Std. 378, Proc. Conf. NBS, Gai-thersburg, p.231
10. Bourson J, Pouget J,ValeurB (1993) Ion-responsive fluorescent compounds. Effect of cation binding on the photophysicalproper- ties of a coumarin linked to monoaza- and diaza-crown ethers. JPhys Chem97:4552–4557
11. BuschmannHJ(1987)In:BernalI(ed)Stereochemical andstereophysicalbehaviourofmacrocycles.Elsevier,Amsterdam,p103
12. BarkiciH, Koner AL, Nau WM (2005) Binding of inorganic cationsbyp-sulfonatocalix[4]arenemonitoredthroughcompetitivefluorophore displacement in aqueous solution. Chem Commun5411–5413
13. LerayI,LefevreJP,DelouisJF,DelaireJ,ValuerB(2001)Synthe- sis and photophysical and cation-binding properties of mono- andtetranaphthylcalix[4] arenes as highly sensitive and selectivefluo-rescent sensors for sodium. Chem Eur7:4590–4598
14. HayashhaT,Bartsch RA, KurosawaT,Igawa M (1991) Selective concentration of lead(II) chloride complex with liquid anion-exchange membranes. Anal Chem63:1023–1027
15. Mackenzie JD, Murphy WK (1960) Structure of glass-forming halides. II. Liquid zinc chloride. J Phys Chem33:366–369
Conclusions
The photophysical properties of 2-[(2-Hydroxyethyl)-(1,3- diphenyl-1H-pyrazolo[3,4-b]quinolin-6-ylmethyl)- amino]ethanol(LL1)relevanttothatoffluorescentindicator ofinorganiccationswereinvestigated.Itwasfoundthatthis dye exhibits a large sensitivity with respect to bivalent cat- ions such as Mg2+, Zn2+, Cd2+and Pb2+and its selectivity to detectionofbivalentcationscanbeeasilyimprovedbyaddi- tion of a small amount ofwater.
Thefluorimetrictitration(precipitationofhardlysolublelead chloride) usingthe LL1 dye wasperformed.Theresultsofthe investigationshowthatthisfluorimetricmethodcanbepromis-ing forsensitiveandselective analysisofcationic species. Its potentialimportanceforapplicationinanalyticalchemistryandinarangeofenvironmental analyses shallbestressedaswell.
Acknowledgments Drs Andrzej Turek and Marek Tulej areacknowl- edged for fruitful discussions and help in planning the experiments. ThisworkwaspartlyfinancedbythebasicfundingoftheUniversityof Agriculture (DS3133/KCh/2012).
Open Access This article is distributed under the terms of theCreative CommonsAttributionLicensewhichpermitsanyuse,distribution,and reproduction in any medium, provided the original author(s) and the source arecredited.
References
1. ValeurB (2002) Molecular fluorescence. Principles and applica- tions. Wiley-VCH, Weinheim, pp273–348
2. Prasanna de Silva A, Gunaratne HQN, GunnlaugssonT,Huxley AJM, McCoyCP,RademacherJT,Rice TE (1997) Signaling rec- ognition events with fluorescent sensors and switches. Chem Rev 97:1515–1566
3. Fabbrizzi L, Poggi A (1995) Sensors and switches from supramo- lecular chemistry. Chem Soc Rev24:197–202
4. BryanAJ,PrasannadeSilvaA,deSilvaSA,DayasiriRupasinghe AD,SamankumaraSandanayakeKRA(1989)Photo-inducedelec- tron transfer as a general design logic for fluorescent molecular sensors for cations. Biosensors4:169–179